## Sheet1
# [LLINE] | PIN* [PARID] | Local Permit No.* [USER28] | Issue Date* [PERMDT] | Desc 1* [DESC1] | Desc 2 Code 1 [USER6] | Desc 2 Code 2 [USER7] | Desc 2 Code 3 [USER8] | Amount* [AMOUNT] | Assessable [IS_ASSESS] | Applicant Street Address* [ADDR1] | Applicant Address 2 [ADDR2] | Applicant City, State, Zip* [ADDR3] | Contact Phone* [PHONE] | Applicant* [USER21] | Notes [NOTE1] | Occupy Dt [UDATE1] | Submit Dt* [CERTDATE] | Est Comp Dt [UDATE2] | user21
1 | 20351100160000 | B200404421 | 6/12/2025 |  |  |  |  | 5000 |  | 8006 S ELLIS AVE |  | CHICAGO, IL |  | FAWCETT ROY | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 400 AMP SERVICE DISCONNECTING MEANS WITH 6 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: BASEMENT.
2 | 19144260150000 | B200404670 | 3/20/2025 |  |  |  |  | 29424 |  | 3305 W 62ND ST |  | CHICAGO, IL |  | GONZALEZ LUZ | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: LOW-SLOPED (<2:12). INVERTER OUTPUT: 0.29 KW. ARRAY OUTPUT: 0.00858 KW. LOCATION: ROOFTOP. ICC DISTRIBUTED GENERATION INSTALLER CERT. #16-0289.
3 | 13214070740000 | B200404690 | 2/4/2025 |  |  |  |  | 20000 |  | 3402 N CICERO AVE |  | CHICAGO, IL |  | J & L LOUNGE FERDINANT GJOSHI | MINOR STRUCTURAL REPAIRS TO PARTIAL BASEMENT CEILING. LOCATIONS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), INTERIOR FIRST FLOOR OVER PARTIAL BASEMENT.
4 | 13263090020000 | B200404962 | 2/21/2025 |  |  |  |  | 100 |  | 2653 N SPRINGFIELD AVE |  | CHICAGO, IL |  | CONOVER MIKE | PERMIT SERVES TO MEMORIALIZE DECEMBER 11, 2024 CERTIFICATE OF ZONING COMPLIANCE CERTIFIES PROPERTY HAS TWO DWELLING UNITS (BASMENT AND 1ST FLR), THIS PERMIT DOES NOT VERIFY DWELLING UNITS MEET BUILDING CODE. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), BASEMENT. ¦ SPECIAL CONDITION: NO WORK TO BE COMPLETED ON THIS PERMIT
5 | 21312240180000 | B200405014 | 2/5/2025 |  |  |  |  | 55000 |  | 8153 S SOUTH SHORE DR |  | CHICAGO, IL |  | T & C PROPERTY BUYERS, LLC | .SCOPE: NONSTRUCTURAL INTERIOR REPLACEMENT OF DYRALL, TILE AND FLOORS AT KITCHEN, PANTRY AND BATHROOMS IN FOUR UNITS.LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 1ST AND 2ND FLOOR APARTMENT UNITS.
6 | 19123020130000 | B200405102 | 3/31/2025 |  |  |  |  | 6175 |  | 5125 S ALBANY AVE |  | CHICAGO, IL |  | LANDES JOSE | REPAIR (26% TO 50%) FOR WOOD PORCH (OPEN) (QUANTITY: 1, LOCATION: FRONT OF BUILDING). LANDING: 75 SQUARE FEET.
7 | 13152150200000 | B200405146 | 2/25/2025 |  |  |  |  | 17500 |  | 4709 N KEWANEE AVE |  | CHICAGO, IL |  | GRIMSHAW ANNA | REPAIR OR IN-KIND REPLACEMENT OF 0 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. INCLUDES REPAIR OR REPLACMENT OF PLUMBING PIPING. INCLUDES REPAIR OR REPLACEMENT OF PLUMBING RISERS IN EXISTING CHASES. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 1 INTERIOR COMMON AREAS, INTERIOR OF THE HOUSE.
8 | 20102040430000 | B200405237 | 2/15/2025 |  |  |  |  | 5000 |  | 4744 S LANGLEY AVE |  | CHICAGO, IL |  | MULLINGS SONYA | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 10 CIRCUITS. RECEPTACLE OUTLETS: 25 . LIGHTING OUTLETS: 10. SPECIFIC LOCATION: INSIDE.
9 | 13342110270000 | B200405249 | 2/7/2025 |  |  |  |  | 24500 |  | 2242 N TRIPP AVE |  | CHICAGO, IL |  | HERNANDEZ GEORGE | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 20'-0' ' X20'-0' '. HIP ROOF HEIGHT TO PEAK: 14'-0' '.
10 | 10314160230000 | B200405250 | 2/7/2025 |  |  |  |  | 37000 |  | 6436 N NASHVILLE AVE |  | CHICAGO, IL |  | GRIFFIN LAURA | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 24'-0' ' X25'-0' '. GABLE ROOF HEIGHT TO PEAK: 14'-0' '.
11 | 16222200150000 | B200406056 | 2/17/2025 |  |  |  |  | 2388 |  | 1439 S KEDVALE AVE |  | CHICAGO, IL |  | EVANS MICHAEL | REPAIR/REPLACEMENT AFFECTING 1 SYSTEMS : 1 DUCT FURNACE(RHEEM FURNACE CLOSET) . ELECTRICAL WORK UNDER THIS PERMIT = NO . LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 2ND FLOOR FURNACE CLOSET.
12 | 13263230020000 | B200406119 | 2/12/2025 |  |  |  |  | 1800 |  | 2453 N PULASKI RD |  | CHICAGO, IL |  | APONTE GERMAN | LINE VOLTAGE ELECTRICAL WORK. NEW TEMPORARY 100 AMP SERVICE DISCONNECTING MEANS WITH 2 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: VACANT LOT.
13 | 20024000380000 | B200406137 | 1/30/2025 |  |  |  |  | 42987 |  | 4312 S OAKENWALD AVE |  | CHICAGO, IL |  | FIELDS RACQUEL | NONSTRUCTURAL INTERIOR WORK: 2ND FLOOR BATHROOM. RENOVATION. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 1 INTERIOR COMMON AREAS, 2ND FLOOR BATHROOM. ¦ SPECIAL CONDITION: NO EXTERIOR WORK OR WINDOW REPLACEMENT PERMITTED.
14 | 16232000040000 | B200406174 | 3/11/2025 |  |  |  |  | 7000 |  | 3551 W ROOSEVELT RD |  | CHICAGO, IL |  | MARSHALL ROBERT | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 45 SQ. FT., LINTEL QTY. 1, MAX. LENGTH 4. LOCATION: EAST SIDE OF BUILDING.
15 | 25192050370000 | B200406247 | 1/30/2025 |  |  |  |  | 5000 |  | 11147 S VINCENNES AVE |  | CHICAGO, IL |  | VIP TECH ELECTRIC, INC. | LINE VOLTAGE ELECTRICAL WORK. ADD 2 CIRCUITS TO EXISTING 200 AMP SERVICE DISCONNECTING MEANS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: T MOBILE PLATFORM.
16 | 16232160350000 | B200406481 | 3/24/2025 |  |  |  |  | 8200 |  | 1408 S TRUMBULL AVE |  | CHICAGO, IL |  | CAHILL RYAN | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 200 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: PARAPET WALLS.
17 | 17311060310000 | B200406647 | 2/4/2025 |  |  |  |  | 49000 |  | 3238 S LEAVITT ST |  | CHICAGO, IL |  | NHS OF CHICAGO AS COURT RECEIVER | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 500 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: MASONRY WORK -REPAR EXISTING NORTH SIDE BRICK WALL.
18 | 14172090110000 | B200406672 | 3/10/2025 |  |  |  |  | 20000 |  | 4619 N BROADWAY |  | CHICAGO, IL |  | WEIDL JUSTIN | IN-KIND REPLACEMENT OF EXTERIOR WINDOWS AND DOORS IN EXISTING OPENINGS. REPLACEMENT WINDOWS: 17; REPLACEMENT SKYLIGHTS: 0; REPLACEMENT DOORS: 1. AFFECTS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), LOCATION: FRONT AND REAR FACADE. ¦ SPECIAL CONDITION: NEW WINDOWS ON FRONT ELEVATION TO BE MARVIN ULTIMATE SINGLE HUNG AS PROPOSED.
19 | 13281200330000 | B200406760 | 3/20/2025 |  |  |  |  | 2500 |  | 5318 W OAKDALE AVE |  | CHICAGO, IL |  | GONZALEZ LUZ | PURPOSE: NEW/REPLACEMENT INSTALLATION. WROUGHT IRON FENCE - 6'-0' ' (HEIGHT) X 50'-0' ' (LENGTH). WOOD FENCE - 4'-0' ' (HEIGHT) X 50'-0' ' (LENGTH). LOCATION: FRONT FENCE. ¦ SPECIAL CONDITION: MUST REDUCE WROUGHT IRON SECTIONS OF FENCE EXCEEDING 6' IN HEIGHT. PERMIT DOES NOT ADDRESS CANOPY STRUCTURE INSTALLED WITHOUT A PERMIT.
20 | 14281190190000 | B200406829 | 3/5/2025 |  |  |  |  | 36000 |  | 662 W DIVERSEY PKWY |  | CHICAGO, IL |  | BLUME DAVID | REPAIR/REPLACEMENT AFFECTING 1 SYSTEMS : 1 ROOFTOP PACKAGED UNIT(NORDYNE, R6GN-180C315C, ROOF TOP UNIT) . ELECTRICAL WORK UNDER THIS PERMIT = NO . LOCATIONS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), EXTERIOR WORK, ON THE ROOF. ¦ SPECIAL CONDITION: CONTACT REFRIGERATION SUPERVISOR CLEMENT GAVIN 312-743-3562, PRIOR TO THE INSTALLATION OF ANY ROOFTOP EQUIPMENT, TO SCHEDULE AN INSPECTION.
21 | 25013110150000 | B200407001 | 3/3/2025 |  |  |  |  | 25250 |  | 1739 E 92ND PL |  | CHICAGO, IL |  | ZIMMERMAN ERIKA | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 22'-0' ' X20'-0' '. HIP ROOF HEIGHT TO PEAK: 14'-0' '.
22 | 20253310170000 | B200407086 | 2/4/2025 |  |  |  |  | 5000 |  | 7800 S JEFFERY BLVD |  | CHICAGO, IL |  | SS EOM 12 LLC | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 50 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: EAST ELEVATION 3RD FLOOR.
23 | 25074040630000 | B200407118 | 3/14/2025 |  |  |  |  | 81249 |  | 1741 W 99TH ST |  | CHICAGO, IL |  | PARRETT LORI | SCOPE: NONSTRUCTURAL INTERIOR ALTERATION TO REPLACE DRYWALL AT CEILING AN ADD PARTITION WALL FOR PANTRY, REPLACE PLUMBING FIXTURES AND ASSOCIATED PIPING AT RESTROOMS, REPLACE ELECTRICAL FIXTURES. NO CHANGE IN USE OR OCCUPANCY, NO EXPANSION.LOCATIONS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), 1 INTERIOR COMMON AREAS, BATHROOM AND RETAIL SPACE.
24 | 25222020100000 | B200407160 | 3/21/2025 |  |  |  |  | 15000 |  | 433 E 111TH ST |  | CHICAGO, IL |  | HAMPTON J | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 2400 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: FACADE.
25 | 20283080320000 | B200407189 | 2/6/2025 |  |  |  |  | 5500 |  | 7658 S UNION AVE |  | CHICAGO, IL |  | CLARO MARIA | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 100 SQ. FT., LINTEL QTY. 8, MAX. LENGTH 5. LOCATION: FACADE.
26 | 26171090010000 | B200407251 | 2/3/2025 |  |  |  |  | 20000 |  | 3505 E 107TH ST |  | CHICAGO, IL |  | NEW LIFE COMMUNITY CHURCH | SCOPE: NONSTRUCTURAL INTERIOR ALTERATION REMOVE NONLOAD BEARING WALL BETWEEN KITCHEN AND DINING ROOM, CONNECT DUCTWOKR TO 2ND FLR, INSTALL FLOORS, INSTALL LIGHTS IN KITCHEN AND LIVING ROOM. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), KITCHEN AND LIVING ROOM.
27 | 13201180180000 | B200407341 | 4/9/2025 |  |  |  |  | 20000 |  | 6209 W WARWICK AVE |  | CHICAGO, IL |  | OSTROWSKI JOANNA | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 20'-0' ' X22'-0' '. GABLE ROOF HEIGHT TO PEAK: 14'-0' '.
28 | 20334010310000 | B200407448 | 2/28/2025 |  |  |  |  | 64000 |  | 8324 S LA SALLE ST |  | CHICAGO, IL |  | BREWSTER CHANTAL | NONSTRUCTURAL INTERIOR WORK: REPLACE PLUMBING FIXTURES/WATER HEATER AND ASSOCIATED PIPING. REPLACE ELECTRICAL OUTLETS, SWITCHES, FIXTURES AND CONDUIT. EXISTING ELECTRICAL PANEL TO BE REPLACED WITH 100 AMP. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S)
29 | 17333000230000 | B200407504 | 4/14/2025 |  |  |  |  | 100000 |  | 3557 S HALSTED ST |  | CHICAGO, IL |  | YANG GORDON | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 10000 SQ. FT., LINTEL QTY. 2, MAX. LENGTH 25. PARAPET REBUILDING: 412 SQ. FT. LOCATION: FACADE REPAIRS. ¦ SPECIAL CONDITION: NO WORK TO BE COMPELTED TO FIRE ESCAPE, TO REMAIN AS EXISTING.
30 | 20141190090000 | B200407583 | 3/3/2025 |  |  |  |  | 750000 |  | 949 E 58TH ST |  | CHICAGO, IL |  | THE UNIVERSITY OF CHICAGO MEDICAL CENTER | REPAIR/REPLACEMENT AFFECTING 1 SYSTEMS : 1 EXHAUST FAN(VEKTOR MD-18-9-70-LV ON ROOFTOP) . ELECTRICAL WORK UNDER THIS PERMIT = YES . LOCATIONS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), EXTERIOR WORK, ROOFTOP.
31 | 14072150140000 | B200407594 | 2/17/2025 |  |  |  |  | 12000 |  | 5309 N DAMEN AVE |  | CHICAGO, IL |  | 5301-09 N DAMEN, LLC | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 500 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: FRONT FACADE.
32 | 20171100150000 | B200407596 | 2/12/2025 |  |  |  |  | 12000 |  | 5637 S LAFLIN ST |  | CHICAGO, IL |  | MOHAMMED ED MUSA | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 24 CIRCUITS. RECEPTACLE OUTLETS: 40 . LIGHTING OUTLETS: 40. SPECIFIC LOCATION: EXTERIOR AND INTERIOR.
33 | 20302010450000 | B200407648 | 2/11/2025 |  |  |  |  | 28700 |  | 7158 S WOLCOTT AVE |  | CHICAGO, IL |  | COLLIER CHARYMANE | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: STEEP (>5:12). INVERTER OUTPUT: 8.12 KW. ARRAY OUTPUT: 0.32144 KW. LOCATION: ROOF TOP OF PRINCIPLE STRUCTURE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #23-0387.
34 | 19074280400000 | B200407653 | 3/25/2025 |  |  |  |  | 1000 |  | 5415 S NASHVILLE AVE |  | CHICAGO, IL |  | KOSOSKI PAUL | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 13 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: GARAGE.
35 | 20141130240000 | B200407708 | 2/27/2025 |  |  |  |  | 450000 |  | 5758 S MARYLAND AVE |  | CHICAGO, IL |  | THE UNIVERSITY OF CHICAGO MEDICAL CENTER | REPAIR/REPLACEMENT AFFECTING 1 SYSTEMS : 1 ROOFTOP PACKAGED UNIT(TRANE ECC150A4E0B**09M ROOFTOP) 1 ROOFTOP PACKAGED UNIT(TRANETED360D4A ROOFTOP) 1 ROOFTOP PACKAGED UNIT(TRANE ECC150A4E0B**09M ROOFTOP) . ELECTRICAL WORK UNDER THIS PERMIT = YES . LOCATIONS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), EXTERIOR WORK, ROOFTOP. ¦ SPECIAL CONDITION: CONTACT REFRIGERATION SUPERVISOR CLEMENT GAVIN 312-743-3562, PRIOR TO THE INSTALLATION OF ANY ROOFTOP EQUIPMENT, TO SCHEDULE AN INSPECTION.
36 | 20141190080000 | B200407714 | 4/11/2025 |  |  |  |  | 450000 |  | 950 E 59TH ST |  | CHICAGO, IL |  | THE UNIVERSITY OF CHICAGO MEDICAL CENTER | REPAIR/REPLACEMENT AFFECTING 1 SYSTEMS : 1 CHILLER(TRANE CGAM100F2 ROOFTOP) . ELECTRICAL WORK UNDER THIS PERMIT = YES . LOCATIONS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), EXTERIOR WORK, WORKING ON ROOFTOP TO REPLACE EXISTING CHILLER. ¦ SPECIAL CONDITION: CONTACT REFRIGERATION SUPERVISOR CLEMENT GAVIN 312-743-3562, PRIOR TO THE INSTALLATION OF ANY ROOFTOP EQUIPMENT, TO SCHEDULE AN INSPECTION.
37 | 13211040320000 | B200407721 | 2/24/2025 |  |  |  |  | 14000 |  | 5524 W BYRON ST |  | CHICAGO, IL |  | TSAMBARLIS NICK | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 25'-0' ' X23'-0' '. HIP ROOF HEIGHT TO PEAK: 12'-0' '.
38 | 11324050270000 | B200407782 | 2/4/2025 |  |  |  |  | 25000 |  | 6431 N SHERIDAN RD |  | CHICAGO, IL |  | SIVARASA KISOTHAN | SCOPE: NONSTRUCTURAL INTERIOR ALTERATION TO RESTAURANT DINING AREA, REPLACE LIGHT FIXTURES AND CEILING PANELS, REPLACE PLUMBING FIXTURES, NO WORK TO COOKING EQUIPMENT IN KITCHEN.LOCATIONS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), 1ST FLOOR.
39 | 19114090090000 | B200407822 | 4/2/2025 |  |  |  |  | 5000 |  | 5227 S HOMAN AVE |  | CHICAGO, IL |  | CANCHOLA-HERRERA RAYMUNDO | PURPOSE: LEGALIZE UNPERMITTED WORK. WOOD FENCE - 6'-0' ' (HEIGHT) X 142'-0' ' (LENGTH). WROUGHT IRON FENCE - 6'-0' ' (HEIGHT) X 45'-0' ' (LENGTH). LOCATION: FRONT AND SIDE FACADE.
40 | 16114050770000 | B200407912 | 3/14/2025 |  |  |  |  | 1200 |  | 3234 W FULTON BLVD |  | CHICAGO, IL |  | CORONA ALEJANDRO | LINE VOLTAGE ELECTRICAL WORK. ADD 2 CIRCUITS TO EXISTING 30 AMP SERVICE DISCONNECTING MEANS. RECEPTACLE OUTLETS: 50 . LIGHTING OUTLETS: 20. SPECIFIC LOCATION: FIRST AND SECOND FLOOR.
41 | 14054090010000 | B200407958 | 3/11/2025 |  |  |  |  | 20000 |  | 1055 W HOLLYWOOD AVE |  | CHICAGO, IL |  | TRAVLOS TINA | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 500 SQ. FT., LINTEL QTY. 1, MAX. LENGTH 6. LOCATION: FRONT FACADE, TERRACOTTAS REPAIR PER PLANS.
42 | 20151200020000 | B200407972 | 4/4/2025 |  |  |  |  | 15000 |  | 5813 S WABASH AVE |  | CHICAGO, IL |  | DRAWBRIDGE EQUITY PARTNERS, LLC | REPAIR/REPLACEMENT AFFECTING 1 SYSTEMS : 3 CENTRAL FURNACE(GOODMAN) . ELECTRICAL WORK UNDER THIS PERMIT = NO . LOCATIONS: 3 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 1 INTERIOR COMMON AREAS, 3 UNITS.
43 | 16352000230000 | B200408049 | 2/5/2025 |  |  |  |  | 15000 |  | 3104 S HOMAN AVE |  | CHICAGO, IL |  | NPS EXPRESS | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 400 AMP SERVICE DISCONNECTING MEANS WITH 6 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: ELECTRIC ROOM.
44 | 19123070400000 | B200408139 | 2/3/2025 |  |  |  |  | 1800 |  | 5144 S CALIFORNIA AVE |  | CHICAGO, IL |  | CAMACHO JUAN | PURPOSE: NEW/REPLACEMENT INSTALLATION. WROUGHT IRON FENCE - 4'-6' ' (HEIGHT) X 35'-0' ' (LENGTH). LOCATION: REAR FENCE.
45 | 19074180170000 | B200408140 | 4/15/2025 |  |  |  |  | 100 |  | 5305 S NORMANDY AVE |  | CHICAGO, IL |  | BARRIOUS JESUS | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 500 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: ENTIRE BUILDING.
46 | 19123070410000 | B200408141 | 2/3/2025 |  |  |  |  | 1800 |  | 5146 S CALIFORNIA AVE |  | CHICAGO, IL |  | CAMACHO JUAN | PURPOSE: NEW/REPLACEMENT INSTALLATION. WROUGHT IRON FENCE - 4'-6' ' (HEIGHT) X 35'-0' ' (LENGTH). LOCATION: REAR FENCE.
47 | 26064260380000 | B200408158 | 3/26/2025 |  |  |  |  | 12000 |  | 3051 E 96TH ST |  | CHICAGO, IL |  | ACOSTA MAURICIO | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 22'-0' ' X19'-0' '. GABLE ROOF HEIGHT TO PEAK: 12'-0' '.
48 | 25283140060000 | B200408180 | 2/3/2025 |  |  |  |  | 35000 |  | 12421 S NORMAL AVE |  | CHICAGO, IL |  | FRELIX EDWARD | FULL REBUILD (SAME AS EXISTING) FOR WOOD PORCH (OPEN) (QUANTITY: 1, LOCATION: FRONT OF BUILDING). LANDING: 125 SQUARE FEET.
49 | 14051000270000 | B200408186 | 2/4/2025 |  |  |  |  | 2000 |  | 1540 W HIGHLAND AVE |  | CHICAGO, IL |  | FIELD LILY | PURPOSE: NEW/REPLACEMENT INSTALLATION. WOOD FENCE - 6'-0' ' (HEIGHT) X 37'-0' ' (LENGTH). LOCATION: EAST SIDE OF PROPERTY WITHIN THE PROPERTY LINE..
50 | 20171220210000 | B200408207 | 2/20/2025 |  |  |  |  | 45000 |  | 5753 S THROOP ST |  | CHICAGO, IL |  | GONZALES ALFREDO | SCOPE: NONSTRUCTURAL INTERIOR REPLACEMENT OF FIRE DAMAGED DRYWALL AND ELECTRICAL, SISTER ROOF RAFTERS AS NEEDED. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 1 INTERIOR COMMON AREAS, ATTIC.
51 | 16251240190000 | B200408209 | 3/10/2025 |  |  |  |  | 23188 |  | 2500 S SACRAMENTO AVE |  | CHICAGO, IL |  | GUZMAN LIBORIO | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: STEEP (>5:12). INVERTER OUTPUT: 4.64 KW. ARRAY OUTPUT: 6.8 KW. LOCATION: ROOF OF MAIN STRUCTURE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #24-0450. ¦ SPECIAL CONDITION: ** NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018.
52 | 25164180310000 | B200408229 | 2/3/2025 |  |  |  |  | 20000 |  | 10916 S STATE ST |  | CHICAGO, IL |  | BURGER SYLVIA | FULL REBUILD (SAME AS EXISTING) FOR WOOD PORCH (OPEN) (QUANTITY: 1, LOCATION: FRONT OF BUILDING). LANDING: 70 SQUARE FEET. LANDING NOT MORE THAN 6 FEET ABOVE GROUND.
53 | 16234200080000 | B200408320 | 2/7/2025 |  |  |  |  | 47855 |  | 1921 S CHRISTIANA AVE |  | CHICAGO, IL |  | REEVES CYNTHIA | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 250 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: FRONT LIMESTONE STAIRS / SOUTH WALL TUCKPOINT.
54 | 16023050090000 | B200408365 | 2/3/2025 |  |  |  |  | 85000 |  | 3703 W DIVISION ST |  | CHICAGO, IL |  | DIVISION LAWNDALE LLC | REPAIR/REPLACEMENT AFFECTING 1 SYSTEMS : 25 CENTRAL FURNACE(TEMPSTAR 5000 IN FURNACE CLOSETS) . ELECTRICAL WORK UNDER THIS PERMIT = NO . LOCATIONS: 22 RESIDENTIAL UNIT(S), 3 NON-RESIDENTIAL UNIT(S), ALL UNITS.
55 | 16251190060000 | B200408372 | 4/3/2025 |  |  |  |  | 8000 |  | 2917 W 24TH BLVD |  | CHICAGO, IL |  | TSAKIRIS PAUL | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 300 SQ. FT., LINTEL QTY. 1, MAX. LENGTH 6. LOCATION: SOUTH AND WEST ELEVATIONS.
56 | 19131130070000 | B200408522 | 2/11/2025 |  |  |  |  | 33825 |  | 5625 S RICHMOND ST |  | CHICAGO, IL |  | CARRENO MILTON SANTIAGO | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: STEEP (>5:12). INVERTER OUTPUT: 9.57 KW. ARRAY OUTPUT: 0.44649 KW. LOCATION: ROOF TOP OF PRINCIPLE STRUCTURE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #23-0387. ¦ SPECIAL CONDITION: **PLEASE APPLY FOR ELECTRICAL PERMIT PRIOR TO SOLAR INSPECTION OR RISK FAILURE AS WORK PROPOSED PER DRAWINGS.**ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE. **NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018.
57 | 17032020210000 | B200408630 | 4/7/2025 |  |  |  |  | 24500 |  | 67 E CEDAR ST |  | CHICAGO, IL |  | INNA ELTERMAN | SCOPE: ROOF REPLACEMENT. AREA: 2000 SQ. FT. ROOF COVERING: OTHER. LOCATION: ON THE ROOF. IL ROOFING CONTRACTOR LICENSE: 104017060.
58 | 13253150120000 | B200408656 | 2/4/2025 |  |  |  |  | 55000 |  | 3027 W LOGAN BLVD |  | CHICAGO, IL |  | MO2 PROPERTIES, LLC | SCOPE: NONSTRUCTURAL INTERIOR REPAIRS TO FIRE DAMAGED 1 BED / 1 BATH APARTMENT. REPLACEMENT OF ALL INTERIOR COMPONENTS (DRYWALL, PLUMBING AND ELECTRICAL) AS REQUIRED PER ORIGINAL PERMIT NUMBER 100884629.LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), UNIT G01. ¦ SPECIAL CONDITION: PER THE PLANS, INTERIOR WORK ONLY. NO EXTERIOR WORK TO OCCUR WITH THIS APPROVAL.
59 | 13344070140000 | B200408681 | 1/31/2025 |  |  |  |  | 600 |  | 1925 N KEYSTONE AVE |  | CHICAGO, IL |  | GARRET BROWNE BNA HOLDINGS C/O | SCOPE: NONSTRUCTURAL INTERIOR REMOVAL OF UNPERMITTED RESIDENTIAL UNIT FEATURES INSTALLED WITHOUT A PERMIT, REMOVE CLOSET DOORS, APPLIANCES,KITCHEN PLUMBING PIPING, REMOVE PARTITIONS INSTALLED FOR BEDROOMS, RETURNING TO OPEN BASEMENT WITHIN A TWO D.U. BUILDING. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), BASEMENT. ¦ SPECIAL CONDITION: REAR PORCH PERMIT APPLICATION UNDER B200406586
60 | 20043240080000 | B200408724 | 3/19/2025 |  |  |  |  | 150 |  | 4553 S WALLACE ST |  | CHICAGO, IL |  | NIECIAK KYLE | LIMITED REPAIR (25% OR LESS) FOR WOOD PORCH (OPEN) (QUANTITY: 1, LOCATION: EAST SIDE OF BUILDING).
61 | 20111020120000 | B200408736 | 4/23/2025 |  |  |  |  | 25000 |  | 4722 S ELLIS AVE |  | CHICAGO, IL |  | EAST LAKE MGMT & DEV CORP | REPAIR (26% TO 50%) FOR WOOD PORCH (OPEN) (QUANTITY: 1, LOCATION: REAR OF BUILDING).
62 | 26072010230000 | B200408744 | 4/10/2025 |  |  |  |  | 15275 |  | 3215 E 100TH ST |  | CHICAGO, IL |  | ILLINOIS & MICHIGAN OIL LLC | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 600 AMP SERVICE DISCONNECTING MEANS WITH 4 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: REAR SIDE OF METAL BUILDING NEAR ENTRANCE..
63 | 13364060450000 | B200408828 | 3/5/2025 |  |  |  |  | 500 |  | 2622 W CORTLAND ST |  | CHICAGO, IL |  | GARRET BROWNE BNA HOLDINGS C/O | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 20 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: BAEMENT.
64 | 13364060450000 | B200408830 | 2/15/2025 |  |  |  |  | 500 |  | 2622 W CORTLAND ST |  | CHICAGO, IL |  | GARRET BROWNE BNA HOLDINGS C/O | LINE VOLTAGE ELECTRICAL WORK. NEW TEMPORARY 200 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: BASEMENT.
65 | 14281150340000 | B200408832 | 5/1/2025 |  |  |  |  | 15000 |  | 2832 N ORCHARD ST |  | CHICAGO, IL |  | PAGE CASEY | NONSTRUCTURAL INTERIOR REPLACEMENT OF LATH AND PLASTER WITH DRYWALL AND REPLACEMENT OF PLUMBING FIXTURES AND ASSOCIATED PIPING (NO ELECTRICAL WORK AND NO HVAC WORK UNDER THIS PERMIT). LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 3RD FLOOR APARTMENT.
66 | 13261020390000 | B200408843 | 2/13/2025 |  |  |  |  | 400 |  | 3110 N DAVLIN CT |  | CHICAGO, IL |  | DIARRA MAMADOU | SCOPE: NONSTRUCTURAL INTERIOR REMOVAL OF UNPERMITTED RESIDENTIAL UNIT FEATURES, CAP AND REMOVE PLUMBING IN KITCHEN AND BATHROOM, RETURNING TO OPEN SPACE.LOCATIONS: 0 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), BASEMENT.
67 | 14194080220000 | B200408975 | 5/5/2025 |  |  |  |  | 15000 |  | 1616 W CORNELIA AVE |  | CHICAGO, IL |  | LIEBLING MORRIS | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 800 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: ALL FLOORS.
68 | 16251260170000 | B200408984 | 2/13/2025 |  |  |  |  | 4000 |  | 2821 W 25TH ST |  | CHICAGO, IL |  | KAREEM'S MARSHALL SQUARE LLC | SCOPE: NONSTRUCTURAL INTERIOR WORK TO INSTALL DRYWALL AT EXPOSED VEILINGS JOINTS AT COMMON HALLWAY AND ATTIC, INSTALL NEW GUARD AND HAND RAILINGS AT COMMON STAIRWELL. LOCATIONS: 0 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 1 INTERIOR COMMON AREAS, COMMON AREA, INTERIOR STAIRS, ATTIC FLOOR.
69 | 25221140380000 | B200408987 | 2/7/2025 |  |  |  |  | 200 |  | 11320 S PRAIRIE AVE |  | CHICAGO, IL |  | HUMPHREY SARAH | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 10 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: MECHANICAL ROOM.
70 | 17032080080000 | B200409002 | 5/2/2025 |  |  |  |  | 44713 |  | 999 N LAKE SHORE DR |  | CHICAGO, IL |  | FABER SUZANNE | IN-KIND REPLACEMENT OF EXTERIOR WINDOWS AND DOORS IN EXISTING OPENINGS. REPLACEMENT WINDOWS: 4; REPLACEMENT SKYLIGHTS: 0; REPLACEMENT DOORS: 0. AFFECTS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), LOCATION: APT 9 BC. ¦ SPECIAL CONDITION: NEW WINDOWS TO ULTIMATE CLAD-WOOD AS SHOWN ON DRAWINGS DATED 3/24/25
71 | 13341180270000 | B200409013 | 2/25/2025 |  |  |  |  | 34850 |  | 4622 W DICKENS AVE |  | CHICAGO, IL |  | RODRIGUEZ JOSE | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 24'-0' ' X25'-0' '. HIP ROOF HEIGHT TO PEAK: 12'-6' '.
72 | 19093270790000 | B200409044 | 2/6/2025 |  |  |  |  | 50000 |  | 5432 S LONG AVE |  | CHICAGO, IL |  | CACCIATO ANTHONY | NONSTRUCTURAL INTERIOR WORK: REPAIR DRYWALL. REPLACE ELECTRICAL PANEL. REPLACE PLUMBING FIXTURES AND ASSOCIATED PIPING. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S) UNIT 1.
73 | 19273140380000 | B200409072 | 3/13/2025 |  |  |  |  | 7900 |  | 7821 S KEATING AVE |  | CHICAGO, IL |  | MONSOUR SAM | PURPOSE: NEW/REPLACEMENT INSTALLATION. CHAIN LINK FENCE - 6'-0' ' (HEIGHT) X 108'-0' ' (LENGTH). LOCATION: NORTH AND SOUTH SIDE OF THE PROPERTY / REAR.
74 | 20202210430000 | B200409134 | 3/4/2025 |  |  |  |  | 3500 |  | 6546 S PEORIA ST |  | CHICAGO, IL |  | ELI LIONEL | LIMITED REPAIR (25% OR LESS) FOR WOOD PORCH (OPEN) (QUANTITY: 1, LOCATION: REAR OF BUILDING).
75 | 13142140270000 | B200409136 | 2/3/2025 | [6 empty] | 4534 N ST LOUIS AVE |  | CHICAGO, IL |  | PATEL MITIR | SCOPE: NONSTRUCTURAL INTERIOR ALTERATION TO REMOVE PLASTER AND REPLACE WITH DRYWALL WITHIN SFR, REPLACE TRIM AND FINISHES, INCLUDES PLUMBING AND PIPING THROUGHOUT, RELOCATE FURNACE AND INSTALL NEW CONDENSER.LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), FIRST FLOOR, 2ND FLOOR, BASEMENT. ¦ SPECIAL CONDITION: NO ELECTRICAL WORK INCLUDED
76 | 16113040280000 | B200409197 | 4/7/2025 |  |  |  |  | 12000 |  | 324 N HAMLIN AVE |  | CHICAGO, IL |  | SMITH LATOYA | FULL REBUILD (SAME AS EXISTING) FOR WOOD PORCH (OPEN) (QUANTITY: 1, LOCATION: WEST SIDE OF BUILDING).
77 | 20243010160000 | B200409257 | 2/11/2025 |  |  |  |  | 5000 |  | 6736 S EAST END AVE |  | CHICAGO, IL |  | OPPENHIEMER JIMMY | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 5 SQ. FT., LINTEL QTY. 1, MAX. LENGTH 4. LOCATION: REPLACE LINTEL PER VIOLATION ON EAST ELEVATION.
78 | 17331080170000 | B200409351 | 3/19/2025 |  |  |  |  | 30000 |  | 3259 S HALSTED ST |  | CHICAGO, IL |  | BERTUCCI ANTHONY | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 1500 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: FRONT, SIDE AND REAR FACADES, EXTERIOR ONLY.
79 | 20043240140000 | B200409369 | 2/14/2025 |  |  |  |  | 1200 |  | 539 W 45TH PL |  | CHICAGO, IL |  | VERTIZ JESUS | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 22'-0' ' X22'-0' '. GABLE ROOF HEIGHT TO PEAK: 14'-6' '.
80 | 11291050180000 | B200409371 | 3/6/2025 |  |  |  |  | 15100 |  | 7600 N BOSWORTH AVE |  | CHICAGO, IL |  | MADISON WESTERN LLC | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 400 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. PARAPET REBUILDING: 400 SQ. FT. LOCATION: PARAPET WALL WORK AND GROUND LEVEL TERRA COTTA.
81 | 25281180240000 | B200409449 | 4/8/2025 |  |  |  |  | 7000 |  | 12130 S LOWE AVE |  | CHICAGO, IL |  | ZETINA OCTABIO | REPAIR OR IN-KIND REPLACEMENT OF 8 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. REPAIR OR IN-KIND REPLACEMENT OF HOT WATER HEATER(S). INCLUDES REPAIR OR REPLACMENT OF PLUMBING PIPING. INCLUDES REPAIR OR REPLACEMENT OF PLUMBING RISERS IN EXISTING CHASES. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 1 INTERIOR COMMON AREAS, SINGLE FAMILY HOME 2 BATHROOMS, KITCHEN AND LAUNDR.
82 | 12111000030000 | B200409688 | 2/3/2025 |  |  |  |  | 100000 |  | 5441 N EAST RIVER RD |  | CHICAGO, IL |  | CASTELLANOS CHRISTIAN | REPAIR/REPLACEMENT AFFECTING 1 SYSTEMS : 1 ROOFTOP PACKAGED UNIT(AAON RN-025 3-0-EA0A-165, ROOF) . ELECTRICAL WORK UNDER THIS PERMIT = NO . LOCATIONS: 0 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 1 INTERIOR COMMON AREAS, EXTERIOR WORK, ROOF: RTU LIKE AND KIND REPLACEMENT.
83 | 25093020020000 | B200409722 | 3/17/2025 |  |  |  |  | 23040 |  | 9901 S UNION AVE |  | CHICAGO, IL |  | WASHINGTON PARRIS | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: LOW-SLOPED (<2:12). INVERTER OUTPUT: 5.56 KW. ARRAY OUTPUT: 6.56 KW. LOCATION: ROOFTOP ON PRINCIPLE AND ACCESSORY. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-1231.
84 | 20251210090000 | B200409744 | 2/13/2025 |  |  |  |  | 750 |  | 1961 E 72ND ST |  | CHICAGO, IL |  | LAWS WILLIAM | PURPOSE: NEW/REPLACEMENT INSTALLATION. CHAIN LINK FENCE - 6'-0' ' (HEIGHT) X 55'-0' ' (LENGTH). LOCATION: FRONT. ¦ SPECIAL CONDITION: EXISTING 7FT CHAIN LINK FENCE IN VIOLATION TO BE REPLACED WITH 6FT HIGH CHAIN LINK
85 | 16034270130000 | B200409833 | 2/3/2025 |  |  |  |  | 52000 |  | 4203 W IOWA ST |  | CHICAGO, IL |  | BETTIKER CURT | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 5000 SQ. FT., LINTEL QTY. 4, MAX. LENGTH 11. LOCATION: SOUTH ELEVATION LINTELS.
86 | 12111020770000 | B200409877 | 3/18/2025 |  |  |  |  | 3000 |  | 8623 W CATHERINE AVE |  | CHICAGO, IL |  | SABANI ISTREF | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 30 CIRCUITS. RECEPTACLE OUTLETS: 5 . LIGHTING OUTLETS: 10. SPECIFIC LOCATION: OUTSIDE IN BACKYARD AND BASEMENT.
87 | 20223000290000 | B200409959 | 2/3/2025 |  |  |  |  | 25000 |  | 6746 S WABASH AVE |  | CHICAGO, IL |  | COULOUTE LILA | FULL REBUILD (SAME AS EXISTING) FOR WOOD PORCH (OPEN) (QUANTITY: 1, LOCATION: REAR OF BUILDING).
88 | 13332190190000 | B200410096 | 2/7/2025 |  |  |  |  | 30880 |  | 2156 N LAPORTE AVE |  | CHICAGO, IL |  | DONLEY LUBERTHA | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 20'-3' ' X18'-3' '. HIP ROOF HEIGHT TO PEAK: 11'-0' '.
89 | 25041170060000 | B200410135 | 2/3/2025 |  |  |  |  | 25000 |  | 8917 S EMERALD AVE |  | CHICAGO, IL |  | MK INVESTORS | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 4 KW. ARRAY OUTPUT: 4 KW. LOCATION: ROOF SOLAR PANELS. ICC DISTRIBUTED GENERATION INSTALLER CERT. #19-1127. ¦ SPECIAL CONDITION: ** NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018.
90 | 16104060040000 | B200410172 | 2/20/2025 |  |  |  |  | 100 |  | 4151 W CARROLL AVE |  | CHICAGO, IL |  | WILLIAMS DIXON ELISEAH | SCOPE: NONSTRUCTURAL INTERIOR REPAIRS TO ADDRESS PLUMBING VIOLATIONS, PATCH AND REPLACE DRYWALL AS NEEDED, REMOVE PARTITIONS INSTALLED WIHTOUT A PERMIT AND RESTORE TO ORIGINAL STATE. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 1 INTERIOR COMMON AREAS, 1ST FLOOR.
91 | 14324010060000 | B200410190 | 3/24/2025 |  |  |  |  | 5000 |  | 1953 N CLYBOURN AVE |  | CHICAGO, IL |  | THE UPS STORE | SCOPE: NONSTRUCTURAL INTERIOR REMODEL OF EXISTING UPS STORE, TO REPLACE TRIM AND INSTALL NEW FINISHES.LOCATIONS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), SUITE R.
92 | 25011060450000 | B200410197 | 2/27/2025 |  |  |  |  | 90000 |  | 8756 S CONSTANCE AVE |  | CHICAGO, IL |  | AP CONSULTING | NONSTRUCTURAL INTERIOR ALTERATION TO INSTALL NEW CABINETRY AND COUNTERTOPS, REMOVAL OF CLOSET WALL AND NON-LOAD BEARING KITCHEN WALL, REPLACE ELECTRICAL FIXTURES IN-KIND, ADD NEW ELECTRICAL OUTLETS, REPLACEMENT OF FLOOR TILE. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), FIRST FLOOR- KITCHEN.
93 | 14294020230000 | B200410215 | 2/12/2025 |  |  |  |  | 17372 |  | 2679 N LINCOLN AVE |  | CHICAGO, IL |  | JARON LINCOLN | REPAIR/REPLACEMENT AFFECTING 1 SYSTEMS : 1 SINGLE PACKAGE DX UNIT(TRANE, YCC4048E1090A PACKAGED RTU, REAR ROOFTOP) . ELECTRICAL WORK UNDER THIS PERMIT = NO . LOCATIONS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), EXTERIOR WORK, REAR SINGLE STORY ROOFTOP. ¦ SPECIAL CONDITION: CONTACT REFRIGERATION SUPERVISOR CLEMENT GAVIN 312-743-3562, PRIOR TO THE INSTALLATION OF ANY ROOFTOP EQUIPMENT, TO SCHEDULE AN INSPECTION.
94 | 20251110050000 | B200410233 | 2/4/2025 |  |  |  |  | 20000 |  | 7144 S JEFFERY BLVD |  | CHICAGO, IL |  | 7144 S JEFFERY LLC | WORK IN UNIT 7145-3C: NONSTRUCTURAL INTERIOR ALTERATION TO INCLUDE REPLACEMENT OF KITCHEN AND BATHROOM CABINETS, APPLIANCES, AND PLUMBING FIXTURES. NEW WALL AND FLOOR FINISHES FOR KITCHEN AND BATHROOM. NEW FLOORING. NEW ELECTRIC PANEL TO BE REPLACED IN KIND. NO STRUCTURAL, HVAC, OR EXTERIOR WORK..LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S)
95 | 19011110330000 | B200410274 | 1/30/2025 |  |  |  |  | 500 |  | 2814 W 40TH PL |  | CHICAGO, IL |  | ZHAO MICHEAL | REPAIR OR IN-KIND REPLACEMENT OF 1 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. INCLUDES REPAIR OR REPLACMENT OF PLUMBING PIPING. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 1 INTERIOR COMMON AREAS, ATTIC.
96 | 25143000140000 | B200410302 | 2/5/2025 |  |  |  |  | 1200000 |  | 10900 S DOTY AVE W |  | CHICAGO, IL |  | KITTERMAN BARRY | REPAIR/REPLACEMENT AFFECTING 1 SYSTEMS : 3 ROOFTOP PACKAGED UNIT(BALTIMORE AIRCOIL COMPANY, MODEL TRF-1022N-C80GD43E, ROOF) . ELECTRICAL WORK UNDER THIS PERMIT = YES . LOCATIONS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), 1 INTERIOR COMMON AREAS, EXTERIOR WORK, EXTERIOR WORK AT ROOF ONLY.
97 | 25143000150000 | B200410302 | 2/5/2025 |  |  |  |  | 1200000 |  | 10900 S DOTY AVE W |  | CHICAGO, IL |  | KITTERMAN BARRY | REPAIR/REPLACEMENT AFFECTING 1 SYSTEMS : 3 ROOFTOP PACKAGED UNIT(BALTIMORE AIRCOIL COMPANY, MODEL TRF-1022N-C80GD43E, ROOF) . ELECTRICAL WORK UNDER THIS PERMIT = YES . LOCATIONS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), 1 INTERIOR COMMON AREAS, EXTERIOR WORK, EXTERIOR WORK AT ROOF ONLY.
98 | 25054160110000 | B200410307 | 4/7/2025 |  |  |  |  | 10000 |  | 1000 W 94TH ST |  | CHICAGO, IL |  | SANGAMON INDUSTRIAL, LLC | PURPOSE: NEW/REPLACEMENT INSTALLATION. WOOD FENCE - 8'-0' ' (HEIGHT) X 84'-0' ' (LENGTH). LOCATION: 1000 W 94TH ST.. ¦ SPECIAL CONDITION: ALTERATION OF AN EXISTING NON-CONFORMING 8 FT. TALL CHAIN-LINK FENCE TO INSTALL NEW WOOD SLATS OVER EXISTING FENCE TO PROVIDE REQUIRED SCREENING FOR LOT PER 17-5-0600.
99 | 13203280310000 | B200410320 | 2/26/2025 |  |  |  |  | 4000 |  | 6316 W BELMONT AVE |  | CHICAGO, IL |  | KAPITAL ELECTRIC CO., INC | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 32 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: BASEMENT..
100 | 20282010120000 | B200410334 | 3/6/2025 |  |  |  |  | 1200 |  | 7121 S HARVARD AVE |  | CHICAGO, IL |  | MOSTAFA AMER | SCOPE: NONSTRUCTURAL INTERIOR REPAIRS: REPAIR/REPLACE INTERIOR STAIR TREADS. LOCATIONS: 0 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 2 INTERIOR COMMON AREAS, INTERIOR STAIRCASES.
101 | 20153140440000 | B200410403 | 2/11/2025 |  |  |  |  | 5000 |  | 6200 S INDIANA AVE |  | CHICAGO, IL |  | MILES LOVIE | REPAIR OR IN-KIND REPLACEMENT OF 0 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. REPAIR OR IN-KIND REPLACEMENT OF HOT WATER HEATER(S). INCLUDES REPAIR OR REPLACMENT OF PLUMBING PIPING. LOCATIONS: 4 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 1 INTERIOR COMMON AREAS, BASEMENT.
102 | 17162160090000 | B200410433 | 2/4/2025 |  |  |  |  | 55000 |  | 233 S WACKER DR |  | CHICAGO, IL |  | UNITED AIRLINES | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL SECURITY. SPECIFIC LOCATION: 28TH FLOOR.
103 | 20052001330000 | B200410490 | 2/20/2025 |  |  |  |  | 15000 |  | 1101 W 43RD ST |  | CHICAGO, IL |  | ARDAGH METAL BEVERAGE USA INC. | PURPOSE: NEW/REPLACEMENT INSTALLATION. WROUGHT IRON FENCE - 8'-0' ' (HEIGHT) X 90'-0' ' (LENGTH). LOCATION: ON PRIVATE PROPERTY ADJACENT TO S RACINE AVE.
104 | 16251260100000 | B200410501 | 3/26/2025 |  |  |  |  | 12000 |  | 2837 W 25TH ST |  | CHICAGO, IL |  | LETICIA HERRERA | FULL REBUILD (SAME AS EXISTING) FOR STEEL PORCH (OPEN) (QUANTITY: 1, LOCATION: FRONT OF BUILDING). LANDING: 80 SQUARE FEET. LANDING NOT MORE THAN 6 FEET ABOVE GROUND.
105 | 16251190060000 | B200410507 | 2/3/2025 |  |  |  |  | 10000 |  | 2917 W 24TH BLVD |  | CHICAGO, IL |  | PILSEN RENTALS, LLC SERIES XI | LIMITED REPAIR (25% OR LESS) FOR WOOD PORCH (OPEN) (QUANTITY: 4, LOCATION: EAST SIDE OF BUILDING).
106 | 17092570230000 | B200410523 | 2/18/2025 |  |  |  |  | 22955 |  | 333 W HUBBARD ST |  | CHICAGO, IL |  | FREDDIE MAC/ AGENT:MERA KORDIC | SCOPE: NONSTRUCTURAL INTERIOR ALTERATION IN UNIT #607 TO REPLACE DRYWALL, INSULATION, PLUMBING FIXTURES, TILES, FLOORING, REPLACE ELECTRICAL FIXTURES. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), UNIT 607 ONLY.
107 | 19014100210000 | B200410590 | 2/6/2025 |  |  |  |  | 4400 |  | 4459 S WASHTENAW AVE |  | CHICAGO, IL |  | FARRAJ SULEIMAN | REPAIR OR IN-KIND REPLACEMENT OF 0 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. INCLUDES REPAIR OR REPLACMENT OF PLUMBING PIPING. LOCATIONS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), 1 INTERIOR COMMON AREAS, BASEMENT AND STORE FRONT REMOVE ALL SINKS AND PLUMBING TO RESTORE TO ORIGINAL CONDITION TO CORRECT ALL VIOLATIONS.
108 | 20083140210000 | B200410667 | 2/12/2025 |  |  |  |  | 2800 |  | 5351 S LAFLIN ST |  | CHICAGO, IL |  | TERRAZAS FLAVIO | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. ALTER EXISTING LIGHTING. SPECIFIC LOCATION: ATTIC,2 FLOOR,BASEMENT.
109 | 20244120170000 | B200410711 | 2/11/2025 |  |  |  |  | 35000 |  | 6814 S OGLESBY AVE |  | CHICAGO, IL |  | ZEEGAR PROPERTIES LLC | REPAIR INTERIOR MAIN STARICASE REPAIR ONLY, LOOSE TREADS, HANDRAILS, POSTS AND CAP, 1ST TO 3RD FLR. LOCATIONS: 0 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 1 INTERIOR COMMON AREAS; MAIN INTERIOR STAIRCASE.
110 | 19113160220000 | B200410722 | 2/26/2025 |  |  |  |  | 45000 |  | 5221 S MILLARD AVE |  | CHICAGO, IL |  | T MOBILE US INC | ALTERATION OF EXISTING COMMUNICATION EQUIPMENT. ALTERATION OF 0 BOXES AND EQUIPMENT ON 1 TOWERS / STRUCTURES. LOCATION: EXISTING WIRELESS COMMUNICATION FACILITY.
111 | 16342060060000 | B200410747 | 2/1/2025 |  |  |  |  | 750 |  | 3217 S KEDVALE AVE |  | CHICAGO, IL |  | FLORES JUAN | INTERIOR REAR PORCH REPAIR. NO OTHER WORK. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 1 INTERIOR COMMON AREAS, INTERIOR PORCH (REAR).
112 | 13153200270000 | B200410749 | 1/31/2025 |  |  |  |  | 3000 |  | 4039 N KENNETH AVE |  | CHICAGO, IL |  | DEVELOPMENT LLC INTERFIRST CONSTRUCTION & | PURPOSE: NEW/REPLACEMENT INSTALLATION. WOOD FENCE - 6'-0' ' (HEIGHT) X 50'-0' ' (LENGTH). LOCATION: BACKYARD FENCE REPLACEMENT.
113 | 17223030490000 | B200410754 | 3/20/2025 |  |  |  |  | 550000 |  | 1600 S PRAIRIE AVE |  | CHICAGO, IL |  | PRAIRIE POINTE AT CENTRAL STATION | REPAIR/REPLACEMENT AFFECTING 1 SYSTEMS : 2 CHILLER(CARRIER, 30RB210) . ELECTRICAL WORK UNDER THIS PERMIT = YES . LOCATIONS: 161 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 1 INTERIOR COMMON AREAS, EXTERIOR WORK, 25TH FLOOR ROOF.
114 | 19092250070000 | B200410755 | 3/10/2025 |  |  |  |  | 33252 |  | 5023 S LEAMINGTON AVE |  | CHICAGO, IL |  | VALADEZ JORGE LUIS | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 6.96 KW. ARRAY OUTPUT: 10.2 KW. LOCATION: MAIN ROOF AND DETACHED GARAGE ROOF. ICC DISTRIBUTED GENERATION INSTALLER CERT. #24-0450. ¦ SPECIAL CONDITION: **NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. **PLEASE APPLY FOR SOLAR (ACCESSORY) PERMIT ASIDE FROM SOLAR (PRINCIPAL) PERMIT, PRIOR TO SOLAR INSPECTION AND HAVE PRESENT ON DATE OF INSPECTION OR RISK FAILURE AS PROPOSED WORK PER ELECTRICAL DRAWING SUBMITTED.**UNDERGROUND RACEWAY TO BE INSPECTED BY AHJ PRIOR TO COVERING.
115 | 13273150290000 | B200410778 | 2/4/2025 |  |  |  |  | 28240 |  | 4422 W DEMING PL |  | CHICAGO, IL |  | CORREA ANGEL | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 20'-11' ' X18'-10' '. HIP ROOF HEIGHT TO PEAK: 11'-2' '.
116 | 16021180160000 | B200410786 | 2/12/2025 |  |  |  |  | 1500 |  | 1309 N AVERS AVE |  | CHICAGO, IL |  | GIBBONS RORY | SCOPE: WRECK AND REMOVE 1 STORY DETACHED MASONRY GARAGE (NO REPLACEMENT)
117 | 13363060160000 | B200410804 | 2/14/2025 |  |  |  |  | 1500 |  | 1913 N FRANCISCO AVE |  | CHICAGO, IL |  | GUERRERO STEVE | PURPOSE: LEGALIZE UNPERMITTED WORK. WROUGHT IRON FENCE - 5'-5' ' (HEIGHT) X 25'-0' ' (LENGTH). LOCATION: REAR OF BUILDING FENCE. ¦ SPECIAL CONDITION: NO PORTION OF THE FENCE MAY EXCEED 5' 5" IN HEIGHT
118 | 13214220360000 | B200410849 | 2/12/2025 |  |  |  |  | 3800 |  | 3216 N CICERO AVE |  | CHICAGO, IL |  | JARRELL MICHELE | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 150 . LIGHTING OUTLETS: 150. SPECIFIC LOCATION: INTERIOR.
119 | 17302010310000 | B200410871 | 1/31/2025 |  |  |  |  | 15000 |  | 1824 W 22ND PL |  | CHICAGO, IL |  | UHLER FRANK | FULL REBUILD (SAME AS EXISTING) FOR WOOD PORCH (OPEN) (QUANTITY: 1, LOCATION: FRONT OF BUILDING). LANDING: 20 SQUARE FEET. LANDING NOT MORE THAN 6 FEET ABOVE GROUND.
120 | 20363300220000 | B200410906 | 1/31/2025 |  |  |  |  | 17000 |  | 8624 S EUCLID AVE |  | CHICAGO, IL |  | SHELTON KIMBERLY | REPAIR/REPLACEMENT AFFECTING 1 SYSTEMS : 3 CENTRAL FURNACE(BASEMENT) . ELECTRICAL WORK UNDER THIS PERMIT = NO . LOCATIONS: 3 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), ALL UNITS.
121 | 16094220230000 | B200410936 | 2/14/2025 |  |  |  |  | 4000 |  | 5014 W WASHINGTON BLVD |  | CHICAGO, IL |  | QUISPHE MESIAS | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 400 AMP SERVICE DISCONNECTING MEANS WITH 4 CIRCUITS. RECEPTACLE OUTLETS: 0 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: BASEMENT.
122 | 16152010190000 | B200410994 | 3/20/2025 |  |  |  |  | 200000 |  | 4252 W MONROE ST |  | CHICAGO, IL |  | POWER UP PLAZA LLC | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 800 AMP SERVICE DISCONNECTING MEANS WITH 12 CIRCUITS. RECEPTACLE OUTLETS: 0 . LIGHTING OUTLETS: 1. ELECTRIC VEHICLE SUPPLY EQUIPMENT:8 SPACES. SPECIFIC LOCATION: VACANT LOT ELECTRICAL VEHICLE CHARGER LOT.
123 | 13354140160000 | B200411020 | 2/27/2025 |  |  |  |  | 25000 |  | 1732 N KIMBALL AVE |  | CHICAGO, IL |  | MENDOZA LARQUIN LAURA | IN-KIND REPLACEMENT OF EXTERIOR WINDOWS AND DOORS IN EXISTING OPENINGS. REPLACEMENT WINDOWS: 11; REPLACEMENT SKYLIGHTS: 0; REPLACEMENT DOORS: 4. AFFECTS: 2 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 2 INTERIOR COMMON AREAS, LOCATION: 1ST 2ND FLOOR.
124 | 21304170330000 | B200411043 | 1/31/2025 |  |  |  |  | 10000 |  | 7862 S SOUTH SHORE DR |  | CHICAGO, IL |  | 7862 S SHORE DR LLC | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 1000 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: MASONRY REPAIRS PER VIOLATIONS.
125 | 19093270790000 | B200411050 | 2/3/2025 |  |  |  |  | 50000 |  | 5432 S LONG AVE |  | CHICAGO, IL |  | CACCIATO ANTHONY | NONSTRUCTURAL INTERIOR WORK: REPAIR DRYWALL. REPLACE ELECTRICAL PANEL. REPLACE PLUMBING FIXTURES AND ASSOCIATED PIPING. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), BASEMENT UNIT.
126 | 17061090030000 | B200411069 | 4/8/2025 |  |  |  |  | 173898 |  | 2315 W LE MOYNE ST |  | CHICAGO, IL |  | EVERGREEN REAL ESTATE SERVICES | REPAIR/REPLACEMENT AFFECTING 1 SYSTEMS : 1 MAKE UP AIR UNIT(STERLING, RT80, ROOFTOP) . ELECTRICAL WORK UNDER THIS PERMIT = NO . LOCATIONS: 0 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), EXTERIOR WORK, ROOFTOP. ¦ SPECIAL CONDITION: PRIOR TO INSTALLING THE MAKE UP AIR UNIT CONTACT REFRIGERATION BUREAU SUPERVISOR BUD GAVIN AT 312-743-7215.
127 | 19093130240000 | B200411087 | 2/26/2025 |  |  |  |  | 3900 |  | 5746 S ARCHER AVE |  | CHICAGO, IL |  | GUIDO ANGUIANO | NONSTRUCTURAL INTERIOR PREPARATORY DEMOLITION: REMOVAL OF DRYWALL/NON-LOAD BEARING PARTITIONS. ALL OTHER WORK UNDER SPR APPLICATION/PERMIT 101064220. LOCATIONS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), 1ST FLOOR. ¦ SPECIAL CONDITION: DEMO PLAN UPLOADED ON 2-19-2025 AS A PART OF SPR APPLICATION/PERMIT # 101064220
128 | 20252180140000 | B200411137 | 2/11/2025 |  |  |  |  | 58325 |  | 7351 S LUELLA AVE |  | CHICAGO, IL |  | WILLIAMSON ELI | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: LOW-SLOPED (<2:12). INVERTER OUTPUT: 9.15 KW. ARRAY OUTPUT: 10.5 KW. INCLUDES 20 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF, REAR EXTERIOR, BASEMENT (NEAR MSP). ICC DISTRIBUTED GENERATION INSTALLER CERT. #23-0736. ¦ SPECIAL CONDITION: BACK-FED BREAKERS SHALL BE COMPATIBLE WITH NEW/EXISTING HOUSE LOAD CENTER. ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, ETC... MUST BE LISTED AND LABELED FOR USE
129 | 13112190010000 | B200411171 | 3/14/2025 |  |  |  |  | 6000 |  | 5257 N ST LOUIS AVE |  | CHICAGO, IL |  | CASTILHO AURELIO | PURPOSE: NEW/REPLACEMENT INSTALLATION. WOOD FENCE - 6'-0' ' (HEIGHT) X 29'-11' ' (LENGTH). LOCATION: BACKYARD.
130 | 17093340010000 | B200411183 | 2/6/2025 |  |  |  |  | 95637 |  | 111 N CANAL ST |  | CHICAGO, IL |  | LUMEN TECHNOLOGIES | REPAIR/REPLACEMENT AFFECTING 1 SYSTEMS : 1 ROOFTOP PACKAGED UNIT(LIEBERT, D0H*150**272, ROOF) . ELECTRICAL WORK UNDER THIS PERMIT = NO . LOCATIONS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), EXTERIOR WORK, ROOF - REPLACEMENT OF EXISTING ROOFTOP UNIT.
131 | 20362210300000 | B200411228 | 2/3/2025 |  |  |  |  | 2500 |  | 8142 S CRANDON AVE |  | CHICAGO, IL |  | 7300 S INDIANA LLC | REPAIR (26% TO 50%) FOR WOOD PORCH (OPEN) (QUANTITY: 1, LOCATION: REAR OF BUILDING).
132 | 17171140480000 | B200411230 | 4/9/2025 |  |  |  |  | 3000 |  | 1547 W JACKSON BLVD |  | CHICAGO, IL |  | FILIPPO DONNA | PURPOSE: LEGALIZE UNPERMITTED WORK. WOOD FENCE - 6'-0' ' (HEIGHT) X 10'-0' ' (LENGTH). LOCATION: BACK YARD. ¦ SPECIAL CONDITION: NO NEW FENCES TO BE INSTALLED IN THE FRONT YARD WITH THIS APPROVAL.
133 | 20164190100000 | B200411234 | 2/11/2025 |  |  |  |  | 45000 |  | 6102 S LA SALLE ST |  | CHICAGO, IL |  | T MOBILE US INC | ALTERATION OF EXISTING COMMUNICATION EQUIPMENT. ALTERATION OF 2 BOXES AND EQUIPMENT ON 1 TOWERS / STRUCTURES. LOCATION: EXISTING WIRELESS COMMUNICATION FACILITY.
134 | 13343180270000 | B200411246 | 2/4/2025 |  |  |  |  | 35670 |  | 4500 W NORTH AVE |  | CHICAGO, IL |  | BANK OF AMERICA | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 64 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: RIGHT FRONT CORNER.
135 | 20321150410000 | B200411281 | 2/11/2025 |  |  |  |  | 48000 |  | 8056 S RACINE AVE |  | CHICAGO, IL |  | SUTTON DARRIN | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 1000 SQ. FT., LINTEL QTY. 1, MAX. LENGTH 9' 8".LOCATION: SOUTH ELEVATION EXTERIOR WALL
136 | 13334030090000 | B200411319 | 2/4/2025 |  |  |  |  | 5000 |  | 4801 W ARMITAGE AVE |  | CHICAGO, IL |  | TAMBAKOS CHRIS | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 100 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: 4801 - FRONT ENTRANCE.
137 | 14322250270000 | B200411325 | 1/30/2025 |  |  |  |  | 30000 |  | 2026 N BISSELL ST |  | CHICAGO, IL |  | HILDEBRAND JOHN | CONCRETE MASONRY REPAIR / REPLACEMNT: 1750SQ. FT., EXCAVATION = NO. LOCATION: BASEMENT DEEPENING PER PLAN.
138 | 14331000460000 | B200411341 | 2/6/2025 |  |  |  |  | 25000 |  | 2316 N LINCOLN AVE |  | CHICAGO, IL |  | T-MOBILE CENTRAL, LLC | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: ON ROOFTOP.
139 | 19191050430000 | B200411355 | 3/20/2025 |  |  |  |  | 28922 |  | 7004 W 64TH ST |  | CHICAGO, IL |  | DOMINGUEZ LYNETTE | SCOPE: NONSTRUCTURAL INTERIOR ALTERATION TO ADD FULL BATHROOM IN OPEN BASMENT WITHIN SINGLE FAMILY HOME. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), BASEMENT.
140 | 25053030140000 | B200411361 | 1/30/2025 |  |  |  |  | 16700 |  | 9133 S BISHOP ST |  | CHICAGO, IL |  | TAYLOR BOBBIE | REPAIR/REPLACEMENT AFFECTING 1 SYSTEMS : 1 BOILER - STEAM(CROWN BERMUDA BOILER, BASEMENT) . ELECTRICAL WORK UNDER THIS PERMIT = NO . LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 1 INTERIOR COMMON AREAS, BASEMENT.
141 | 13064020440000 | B200411366 | 2/11/2025 |  |  |  |  | 10000 |  | 5931 N NORTHWEST HWY |  | CHICAGO, IL |  | PACINI JAMES | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 500 SQ. FT., LINTEL QTY. 6, MAX. LENGTH 5. LOCATION: EXTERIOR MASONRY.
142 | 16041150050000 | B200411372 | 1/30/2025 |  |  |  |  | 12750 |  | 1443 N LATROBE AVE |  | CHICAGO, IL |  | WARREN RANDSLEY | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 8.5 KW. ARRAY OUTPUT: 8.5 KW. LOCATION: THE ROOF. ICC DISTRIBUTED GENERATION INSTALLER CERT. #22-0420. ¦ SPECIAL CONDITION: ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, ETC... MUST BE LISTED AND LABELED FOR USE.
143 | 16022070060000 | B200411405 | 2/8/2025 |  |  |  |  | 27600 |  | 3235 W PIERCE AVE |  | CHICAGO, IL |  | CASTRO SIMON | NONSTRUCTURAL INTERIOR WORK ON SECOND FLOOR.: REPLACE DRYWALL (ELECTRICAL ON SEPARATE PERMIT). LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S)
144 | 14323140270000 | B200411418 | 2/6/2025 |  |  |  |  | 58070 |  | 1656 N BESLY CT |  | CHICAGO, IL |  | SIPI METALS CORP | SCOPE: ROOF RECOVER. AREA: 8100 SQ. FT. ROOF COVERING: MINERAL - SURFACED ROLL ROOFING. LOCATION: THE ROOF. IL ROOFING CONTRACTOR LICENSE: 104008589.
145 | 25032110120000 | B200411420 | 2/18/2025 |  |  |  |  | 3000 |  | 735 E 88TH ST |  | CHICAGO, IL |  | MJF INVESTMENTS LLC | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 20'-0' ' X20'-0' '. GABLE ROOF HEIGHT TO PEAK: 10'-0' '. ¦ SPECIAL CONDITION: TWO CAR DETACHED FRAME GARAGE
146 | 17162090120000 | B200411477 | 2/17/2025 |  |  |  |  | 72500 |  | 227 W MONROE ST |  | CHICAGO, IL |  | TISHMAN SPEYER PROPERTIES | HYDRONIC PIPING EXTENSION/RECONFIGURATION, NEW HEAT PUMP OR REFRIGERATION EQUIP., ELECTRICAL WORK UNDER THIS PERMIT = NO . LOCATIONS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), IDF 638 6TH FLOOR.
147 | 13151240080000 | B200411486 | 4/2/2025 |  |  |  |  | 500 |  | 4531 N KOSTNER AVE |  | CHICAGO, IL |  | STEED KYLE | PURPOSE: NEW/REPLACEMENT INSTALLATION. WOOD FENCE - 6'-0' ' (HEIGHT) X 15'-0' ' (LENGTH). LOCATION: SMALL LENGTH OF SOUTH SIDE OF PROPERTY.
148 | 25281010300000 | B200411500 | 3/6/2025 |  |  |  |  | 12000 |  | 11928 S UNION AVE |  | CHICAGO, IL |  | MILLER JOYCE | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: LOW-SLOPED (<2:12). INVERTER OUTPUT: 10 KW. ARRAY OUTPUT: 10.92 KW. LOCATION: ROOF TOP SOLAR. ICC DISTRIBUTED GENERATION INSTALLER CERT. #19-0250. ¦ SPECIAL CONDITION: ** NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018.
149 | 20213260320000 | B200411501 | 2/3/2025 |  |  |  |  | 100 |  | 7046 S NORMAL BLVD |  | CHICAGO, IL |  | MELAN HOLDINGS RE CORP | REPAIR OR IN-KIND REPLACEMENT OF 3 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. REPAIR OR IN-KIND REPLACEMENT OF HOT WATER HEATER(S). INCLUDES REPAIR OR REPLACMENT OF PLUMBING PIPING. LOCATIONS: 3 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 1ST 2ND 3RD.
150 | 12023010150000 | B200411507 | 1/30/2025 |  |  |  |  | 30000 |  | 8725 W HIGGINS RD |  | CHICAGO, IL |  | RIOS EDWARD | ALTERATION OF EXISTING COMMUNICATION EQUIPMENT. ALTERATION OF 0 BOXES AND EQUIPMENT ON 1 TOWERS / STRUCTURES. LOCATION: REMOVE/SWAP ANTENNAS AT EXISTING TELECOM ON ROOF.
151 | 20323210060000 | B200411510 | 2/10/2025 |  |  |  |  | 2500 |  | 8519 S THROOP ST |  | CHICAGO, IL |  | THORNHILL JOSEPHINE | REPAIR OR IN-KIND REPLACEMENT OF 1 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. REPAIR OR IN-KIND REPLACEMENT OF HOT WATER HEATER(S). INCLUDES REPAIR OR REPLACMENT OF PLUMBING PIPING. LOCATIONS: 1 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), 1 INTERIOR COMMON AREAS, BASEMENT.
152 | 13341060100000 | B200411556 | 2/7/2025 |  |  |  |  | 26000 |  | 2335 N KENNETH AVE |  | CHICAGO, IL |  | MORALES GILBERT | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 20'-0' ' X20'-0' '. HIP ROOF HEIGHT TO PEAK: 12'-0' '.
153 | 11311050060000 | B200411559 | 2/7/2025 |  |  |  |  | 25000 |  | 2231 W ESTES AVE |  | CHICAGO, IL |  | JOHNSON CLARK | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 22'-0' ' X18'-0' '. HIP ROOF HEIGHT TO PEAK: 12'-0' '.
154 | 12121010500000 | B200411562 | 2/7/2025 |  |  |  |  | 29000 |  | 7818 W GREGORY ST |  | CHICAGO, IL |  | REISER BARBARA | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 22'-0' ' X22'-0' '. GABLE ROOF HEIGHT TO PEAK: 14'-0' '.
155 | 13053120300000 | B200411563 | 2/7/2025 |  |  |  |  | 28000 |  | 5838 N MELVINA AVE |  | CHICAGO, IL |  | COBA SANTIAGO | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 20'-0' ' X20'-0' '. GABLE ROOF HEIGHT TO PEAK: 12'-0' '.
156 | 17302070460000 | B200411579 | 1/30/2025 |  |  |  |  | 1500 |  | 2350 S BLUE ISLAND AVE |  | CHICAGO, IL |  | T-MOBILE | LINE VOLTAGE ELECTRICAL WORK. ADD 1 CIRCUITS TO EXISTING 200 AMP SERVICE DISCONNECTING MEANS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: CELL TOWER.
157 | 16351200050000 | B200411581 | 1/30/2025 |  |  |  |  | 1500 |  | 3344 S LAWNDALE AVE |  | CHICAGO, IL |  | T-MOBILE | LINE VOLTAGE ELECTRICAL WORK. ADD 1 CIRCUITS TO EXISTING 200 AMP SERVICE DISCONNECTING MEANS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: CELL TOWER.
158 | 13152250090000 | B200411583 | 3/19/2025 |  |  |  |  | 45000 |  | 4503 N KILDARE AVE |  | CHICAGO, IL |  | HANSON JOHN | SCOPE: NONSTRUCTURAL INTERIOR ALTERATION TO BASEMENT WITHIN SINGLE FAMILY RESIDENCE, TO RELOCATE DUCTWORK, WALLS AND DOORS, RELOCATE ELECTRICAL OUTLETS AND LIGHT FIXTURES. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), BASEMENT.
159 | 17101000010000 | B200411592 | 2/3/2025 |  |  |  |  | 1500 |  | 751 N STATE ST |  | CHICAGO, IL |  | T-MOBILE | LINE VOLTAGE ELECTRICAL WORK. ADD 1 CIRCUITS TO EXISTING 200 AMP SERVICE DISCONNECTING MEANS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: CELL TOWER.
160 | 14194010150000 | B200411596 | 2/4/2025 |  |  |  |  | 5000 |  | 1929 W EDDY ST |  | CHICAGO, IL |  | HOME PASS INC | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL AUDIO. INSTALL DATA/VIDEO. SPECIFIC LOCATION: LOW VOLTAGE FOR NEW SFR.
161 | 13132340290000 | B200411597 | 2/13/2025 |  |  |  |  | 88500 |  | 4412 N WESTERN AVE |  | CHICAGO, IL |  | QUEEN OF APOSTLES PARISH | REPAIR/REPLACEMENT AFFECTING 1 SYSTEMS : 3 COOLING TOWER(12.5 TON CARRIER 180,000/240,000BTU UNIT, 5-TON CARRIER 110,000BTU UNIT, & 4-TON YORK 125,000 BTU UNIT ALL ON ROOFTOP) . ELECTRICAL WORK UNDER THIS PERMIT = YES . LOCATIONS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), EXTERIOR WORK, ROOFTOP.
162 | 16234140400000 | B200411611 | 1/31/2025 |  |  |  |  | 4400 |  | 1852 S KEDZIE AVE |  | CHICAGO, IL |  | FAVELA ESTELAA | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 400 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: ALL ELEVATIONS AND THE CHIMNEY.
163 | 16113030220000 | B200411620 | 1/30/2025 |  |  |  |  | 2200 |  | 376 N HAMLIN AVE |  | CHICAGO, IL |  | ABDIEL ERI | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 250 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: TUCKPOINTING ON NORTH AND SOUTH ELEVATION.
164 | 24124280110000 | B200411653 | 2/20/2025 |  |  |  |  | 15000 |  | 10141 S ARTESIAN AVE |  | CHICAGO, IL |  | BERNARD STANLEY | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 20'-6' ' X30'-6' '. GABLE ROOF HEIGHT TO PEAK: 15'-0' '.
165 | 16243060050000 | B200411663 | 1/30/2025 |  |  |  |  | 100 |  | 2929 W 19TH ST |  | CHICAGO, IL |  | CAROL ROBERTSON | LINE VOLTAGE ELECTRICAL WORK. ADD 1 CIRCUITS TO EXISTING 400 AMP SERVICE DISCONNECTING MEANS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: 1ST FLOOR.
166 | 21312010180000 | B200411670 | 3/8/2025 |  |  |  |  | 100 |  | 7912 S ESCANABA AVE |  | CHICAGO, IL |  | VASQUEZ ALEXANDRO | REPAIR REAR PORCH AND INSTALL HANDRAIL GOING TO BASEMENT. LOCATIONS: 0 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 1 INTERIOR COMMON AREAS, COMMON REAR POUCH.
167 | 20084040430000 | B200411675 | 2/20/2025 |  |  |  |  | 57000 |  | 910 W 51ST PL |  | CHICAGO, IL |  | BROWN GRACE | IN-KIND REPLACEMENT OF EXTERIOR WINDOWS AND DOORS IN EXISTING OPENINGS. REPLACEMENT WINDOWS: 10; REPLACEMENT SKYLIGHTS: 0; REPLACEMENT DOORS: 4. AFFECTS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 1 INTERIOR COMMON AREAS, LOCATION: BASEMENT 1ST AND 2ND FLOOR.
168 | 16142020390000 | B200411718 | 2/25/2025 |  |  |  |  | 1500 |  | 3320 W MONROE ST |  | CHICAGO, IL |  | FAULKNER GREG | SCOPE: NONSTRUCTURAL INTERIOR WORK TO SISER 17 CEILING JOISTS AT SOUTHEAST CORNER, RESIDENTIAL UNITS: 1; NON-RESIDENTIAL UNITS: 0; LOCATION: SOUTHEAST CORNER OF BASEMENT
169 | 20321150410000 | B200411720 | 2/25/2025 |  |  |  |  | 5000 |  | 8056 S RACINE AVE |  | CHICAGO, IL |  | SUTTON DARRIN | REPAIR EXTERIOR MASONRY WALL IMPACTED BY VEHICLE, REPLACE DAMAGED FRAMING AND DRYWALL AT INTERIOR PER ARCHITECT'S DRAWING. LOCATIONS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), EXTERIOR WORK, SOUTH ELEVATION.
170 | 13264220020000 | B200411776 | 3/5/2025 |  |  |  |  | 10000 |  | 2545 N SAWYER AVE |  | CHICAGO, IL |  | THE CHURCH OF JESUS CHRIST OF LATTER DAY SAINTS | REPAIR/REPLACEMENT AFFECTING 1 SYSTEMS : 2 ROOFTOP PACKAGED UNIT(YORK SUN PRO ROOF TOP UNIT) . ELECTRICAL WORK UNDER THIS PERMIT = NO . LOCATIONS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), EXTERIOR WORK, ROOF TOP. ¦ SPECIAL CONDITION: CONTACT REFRIGERATION SUPERVISOR CLEMENT GAVIN 312-743-3562, PRIOR TO THE INSTALLATION OF ANY ROOFTOP EQUIPMENT, TO SCHEDULE AN INSPECTION.
171 | 25192050360000 | B200411778 | 3/11/2025 |  |  |  |  | 25000 |  | 11137 S VINCENNES AVE |  | CHICAGO, IL |  | T-MOBILE CENTRAL, LLC | LINE VOLTAGE ELECTRICAL WORK. INSTALL PERMANENT-NOT REQUIRED BY CODE 48 KW DIESEL GENERATOR. RECEPTACLE OUTLETS: 0 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: CELL TOWER. ¦ SPECIAL CONDITION: PLEASE GET ALL RELATED PERMITS AND REVIEWS FROM FIRE AND HEALTH DEPARTMENTS.
172 | 16341010130000 | B200411782 | 3/11/2025 |  |  |  |  | 25000 |  | 3100 S KILBOURN AVE |  | CHICAGO, IL |  | T-MOBILE CENTRAL, LLC | LINE VOLTAGE ELECTRICAL WORK. INSTALL PERMANENT-NOT REQUIRED BY CODE 48 KW DIESEL GENERATOR. RECEPTACLE OUTLETS: 0 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: CELL TOWER. ¦ SPECIAL CONDITION: PLEASE GET ALL RELATED PERMITS AND REVIEWS FROM FIRE AND HEALTH DEPARTMENTS.
173 | 19363210140000 | B200411786 | 2/19/2025 |  |  |  |  | 31149 |  | 2944 W 86TH PL |  | CHICAGO, IL |  | DLOUHY JOSHUA | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 10 KW. ARRAY OUTPUT: 11.05 KW. LOCATION: HOUSE ROOF. ICC DISTRIBUTED GENERATION INSTALLER CERT. #14-0400. ¦ SPECIAL CONDITION: ** NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018.
174 | 14082030010000 | B200411797 | 5/21/2025 |  |  |  |  | 200000 |  | 5555 N SHERIDAN RD |  | CHICAGO, IL |  | GILLESPIE TOM | REPAIR OR IN-KIND REPLACEMENT OF 0 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. INCLUDES REPAIR OR REPLACMENT OF PLUMBING PIPING. LOCATIONS: 0 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 1 INTERIOR COMMON AREAS, BASEMENT.
175 | 17092390170000 | B200411817 | 1/30/2025 |  |  |  |  | 12520 |  | 118 W GRAND AVE |  | CHICAGO, IL |  | TPE CHICAGO LLC DBA TANTA | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 0 . LIGHTING OUTLETS: 33. SPECIFIC LOCATION: FIRST AND SECOND FLOOR.
176 | 13333200290000 | B200411822 | 3/21/2025 |  |  |  |  | 4000 |  | 5512 W NORTH AVE |  | CHICAGO, IL |  | JOSE LUIS ZARUMA TENELEMA | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 400 AMP SERVICE DISCONNECTING MEANS WITH 3 CIRCUITS. RECEPTACLE OUTLETS: 0 . LIGHTING OUTLETS: 3. SPECIFIC LOCATION: EXTERIOR REAR SERVICE. ¦ SPECIAL CONDITION: COMPLY VIOLATION CASE #502166
177 | 17092390170000 | B200411823 | 1/31/2025 |  |  |  |  | 3200 |  | 118 W GRAND AVE |  | CHICAGO, IL |  | TPE CHICAGO LLC DBA TANTA | REPAIR OR IN-KIND REPLACEMENT OF 4 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. INCLUDES REPAIR OR REPLACMENT OF PLUMBING PIPING. LOCATIONS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), SECOND FLOOR TOILET ROOMS.
178 | 17103200020000 | B200411839 | 2/7/2025 |  |  |  |  | 2150000 |  | 25 N MICHIGAN AVE |  | CHICAGO, IL |  | SEFO ADMIR | CONCRETE MASONRY REPAIR / REPLACEMNT: 1000SQ. FT., EXCAVATION = NO. LOCATION: LOWER LEVEL ELEVATED SLAB UNDER, PARKING GARAGE.
179 | 14201030850000 | B200411851 | 2/10/2025 |  |  |  |  | 25000 |  | 3920 N CLARK ST |  | CHICAGO, IL |  | VERIZON WIRELESS | ALTERATION OF EXISTING COMMUNICATION EQUIPMENT. ALTERATION OF 0 BOXES AND EQUIPMENT ON 1 TOWERS / STRUCTURES. LOCATION: ANTENNA UPGRADE TO TELECOM EXISTING FACILITY ROOF.
180 | 16052230190000 | B200411865 | 1/30/2025 |  |  |  |  | 6500 |  | 5601 W HIRSCH ST |  | CHICAGO, IL |  | GESS HADGU | REPAIR/REPLACEMENT AFFECTING 1 SYSTEMS : 2 DUCT FURNACE(HEIL, N80MSN070, MECHANICAL CLOSET IN UNIT.) . ELECTRICAL WORK UNDER THIS PERMIT = NO . LOCATIONS: 2 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), IN UNIT MECHANICAL ROOM.
181 | 16144120100000 | B200411901 | 2/11/2025 |  |  |  |  | 25287 |  | 3519 W POLK ST |  | CHICAGO, IL |  | BROWN KEVIN | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: STEEP (>5:12). INVERTER OUTPUT: 5 KW. ARRAY OUTPUT: 7.225 KW. LOCATION: ROOF OF THE PRINCIPAL BUILDING. ICC DISTRIBUTED GENERATION INSTALLER CERT. #24-0276. ¦ SPECIAL CONDITION: ** NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018.
182 | 26061050100000 | B200411904 | 1/30/2025 |  |  |  |  | 2100 |  | 8725 S SAGINAW AVE |  | CHICAGO, IL |  | LSML PROPERTIES LLC | SCOPE: REPAIR SPINDLES AND LANDING AT REAR WEST ENCLOSED PORCH, NOT A REPLACEMENT. LOCATIONS: 0 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), EXTERIOR WORK, WEST/ENCLOSED REAR PORCH.
183 | 17094510250000 | B200411927 | 2/6/2025 |  |  |  |  | 61000 |  | 108 N STATE ST |  | CHICAGO, IL |  | AMERICAN MUTLI-CINEMA INC | DUCTWORK EXTENSION/RECONFIGURATION, GAS PIPING EXTENSION/RECONFIGURATION, ELECTRICAL WORK UNDER THIS PERMIT = YES . LOCATIONS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), FOURTH FLOOR, AMC MOVIE THEATER.
184 | 14083020360000 | B200411932 | 2/18/2025 |  |  |  |  | 125000 |  | 1342 W WINONA ST |  | CHICAGO, IL |  | BUCKELEW KEVIN | WORK ON 2ND FLOOR- AREA OF WORK 76 SQ FT: NONSTRUCTURAL INTERIOR ALTERATION TO CONVERT AN EXISTING SECOND FLOOR ROOM TO A MASTER BATHROOM. HALL DOORWAY WILL BE CLOSED OFF. NEW PLUMBING AND ELECTRICAL WILL BE BROUGHT UP FROM THE BASEMENT.
185 | 17322080040000 | B200411935 | 7/2/2025 |  |  |  |  | 30000 |  | 3133 S GREEN ST |  | CHICAGO, IL |  | CHICAGO HOUSING AUTHORITY | SCOPE: NONSTRUCTURAL INTERIOR REPLACEMENT OF FIRE DAMAGED DRYWALL, UPDATE ELECTRICAL AND ALL FIXTURES AND EQUIPMENT. NO FLOOR PLAN ALTERATIONS. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), APARTMENT 119.
186 | 13284240010000 | B200411955 | 2/26/2025 |  |  |  |  | 2200 |  | 2455 N LARAMIE AVE |  | CHICAGO, IL |  | MCNAUGHTON RYAN | REPAIR OR IN-KIND REPLACEMENT OF 0 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. INCLUDES REPAIR OR REPLACMENT OF PLUMBING PIPING. LOCATIONS: 0 RESIDENTIAL UNIT(S), 2 NON-RESIDENTIAL UNIT(S), BASEMENT.
187 | 14334110010000 | B200412006 | 1/30/2025 |  |  |  |  | 275000 |  | 1816 N CLARK ST |  | CHICAGO, IL |  | LINCOLN ASSET MANAGER LLC | NONSTRUCTURAL INTERIOR WORK TO FLOORS 7 THRU 10 TO EACH OF 72 SLEEPING ROOMS AND 4 COMMON AREAS; WORK CONSISTS OF CABINETRY UPGRADES, WALL FINISHES, FLOORS, BATHROOM UPGRADES TO INCLUDE PLUMBING FIXTURE REPLACEMENTS AND ASSOCIATED PIPING; RECONFIGURATION OF ELECTRICAL AND ELECTRICAL FIXTURE REPLACEMENTS; PUBLIC CORRIDORS INCLUDE THE REPLACEMENT OF ACOUSTICAL CEILING TILES, WITH NEW AND NEW LIGHT FIXTURES. LOCATIONS: 0 RESIDENTIAL UNIT(S), 72 NON-RESIDENTIAL UNIT(S), 4 INTERIOR COMMON AREAS, FLOORS 7 THRU 10.
188 | 19222120050000 | B200412010 | 2/19/2025 |  |  |  |  | 3000 |  | 6415 S KEELER AVE |  | CHICAGO, IL |  | SALGADO HUGO | NONSTRUCTURAL INTERIOR REMOVAL OF UNPERMITTED UNIT FEATURES IN BASEMENT AND ATTIC, REMOVAL OF TUB, CAPT AND REMOVE PIPING TO ITS SOURCE, REMOVE KITCHEN CABINETS AND CANCEL WATER LINES AND DRAIN. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), INTERIOR COMMON AREAS, BASEMENT AND ATTIC
189 | 17201150480000 | B200412014 | 2/4/2025 |  |  |  |  | 412300 |  | 1249 W HASTINGS ST |  | CHICAGO, IL |  | CHICAGO HOUSING AUTHORITY | REPAIR OR IN-KIND REPLACEMENT OF 30 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. INCLUDES REPAIR OR REPLACMENT OF PLUMBING PIPING. INCLUDES REPAIR OR REPLACEMENT OF PLUMBING RISERS IN EXISTING CHASES. LOCATIONS: 6 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 1249-1261 W HASTINGS BUILDINGS.
190 | 20361030280000 | B200412035 | 2/5/2025 |  |  |  |  | 7000 |  | 7926 S BENNETT AVE |  | CHICAGO, IL |  | GEAUTHIER KENNY | IN-KIND REPLACEMENT OF EXTERIOR WINDOWS AND DOORS IN EXISTING OPENINGS. REPLACEMENT WINDOWS: 26; REPLACEMENT SKYLIGHTS: 0; REPLACEMENT DOORS: 2. AFFECTS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), LOCATION: BASEMENT, FIRST FLOOR, SECOND FLOOR.
191 | 14294270500000 | B200412039 | 2/11/2025 |  |  |  |  | 25000 |  | 2430 N LINCOLN AVE |  | CHICAGO, IL |  | 2430-42 LINCOLN BLDG LLC | SCOPE: NONSTRUCTURAL INTERIOR PREPARATORY DEMOLITION OF 13,410 SQ FT OF NON-LOAD BEARING DRYWALL AT 12 RESIDENTIAL UNITS ON 2ND, 3RD, AND 4TH FLOORS (NO WORK TO BASEMENT OR 1ST FLOOR COMMERCIAL UNIT). LOCATIONS: 12 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 3 INTERIOR COMMON AREAS, 2ND FLOOR, 3RD FLOOR, 4TH FLOOR.
192 | 17163310250000 | B200412054 | 2/4/2025 |  |  |  |  | 50000 |  | 1132 S JEFFERSON ST |  | CHICAGO, IL |  | BEVERAGE DEPOT BINNY'S | GAS PIPING EXTENSION/RECONFIGURATION, REPAIR/REPLACEMENT AFFECTING 1 SYSTEMS : 2 ROOFTOP PACKAGED UNIT(CARRIER 48FC06 ROOF) . ELECTRICAL WORK UNDER THIS PERMIT = YES . LOCATIONS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), EXTERIOR WORK, REPLACE EXISTING HVAC UNITS ON THE ROOF.
193 | 16351200050000 | B200412055 | 1/31/2025 |  |  |  |  | 45000 |  | 3344 S LAWNDALE AVE |  | CHICAGO, IL |  | T MOBILE US INC | ALTERATION OF EXISTING COMMUNICATION EQUIPMENT. ALTERATION OF 0 BOXES AND EQUIPMENT ON 1 TOWERS / STRUCTURES. LOCATION: EXISTING WIRELESS COMMUNICATION FACILITY.
194 | 16151060170000 | B200412062 | 2/13/2025 |  |  |  |  | 30000 |  | 4554 W WILCOX ST |  | CHICAGO, IL |  | NASON OWEN | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL OTHER. SPECIFIC LOCATION: GROUND LEVEL.
195 | 17042090200000 | B200412075 | 2/25/2025 |  |  |  |  | 44000 |  | 1446 N DEARBORN ST |  | CHICAGO, IL |  | BEAL PROPERTIES | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 600 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: SOUTH EAST AND WEST ELEVATIONS.
196 | 17173200020000 | B200412076 | 1/30/2025 |  |  |  |  | 2000 |  | 919 S ADA ST |  | CHICAGO, IL |  | NATIONAL PUBLIC HOUSING MUSEUM | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL DATA/VIDEO. SPECIFIC LOCATION: WHOLE BUILDING INCLUDING BASEMENT.
197 | 19244020010000 | B200412084 | 4/18/2025 |  |  |  |  | 5500 |  | 2555 W MARQUETTE RD |  | CHICAGO, IL |  | FLORES ABEL | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 650 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: ALL ELEVATIONS.
198 | 14182000200000 | B200412097 | 2/4/2025 |  |  |  |  | 24000 |  | 4734 N WINCHESTER AVE |  | CHICAGO, IL |  | HUANG CISSY C. | NONSTRUCTURAL INTERIOR WORK -KITCHEN AND BATH REMODEL ON 1ST FLOOR. REPLACE PLUMBING FIXTURES AND ASSOCIATED PIPING, NEW COPPER LINES. REPLACE ELECTRICAL FIXTURES, NEW WIRING. REPLACE DRYWALL AS NEEDED. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S) ¦ SPECIAL CONDITION: THIS PERMIT DOES NOT CONFIRM OR VERIFY UNIT COUNT ON THIS PROPERTY
199 | 16021040050000 | B200412099 | 3/25/2025 |  |  |  |  | 5500 |  | 3747 W NORTH AVE |  | CHICAGO, IL |  | SOTO ELLIOTT | SCOPE: ROOF RECOVER. AREA: 1450 SQ. FT. ROOF COVERING: BUILT-UP ROOF. LOCATION: REPAIR EXISTING ROOF. IL ROOFING CONTRACTOR LICENSE: 104019003.
200 | 16143190140000 | B200412100 | 2/10/2025 |  |  |  |  | 100 |  | 3918 W FILLMORE ST |  | CHICAGO, IL |  | TOWNSEND KIMBERLY | SCOPE: NONSTRUCTURAL INTERIOR WORK: REPLACE DRYWALL. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 1ST FLOOR UNIT ONLY. ¦ SPECIAL CONDITION: THIS PERMIT DOES NOT CONFIRM OR VERIFY UNIT COUNT FOR THIS PROPERTY