## Sheet1
# [LLINE] | PIN* [PARID] | Local Permit No.* [USER28] | Issue Date* [PERMDT] | Desc 1* [DESC1] | Desc 2 Code 1 [USER6] | Desc 2 Code 2 [USER7] | Desc 2 Code 3 [USER8] | Amount* [AMOUNT] | Assessable [IS_ASSESS] | Applicant Street Address* [ADDR1] | Applicant Address 2 [ADDR2] | Applicant City, State, Zip* [ADDR3] | Contact Phone* [PHONE] | Applicant* [USER21] | Notes [NOTE1] | Occupy Dt [UDATE1] | Submit Dt* [CERTDATE] | Est Comp Dt [UDATE2] | user21
1 | 20162210380000 | B200416298 | 3/18/2025 |  |  |  |  | 10000 |  | 5812 S STATE ST |  | CHICAGO, IL |  | JABER AKRAM | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 600 AMP SERVICE DISCONNECTING MEANS WITH 4 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: SOUTH WALL, CENTER OF BUILDING.
2 | 20084200020000 | B200416299 | 3/18/2025 |  |  |  |  | 2800 |  | 853 W 53RD ST |  | CHICAGO, IL |  | SANCHEZ ISIDRO | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: ELECTRICAL IN ALL 3 UNITS AND COMMON AREA.
3 | 20154070220000 | B200416304 | 3/12/2025 |  |  |  |  | 15000 |  | 727 E 60TH ST |  | CHICAGO, IL |  | THOMAS RAMARA | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: STAIRS AND HALLWAYS.
4 | 16222080260000 | B200416310 | 4/1/2025 |  |  |  |  | 12000 |  | 1328 S KOLIN AVE |  | CHICAGO, IL |  | FLORES ALVARO | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 20'-0' ' X20'-0' '. HIP ROOF HEIGHT TO PEAK: 13'-11' '.
5 | 25161240070000 | B200416311 | 3/8/2025 |  |  |  |  | 2000 |  | 10623 S UNION AVE |  | CHICAGO, IL |  | WATKINS ALICIA | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 14 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. 13.5 KWH LITHIUM ION ENERGY STORAGE SYSTEM. SPECIFIC LOCATION: BASEMENT & BACK EXTERIOR.
6 | 25032010270000 | B200416312 | 3/14/2025 |  |  |  |  | 2000 |  | 506 E 87TH PL |  | CHICAGO, IL |  | ROBINSON LEOLA | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 10 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. 13.5 KWH LITHIUM ION ENERGY STORAGE SYSTEM. SPECIFIC LOCATION: BASEMENT & BACK EXTERIOR.
7 | 20182120450000 | B200416313 | 3/12/2025 |  |  |  |  | 3500 |  | 1744 W 57TH ST |  | CHICAGO, IL |  | FOLKES VERNON | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: COACH HOUSE.
8 | 17092360250000 | B200416319 | 3/11/2025 |  |  |  |  | 622950 |  | 330 W GRAND AVE |  | CHICAGO, IL |  | GNP MANAGEMENT | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 3000 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: MASONRY REPAIRS EAST AND NORTH ELEVATION.
9 | 17322090070000 | B200416321 | 3/25/2025 |  |  |  |  | 2500 |  | 3215 S RACINE AVE |  | CHICAGO, IL |  | SHEN JINGJIE | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 250 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: BACKSIDE OF THE BUILDING.
10 | 19233170200000 | B200416325 | 3/9/2025 |  |  |  |  | 8500 |  | 3801 W 69TH ST |  | CHICAGO, IL |  | MARTINEZ PEDRO | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 20'-0' ' X20'-0' '. HIP ROOF HEIGHT TO PEAK: 12'-0' '.
11 | 20294160170000 | B200416326 | 3/28/2025 |  |  |  |  | 100 |  | 7743 S RACINE AVE |  | CHICAGO, IL |  | TAYLOR JACOB | NONSTRUCTURAL INTERIOR WORK: REPLACE DRYWALL. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S) 2ND FLOOR APARTMENT.
12 | 20353090400000 | B200416327 | 3/9/2025 |  |  |  |  | 2500 |  | 8546 S MARYLAND AVE |  | CHICAGO, IL |  | THURMOND JASMINE | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: BASEMENT.
13 | 25183040200000 | B200416328 | 3/24/2025 |  |  |  |  | 20250 |  | 2149 W 107TH PL |  | CHICAGO, IL |  | JAMES KELLIE | SCOPE: NONSTRUCTURAL INTERIOR REPLACEMENT OF 134' OF SILL PLATE, SUPPORT WOOD JOIST WITH WOOD FRAME. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 1 INTERIOR COMMON AREAS, BASEMENT.
14 | 19353320550000 | B200416329 | 3/9/2025 |  |  |  |  | 3500 |  | 3820 W 86TH PL |  | CHICAGO, IL |  | GODINEZ ARIANA | PURPOSE: NEW/REPLACEMENT INSTALLATION. VINYL/PVC FENCE - 6'-0' ' (HEIGHT) X 125'-0' ' (LENGTH). LOCATION: BACKYARD FENCING.
15 | 16084010100000 | B200416331 | 3/11/2025 |  |  |  |  | 5000 |  | 325 N MASON AVE |  | CHICAGO, IL |  | ROSE DAVID | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 800 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. PARAPET REBUILDING: 400 SQ. FT. LOCATION: EXTERIOR WALLS.
16 | 25032260050000 | B200416333 | 3/10/2025 |  |  |  |  | 17000 |  | 617 E 90TH ST |  | CHICAGO, IL |  | ISRAEL HEZEKIAH | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 16 CIRCUITS. RECEPTACLE OUTLETS: 40 . LIGHTING OUTLETS: 21. SPECIFIC LOCATION: SINGLE FAMILY HOME ALL.
17 | 17094070010000 | B200416350 | 3/10/2025 |  |  |  |  | 4500 |  | 325 N LA SALLE DR |  | CHICAGO, IL |  | NORR ARCHITECT | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. ALTER EXISTING DATA/VIDEO. SPECIFIC LOCATION: SUITE 500.
18 | 19273180430000 | B200416355 | 3/11/2025 |  |  |  |  | 7700 |  | 4406 W 77TH PL |  | CHICAGO, IL |  | CABRALES JOSE LUIS RUANO | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 3.8 KW. ARRAY OUTPUT: 4.4 KW. LOCATION: ROOF OF HOUSE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #19-0021. ¦ SPECIAL CONDITION: ** NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018.
19 | 21301110170000 | B200416362 | 3/26/2025 |  |  |  |  | 600 |  | 7330 S EXCHANGE AVE |  | CHICAGO, IL |  | SKOGLUND MICHELLE | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL SECURITY. SPECIFIC LOCATION: FOYER AREA.
20 | 16264250270000 | B200416366 | 3/27/2025 |  |  |  |  | 21000 |  | 3006 S ST LOUIS AVE |  | CHICAGO, IL |  | ALMARAZ APRIL | NONSTRUCTURAL INTERIOR WORK-AREA OF WORK 500 SQ FT: REPLACE DRYWALL. INSULATION. REMOVE AND INSTALL 100 AMP SERVICE. INSTALL NEW CIRCUITS (NO PLUMBING WORK UNDER THIS PERMIT). LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 1 INTERIOR COMMON AREAS, BATHROOM, KITCHEN, LIVING ROOM AND BEDROOMS.
21 | 17282080870000 | B200416372 | 3/10/2025 |  |  |  |  | 24175 |  | 2241 S ARCHER AVE |  | CHICAGO, IL |  | FAN MING | SCOPE: ROOF REPLACEMENT. AREA: 1072 SQ. FT. ROOF COVERING: MINERAL - SURFACED ROLL ROOFING. LOCATION: ON TOP OF THE ROOF. IL ROOFING CONTRACTOR LICENSE: 104018798.
22 | 17103040170000 | B200416377 | 3/12/2025 |  |  |  |  | 125000 |  | 225 N MICHIGAN AVE |  | CHICAGO, IL |  | CANNON DESIGN | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL DATA/VIDEO. SPECIFIC LOCATION: SUITE 1100.
23 | 19073300080000 | B200416378 | 3/11/2025 |  |  |  |  | 25990 |  | 5423 S NEWCASTLE AVE |  | CHICAGO, IL |  | RANDAZZO GENO | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 22'-0' ' X20'-0' '. HIP ROOF HEIGHT TO PEAK: 13'-0' '.
24 | 14204070330000 | B200416382 | 3/10/2025 |  |  |  |  | 48000 |  | 3512 N HALSTED ST |  | CHICAGO, IL |  | SEMINARY PROPERTIES AND MANAGEMENT, LTD | SCOPE: ROOF REPLACEMENT. AREA: 2500 SQ. FT. ROOF COVERING: BUILT-UP ROOF. LOCATION: ROOFING. IL ROOFING CONTRACTOR LICENSE: 104012900.
25 | 19142250010000 | B200416385 | 3/10/2025 |  |  |  |  | 22000 |  | 5815 S HOMAN AVE |  | CHICAGO, IL |  | CPS* | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 275 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: ALL FOUR ELEVATIONS 275 SQ FT TUCKPOINTING.
26 | 13262080320000 | B200416389 | 3/24/2025 |  |  |  |  | 10000 |  | 3040 N DRAKE AVE |  | CHICAGO, IL |  | RED MUG INVESTMENTS | SCOPE: NONSTRUCTURAL INTERIOR PREPARATORY DEMOLITION OF NON-LOAD BEARING WALLS AND M.E.P. SYSTEMS WITH DEMO DRAWINGS AND ALL OTHER WORK TO BE PERFORMED ON 101064950. LOCATIONS: 5 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), UNITS GF, 1F, 2F, 1R, 2R.
27 | 17302040220000 | B200416390 | 3/11/2025 |  |  |  |  | 16000 |  | 1900 W 23RD ST |  | CHICAGO, IL |  | CPS* | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 94 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: ALL FOUR ELEVATIONS PER DRAWING.
28 | 17293230020000 | B200416391 | 3/11/2025 |  |  |  |  | 6250 |  | 3035 S LOCK ST |  | CHICAGO, IL |  | CHEN SHUXIAN | SCOPE: ROOF REPLACEMENT. AREA: 900 SQ. FT. ROOF COVERING: ASPHALT SHINGLES. LOCATION: FIRE REPAIRS - REROOFING. IL ROOFING CONTRACTOR LICENSE: 104018967.
29 | 12244230290000 | B200416395 | 3/14/2025 |  |  |  |  | 32739 |  | 3337 N OCONTO AVE |  | CHICAGO, IL |  | EINERSEN STEPHEN | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 22'-0' ' X20'-0' '. HIP ROOF HEIGHT TO PEAK: 14'-0' '.
30 | 20194120160000 | B200416397 | 3/10/2025 |  |  |  |  | 2000 |  | 6839 S WOOD ST |  | CHICAGO, IL |  | SANCHEZ ISAI | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 30 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: FIRST FLOOR.
31 | 19343300390000 | B200416401 | 3/18/2025 |  |  |  |  | 9102 |  | 4523 W 84TH PL |  | CHICAGO, IL |  | AVALOS ALEJANDRO | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 2.9 KW. ARRAY OUTPUT: 0.0041 KW. LOCATION: ROOF SOLAR. ICC DISTRIBUTED GENERATION INSTALLER CERT. #23-0387. ¦ SPECIAL CONDITION: **NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018.
32 | 19182210370000 | B200416402 | 3/10/2025 |  |  |  |  | 1000 |  | 5742 S NATCHEZ AVE |  | CHICAGO, IL |  | KOSTECKI MELANIE | PURPOSE: NEW/REPLACEMENT INSTALLATION. VINYL/PVC FENCE - 6'-0' ' (HEIGHT) X 43'-0' ' (LENGTH). LOCATION: BACKYARD.
33 | 20254060160000 | B200416403 | 3/10/2025 |  |  |  |  | 23946 |  | 7525 S CRANDON AVE |  | CHICAGO, IL |  | COHEN JENNIFER | REPAIR OR IN-KIND REPLACEMENT OF 0 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. INCLUDES REPAIR OR REPLACMENT OF PLUMBING PIPING. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 1 INTERIOR COMMON AREAS, EXTERIOR WORK, BASEMENT & FRONT OF HOME.
34 | 14313310130000 | B200416404 | 4/24/2025 |  |  |  |  | 8500 |  | 2156 W NORTH AVE |  | CHICAGO, IL |  | STARKLIGHT, LLC | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 150 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: REPLACE 170 BRICKS, TUCPOINT 150 SF SOUTH ELEV. ¦ SPECIAL CONDITION: REPLACEMENT BRICK LIMITED TO ONLY THE AREA ON THE FIRST FLOOR SOUTH ELEVATION, AS CALLED OUT ON THE ATTACHED DOCUMENTS. NO WORK TO THE SECOND AND THIRD FLOORS.
35 | 20342130230000 | B200416406 | 4/28/2025 |  |  |  |  | 24303 |  | 8024 S LANGLEY AVE |  | CHICAGO, IL |  | CAMPBELL ALFRED | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: LOW-SLOPED (<2:12). INVERTER OUTPUT: 4.06 KW. ARRAY OUTPUT: 5.81 KW. LOCATION: ROOF OF MAIN STRUCTURE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #24-0450. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
36 | 19094020350000 | B200416416 | 3/10/2025 |  |  |  |  | 2000 |  | 5152 S LAWLER AVE |  | CHICAGO, IL |  | FABER GAIL | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 30 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: BASEMENT - UPGRADE ELECTRICAL SERVICE AND PANEL.
37 | 13091320490000 | B200416431 | 5/19/2025 |  |  |  |  | 50000 |  | 5212 N LARNED AVE |  | CHICAGO, IL |  | SATO ROBYN | SCOPE: NONSTRUCTURAL INTERIOR KITCHEN REMODEL TO INCLUDE PLUMBING, ELECTRICAL AND MECHANICAL, NEW CABINETS, COUNTER AND TRIM. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), KITCHEN.
38 | 16144130490000 | B200416435 | 3/10/2025 |  |  |  |  | 3830 |  | 807 S ST LOUIS AVE |  | CHICAGO, IL |  | HINKLE SHARON | LINE VOLTAGE ELECTRICAL WORK. ADD 1 CIRCUITS TO EXISTING 100 AMP SERVICE DISCONNECTING MEANS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. ELECTRIC VEHICLE SUPPLY EQUIPMENT:1 SPACES. SPECIFIC LOCATION: GARAGE.
39 | 14181130210000 | B200416440 | 3/17/2025 |  |  |  |  | 27360 |  | 2100 W EASTWOOD AVE |  | CHICAGO, IL |  | CERRETA JOSEPH | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 192 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: PARAPET WALL.
40 | 13294290450000 | B200416447 | 6/20/2025 |  |  |  |  | 30000 |  | 5700 W FULLERTON AVE |  | CHICAGO, IL |  | IG CAPITAL LLC C/O TONY'S FRESH MARKET | REPAIR/REPLACEMENT AFFECTING 1 SYSTEMS : 3 ROOFTOP PACKAGED UNIT(TRANE, YSC048G3RHB0000, ROOF) . ELECTRICAL WORK UNDER THIS PERMIT = NO . LOCATIONS: 0 RESIDENTIAL UNIT(S), 3 NON-RESIDENTIAL UNIT(S), EXTERIOR WORK, ROOFTOP. ¦ SPECIAL CONDITION: CONTACT REFRIGERATION SUPERVISOR CLEMENT GAVIN 312-743-3562, PRIOR TO THE INSTALLATION OF ANY ROOFTOP EQUIPMENT, TO SCHEDULE AN INSPECTION.
41 | 26182020200000 | B200416456 | 3/11/2025 |  |  |  |  | 35000 |  | 10643 S BUFFALO AVE |  | CHICAGO, IL |  | HERRERA COSME | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 4000 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. PARAPET REBUILDING: 330 SQ. FT. LOCATION: 100% OF EXTERIOR FACADE TUCKPOINTING AND BRICK REP.
42 | 17063120390000 | B200416458 | 7/14/2025 |  |  |  |  | 5000 |  | 2350 W AUGUSTA BLVD |  | CHICAGO, IL |  | CARAVETTE JOSEPH | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 800 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: EXERIOR BRICK SOUTH WEST EAST ELEVATION.
43 | 26314060100000 | B200416459 | 3/10/2025 |  |  |  |  | 2500 |  | 13425 S MACKINAW AVE |  | CHICAGO, IL |  | SEGURA ALFREDO | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 20 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: BASEMENT AND BACKYARD.
44 | 25043290050000 | B200416463 | 3/14/2025 |  |  |  |  | 4410 |  | 9411 S NORMAL AVE |  | CHICAGO, IL |  | BLACKMOND LAURA | PURPOSE: NEW/REPLACEMENT INSTALLATION. WOOD FENCE - 6'-0' ' (HEIGHT) X 112'-0' ' (LENGTH). LOCATION: REAR SIDE OF THE PROPERTY.
45 | 20034180490000 | B200416464 | 3/21/2025 |  |  |  |  | 10800 |  | 4550 S CHAMPLAIN AVE |  | CHICAGO, IL |  | MCCRAY DAWANNA | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 19 . LIGHTING OUTLETS: 11. SPECIFIC LOCATION: REWIRE APARTMENT, SERVICE UPGRADE.
46 | 20042160010000 | B200416469 | 3/11/2025 |  |  |  |  | 50000 |  | 4005 S DEARBORN ST |  | CHICAGO, IL |  | SMITH COREY | REPAIR OR IN-KIND REPLACEMENT OF 10 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. REPAIR OR IN-KIND REPLACEMENT OF HOT WATER HEATER(S). INCLUDES REPAIR OR REPLACMENT OF PLUMBING PIPING. INCLUDES REPAIR OR REPLACEMENT OF PLUMBING RISERS IN EXISTING CHASES. LOCATIONS: 1 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), BASEMENT, 1ST AND 2ND FLOOR.
47 | 25222130510000 | B200416472 | 4/2/2025 |  |  |  |  | 6000 |  | 11258 S CHAMPLAIN AVE |  | CHICAGO, IL |  | DOCKERY ELFREDA | REPAIR (26% TO 50%) FOR WOOD PORCH (OPEN) (QUANTITY: 1, LOCATION: FRONT OF BUILDING). LANDING: 32 SQUARE FEET. LANDING NOT MORE THAN 6 FEET ABOVE GROUND. ¦ SPECIAL CONDITION: ALL NEW ELEMENTS TO BE WOOD, MATCHING SUBMITTED PERMIT DRAWINGS.
48 | 09364020140000 | B200416473 | 3/19/2025 |  |  |  |  | 1000 |  | 6752 N OLYMPIA AVE |  | CHICAGO, IL |  | ARELLANO VICTOR | REPAIR OR IN-KIND REPLACEMENT OF 4 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. REPAIR OR IN-KIND REPLACEMENT OF HOT WATER HEATER(S). INCLUDES REPAIR OR REPLACMENT OF PLUMBING PIPING. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 1 INTERIOR COMMON AREAS, 1ST FLOOR BATHROOM, KITCHEN AND MECHANICAL ROOM.
49 | 16052040050000 | B200416474 | 3/18/2025 |  |  |  |  | 4000 |  | 5743 W NORTH AVE |  | CHICAGO, IL |  | MOORE ENTERPRISES II LLC | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 20 . LIGHTING OUTLETS: 10. SPECIFIC LOCATION: 1ST FLOOR STOREFRONT 1 & 2.
50 | 19173000190000 | B200416476 | 3/13/2025 |  |  |  |  | 20000 |  | 6343 W 59TH ST |  | CHICAGO, IL |  | SANCHEZ ALEJANDRO | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 20'-0' ' X20'-0' '. HIP ROOF HEIGHT TO PEAK: 12'-0' '.
51 | 24142060360000 | B200416478 | 4/8/2025 |  |  |  |  | 56000 |  | 10353 S SPAULDING AVE |  | CHICAGO, IL |  | FITZGIBBONS JOSEPH | NONSTRUCTURAL INTERIOR WORK. REPLACE DRYWALL. REPLACE ELECTRICAL WIRING, CONDUIT, FIXTURES AND OUTLETS. REPLACE FURNACE. REPLACE AC CONDENSOR. REPLACE DUCTWORK. (NO PLUMBING WORK UNDER THIS PERMIT) (NO CHANGES TO LAYOUT). LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S)
52 | 12252010380000 | B200416480 | 3/11/2025 |  |  |  |  | 3500 |  | 3140 N OLCOTT AVE |  | CHICAGO, IL |  | HARDING LESLIE | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: PANEL AND METER LOCATION.
53 | 17162290010000 | B200416482 | 4/8/2025 |  |  |  |  | 16000 |  | 175 W JACKSON BLVD |  | CHICAGO, IL |  | ABN AMRO CLEARING USA LLC | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. ALTER EXISTING DATA/VIDEO. SPECIFIC LOCATION: STE 2050.
54 | 14071090290000 | B200416483 | 3/11/2025 |  |  |  |  | 19800 |  | 2000 W SUMMERDALE AVE |  | CHICAGO, IL |  | LLC PEAK PROPERTIES | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 450 SQ. FT., LINTEL QTY. 12, MAX. LENGTH 6. LOCATION: REPL 250 BRICKS, 12 LINTELS, TUCKP 450SF VIOLATION.
55 | 12014050440000 | B200416486 | 3/10/2025 |  |  |  |  | 6200 |  | 5828 N ODELL AVE |  | CHICAGO, IL |  | BLUNDELL SHELBY | PURPOSE: NEW/REPLACEMENT INSTALLATION. WOOD FENCE - 6'-0' ' (HEIGHT) X 146'-0' ' (LENGTH). LOCATION: SIDES AND REAR.
56 | 16152050490000 | B200416489 | 3/11/2025 |  |  |  |  | 5000 |  | 4216 W WILCOX ST |  | CHICAGO, IL |  | HARRIS JASMINE | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 40 . LIGHTING OUTLETS: 20. SPECIFIC LOCATION: BASEMENT/GARDEN APARTMENT. ¦ SPECIAL CONDITION: THE SCOPE OF WORK WILL INCLUDE REMOVAL OF ALL EXISTING ELECTRICAL WIRING THAT IS CURRENTLY IN BX AND REPLACING IT WILL INCLUDE REPLACING WITH ELECTRICAL METALLIC CONDUIT TO ALL LIGHTING AND ELECTRICAL OUTLETS. LOCATION IS THE BASEMENT APARTMENT.
57 | 17072160120000 | B200416490 | 3/28/2025 |  |  |  |  | 3000 |  | 1929 W OHIO ST |  | CHICAGO, IL |  | SWIERCZEK MARIUSZ | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 4 CIRCUITS. RECEPTACLE OUTLETS: 9 . LIGHTING OUTLETS: 10. SPECIFIC LOCATION: NEW ELECTRICAL SERVICE , 200A , 3 METERS, SINGLE @.
58 | 17223190320000 | B200416495 | 3/24/2025 |  |  |  |  | 10400 |  | 2138 S INDIANA AVE |  | CHICAGO, IL |  | REDWOOD CONSTRUCTION, INC. | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 100 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: BUILDING EXTERIOR.
59 | 17314140400000 | B200416500 | 5/14/2025 |  |  |  |  | 32000 |  | 3638 S MARSHFIELD AVE |  | CHICAGO, IL |  | NIETO DAVID | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 29'-8' ' X17'-0' '. GABLE ROOF HEIGHT TO PEAK: 15'-0' '.
60 | 25214070180000 | B200416501 | 3/12/2025 |  |  |  |  | 3500 |  | 11565 S LAFAYETTE AVE |  | CHICAGO, IL |  | MS LINDA ODEN | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 15 CIRCUITS. RECEPTACLE OUTLETS: 12 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: 100 AMP ELECTRICAL SERVICE ON THE REAR OF HOUSE.
61 | 13191170070000 | B200416505 | 3/15/2025 |  |  |  |  | 8000 |  | 3841 N NEWCASTLE AVE |  | CHICAGO, IL |  | GAVARRETE JOSEPH | PURPOSE: NEW/REPLACEMENT INSTALLATION. WOOD FENCE - 6'-0' ' (HEIGHT) X 120'-0' ' (LENGTH). LOCATION: BACK YARD.
62 | 21314220160000 | B200416508 | 4/5/2025 |  |  |  |  | 800 |  | 8600 S MUSKEGON AVE |  | CHICAGO, IL |  | BOENS CLIFTON | PURPOSE: LEGALIZE UNPERMITTED WORK. VINYL/PVC FENCE - 6'-0' ' (HEIGHT) X 19'-7' ' (LENGTH). LOCATION: REAR BACK YARD.
63 | 20283210340000 | B200416509 | 4/3/2025 |  |  |  |  | 2500 |  | 738 W 79TH ST |  | CHICAGO, IL |  | FINAL CALL INC | SCOPE: ROOF REPAIR. AREA: 250 SQ. FT. ROOF COVERING: OTHER. LOCATION: PATCHING THE ROOF TO PREVENT WATER DAMAGE. IL ROOFING CONTRACTOR LICENSE: 104000191.
64 | 17052110050000 | B200416512 | 3/11/2025 |  |  |  |  | 5400 |  | 1578 N CLYBOURN AVE |  | CHICAGO, IL |  | LOUKAS ALANNA | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 100 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. PARAPET REBUILDING: 900 SQ. FT. LOCATION: SIDE FASCADE.
65 | 13223110290000 | B200416514 | 3/19/2025 |  |  |  |  | 4537 |  | 3442 N KILBOURN AVE |  | CHICAGO, IL |  | KAPITAL ELECTRIC CO., INC | LINE VOLTAGE ELECTRICAL WORK. ADD 1 CIRCUITS TO EXISTING 100 AMP SERVICE DISCONNECTING MEANS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. ELECTRIC VEHICLE SUPPLY EQUIPMENT:1 SPACES. SPECIFIC LOCATION: GARAGE.
66 | 13203200280000 | B200416517 | 3/19/2025 |  |  |  |  | 3997 |  | 6328 W SCHOOL ST |  | CHICAGO, IL |  | KAPITAL ELECTRIC CO., INC | LINE VOLTAGE ELECTRICAL WORK. ADD 1 CIRCUITS TO EXISTING 100 AMP SERVICE DISCONNECTING MEANS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. ELECTRIC VEHICLE SUPPLY EQUIPMENT:1 SPACES. SPECIFIC LOCATION: GARAGE.
67 | 14281110680000 | B200416522 | 3/21/2025 |  |  |  |  | 3553 |  | 2939 N CLARK ST |  | CHICAGO, IL |  | KAPITAL ELECTRIC CO., INC | LINE VOLTAGE ELECTRICAL WORK. ADD 1 CIRCUITS TO EXISTING 200 AMP SERVICE DISCONNECTING MEANS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. ELECTRIC VEHICLE SUPPLY EQUIPMENT:1 SPACES. SPECIFIC LOCATION: PARKING SPOT.
68 | 20223140190000 | B200416523 | 3/18/2025 |  |  |  |  | 15000 |  | 6957 S MICHIGAN AVE |  | CHICAGO, IL |  | KUBERSKY MICHAEL | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 500 SQ. FT., LINTEL QTY. 30, MAX. LENGTH 6. LOCATION: NORTH, SOUTH, WEST, EAST EXTERIOR BRICK WALLS.
69 | 25164120180000 | B200416524 | 3/11/2025 |  |  |  |  | 2000 |  | 252 W 109TH ST |  | CHICAGO, IL |  | UP MANAGEMENT LLC | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 4 . LIGHTING OUTLETS: 5. SPECIFIC LOCATION: BASEMENT, 1ST AND 2ND FLOORS.
70 | 24234030480000 | B200416525 | 3/14/2025 |  |  |  |  | 42215 |  | 3410 W 116TH ST |  | CHICAGO, IL |  | CRISP JR JERRY | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 24'-0' ' X24'-0' '. GABLE ROOF HEIGHT TO PEAK: 15'-0' '.
71 | 13033270350000 | B200416528 | 5/15/2025 |  |  |  |  | 10000 |  | 5638 N KOSTNER AVE |  | CHICAGO, IL |  | ZELENKA JOE | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 30 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: BASEMENT.
72 | 20312260300000 | B200416531 | 3/12/2025 |  |  |  |  | 2000 |  | 8242 S HONORE ST |  | CHICAGO, IL |  | FANNIE MAE | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 12 CIRCUITS. RECEPTACLE OUTLETS: 30 . LIGHTING OUTLETS: 12. SPECIFIC LOCATION: ENTIRE HOUSE AND GARAGE.
73 | 19012010170000 | B200416533 | 3/11/2025 |  |  |  |  | 2130 |  | 3918 S ROCKWELL ST |  | CHICAGO, IL |  | CHIU HUNG | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. ALTER EXISTING OTHER. SPECIFIC LOCATION: GARAGE.
74 | 13163060110000 | B200416534 | 3/11/2025 |  |  |  |  | 17000 |  | 5329 W PENSACOLA AVE |  | CHICAGO, IL |  | WILLOUGHBY MARY | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 40 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: BASEMENT.
75 | 13272250060000 | B200416535 | 3/11/2025 |  |  |  |  | 18123 |  | 2843 N LOWELL AVE |  | CHICAGO, IL |  | UY ALAN | SCOPE: ROOF REPLACEMENT. AREA: 2026 SQ. FT. ROOF COVERING: ASPHALT SHINGLES. LOCATION: OVER THE ROOF. IL ROOFING CONTRACTOR LICENSE: 104.02017.
76 | 25161220390000 | B200416536 | 3/17/2025 |  |  |  |  | 18423 |  | 10600 S EMERALD AVE |  | CHICAGO, IL |  | BRINSON MADELINE | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 5.51 KW. ARRAY OUTPUT: 0.00779 KW. LOCATION: ROOF SOLAR. ICC DISTRIBUTED GENERATION INSTALLER CERT. #23-0387. ¦ SPECIAL CONDITION: **NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. **REFER TO ELECTRICAL PERMIT B200416551.
77 | 13174290320000 | B200416539 | 3/13/2025 |  |  |  |  | 19763 |  | 4200 N PARKSIDE AVE |  | CHICAGO, IL |  | BLECHSCHMIDT IAN | REPAIR OR IN-KIND REPLACEMENT OF 14 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. REPAIR OR IN-KIND REPLACEMENT OF HOT WATER HEATER(S). INCLUDES REPAIR OR REPLACMENT OF PLUMBING PIPING. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), BASEMENT, 1ST FLOOR AND 2ND FLOOR.
78 | 13364080190000 | B200416543 | 3/13/2025 |  |  |  |  | 17598 |  | 2421 W HOMER ST |  | CHICAGO, IL |  | PARKER RICHARD | REPAIR OR IN-KIND REPLACEMENT OF 8 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. REPAIR OR IN-KIND REPLACEMENT OF HOT WATER HEATER(S). INCLUDES REPAIR OR REPLACMENT OF PLUMBING PIPING. LOCATIONS: 2 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 1ST FLOOR AND 2ND FLOOR.
79 | 20281230120000 | B200416550 | 3/13/2025 |  |  |  |  | 16500 |  | 7447 S PARNELL AVE |  | CHICAGO, IL |  | FUNDERBURG JIMMIE | REPAIR OR IN-KIND REPLACEMENT OF 15 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. REPAIR OR IN-KIND REPLACEMENT OF HOT WATER HEATER(S). INCLUDES REPAIR OR REPLACMENT OF PLUMBING PIPING. LOCATIONS: 3 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), BASEMENT, 1ST FLOOR AND 2ND FLOOR.
80 | 25161220390000 | B200416551 | 3/17/2025 |  |  |  |  | 4000 |  | 10600 S EMERALD AVE |  | CHICAGO, IL |  | BRINSON MADELINE | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 120 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 0 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: MAIN HOUSE.
81 | 17084190050000 | B200416561 | 3/24/2025 |  |  |  |  | 29720 |  | 216 N MAY ST |  | CHICAGO, IL |  | CHICAGO APARTMENT PLACE, INC | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 650 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: 4TH FLOOR. ¦ SPECIAL CONDITION: APPROVED PER ATTACHMENTS RECEIVED 3/11/25: BRICK REMOVED TO BE SALVAGED AND REPLACED TO GREATEST EXTENT FEASIBLE. ANY NEW BRICK TO MATCH HISTORIC IN SIZE, SHAPE, COLOR, TEXTURE, & FINISH. NEW MORTAR TO MATCH HISTORIC MORTAR IN COLOR, JOINT PROFILE, TEXTURE, & STRENGTH/TYPE. WHEN GRINDING EXISTING MORTAR JOINTS, SURROUNDING MASONRY UNITS SHALL NOT BE OVERCUT. DRY GRINDING ONLY, NO CHEMICAL CLEANING OR SAND BLASTING TO OCCUR WITH THIS APPROVAL. PRESSURE WASHING LESS THAN 400PSI WITH FAN TIP BRUSH.
82 | 13294180300000 | B200416563 | 4/3/2025 |  |  |  |  | 11512 |  | 2528 N MONITOR AVE |  | CHICAGO, IL |  | MEIGHAN- WERNER MARVIN RENE | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 3.77 KW. ARRAY OUTPUT: 0.00533 KW. LOCATION: ROOF SOLAR. ICC DISTRIBUTED GENERATION INSTALLER CERT. #23-0387. ¦ SPECIAL CONDITION: **NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. **REFER TO ELECTRICAL PERMIT B200416578.**ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, ETC... MUST BE LISTED AND LABELED FOR USE.
83 | 26074060420000 | B200416564 | 3/11/2025 |  |  |  |  | 4962 |  | 10542 S GREEN BAY AVE |  | CHICAGO, IL |  | CASTILLO VALERIE | PURPOSE: NEW/REPLACEMENT INSTALLATION. WOOD FENCE - 6'-0' ' (HEIGHT) X 58'-0' ' (LENGTH). CHAIN LINK FENCE - 4'-0' ' (HEIGHT) X 64'-0' ' (LENGTH). LOCATION: LEFT AND REAR SIDE OF THE PROPERTY.
84 | 13301120380000 | B200416565 | 3/11/2025 |  |  |  |  | 33100 |  | 3059 N NORDICA AVE |  | CHICAGO, IL |  | TURNER KIP | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 22'-0' ' X18'-0' '. GABLE ROOF HEIGHT TO PEAK: 14'-0' '.
85 | 17284260080000 | B200416567 | 3/21/2025 |  |  |  |  | 14000 |  | 2919 S PRINCETON AVE |  | CHICAGO, IL |  | FONG MARK T. | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 400 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: REAR OF BUILDING.
86 | 13244020100000 | B200416570 | 3/13/2025 |  |  |  |  | 34000 |  | 3245 N CAMPBELL AVE |  | CHICAGO, IL |  | CITY OF CHICAGO J2FM FLEET & FACILITY MANAGEMENT | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 200 SQ. FT., LINTEL QTY. 3, MAX. LENGTH 4. LOCATION: EXTERIOR FACADE.
87 | 17032040410000 | B200416572 | 3/12/2025 |  |  |  |  | 2862 |  | 50 E OAK ST |  | CHICAGO, IL |  | NON STOP LOCKSMITH | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL SECURITY. SPECIFIC LOCATION: 2ND FLR.
88 | 26322000020000 | B200416576 | 3/11/2025 |  |  |  |  | 4000 |  | 4000 E 134TH ST |  | CHICAGO, IL |  | HARBOR POINT ESTATES | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 12 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: REAR OF MOBILE HOME.
89 | 13294180300000 | B200416578 | 3/13/2025 |  |  |  |  | 4000 |  | 2528 N MONITOR AVE |  | CHICAGO, IL |  | MEIGHAN- WERNER MARVIN RENE | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 125 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 0 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: MAIN HOUSE.
90 | 13353230250000 | B200416579 | 3/12/2025 |  |  |  |  | 5000 |  | 1630 N SPRINGFIELD AVE |  | CHICAGO, IL |  | DEVELOPMENT LLC INTERFIRST CONSTRUCTION & | PURPOSE: NEW/REPLACEMENT INSTALLATION. WROUGHT IRON FENCE - 5'-5' ' (HEIGHT) X 30'-0' ' (LENGTH). LOCATION: FRONT YARD METAL FENCE WITH GATE.
91 | 20172200320000 | B200416580 | 3/11/2025 |  |  |  |  | 5400 |  | 5738 S SANGAMON ST |  | CHICAGO, IL |  | NEGRETE JOSE | PURPOSE: NEW/REPLACEMENT INSTALLATION. WOOD FENCE - 6'-0' ' (HEIGHT) X 180'-0' ' (LENGTH). WROUGHT IRON FENCE - 5'-0' ' (HEIGHT) X 40'-0' ' (LENGTH). LOCATION: 180 LF OF 6FT HIGH WD FENCE FRONT 5' IRON FENCE.
92 | 26322000020000 | B200416581 | 3/11/2025 |  |  |  |  | 4000 |  | 4000 E 134TH ST |  | CHICAGO, IL |  | HARBOR POINT ESTATES | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 12 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: REAR OF MOBILE HOME.
93 | 14074080360000 | B200416584 | 3/14/2025 |  |  |  |  | 15250 |  | 1631 W WINONA ST |  | CHICAGO, IL |  | HARTY PAUL | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 1000 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. PARAPET REBUILDING: 1000 SQ. FT. LOCATION: PARAPET; MASONRY WALL.
94 | 16151200300000 | B200416586 | 3/17/2025 |  |  |  |  | 8950 |  | 4434 W GLADYS AVE |  | CHICAGO, IL |  | FIGUEROA MARIO | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 16 . LIGHTING OUTLETS: 30. SPECIFIC LOCATION: BASEMENT , 1ST AND 2ND FLOOR..
95 | 13341100060000 | B200416587 | 3/13/2025 |  |  |  |  | 8000 |  | 2235 N KNOX AVE |  | CHICAGO, IL |  | SULLIVAN RYAN | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 8 . LIGHTING OUTLETS: 12. SPECIFIC LOCATION: 2FLOOR OFFICE.
96 | 17151010150000 | B200416589 | 3/28/2025 |  |  |  |  | 37895 |  | 76 E MONROE ST |  | CHICAGO, IL |  | UNIVERSITY CLUB OF CHICAGO* | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 4 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: RESET 4 FINIALS ON THE SOUTH SIDE. ¦ SPECIAL CONDITION: APPROVED PER ATTACHMENTS RECEIVED 3/11/25 AND 3/27/25: ANY REPAIR/PATCHING MATERIALS TO MATCH THE HISTORIC LIMESTONE IN COLOR, TEXTURE, FINISH, AND GENERAL APPEARANCE. REPLACED FINIALS TO BE LIMESTONE MATCHING THE ORIGINALS IN SIZE, SHAPE, AND DESIGN. WORK TO FINIALS ONLY, NO OTHER WORK WITH THIS PERMIT.
97 | 13323200360000 | B200416592 | 3/12/2025 |  |  |  |  | 7500 |  | 6054 W NORTH AVE |  | CHICAGO, IL |  | BLOCKCHAIN PROPERTIES LLC | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 50 . LIGHTING OUTLETS: 50. SPECIFIC LOCATION: ENTIRE BUILDING.
98 | 13251300010000 | B200416594 | 3/14/2025 |  |  |  |  | 15770 |  | 2857 N TROY ST |  | CHICAGO, IL |  | CULVER BRITTANY | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 240 SQ. FT., LINTEL QTY. 8, MAX. LENGTH 6. LOCATION: NORTH WALL AND GARAGE.
99 | 13133280020000 | B200416595 | 3/12/2025 |  |  |  |  | 1000 |  | 4051 N SACRAMENTO AVE |  | CHICAGO, IL |  | THOMPSON GREG | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. ELECTRIC VEHICLE SUPPLY EQUIPMENT:1 SPACES. SPECIFIC LOCATION: GARAGE.
100 | 13341100060000 | B200416598 | 3/13/2025 |  |  |  |  | 2000 |  | 2235 N KNOX AVE |  | CHICAGO, IL |  | SULLIVAN RYAN | REPAIR OR IN-KIND REPLACEMENT OF 0 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. INCLUDES REPAIR OR REPLACMENT OF PLUMBING PIPING. LOCATIONS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), 2ND FL BATHROOM.
101 | 16033210070000 | B200416599 | 3/17/2025 |  |  |  |  | 180593 |  | 4439 W RICE ST |  | CHICAGO, IL |  | WHITTLE AMY | SCOPE: ROOF REPLACEMENT. AREA: 7600 SQ. FT. ROOF COVERING: OTHER. LOCATION: ROOF TOP. IL ROOFING CONTRACTOR LICENSE: 104000268.
102 | 25023040010000 | B200416603 | 3/14/2025 |  |  |  |  | 6923 |  | 9101 S DOBSON AVE |  | CHICAGO, IL |  | ROSS JASMINE | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: STEEP (>5:12). INVERTER OUTPUT: 0.35 KW. ARRAY OUTPUT: 0.00989 KW. LOCATION: ROOFTOP. ICC DISTRIBUTED GENERATION INSTALLER CERT. #24-0198. ¦ SPECIAL CONDITION: ** NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. **PLEASE APPLY FOR SOLAR (ACCESSORY) PERMIT PRIOR TO SOLAR INSPECTION AND HAVE PRESENT ON DATE OF INSPECTION OR RISK FAILURE AS PROPOSED WORK PER ELECTRICAL DRAWING.**UNDERGROUND RACEWAY TO BE INSPECTED BY AHJ PRIOR TO COVERING.
103 | 17162120110000 | B200416604 | 3/21/2025 |  |  |  |  | 50000 |  | 55 W MONROE ST |  | CHICAGO, IL |  | JONES LANG LASALLE | EXTERIOR METAL COLUMN COVER REPAIRS PER STRUCTURAL REPORT. LOCATIONS: 0 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), ENTRANCE COLUMNS
104 | 21311000730000 | B200416605 | 3/12/2025 |  |  |  |  | 6669 |  | 2619 E 81ST ST |  | CHICAGO, IL |  | LEWIS CRISTALLE | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 2.7 KW. ARRAY OUTPUT: 3.645 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817. ¦ SPECIAL CONDITION: **NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. **REFER TO ELECTRICAL PERMIT B200416609.
105 | 14182110060000 | B200416607 | 3/17/2025 |  |  |  |  | 59000 |  | 4631 N PAULINA ST |  | CHICAGO, IL |  | PAULINA BUILDING I, LLC | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 2000 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. PARAPET REBUILDING: 150 SQ. FT. LOCATION: SOUTH EAST AND WEST ELEVATION.
106 | 20272190240000 | B200416608 | 4/11/2025 |  |  |  |  | 5000 |  | 7324 S ST LAWRENCE AVE |  | CHICAGO, IL |  | ROBY RONALD | FULL REBUILD (SAME AS EXISTING) FOR WOOD PORCH (OPEN) (QUANTITY: 1, LOCATION: REAR OF BUILDING).
107 | 21311000730000 | B200416609 | 3/11/2025 |  |  |  |  | 1500 |  | 2619 E 81ST ST |  | CHICAGO, IL |  | LEWIS CRISTALLE | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 14 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. 13.5 KWH LITHIUM ION ENERGY STORAGE SYSTEM. SPECIFIC LOCATION: BASEMENT AND REAR OF HOME.
108 | 19103010070000 | B200416610 | 4/1/2025 |  |  |  |  | 6984 |  | 5121 S KEATING AVE |  | CHICAGO, IL |  | SWITALSKI ROBERT | PURPOSE: NEW/REPLACEMENT INSTALLATION. VINYL/PVC FENCE - 6'-0' ' (HEIGHT) X 105'-0' ' (LENGTH). LOCATION: LEFT SIDE OF THE PROPERTY.
109 | 16151200300000 | B200416614 | 3/12/2025 |  |  |  |  | 11000 |  | 4434 W GLADYS AVE |  | CHICAGO, IL |  | FIGUEROA MARIO | SCOPE: ROOF REPLACEMENT. AREA: 1250 SQ. FT. ROOF COVERING: BUILT-UP ROOF. LOCATION: ROOF OF HOUSE. IL ROOFING CONTRACTOR LICENSE: 104019288.
110 | 19142020370000 | B200416616 | 3/11/2025 |  |  |  |  | 3500 |  | 5548 S HOMAN AVE |  | CHICAGO, IL |  | PIMENTEL JOSE | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 40 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. 10 KWH LITHIUM ION ENERGY STORAGE SYSTEM. SPECIFIC LOCATION: BASEMENT AND BACKYARD.
111 | 11311000310000 | B200416627 | 3/13/2025 |  |  |  |  | 15000 |  | 2316 W ESTES AVE |  | CHICAGO, IL |  | CASTRO ANSTACIO | WRECK AND REMOVE DETACHED FRAME GARAGE AND ATTACHED STORAGE SHED. LOCATIONS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), EXTERIOR WORK, GARAGE.
112 | 19354100750000 | B200416629 | 5/1/2025 |  |  |  |  | 50000 |  | 8425 S HOMAN AVE |  | CHICAGO, IL |  | SHANNON LEOONA | NONSTRUCTURAL INTERIOR WORK: REPLACE DRYWALL. REPLACE PLUMBING FIXTURES, WATER HEATER AND ASSOCIATED PIPING. INSTALL OUTLETS, SWITCHES, LIGHTING. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), FIRST FLOOR AND BASEMENT.
113 | 14181210010000 | B200416632 | 3/13/2025 |  |  |  |  | 800 |  | 2351 W WILSON AVE |  | CHICAGO, IL |  | ACORN PROPERTY MANAGEMENT LTD. | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 300 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: FRONT FACADE.
114 | 13313120140000 | B200416634 | 5/9/2025 |  |  |  |  | 21000 |  | 1813 N NEW ENGLAND AVE |  | CHICAGO, IL |  | RICHARDSON JULIE | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 20'-0' ' X20'-0' '. HIP ROOF HEIGHT TO PEAK: 12'-0' '.
115 | 20021060220000 | B200416638 | 3/20/2025 |  |  |  |  | 36560 |  | 4010 S ELLIS AVE |  | CHICAGO, IL |  | YOUNFOUNTAIN BRANDON | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 200 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. PARAPET REBUILDING: 200 SQ. FT. LOCATION: WEST AND SECTION OF NORTH PARAPET WALLS.
116 | 14331060010000 | B200416658 | 3/11/2025 |  |  |  |  | 2000 |  | 2369 N CLARK ST |  | CHICAGO, IL |  | NEW BALANCE | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. ALTER EXISTING DATA/VIDEO. SPECIFIC LOCATION: 1ST FLOOR SHOP.
117 | 13054230410000 | B200416672 | 3/14/2025 |  |  |  |  | 10500 |  | 5708 N MAJOR AVE |  | CHICAGO, IL |  | LIGHTFOOT SHIRLEY | REPAIR OR IN-KIND REPLACEMENT OF 1 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. INCLUDES REPAIR OR REPLACMENT OF PLUMBING PIPING. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), EXTERIOR WORK, FRONT YARD.
118 | 19241210300000 | B200416681 | 3/11/2025 |  |  |  |  | 7000 |  | 6532 S FRANCISCO AVE |  | CHICAGO, IL |  | MARTINEZ LEOPOLDA | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 2 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: BASEMENT AND OUTSIDE OF THE BUILDING.
119 | 20353090370000 | B200416682 | 3/12/2025 |  |  |  |  | 500 |  | 8536 S MARYLAND AVE |  | CHICAGO, IL |  | READY SET FINISH CONSTRUCTION CORP | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 10 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: 1ST FLOOR.
120 | 17302050110000 | B200416690 | 3/14/2025 |  |  |  |  | 5000 |  | 2228 S WOOD ST |  | CHICAGO, IL |  | RAVELO JAVIER | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: OUTSIDE AND BASEMENT.
121 | 16013030370000 | B200416691 | 3/13/2025 |  |  |  |  | 1850 |  | 1108 N MOZART ST |  | CHICAGO, IL |  | DOUVIKAS KIRIAKOS | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: REAR EXTERIOR OF BUILDING.
122 | 25073000010000 | B200416694 | 3/13/2025 |  |  |  |  | 38000 |  | 9901 S WESTERN AVE |  | CHICAGO, IL |  | BOARD OF EDUCATION - CHICAGO PUBLIC SCHOOLS | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL SECURITY. SPECIFIC LOCATION: MAIN ENTRY AND MDF ENTRY.
123 | 17052200050000 | B200416698 | 3/12/2025 |  |  |  |  | 503030 |  | 1400 N KINGSBURY ST |  | CHICAGO, IL |  | 860 EVERGREEN PARTNERS | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL DATA/VIDEO. INSTALL AUDIO. SPECIFIC LOCATION: FLOORS ONE AND TWO.
124 | 20364160050000 | B200416704 | 3/13/2025 |  |  |  |  | 69000 |  | 2100 E 87TH ST |  | CHICAGO, IL |  | BOARD OF EDUCATION - CHICAGO PUBLIC SCHOOLS | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL SECURITY. SPECIFIC LOCATION: MAIN ENTRY AND MDF ENTRIES.
125 | 20192190010000 | B200416705 | 3/13/2025 |  |  |  |  | 58500 |  | 6520 S WOOD ST |  | CHICAGO, IL |  | BOARD OF EDUCATION - CHICAGO PUBLIC SCHOOLS | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL SECURITY. SPECIFIC LOCATION: MAIN ENTRY AND MDF ENTRIES.
126 | 16052030250000 | B200416706 | 3/14/2025 |  |  |  |  | 27900 |  | 1528 N MENARD AVE |  | CHICAGO, IL |  | SPENCER BETTY | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 20'-0' ' X20'-0' '. HIP ROOF HEIGHT TO PEAK: 14'-0' '.
127 | 25073230310000 | B200416707 | 5/4/2025 |  |  |  |  | 5067 |  | 10250 S OAKLEY AVE |  | CHICAGO, IL |  | NUZZO LISA | PURPOSE: NEW/REPLACEMENT INSTALLATION. WOOD FENCE - 6'-0' ' (HEIGHT) X 91'-0' ' (LENGTH). LOCATION: RIGHT AND REAR SIDE.
128 | 16244210350000 | B200416714 | 3/13/2025 |  |  |  |  | 5000 |  | 2750 W CERMAK RD |  | CHICAGO, IL |  | CARRILLO RAMONE | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 70 SQ. FT., LINTEL QTY. 2, MAX. LENGTH 5. LOCATION: EXTERIOR WINDOWS.
129 | 19361080510000 | B200416715 | 3/14/2025 |  |  |  |  | 20007 |  | 8047 S KEDZIE AVE |  | CHICAGO, IL |  | MARINEZ SHIRLEY | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: STEEP (>5:12). INVERTER OUTPUT: 8.1 KW. ARRAY OUTPUT: 10.935 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817. ¦ SPECIAL CONDITION: ** NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. **REFER TO ELECTRICAL PERMIT B200416720.
130 | 17333050030000 | B200416716 | 3/13/2025 |  |  |  |  | 29000 |  | 501 W 35TH ST |  | CHICAGO, IL |  | BOARD OF EDUCATION - CHICAGO PUBLIC SCHOOLS | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL SECURITY. SPECIFIC LOCATION: MAIN ENTRY AND MDF ENTRY.
131 | 13204330180000 | B200416717 | 3/20/2025 |  |  |  |  | 225000 |  | 5650 W BELMONT AVE |  | CHICAGO, IL |  | BC ENTERPRISES LP | SCOPE: NONSTRUCTURAL INTERIOR PREPARATORY DEMOLITION OF NONLOAD BEARING WALLS AND M.E.P. SYSTEMS WITH DEMO DRAWINGS AND ALL OTHER WORK TO BE PERFORMED ON PERMIT NO. 101064982. LOCATIONS: 0 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 1 INTERIOR COMMON AREAS, FIRST FLOOR.
132 | 19361080510000 | B200416720 | 3/12/2025 |  |  |  |  | 3550 |  | 8047 S KEDZIE AVE |  | CHICAGO, IL |  | MARINEZ SHIRLEY | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 12 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. 13.5 KWH LITHIUM ION ENERGY STORAGE SYSTEM. SPECIFIC LOCATION: BASEMENT AND SOUTH SIDE OF HOME.
133 | 17273210070000 | B200416722 | 3/13/2025 |  |  |  |  | 104000 |  | 3000 S DR MARTIN LUTHER KING JR DR |  | CHICAGO, IL |  | BOARD OF EDUCATION - CHICAGO PUBLIC SCHOOLS | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL SECURITY. SPECIFIC LOCATION: MAIN ENTRY AND MDF ENTRIES.
134 | 26314010080000 | B200416726 | 3/17/2025 |  |  |  |  | 3500 |  | 13419 S HOUSTON AVE |  | CHICAGO, IL |  | ONTIVEROS RAUL | PURPOSE: LEGALIZE UNPERMITTED WORK. WOOD FENCE - 6'-0' ' (HEIGHT) X 567'-0' ' (LENGTH). LOCATION: FENCE AROUND THE HOUSE.
135 | 25043000330000 | B200416727 | 3/14/2025 |  |  |  |  | 16359 |  | 9120 S EMERALD AVE |  | CHICAGO, IL |  | BROOKS ALAN | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 6.6 KW. ARRAY OUTPUT: 8.61 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817. ¦ SPECIAL CONDITION: ** NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. **REFER TO ELECTRICAL PERMIT B200416733.
136 | 26171210010000 | B200416731 | 3/13/2025 |  |  |  |  | 50000 |  | 10810 S AVENUE H |  | CHICAGO, IL |  | BOARD OF EDUCATION - CHICAGO PUBLIC SCHOOLS | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL SECURITY. SPECIFIC LOCATION: MAIN ENTRY AND MDF ENTRIES.
137 | 13283170400000 | B200416732 | 5/16/2025 |  |  |  |  | 7000 |  | 2510 N LINDER AVE |  | CHICAGO, IL |  | CUI HONG | DUCTWORK EXTENSION/RECONFIGURATION, GAS PIPING EXTENSION/RECONFIGURATION, ELECTRICAL WORK UNDER THIS PERMIT = NO . LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), BASEMENT, 1ST FL, ATTIC.
138 | 25043000330000 | B200416733 | 3/12/2025 |  |  |  |  | 1450 |  | 9120 S EMERALD AVE |  | CHICAGO, IL |  | BROOKS ALAN | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 9 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. 13.5 KWH LITHIUM ION ENERGY STORAGE SYSTEM. SPECIFIC LOCATION: BASEMENT AND REAR OF HOME.
139 | 25171050480000 | B200416734 | 3/13/2025 |  |  |  |  | 76300 |  | 10330 S ELIZABETH ST |  | CHICAGO, IL |  | BOARD OF EDUCATION - CHICAGO PUBLIC SCHOOLS | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL SECURITY. SPECIFIC LOCATION: MAIN ENTRY AND MDF LOCATIONS.
140 | 19111140560000 | B200416736 | 3/13/2025 |  |  |  |  | 80000 |  | 4959 S ARCHER AVE |  | CHICAGO, IL |  | BOARD OF EDUCATION - CHICAGO PUBLIC SCHOOLS | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL SECURITY. SPECIFIC LOCATION: MAIN ENTRY AND MDF ENTRIES.
141 | 20271220350000 | B200416740 | 3/14/2025 |  |  |  |  | 10000 |  | 328 E 75TH ST |  | CHICAGO, IL |  | HART STEPHANIE | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 600 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. PARAPET REBUILDING: 300 SQ. FT. LOCATION: FACADE MASONRY REPAIRS.
142 | 20101120010000 | B200416741 | 3/15/2025 |  |  |  |  | 42000 |  | 4934 S WABASH AVE |  | CHICAGO, IL |  | BOARD OF EDUCATION - CHICAGO PUBLIC SCHOOLS | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL SECURITY. SPECIFIC LOCATION: MAIN ENTRY AND MDF ENTRIES.
143 | 14191070040000 | B200416746 | 3/12/2025 |  |  |  |  | 1100 |  | 3935 N SEELEY AVE |  | CHICAGO, IL |  | MILLER BRADY | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 250 SQ. FT., LINTEL QTY. 3, MAX. LENGTH 6. LOCATION: 3935 N SEELEY AVE - COACH HOUSE.
144 | 17342030510000 | B200416747 | 3/13/2025 |  |  |  |  | 53800 |  | 3113 S RHODES AVE |  | CHICAGO, IL |  | BOARD OF EDUCATION - CHICAGO PUBLIC SCHOOLS | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL SECURITY. SPECIFIC LOCATION: MAIN ENTRY AND MDF ENTRIES.
145 | 13222160290000 | B200416752 | 3/12/2025 |  |  |  |  | 30000 |  | 3708 N KEELER AVE |  | CHICAGO, IL |  | SAMM MIKE | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 27'-0' ' X21'-0' '. GABLE ROOF HEIGHT TO PEAK: 14'-6' '.
146 | 13024020220000 | B200416753 | 3/12/2025 |  |  |  |  | 9850 |  | 5901 N ST LOUIS AVE |  | CHICAGO, IL |  | ZALUBA BETH | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 60 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. PARAPET REBUILDING: 60 SQ. FT. LOCATION: FRONT FACADE.
147 | 13213180390000 | B200416754 | 3/18/2025 |  |  |  |  | 2100 |  | 5215 W ROSCOE ST |  | CHICAGO, IL |  | CISNEROS ELUID | PURPOSE: NEW/REPLACEMENT INSTALLATION. WOOD FENCE - 6'-0' ' (HEIGHT) X 64'-0' ' (LENGTH). LOCATION: SIDE YARD FENCE.
148 | 19123050390000 | B200416758 | 3/24/2025 |  |  |  |  | 11200 |  | 5158 S FRANCISCO AVE |  | CHICAGO, IL |  | PADILLA EMMANUEL | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: STEEP (>5:12). INVERTER OUTPUT: 11.4 KW. ARRAY OUTPUT: 5.6 KW. LOCATION: ROOF OF RESIDENCE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-1181.
149 | 25214060560000 | B200416773 | 3/24/2025 |  |  |  |  | 3500 |  | 11517 S PERRY AVE |  | CHICAGO, IL |  | JOHNSON NAJM | PURPOSE: NEW/REPLACEMENT INSTALLATION. WOOD FENCE - 6'-0' ' (HEIGHT) X 6'-0' ' (LENGTH). LOCATION: BACK YARD.
150 | 16162130380000 | B200416774 | 3/14/2025 |  |  |  |  | 28158 |  | 5074 W GLADYS AVE |  | CHICAGO, IL |  | RICE LAKITA | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: STEEP (>5:12). INVERTER OUTPUT: 11.4 KW. ARRAY OUTPUT: 15.39 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817. ¦ SPECIAL CONDITION: **NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. **REFER TO ELECTRICAL PERMIT B200416775.
151 | 16162130380000 | B200416775 | 3/12/2025 |  |  |  |  | 1500 |  | 5074 W GLADYS AVE |  | CHICAGO, IL |  | RICE LAKITA | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 30 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. 13.5 KWH LITHIUM ION ENERGY STORAGE SYSTEM. SPECIFIC LOCATION: BASEMENT AND REAR OF HOME.
152 | 25153110410000 | B200416780 | 3/14/2025 |  |  |  |  | 7410 |  | 10839 S EDBROOKE AVE |  | CHICAGO, IL |  | COLEMAN SHIRLEY | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: STEEP (>5:12). INVERTER OUTPUT: 3 KW. ARRAY OUTPUT: 4.05 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817. ¦ SPECIAL CONDITION: ** NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. **REFER TO ELECTRICAL PERMIT B200416783.
153 | 25153110410000 | B200416783 | 3/12/2025 |  |  |  |  | 1500 |  | 10839 S EDBROOKE AVE |  | CHICAGO, IL |  | COLEMAN SHIRLEY | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 20 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. 13.5 KWH LITHIUM ION ENERGY STORAGE SYSTEM. SPECIFIC LOCATION: BASEMENT AND SOUTH SIDE OF HOME.
154 | 16152000150000 | B200416785 | 3/12/2025 |  |  |  |  | 374000 |  | 4301 W MADISON ST |  | CHICAGO, IL |  | LEOPARDO CONSTRUCTION | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL SECURITY. SPECIFIC LOCATION: WELLNESS CENTER.
155 | 20254170320000 | B200416787 | 3/14/2025 |  |  |  |  | 800 |  | 7744 S CLYDE AVE |  | CHICAGO, IL |  | FERNANDEZ ASHLEY | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 30 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: BASEMENT.
156 | 14052080190000 | B200416788 | 3/28/2025 |  |  |  |  | 20000 |  | 6166 N WINTHROP AVE |  | CHICAGO, IL |  | STRANDBERG MIKE | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 800 AMP SERVICE DISCONNECTING MEANS WITH 6 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: BASEMENT AND BREAKER LOCATIONS IN THE UNITS.
157 | 16054020230000 | B200416789 | 3/17/2025 |  |  |  |  | 22628 |  | 1138 N MONITOR AVE |  | CHICAGO, IL |  | BANKS CHRISHANDA | ADA BATHROOM MODIFICATIONS. REMOVE TUB AND INSTALL SHOWER WITH ASSOCIATED FIXTURES AND TILE WORK.
158 | 11321220070000 | B200416790 | 3/27/2025 |  |  |  |  | 5000 |  | 6802 N WAYNE AVE |  | CHICAGO, IL |  | 6800WAYNECHICAGO LLC | SCOPE: NONSTRUCTURAL INTERIOR REPLACEMENT OF 250 SQ FT OF DRYWALL ONLY, NO OTHER WORK.LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), UNIT 1E. ¦ SPECIAL CONDITION: SEPARATE ELECTRICAL PERMIT REQUIRED
159 | 20362000560000 | B200416795 | 3/13/2025 |  |  |  |  | 3000 |  | 2015 E 79TH ST |  | CHICAGO, IL |  | WALGREENS CORPORATION | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: 2ND FLOOR MECHANICAL ROOM EXTERIOR SERVICE DROP.
160 | 25271240040000 | B200416797 | 3/24/2025 |  |  |  |  | 3500 |  | 145 E 121ST PL |  | CHICAGO, IL |  | UNITY REENTRY HOMES LLC | PURPOSE: NEW/REPLACEMENT INSTALLATION. WOOD FENCE - 6'-0' ' (HEIGHT) X 6'-0' ' (LENGTH). LOCATION: BACK YARD.
161 | 13072300480000 | B200416801 | 3/12/2025 |  |  |  |  | 3500 |  | 5228 N NASHVILLE AVE |  | CHICAGO, IL |  | HILLEBRAND ERIC | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 40 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. 13.5 KWH LITHIUM ION ENERGY STORAGE SYSTEM. SPECIFIC LOCATION: BASEMENT AND BACKYARD.
162 | 13341100060000 | B200416805 | 4/4/2025 |  |  |  |  | 50000 |  | 2235 N KNOX AVE |  | CHICAGO, IL |  | SULLIVAN RYAN | DUCTWORK EXTENSION/RECONFIGURATION, REPAIR/REPLACEMENT AFFECTING 1 SYSTEMS : 3 CENTRAL FURNACE(TRANE 4YCC4024E1060A ROOF TOP) . ELECTRICAL WORK UNDER THIS PERMIT = NO . LOCATIONS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), EXTERIOR WORK, ROOF TOP, AND OFFICE FLOOR. ¦ SPECIAL CONDITION: CONTACT REFRIGERATION SUPERVISOR CLEMENT GAVIN 312-743-3562, PRIOR TO THE INSTALLATION OF ANY ROOFTOP EQUIPMENT, TO SCHEDULE AN INSPECTION.
163 | 17052180040000 | B200416806 | 3/18/2025 |  |  |  |  | 91862 |  | 1440 N DAYTON ST |  | CHICAGO, IL |  | ANN & ROBERT H LURIE CHILDRENS | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL SECURITY. SPECIFIC LOCATION: ACCESS CONTROL.
164 | 16362010150000 | B200416816 | 3/14/2025 |  |  |  |  | 100680 |  | 2440 W 34TH ST |  | CHICAGO, IL |  | HINDA INCENTIVES | REPAIR/REPLACEMENT AFFECTING 1 SYSTEMS : 2 ROOFTOP PACKAGED UNIT(TRANE, GCC300A AND YSC060G, ROOF TOP) . ELECTRICAL WORK UNDER THIS PERMIT = NO . LOCATIONS: 0 RESIDENTIAL UNIT(S), 2 NON-RESIDENTIAL UNIT(S), EXTERIOR WORK, ROOF TOP. ¦ SPECIAL CONDITION: CONTACT REFRIGERATION SUPERVISOR CLEMENT GAVIN 312-743-3562, PRIOR TO THE INSTALLATION OF ANY ROOFTOP EQUIPMENT, TO SCHEDULE AN INSPECTION.
165 | 13331110260000 | B200416821 | 3/18/2025 |  |  |  |  | 13600 |  | 2142 N LATROBE AVE |  | CHICAGO, IL |  | RIVAS ORLANDO | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: STEEP (>5:12). INVERTER OUTPUT: 11.4 KW. ARRAY OUTPUT: 6.8 KW. LOCATION: ROOFTOP. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-1181.
166 | 24232060070000 | B200416824 | 4/9/2025 |  |  |  |  | 20000 |  | 3243 W 111TH ST |  | CHICAGO, IL |  | O’KEEFE TIMOTHY | REPAIR OR IN-KIND REPLACEMENT OF 6 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. INCLUDES REPAIR OR REPLACMENT OF PLUMBING PIPING. INCLUDES REPAIR OR REPLACEMENT OF PLUMBING RISERS IN EXISTING CHASES. LOCATIONS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), MEN'S & WOMEN'S BATHROOMS.
167 | 19141240090000 | B200416829 | 3/18/2025 |  |  |  |  | 15200 |  | 3939 W 58TH ST |  | CHICAGO, IL |  | AREVALO DIANA | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: STEEP (>5:12). INVERTER OUTPUT: 11.4 KW. ARRAY OUTPUT: 7.6 KW. LOCATION: ROOFTOP. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-1181. ¦ SPECIAL CONDITION: ** NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018.
168 | 25043290090000 | B200416831 | 3/12/2025 |  |  |  |  | 3214 |  | 9421 S NORMAL AVE |  | CHICAGO, IL |  | SIMPSON LARAZE | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 7 . LIGHTING OUTLETS: 7. SPECIFIC LOCATION: 1ST FLOOR AND BASEMENT.
169 | 19024300250000 | B200416832 | 3/26/2025 |  |  |  |  | 3600 |  | 4616 S KEDZIE AVE |  | CHICAGO, IL |  | INVESCOMEX I, LLC C/O EVELIA & EDUARDO RODRIGUEZ | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL SECURITY. SPECIFIC LOCATION: FRONT LOBBY.
170 | 16054030260000 | B200416833 | 3/17/2025 |  |  |  |  | 25703 |  | 1128 N MENARD AVE |  | CHICAGO, IL |  | THOMAS JACKIE | ADA BATHROOM MODIFICATIONS. REMOVE TUB AND INSTALL SHOWER WITH ASSOCIATED FIXTURES AND TILE WORK.
171 | 16091140120000 | B200416834 | 3/19/2025 |  |  |  |  | 50000 |  | 507 N CENTRAL AVE |  | CHICAGO, IL |  | AUSTIN SRO PRESERVATION, LLC | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 3000 SQ. FT., LINTEL QTY. 80, MAX. LENGTH 4. LOCATION: EXTERIOR MASONRY WALLS.
172 | 17283110270000 | B200416837 | 3/25/2025 |  |  |  |  | 5000 |  | 2804 S LOWE AVE |  | CHICAGO, IL |  | PASCUA STEVE | LIMITED REPAIR (25% OR LESS) FOR WOOD EXTERIOR STAIRWAY (QUANTITY: 1, LOCATION: REAR OF BUILDING).
173 | 20154110120000 | B200416838 | 3/28/2025 |  |  |  |  | 10000 |  | 6137 S RHODES AVE |  | CHICAGO, IL |  | ANING NANA | REPAIR (26% TO 50%) FOR WOOD PORCH (OPEN) (QUANTITY: 1, LOCATION: EAST SIDE OF BUILDING). ¦ SPECIAL CONDITION: PERMIT WILL NOT CORRECT: CN061014, SEPARATE PERMIT APPLICATION MUST BE SUBMITTED TO ADDRESS MASONRY VIOLATION.
174 | 14203030160000 | B200416841 | 3/13/2025 |  |  |  |  | 10000 |  | 3556 N SOUTHPORT AVE |  | CHICAGO, IL |  | MID AMERICA MGMT CO. ALEX CHRISTENSON | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 392 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: FRONT FACADE.
175 | 17193130450000 | B200416845 | 4/8/2025 |  |  |  |  | 40000 |  | 2004 W CULLERTON ST |  | CHICAGO, IL |  | JULIA ZIZUMBO | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 400 AMP SERVICE DISCONNECTING MEANS WITH 60 CIRCUITS. RECEPTACLE OUTLETS: 60 . LIGHTING OUTLETS: 6. SPECIFIC LOCATION: BUILDING REHAB.
176 | 16231020260000 | B200416847 | 3/20/2025 |  |  |  |  | 3000 |  | 1220 S AVERS AVE |  | CHICAGO, IL |  | RODRIGUEZ MANUEL | SCOPE: NONSTRUCTURAL INTERIOR PREPARATORY DEMOLITION OF NONLOAD BEARING DRYWALL AND M.E.P. SYSTEMS WITH ALL OTHER WORK TO BE PERFOMRED ON 101066430. LOCATIONS: 2 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 1 INTERIOR COMMON AREAS, DUPLEX BASEMENT/FIRST AND SECOND FLOOR APARTMENTS.
177 | 14051270080000 | B200416848 | 3/24/2025 |  |  |  |  | 15000 |  | 1437 W NORWOOD ST |  | CHICAGO, IL |  | MASSEY WILLIAM JOHN | SCOPE: NONSTRUCTURAL INTERIOR ALTERATION TO REPLACE EXISTING WINDOWS AND DOOR IN BREAKFAST NOOK AREA,WIDEN EXISTING STAIRS, NO CHANGE TO LANDING SIZE. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), FIRST FLOOR BREAKFAST NOOK
178 | 13093250180000 | B200416853 | 3/19/2025 |  |  |  |  | 350000 |  | 5215 W STRONG ST |  | CHICAGO, IL |  | BON BON DEVELOPERS LLC | REPAIR OR IN-KIND REPLACEMENT OF 5 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. REPAIR OR IN-KIND REPLACEMENT OF HOT WATER HEATER(S). INCLUDES REPAIR OR REPLACMENT OF PLUMBING PIPING. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 3 INTERIOR COMMON AREAS, BASEMENT, FIRST FLOOR AND ATTIC.
179 | 17032210050000 | B200416854 | 3/20/2025 |  |  |  |  | 45500 |  | 200 E CHESTNUT ST |  | CHICAGO, IL |  | REDWOOD CONSTRUCTION, INC. | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 500 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: BUILDING EXTERIOR.
180 | 13311080220000 | B200416855 | 3/25/2025 |  |  |  |  | 13600 |  | 7014 W BELDEN AVE |  | CHICAGO, IL |  | PROPERTY MANAGER WESTWARD360 | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 300 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: BUILDING EXTERIOR.
181 | 17051070370000 | B200416856 | 3/14/2025 |  |  |  |  | 500 |  | 1416 N BOSWORTH AVE |  | CHICAGO, IL |  | SONEK ELECTRIC,INC. | LINE VOLTAGE ELECTRICAL WORK. NEW TEMPORARY 100 AMP SERVICE DISCONNECTING MEANS WITH 2 CIRCUITS. RECEPTACLE OUTLETS: 2 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: SIDE OF THE BUILDING.
182 | 25191020220000 | B200416860 | 3/13/2025 |  |  |  |  | 2500 |  | 11132 S HOYNE AVE |  | CHICAGO, IL |  | JOHNSON JOHN | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 125 AMP SERVICE DISCONNECTING MEANS WITH 30 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: ELECTRICAL PANEL.
183 | 16151200300000 | B200416865 | 3/19/2025 |  |  |  |  | 23100 |  | 4434 W GLADYS AVE |  | CHICAGO, IL |  | FIGUEROA MARIO | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 700 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. CONCRETE MASONRY REPAIR / REPLACEMNT: 6SQ. FT., EXCAVATION = YES. PARAPET REBUILDING: 20 SQ. FT. LOCATION: BASEMENT, EXTERIOR ALL ELEVATIONS.
184 | 17064000150000 | B200416868 | 4/18/2025 |  |  |  |  | 25000 |  | 1133 N DAMEN AVE |  | CHICAGO, IL |  | NEHM DAN | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 600 AMP SERVICE DISCONNECTING MEANS WITH 20 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: BASEMENT. ¦ SPECIAL CONDITION: NO OTHER WORK.
185 | 25104050140000 | B200416870 | 3/14/2025 |  |  |  |  | 32426 |  | 631 E 100TH ST |  | CHICAGO, IL |  | ADAMS JEANNIE | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 22'-0' ' X22'-0' '. HIP ROOF HEIGHT TO PEAK: 13'-0' '.
186 | 17094130020000 | B200416871 | 3/19/2025 |  |  |  |  | 12000 |  | 225 W WACKER DR |  | CHICAGO, IL |  | BRATTLE GROUP | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL DATA/VIDEO. SPECIFIC LOCATION: 20TH FLOOR.
187 | 13062280390000 | B200416873 | 3/14/2025 |  |  |  |  | 42451 |  | 6128 N NAGLE AVE |  | CHICAGO, IL |  | MOLINA JR ERIBERTO | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 24'-0' ' X24'-0' '. GABLE ROOF HEIGHT TO PEAK: 14'-0' '.
188 | 14292120210000 | B200416875 | 3/18/2025 |  |  |  |  | 14746 |  | 836 W WELLINGTON AVE |  | CHICAGO, IL |  | ADVOCATE ILLINOIS MASONIC MEDICAL CENTER | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL SECURITY. SPECIFIC LOCATION: FL 7&8.
189 | 21303310360000 | B200416877 | 3/21/2025 |  |  |  |  | 25500 |  | 2714 E 79TH ST |  | CHICAGO, IL |  | NARCISSUS HOLDINGS LLC | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 2500 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: FRONT AND BACK OF MAIN BUILDING AND GARAGE.
190 | 13351050330000 | B200416879 | 3/13/2025 |  |  |  |  | 8000 |  | 2306 N LAWNDALE AVE |  | CHICAGO, IL |  | ALCALA CARMEN | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 60 CIRCUITS. RECEPTACLE OUTLETS: 40 . LIGHTING OUTLETS: 30. SPECIFIC LOCATION: BASEMENT AT THE BACK OF THE HOUSE.
191 | 13313240020000 | B200416884 | 3/17/2025 |  |  |  |  | 12597 |  | 1651 N SAYRE AVE |  | CHICAGO, IL |  | LEE AUDREY | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: STEEP (>5:12). INVERTER OUTPUT: 5.1 KW. ARRAY OUTPUT: 6.885 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817. ¦ SPECIAL CONDITION: **NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. **REFER TO ELECTRICAL PERMIT B200416889.
192 | 13221120010000 | B200416885 | 3/13/2025 |  |  |  |  | 45260 |  | 3757 N CICERO AVE |  | CHICAGO, IL |  | BUDRON COLLIN | SCOPE: ROOF RECOVER. AREA: 4200 SQ. FT. ROOF COVERING: BUILT-UP ROOF. LOCATION: ROOF OVERLAY. IL ROOFING CONTRACTOR LICENSE: 104014562.
193 | 20312120230000 | B200416888 | 3/17/2025 |  |  |  |  | 14500 |  | 8018 S HERMITAGE AVE |  | CHICAGO, IL |  | FLOYD EVELYN | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 1250 SQ. FT., LINTEL QTY. 2, MAX. LENGTH 3. PARAPET REBUILDING: 150 SQ. FT. LOCATION: NORTH AND SOUTH ELEVATION AND EAST CHIMNEY..
194 | 13313240020000 | B200416889 | 3/13/2025 |  |  |  |  | 1500 |  | 1651 N SAYRE AVE |  | CHICAGO, IL |  | LEE AUDREY | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 20 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. 13.5 KWH LITHIUM ION ENERGY STORAGE SYSTEM. SPECIFIC LOCATION: BASEMENT AND SOUTH SIDE OF HOME.
195 | 20172300050000 | B200416890 | 3/18/2025 |  |  |  |  | 2000 |  | 5809 S PEORIA ST |  | CHICAGO, IL |  | SMITH DONTE | SCOPE: NONSTRUCTURAL INTERIOR REMOVAL OF UNPERMITTED RESIDENTIAL UNIT FEATURES, REMOVE APPLIANCES, CABINET, COUNTERTOP, DRYWALL AND PLUMBING FIXTURES, RESTORE TO OPEN BASEMENT WITHIN SINGLE FAMILY RESIDENCE.LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 1 INTERIOR COMMON AREAS, BASEMENT.
196 | 17162030250000 | B200416893 | 3/17/2025 |  |  |  |  | 375000 |  | 50 S LA SALLE ST |  | CHICAGO, IL |  | NORTHERN TRUST COMPANY | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL TELEPHONE. SPECIFIC LOCATION: 12TH FLOOR.
197 | 19173170430000 | B200416895 | 3/14/2025 |  |  |  |  | 45930 |  | 6143 S NARRAGANSETT AVE |  | CHICAGO, IL |  | VARELA EDUARDO | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 22'-0' ' X24'-0' '. GABLE ROOF HEIGHT TO PEAK: 15'-0' '.
198 | 25211000380000 | B200416896 | 3/13/2025 |  |  |  |  | 20850 |  | 11138 S EMERALD AVE |  | CHICAGO, IL |  | PATTON PHILIP | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 22'-0' ' X20'-0' '. HIP ROOF HEIGHT TO PEAK: 14'-0' '.
199 | 24124170080000 | B200416898 | 3/13/2025 |  |  |  |  | 26950 |  | 10027 S CAMPBELL AVE |  | CHICAGO, IL |  | BURNS ADAM | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 20'-0' ' X20'-0' '. HIP ROOF HEIGHT TO PEAK: 14'-0' '.
200 | 19023000020000 | B200416903 | 3/13/2025 |  |  |  |  | 14630 |  | 4305 S PULASKI RD |  | CHICAGO, IL |  | POLLO CAMPERO | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL SECURITY. SPECIFIC LOCATION: DIVISION BLDG.