## Sheet1
# [LLINE] | PIN* [PARID] | Local Permit No.* [USER28] | Issue Date* [PERMDT] | Desc 1* [DESC1] | Desc 2 Code 1 [USER6] | Desc 2 Code 2 [USER7] | Desc 2 Code 3 [USER8] | Amount* [AMOUNT] | Assessable [IS_ASSESS] | Applicant Street Address* [ADDR1] | Applicant Address 2 [ADDR2] | Applicant City, State, Zip* [ADDR3] | Contact Phone* [PHONE] | Applicant* [USER21] | Notes [NOTE1] | Occupy Dt [UDATE1] | Submit Dt* [CERTDATE] | Est Comp Dt [UDATE2] | user21
1 | 17302100560000 | B200417533 | 3/19/2025 |  |  |  |  | 36500 |  | 2356 S ASHLAND AVE |  | CHICAGO, IL |  | W.W. GRAINGER, INC./ DAVE ZIMMER | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 0 . LIGHTING OUTLETS: 216. SPECIFIC LOCATION: WAREHOUSE, OFFICES, SHOWROOM.
2 | 16114040440000 | B200417534 | 6/10/2025 |  |  |  |  | 8500 |  | 3402 W FULTON BLVD |  | CHICAGO, IL |  | UPCHUCH BETTY | PARAPET REBUILDING: 19 SQ. FT. LOCATION: EAST AND WEST TOP ELEVATIONS.
3 | 20182160110000 | B200417536 | 4/8/2025 |  |  |  |  | 4500 |  | 5731 S DAMEN AVE |  | CHICAGO, IL |  | RANCHO LLC | REPAIR (26% TO 50%) FOR WOOD PORCH (OPEN) (QUANTITY: 1, LOCATION: FRONT OF BUILDING). LANDING: 130 SQUARE FEET. LANDING NOT MORE THAN 6 FEET ABOVE GROUND.
4 | 25191100110000 | B200417537 | 3/26/2025 |  |  |  |  | 38750 |  | 11423 S OAKLEY AVE |  | CHICAGO, IL |  | WILHELMSEN THILO | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 29'-0' ' X20'-0' '. HIP ROOF HEIGHT TO PEAK: 14'-0' '.
5 | 20321100250000 | B200417539 | 3/25/2025 |  |  |  |  | 750 |  | 8020 S BISHOP ST |  | CHICAGO, IL |  | PROJECT REFURBISH ESTATE LLC | NONSTRUCTURAL INTERIOR WORK: REPLACE DRYWALL. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 1ST FLOOR.
6 | 14051030150000 | B200417540 | 4/7/2025 |  |  |  |  | 1500 |  | 1423 W HIGHLAND AVE |  | CHICAGO, IL |  | JONES REBECCA | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 2 . LIGHTING OUTLETS: 2. SPECIFIC LOCATION: UNIT 2 SECOND FLOOR BATHROOM.
7 | 20162180570000 | B200417546 | 4/7/2025 |  |  |  |  | 3000 |  | 148 W 59TH ST |  | CHICAGO, IL |  | CABRINI MANAGEMENT LLC | IN-KIND REPLACEMENT OF EXTERIOR WINDOWS AND DOORS IN EXISTING OPENINGS. REPLACEMENT WINDOWS: 11; REPLACEMENT SKYLIGHTS: 0; REPLACEMENT DOORS: 2. AFFECTS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), LOCATION: 1ST AND 2ND FL.
8 | 17103060180000 | B200417548 | 6/12/2025 |  |  |  |  | 325900 |  | 150 N MICHIGAN AVE |  | CHICAGO, IL |  | R2 COMPANIES | DUCTWORK EXTENSION/RECONFIGURATION, HYDRONIC PIPING EXTENSION/RECONFIGURATION, GAS PIPING EXTENSION/RECONFIGURATION, REPAIR/REPLACEMENT AFFECTING 1 SYSTEMS : 2 BOILER - HOT WATER(RAYPACK EA3000THWS, 42ND FLOOR MEZZ) . ELECTRICAL WORK UNDER THIS PERMIT = YES . LOCATIONS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), 42ND FLOOR MECHANICAL ROOM.
9 | 16123210300000 | B200417550 | 4/9/2025 |  |  |  |  | 43000 |  | 2944 W WASHINGTON BLVD |  | CHICAGO, IL |  | TOUCHSTONE GROUP SOLUTION INC* | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 900 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: FRONT (SOUTH) EAST AND WEST ELEVATIONS,.
10 | 09362150130000 | B200417551 | 3/25/2025 |  |  |  |  | 30000 |  | 7211 W GREENLEAF AVE |  | CHICAGO, IL |  | WRENN SARAH | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 25'-0' ' X24'-0' '. GABLE ROOF HEIGHT TO PEAK: 15'-0' '.
11 | 12013200430000 | B200417554 | 3/24/2025 |  |  |  |  | 9713 |  | 5618 N OZARK AVE |  | CHICAGO, IL |  | LAPPE DONALD | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 6 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: BASEMENT.
12 | 20271010030000 | B200417555 | 3/24/2025 |  |  |  |  | 45600 |  | 7113 S WABASH AVE |  | CHICAGO, IL |  | COOPER TITUS | INSTALL SOLAR PANELS ON ROOF OF ACCESSORY BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 11.4 KW. ARRAY OUTPUT: 3.2 KW. LOCATION: SOLAR ROOF MOUNT INSTALL 8 MODULES ACCESSORY BLD. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-1231. ¦ SPECIAL CONDITION: **NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. **REFER TO B200403431 ELECTRICAL PERMIT & B200022804 SOLAR (PRINCIPAL) BUILDING. ** UNDERGROUND RACEWAY TO BE INSPECTED BY AHJ PRIOR TO COVERING. **PLEASE PROVIDE NOTARIZED LETTER FROM OWNER & BUILDING MANAGEMENT WITH APPROVAL OF SOLAR INSTALLATION OF PROPOSED WORK ON BUILDING STRUCTURE AT THE TIME OF SOLAR INSPECTION OR RISK FAILURE AS PROPOSED WORK PER ELECTRICAL DRAWING.
13 | 19132200270000 | B200417558 | 3/24/2025 |  |  |  |  | 450 |  | 5832 S FAIRFIELD AVE |  | CHICAGO, IL |  | CARRILLO MIGUEL | LINE VOLTAGE ELECTRICAL WORK. ADD 1 CIRCUITS TO EXISTING 15 AMP SERVICE DISCONNECTING MEANS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: FRONT ENTRANCE.
14 | 12013200430000 | B200417559 | 3/24/2025 |  |  |  |  | 6241 |  | 5618 N OZARK AVE |  | CHICAGO, IL |  | LAPPE DONALD | REPAIR OR IN-KIND REPLACEMENT OF 0 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. REPAIR OR IN-KIND REPLACEMENT OF HOT WATER HEATER(S). LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), BASEMENT.
15 | 12013200430000 | B200417560 | 3/24/2025 |  |  |  |  | 17109 |  | 5618 N OZARK AVE |  | CHICAGO, IL |  | LAPPE DONALD | REPAIR/REPLACEMENT AFFECTING 2 SYSTEMS : 1 OTHER AIR HANDLING EQUIPMENT(MITSUBISHI AIR HANDLER SVZ-KP36NA MINI SPLIT MSZ-GS06NA-U1 HEAT STRIP EH05-SVZ-M) 1 OTHER HEAT PUMP(MITSUBISHI HEAT PUMP MXZ-SM42NAMHZ2-U1) . ELECTRICAL WORK UNDER THIS PERMIT = NO . LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), BASEMENT.
16 | 20311280770000 | B200417561 | 3/19/2025 |  |  |  |  | 34475 |  | 8206 S DAMEN AVE |  | CHICAGO, IL |  | WILLIAMS TYRONE | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 24'-0' ' X24'-0' '. HIP ROOF HEIGHT TO PEAK: 15'-0' '.
17 | 16174110150000 | B200417564 | 3/25/2025 |  |  |  |  | 70000 |  | 1145 S MAYFIELD AVE |  | CHICAGO, IL |  | VEGA ELIAS | NONSTRUCTURAL INTERIOR REPLACEMENT OF DRYWALL/PLASTER. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 2ND FLOOR APARTMENT.
18 | 17044120260000 | B200417569 | 3/21/2025 |  |  |  |  | 9600 |  | 1122 N CLARK ST |  | CHICAGO, IL |  | JP MORGAN CHASE BANK, N.A. AS TRUSTEE OF THE CAROL | IN-KIND REPLACEMENT OF EXTERIOR WINDOWS AND DOORS IN EXISTING OPENINGS. REPLACEMENT WINDOWS: 0; REPLACEMENT SKYLIGHTS: 0; REPLACEMENT DOORS: 1. AFFECTS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), LOCATION: REMOVE AND REPLACE CHASE ENTRANCE DOOR.
19 | 24143060440000 | B200417570 | 3/19/2025 |  |  |  |  | 55899 |  | 11008 S SPRINGFIELD AVE |  | CHICAGO, IL |  | LASAK KEVIN | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 24'-0' ' X24'-0' '. HIP ROOF HEIGHT TO PEAK: 15'-0' '.
20 | 19361250760000 | B200417571 | 3/24/2025 |  |  |  |  | 450 |  | 8205 S TROY ST |  | CHICAGO, IL |  | MORALES CHAVEZ RUFINA | LINE VOLTAGE ELECTRICAL WORK. ADD 1 CIRCUITS TO EXISTING 15 AMP SERVICE DISCONNECTING MEANS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: FRONT ENTRANCE.
21 | 14194130070000 | B200417574 | 4/4/2025 |  |  |  |  | 5000 |  | 1743 W CORNELIA AVE |  | CHICAGO, IL |  | KILDOW WILLIAM | REPAIR (26% TO 50%) FOR WOOD PORCH (OPEN) (QUANTITY: 1, LOCATION: FRONT OF BUILDING). LANDING: 50 SQUARE FEET. LANDING NOT MORE THAN 6 FEET ABOVE GROUND. REPAIR (26% TO 50%) FOR WOOD EXTERIOR BALCONY (QUANTITY: 1, LOCATION: FRONT OF BUILDING).
22 | 13203160050000 | B200417577 | 4/23/2025 |  |  |  |  | 8500 |  | 3343 N NARRAGANSETT AVE |  | CHICAGO, IL |  | GARCIA RUBEN | FULL REBUILD (SAME AS EXISTING) FOR WOOD PORCH (OPEN) (QUANTITY: 1, LOCATION: REAR OF BUILDING). LANDING: 134 SQUARE FEET. LANDING NOT MORE THAN 6 FEET ABOVE GROUND.
23 | 20253230230000 | B200417581 | 3/31/2025 |  |  |  |  | 1500 |  | 7712 S JEFFERY BLVD |  | CHICAGO, IL |  | GUESH SOLOMON | REPAIR/REPLACEMENT AFFECTING 1 SYSTEMS : 1 DUCT FURNACE(ACIQ PG95ESAA48080B, UNIT 2) . ELECTRICAL WORK UNDER THIS PERMIT = NO . LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), UNIT 2.
24 | 20103030020000 | B200417593 | 3/31/2025 |  |  |  |  | 6700 |  | 5221 S MICHIGAN AVE |  | CHICAGO, IL |  | HEMRY DAVE | WRECK AND REMOVE DILAPIDATED MASONRY GARAGE, NO REPLACEMENT. LOCATIONS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), GARAGE.
25 | 17032110360000 | B200417594 | 4/30/2025 |  |  |  |  | 400000 |  | 900 N MICHIGAN AVE |  | CHICAGO, IL |  | 900 NORTH MICHIGAN, LLC | SCOPE: NONSTRUCTURAL INTERIOR REMODEL OF EXISTING RESTROOMS, REPLACE PLUMBING AND ELCTRICAL FIXTURES AND FINISHES. LOCATIONS: 0 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 1 INTERIOR COMMON AREAS, LEVEL 8 TENANT RESTROOMS.
26 | 10364090040000 | B200417596 | 3/19/2025 |  |  |  |  | 3800 |  | 6649 N FAIRFIELD AVE |  | CHICAGO, IL |  | CURLEY JENNIFER | FULL REBUILD (SAME AS EXISTING) FOR WOOD PORCH (OPEN) (QUANTITY: 1, LOCATION: REAR OF BUILDING). LANDING: 50 SQUARE FEET. LANDING NOT MORE THAN 6 FEET ABOVE GROUND.
27 | 16043190160000 | B200417600 | 3/19/2025 |  |  |  |  | 5500 |  | 5411 W WALTON ST |  | CHICAGO, IL |  | 5411 W WALTON LLC | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 20 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: BASEMENT COMMON AREA.
28 | 13232030200000 | B200417603 | 3/18/2025 |  |  |  |  | 5000 |  | 3905 N BERNARD ST |  | CHICAGO, IL |  | MEDINA LUZ | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 30 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: BASEMENT AND BACKYARD.
29 | 13232310280000 | B200417606 | 4/1/2025 |  |  |  |  | 10000 |  | 3634 N CHRISTIANA AVE |  | CHICAGO, IL |  | TROLL IAN | WRECK AND REMOVE FRAME DETACHED GARAGE, NO REPLACEMENT. LOCATIONS: 0 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), EXTERIOR WORK, GARAGE REMOVAL.
30 | 25054070400000 | B200417608 | 3/21/2025 |  |  |  |  | 5800 |  | 9258 S ABERDEEN ST |  | CHICAGO, IL |  | SURDEL RICHARD | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 50 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. CONCRETE MASONRY REPAIR / REPLACEMNT: 100SQ. FT., EXCAVATION = NO. LOCATION: TUCKPOINTING 50 SF, STAIRS REPAIRS, SERVICE WALK.
31 | 17082050050000 | B200417611 | 3/28/2025 |  |  |  |  | 8500 |  | 760 N MILWAUKEE AVE |  | CHICAGO, IL |  | HIRTY KENNETH | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 300 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: BASEMENT.
32 | 17211180270000 | B200417613 | 3/21/2025 |  |  |  |  | 500000 |  | 1400 S JEFFERSON ST |  | CHICAGO, IL |  | UNITED PARCEL SERVICE | LINE VOLTAGE ELECTRICAL WORK. ADD 30 CIRCUITS TO EXISTING 1200 AMP SERVICE DISCONNECTING MEANS. RECEPTACLE OUTLETS: 30 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: PARCEL SORTING FACTORY FLOOR.
33 | 17093410230000 | B200417616 | 4/17/2025 |  |  |  |  | 250000 |  | 540 W MADISON ST |  | CHICAGO, IL |  | BANK OF AMERICA C/O CUSHMAN & WAKEFIELD | NONSTRUCTURAL INTERIOR ALTERATION TO AN EXISTING OFFICE SPACE ON FLOOR 00M: INTERIOR DEMOLITION, NEW PARTITIONS, CEILING AND LIGHTING, DOORS AND HARDWARE, AND ASSOCIATED ELECTRICAL AND MECHANICAL. NO PLUMBING. NO CHANGE IN USE. LOCATIONS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), FLOOR 00M.
34 | 16023300380000 | B200417617 | 4/3/2025 |  |  |  |  | 5000 |  | 3722 W CHICAGO AVE |  | CHICAGO, IL |  | VANDERHART AARON | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 10 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: FRONT FACADE.
35 | 13164240320000 | B200417622 | 3/27/2025 |  |  |  |  | 2000 |  | 5134 W IRVING PARK RD |  | CHICAGO, IL |  | DOROTHY HUGHES | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 10 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: FRONT FACADE.
36 | 25124270160000 | B200417623 | 3/19/2025 |  |  |  |  | 2500 |  | 10243 S YATES AVE |  | CHICAGO, IL |  | ELION YOLANDA | PURPOSE: LEGALIZE UNPERMITTED WORK. WOOD FENCE - 6'-0' ' (HEIGHT) X 113'-0' ' (LENGTH). LOCATION: SIDE AND REAR.
37 | 17273041540000 | B200417624 | 3/19/2025 |  |  |  |  | 2460 |  | 2701 S MICHIGAN AVE |  | CHICAGO, IL |  | CHAUMETTE SONIA | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 20 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 2. SPECIFIC LOCATION: MEHANICAL/STORAGE ROOM.
38 | 13202200090000 | B200417627 | 3/27/2025 |  |  |  |  | 3720 |  | 5931 W WARWICK AVE |  | CHICAGO, IL |  | JAMES HJ | PURPOSE: NEW/REPLACEMENT INSTALLATION. VINYL/PVC FENCE - 6'-0' ' (HEIGHT) X 91'-0' ' (LENGTH). LOCATION: REAR YARD.
39 | 17072020140000 | B200417629 | 3/19/2025 |  |  |  |  | 20000 |  | 1719 W CHICAGO AVE |  | CHICAGO, IL |  | BOYD DANIEL | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 800 AMP SERVICE DISCONNECTING MEANS WITH 8 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: BASEMENT.
40 | 14191050010000 | B200417630 | 3/20/2025 |  |  |  |  | 60000 |  | 2121 W IRVING PARK RD |  | CHICAGO, IL |  | SEMINARY PROPERTIES AND MANAGEMENT, LTD | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 2030 SQ. FT., LINTEL QTY. 7, MAX. LENGTH 5. PARAPET REBUILDING: 544 SQ. FT. LOCATION: NORTH PARAPET WALL.
41 | 17094000160000 | B200417634 | 3/24/2025 |  |  |  |  | 66772 |  | 350 N ORLEANS ST |  | CHICAGO, IL |  | KARLOW ZACK | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL DATA/VIDEO. SPECIFIC LOCATION: 8TH FLOOR.
42 | 21313010270000 | B200417636 | 3/21/2025 |  |  |  |  | 11856 |  | 8318 S ESSEX AVE |  | CHICAGO, IL |  | JORDAN RON | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: STEEP (>5:12). INVERTER OUTPUT: 4.8 KW. ARRAY OUTPUT: 6.48 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817. ¦ SPECIAL CONDITION: **NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. **REFER TO ELECTRICAL PERMIT B200417643.
43 | 17091200280000 | B200417638 | 3/21/2025 |  |  |  |  | 13176 |  | 400 W HURON ST |  | CHICAGO, IL |  | PREMIER MANAGEMENT SERVICES | LINE VOLTAGE ELECTRICAL WORK. ADD 1 CIRCUITS TO EXISTING 1200 AMP SERVICE DISCONNECTING MEANS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. ELECTRIC VEHICLE SUPPLY EQUIPMENT:2 SPACES. SPECIFIC LOCATION: BASEMENT ELECTRICAL ROOM AND PARKING GARAGE.
44 | 14314240470000 | B200417640 | 3/27/2025 |  |  |  |  | 8500 |  | 1954 W NORTH AVE |  | CHICAGO, IL |  | BARNES THOMAS | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 200 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: FRONT. ¦ SPECIAL CONDITION: PER ATTACHMENTS REC'D 3/19/25: ANY BRICK REMOVED TO BE SALVAGED AND REPLACED TO GREATEST EXTENT FEASIBLE. ANY NEW BRICK TO MATCH HISTORIC IN SIZE, SHAPE, COLOR, TEXTURE, & FINISH. NEW MORTAR TO MATCH HISTORIC MORTAR IN COLOR, JOINT PROFILE, TEXTURE, & STRENGTH/TYPE. WHEN GRINDING EXISTING MORTAR JOINTS, SURROUNDING MASONRY UNITS SHALL NOT BE OVERCUT. DRY GRINDING ONLY, NO CHEMICAL CLEANING OR SAND BLASTING TO OCCUR WITH THIS APPROVAL. PRESSURE WASHING LESS THAN 400PSI W/ FAN TIP BRUSH.
45 | 25094300250000 | B200417642 | 3/25/2025 |  |  |  |  | 15000 |  | 10240 S STATE ST |  | CHICAGO, IL |  | JONES TASHAUNIA | REPAIR OR IN-KIND REPLACEMENT OF 6 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. REPAIR OR IN-KIND REPLACEMENT OF HOT WATER HEATER(S). INCLUDES REPAIR OR REPLACMENT OF PLUMBING PIPING. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), BASEMENT AND 1ST FLOOR.
46 | 21313010270000 | B200417643 | 3/19/2025 |  |  |  |  | 1500 |  | 8318 S ESSEX AVE |  | CHICAGO, IL |  | JORDAN RON | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 10 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. 13.5 KWH LITHIUM ION ENERGY STORAGE SYSTEM. SPECIFIC LOCATION: BASEMENT AND REAR OF HOME.
47 | 11314120280000 | B200417645 | 4/14/2025 |  |  |  |  | 5000 |  | 1716 W ALBION AVE |  | CHICAGO, IL |  | FMA PROPERTIES | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 500 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: SOUTH ELEVATION.
48 | 12122150220000 | B200417649 | 3/19/2025 |  |  |  |  | 5000 |  | 7201 W SUMMERDALE AVE |  | CHICAGO, IL |  | SALAS ROBERTO | PURPOSE: NEW/REPLACEMENT INSTALLATION. WOOD FENCE - 6'-0' ' (HEIGHT) X 77'-0' ' (LENGTH). WOOD FENCE - 4'-0' ' (HEIGHT) X 16'-0' ' (LENGTH). LOCATION: YARD FENCE.
49 | 10364100210000 | B200417663 | 4/1/2025 |  |  |  |  | 33000 |  | 6644 N TALMAN AVE |  | CHICAGO, IL |  | MCDERMOTT PATRICK & SILVA | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 22'-0' ' X27'-0' '. GABLE ROOF HEIGHT TO PEAK: 14'-0' '.
50 | 19142180200000 | B200417666 | 3/21/2025 |  |  |  |  | 40000 |  | 5757 S CHRISTIANA AVE |  | CHICAGO, IL |  | GARCIA ENRIQUE | INSTALL SOLAR PANELS ON ROOF OF ACCESSORY BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 10 KW. ARRAY OUTPUT: 14.76 KW. LOCATION: SOLAR ROOF MOUNT INSTALL ON GARAGE 10 MODULES. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-1231. ¦ SPECIAL CONDITION: **NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. **REFER TO SOLAR (PRINCIPAL) PERMIT B200026681 & ELECTRICAL PERMIT B200411577.** UNDERGROUND RACEWAY TO BE INSPECTED BY AHJ PRIOR TO COVERING.
51 | 17314230030000 | B200417667 | 3/21/2025 |  |  |  |  | 30000 |  | 1635 W 37TH PL |  | CHICAGO, IL |  | RIOS LEONCIO | INSTALL SOLAR PANELS ON ROOF OF ACCESSORY BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 10 KW. ARRAY OUTPUT: 3.28 KW. LOCATION: SOLAR ROOFTOP INSTALL ON GARAGE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-1231. ¦ SPECIAL CONDITION: **NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. **REFER TO SOLAR (PRINCIPAL) BUILDING B200025757.**UNDERGROUND RACEWAY TO BE INSPECTED BY AHJ PRIOR TO COVERING.
52 | 13344240210000 | B200417669 | 3/26/2025 |  |  |  |  | 10000 |  | 1634 N KILDARE AVE |  | CHICAGO, IL |  | MARTINEZ MARIA | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 450 SQ. FT., LINTEL QTY. 2, MAX. LENGTH 5. PARAPET REBUILDING: 80 SQ. FT. LOCATION: MISC. MASONRY REPAIRS, & ERECT 2 6'-0" HIGH FENCES.
53 | 20102110150000 | B200417671 | 4/5/2025 |  |  |  |  | 8000 |  | 4839 S ST LAWRENCE AVE |  | CHICAGO, IL |  | GORDON BRITTANY | REPAIR (26% TO 50%) FOR WOOD PORCH (OPEN) (QUANTITY: 3, LOCATION: REAR OF BUILDING).
54 | 17094200480000 | B200417674 | 3/27/2025 |  |  |  |  | 28000 |  | 203 N LA SALLE ST |  | CHICAGO, IL |  | TRANSWESTERN COMMERCIAL | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL DATA/VIDEO. SPECIFIC LOCATION: 17TH FLOOR.
55 | 16151200300000 | B200417678 | 3/19/2025 |  |  |  |  | 6650 |  | 4434 W GLADYS AVE |  | CHICAGO, IL |  | FIGUEROA MARIO | IN-KIND REPLACEMENT OF EXTERIOR WINDOWS AND DOORS IN EXISTING OPENINGS. REPLACEMENT WINDOWS: 14; REPLACEMENT SKYLIGHTS: 0; REPLACEMENT DOORS: 0. AFFECTS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), LOCATION: 2ND FLOOR WINDOWS.
56 | 16013240520000 | B200417685 | 3/21/2025 |  |  |  |  | 11856 |  | 823 N RICHMOND ST |  | CHICAGO, IL |  | GUTIERREZ FEDERICO | INSTALL SOLAR PANELS ON ROOF OF ACCESSORY BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 4.8 KW. ARRAY OUTPUT: 6.48 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF OF GARAGE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817. ¦ SPECIAL CONDITION: **NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. **REFER TO ELECTRICAL PERMIT B200417686.
57 | 16013240520000 | B200417686 | 3/19/2025 |  |  |  |  | 1500 |  | 823 N RICHMOND ST |  | CHICAGO, IL |  | GUTIERREZ FEDERICO | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 35 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. 13.5 KWH LITHIUM ION ENERGY STORAGE SYSTEM. SPECIFIC LOCATION: BASEMENT AND GARAGE.
58 | 17162010160000 | B200417687 | 3/19/2025 |  |  |  |  | 80000 |  | 71 S WACKER DR |  | CHICAGO, IL |  | JLL CONSTRUCTION SERVICES INC | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL DATA/VIDEO. SPECIFIC LOCATION: SUITE 300.
59 | 13011110140000 | B200417697 | 3/19/2025 |  |  |  |  | 3000 |  | 6215 N WHIPPLE ST |  | CHICAGO, IL |  | MARTELL KNUTE | PURPOSE: NEW/REPLACEMENT INSTALLATION. WOOD FENCE - 6'-0' ' (HEIGHT) X 120'-0' ' (LENGTH). LOCATION: BACK YARD.
60 | 17184210370000 | B200417701 | 4/23/2025 |  |  |  |  | 10000 |  | 1801 W TAYLOR ST |  | CHICAGO, IL |  | UNIVERSITY OF ILLINOIS AT CHICAGO | REPAIR/REPLACEMENT AFFECTING 1 SYSTEMS : 1 ROOFTOP PACKAGED UNIT(TRANE RTU ROOFTOP) . ELECTRICAL WORK UNDER THIS PERMIT = NO . LOCATIONS: 0 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), EXTERIOR WORK, ROOF AREA. ¦ SPECIAL CONDITION: CONTACT REFRIGERATION SUPERVISOR CLEMENT GAVIN 312-743-3562, PRIOR TO THE INSTALLATION OF ANY ROOFTOP EQUIPMENT, TO SCHEDULE AN INSPECTION.
61 | 26062140310000 | B200417705 | 3/19/2025 |  |  |  |  | 1500 |  | 8914 S ESCANABA AVE |  | CHICAGO, IL |  | SERRANO PORFIRIO | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: BASEMENT & EXTERIOR.
62 | 20324250050000 | B200417712 | 3/21/2025 |  |  |  |  | 20748 |  | 8615 S MAY ST |  | CHICAGO, IL |  | HENDRIX GLADYS | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: STEEP (>5:12). INVERTER OUTPUT: 8.4 KW. ARRAY OUTPUT: 11.34 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817. ¦ SPECIAL CONDITION: **NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. **REFER ELECTRICAL PERMIT B200417718.
63 | 20324250050000 | B200417718 | 3/19/2025 |  |  |  |  | 3250 |  | 8615 S MAY ST |  | CHICAGO, IL |  | HENDRIX GLADYS | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 20 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. 13.5 KWH LITHIUM ION ENERGY STORAGE SYSTEM. SPECIFIC LOCATION: BASEMENT AND REAR OF HOME.
64 | 16034000200000 | B200417722 | 3/21/2025 |  |  |  |  | 19714 |  | 4336 W HADDON AVE |  | CHICAGO, IL |  | SULLIVAN CALVIN | REPAIR OR IN-KIND REPLACEMENT OF 14 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. REPAIR OR IN-KIND REPLACEMENT OF HOT WATER HEATER(S). INCLUDES REPAIR OR REPLACMENT OF PLUMBING PIPING. LOCATIONS: 2 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), BASEMENT, 1ST FLOOR AND 2ND FLOOR.
65 | 17163340090000 | B200417723 | 3/21/2025 |  |  |  |  | 14000 |  | 1101 S CANAL ST |  | CHICAGO, IL |  | MID AMERICA MGMT CO. ALEX CHRISTENSON | LINE VOLTAGE ELECTRICAL WORK. ADD 3 CIRCUITS TO EXISTING 200 AMP SERVICE DISCONNECTING MEANS. RECEPTACLE OUTLETS: 3 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: GARAGE.
66 | 14161010010000 | B200417724 | 4/7/2025 |  |  |  |  | 110700 |  | 4720 N MARINE DR |  | CHICAGO, IL |  | WALGREENS COMPANY | DUCTWORK EXTENSION/RECONFIGURATION, REPAIR/REPLACEMENT AFFECTING 2 SYSTEMS : 2 OTHER EXHAUST EQUIPMENT(CARRIER / 39M17W02 / 1ST FL. CEILING) 2 OTHER COOLING EQUIPMENT(CARRIER / 38RC90276 / GROUND EAST SIDE OF BUILDING EXTERIOR PRIVATE PROPERTY.) . ELECTRICAL WORK UNDER THIS PERMIT = NO . LOCATIONS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), EXTERIOR WORK, EXTERIOR AGAINST BUILDING ON PRIVATE PROPERTY. ¦ SPECIAL CONDITION: CONTACT REFRIGERATION SUPERVISOR CLEMENT GAVIN 312-743-3562, PRIOR TO THE INSTALLATION OF ANY ROOFTOP EQUIPMENT, TO SCHEDULE AN INSPECTION.
67 | 25072170490000 | B200417727 | 3/26/2025 |  |  |  |  | 100 |  | 9826 S VANDERPOEL AVE |  | CHICAGO, IL |  | JENKINS ANDREA | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL SECURITY. SPECIFIC LOCATION: ELECTRICAL PANEL AREA.
68 | 13174230020000 | B200417730 | 3/19/2025 |  |  |  |  | 16000 |  | 4055 N MARMORA AVE |  | CHICAGO, IL |  | LUSKO LLC | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 22'-0' ' X20'-0' '. HIP ROOF HEIGHT TO PEAK: 15'-0' '.
69 | 25034170110000 | B200417732 | 3/19/2025 |  |  |  |  | 7056 |  | 9337 S DR MARTIN LUTHER KING JR DR |  | CHICAGO, IL |  | QUEEN RUSSELL | CONCRETE MASONRY REPAIR / REPLACEMNT: 100SQ. FT., EXCAVATION = NO. LOCATION: SIDEWALK NORTH OF BUIDLING.
70 | 16244000130000 | B200417735 | 3/21/2025 |  |  |  |  | 1000 |  | 1635 S CALIFORNIA BLVD |  | CHICAGO, IL |  | PAUL TSAKIRIS | LINE VOLTAGE ELECTRICAL WORK. ADD 2 CIRCUITS TO EXISTING 125 AMP SERVICE DISCONNECTING MEANS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: INSTALL PIPING ON THE EXTERIOR.
71 | 13113190090000 | B200417736 | 3/19/2025 |  |  |  |  | 5000 |  | 4931 N LAWNDALE AVE |  | CHICAGO, IL |  | ALVAREZ ANGELINE | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 30 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: UPGRADE OF THE MAIN SERVICE PANEL AND METER.
72 | 17221010420000 | B200417737 | 3/26/2025 |  |  |  |  | 2780205 |  | 1250 S MICHIGAN AVE |  | CHICAGO, IL |  | MICHIGAN AVENUE TOWER CONDOMINIUM ASSOCIATION | CONCRETE MASONRY REPAIR / REPLACEMNT: 580SQ. FT., EXCAVATION = NO. LOCATION: ALL FACADE ELEVATIONS.
73 | 17094000360000 | B200417746 | 3/27/2025 |  |  |  |  | 170000 |  | 333 W WOLF POINT PLZ |  | CHICAGO, IL |  | 333 WOLF POINT LLC | NONSTRUCTURAL INTERIOR PREPARATORY DEMOLITION OF NON-LOAD BEARING PARTITIONS, FLOORING, MECHANICAL, ELECTRICAL, AND PLUMBING. ALL OTHER WORK ON SPR APPLICATION/PERMIT #101063573. LOCATIONS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), 1 INTERIOR COMMON AREAS, LEVEL B1, B2, B3, 01, AND 03.
74 | 13203100020000 | B200417749 | 3/25/2025 |  |  |  |  | 10000 |  | 6155 W CORNELIA AVE |  | CHICAGO, IL |  | TAPIA WILLIAM | NONSTRUCTURAL INTERIOR WORK: REPLACE DRYWALL. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), FIRST FLOOR.
75 | 17341200340000 | B200417751 | 4/1/2025 |  |  |  |  | 16750 |  | 3429 S INDIANA AVE |  | CHICAGO, IL |  | ARENDT SARAH | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 350 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: REPAR EXISTING EXTERIOR BRICK WALL AS EXISTNG.
76 | 17053090450000 | B200417754 | 3/21/2025 |  |  |  |  | 1200 |  | 1433 W CORTEZ ST |  | CHICAGO, IL |  | 1433 W CORTEZ LLC | LINE VOLTAGE ELECTRICAL WORK. NEW TEMPORARY 100 AMP SERVICE DISCONNECTING MEANS WITH 12 CIRCUITS. RECEPTACLE OUTLETS: 2 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: REAR VACANT LOT.
77 | 20234120010000 | B200417755 | 3/23/2025 |  |  |  |  | 8000 |  | 6800 S DORCHESTER AVE |  | CHICAGO, IL |  | MURPHY JERU | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 40 . LIGHTING OUTLETS: 30. SPECIFIC LOCATION: BASEMENTS AND PUBLIC AREAS - STAIRS AND HALLWAYS.
78 | 16161170080000 | B200417756 | 3/24/2025 |  |  |  |  | 28500 |  | 5551 W VAN BUREN ST |  | CHICAGO, IL |  | CSRE VENTURES LLC | WRECK AND REMOVE DETACHED FRAME GARAGE, NO REPLACEMENT. LOCATIONS: 0 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), EXTERIOR WORK, DEMOLISH 2 CAR GARAGE AS PER VIOLATIONS.
79 | 12023010100000 | B200417759 | 3/19/2025 |  |  |  |  | 18800 |  | 8725 W HIGGINS RD |  | CHICAGO, IL |  | O'HARE PLAZA LLC | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL DATA/VIDEO. SPECIFIC LOCATION: LOW VOLTAGE ELECTRICAL ON 7TH FLOOR.
80 | 14052130290000 | B200417761 | 3/27/2025 |  |  |  |  | 600 |  | 6002 N KENMORE AVE |  | CHICAGO, IL |  | BUSHALA NOEL R | CONCRETE MASONRY REPAIR / REPLACEMNT: 12SQ. FT., EXCAVATION = NO. LOCATION: FRONT STEP ON MAIN ENTRANCE.
81 | 25153110330000 | B200417762 | 3/20/2025 |  |  |  |  | 20000 |  | 10840 S INDIANA AVE |  | CHICAGO, IL |  | WILLIAMS JESSIE | SCOPE: ROOF RECOVER. AREA: 2200 SQ. FT. ROOF COVERING: MINERAL - SURFACED ROLL ROOFING. LOCATION: FLAT ROOF. IL ROOFING CONTRACTOR LICENSE: 104003460.
82 | 13164000400000 | B200417764 | 3/19/2025 |  |  |  |  | 4000 |  | 4352 N MILWAUKEE AVE |  | CHICAGO, IL |  | STRAUSS DALE | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: PANEL AND METER LOCATION.
83 | 13164000400000 | B200417765 | 3/19/2025 |  |  |  |  | 4000 |  | 4350 N MILWAUKEE AVE |  | CHICAGO, IL |  | STRAUSS DALE | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: PANEL AND METER LOCATION.
84 | 19123100240000 | B200417766 | 3/19/2025 |  |  |  |  | 21324 |  | 5208 S WHIPPLE ST |  | CHICAGO, IL |  | HERMOSILLO ELENA | SCOPE: ROOF REPLACEMENT. AREA: 1600 SQ. FT. ROOF COVERING: ASPHALT SHINGLES. LOCATION: HOUSE ROOF. IL ROOFING CONTRACTOR LICENSE: 104019777.
85 | 19073140290000 | B200417768 | 4/7/2025 |  |  |  |  | 2500 |  | 5212 S OAK PARK AVE |  | CHICAGO, IL |  | DIAZ JUAN | PURPOSE: NEW/REPLACEMENT INSTALLATION. VINYL/PVC FENCE - 6'-0' ' (HEIGHT) X 110'-4' ' (LENGTH). LOCATION: REPLACE THE OUTSIDE FENCE.
86 | 14334060220000 | B200417775 | 3/31/2025 |  |  |  |  | 16800 |  | 1826 N ORLEANS ST |  | CHICAGO, IL |  | LEAMAN CLAIRE | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 500 SQ. FT., LINTEL QTY. 3, MAX. LENGTH 5. LOCATION: MASONRY REPAIR WORK. ¦ SPECIAL CONDITION: PER ATTACHMENTS REC’D 3/31/25: ANY BRICK OR SILLS REMOVED TO BE SALVAGED & REPLACED TO GREATEST EXTENT FEASIBLE. NEW BRICK OR SILLS TO MATCH HISTORIC IN SIZE, SHAPE, COLOR, TEXTURE, & FINISH. NEW MORTAR JOINTS TO MATCH EXISTING IN PROFILE, TEXTURE, COLOR, TEXTURE & STRENGTH/TYPE. WHEN GRINDING EXISTING MORTAR JOINTS, SURROUNDING MASONRY UNITS SHALL NOT BE OVERCUT. DRY GRINDING ONLY, NO CHEMICAL CLEANING OR SAND BLASTING TO OCCUR WITH THIS APPROVAL. PRESSURE WASH <400PSI WITH FAN TIP BRUSH.
87 | 14213050230000 | B200417785 | 4/15/2025 |  |  |  |  | 50000 |  | 566 W STRATFORD PL |  | CHICAGO, IL |  | DEJONG JUSTIN | PURPOSE: NEW/REPLACEMENT INSTALLATION. MASONRY FENCE - 3'-3' ' (HEIGHT) X 70'-0' ' (LENGTH). LOCATION: RETAINING WALL THAT NEEDS TO BE REPLACED.
88 | 25343120280000 | B200417787 | 4/9/2025 |  |  |  |  | 2900 |  | 317 E 136TH PL |  | CHICAGO, IL |  | SALTO ELISO | LINE VOLTAGE ELECTRICAL WORK. ADD 24 CIRCUITS TO EXISTING 200 AMP SERVICE DISCONNECTING MEANS. RECEPTACLE OUTLETS: 23 . LIGHTING OUTLETS: 12. SPECIFIC LOCATION: BASEMENT, 1 ST FLOOR, 2 ND FLOR.
89 | 13123070270000 | B200417790 | 3/27/2025 |  |  |  |  | 20000 |  | 5028 N MOZART ST |  | CHICAGO, IL |  | CADENA ENI | SCOPE: ROOF REPLACEMENT. AREA: 2400 SQ. FT. ROOF COVERING: OTHER. LOCATION: ROOF AREA. IL ROOFING CONTRACTOR LICENSE: 104013345.
90 | 13123070270000 | B200417794 | 3/27/2025 |  |  |  |  | 4500 |  | 5028 N MOZART ST |  | CHICAGO, IL |  | CADENA ENI | REPLACE SIDING ON SUNROOM AND PORCH REPAIR. LOCATIONS: 2 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), EXTERIOR WORK
91 | 11312240110000 | B200417799 | 3/20/2025 |  |  |  |  | 3750 |  | 1821 W FARWELL AVE |  | CHICAGO, IL |  | JACOB LAURA | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 3 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. ELECTRIC VEHICLE SUPPLY EQUIPMENT:1 SPACES. SPECIFIC LOCATION: GARAGE.
92 | 25103090510000 | B200417801 | 4/10/2025 |  |  |  |  | 3500 |  | 10034 S MICHIGAN AVE |  | CHICAGO, IL |  | BARAKAH PROPERTY HOLDINGS LLC | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 5 CIRCUITS. RECEPTACLE OUTLETS: 5 . LIGHTING OUTLETS: 5. SPECIFIC LOCATION: ELECTRICAL DEMOLITION AND REMOVAL.
93 | 19044250100000 | B200417802 | 3/20/2025 |  |  |  |  | 2000 |  | 4633 S LEAMINGTON AVE |  | CHICAGO, IL |  | DELGADO ALEJANDRA | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 20 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: BASEMENT.
94 | 20072070220000 | B200417805 | 3/28/2025 |  |  |  |  | 2000 |  | 4716 S ASHLAND AVE |  | CHICAGO, IL |  | IMAD SALAMAH | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 12 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: REAR WALL AT ALLEYWAY.
95 | 13363100320000 | B200417806 | 4/8/2025 |  |  |  |  | 3400 |  | 1838 N WHIPPLE ST |  | CHICAGO, IL |  | CASTILLO CLIFF | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 1000 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. PARAPET REBUILDING: 200 SQ. FT. LOCATION: REBUILD SOME PARAPETS AND MINOR TUCK-POINTING.
96 | 24132310140000 | B200417809 | 3/20/2025 |  |  |  |  | 36581 |  | 10610 S CAMPBELL AVE |  | CHICAGO, IL |  | NOONAN FRANK | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 13 CIRCUITS. RECEPTACLE OUTLETS: 21 . LIGHTING OUTLETS: 22. SPECIFIC LOCATION: 1ST FLOOR, BASEMENT, BACK OF HOUSE.
97 | 20072070220000 | B200417810 | 3/21/2025 |  |  |  |  | 2800 |  | 4716 S ASHLAND AVE |  | CHICAGO, IL |  | IMAD SALAMAH | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 10 . LIGHTING OUTLETS: 5. SPECIFIC LOCATION: INTERIOR.
98 | 20194020100000 | B200417814 | 3/20/2025 |  |  |  |  | 3000 |  | 1835 W MARQUETTE RD |  | CHICAGO, IL |  | PEREZ MARIA | PURPOSE: LEGALIZE UNPERMITTED WORK. WOOD FENCE - 6'-0' ' (HEIGHT) X 50'-0' ' (LENGTH). WROUGHT IRON FENCE - 6'-0' ' (HEIGHT) X 50'-0' ' (LENGTH). LOCATION: FRONT AND REAR YARD.
99 | 19014100320000 | B200417816 | 3/24/2025 |  |  |  |  | 3800 |  | 4426 S TALMAN AVE |  | CHICAGO, IL |  | BATALLA EMMANUEL ANTONIO | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 650 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. CONCRETE MASONRY REPAIR / REPLACEMNT: 100SQ. FT., EXCAVATION = NO. PARAPET REBUILDING: 100 SQ. FT. LOCATION: FRONT ELEVATION, REAR ELEVATION.
100 | 20342130330000 | B200417820 | 3/25/2025 |  |  |  |  | 45000 |  | 652 E 81ST ST |  | CHICAGO, IL |  | ELMWOOD CAPITAL PARTNERS LLC | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 800 AMP SERVICE DISCONNECTING MEANS WITH 14 CIRCUITS. RECEPTACLE OUTLETS: 0 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: BASEMENTS.
101 | 13134110350000 | B200417822 | 3/20/2025 |  |  |  |  | 4000 |  | 4120 N MAPLEWOOD AVE |  | CHICAGO, IL |  | AGAPAY-READ KEVIN | LINE VOLTAGE ELECTRICAL WORK. ADD 1 CIRCUITS TO EXISTING 200 AMP SERVICE DISCONNECTING MEANS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: LOWER UNIT.
102 | 26083110180000 | B200417823 | 3/21/2025 |  |  |  |  | 15323 |  | 10345 S AVENUE N |  | CHICAGO, IL |  | ROLON ANHARA | SCOPE: ROOF REPLACEMENT. AREA: 2105 SQ. FT. ROOF COVERING: ASPHALT SHINGLES. LOCATION: ROOFING. IL ROOFING CONTRACTOR LICENSE: 104019598.
103 | 14294100420000 | B200417824 | 3/24/2025 |  |  |  |  | 22960 |  | 2626 N LINCOLN AVE |  | CHICAGO, IL |  | PRAIRIE SHORES MANAGEMENT | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 200 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: ROOF CAPSTONES.
104 | 25164180120000 | B200417828 | 4/23/2025 |  |  |  |  | 6000 |  | 17 W 109TH ST |  | CHICAGO, IL |  | SHILOH FITCH LLC | FULL REBUILD (SAME AS EXISTING) FOR WOOD DECK (NON-ROOFTOP) (QUANTITY: 1, LOCATION: FRONT OF BUILDING). LANDING: 64 SQUARE FEET. LANDING NOT MORE THAN 6 FEET ABOVE GROUND.
105 | 12023010180000 | B200417829 | 4/1/2025 |  |  |  |  | 35000 |  | 8535 W HIGGINS RD |  | CHICAGO, IL |  | T MOBILE US INC | ALTERATION OF EXISTING COMMUNICATION EQUIPMENT. ALTERATION OF 2 BOXES AND EQUIPMENT ON 1 TOWERS / STRUCTURES. LOCATION: EXISTING ROOF TOP WIRELESS COMMUNICATION FACILITY.
106 | 17302040010000 | B200417832 | 3/23/2025 |  |  |  |  | 23959 |  | 2235 S DAMEN AVE |  | CHICAGO, IL |  | CHURCH OF GOOD 7TH DAY | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 100 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: RESTORATION OF THE FRONT ENTRANCE..
107 | 19154290070000 | B200417835 | 3/20/2025 |  |  |  |  | 3100 |  | 6219 S KARLOV AVE |  | CHICAGO, IL |  | SOLER JAVIER | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 2 . LIGHTING OUTLETS: 2. SPECIFIC LOCATION: KITCHEN.
108 | 13093070350000 | B200417837 | 3/26/2025 |  |  |  |  | 18696 |  | 5231 W FOSTER AVE |  | CHICAGO, IL |  | SIDDIQUI HASEEB | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 7.6 KW. ARRAY OUTPUT: 0.00779 KW. LOCATION: ROOF SOLAR. ICC DISTRIBUTED GENERATION INSTALLER CERT. #23-0387. ¦ SPECIAL CONDITION: **NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. **PLEASE PROVIDE NOTARIZED LETTER FROM OWNER & BUILDING MANAGEMENT WITH APPROVAL OF SOLAR INSTALLATION OF PROPOSED WORK ON BUILDING STRUCTURE AT THE TIME OF SOLAR INSPECTION OR RISK FAILURE AS PROPOSED WORK PER ELECTRICAL DRAWING.
109 | 17063120310000 | B200417841 | 4/1/2025 |  |  |  |  | 1000 |  | 1016 N OAKLEY BLVD |  | CHICAGO, IL |  | TEAM B DEVELOPMENT | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 1500 SQ. FT., LINTEL QTY. 6, MAX. LENGTH 4. LOCATION: FRONT FACADE. ¦ SPECIAL CONDITION: PER ATTACHMENTS REC’D 3/28/25: ANY BRICK REMOVED TO BE SALVAGED & REPLACED TO GREATEST EXTENT FEASIBLE. NEW BRICK TO MATCH HISTORIC IN SIZE, SHAPE, COLOR, TEXTURE, & FINISH. AT FRONT FAÇADE, NEW MORTAR TO MATCH HISTORIC MASONRY IN COLOR. JOINT PROFILE TO BE FLUSH OR CONCAVE. WHEN GRINDING EXISTING MORTAR JOINTS, SURROUNDING MASONRY UNITS SHALL NOT BE OVERCUT. DRY GRINDING ONLY, NO CHEMICAL CLEANING OR SAND BLASTING TO OCCUR WITH THIS APPROVAL. PRESSURE WASH <400PSI WITH FAN TIP BRUSH.
110 | 17052180030000 | B200417842 | 3/24/2025 |  |  |  |  | 2666 |  | 1440 N DAYTON ST |  | CHICAGO, IL |  | ANN & ROBERT H LURIE CHILDRENS | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL SECURITY. SPECIFIC LOCATION: DAYTON CLINIC.
111 | 19363060240000 | B200417844 | 3/20/2025 |  |  |  |  | 2500 |  | 3157 W 85TH ST |  | CHICAGO, IL |  | WILLIAMS ARLENE | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: KITCHEN.
112 | 17314000320000 | B200417854 | 3/24/2025 |  |  |  |  | 13000 |  | 3524 S WINCHESTER AVE |  | CHICAGO, IL |  | NOTO ELI | PARAPET REBUILDING: 36 SQ. FT. LOCATION: PARAPET WALL.
113 | 17213310030000 | B200417855 | 3/25/2025 |  |  |  |  | 8000 |  | 2107 S JEFFERSON ST |  | CHICAGO, IL |  | HOLDINGS GREAT LAKES PROPERTY | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 16 CIRCUITS. RECEPTACLE OUTLETS: 10 . LIGHTING OUTLETS: 20. SPECIFIC LOCATION: 1ST FLOOR, 2ND TO 4TH FLOOR. ¦ SPECIAL CONDITION: APPROVED PER ATTACHMENTS RECEIVED 3/20/25: ELECTRICAL WORK AT REAR OF BUILDING ONLY, NO OTHER WORK WITH THIS PERMIT.
114 | 17321040050000 | B200417857 | 3/25/2025 |  |  |  |  | 25000 |  | 1245 W 31ST ST |  | CHICAGO, IL |  | O'CONNOR SHAWN | SCOPE: NONSTRUCTURAL INTERIOR INSTALLATION OF FURRING AND INSULATION ALONG BASEMENT WALLS, INSTALL DRYWALL AND MILLWORK FOR CLOSETS ALONG WEST WALL, REPLACE EXISTING PLUMBING FIXTURES IN OPEN BASEMENT. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 1 INTERIOR COMMON AREAS, BASEMENT.
115 | 17092110060000 | B200417859 | 3/26/2025 |  |  |  |  | 35000 |  | 710 N CLARK ST |  | CHICAGO, IL |  | PANOPLOS THOMAS | REPAIR OR IN-KIND REPLACEMENT OF 9 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. REPAIR OR IN-KIND REPLACEMENT OF HOT WATER HEATER(S). INCLUDES REPAIR OR REPLACMENT OF PLUMBING PIPING. INCLUDES REPAIR OR REPLACEMENT OF PLUMBING RISERS IN EXISTING CHASES. LOCATIONS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), GROUND FLOOR AND BASEMENT.
116 | 12234150140000 | B200417864 | 4/2/2025 |  |  |  |  | 80000 |  | 3415 N PANAMA AVE |  | CHICAGO, IL |  | RIOS CARLOS | NONSTRUCTURAL INTERIOR WORK-FIRE DAMAGE REPAIR: REPLACE DRYWALL, (CEILINGS AND WALLS). ELECTRIC: REPLACE 100 AMP PANEL, RE-WIRE ENTIRE HOUSE, INSTALL GFI SWITCHES AND LIGHT FIXTURES. REPLACE 30 OUTLETS AND 10 SWITCHES (NO PLUMBING WORK UNDER THIS PERMIT) (NO CHANGES TO EXISTING LAYOUT). LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S)
117 | 20043240410000 | B200417866 | 3/20/2025 |  |  |  |  | 3400 |  | 516 W 46TH ST |  | CHICAGO, IL |  | NICCOLAI LEROY | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 2 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: 200 AMP SERVICE.
118 | 13272260400000 | B200417867 | 3/26/2025 |  |  |  |  | 3750 |  | 4256 W DIVERSEY AVE |  | CHICAGO, IL |  | PIPLITS MARTIN | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL SECURITY. SPECIFIC LOCATION: WAREHOUSE MANAGER'S OFFICE.
119 | 25104180130000 | B200417868 | 3/28/2025 |  |  |  |  | 18500 |  | 600 E 103RD ST |  | CHICAGO, IL |  | QUADRI SUHAIB | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 4000 SQ. FT., LINTEL QTY. 6, MAX. LENGTH 6. LOCATION: STORE FRONT.
120 | 13164090220000 | B200417877 | 3/21/2025 |  |  |  |  | 4500 |  | 4911 W CULLOM AVE |  | CHICAGO, IL |  | JOSEPH M THOMAS | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 20 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: OUTSIDE BACK WALL, BASEMENT.
121 | 20174260470000 | B200417883 | 3/26/2025 |  |  |  |  | 9000 |  | 6215 S ABERDEEN ST |  | CHICAGO, IL |  | AXIOM + SPARTA CORP | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 500 SQ. FT., LINTEL QTY. 2, MAX. LENGTH 3. PARAPET REBUILDING: 20 SQ. FT. LOCATION: REAR WALL TUCKPOINTING AND 2 LINTELS.
122 | 26303240140000 | B200417889 | 3/21/2025 |  |  |  |  | 18525 |  | 12940 S SAGINAW AVE |  | CHICAGO, IL |  | ALVAREZ TONY | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 7.5 KW. ARRAY OUTPUT: 10.125 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817. ¦ SPECIAL CONDITION: **NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. **REFER TO ELECTRICAL PERMIT B200417896.
123 | 26303240140000 | B200417896 | 3/20/2025 |  |  |  |  | 1500 |  | 12940 S SAGINAW AVE |  | CHICAGO, IL |  | ALVAREZ TONY | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 30 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. 13.5 KWH LITHIUM ION ENERGY STORAGE SYSTEM. SPECIFIC LOCATION: BASEMENT AND REAR OF HOME.
124 | 14202140260000 | B200417899 | 3/25/2025 |  |  |  |  | 15000 |  | 3838 N BROADWAY |  | CHICAGO, IL |  | MS DENISE VESTUTO | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. ALTER EXISTING OTHER. SPECIFIC LOCATION: ROOFTOP.
125 | 10253240260000 | B200417906 | 3/20/2025 |  |  |  |  | 4567 |  | 2820 W CHASE AVE |  | CHICAGO, IL |  | SHEVY RUBIN | PURPOSE: NEW/REPLACEMENT INSTALLATION. WOOD FENCE - 6'-0' ' (HEIGHT) X 94'-0' ' (LENGTH). LOCATION: REAR SIDE OF THE PROPERTY.
126 | 20071240140000 | B200417908 | 5/12/2025 |  |  |  |  | 21000 |  | 2115 W 50TH PL |  | CHICAGO, IL |  | DONELSON JULIE | SCOPE: ROOF REPLACEMENT. AREA: 1600 SQ. FT. ROOF COVERING: ASPHALT SHINGLES. LOCATION: ROOF SHINGLE REPLACEMENT WITH GUTTERS NO DECKING. IL ROOFING CONTRACTOR LICENSE: 104018955.
127 | 26312110170000 | B200417910 | 3/27/2025 |  |  |  |  | 11685 |  | 13143 S BURLEY AVE |  | CHICAGO, IL |  | CARDENAS ERIKA | PURPOSE: NEW/REPLACEMENT INSTALLATION. WOOD FENCE - 6'-0' ' (HEIGHT) X 44'-0' ' (LENGTH). LOCATION: REAR SIDE OF THE PROPERTY.
128 | 14321270350000 | B200417912 | 4/9/2025 |  |  |  |  | 1400 |  | 2107 N MAGNOLIA AVE |  | CHICAGO, IL |  | JOHNSTON ROBERT | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 4 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: ROOFTOP DECK.
129 | 13351150280000 | B200417963 | 3/27/2025 |  |  |  |  | 7500 |  | 2136 N SPRINGFIELD AVE |  | CHICAGO, IL |  | VILLAGOMEZ OLIVIA | LINE VOLTAGE ELECTRICAL WORK. ADD 5 CIRCUITS TO EXISTING 200 AMP SERVICE DISCONNECTING MEANS. RECEPTACLE OUTLETS: 4 . LIGHTING OUTLETS: 2. SPECIFIC LOCATION: 1ST FL. BATHROOM AND 2ND FL KITCHEN.
130 | 19011020140000 | B200417964 | 5/1/2025 |  |  |  |  | 4800 |  | 2923 W PERSHING RD |  | CHICAGO, IL |  | LIANG JEFFERY | SCOPE: NONSTRUCTURAL INTERIOR REPLACEMENT OF DRYWALL AT LIVING ROOM AND THREE BEDROOMS WITH ASSOCIATED ELECTRICAL. NO PLUMBING OR DUCTWORK. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 1ST FLOOR ONLY FLOOR.
131 | 26173160820000 | B200417965 | 3/26/2025 |  |  |  |  | 4000 |  | 11242 S AVENUE M |  | CHICAGO, IL |  | RICO ARTURO | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: REAR WALL.
132 | 19102120280000 | B200417970 | 3/27/2025 |  |  |  |  | 10000 |  | 4822 S KEDVALE AVE |  | CHICAGO, IL |  | REYES JAVIER | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 24'-0' ' X24'-0' '. GABLE ROOF HEIGHT TO PEAK: 14'-11' '.
133 | 20173030210000 | B200417974 | 5/28/2025 |  |  |  |  | 9030 |  | 5924 S LOOMIS BLVD |  | CHICAGO, IL |  | RIVERA IRMA | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 5 KW. ARRAY OUTPUT: 5.16 KW. LOCATION: ROOF OF HOUSE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #19-0021. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * REFER TO ELECTRICAL PERMIT B200425469.* ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
134 | 25222180060000 | B200417980 | 3/27/2025 |  |  |  |  | 22176 |  | 11311 S COTTAGE GROVE AVE |  | CHICAGO, IL |  | HARTMAN LAUREN | IN-KIND REPLACEMENT OF EXTERIOR WINDOWS AND DOORS IN EXISTING OPENINGS. REPLACEMENT WINDOWS: 7; REPLACEMENT SKYLIGHTS: 0; REPLACEMENT DOORS: 0. AFFECTS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), LOCATION: 11311 COTTAGE GROVE. ¦ SPECIAL CONDITION: PER ATTACHMENTS REC'D 3/21/25: WINDOW REPLACEMENT AT REAR OF BUILDING ONLY, NO REPLACEMENT OF WINDOW ON FRONT ELEVATION WITH THIS APPROVAL.
135 | 13252220100000 | B200417981 | 3/21/2025 |  |  |  |  | 95000 |  | 2950 N WESTERN AVE |  | CHICAGO, IL |  | KAPITAL ELECTRIC CO., INC | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 400 AMP SERVICE DISCONNECTING MEANS WITH 11 CIRCUITS. RECEPTACLE OUTLETS: 11 . LIGHTING OUTLETS: 0. ELECTRIC VEHICLE SUPPLY EQUIPMENT:20 SPACES. SPECIFIC LOCATION: INSIDE WAREHOUSE PARKING LOT.
136 | 19212090490000 | B200417988 | 3/21/2025 |  |  |  |  | 16359 |  | 6441 S LAPORTE AVE |  | CHICAGO, IL |  | ABBASI MOHAMAD | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 6.6 KW. ARRAY OUTPUT: 8.61 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817. ¦ SPECIAL CONDITION: **NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018.**REFER TO ELECTRICAL PERMIT B200417991.
137 | 20112120980000 | B200417989 | 3/27/2025 |  |  |  |  | 11000 |  | 1368 E MADISON PARK |  | CHICAGO, IL |  | KAPITAL ELECTRIC CO., INC | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 300 AMP SERVICE DISCONNECTING MEANS WITH 5 CIRCUITS. RECEPTACLE OUTLETS: 5 . LIGHTING OUTLETS: 0. ELECTRIC VEHICLE SUPPLY EQUIPMENT:10 SPACES. SPECIFIC LOCATION: PARKING LOT.
138 | 19212090490000 | B200417991 | 3/21/2025 |  |  |  |  | 5000 |  | 6441 S LAPORTE AVE |  | CHICAGO, IL |  | ABBASI MOHAMAD | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 14 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. 13.5 KWH LITHIUM ION ENERGY STORAGE SYSTEM. SPECIFIC LOCATION: BASEMENT AND REAR OF HOME.
139 | 12023020180000 | B200417992 | 3/21/2025 |  |  |  |  | 100 |  | 8600 W BRYN MAWR AVE |  | CHICAGO, IL |  | GLENSTAR | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: MISC MAINTENANCE.
140 | 20322100320000 | B200417993 | 3/28/2025 |  |  |  |  | 15000 |  | 8048 S CARPENTER ST |  | CHICAGO, IL |  | CAMPBELL SHERRI | FULL REBUILD (SAME AS EXISTING) FOR WOOD PORCH (OPEN) (QUANTITY: 1, LOCATION: REAR OF BUILDING).
141 | 17044120190000 | B200417997 | 3/21/2025 |  |  |  |  | 9600 |  | 1122 N CLARK ST |  | CHICAGO, IL |  | JP MORGAN CHASE BANK, N.A. AS TRUSTEE OF THE CAROL | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. ALTER EXISTING SECURITY. SPECIFIC LOCATION: DOOR- DISCONNECTING CARD READER & ALARM &RECONNECT.
142 | 16131220140000 | B200417998 | 3/24/2025 |  |  |  |  | 3000 |  | 325 S RICHMOND ST |  | CHICAGO, IL |  | SILVER LINING HOMES LLC | PURPOSE: NEW/REPLACEMENT INSTALLATION. WOOD FENCE - 6'-0' ' (HEIGHT) X 80'-0' ' (LENGTH). LOCATION: EXTERIOR PERIMETER.
143 | 25054070400000 | B200417999 | 3/21/2025 |  |  |  |  | 2500 |  | 9258 S ABERDEEN ST |  | CHICAGO, IL |  | SURDEL RICHARD | PURPOSE: NEW/REPLACEMENT INSTALLATION. WOOD FENCE - 6'-0' ' (HEIGHT) X 120'-0' ' (LENGTH). LOCATION: 120 LF OF 6 FT HIGH WD FENCE.
144 | 19211060230000 | B200418000 | 3/21/2025 |  |  |  |  | 3500 |  | 5542 W 64TH ST |  | CHICAGO, IL |  | SURDEL RICHARD | PURPOSE: NEW/REPLACEMENT INSTALLATION. WOOD FENCE - 6'-0' ' (HEIGHT) X 150'-0' ' (LENGTH). LOCATION: 150 LF OF 6 FT HIGH WD FENCE.
145 | 20332210030000 | B200418001 | 3/21/2025 |  |  |  |  | 95000 |  | 8101 S LA SALLE ST |  | CHICAGO, IL |  | CPS* | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 825 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: ALL FOUR ELEVATIONS.
146 | 14301070170000 | B200418005 | 3/24/2025 |  |  |  |  | 2694 |  | 2321 W BARRY AVE |  | CHICAGO, IL |  | ZIELINSKI SUSAN | PURPOSE: NEW/REPLACEMENT INSTALLATION. WOOD FENCE - 6'-0' ' (HEIGHT) X 42'-0' ' (LENGTH). LOCATION: REAR WEST SIDE OF THE PROPERTY.
147 | 19134250010000 | B200418006 | 3/21/2025 |  |  |  |  | 53000 |  | 6201 S FAIRFIELD AVE |  | CHICAGO, IL |  | CPS* | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 153 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: ALL FOUR ELEVATIONS.
148 | 16132330130000 | B200418009 | 4/3/2025 |  |  |  |  | 20000 |  | 500 S CAMPBELL AVE |  | CHICAGO, IL |  | SLAZAS MICHAEL | FULL REBUILD (SAME AS EXISTING) FOR WOOD PORCH (OPEN) (QUANTITY: 1, LOCATION: REAR OF BUILDING).
149 | 25174110100000 | B200418010 | 3/21/2025 |  |  |  |  | 3500 |  | 10934 S MORGAN ST |  | CHICAGO, IL |  | PRICE KIMBERLY | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 40 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. 10 KWH LITHIUM ION ENERGY STORAGE SYSTEM. SPECIFIC LOCATION: BASEMENT AND BACKYARD.
150 | 16152150410000 | B200418017 | 3/24/2025 |  |  |  |  | 23567 |  | 4008 W JACKSON BLVD |  | CHICAGO, IL |  | RUFARRO REMODELING & MAINTENANCE LLC | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: INSIDE.
151 | 16084160160000 | B200418020 | 3/24/2025 |  |  |  |  | 16542 |  | 119 N WALLER AVE |  | CHICAGO, IL |  | RUFARRO REMODELING & MAINTENANCE LLC | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 2. SPECIFIC LOCATION: INSIDE.
152 | 17312170080000 | B200418025 | 3/21/2025 |  |  |  |  | 32000 |  | 3307 S ARCHER AVE |  | CHICAGO, IL |  | RONALD FILBERT | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 1500 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: R1 I1 EXTERIOR FRONT.
153 | 19142020150000 | B200418026 | 4/2/2025 |  |  |  |  | 750 |  | 5527 S HOMAN AVE |  | CHICAGO, IL |  | CANCHOLA RAMONDO | NONSTRUCTURAL INTERIOR REMOVAL OF UNPERMITTED RESIDENTIAL UNIT FEATURES: REMOVE KITCHEN SINK IN BASEMENT. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), BASEMENT.
154 | 20213270070000 | B200418032 | 3/24/2025 |  |  |  |  | 2800 |  | 7021 S NORMAL BLVD |  | CHICAGO, IL |  | CHARLES INDRICK | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 240 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: TUCKPOINTING THEBUILDING ALL THE WAY AROUND THE BU.
155 | 26063080010000 | B200418034 | 5/19/2025 |  |  |  |  | 20000 |  | 9207 S PHILLIPS AVE |  | CHICAGO, IL |  | CHICAGO YOUTH CENTERS | PURPOSE: NEW/REPLACEMENT INSTALLATION. MASONRY TRASH ENCLOSURE - 6'-0' ' (HEIGHT) X 16'-0' ' (LENGTH). LOCATION: EXISTING ASPHALT AREA AT EAST SIDE OF PROPERTY.
156 | 20192130370000 | B200418035 | 6/26/2025 |  |  |  |  | 4500 |  | 6452 S PAULINA ST |  | CHICAGO, IL |  | RUIZ IRIS | FULL REBUILD (SAME AS EXISTING) FOR WOOD PORCH (OPEN) (QUANTITY: 1, LOCATION: FRONT OF BUILDING). LANDING: 50 SQUARE FEET. LANDING NOT MORE THAN 6 FEET ABOVE GROUND. FULL REBUILD (SAME AS EXISTING) FOR WOOD PORCH (OPEN) (QUANTITY: 1, LOCATION: REAR OF BUILDING). LANDING: 50 SQUARE FEET. LANDING NOT MORE THAN 6 FEET ABOVE GROUND. ¦ SPECIAL CONDITION: REDUCING SIZE FROM ORIGINAL FOOTPRINT
157 | 17094560190000 | B200418036 | 3/21/2025 |  |  |  |  | 10000 |  | 200 W MADISON ST |  | CHICAGO, IL |  | SAVANT | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL DATA/VIDEO. SPECIFIC LOCATION: SUITE 980.
158 | 17101270150000 | B200418037 | 3/25/2025 |  |  |  |  | 5500 |  | 22 E HUBBARD ST |  | CHICAGO, IL |  | PRICE TRACEY | REPAIR OR IN-KIND REPLACEMENT OF 10 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. INCLUDES REPAIR OR REPLACMENT OF PLUMBING PIPING. LOCATIONS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), RESTUARANT.
159 | 16094090010000 | B200418040 | 3/21/2025 |  |  |  |  | 600 |  | 4955 W FULTON ST |  | CHICAGO, IL |  | 4955 WEST FULTON LLC | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: 237 N LAVERGNE AVE UNIT 3.
160 | 25161220390000 | B200418042 | 3/27/2025 |  |  |  |  | 18423 |  | 10600 S EMERALD AVE |  | CHICAGO, IL |  | BRINSON MADELINE | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 5.51 KW. ARRAY OUTPUT: 0.00779 KW. LOCATION: ROOF SOLAR. ICC DISTRIBUTED GENERATION INSTALLER CERT. #23-0387. ¦ SPECIAL CONDITION: **NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. **REFER TO ELECTRICAL PERMIT B200416551.
161 | 14292050010000 | B200418043 | 4/10/2025 |  |  |  |  | 86622 |  | 819 W BELMONT AVE |  | CHICAGO, IL |  | VCA ANIMAL HOSPITALS, INC. | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL SECURITY. SPECIFIC LOCATION: COMMERCIAL BUILDING.
162 | 13301090260000 | B200418044 | 3/24/2025 |  |  |  |  | 23040 |  | 3030 N NEVA AVE |  | CHICAGO, IL |  | ISABELITA JAVIER | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 5.76 KW. ARRAY OUTPUT: 6.56 KW. INCLUDES 9.7 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOFTOP. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-1231. ¦ SPECIAL CONDITION: **NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018.
163 | 16242040020000 | B200418045 | 3/24/2025 |  |  |  |  | 267820 |  | 1309 S ROCKWELL ST |  | CHICAGO, IL |  | IRON MOUNTAIN | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 3000 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. PARAPET REBUILDING: 1000 SQ. FT. LOCATION: ALL ELEVATIONS.
164 | 13112230370000 | B200418054 | 3/22/2025 |  |  |  |  | 100 |  | 3248 W FOSTER AVE |  | CHICAGO, IL |  | PAUL & SIMON LTD | SCOPE: NONSTRUCTURAL INTERIOR ALTERATION: MEMORIALIZE EXISTING CONDITION CONSISTING OF 3 COMPARTMENT SINK AND HAND SINK ONLY AND IS WITHOUT COOKING EQUIPMENT OR HOOD. A2 SMALL OCCUPANCY FORMALLY USED AS DINING SEATING ONLY FOR 3246; PERMIT TO INFILL WALL ISSUED ON B200415720 AT 3246 W FOSTER.LOCATIONS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), INTERIOR OF STOREFRONT. ¦ SPECIAL CONDITION: ALL WORK PERFORMED ON PERMIT NO B200415720
165 | 20191200040000 | B200418057 | 3/26/2025 |  |  |  |  | 100 |  | 6509 S HAMILTON AVE |  | CHICAGO, IL |  | TAYLOR JEWEL | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL SECURITY. SPECIFIC LOCATION: UTILITY ROOM.
166 | 16153160450000 | B200418058 | 4/7/2025 |  |  |  |  | 20000 |  | 4518 W FIFTH AVE |  | CHICAGO, IL |  | COLEMAN LINELL | SCOPE: NONSTRUCTURAL INTERIOR PREPARATORY DEMOLITION OF NONLOAD BEARING DRYWALL AND M.E.P. SYSTEMS WITH DEMO DRAWINGS AND ALL OTHER WORK TO BE SHOWN AND PERFORMED ON PERMIT NO. 101066886. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 1ST AND BASEMENT.
167 | 13113000050000 | B200418068 | 4/7/2025 |  |  |  |  | 55692 |  | 5124 N SPRINGFIELD AVE |  | CHICAGO, IL |  | THE CHURCH OF JESUS CHRIST OF LATTER DAY | REPAIR/REPLACEMENT AFFECTING 1 SYSTEMS : 1 ROOFTOP PACKAGED UNIT(ZJ240N32Q2DZZ10005B ROOFTOP) . ELECTRICAL WORK UNDER THIS PERMIT = YES . LOCATIONS: 0 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), EXTERIOR WORK, ROOFTOP. ¦ SPECIAL CONDITION: CONTACT REFRIGERATION SUPERVISOR CLEMENT GAVIN 312-743-3562, PRIOR TO THE INSTALLATION OF ANY ROOFTOP EQUIPMENT, TO SCHEDULE AN INSPECTION.
168 | 14163030410000 | B200418071 | 4/1/2025 |  |  |  |  | 5000 |  | 744 W GORDON TER |  | CHICAGO, IL |  | SKIRITAI GORDON TERRACE LLC | LINE VOLTAGE ELECTRICAL WORK. ADD 12 CIRCUITS TO EXISTING 100 AMP SERVICE DISCONNECTING MEANS. RECEPTACLE OUTLETS: 12 . LIGHTING OUTLETS: 12. SPECIFIC LOCATION: APARTMENT 207.
169 | 11304200340000 | B200418074 | 3/21/2025 |  |  |  |  | 10000 |  | 1850 W TOUHY AVE |  | CHICAGO, IL |  | HOOKS MALCOLM | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 40 CIRCUITS. RECEPTACLE OUTLETS: 20 . LIGHTING OUTLETS: 10. SPECIFIC LOCATION: NEW 200 AMP SERVICE WITH 1 METER.
170 | 12014050570000 | B200418076 | 3/21/2025 |  |  |  |  | 6000 |  | 7345 W TALCOTT AVE |  | CHICAGO, IL |  | BAILEY TANNER | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 30 CIRCUITS. RECEPTACLE OUTLETS: 20 . LIGHTING OUTLETS: 10. SPECIFIC LOCATION: BASEMENT AND BACK OF HOUSE.
171 | 17092610220000 | B200418078 | 4/8/2025 |  |  |  |  | 7000 |  | 410 N DEARBORN ST |  | CHICAGO, IL |  | DEARKIN RES (DE), LLC | NONSTRUCTURAL INTERIOR ALTERATION TO INSTALL (2) NEW INTERIOR NON-RATED DOUBLE DOORS. LOCATIONS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), 2ND FLOOR, NORTH DINING ROOM.
172 | 17164200030000 | B200418081 | 3/31/2025 |  |  |  |  | 109480 |  | 47 W POLK ST |  | CHICAGO, IL |  | NOVELLE NICHOLAS | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 500 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: PARTIAL FACADE NORTH, EAST, AND WEST.
173 | 13204150010000 | B200418082 | 3/28/2025 |  |  |  |  | 225000 |  | 3425 N MAJOR AVE |  | CHICAGO, IL |  | CHICAGO PUBLIC SCHOOLS | IN KIND REPLACEMENT OF EXTERIOR RAIN SCREEN CEMENT BOARDS WITH NEW METAL SIDING. LOCATIONS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), EXTERIOR WORK, EXTERIOR FACADE CLADDING.
174 | 20354210030000 | B200418084 | 3/24/2025 |  |  |  |  | 8892 |  | 1210 E 85TH ST |  | CHICAGO, IL |  | LOMBRE CHERYL | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 3.6 KW. ARRAY OUTPUT: 4.86 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817. ¦ SPECIAL CONDITION: **NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018.**REFER TO ELECTRICAL PERMIT B200418087.
175 | 17221010340000 | B200418086 | 3/26/2025 |  |  |  |  | 40000 |  | 1212 S MICHIGAN AVE |  | CHICAGO, IL |  | TERBIL DENISE | DECOMMISSIONING / REMOVAL OF EXISTING COMMUNICATION EQUIPMENT. DECOMMISSIONING AND REMOVAL OF A WIRELESS SITE, INCLUDING COMPLETE REMOVAL OF ANTENNAS, EQUIPMENT, MOUNTS AND CABINETS. LOCATION: DECOMMISSION EXISTING ANTENNA & EQUIP PER PLANS.
176 | 20354210030000 | B200418087 | 3/21/2025 |  |  |  |  | 1500 |  | 1210 E 85TH ST |  | CHICAGO, IL |  | LOMBRE CHERYL | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 16 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. 13.5 KWH LITHIUM ION ENERGY STORAGE SYSTEM. SPECIFIC LOCATION: BASEMENT AND EAST SIDE OF HOME.
177 | 13024330200000 | B200418088 | 3/25/2025 |  |  |  |  | 2000 |  | 3228 W BRYN MAWR AVE |  | CHICAGO, IL |  | KOHN ASHER | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 2 CIRCUITS. RECEPTACLE OUTLETS: 0 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: BASEMENT.
178 | 17061050260000 | B200418096 | 7/7/2025 |  |  |  |  | 3500 |  | 1564 N DAMEN AVE |  | CHICAGO, IL |  | BLACK PAUL | LINE VOLTAGE ELECTRICAL WORK. ALTER EXISTING SYSTEM III EMERGENCY LIGHTING. RECEPTACLE OUTLETS: 0 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: 3RD FLOOR. ¦ SPECIAL CONDITION: INTERIOR ELECTRICAL WORK ONLY, NO EXTERIOR ELECTRICAL WORK OR FIXTURES AFFECTING FRONT ELEVATIONS OR ROOFLINE WITH THIS PERMIT.
179 | 25034280440000 | B200418098 | 3/22/2025 |  |  |  |  | 1500 |  | 9439 S VERNON AVE |  | CHICAGO, IL |  | NELMS GWENDOLYN | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: BASEMENT.
180 | 12244290220000 | B200418099 | 3/24/2025 |  |  |  |  | 4200 |  | 3229 N ODELL AVE |  | CHICAGO, IL |  | TREMMEL DAWN | PURPOSE: NEW/REPLACEMENT INSTALLATION. WOOD FENCE - 6'-0' ' (HEIGHT) X 77'-0' ' (LENGTH). LOCATION: NORTH SIDE YARD.
181 | 17063000060000 | B200418103 | 4/14/2025 |  |  |  |  | 93500 |  | 1147 N WESTERN AVE |  | CHICAGO, IL |  | BOARD OF EDUCATION - CHICAGO PUBLIC SCHOOLS | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL SECURITY. SPECIFIC LOCATION: MAIN ENTRIES AND MDF ENTRIES.
182 | 14281000150000 | B200418108 | 4/5/2025 |  |  |  |  | 75000 |  | 701 W BELMONT AVE |  | CHICAGO, IL |  | HALSTED-BELMONT LLC | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 6000 SQ. FT., LINTEL QTY. 4, MAX. LENGTH 9. LOCATION: 2 STREET FACING FACADES.
183 | 20113100050000 | B200418122 | 3/31/2025 |  |  |  |  | 6000 |  | 5210 S GREENWOOD AVE |  | CHICAGO, IL |  | ART SUSAN | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 26 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: REAR EXTERIOR AND BASEMENT. ¦ SPECIAL CONDITION: APPROVED PER ATTACHMENTS RECEIVED 3/23/25: ELECTRICAL WORK AT REAR OF BUILDING, BASEMENT ONLY, NO WORK TO FRONT OR SIDE EXTERIOR ELEVATIONS WITH THIS PERMIT.
184 | 17181010170000 | B200418123 | 4/1/2025 |  |  |  |  | 8000 |  | 19 S OAKLEY BLVD |  | CHICAGO, IL |  | KIM SARAH & DAVID | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: 19 S OAKLEY BLVD.
185 | 13092110440000 | B200418129 | 3/25/2025 |  |  |  |  | 8000 |  | 4836 W BALMORAL AVE |  | CHICAGO, IL |  | EHRENBERG JULIA | PURPOSE: NEW/REPLACEMENT INSTALLATION. VINYL/PVC FENCE - 6'-0' ' (HEIGHT) X 75'-6' ' (LENGTH). LOCATION: BACKYARD.
186 | 17094050040000 | B200418131 | 3/23/2025 |  |  |  |  | 25000 |  | 300 N LA SALLE DR |  | CHICAGO, IL |  | JONES LANG LASALLE AMERICAS,IN | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL OTHER. SPECIFIC LOCATION: GARAGE.
187 | 21301080290000 | B200418132 | 3/28/2025 |  |  |  |  | 31250 |  | 2666 E 73RD ST |  | CHICAGO, IL |  | THE COASTLAND COOPERATIVE APARTMENTS | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 1000 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: WORK ON NORTH ELEVATION GRINDING, POINTING.
188 | 14081170130000 | B200418134 | 4/3/2025 |  |  |  |  | 10000 |  | 1455 W SUMMERDALE AVE |  | CHICAGO, IL |  | 1455 SUMMERDALE LLC | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 600 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: BASSEMENT UPGRADE ELECTRICAL SERVICE.
189 | 17044480290000 | B200418135 | 3/30/2025 |  |  |  |  | 32400 |  | 121 W CHESTNUT ST |  | CHICAGO, IL |  | CHESTNUT TOWER | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 500 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: BUILDING EXTERIOR.
190 | 17282090440000 | B200418138 | 3/27/2025 |  |  |  |  | 15000 |  | 2226 S WENTWORTH AVE |  | CHICAGO, IL |  | HUANG CHAOSHA | SCOPE: NONSTRUCTURAL INTERIOR PREPARATORY DEMOLITION OF NONLOAD BEARING DRYWALL AND M.E.P. SYSTEMS WITH DEMO DRAWINGS AND ALL OTHER WORK TO BE PERFORMED ON PERMIT NO 101066728. LOCATIONS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), 2226 S WENTWORTH.
191 | 14173140010000 | B200418140 | 4/7/2025 |  |  |  |  | 10000 |  | 4023 N GREENVIEW AVE |  | CHICAGO, IL |  | GREENVIEW CUYLER LLC | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 800 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: UPGRADE ELECTRICAL SERVICE.
192 | 16092030120000 | B200418145 | 3/28/2025 |  |  |  |  | 2500 |  | 4903 W CHICAGO AVE |  | CHICAGO, IL |  | PIZARRO MATIAS | FULL REBUILD (SAME AS EXISTING) FOR WOOD PORCH (OPEN) (QUANTITY: 1, LOCATION: SOUTH SIDE OF BUILDING).
193 | 20261240070000 | B200418150 | 3/24/2025 |  |  |  |  | 350000 |  | 7421 S MARYLAND AVE |  | CHICAGO, IL |  | MOORE MAURINE | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 30 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: BASEMENT OUTSIDE.
194 | 17103130030000 | B200418160 | 3/25/2025 |  |  |  |  | 10000 |  | 130 E RANDOLPH ST |  | CHICAGO, IL |  | WANXIANG STERLING STETSON OWNER, LLC | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL DATA/VIDEO. SPECIFIC LOCATION: 11TH FLOOR.
195 | 13352200060000 | B200418162 | 3/26/2025 |  |  |  |  | 23500 |  | 3423 W PALMER ST |  | CHICAGO, IL |  | WASIAK COLLIN | SCOPE: ROOF RECOVER. AREA: 1500 SQ. FT. ROOF COVERING: BUILT-UP ROOF. LOCATION: MAIN ROOF. IL ROOFING CONTRACTOR LICENSE: 104015243.
196 | 14051070020000 | B200418164 | 3/31/2025 |  |  |  |  | 40000 |  | 1215 W DEVON AVE |  | CHICAGO, IL |  | MEHMETI ASTRIT | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 800 AMP SERVICE DISCONNECTING MEANS WITH 9 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: BASEMENT AND APARTMENTS.
197 | 12012130680000 | B200418166 | 3/25/2025 |  |  |  |  | 44740 |  | 7258 W MYRTLE AVE |  | CHICAGO, IL |  | JASKI JEFFREY | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: STEEP (>5:12). INVERTER OUTPUT: 9.074 KW. ARRAY OUTPUT: 10.4 KW. INCLUDES 15 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOFING. ICC DISTRIBUTED GENERATION INSTALLER CERT. #23-0779. ¦ SPECIAL CONDITION: ** NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018.
198 | 17343080110000 | B200418170 | 3/31/2025 |  |  |  |  | 90000 |  | 225 W RANDOLPH ST |  | CHICAGO, IL |  | MCQUADE FINANCIAL, LLC | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL OTHER. SPECIFIC LOCATION: 20TH FLOOR AND PART OF 24TH FLOOR. ¦ SPECIAL CONDITION: APPROVED PER ATTACHMENTS RECEIVED 3/24/25: INTERIOR ELECTRICAL WORK ONLY WITH THIS PERMIT.
199 | 09364050080000 | B200418178 | 3/24/2025 |  |  |  |  | 5667 |  | 6733 N ODELL AVE |  | CHICAGO, IL |  | ZAREMBA KYLE | SCOPE: ROOF REPLACEMENT. AREA: 1975 SQ. FT. ROOF COVERING: ASPHALT SHINGLES. LOCATION: ENTIRE ROOF. IL ROOFING CONTRACTOR LICENSE: 104018969.
200 | 16084180170000 | B200418183 | 3/29/2025 |  |  |  |  | 100 |  | 32 N MASON AVE |  | CHICAGO, IL |  | WELLS VILETTA | NONSTRUCTURAL INTERIOR WORK- FIRE DAMAGE REPAIR: REPLACE DRYWALL, REPLACE PLUMBING FIXTURES AND ASSOCIATED PIPING. PIPE AND REWIRE ELECTRICAL, REPLACE ELECTRICAL FIXTURES AND OUTLETS. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), SECOND FLOOR APARTMENT