## Sheet1
# [LLINE] | PIN* [PARID] | Local Permit No.* [USER28] | Issue Date* [PERMDT] | Desc 1* [DESC1] | Desc 2 Code 1 [USER6] | Desc 2 Code 2 [USER7] | Desc 2 Code 3 [USER8] | Amount* [AMOUNT] | Assessable [IS_ASSESS] | Applicant Street Address* [ADDR1] | Applicant Address 2 [ADDR2] | Applicant City, State, Zip* [ADDR3] | Contact Phone* [PHONE] | Applicant* [USER21] | Notes [NOTE1] | Occupy Dt [UDATE1] | Submit Dt* [CERTDATE] | Est Comp Dt [UDATE2] | user21
1 | 16042140140000 | B200425800 | 5/14/2025 |  |  |  |  | 1500 |  | 4919 W HIRSCH ST |  | CHICAGO, IL |  | BERRY MAMIE | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 23 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. 13.5 KWH LITHIUM ION ENERGY STORAGE SYSTEM. SPECIFIC LOCATION: BASEMENT AND EAST SIDE OF HOME.
2 | 17094000360000 | B200425801 | 5/14/2025 |  |  |  |  | 6855 |  | 333 W WOLF POINT PLZ |  | CHICAGO, IL |  | SALESFORCE TOWER CHICAGO | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 84 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: 10TH FLOOR.
3 | 25063000040000 | B200425804 | 5/24/2025 |  |  |  |  | 30000 |  | 9121 S WESTERN AVE |  | CHICAGO, IL |  | ANANIAS GRANGER | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 500 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: MASONRY, DRYWALL AT INTERIOR, WINDOW REPAIR/REPLAC.
4 | 12122260120000 | B200425807 | 5/15/2025 |  |  |  |  | 4400 |  | 5559 N ODELL AVE |  | CHICAGO, IL |  | MOYA ADRIAN | PURPOSE: NEW/REPLACEMENT INSTALLATION. WOOD FENCE - 6'-0' ' (HEIGHT) X 72'-5' ' (LENGTH). LOCATION: BACKYARD.
5 | 20074190330000 | B200425809 | 5/29/2025 |  |  |  |  | 4000 |  | 5320 S WOOD ST |  | CHICAGO, IL |  | HUGHES LATANDA | FULL REBUILD (SAME AS EXISTING) FOR WOOD PORCH (OPEN) (QUANTITY: 1, LOCATION: FRONT OF BUILDING). LANDING: 36 SQUARE FEET. LANDING NOT MORE THAN 6 FEET ABOVE GROUND. CONCRETE WORK.
6 | 14312010860000 | B200425816 | 5/14/2025 |  |  |  |  | 5000 |  | 1801 W FULLERTON AVE |  | CHICAGO, IL |  | MULPANI ABHAY | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL DATA/VIDEO. INSTALL TELEPHONE. SPECIFIC LOCATION: OFFICE BUILDOUT.
7 | 19201110400000 | B200425819 | 5/14/2025 |  |  |  |  | 2500 |  | 6043 W 64TH ST |  | CHICAGO, IL |  | NIETO DAVID | SCOPE: ROOF REPLACEMENT. AREA: 600 SQ. FT. ROOF COVERING: ASPHALT SHINGLES. LOCATION: GARAGE. IL ROOFING CONTRACTOR LICENSE: 104019206.
8 | 17094000360000 | B200425820 | 5/14/2025 |  |  |  |  | 7180 |  | 333 W WOLF POINT PLZ |  | CHICAGO, IL |  | SALESFORCE TOWER CHICAGO | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 88 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: 11TH FLOOR.
9 | 17094000360000 | B200425822 | 5/14/2025 |  |  |  |  | 7510 |  | 333 W WOLF POINT PLZ |  | CHICAGO, IL |  | SALESFORCE TOWER CHICAGO | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 92 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: 12TH FLOOR.
10 | 13084220300000 | B200425824 | 5/29/2025 |  |  |  |  | 16000 |  | 4852 N MASON AVE |  | CHICAGO, IL |  | JABLONSKI JERZY | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 25'-0' ' X20'-0' '. GABLE ROOF HEIGHT TO PEAK: 15'-0' '.
11 | 20172160030000 | B200425826 | 5/19/2025 |  |  |  |  | 6500 |  | 5704 S MAY ST |  | CHICAGO, IL |  | WYOMING SEICG | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: ALL FLOORS.
12 | 17092600090000 | B200425832 | 5/20/2025 |  |  |  |  | 4000 |  | 416 N CLARK ST |  | CHICAGO, IL |  | CAGAN MANAGEMENT GROUP | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 50 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: REPAIR SOUTH-WEST CORNER, REPL DEFECT 100 BRICKS.
13 | 19352030300000 | B200425833 | 5/20/2025 |  |  |  |  | 18000 |  | 7934 S HOMAN AVE |  | CHICAGO, IL |  | BARNES CHARLOTTE | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 23'-9' ' X21'-3' '. HIP ROOF HEIGHT TO PEAK: 15'-0' '.
14 | 20311040170000 | B200425835 | 5/22/2025 |  |  |  |  | 1800 |  | 2323 W 79TH PL |  | CHICAGO, IL |  | FARINA SALVATORE | REPAIR OR IN-KIND REPLACEMENT OF 0 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. REPAIR OR IN-KIND REPLACEMENT OF HOT WATER HEATER(S). LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), BASEMENT.
15 | 17321100350000 | B200425841 | 5/19/2025 |  |  |  |  | 3500 |  | 1218 W 33RD ST |  | CHICAGO, IL |  | CHENG MICHELLE | LINE VOLTAGE ELECTRICAL WORK. ADD 1 CIRCUITS TO EXISTING 200 AMP SERVICE DISCONNECTING MEANS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. ELECTRIC VEHICLE SUPPLY EQUIPMENT:1 SPACES. SPECIFIC LOCATION: BASEMENT, DETACHED GARAGE.
16 | 16264130470000 | B200425842 | 5/25/2025 |  |  |  |  | 18000 |  | 2758 S SPAULDING AVE |  | CHICAGO, IL |  | GUTIERREZ ROSA | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 500 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: FACADE, NORTH & SOUTH ELEVATIONS.
17 | 17171140060000 | B200425844 | 5/19/2025 |  |  |  |  | 30000 |  | 323 S ASHLAND AVE |  | CHICAGO, IL |  | LOCAL 1001 | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 600 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: 1ST FLOOR, 2ND FLOOR AND COMMON AREA.
18 | 13151030360000 | B200425846 | 5/27/2025 |  |  |  |  | 27000 |  | 4727 N KNOX AVE |  | CHICAGO, IL |  | KEITH PAPADAS | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 22'-0' ' X20'-0' '. HIP ROOF HEIGHT TO PEAK: 14'-0' '.
19 | 25063130050000 | B200425852 | 6/17/2025 |  |  |  |  | 21492 |  | 9261 S BELL AVE |  | CHICAGO, IL |  | DEMY DAVID | SCOPE: ROOF REPLACEMENT. AREA: 26 SQ. FT. ROOF COVERING: ASPHALT SHINGLES. LOCATION: HOUSE AND GARAGE. IL ROOFING CONTRACTOR LICENSE: 104009170.
20 | 24143230140000 | B200425859 | 5/15/2025 |  |  |  |  | 3000 |  | 11018 S RIDGEWAY AVE |  | CHICAGO, IL |  | FOLEY TIM | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 15 . LIGHTING OUTLETS: 12. SPECIFIC LOCATION: LIVING AREAS.
21 | 25163250190000 | B200425864 | 5/20/2025 |  |  |  |  | 23712 |  | 11024 S PARNELL AVE |  | CHICAGO, IL |  | PINEX JENNIFER | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: STEEP (>5:12). INVERTER OUTPUT: 9.6 KW. ARRAY OUTPUT: 12.96 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * PLEASE REFER TO ELECTRICAL PERMIT B200425872.* ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
22 | 14183200040000 | B200425865 | 7/21/2025 |  |  |  |  | 8000 |  | 4153 N LINCOLN AVE |  | CHICAGO, IL |  | PAUL J. QUETSCHKE & CO. | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 1200 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: REPAIR FRONT FACADE AND TUCK POINT NW ELEVATION.
23 | 13242040270000 | B200425866 | 5/20/2025 |  |  |  |  | 8729 |  | 2418 W BERENICE AVE |  | CHICAGO, IL |  | LIANG CHRIS | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: STEEP (>5:12). INVERTER OUTPUT: 1 KW. ARRAY OUTPUT: 0.01247 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: EAST, WEST. ICC DISTRIBUTED GENERATION INSTALLER CERT. #24-0198. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE. * PLEASE APPLY FOR SOLAR (ACCESSORY) PERMIT PRIOR TO SOLAR INSPECTION AND HAVE PRESENT ON DATE OF INSPECTION OR RISK FAILURE AS PROPOSED WORK PER ELECTRICAL DRAWING.* UNDERGROUND RACEWAY TO BE INSPECTED BY AHJ PRIOR TO COVERING.
24 | 20142210170000 | B200425868 | 5/28/2025 |  |  |  |  | 340000 |  | 1414 E 59TH ST |  | CHICAGO, IL |  | THE UNIVERSITY OF CHICAGO | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 400 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: NORTH, WEST, SOUTH, AND EAST EXTERIOR FACADES.
25 | 25163250190000 | B200425872 | 5/15/2025 |  |  |  |  | 1500 |  | 11024 S PARNELL AVE |  | CHICAGO, IL |  | PINEX JENNIFER | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 28 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. 13.5 KWH LITHIUM ION ENERGY STORAGE SYSTEM. SPECIFIC LOCATION: BASEMENT AND SOUTH SIDE OF HOME.
26 | 13242040270000 | B200425873 | 5/15/2025 |  |  |  |  | 1000 |  | 2418 W BERENICE AVE |  | CHICAGO, IL |  | LIANG CHRIS | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. ALTER EXISTING OTHER. SPECIFIC LOCATION: EAST, WEST.
27 | 20294270220000 | B200425876 | 6/6/2025 |  |  |  |  | 100 |  | 7824 S MORGAN ST |  | CHICAGO, IL |  | STEWART RAWLE | SCOPE: NONSTRUCTURAL INTERIOR WORK: REPLACE DRYWALL AND REPLACE PLUMBING FIXTURES INCLUDING ASSOCIATED PLUMBING PIPING IN 1ST FLOOR KITCHEN AND BATHROOM. REPLACE EXISTING FURNACE IN THE BASEMENT (SAME LOCATION). LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 1ST FLOOR AND BSMT.
28 | 20112020260000 | B200425879 | 5/16/2025 |  |  |  |  | 192676 |  | 4770 S DORCHESTER AVE |  | CHICAGO, IL |  | THE ANCONA SCHOOL | SCOPE: ROOF REPLACEMENT. AREA: 10900 SQ. FT. ROOF COVERING: OTHER. LOCATION: ROOFTOP. IL ROOFING CONTRACTOR LICENSE: 104000268.
29 | 19032010080000 | B200425885 | 5/16/2025 |  |  |  |  | 670000 |  | 4100 W ANN LURIE PL |  | CHICAGO, IL |  | GREATER CHICAGO FOOD DEPOSITORY | REPAIR/REPLACEMENT AFFECTING 2 SYSTEMS : 2 ROOFTOP PACKAGED UNIT(TRANE, SFHPF604P*66CTED9001, ROOF TOP) 1 ROOFTOP PACKAGED UNIT(TRANE, SFHPF604P*67CNFD9001, ROOF TOP) 2 ROOFTOP PACKAGED UNIT(TRANE, YCD480D4T, ROOF TOP) 1 ROOFTOP PACKAGED UNIT(TRANE, YHK072A350H, ROOF) 1 ROOFTOP PACKAGED UNIT(TRANE, YHK240A450H, ROOF) 1 ROOFTOP PACKAGED UNIT(TRANE, YHK12DA45SOH, ROOF TOP) 2 MAKE UP AIR UNIT(MESTEX, DFOA-233, ROOF) . ELECTRICAL WORK UNDER THIS PERMIT = NO . LOCATIONS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), EXTERIOR WORK, ROOF TOP. ¦ SPECIAL CONDITION: CONTACT REFRIGERATION SUPERVISOR CLEMENT GAVIN 312-743-3562, PRIOR TO THE INSTALLATION OF ANY ROOFTOP EQUIPMENT, TO SCHEDULE AN INSPECTION.
30 | 19341030130000 | B200425886 | 5/20/2025 |  |  |  |  | 21033 |  | 7927 S KENNETH AVE |  | CHICAGO, IL |  | BRYANT EMMA | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 8.5 KW. ARRAY OUTPUT: 11.07 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE. * PLEASE REFER TOO SOLAR (ACCESSORY) PERMIT B200425888 AND ELECTRICAL PERMIT B200425891.* UNDERGROUND RACEWAY TO BE INSPECTED BY AHJ PRIOR TO COVERING.
31 | 20341230110000 | B200425887 | 5/16/2025 |  |  |  |  | 37364 |  | 8235 S CALUMET AVE |  | CHICAGO, IL |  | LEONARD NATHANIEL | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 24'-0' ' X24'-0' '. HIP ROOF HEIGHT TO PEAK: 13'-0' '.
32 | 19341030130000 | B200425888 | 5/20/2025 |  |  |  |  | 21033 |  | 7927 S KENNETH AVE |  | CHICAGO, IL |  | BRYANT EMMA | INSTALL SOLAR PANELS ON ROOF OF ACCESSORY BUILDING. ROOF TYPE: STEEP (>5:12). INVERTER OUTPUT: 8.5 KW. ARRAY OUTPUT: 11.07 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF OF GARAGE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE. * PLEASE REFER TO SOLAR (PRINCIPAL) PERMIT B200425886 AND ELECTRICAL PERMIT B200425891.* UNDERGROUND RACEWAY TO BE INSPECTED BY AHJ PRIOR TO COVERING.
33 | 19221020220000 | B200425889 | 5/15/2025 |  |  |  |  | 14000 |  | 6349 S KILPATRICK AVE |  | CHICAGO, IL |  | MCCLAIN JOY | SCOPE: ROOF RECOVER. AREA: 1700 SQ. FT. ROOF COVERING: MINERAL - SURFACED ROLL ROOFING. LOCATION: FLAT ROOF. IL ROOFING CONTRACTOR LICENSE: 104003460.
34 | 17083290040000 | B200425890 | 6/17/2025 |  |  |  |  | 3000 |  | 1325 W RANDOLPH ST |  | CHICAGO, IL |  | ACTION BEHAVIOR CENTERS | PURPOSE: NEW/REPLACEMENT INSTALLATION. VINYL/PVC FENCE - 6'-0' ' (HEIGHT) X 35'-0' ' (LENGTH). LOCATION: WEST SIDE OF PARKING LOT..
35 | 19341030130000 | B200425891 | 5/15/2025 |  |  |  |  | 1500 |  | 7927 S KENNETH AVE |  | CHICAGO, IL |  | BRYANT EMMA | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 24 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. 13.5 KWH LITHIUM ION ENERGY STORAGE SYSTEM. SPECIFIC LOCATION: BASEMENT AND REAR OF HOME.
36 | 17094000360000 | B200425893 | 5/15/2025 |  |  |  |  | 6855 |  | 333 W WOLF POINT PLZ |  | CHICAGO, IL |  | SALESFORCE TOWER CHICAGO | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 84 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: 13TH FLOOR.
37 | 19341030130000 | B200425900 | 5/15/2025 |  |  |  |  | 4000 |  | 7927 S KENNETH AVE |  | CHICAGO, IL |  | BRYANT EMMA | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 22 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: REAR OF HOME.
38 | 26171220310000 | B200425901 | 5/16/2025 |  |  |  |  | 15490 |  | 10818 S AVENUE G |  | CHICAGO, IL |  | FUENTES MONICA | SCOPE: ROOF REPLACEMENT. AREA: 2100 SQ. FT. ROOF COVERING: ASPHALT SHINGLES. LOCATION: EXTERIOR ROOF. IL ROOFING CONTRACTOR LICENSE: 104.01992.
39 | 17044190160000 | B200425903 | 5/22/2025 |  |  |  |  | 283845 |  | 1044 N ORLEANS ST |  | CHICAGO, IL |  | CITY OF CHICAGO DEPT. OF FLEET & FACILITY MGMT. | LINE VOLTAGE ELECTRICAL WORK. ALTER EXISTING SYSTEM I EMERGENCY LIGHTING. RECEPTACLE OUTLETS: 0 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: 1ST FLOOR, 2ND FLOOR, BASEMENT.
40 | 17094000360000 | B200425905 | 5/15/2025 |  |  |  |  | 7180 |  | 333 W WOLF POINT PLZ |  | CHICAGO, IL |  | SALESFORCE | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 88 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: 14TH FLOOR.
41 | 25051080130000 | B200425906 | 5/20/2025 |  |  |  |  | 8892 |  | 8800 S JUSTINE ST |  | CHICAGO, IL |  | DEAN LOUIS | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: STEEP (>5:12). INVERTER OUTPUT: 3.6 KW. ARRAY OUTPUT: 4.86 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018.* PLEASE REFER TO ELECTRICAL PERMIT B200425907.* ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
42 | 25051080130000 | B200425907 | 5/15/2025 |  |  |  |  | 1500 |  | 8800 S JUSTINE ST |  | CHICAGO, IL |  | DEAN LOUIS | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 17 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. 13.5 KWH LITHIUM ION ENERGY STORAGE SYSTEM. SPECIFIC LOCATION: BASEMENT AND SOUTH SIDE OF HOME.
43 | 13133140090000 | B200425910 | 5/15/2025 |  |  |  |  | 27000 |  | 4231 N FRANCISCO AVE |  | CHICAGO, IL |  | BRENNAN JOHN | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 22'-0' ' X20'-0' '. GABLE ROOF HEIGHT TO PEAK: 15'-0' '.
44 | 20102320220000 | B200425917 | 5/22/2025 |  |  |  |  | 50000 |  | 5069 S EVANS AVE |  | CHICAGO, IL |  | EASTLAKE MGMT GROUP | LIMITED REPAIR (25% OR LESS) FOR WOOD EXTERIOR STAIRWAY (QUANTITY: 3, LOCATION: REAR OF BUILDING).
45 | 17094000360000 | B200425918 | 5/15/2025 |  |  |  |  | 7510 |  | 333 W WOLF POINT PLZ |  | CHICAGO, IL |  | SALESFORCE TOWER CHICAGO | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 92 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: 15TH FLOOR.
46 | 25051120180000 | B200425919 | 5/20/2025 |  |  |  |  | 20748 |  | 8822 S ADA ST |  | CHICAGO, IL |  | ATATI ADJOVI | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: STEEP (>5:12). INVERTER OUTPUT: 8.4 KW. ARRAY OUTPUT: 11.34 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018.* PLEASE REFER TO ELECTRICAL PERMIT B200425924.* ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
47 | 14193300180000 | B200425920 | 7/31/2025 |  |  |  |  | 20000 |  | 2115 W MELROSE ST |  | CHICAGO, IL |  | MEZA JEFFERY | SCOPE: NONSTRUCTURAL INTERIOR ALTERATION TO FIRST FLOOR UNIT, REPLACE PLUMBING FIXTURES AT KITCHEN AND BATHROOM (NO PIPING), REPLACE MECHANICAL SYSTEM, ELECTRICAL UPGRADES, PATCH AND REPAIR DRYWALL THROUGHOUT. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 1ST FLOOR FRONT UNIT W/IN UNIT MECHANICAL CLOSET
48 | 20262130090000 | B200425921 | 5/15/2025 |  |  |  |  | 28915 |  | 1325 E 72ND PL |  | CHICAGO, IL |  | WASHINGTON PHOEBE | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 22'-0' ' X20'-0' '. HIP ROOF HEIGHT TO PEAK: 13'-0' '.
49 | 25051120180000 | B200425924 | 5/15/2025 |  |  |  |  | 1500 |  | 8822 S ADA ST |  | CHICAGO, IL |  | ATATI ADJOVI | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 19 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. 13.5 KWH LITHIUM ION ENERGY STORAGE SYSTEM. SPECIFIC LOCATION: BASEMENT AND REAR OF HOME.
50 | 17094000360000 | B200425925 | 5/15/2025 |  |  |  |  | 6855 |  | 333 W WOLF POINT PLZ |  | CHICAGO, IL |  | SALESFORCE TOWER CHICAGO | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 84 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: 16TH FLOOR.
51 | 17212140340000 | B200425931 | 5/15/2025 |  |  |  |  | 2248 |  | 1327 S PLYMOUTH CT |  | CHICAGO, IL |  | JONES PASCALE | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 21 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: UNIT F AT THE PANEL AND ON THE EXTERIOR SERVICE.
52 | 17094000360000 | B200425932 | 5/15/2025 |  |  |  |  | 7180 |  | 333 W WOLF POINT PLZ |  | CHICAGO, IL |  | SALESFORCE TOWER CHICAGO | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 88 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: 17TH FLOOR.
53 | 11323060030000 | B200425935 | 5/21/2025 |  |  |  |  | 6000 |  | 1321 W COLUMBIA AVE |  | CHICAGO, IL |  | ABE KIMBERLY | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 240 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: GARAGE.
54 | 20274030310000 | B200425940 | 5/15/2025 |  |  |  |  | 6500 |  | 7524 S ST LAWRENCE AVE |  | CHICAGO, IL |  | HERNANDEZ DANIEL | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: ALL FLOORS.
55 | 25062071080000 | B200425949 | 5/21/2025 |  |  |  |  | 18700 |  | 8853 S BEVERLY AVE |  | CHICAGO, IL |  | BENNETT-LAY SARAH | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 6.38 KW. ARRAY OUTPUT: 9.35 KW. LOCATION: ROOF AND EXTERIOR WALL OF BUILDING. ICC DISTRIBUTED GENERATION INSTALLER CERT. #25-0072. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
56 | 19094000530000 | B200425952 | 5/21/2025 |  |  |  |  | 32750 |  | 5154 S LEAMINGTON AVE |  | CHICAGO, IL |  | PUGA JOSEPH | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: STEEP (>5:12). INVERTER OUTPUT: 8.7 KW. ARRAY OUTPUT: 0.369 KW. LOCATION: ROOF TOP OF PRINCIPLE STRUCTURE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #23-0387. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
57 | 20111130270000 | B200425954 | 5/16/2025 |  |  |  |  | 25000 |  | 810 E HYDE PARK BLVD |  | CHICAGO, IL |  | POLSHCHAKOV ALEKSEY | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. ALTER EXISTING OTHER. SPECIFIC LOCATION: ROOFTOP.
58 | 25282140270000 | B200425959 | 5/16/2025 |  |  |  |  | 10000 |  | 12026 S LAFAYETTE AVE |  | CHICAGO, IL |  | SURDEL RYSZARD | LINE VOLTAGE ELECTRICAL WORK. ADD 6 CIRCUITS TO EXISTING 100 AMP SERVICE DISCONNECTING MEANS. RECEPTACLE OUTLETS: 60 . LIGHTING OUTLETS: 31. SPECIFIC LOCATION: BASEMENT, 1ST, 2ND, SERVICE.
59 | 13113010310000 | B200425966 | 6/2/2025 |  |  |  |  | 2294 |  | 5114 N AVERS AVE |  | CHICAGO, IL |  | CHEN JENNY | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 2 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: BASEMENT AND EXTERIOR.
60 | 10364080410000 | B200425967 | 5/27/2025 |  |  |  |  | 24630 |  | 6658 N FAIRFIELD AVE |  | CHICAGO, IL |  | WALKER MELISSA | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 20 SQ. FT., LINTEL QTY. 15, MAX. LENGTH 5. LOCATION: ALL ELEVATIONS.
61 | 14211050310000 | B200425968 | 5/21/2025 |  |  |  |  | 314000 |  | 3751 N BROADWAY |  | CHICAGO, IL |  | ANSHE EMET SYNAGOGUE* | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 300 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. PARAPET REBUILDING: 300 SQ. FT. LOCATION: ROOF PARAPET / FACADE.
62 | 16134210060000 | B200425975 | 5/28/2025 |  |  |  |  | 75000 |  | 1101 S CALIFORNIA AVE |  | CHICAGO, IL |  | FLEET & FACILITY MANAGEMENT | SCOPE: ROOF REPLACEMENT. AREA: 7500 SQ. FT. ROOF COVERING: OTHER. LOCATION: EXISTING ROOF. IL ROOFING CONTRACTOR LICENSE: 104017812.
63 | 20272080100000 | B200425978 | 5/15/2025 |  |  |  |  | 2000 |  | 7235 S DR MARTIN LUTHER KING JR DR |  | CHICAGO, IL |  | SQUARE PROPERTY SERVICES, CORP | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 30 CIRCUITS. RECEPTACLE OUTLETS: 2 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: BASEMENT AND OUTSIDE.
64 | 19341030150000 | B200425979 | 5/20/2025 |  |  |  |  | 14022 |  | 7935 S KENNETH AVE |  | CHICAGO, IL |  | CASTELLANOS SALVADOR | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 5.7 KW. ARRAY OUTPUT: 7.38 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * PLEASE REFER TO ELECTRICAL PERMIT B200425985.* ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
65 | 25082230390000 | B200425980 | 5/19/2025 |  |  |  |  | 21884 |  | 9729 S PEORIA ST |  | CHICAGO, IL |  | MITCHELL FREDERICK | ADA BATHROOM MODIFICATIONS. REMOVE TUB AND INSTALL SHOWER WITH ASSOCIATED FIXTURES AND TILE WORK.
66 | 25172130600000 | B200425984 | 5/15/2025 |  |  |  |  | 600 |  | 10436 S PEORIA ST |  | CHICAGO, IL |  | ARNOLD EUGENE | PURPOSE: NEW/REPLACEMENT INSTALLATION. VINYL/PVC FENCE - 6'-0' ' (HEIGHT) X 30'-0' ' (LENGTH). LOCATION: BACK YARD.
67 | 19341030150000 | B200425985 | 5/15/2025 |  |  |  |  | 1500 |  | 7935 S KENNETH AVE |  | CHICAGO, IL |  | CASTELLANOS SALVADOR | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 22 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. 13.5 KWH LITHIUM ION ENERGY STORAGE SYSTEM. SPECIFIC LOCATION: BASEMENT AND REAR OF HOME.
68 | 13134070120000 | B200425987 | 5/16/2025 |  |  |  |  | 4000 |  | 2525 W HUTCHINSON ST |  | CHICAGO, IL |  | KOTULSKI WOJCIECH | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: BASEMENT.
69 | 20271230090000 | B200425989 | 5/20/2025 |  |  |  |  | 12464 |  | 7433 S CALUMET AVE |  | CHICAGO, IL |  | FEME NIENA | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: STEEP (>5:12). INVERTER OUTPUT: 5 KW. ARRAY OUTPUT: 6.56 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018.* PLEASE REFER TO ELECTRICAL PERMIT B200425993.* ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
70 | 20271230090000 | B200425993 | 5/15/2025 |  |  |  |  | 2150 |  | 7433 S CALUMET AVE |  | CHICAGO, IL |  | FEME NIENA | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 20 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. 13.5 KWH LITHIUM ION ENERGY STORAGE SYSTEM. SPECIFIC LOCATION: BASEMENT AND REAR OF HOME.
71 | 13362300180000 | B200425996 | 5/16/2025 |  |  |  |  | 3500 |  | 2100 N MILWAUKEE AVE |  | CHICAGO, IL |  | NODARSE HOLDINGS | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 15 SQ. FT., LINTEL QTY. 3, MAX. LENGTH 6. LOCATION: EXTERIOR FRONT FACADE ONLY..
72 | 25191020220000 | B200425997 | 5/29/2025 |  |  |  |  | 31725 |  | 11132 S HOYNE AVE |  | CHICAGO, IL |  | JOHNSON JOHN | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: STEEP (>5:12). INVERTER OUTPUT: 8.41 KW. ARRAY OUTPUT: 0.34481 KW. LOCATION: ROOF TOP OF PRINCIPLE STRUCTURE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #23-0387. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018.* ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE. * PLEASE APPLY FOR ELECTRICAL PERMIT PRIOR TO SOLAR INSPECTION AND HAVE PRESENT ON DATE OF INSPECTION OR RISK FAILURE AS PROPOSED WORK PER ELECTRICAL DRAWING.
73 | 16222050090000 | B200426007 | 5/22/2025 |  |  |  |  | 1800 |  | 1219 S KEDVALE AVE |  | CHICAGO, IL |  | HERNANDEZ MARTINIANO | REPAIR WEST ELEVATION ENTRANCE STAIRS AND GARAGE SOFFIT. LOCATIONS: 1 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), 2 INTERIOR COMMON AREAS, EXTERIOR WORK, GARAGE, FRONT ENTRANCE, HALLWAY.
74 | 26174000130000 | B200426011 | 5/15/2025 |  |  |  |  | 5980 |  | 11036 S AVENUE D |  | CHICAGO, IL |  | JENSEN-WALLACE MARIA | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 42 CIRCUITS. RECEPTACLE OUTLETS: 7 . LIGHTING OUTLETS: 4. SPECIFIC LOCATION: BASEMENT AND WEST EXTERIOR BRICK WALL.
75 | 19242070010000 | B200426018 | 6/3/2025 |  |  |  |  | 2500 |  | 2421 W 63RD ST |  | CHICAGO, IL |  | ABUTHAHER THABET | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: BASMENT.
76 | 17181020500000 | B200426024 | 8/2/2025 |  |  |  |  | 20000 |  | 2127 W MADISON ST |  | CHICAGO, IL |  | GLOBALGC INC | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL OTHER. SPECIFIC LOCATION: INTERIOR.
77 | 20281070080000 | B200426025 | 5/28/2025 |  |  |  |  | 8600 |  | 7125 S EGGLESTON AVE |  | CHICAGO, IL |  | CHMIEL BRONISLAW | REPAIR (26% TO 50%) FOR WOOD PORCH (OPEN) (QUANTITY: 1, LOCATION: FRONT OF BUILDING). LANDING: 29 SQUARE FEET. LANDING NOT MORE THAN 6 FEET ABOVE GROUND. REPAIR (26% TO 50%) FOR WOOD EXTERIOR STAIRWAY (QUANTITY: 1, LOCATION: REAR OF BUILDING). LANDING: 12 SQUARE FEET. LANDING NOT MORE THAN 6 FEET ABOVE GROUND.
78 | 20041080050000 | B200426027 | 5/19/2025 |  |  |  |  | 13200 |  | 4030 S WALLACE ST |  | CHICAGO, IL |  | FISHER JANN | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 1000 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: EXTERIOR TUCK POINTING, BLOCK WALL PAINTING, CAULK.
79 | 20352050230000 | B200426028 | 5/21/2025 |  |  |  |  | 15000 |  | 7914 S BLACKSTONE AVE |  | CHICAGO, IL |  | KUBERSKY MICHAEL | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 30 SQ. FT., LINTEL QTY. 27, MAX. LENGTH 8. LOCATION: EAST FACADE NORTH FACADE.
80 | 13302230250000 | B200426029 | 5/21/2025 |  |  |  |  | 23573 |  | 2923 N NAGLE AVE |  | CHICAGO, IL |  | RIVERA MARIA | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 5.7 KW. ARRAY OUTPUT: 6.56 KW. INCLUDES 10 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF OF HOUSE.. ICC DISTRIBUTED GENERATION INSTALLER CERT. #19-0021.
81 | 25024050050000 | B200426030 | 5/20/2025 |  |  |  |  | 2600 |  | 9111 S HARPER AVE |  | CHICAGO, IL |  | SANKEY JAMES | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: BASEMENT.
82 | 13142010300000 | B200426032 | 5/16/2025 |  |  |  |  | 5000 |  | 4712 N ST LOUIS AVE |  | CHICAGO, IL |  | PATEL ERFAN | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 3. SPECIFIC LOCATION: BASEMENT PANEL LOCATION AND METER LOCATION.
83 | 19093270790000 | B200426035 | 5/16/2025 |  |  |  |  | 5000 |  | 5432 S LONG AVE |  | CHICAGO, IL |  | EMERALD STREET DEVELOPMENT LLC | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: BASEMENT.
84 | 14322220390000 | B200426040 | 6/2/2025 |  |  |  |  | 559 |  | 1112 W ARMITAGE AVE |  | CHICAGO, IL |  | TELL ME LINCOLN PK, LLC | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL SECURITY. SPECIFIC LOCATION: INSTALL OF LOW VOLTAGE BURLGAR ALARM JOB 129296946. ¦ SPECIAL CONDITION: NO OTHER WORK.
85 | 19092120320000 | B200426041 | 5/22/2025 |  |  |  |  | 9817 |  | 4842 S LAPORTE AVE |  | CHICAGO, IL |  | MARTINEZ MIGUEL | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 10 KW. ARRAY OUTPUT: 5.1 KW. LOCATION: ROOF OF PRINCIPAL BUILDING. ICC DISTRIBUTED GENERATION INSTALLER CERT. #24-0450. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
86 | 11293070010000 | B200426042 | 5/16/2025 |  |  |  |  | 39900 |  | 7455 N GREENVIEW AVE |  | CHICAGO, IL |  | HUNTER PROPERTIES INC | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 700 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: NORTH -380' SQ FT BRICK REPAIR & 19 LINTEL REPAIRS.
87 | 16024120120000 | B200426048 | 5/18/2025 |  |  |  |  | 2000 |  | 3220 W THOMAS ST |  | CHICAGO, IL |  | HERNANDEZ MONSERRATE | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 0 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: FRONT OF BUILDING.
88 | 19341110260000 | B200426049 | 5/22/2025 |  |  |  |  | 21033 |  | 8247 S KILBOURN AVE |  | CHICAGO, IL |  | GONZALEZ GUILLERMO | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 8.5 KW. ARRAY OUTPUT: 11.07 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * PLEASE REFER TO ELECTRICAL PERMIT B200426051.* ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
89 | 19341110260000 | B200426051 | 5/16/2025 |  |  |  |  | 1500 |  | 8247 S KILBOURN AVE |  | CHICAGO, IL |  | GONZALEZ GUILLERMO | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 13 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. 13.5 KWH LITHIUM ION ENERGY STORAGE SYSTEM. SPECIFIC LOCATION: BASEMENT AND REAR OF HOME.
90 | 14291240420000 | B200426053 | 5/18/2025 |  |  |  |  | 4600 |  | 1508 W WOLFRAM ST |  | CHICAGO, IL |  | VERMA ANURAG | LINE VOLTAGE ELECTRICAL WORK. ADD 1 CIRCUITS TO EXISTING 200 AMP SERVICE DISCONNECTING MEANS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. ELECTRIC VEHICLE SUPPLY EQUIPMENT:1 SPACES. SPECIFIC LOCATION: EXTERIOR.
91 | 13344130140000 | B200426057 | 5/19/2025 |  |  |  |  | 24288 |  | 1838 N KARLOV AVE |  | CHICAGO, IL |  | MAESTRE ANGEL | ADA BATHROOM MODIFICATIONS. REMOVE TUB AND INSTALL SHOWER WITH ASSOCIATED FIXTURES AND TILE WORK.
92 | 13012240080000 | B200426061 | 5/16/2025 |  |  |  |  | 5000 |  | 6033 N CALIFORNIA AVE |  | CHICAGO, IL |  | LOPEZ RAYMUNDO | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 20 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: BASEMENT AND BACKYARD.
93 | 16093190070000 | B200426062 | 5/27/2025 |  |  |  |  | 44000 |  | 45 N PINE AVE |  | CHICAGO, IL |  | JAN MAREK DUDA ENTERPRISES | SCOPE: NONSTRUCTURAL INTERIOR WORK: REPLACE DRYWALL. REPLACE ELECTRICAL FIXTURES AND NEW WIRING. REPLACE PLUMBING FIXTURES AND ASSOCIATED PIPING, NEW COPPER LINES, REPLACE WATER HEATER (NO CHANGES TO EXISTING LAYOUT UNDER THIS PERMIT). LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), BASEMENT, 1ST FLOOR, 2ND FLOOR.
94 | 20351030180000 | B200426064 | 5/27/2025 |  |  |  |  | 1800 |  | 7955 S INGLESIDE AVE |  | CHICAGO, IL |  | CTLTC #8002365780 | LINE VOLTAGE ELECTRICAL WORK. NEW TEMPORARY 100 AMP SERVICE DISCONNECTING MEANS WITH 12 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: BASEMENT.
95 | 13022140260000 | B200426067 | 5/19/2025 |  |  |  |  | 1500 |  | 6022 N ST LOUIS AVE |  | CHICAGO, IL |  | SCHALLMOSER DEBBIE | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 15 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: BASEMENT.
96 | 19342040190000 | B200426069 | 5/19/2025 |  |  |  |  | 22778 |  | 8019 S KIRKLAND AVE |  | CHICAGO, IL |  | LEON GARCIA GONZALO | ADA BATHROOM MODIFICATIONS. REMOVE TUB AND INSTALL SHOWER WITH ASSOCIATED FIXTURES AND TILE WORK.
97 | 13332090310000 | B200426074 | 5/22/2025 |  |  |  |  | 14764 |  | 2220 N LAWLER AVE |  | CHICAGO, IL |  | MUNOZ MANUEL | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 5.85 KW. ARRAY OUTPUT: 7.65 KW. LOCATION: ROOF OF PRINCIPAL BUILDING. ICC DISTRIBUTED GENERATION INSTALLER CERT. #24-0450. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
98 | 13231260030000 | B200426078 | 5/28/2025 |  |  |  |  | 4000 |  | 3649 N SPRINGFIELD AVE |  | CHICAGO, IL |  | LOHMAR JANE | LINE VOLTAGE ELECTRICAL WORK. ADD 1 CIRCUITS TO EXISTING 200 AMP SERVICE DISCONNECTING MEANS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. ELECTRIC VEHICLE SUPPLY EQUIPMENT:1 SPACES. SPECIFIC LOCATION: BASEMENT AND DETACHED GARAGE. ¦ SPECIAL CONDITION: NO OTHER WORK.
99 | 16113060540000 | B200426088 | 5/30/2025 |  |  |  |  | 1000 |  | 3834 W MAYPOLE AVE |  | CHICAGO, IL |  | OSIDEKO STACY | REPAIR (26% TO 50%) FOR WOOD PORCH (OPEN) (QUANTITY: 3, LOCATION: REAR OF BUILDING). ACCESSORY BUILDING.
100 | 20262120090000 | B200426089 | 5/16/2025 |  |  |  |  | 1400 |  | 1221 E 72ND PL |  | CHICAGO, IL |  | WINFREY QUINN | IN-KIND REPLACEMENT OF EXTERIOR WINDOWS AND DOORS IN EXISTING OPENINGS. REPLACEMENT WINDOWS: 19; REPLACEMENT SKYLIGHTS: 0; REPLACEMENT DOORS: 4. AFFECTS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), LOCATION: EXTERIOR.
101 | 19142010410000 | B200426092 | 5/22/2025 |  |  |  |  | 25707 |  | 5546 S TRUMBULL AVE |  | CHICAGO, IL |  | CARRILLO ALEJANDRO | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: STEEP (>5:12). INVERTER OUTPUT: 10.4 KW. ARRAY OUTPUT: 13.53 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * PLEASE REFER TO ELECTRICAL PERMIT B200426105.* ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
102 | 14211100520000 | B200426093 | 6/16/2025 |  |  |  |  | 80950 |  | 3660 N LAKE SHORE DR |  | CHICAGO, IL |  | RENTAL HEROES PROPERTY MANAGEMENT | DUCTWORK EXTENSION/RECONFIGURATION, HYDRONIC PIPING EXTENSION/RECONFIGURATION, REPAIR/REPLACEMENT AFFECTING 1 SYSTEMS : 1 OTHER HEAT PUMP(DAIKIN, WSHP SMARTSOURCE, 2ND FLOOR) . ELECTRICAL WORK UNDER THIS PERMIT = YES . LOCATIONS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), 2ND FLOOR.
103 | 17061110110000 | B200426099 | 5/19/2025 |  |  |  |  | 5000 |  | 1454 N LEAVITT ST |  | CHICAGO, IL |  | YOUNG ANGELIA | SCOPE: ROOF REPLACEMENT. AREA: 2394 SQ. FT. ROOF COVERING: MINERAL - SURFACED ROLL ROOFING. LOCATION: FLAT ROOF. IL ROOFING CONTRACTOR LICENSE: 104018894.
104 | 19353270290000 | B200426103 | 5/16/2025 |  |  |  |  | 16434 |  | 3824 W 86TH ST |  | CHICAGO, IL |  | RUIZ LEODEGARIO | SCOPE: ROOF REPLACEMENT. AREA: 1069 SQ. FT. ROOF COVERING: ASPHALT SHINGLES. LOCATION: ON TOP OF THE ROOF. IL ROOFING CONTRACTOR LICENSE: 104.02017.
105 | 19142010410000 | B200426105 | 5/16/2025 |  |  |  |  | 3250 |  | 5546 S TRUMBULL AVE |  | CHICAGO, IL |  | CARRILLO ALEJANDRO | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 14 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. 13.5 KWH LITHIUM ION ENERGY STORAGE SYSTEM. SPECIFIC LOCATION: BASEMENT AND NORTH SIDE OF HOME.
106 | 13264000370000 | B200426106 | 5/16/2025 |  |  |  |  | 1900 |  | 2708 N DRAKE AVE |  | CHICAGO, IL |  | TIWARI SUMEET | LINE VOLTAGE ELECTRICAL WORK. ADD 1 CIRCUITS TO EXISTING 200 AMP SERVICE DISCONNECTING MEANS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. ELECTRIC VEHICLE SUPPLY EQUIPMENT:1 SPACES. SPECIFIC LOCATION: GARAGE.
107 | 20251200090000 | B200426107 | 8/20/2025 |  |  |  |  | 2500 |  | 7237 S BENNETT AVE |  | CHICAGO, IL |  | BROWN DON | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 20 . LIGHTING OUTLETS: 20. SPECIFIC LOCATION: CITY VIOLATIONS. ¦ SPECIAL CONDITION: SEE RENOVATION PERMIT NO 101046389 FOR INSPECTIONS
108 | 19251230870000 | B200426108 | 5/16/2025 |  |  |  |  | 12000 |  | 7354 S CALIFORNIA AVE |  | CHICAGO, IL |  | HEMINGWAY DERRICK | SCOPE: ROOF REPLACEMENT. AREA: 1236 SQ. FT. ROOF COVERING: ASPHALT SHINGLES. LOCATION: ON TOP OF THE ROOF. IL ROOFING CONTRACTOR LICENSE: 104.02017.
109 | 14172020100000 | B200426111 | 5/30/2025 |  |  |  |  | 17700 |  | 1049 W LAWRENCE AVE |  | CHICAGO, IL |  | LAWRENCE LOFTS LLC | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 650 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: NORTH AND EAST ELEVATION. ¦ SPECIAL CONDITION: ANY REMOVED MASONRY TO BE SALVAGED AND REINSTALLED WHEN POSSIBLE. ANY NEW MASONRY TO MATCH HISTORIC IN SIZE, COLOR, TEXTURE/FINISH, AND GENERAL APPEARANCE. NEW MORTAR TO MATCH HISTORIC IN COLOR, TEXTURE, STRENGTH/TYPE, AND PROFILE. NO PAINTING OF MASONRY PERMITTED.
110 | 17044150150000 | B200426115 | 5/20/2025 |  |  |  |  | 23000 |  | 1044 N ORLEANS ST |  | CHICAGO, IL |  | 2FM DEPARTMENT CITY OF CHICAGO | REPAIR OR IN-KIND REPLACEMENT OF 1 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. INCLUDES REPAIR OR REPLACMENT OF PLUMBING PIPING. LOCATIONS: 0 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 1 INTERIOR COMMON AREAS, 2ND FLOOR KITCHEN.
111 | 16023050290000 | B200426117 | 6/12/2025 |  |  |  |  | 2000 |  | 1132 N LAWNDALE AVE |  | CHICAGO, IL |  | ROBERT CHRISSIE | PURPOSE: LEGALIZE UNPERMITTED WORK. WROUGHT IRON FENCE - 6'-0' ' (HEIGHT) X 25'-0' ' (LENGTH). LOCATION: REAR FENCE.
112 | 16151120170000 | B200426118 | 5/19/2025 |  |  |  |  | 19275 |  | 4711 W JACKSON BLVD |  | CHICAGO, IL |  | VRADSHAW DEDRIA | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 22'-0' ' X22'-0' '. HIP ROOF HEIGHT TO PEAK: 12'-0' '.
113 | 17324040070000 | B200426120 | 5/29/2025 |  |  |  |  | 1600 |  | 819 W 35TH ST |  | CHICAGO, IL |  | SHILLIN YUAN | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: REAR OF BUILDING BY METERS.
114 | 20261050290000 | B200426123 | 5/22/2025 |  |  |  |  | 16302 |  | 7140 S UNIVERSITY AVE |  | CHICAGO, IL |  | JONES DORIS | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: STEEP (>5:12). INVERTER OUTPUT: 6.6 KW. ARRAY OUTPUT: 8.91 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
115 | 13152070530000 | B200426124 | 6/16/2025 |  |  |  |  | 150000 |  | 4650 N PULASKI RD |  | CHICAGO, IL |  | 2FM DEPARTMENT CITY OF CHICAGO | GAS PIPING EXTENSION/RECONFIGURATION, REPAIR/REPLACEMENT AFFECTING 1 SYSTEMS : 3 BOILER - HOT WATER(LOCHINVAR, FCB 1500, MECHANICAL ROOM) . ELECTRICAL WORK UNDER THIS PERMIT = YES . LOCATIONS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), MECHANICAL ROOM.
116 | 20261050290000 | B200426125 | 5/16/2025 |  |  |  |  | 1500 |  | 7140 S UNIVERSITY AVE |  | CHICAGO, IL |  | JONES DORIS | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 17 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. 13.5 KWH LITHIUM ION ENERGY STORAGE SYSTEM. SPECIFIC LOCATION: BASEMENT AND NORTH SIDE OF HOME.
117 | 14191070250000 | B200426132 | 5/16/2025 |  |  |  |  | 20000 |  | 3926 N DAMEN AVE |  | CHICAGO, IL |  | FIFTH THIRD BANK | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL SECURITY. SPECIFIC LOCATION: MAIN BANK FACILITY.
118 | 13152070530000 | B200426133 | 5/20/2025 |  |  |  |  | 30000 |  | 4650 N PULASKI RD |  | CHICAGO, IL |  | 2FM DEPARTMENT CITY OF CHICAGO | REPAIR OR IN-KIND REPLACEMENT OF 0 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. REPAIR OR IN-KIND REPLACEMENT OF HOT WATER HEATER(S). INCLUDES REPAIR OR REPLACMENT OF PLUMBING PIPING. LOCATIONS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), EXISTING MECHANICAL ROOM.
119 | 13332010250000 | B200426134 | 5/16/2025 |  |  |  |  | 4680 |  | 5142 W BELDEN AVE |  | CHICAGO, IL |  | YOUNG TASHEY DARCIE | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 200 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: CHIMNEY.
120 | 20031070170000 | B200426135 | 5/22/2025 |  |  |  |  | 200 |  | 4038 S MICHIGAN AVE |  | CHICAGO, IL |  | AARON BROS MOVING SYSTEM | LINE VOLTAGE ELECTRICAL WORK. OUTDOOR LIGHTING FOR 6000 SQUARE FEET. RECEPTACLE OUTLETS: 2 . LIGHTING OUTLETS: 2. SPECIFIC LOCATION: PARKING LOT.
121 | 25032000260000 | B200426136 | 5/20/2025 |  |  |  |  | 7716 |  | 402 E 87TH PL |  | CHICAGO, IL |  | ANDERSON ERNEST | PURPOSE: NEW/REPLACEMENT INSTALLATION. VINYL/PVC FENCE - 6'-0' ' (HEIGHT) X 128'-0' ' (LENGTH). LOCATION: EAST AND WEST, REAR SIDE OF THE PROPERTY.
122 | 14082030010000 | B200426138 | 6/22/2025 |  |  |  |  | 24522 |  | 5555 N SHERIDAN RD |  | CHICAGO, IL |  | EDGEWATER BEACH APARTMENTS CORP | SCOPE: NONSTRUCTURAL INTERIOR KITCHEN REMODEL ONLY. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), KITCHEN OF UNIT 1409.
123 | 20121130030000 | B200426139 | 5/19/2025 |  |  |  |  | 24895 |  | 5417 S CORNELL AVE |  | CHICAGO, IL |  | ST. VINCENT STRAMBI PASSIONIST COMMUNITY | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 250 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: WEST ELEVATION.
124 | 17203060080000 | B200426143 | 6/2/2025 |  |  |  |  | 38735 |  | 1627 S THROOP ST |  | CHICAGO, IL |  | CRUZ MARIO | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 950 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: NORTH AND SOUTH ELEVATIONS.
125 | 26171190380000 | B200426149 | 5/22/2025 |  |  |  |  | 18009 |  | 10857 S AVENUE L |  | CHICAGO, IL |  | ARCEO MIGUEL | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 20'-0' ' X30'-0' '. GABLE ROOF HEIGHT TO PEAK: 15'-0' '.
126 | 20333190240000 | B200426150 | 5/20/2025 |  |  |  |  | 10600 |  | 8526 S NORMAL AVE |  | CHICAGO, IL |  | ASANTE BERNICE | PURPOSE: NEW/REPLACEMENT INSTALLATION. VINYL/PVC FENCE - 6'-0' ' (HEIGHT) X 160'-0' ' (LENGTH). LOCATION: BOTH SIDES OF THE PROPERTY..
127 | 13232030130000 | B200426154 | 5/22/2025 |  |  |  |  | 39610 |  | 3931 N BERNARD ST |  | CHICAGO, IL |  | OTTERBACHER JOHN | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: STEEP (>5:12). INVERTER OUTPUT: 6.46 KW. ARRAY OUTPUT: 7.65 KW. LOCATION: ROOF OF PRINCIPAL STRUCTURE, RISER REPLACEMENT. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0735. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * PLEASE REFER TO SOLAR (ACCESSORY) PERMIT B200426160.* ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
128 | 13232030130000 | B200426160 | 5/22/2025 |  |  |  |  | 1000 |  | 3931 N BERNARD ST |  | CHICAGO, IL |  | OTTERBACHER JOHN | INSTALL SOLAR PANELS ON ROOF OF ACCESSORY BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 2.66 KW. ARRAY OUTPUT: 3.15 KW. LOCATION: GARAGE ROOF. RISER REPLACEMENT ON HOUSE.. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0735. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * PLEASE REFER TO SOLAR (PRINCIPAL) PERMIT B200426154.* ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
129 | 25111040070000 | B200426165 | 5/20/2025 |  |  |  |  | 2000 |  | 1149 E 95TH ST |  | CHICAGO, IL |  | YOU BE DOING TOO MUCH | LINE VOLTAGE ELECTRICAL WORK. ALTER EXISTING SYSTEM III EMERGENCY LIGHTING. RECEPTACLE OUTLETS: 0 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: STORE.
130 | 20342190240000 | B200426166 | 5/23/2025 |  |  |  |  | 12000 |  | 8118 S ST LAWRENCE AVE |  | CHICAGO, IL |  | BEWELL DEVELOPMENTS LLC | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 22'-0' ' X20'-0' '. HIP ROOF HEIGHT TO PEAK: 15'-0' '.
131 | 13302240230000 | B200426172 | 5/30/2025 |  |  |  |  | 8456 |  | 2855 N OAK PARK AVE |  | CHICAGO, IL |  | MUNOZ EDGAR | SCOPE: ROOF REPLACEMENT. AREA: 30 SQ. FT. ROOF COVERING: ASPHALT SHINGLES. LOCATION: ROOF – ENTIRE STRUCTURE. IL ROOFING CONTRACTOR LICENSE: 104.01991.
132 | 19274020560000 | B200426173 | 5/22/2025 |  |  |  |  | 9633 |  | 4237 W 78TH ST |  | CHICAGO, IL |  | RODRIGUEZ JOSE | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 3.9 KW. ARRAY OUTPUT: 5.265 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * PLEASE REFER TO SOLAR ELECTRICAL PERMIT B200426174.* ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
133 | 19274020560000 | B200426174 | 5/16/2025 |  |  |  |  | 1500 |  | 4237 W 78TH ST |  | CHICAGO, IL |  | RODRIGUEZ JOSE | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 15 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. 13.5 KWH LITHIUM ION ENERGY STORAGE SYSTEM. SPECIFIC LOCATION: BASEMENT AND EAST SIDE OF HOME.
134 | 20031050010000 | B200426177 | 5/20/2025 |  |  |  |  | 8500 |  | 325 E PERSHING RD |  | CHICAGO, IL |  | SECOND BASE PROPERTIES | REPAIR OR IN-KIND REPLACEMENT OF 3 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. INCLUDES REPAIR OR REPLACMENT OF PLUMBING PIPING. LOCATIONS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), FRONT OF BUILDING.
135 | 25071170030000 | B200426183 | 5/16/2025 |  |  |  |  | 5000 |  | 9701 S OAKLEY AVE |  | CHICAGO, IL |  | ROGERS JARED | PURPOSE: NEW/REPLACEMENT INSTALLATION. WOOD FENCE - 6'-0' ' (HEIGHT) X 117'-0' ' (LENGTH). LOCATION: BACKYARD.
136 | 20272280370000 | B200426184 | 5/22/2025 |  |  |  |  | 100 |  | 604 E 75TH ST |  | CHICAGO, IL |  | ARTRICE CLARK | REPAIR OR IN-KIND REPLACEMENT OF 1 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. INCLUDES REPAIR OR REPLACMENT OF PLUMBING PIPING. LOCATIONS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), 1ST FLOOR.
137 | 25191100110000 | B200426187 | 5/17/2025 |  |  |  |  | 1500 |  | 11423 S OAKLEY AVE |  | CHICAGO, IL |  | DAVID BEENA | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: REAR EXTERIOR..
138 | 13163190370000 | B200426197 | 5/17/2025 |  |  |  |  | 200 |  | 5300 W BELLE PLAINE AVE |  | CHICAGO, IL |  | CRAVEN AARON | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: BASEMENT ELECTRICAL SERVICE.
139 | 16251170510000 | B200426198 | 6/18/2025 |  |  |  |  | 15000 |  | 2458 S SACRAMENTO AVE |  | CHICAGO, IL |  | AUGUSTA LLC 2511 | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 3000 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: NORTH AND SOUTH EXTERIOR WALLS.
140 | 13273050160000 | B200426205 | 5/17/2025 |  |  |  |  | 5000 |  | 4630 W SCHUBERT AVE |  | CHICAGO, IL |  | GUIDO GOMEZ JENNIFER | PURPOSE: NEW/REPLACEMENT INSTALLATION. VINYL/PVC FENCE - 6'-0' ' (HEIGHT) X 50'-0' ' (LENGTH). LOCATION: BACKYARD.
141 | 16142080210000 | B200426206 | 5/17/2025 |  |  |  |  | 15000 |  | 3508 W JACKSON BLVD |  | CHICAGO, IL |  | WOODSON ARTHUR | SCOPE: ROOF REPLACEMENT. AREA: 1300 SQ. FT. ROOF COVERING: BUILT-UP ROOF. LOCATION: ROOF REPLACEMENT. IL ROOFING CONTRACTOR LICENSE: 104018529.
142 | 20073220300000 | B200426207 | 5/30/2025 |  |  |  |  | 3000 |  | 5440 S SEELEY AVE |  | CHICAGO, IL |  | INFINITI FAMILY PROPERTIES | SCOPE: ROOF REPLACEMENT. AREA: 1400 SQ. FT. ROOF COVERING: ASPHALT SHINGLES. LOCATION: ROOF 14 SQ. IL ROOFING CONTRACTOR LICENSE: 104005880.
143 | 19024270180000 | B200426208 | 5/17/2025 |  |  |  |  | 7000 |  | 4608 S CHRISTIANA AVE |  | CHICAGO, IL |  | AQUIQUE OMAR | SCOPE: ROOF REPLACEMENT. AREA: 15 SQ. FT. ROOF COVERING: ASPHALT SHINGLES. LOCATION: ROOFING. IL ROOFING CONTRACTOR LICENSE: 104019312.
144 | 17032220150000 | B200426212 | 5/23/2025 |  |  |  |  | 3000 |  | 880 N LAKE SHORE DR |  | CHICAGO, IL |  | CLARDE MICHELLE | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: APARTMENT 5E. ¦ SPECIAL CONDITION: NO OTHER WORK.
145 | 17032220180000 | B200426212 | 5/23/2025 |  |  |  |  | 3000 |  | 880 N LAKE SHORE DR |  | CHICAGO, IL |  | CLARDE MICHELLE | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: APARTMENT 5E. ¦ SPECIAL CONDITION: NO OTHER WORK.
146 | 17032220200000 | B200426212 | 5/23/2025 |  |  |  |  | 3000 |  | 880 N LAKE SHORE DR |  | CHICAGO, IL |  | CLARDE MICHELLE | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: APARTMENT 5E. ¦ SPECIAL CONDITION: NO OTHER WORK.
147 | 20351000240000 | B200426221 | 5/19/2025 |  |  |  |  | 2500 |  | 7954 S MARYLAND AVE |  | CHICAGO, IL |  | JACOBSON ROBERT | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 20 . LIGHTING OUTLETS: 20. SPECIFIC LOCATION: THROUGHOUT.
148 | 19221010260000 | B200426224 | 5/19/2025 |  |  |  |  | 3000 |  | 6314 S KILPATRICK AVE |  | CHICAGO, IL |  | FLORES DOMINGUEZ CASTO | PURPOSE: NEW/REPLACEMENT INSTALLATION. WOOD FENCE - 6'-0' ' (HEIGHT) X 109'-0' ' (LENGTH). WROUGHT IRON FENCE - 6'-0' ' (HEIGHT) X 11'-0' ' (LENGTH). LOCATION: NORTH SIDE AND SOUTH WEST SIDE FENCE.
149 | 16261010510000 | B200426225 | 5/23/2025 |  |  |  |  | 25000 |  | 2355 S PULASKI RD |  | CHICAGO, IL |  | KAHAN RICHARD | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 600 AMP SERVICE DISCONNECTING MEANS WITH 30 CIRCUITS. RECEPTACLE OUTLETS: 0 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: ELECTRICAL ROOM. ¦ SPECIAL CONDITION: REVISION TO PERMIT NO 101069005 TO ELIMINATE EQUIPMENT AND REDUCE ELECTRICAL SERVICE TO 600 AMP SERVICE
150 | 17303000120000 | B200426228 | 5/20/2025 |  |  |  |  | 10000 |  | 2525 S BLUE ISLAND AVE |  | CHICAGO, IL |  | MACIAS JR. ANTONIO | LINE VOLTAGE ELECTRICAL WORK. ADD 4 CIRCUITS TO EXISTING 400 AMP SERVICE DISCONNECTING MEANS. RECEPTACLE OUTLETS: 4 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: 1ST FLOOR.
151 | 20184220420000 | B200426233 | 5/22/2025 |  |  |  |  | 15000 |  | 6148 S MARSHFIELD AVE |  | CHICAGO, IL |  | PALOS ALEJANDRO | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 25'-0' ' X20'-0' '. HIP ROOF HEIGHT TO PEAK: 13'-0' '.
152 | 13104140060000 | B200426241 | 5/19/2025 |  |  |  |  | 200 |  | 4943 N LOWELL AVE |  | CHICAGO, IL |  | MANN JORDAN | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: ELECTRICAL SERVICE.
153 | 13152070530000 | B200426243 | 5/22/2025 |  |  |  |  | 25000 |  | 4650 N PULASKI RD |  | CHICAGO, IL |  | 2FM DEPARTMENT CITY OF CHICAGO | REPAIR/REPLACEMENT AFFECTING 1 SYSTEMS : 5 OTHER HEAT PUMP(BELL & GOSSETT) . ELECTRICAL WORK UNDER THIS PERMIT = NO . LOCATIONS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), EXISTING MECHANICAL ROOM.
154 | 20311080240000 | B200426244 | 5/19/2025 |  |  |  |  | 28269 |  | 2336 W 80TH PL |  | CHICAGO, IL |  | WOLFE FRED | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 22'-0' ' X20'-0' '. HIP ROOF HEIGHT TO PEAK: 13'-0' '.
155 | 14184190320000 | B200426245 | 5/22/2025 |  |  |  |  | 785 |  | 1800 W CUYLER AVE |  | CHICAGO, IL |  | CUYLER LLC | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 50 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. PARAPET REBUILDING: 50 SQ. FT. LOCATION: NORTHEAST PARAPET WALL AND CHIMNEY ON WALL.
156 | 13143170010000 | B200426250 | 5/21/2025 |  |  |  |  | 100 |  | 3951 W BERTEAU AVE |  | CHICAGO, IL |  | HEANEY RONAN | LINE VOLTAGE ELECTRICAL WORK. OUTDOOR LIGHTING FOR 3 SQUARE FEET. RECEPTACLE OUTLETS: 0 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: LIGHT FIXTURE OVER EXTERIOR ENTRANCE DOOR.
157 | 14211050060000 | B200426251 | 5/21/2025 |  |  |  |  | 900000 |  | 3751 N BROADWAY |  | CHICAGO, IL |  | ANSHE EMET SYNAGOGUE* | SCOPE: ROOF REPLACEMENT. AREA: 8000 SQ. FT. ROOF COVERING: BUILT-UP ROOF. LOCATION: ROOFING. IL ROOFING CONTRACTOR LICENSE: 104000179.
158 | 20224120070000 | B200426252 | 5/28/2025 |  |  |  |  | 4380 |  | 6815 S LANGLEY AVE |  | CHICAGO, IL |  | COLLARD AARON | INSTALL SOLAR PANELS ON ROOF OF ACCESSORY BUILDING. ROOF TYPE: LOW-SLOPED (<2:12). INVERTER OUTPUT: 3.48 KW. ARRAY OUTPUT: 4.38 KW. LOCATION: ROOF OF COACH HOUSE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0495. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
159 | 14323020150000 | B200426258 | 5/19/2025 |  |  |  |  | 4380 |  | 1430 W WILLOW ST |  | CHICAGO, IL |  | VETERINARY INNOVATIVE SOLUTIONS | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL SECURITY. SPECIFIC LOCATION: INTERIOR WORK ONLY.
160 | 16034290300000 | B200426262 | 5/22/2025 |  |  |  |  | 20400 |  | 812 N KARLOV AVE |  | CHICAGO, IL |  | RIOS MIRIAM | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: LOW-SLOPED (<2:12). INVERTER OUTPUT: 7.6 KW. ARRAY OUTPUT: 9.84 KW. INCLUDES 10 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF AND EXTERIOR WALLS OF THE BUILDING. ICC DISTRIBUTED GENERATION INSTALLER CERT. #25-0072. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE. * PLEASE PROVIDE NOTARIZED LETTER FROM OWNER & BUILDING MANAGEMENT WITH APPROVAL OF SOLAR INSTALLATION OF PROPOSED WORK ON BUILDING STRUCTURE AT THE TIME OF SOLAR INSPECTION OR RISK FAILURE AS PROPOSED WORK PER ELECTRICAL DRAWING.
161 | 20224120080000 | B200426264 | 6/13/2025 |  |  |  |  | 5110 |  | 6817 S LANGLEY AVE |  | CHICAGO, IL |  | COLLARD AARON | INSTALL SOLAR PANELS ON ROOF OF ACCESSORY BUILDING. ROOF TYPE: LOW-SLOPED (<2:12). INVERTER OUTPUT: 4.06 KW. ARRAY OUTPUT: 5.11 KW. LOCATION: ROOF OF COACH HOUSE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0495. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
162 | 25192240190000 | B200426265 | 5/22/2025 |  |  |  |  | 13243 |  | 11411 S HERMOSA AVE |  | CHICAGO, IL |  | HARLAND LATEEFA | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: STEEP (>5:12). INVERTER OUTPUT: 5.4 KW. ARRAY OUTPUT: 6.97 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * PLEASE REFER TO ELECTRICAL PERMIT B200426267.* ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
163 | 17151010210000 | B200426266 | 5/23/2025 |  |  |  |  | 183 |  | 33 S WABASH AVE |  | CHICAGO, IL |  | RECKLESS CHICAGO LLC | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL SECURITY. SPECIFIC LOCATION: INTERIOR WORK ONLY JOB # 128517537. ¦ SPECIAL CONDITION: NO OTHER WORK.
164 | 25192240190000 | B200426267 | 5/19/2025 |  |  |  |  | 1500 |  | 11411 S HERMOSA AVE |  | CHICAGO, IL |  | HARLAND LATEEFA | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 22 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. 13.5 KWH LITHIUM ION ENERGY STORAGE SYSTEM. SPECIFIC LOCATION: BASEMENT AND SOUTH SIDE OF HOME.
165 | 19153040210000 | B200426269 | 5/19/2025 |  |  |  |  | 61850 |  | 5906 S KOLMAR AVE |  | CHICAGO, IL |  | SCHIESHER BLAIN | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 22'-0' ' X24'-0' '. GABLE ROOF HEIGHT TO PEAK: 15'-0' '.
166 | 25063220120000 | B200426271 | 5/27/2025 |  |  |  |  | 11677 |  | 9410 S HOYNE AVE |  | CHICAGO, IL |  | SLATER ALBERT | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: SIDE OF THE HOUSE.
167 | 14054080180000 | B200426272 | 7/24/2025 |  |  |  |  | 10000 |  | 5630 N WINTHROP AVE |  | CHICAGO, IL |  | MUNTEAN NICK | LIMITED REPAIR (25% OR LESS) FOR BRICK/STONE EXTERIOR BALCONY (QUANTITY: 1, LOCATION: FRONT OF BUILDING). BRICK WORK.
168 | 13363180340000 | B200426273 | 5/23/2025 |  |  |  |  | 3976 |  | 1730 N WHIPPLE ST |  | CHICAGO, IL |  | KAPITAL ELECTRIC CO., INC | LINE VOLTAGE ELECTRICAL WORK. ADD 1 CIRCUITS TO EXISTING 200 AMP SERVICE DISCONNECTING MEANS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. ELECTRIC VEHICLE SUPPLY EQUIPMENT:1 SPACES. SPECIFIC LOCATION: GARAGE.
169 | 13323190290000 | B200426274 | 6/29/2025 |  |  |  |  | 100000 |  | 6114 W NORTH AVE |  | CHICAGO, IL |  | BETTIKER CURT | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 120 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: FACADE REPAIRS. ¦ SPECIAL CONDITION: NO LINTEL WORK REQ'D PER ENGINEER'S REPORT
170 | 25223190150000 | B200426277 | 5/21/2025 |  |  |  |  | 9000 |  | 131 E 118TH ST |  | CHICAGO, IL |  | MUSE SHENITA | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: INTERIOR.
171 | 25223190160000 | B200426280 | 5/19/2025 |  |  |  |  | 9000 |  | 133 E 118TH ST |  | CHICAGO, IL |  | MUSE SHENITA | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: INTERIOR.
172 | 25223190170000 | B200426285 | 5/19/2025 |  |  |  |  | 9000 |  | 135 E 118TH ST |  | CHICAGO, IL |  | MUSE SHENITA | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: INTERIOR.
173 | 25213310030000 | B200426288 | 5/19/2025 |  |  |  |  | 2800 |  | 11805 S LOWE AVE |  | CHICAGO, IL |  | KEMPER MARK | IN-KIND REPLACEMENT OF EXTERIOR WINDOWS AND DOORS IN EXISTING OPENINGS. REPLACEMENT WINDOWS: 5; REPLACEMENT SKYLIGHTS: 0; REPLACEMENT DOORS: 1. AFFECTS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), LOCATION: UNIT 2.
174 | 13103230050000 | B200426290 | 5/19/2025 |  |  |  |  | 6570 |  | 4843 N KENNETH AVE |  | CHICAGO, IL |  | VIZCAINO GUILLERMO | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 50 SQ. FT., LINTEL QTY. 5, MAX. LENGTH 5. LOCATION: FRONT WEST WALL FIRST AND SECOND FLOOR.
175 | 20271220120000 | B200426303 | 5/27/2025 |  |  |  |  | 10000 |  | 7441 S PRAIRIE AVE |  | CHICAGO, IL |  | HORSLEY BRENDA | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 20'-0' ' X20'-0' '. HIP ROOF HEIGHT TO PEAK: 12'-0' '.
176 | 21312160230000 | B200426309 | 6/17/2025 |  |  |  |  | 4500 |  | 2815 E 81ST ST |  | CHICAGO, IL |  | MAPLE CAPITAL, LLC | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 1000 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: FRONT FACEDE.
177 | 13164160210000 | B200426310 | 5/19/2025 |  |  |  |  | 12000 |  | 4132 N LECLAIRE AVE |  | CHICAGO, IL |  | SEAMANN ED | PURPOSE: NEW/REPLACEMENT INSTALLATION. WOOD FENCE - 6'-0' ' (HEIGHT) X 110'-6' ' (LENGTH). LOCATION: BACKYARD.
178 | 12242100070000 | B200426315 | 5/19/2025 |  |  |  |  | 7500 |  | 7511 W FOREST PRESERVE AVE |  | CHICAGO, IL |  | HASAN NAYLA | REPAIR OR IN-KIND REPLACEMENT OF 0 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. INCLUDES REPAIR OR REPLACMENT OF PLUMBING PIPING. INCLUDES REPAIR OR REPLACEMENT OF PLUMBING RISERS IN EXISTING CHASES. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), BASEMENT.
179 | 13053170080000 | B200426320 | 5/30/2025 |  |  |  |  | 5000 |  | 5729 N NORTHWEST HWY |  | CHICAGO, IL |  | RAPATAS NATALIE | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 100 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: FRONT.
180 | 17162010160000 | B200426324 | 5/28/2025 |  |  |  |  | 86000 |  | 71 S WACKER DR |  | CHICAGO, IL |  | 71 SOUTH WACKER DRIVE LLC | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL DATA/VIDEO. SPECIFIC LOCATION: 46TH FL.
181 | 17094170030000 | B200426327 | 6/16/2025 |  |  |  |  | 17080 |  | 222 N LA SALLE ST |  | CHICAGO, IL |  | KAISER JILL | SCOPE: NONSTRUCTURAL INTERIOR ALTERATION TO REMOVE GLASS PARTITION / DOOR, ADD OPENING TO DRYWALL PARTITION, ADD RECEPTACLES FOR NEW TV AND RECEPTION DESK. LOCATIONS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), SUITE 1510.
182 | 13311290010000 | B200426334 | 5/19/2025 |  |  |  |  | 8500 |  | 2059 N NEW ENGLAND AVE |  | CHICAGO, IL |  | WILKERSON AVERY | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 20 CIRCUITS. RECEPTACLE OUTLETS: 5 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: BASEMENT, EXTERIOR.
183 | 14334080330000 | B200426337 | 6/2/2025 |  |  |  |  | 26400 |  | 1826 N LINCOLN AVE |  | CHICAGO, IL |  | FARRIS GEORGE | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 100 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: NW PARAPET WALL. ¦ SPECIAL CONDITION: ANY REMOVED MASONRY TO BE SALVAGED AND REINSTALLED WHEN POSSIBLE. ANY NEW MASONRY TO MATCH HISTORIC IN SIZE, COLOR, TEXTURE/FINISH, AND GENERAL APPEARANCE. NEW MORTAR TO MATCH HISTORIC IN COLOR, TEXTURE, STRENGTH/TYPE, AND PROFILE. ALL WORK AND DETAILING TO MATCH EXISTING. NO WORK TO FRONT FACADE.
184 | 20062010190000 | B200426338 | 5/21/2025 |  |  |  |  | 141531 |  | 4200 S ASHLAND AVE |  | CHICAGO, IL |  | CUSHMAN WAKEFIELD | REPAIR/REPLACEMENT AFFECTING 1 SYSTEMS : 4 ROOFTOP PACKAGED UNIT(CARRIER, 48GEEM06A2M5, ROOF) . ELECTRICAL WORK UNDER THIS PERMIT = NO . LOCATIONS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), EXTERIOR WORK, ROOF TOP. ¦ SPECIAL CONDITION: CONTACT REFRIGERATION SUPERVISOR CLEMENT GAVIN 312-743-3562, PRIOR TO THE INSTALLATION OF ANY ROOFTOP EQUIPMENT, TO SCHEDULE AN INSPECTION.
185 | 12244000330000 | B200426339 | 5/22/2025 |  |  |  |  | 3832 |  | 3516 N OLEANDER AVE |  | CHICAGO, IL |  | KAWASAKIT CHRISTINE | PURPOSE: NEW/REPLACEMENT INSTALLATION. VINYL/PVC FENCE - 6'-0' ' (HEIGHT) X 34'-0' ' (LENGTH). LOCATION: REAR SIDE OF THE PROPERTY.
186 | 19111170350000 | B200426344 | 7/1/2025 |  |  |  |  | 7600 |  | 3756 W 50TH PL |  | CHICAGO, IL |  | MANOW TODD | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 24 CIRCUITS. RECEPTACLE OUTLETS: 5 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: BASEMENT, KITCHEN.
187 | 14334080250000 | B200426345 | 6/2/2025 |  |  |  |  | 119540 |  | 1830 N LINCOLN AVE |  | CHICAGO, IL |  | WARNING SARAH | SCOPE: ROOF REPLACEMENT. AREA: 1200 SQ. FT. ROOF COVERING: ASPHALT SHINGLES. LOCATION: 2 FRONT GABLES, MAIN ROOF SHINGLE AREA, FRONT BAY. IL ROOFING CONTRACTOR LICENSE: 104011318. ¦ SPECIAL CONDITION: NEW SHINGLES TO BE ARCHITECTURAL SHINGLES
188 | 20271160220000 | B200426346 | 5/23/2025 |  |  |  |  | 22000 |  | 7318 S CALUMET AVE |  | CHICAGO, IL |  | HUBBARD ARNETTE/ GREG | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 45 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. PARAPET REBUILDING: 96 SQ. FT. LOCATION: NORTH WALL.
189 | 16091050320000 | B200426362 | 5/19/2025 |  |  |  |  | 2000 |  | 728 N LATROBE AVE |  | CHICAGO, IL |  | CAGUANA JOSE | PURPOSE: NEW/REPLACEMENT INSTALLATION. WOOD FENCE - 6'-0' ' (HEIGHT) X 72'-0' ' (LENGTH). LOCATION: INSTALLING A FENCE ALONG THE SIDE.
190 | 13351010340000 | B200426364 | 5/20/2025 |  |  |  |  | 14000 |  | 2310 N SPRINGFIELD AVE |  | CHICAGO, IL |  | NORDEN ADAM | SCOPE: ROOF REPLACEMENT. AREA: 1386 SQ. FT. ROOF COVERING: OTHER. LOCATION: THE ROOF. IL ROOFING CONTRACTOR LICENSE: 104019230.
191 | 20343150470000 | B200426365 | 6/4/2025 |  |  |  |  | 10000 |  | 8549 S INDIANA AVE |  | CHICAGO, IL |  | V-COR DEVELOPMENT | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 20'-0' ' X20'-0' '. GABLE ROOF HEIGHT TO PEAK: 12'-0' '.
192 | 17103180340000 | B200426368 | 5/21/2025 |  |  |  |  | 35945 |  | 300 E RANDOLPH ST |  | CHICAGO, IL |  | CHICAGO VENTURA PARTNERS | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL SECURITY. SPECIFIC LOCATION: FLR 40.
193 | 21311030210000 | B200426370 | 5/19/2025 |  |  |  |  | 2713 |  | 7951 S KINGSTON AVE |  | CHICAGO, IL |  | CARROLL-JOHNSON CHRISTLE | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL OTHER. SPECIFIC LOCATION: NORTH.
194 | 13162250110000 | B200426372 | 5/21/2025 |  |  |  |  | 2400 |  | 5123 W AGATITE AVE |  | CHICAGO, IL |  | KEMORA LANDSCAPES | PURPOSE: NEW/REPLACEMENT INSTALLATION. WOOD FENCE - 6'-0' ' (HEIGHT) X 77'-0' ' (LENGTH). LOCATION: WOOD FENCE - 6' HIGH X 77' LENGTH ON EAST SIDE.
195 | 14313250360000 | B200426373 | 5/20/2025 |  |  |  |  | 9810 |  | 2018 W WABANSIA AVE |  | CHICAGO, IL |  | SCHUMACHER NICOLE | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 400 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: FRONT AND BACK FACADE.
196 | 14181040050000 | B200426374 | 6/4/2025 |  |  |  |  | 5000 |  | 2063 W LAWRENCE AVE |  | CHICAGO, IL |  | FMA PROPERTIES | SCOPE: NONSTRUCTURAL INTERIOR WORK- AREA OF WORK 500 SQ FT: REPAIR/REPLACE DRYWALL IN NE HALLWAY 1ST-3RD FLOORS. LOCATIONS: 0 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S) ¦ SPECIAL CONDITION: NO ELECTRICAL WORK UNDER THIS PERMIT
197 | 25221030130000 | B200426376 | 6/2/2025 |  |  |  |  | 25200 |  | 11133 S EDBROOKE AVE |  | CHICAGO, IL |  | BROWN CARLA | NEW HEAT PUMP OR REFRIGERATION EQUIP., ELECTRICAL WORK UNDER THIS PERMIT = NO . LOCATIONS: 4 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), INSIDE UNITS AND A UNIT ON THE SIDE YARD.
198 | 14172230010000 | B200426378 | 5/21/2025 |  |  |  |  | 922005 |  | 840 W SUNNYSIDE AVE |  | CHICAGO, IL |  | SUNNYSIDE PROPERTIES | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 568 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. CONCRETE MASONRY REPAIR / REPLACEMNT: 53SQ. FT., EXCAVATION = . LOCATION: 16TH FLOOR EAST ELEVATION.
199 | 20083160370000 | B200426380 | 5/28/2025 |  |  |  |  | 11000 |  | 1540 W GARFIELD BLVD |  | CHICAGO, IL |  | GALAN ALFONSO | FULL REBUILD (SAME AS EXISTING) FOR WOOD PORCH (OPEN) (QUANTITY: 1, LOCATION: REAR OF BUILDING).
200 | 13262260300000 | B200426384 | 5/22/2025 |  |  |  |  | 58154 |  | 3350 W DIVERSEY AVE |  | CHICAGO, IL |  | CUSHMAN WAKEFIELD | REPAIR/REPLACEMENT AFFECTING 1 SYSTEMS : 1 ROOFTOP PACKAGED UNIT(CARRIER, 48GEEM12A3M5, ROOF) . ELECTRICAL WORK UNDER THIS PERMIT = NO . LOCATIONS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), EXTERIOR WORK, ROOF TOP. ¦ SPECIAL CONDITION: CONTACT REFRIGERATION SUPERVISOR CLEMENT GAVIN 312-743-3562, PRIOR TO THE INSTALLATION OF ANY ROOFTOP EQUIPMENT, TO SCHEDULE AN INSPECTION.