## Sheet1
# [LLINE] | PIN* [PARID] | Local Permit No.* [USER28] | Issue Date* [PERMDT] | Desc 1* [DESC1] | Desc 2 Code 1 [USER6] | Desc 2 Code 2 [USER7] | Desc 2 Code 3 [USER8] | Amount* [AMOUNT] | Assessable [IS_ASSESS] | Applicant Street Address* [ADDR1] | Applicant Address 2 [ADDR2] | Applicant City, State, Zip* [ADDR3] | Contact Phone* [PHONE] | Applicant* [USER21] | Notes [NOTE1] | Occupy Dt [UDATE1] | Submit Dt* [CERTDATE] | Est Comp Dt [UDATE2] | user21
1 | 13171010650000 | B200436888 | 8/6/2025 |  |  |  |  | 14800 |  | 6221 W GUNNISON ST |  | CHICAGO, IL |  | MAISONET JAVIER | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 225 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. 13.5 KWH LITHIUM ION ENERGY STORAGE SYSTEM. SPECIFIC LOCATION: EXTERIOR WALL.
2 | 16141020120000 | B200436892 | 8/27/2025 |  |  |  |  | 16000 |  | 3919 W MONROE ST |  | CHICAGO, IL |  | NEGRON EDWARD | FULL REBUILD (SAME AS EXISTING) FOR WOOD PORCH (OPEN) (QUANTITY: 1, LOCATION: REAR OF BUILDING).
3 | 13082200330000 | B200436893 | 8/7/2025 |  |  |  |  | 29928 |  | 5910 W FOSTER AVE |  | CHICAGO, IL |  | MASSETTI VIRGINIA | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 10 KW. ARRAY OUTPUT: 13.12 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES OF HOME. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
4 | 13131320260000 | B200436894 | 8/27/2025 |  |  |  |  | 15000 |  | 4418 N CALIFORNIA AVE |  | CHICAGO, IL |  | WADHWA GAUTAM | FULL REBUILD (SAME AS EXISTING) FOR WOOD PORCH (OPEN) (QUANTITY: 1, LOCATION: REAR OF BUILDING).
5 | 16364260060000 | B200436898 | 8/5/2025 |  |  |  |  | 1200 |  | 3867 S ARCHER AVE |  | CHICAGO, IL |  | MCDONALD'S USA, LLC | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL DATA/VIDEO. SPECIFIC LOCATION: FRONT COUNTER AND FRONT DOOR AREA.
6 | 19263360630000 | B200436899 | 8/6/2025 |  |  |  |  | 22138 |  | 3762 W MYRICK ST |  | CHICAGO, IL |  | ARMAS NORMA | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 10 KW. ARRAY OUTPUT: 9.02 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES OF HOME. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * REFER TO ELECTRICAL PERMIT B200436900.* ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
7 | 19263360630000 | B200436900 | 8/6/2025 |  |  |  |  | 5000 |  | 3762 W MYRICK ST |  | CHICAGO, IL |  | ARMAS NORMA | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. 13.5 KWH LITHIUM ION ENERGY STORAGE SYSTEM. SPECIFIC LOCATION: EXTERIOR WALL.
8 | 11323260130000 | B200436906 | 8/7/2025 |  |  |  |  | 5000 |  | 6450 N NEWGARD AVE |  | CHICAGO, IL |  | WINCK IRIO | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 20 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: REAR HOUSE AND BASEMENT.
9 | 13083180880000 | B200436909 | 8/5/2025 |  |  |  |  | 7340 |  | 4852 N MERRIMAC AVE |  | CHICAGO, IL |  | IVY KENDALL | PURPOSE: NEW/REPLACEMENT INSTALLATION. WOOD FENCE - 6'-0' ' (HEIGHT) X 74'-0' ' (LENGTH). LOCATION: OUTSIDE FENCE.
10 | 16013250290000 | B200436911 | 8/14/2025 |  |  |  |  | 25000 |  | 858 N MOZART ST |  | CHICAGO, IL |  | PEAK PROPERTIES | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 600 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: BASEMENT, ELECTRICAL ROOM.
11 | 17071210150000 | B200436913 | 8/21/2025 |  |  |  |  | 6950 |  | 2025 W OHIO ST |  | CHICAGO, IL |  | TOMES CHRISTOPHER | LIMITED REPAIR (25% OR LESS) FOR WOOD EXTERIOR STAIRWAY (QUANTITY: 1, LOCATION: FRONT OF BUILDING). ACCESSORY BUILDING.
12 | 17213140060000 | B200436916 | 8/7/2025 |  |  |  |  | 800 |  | 2001 S HALSTED ST |  | CHICAGO, IL |  | ADB ENTERTAINMENT INC | LINE VOLTAGE ELECTRICAL WORK. INSTALL TEMPORARY 45 KW DIESEL GENERATOR. INSTALL TEMPORARY 45 KW DIESEL GENERATOR. INSTALL TEMPORARY 45 KW DIESEL GENERATOR. INSTALL TEMPORARY 45 KW DIESEL GENERATOR. RECEPTACLE OUTLETS: 0 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: STREET EVENT.
13 | 13162230080000 | B200436917 | 8/15/2025 |  |  |  |  | 11900 |  | 5158 W AGATITE AVE |  | CHICAGO, IL |  | POP IOAN VIOREL | FULL REBUILD (SAME AS EXISTING) FOR WOOD PORCH (OPEN) (QUANTITY: 1, LOCATION: FRONT OF BUILDING). LANDING: 92 SQUARE FEET. LANDING NOT MORE THAN 6 FEET ABOVE GROUND.
14 | 13083090250000 | B200436921 | 8/5/2025 |  |  |  |  | 4605 |  | 5014 N MELVINA AVE |  | CHICAGO, IL |  | BOOTHROYD HILDA | PURPOSE: NEW/REPLACEMENT INSTALLATION. WOOD FENCE - 6'-0' ' (HEIGHT) X 98'-0' ' (LENGTH). LOCATION: RIGHT AND LEFT SIDE OF PROPERTY.
15 | 25171070190000 | B200436924 | 8/15/2025 |  |  |  |  | 11900 |  | 1442 W 105TH ST |  | CHICAGO, IL |  | WHELAN LEILA | FULL REBUILD (SAME AS EXISTING) FOR WOOD PORCH (OPEN) (QUANTITY: 1, LOCATION: FRONT OF BUILDING). LANDING: 122 SQUARE FEET. LANDING NOT MORE THAN 6 FEET ABOVE GROUND.
16 | 17173250090000 | B200436927 | 8/20/2025 |  |  |  |  | 1000 |  | 1435 W TAYLOR ST |  | CHICAGO, IL |  | SISTO JOSEPHINE | PURPOSE: LEGALIZE UNPERMITTED WORK. WROUGHT IRON FENCE - 6'-0' ' (HEIGHT) X 5'-6' ' (LENGTH). LOCATION: BACK & FRONT GATE.
17 | 09363070390000 | B200436935 | 8/6/2025 |  |  |  |  | 2500 |  | 7708 W NORTH SHORE AVE |  | CHICAGO, IL |  | BRULLE ART | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 12 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: SERVICE UPGRADE.
18 | 25222260280000 | B200436936 | 8/24/2025 |  |  |  |  | 13500 |  | 11406 S ST LAWRENCE AVE |  | CHICAGO, IL |  | COOPER ROBERT | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 750 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: FRONT AND REAR FACADES. ¦ SPECIAL CONDITION: ANY REMOVED MASONRY TO BE SALVAGED AND REINSTALLED WHEN POSSIBLE. ANY NEW MASONRY TO MATCH HISTORIC IN SIZE, COLOR, TEXTURE/FINISH, AND GENERAL APPEARANCE. NEW MORTAR TO MATCH HISTORIC IN COLOR, TEXTURE, STRENGTH/TYPE, AND PROFILE. ALL WORK AND DETAILING TO MATCH EXISTING.
19 | 20363040110000 | B200436938 | 8/6/2025 |  |  |  |  | 10500 |  | 8337 S CREGIER AVE |  | CHICAGO, IL |  | LOPEZ RIGO | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 5 CIRCUITS. RECEPTACLE OUTLETS: 5 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: BASEMENT.
20 | 19132110090000 | B200436939 | 8/6/2025 |  |  |  |  | 100 |  | 5639 S ARTESIAN AVE |  | CHICAGO, IL |  | AVILA EFRIEN | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: BASEMENT AND REAR.
21 | 16093050100000 | B200436943 | 8/15/2025 |  |  |  |  | 3900 |  | 315 N LOCKWOOD AVE |  | CHICAGO, IL |  | RATLIFF KIMBERLY | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 200 SQ. FT., LINTEL QTY. 1, MAX. LENGTH 6. LOCATION: NORTH/WEST FACE BRICKS WALLS/COPING TILES.
22 | 13134010470000 | B200436947 | 8/12/2025 |  |  |  |  | 16236 |  | 2544 W MONTROSE AVE |  | CHICAGO, IL |  | SCIONHEALTH | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL SECURITY. SPECIFIC LOCATION: LOBBY EMPLOYEE ENTRANCE ALLEY ENTRANCE SECLUSION.
23 | 17083210010000 | B200436948 | 8/6/2025 |  |  |  |  | 5000 |  | 1501 W RANDOLPH ST |  | CHICAGO, IL |  | ATTN: DAN COOPER CHICAGO PARK DISTRICT (CPD) | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: UNION PARK.
24 | 14182030340000 | B200436950 | 8/19/2025 |  |  |  |  | 2697 |  | 4704 N HERMITAGE AVE |  | CHICAGO, IL |  | KAPITAL ELECTRIC CO., INC | LINE VOLTAGE ELECTRICAL WORK. ADD 1 CIRCUITS TO EXISTING 200 AMP SERVICE DISCONNECTING MEANS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. ELECTRIC VEHICLE SUPPLY EQUIPMENT:1 SPACES. SPECIFIC LOCATION: GARAGE.
25 | 16102010040000 | B200436952 | 8/6/2025 |  |  |  |  | 96000 |  | 4300 W FERDINAND ST |  | CHICAGO, IL |  | UNIVERSAL MASONRY GROUP INC | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 1500 SQ. FT., LINTEL QTY. 4, MAX. LENGTH 5. LOCATION: SOUTH ELEVATION.
26 | 09362030390000 | B200436954 | 8/20/2025 |  |  |  |  | 4000 |  | 7118 N ODELL AVE |  | CHICAGO, IL |  | KAPITAL ELECTRIC CO., INC | LINE VOLTAGE ELECTRICAL WORK. ADD 1 CIRCUITS TO EXISTING 200 AMP SERVICE DISCONNECTING MEANS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. ELECTRIC VEHICLE SUPPLY EQUIPMENT:1 SPACES. SPECIFIC LOCATION: GARAGE.
27 | 17092170090000 | B200436955 | 8/7/2025 |  |  |  |  | 41300 |  | 154 W ERIE ST |  | CHICAGO, IL |  | ZOCK JENNIFER | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 600 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: WEST ELEVATION.
28 | 12113150190000 | B200436960 | 8/6/2025 |  |  |  |  | 700 |  | 8536 W CARMEN AVE |  | CHICAGO, IL |  | BYK WALENTY | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. 13.5 KWH LITHIUM ION ENERGY STORAGE SYSTEM. SPECIFIC LOCATION: EXTERIOR WALL.
29 | 11304190220000 | B200436962 | 8/6/2025 |  |  |  |  | 36490 |  | 1830 W CHASE AVE |  | CHICAGO, IL |  | HAGUE EVAN | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 20'-0' ' X18'-0' '. GABLE ROOF HEIGHT TO PEAK: 14'-0' '.
30 | 17032050010000 | B200436964 | 8/6/2025 |  |  |  |  | 5000 |  | 1001 N LAKE SHORE DR |  | CHICAGO, IL |  | ATTN: DAN COOPER CHICAGO PARK DISTRICT (CPD) | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: OAK STREET BEACH.
31 | 25054100060000 | B200436968 | 8/7/2025 |  |  |  |  | 14890 |  | 9211 S SANGAMON ST |  | CHICAGO, IL |  | DRAKES NIA | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 1100 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: MASONRY BRICK REPAIRS ON ALL ELEVATIONS.
32 | 13021180160000 | B200436969 | 8/11/2025 |  |  |  |  | 39300 |  | 6148 N HAMLIN AVE |  | CHICAGO, IL |  | SMAILOVIC MIRZA | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 25'-0' ' X24'-0' '. GABLE ROOF HEIGHT TO PEAK: 14'-6' '.
33 | 20142190060000 | B200436975 | 8/7/2025 |  |  |  |  | 14779 |  | 5815 S KIMBARK AVE |  | CHICAGO, IL |  | THE | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL SECURITY. SPECIFIC LOCATION: 1ST FLOOR CORNER.
34 | 14283010170000 | B200436979 | 8/13/2025 |  |  |  |  | 255000 |  | 639 W DIVERSEY PKWY |  | CHICAGO, IL |  | GODINEZ SUSAN | SCOPE: ROOF REPLACEMENT. AREA: 10500 SQ. FT. ROOF COVERING: OTHER. LOCATION: ROOFING. IL ROOFING CONTRACTOR LICENSE: 104017674.
35 | 17343270110000 | B200436980 | 8/27/2025 |  |  |  |  | 11000 |  | 3835 S CALUMET AVE |  | CHICAGO, IL |  | MAYNARD MIA | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 20'-0' ' X19'-0' '. GABLE ROOF HEIGHT TO PEAK: 11'-5' '. ¦ SPECIAL CONDITION: NEW GARAGE PER DRAWINGS
36 | 26172030010000 | B200436982 | 8/6/2025 |  |  |  |  | 21700 |  | 4001 E 106TH ST |  | CHICAGO, IL |  | BAR INC CROW | SCOPE: ROOF RECOVER. AREA: 5000 SQ. FT. ROOF COVERING: BUILT-UP ROOF. LOCATION: ROOFING. IL ROOFING CONTRACTOR LICENSE: 104018740.
37 | 17032270230000 | B200436985 | 8/12/2025 |  |  |  |  | 401384 |  | 222 E PEARSON ST |  | CHICAGO, IL |  | 222 EAST PEARSON CONDO ASSOCIATION | CONCRETE MASONRY REPAIR / REPLACEMNT: 1250SQ. FT., EXCAVATION = NO. LOCATION: GARAGE.
38 | 20184240430000 | B200436986 | 8/7/2025 |  |  |  |  | 29248 |  | 6214 S WINCHESTER AVE |  | CHICAGO, IL |  | COBOS ALEJANDRO | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 24'-0' ' X19'-0' '. HIP ROOF HEIGHT TO PEAK: 13'-0' '.
39 | 13091300020000 | B200437000 | 8/11/2025 |  |  |  |  | 5670 |  | 5351 N LYNCH AVE |  | CHICAGO, IL |  | NEPAL RAGHBENDRA | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 4.48 KW. ARRAY OUTPUT: 5.67 KW. LOCATION: ROOF OF HOME. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0495. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * PLEASE APPLY FOR ELECTRICAL PERMIT PRIOR TO SOLAR INSPECTION AND HAVE PRESENT ON DATE OF INSPECTION OR RISK FAILURE AS PROPOSED WORK PER ELECTRICAL DRAWING.* ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
40 | 16251070040000 | B200437005 | 8/14/2025 |  |  |  |  | 1000 |  | 2311 S KEDZIE AVE |  | CHICAGO, IL |  | 2 FM FLEET AND FACILITY MANAGEMENT | LINE VOLTAGE ELECTRICAL WORK. ADD 2 CIRCUITS TO EXISTING 200 AMP SERVICE DISCONNECTING MEANS. RECEPTACLE OUTLETS: 2 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: BATHROOM 1ST FLOOR.
41 | 16152120190000 | B200437008 | 8/14/2025 |  |  |  |  | 32368 |  | 4311 W ADAMS ST |  | CHICAGO, IL |  | MILLARD JAMIE | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: LOW-SLOPED (<2:12). INVERTER OUTPUT: 4.64 KW. ARRAY OUTPUT: 6.8 KW. LOCATION: EXISTING ROOF OF PRINCIPAL STRUCTURE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #23-0387. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * PLEASE PROVIDE NOTARIZED LETTER FROM OWNER & BUILDING MANAGEMENT WITH APPROVAL OF SOLAR INSTALLATION OF PROPOSED WORK ON BUILDING STRUCTURE AT THE TIME OF SOLAR INSPECTION OR RISK FAILURE AS PROPOSED WORK PER ELECTRICAL DRAWING.* ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
42 | 17073030200000 | B200437011 | 8/19/2025 |  |  |  |  | 15000 |  | 300 N LEAVITT ST |  | CHICAGO, IL |  | VULICH DENIS | PURPOSE: LEGALIZE UNPERMITTED WORK. WROUGHT IRON FENCE - 6'-8' ' (HEIGHT) X 125'-0' ' (LENGTH). LOCATION: EXTERIOR FENCE.
43 | 17322170320000 | B200437012 | 8/11/2025 |  |  |  |  | 7200 |  | 3343 S ABERDEEN ST |  | CHICAGO, IL |  | HENDRICKSON MATTHEW | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: STEEP (>5:12). INVERTER OUTPUT: 6.08 KW. ARRAY OUTPUT: 7.2 KW. LOCATION: ROOF OF HOME. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0495. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * REFER TO ELECTRICAL PERMIT B200437016.* ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
44 | 25091080230000 | B200437013 | 8/12/2025 |  |  |  |  | 2500 |  | 9655 S HALSTED ST |  | CHICAGO, IL |  | THURMAN SHIRLEY | REPAIR OR IN-KIND REPLACEMENT OF 0 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. REPAIR OR IN-KIND REPLACEMENT OF HOT WATER HEATER(S). LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), BASEMENT.
45 | 25091080230000 | B200437014 | 8/12/2025 |  |  |  |  | 6500 |  | 9655 S HALSTED ST |  | CHICAGO, IL |  | THURMAN SHIRLEY | REPAIR/REPLACEMENT AFFECTING 2 SYSTEMS : 1 OTHER COOLING EQUIPMENT(BACKYARD, MITSUBISHI SUZ-AK36NLHZ) 1 OTHER AIR HANDLING EQUIPMENT(BASEMENT, MITSUBISHI SVZ-AP36NL) . ELECTRICAL WORK UNDER THIS PERMIT = NO . LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), EXTERIOR WORK, BASEMENT AND BACKYARD.
46 | 17322170320000 | B200437016 | 8/13/2025 |  |  |  |  | 9600 |  | 3343 S ABERDEEN ST |  | CHICAGO, IL |  | HENDRICKSON MATTHEW | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 400 AMP SERVICE DISCONNECTING MEANS WITH 84 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: BASEMENT & OUTSIDE AT UTILITY METER.
47 | 17032280040000 | B200437017 | 8/26/2025 |  |  |  |  | 35000 |  | 850 N LAKE SHORE DR |  | CHICAGO, IL |  | 850 NORTH LAKESHORE PROPERTY, LLC | SCOPE: NONSTRUCTURAL INTERIOR ALTERATION TO REPLACE KITCHEN COUNTERTOPS, PLUMBING FIXTURES, AND LIGHTING. REMODEL TWO BATHROOMS, TILE, AND LIGHT FIXTURES, ADD CEILING J-BOXES IN BEDROOMS, CHANGE TUB TO SHOWER. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), UNIT 1907.
48 | 25091080230000 | B200437018 | 8/12/2025 |  |  |  |  | 10000 |  | 9655 S HALSTED ST |  | CHICAGO, IL |  | THURMAN SHIRLEY | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 6 CIRCUITS. RECEPTACLE OUTLETS: 5 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: BASEMENT AND BACKYARD.
49 | 16224170350000 | B200437020 | 8/15/2025 |  |  |  |  | 4500 |  | 4306 W 21ST ST |  | CHICAGO, IL |  | SKORA MIROSLAW | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 200 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: EXTERIOR REPLACE DAMAGE BRICK FRONT OF HOUSE.
50 | 19222080080000 | B200437031 | 8/6/2025 |  |  |  |  | 22595 |  | 6423 S KOSTNER AVE |  | CHICAGO, IL |  | SANCHEZ JUSTIN/MARIA | SCOPE: ROOF REPLACEMENT. AREA: 1919 SQ. FT. ROOF COVERING: ASPHALT SHINGLES. LOCATION: HOUSE AND GARAGE. IL ROOFING CONTRACTOR LICENSE: 104.01899.
51 | 20323070290000 | B200437037 | 8/8/2025 |  |  |  |  | 1200 |  | 8426 S JUSTINE ST |  | CHICAGO, IL |  | HAWTHORNE DANA | PURPOSE: NEW/REPLACEMENT INSTALLATION. VINYL/PVC FENCE - 6'-0' ' (HEIGHT) X 72'-0' ' (LENGTH). LOCATION: FRONTYARD/BACKYARD.
52 | 17094550090000 | B200437049 | 8/12/2025 |  |  |  |  | 3500 |  | 225 W WASHINGTON ST |  | CHICAGO, IL |  | 225 WASHINGTON LLC | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. ALTER EXISTING SECURITY. ALTER EXISTING SECURITY. SPECIFIC LOCATION: SUITE 300.
53 | 20072020010000 | B200437056 | 8/8/2025 |  |  |  |  | 100000 |  | 1855 W 47TH ST |  | CHICAGO, IL |  | GRANADOS CARLOS | SCOPE: ROOF REPLACEMENT. AREA: 2300 SQ. FT. ROOF COVERING: MINERAL - SURFACED ROLL ROOFING. LOCATION: WORKING ON ROOF. IL ROOFING CONTRACTOR LICENSE: 104019660.
54 | 26171040210000 | B200437057 | 8/7/2025 |  |  |  |  | 14348 |  | 10653 S EWING AVE |  | CHICAGO, IL |  | SANCHEZ OSCAR | INSTALL SOLAR PANELS ON ROOF OF ACCESSORY BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 10 KW. ARRAY OUTPUT: 4.92 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES OF DETACHED GARAGE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * UNDERGROUND RACEWAY TO BE INSPECTED BY AHJ PRIOR TO COVERING. * REFER TO ELECTRICAL PERMIT B200437064.* ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
55 | 16151040160000 | B200437059 | 8/15/2025 |  |  |  |  | 2000 |  | 4715 W MONROE ST |  | CHICAGO, IL |  | PERRY ANTHONY | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 50 SQ. FT., LINTEL QTY. 3, MAX. LENGTH 5. LOCATION: FRONT FACADE.
56 | 19202080470000 | B200437063 | 8/12/2025 |  |  |  |  | 6000 |  | 5900 W 64TH PL |  | CHICAGO, IL |  | RODEA ORLANDO | SCOPE: ROOF RECOVER. AREA: 28 SQ. FT. ROOF COVERING: ASPHALT SHINGLES. LOCATION: ROOFING. IL ROOFING CONTRACTOR LICENSE: 104017203.
57 | 26171040210000 | B200437064 | 8/7/2025 |  |  |  |  | 420 |  | 10653 S EWING AVE |  | CHICAGO, IL |  | SANCHEZ OSCAR | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 125 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. 13.5 KWH LITHIUM ION ENERGY STORAGE SYSTEM. SPECIFIC LOCATION: EXTERIOR WALL.
58 | 13214070740000 | B200437069 | 8/13/2025 |  |  |  |  | 8000 |  | 3400 N CICERO AVE |  | CHICAGO, IL |  | DROVZOS DIMITRIOS | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 400 AMP SERVICE DISCONNECTING MEANS WITH 20 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: BASEMENT.
59 | 19362160330000 | B200437072 | 8/6/2025 |  |  |  |  | 4000 |  | 8116 S FAIRFIELD AVE |  | CHICAGO, IL |  | BLACKMON SHANITHA | SCOPE: ROOF REPLACEMENT. AREA: 400 SQ. FT. ROOF COVERING: MINERAL - SURFACED ROLL ROOFING. LOCATION: REAR LOW SLOPE ROOF REPLACEMENT. IL ROOFING CONTRACTOR LICENSE: 104019683.
60 | 17094560010000 | B200437080 | 8/6/2025 |  |  |  |  | 7500 |  | 1 N FRANKLIN ST |  | CHICAGO, IL |  | VESTGEN WEALTH PARTNERS | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL SECURITY. SPECIFIC LOCATION: FLOOR 18.
61 | 19132240390000 | B200437081 | 8/21/2025 |  |  |  |  | 6000 |  | 2534 W 59TH ST |  | CHICAGO, IL |  | JABER AKRAM | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 700 SQ. FT., LINTEL QTY. 7, MAX. LENGTH 5. LOCATION: FRONT FACADE.
62 | 13333150160000 | B200437083 | 8/6/2025 |  |  |  |  | 5000 |  | 1715 N LONG AVE |  | CHICAGO, IL |  | ZMORA ALEXIS | PURPOSE: LEGALIZE UNPERMITTED WORK. VINYL/PVC FENCE - 6'-0' ' (HEIGHT) X 60'-0' ' (LENGTH). LOCATION: BACKYARD.
63 | 20342230170000 | B200437087 | 8/12/2025 |  |  |  |  | 3900 |  | 740 E 82ND ST |  | CHICAGO, IL |  | JOHNSON ROBERT | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 20 SQ. FT., LINTEL QTY. 1, MAX. LENGTH 4. LOCATION: AROUND THE WINDOWS.
64 | 20324020190000 | B200437090 | 8/22/2025 |  |  |  |  | 1500 |  | 8359 S ABERDEEN ST |  | CHICAGO, IL |  | BLOOMBERG SHLOMO | LINE VOLTAGE ELECTRICAL WORK. ALTER EXISTING SYSTEM III EMERGENCY LIGHTING. RECEPTACLE OUTLETS: 0 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: APARTMENTS AND COMMOM HALLWAYS AND BASEMENT.
65 | 13253160320000 | B200437094 | 8/6/2025 |  |  |  |  | 17000 |  | 2506 N RICHMOND ST |  | CHICAGO, IL |  | JANAIRO ANTHONY | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 300 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: NORTH WALL.
66 | 20171130030000 | B200437097 | 8/15/2025 |  |  |  |  | 3000 |  | 5607 S ADA ST |  | CHICAGO, IL |  | MUNOO YOMAIRA | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 0 . LIGHTING OUTLETS: 4. SPECIFIC LOCATION: REAR PART OF THE BUILDING.
67 | 13021080100000 | B200437108 | 8/11/2025 |  |  |  |  | 5400 |  | 6225 N HARDING AVE |  | CHICAGO, IL |  | DOOLEY RYAN | INSTALL SOLAR PANELS ON ROOF OF ACCESSORY BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 4.56 KW. ARRAY OUTPUT: 5.4 KW. LOCATION: ROOF OF DETACHED GARAGE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0495. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018.* ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
68 | 17032070220000 | B200437111 | 8/7/2025 |  |  |  |  | 18000 |  | 109 E OAK ST |  | CHICAGO, IL |  | MAGDAN CONSTRUCTION INC | SCOPE: ROOF REPLACEMENT. AREA: 2200 SQ. FT. ROOF COVERING: BUILT-UP ROOF. LOCATION: REPLACE ROOF TO WALL FLASHING. IL ROOFING CONTRACTOR LICENSE: 104016500.
69 | 13194220260000 | B200437115 | 8/7/2025 |  |  |  |  | 2000 |  | 3308 N NEENAH AVE |  | CHICAGO, IL |  | LECH ZDZISLAW | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 42 CIRCUITS. RECEPTACLE OUTLETS: 3 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: CHICAGO.
70 | 13161080190000 | B200437117 | 8/15/2025 |  |  |  |  | 11700 |  | 5442 W LELAND AVE |  | CHICAGO, IL |  | TOGE ADAM | FULL REBUILD (SAME AS EXISTING) FOR WOOD PORCH (OPEN) (QUANTITY: 1, LOCATION: FRONT OF BUILDING). LANDING: 133 SQUARE FEET. LANDING NOT MORE THAN 6 FEET ABOVE GROUND.
71 | 13353080220000 | B200437120 | 8/7/2025 |  |  |  |  | 7550 |  | 1848 N SPRINGFIELD AVE |  | CHICAGO, IL |  | MALDONADO CAITLIN | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 125 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. 13.5 KWH LITHIUM ION ENERGY STORAGE SYSTEM. SPECIFIC LOCATION: EXTERIOR WALL, MAIN PANEL REPLACEMENT.
72 | 25211080310000 | B200437123 | 8/7/2025 |  |  |  |  | 5000 |  | 11244 S EMERALD AVE |  | CHICAGO, IL |  | ORONSAYE VANESSA | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 21 AMP SERVICE DISCONNECTING MEANS WITH 2 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: SOUTHWEST SIDE OF THE HOUSE.
73 | 17041300410000 | B200437127 | 8/12/2025 |  |  |  |  | 146080 |  | 1244 N CLYBOURN AVE |  | CHICAGO, IL |  | MERCY HOUSING LAKEFRONT | HYDRONIC PIPING EXTENSION/RECONFIGURATION, REPAIR/REPLACEMENT AFFECTING 1 SYSTEMS : 1 CHILLER(QUANTECH, QTC3070TSJ17XF, EXTERIOR ON GRADE) . ELECTRICAL WORK UNDER THIS PERMIT = YES . LOCATIONS: 0 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), EXTERIOR WORK, PARKING LOT.
74 | 20342210250000 | B200437129 | 8/7/2025 |  |  |  |  | 5000 |  | 8130 S LANGLEY AVE |  | CHICAGO, IL |  | VOLTZ & ASSOCIATES ENTERPRIZE LLC | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 6 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: OUTSIDE SERVICE.
75 | 13264290040000 | B200437130 | 8/14/2025 |  |  |  |  | 10000 |  | 3225 W ALTGELD ST |  | CHICAGO, IL |  | PARAPET HOME, LLC. | FULL REBUILD (SAME AS EXISTING) FOR WOOD PORCH (OPEN) (QUANTITY: 2, LOCATION: FRONT OF BUILDING). LANDING: 30 SQUARE FEET. LANDING NOT MORE THAN 6 FEET ABOVE GROUND. CONCRETE WORK.
76 | 13124130100000 | B200437136 | 8/27/2025 |  |  |  |  | 25000 |  | 4915 N WASHTENAW AVE |  | CHICAGO, IL |  | POOL MARK | FULL REBUILD (SAME AS EXISTING) FOR WOOD PORCH (OPEN) (QUANTITY: 1, LOCATION: REAR OF BUILDING).
77 | 16123110300000 | B200437144 | 8/8/2025 |  |  |  |  | 1200 |  | 250 N CALIFORNIA AVE |  | CHICAGO, IL |  | CHICAGO URBAN ESTATE LLC | REPAIR OR IN-KIND REPLACEMENT OF 1 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. INCLUDES REPAIR OR REPLACMENT OF PLUMBING PIPING. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 1 INTERIOR COMMON AREAS, BASEMENT.
78 | 13162080330000 | B200437146 | 8/11/2025 |  |  |  |  | 11000 |  | 4624 N LEAMINGTON AVE |  | CHICAGO, IL |  | ARNOLD JOHN | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 40 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: BASEMENT.
79 | 11311020270000 | B200437150 | 8/15/2025 |  |  |  |  | 60000 |  | 2114 W ESTES AVE |  | CHICAGO, IL |  | ARMENDARIZ MARK | SCOPE: NONSTRUCTURAL INTERIOR ALTERATION WITHIN BASEMENT AND KITCHEN ELECTRICAL AND PLUMBING. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), KITCHEN AND BASEMENT.
80 | 21313140020000 | B200437151 | 8/7/2025 |  |  |  |  | 22304 |  | 8405 S MARQUETTE AVE |  | CHICAGO, IL |  | COLLINS JEANNETTE | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 20'-0' ' X20'-0' '. HIP ROOF HEIGHT TO PEAK: 13'-0' '.
81 | 13211230190000 | B200437157 | 8/13/2025 |  |  |  |  | 940 |  | 5201 W WARWICK AVE |  | CHICAGO, IL |  | RANZINO VALERIE | PURPOSE: NEW/REPLACEMENT INSTALLATION. VINYL/PVC FENCE - 6'-0' ' (HEIGHT) X 77'-0' ' (LENGTH). LOCATION: EASTERN SIDE WHEN FACING PROPERTY..
82 | 16234230050000 | B200437161 | 8/7/2025 |  |  |  |  | 29000 |  | 2117 S ST LOUIS AVE |  | CHICAGO, IL |  | WESTLAWN GOSPEL CHAPEL | SCOPE: ROOF REPLACEMENT. AREA: 1000 SQ. FT. ROOF COVERING: MINERAL - SURFACED ROLL ROOFING. LOCATION: ROOFTOP. IL ROOFING CONTRACTOR LICENSE: 104000394.
83 | 13041090290000 | B200437163 | 8/18/2025 |  |  |  |  | 20734 |  | 6237 N NAVAJO AVE |  | CHICAGO, IL |  | STENSLAND MICHAEL | LINE VOLTAGE ELECTRICAL WORK. INSTALL PERMANENT-REQUIRED BY CODE 26 KW OTHER GENERATOR. RECEPTACLE OUTLETS: 0 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: BACK OF HOUSE.
84 | 19171150450000 | B200437166 | 8/7/2025 |  |  |  |  | 30360 |  | 5655 S MCVICKER AVE |  | CHICAGO, IL |  | BLOCK JOHN | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 24'-0' ' X22'-0' '. HIP ROOF HEIGHT TO PEAK: 12'-0' '.
85 | 20171080390000 | B200437168 | 8/11/2025 |  |  |  |  | 13000 |  | 5644 S JUSTINE ST |  | CHICAGO, IL |  | NUNEZ HUGO | SCOPE: ROOF REPAIR. AREA: 1450 SQ. FT. ROOF COVERING: ASPHALT SHINGLES. LOCATION: ROOF REPLACEMENT ALL WORK SAE. IL ROOFING CONTRACTOR LICENSE: 104005880.
86 | 20234120710000 | B200437170 | 8/7/2025 |  |  |  |  | 12900 |  | 1350 E 70TH ST |  | CHICAGO, IL |  | THE MONASTERY FOUNDATION | PURPOSE: NEW/REPLACEMENT INSTALLATION. WROUGHT IRON FENCE - 6'-0' ' (HEIGHT) X 100'-0' ' (LENGTH). LOCATION: 1350 E. 70TH STREET.
87 | 20323070290000 | B200437172 | 8/13/2025 |  |  |  |  | 15200 |  | 8426 S JUSTINE ST |  | CHICAGO, IL |  | HAWTHORNE DANA | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 3.8 KW. ARRAY OUTPUT: 3.24 KW. LOCATION: SOLAR ROOFTOP INSTALL ON HOUSE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-1231. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
88 | 17094420010000 | B200437176 | 8/7/2025 |  |  |  |  | 23000 |  | 101 N WACKER DR |  | CHICAGO, IL |  | BAEV-LASALLE CHICAGO NORTH WACKER DRIVE, LLC | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL SECURITY. SPECIFIC LOCATION: 21ST & 22ND FLOORS.
89 | 25084180190000 | B200437179 | 8/7/2025 |  |  |  |  | 700 |  | 10151 S ABERDEEN ST |  | CHICAGO, IL |  | HOOD ED | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 2. SPECIFIC LOCATION: BEDROOM.
90 | 17084060130000 | B200437180 | 8/8/2025 |  |  |  |  | 1000 |  | 360 N GREEN ST |  | CHICAGO, IL |  | 360 N GREEN RESTAURANT LLC | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL DATA/VIDEO. SPECIFIC LOCATION: 1ST FLOOR.
91 | 24132170030000 | B200437187 | 8/11/2025 |  |  |  |  | 44266 |  | 10409 S ARTESIAN AVE |  | CHICAGO, IL |  | MITCHELL JACOB | INSTALL SOLAR PANELS ON ROOF OF ACCESSORY BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 12.48 KW. ARRAY OUTPUT: 16.575 KW. LOCATION: ROOFING. ICC DISTRIBUTED GENERATION INSTALLER CERT. #25-0056. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * REFER TO SOLAR (PRINCIPAL) PERMIT B200436815.* UNDERGROUND RACEWAY TO BE INSPECTED BY AHJ PRIOR TO COVERING. * ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
92 | 25132030460000 | B200437189 | 8/14/2025 |  |  |  |  | 6500 |  | 10643 S HOXIE AVE |  | CHICAGO, IL |  | CASTANEDA ALTAGRACIA | SCOPE: NONSTRUCTURAL INTERIOR REPLACEMENT OF INTERIOR FLOORS, PATCH AND REPAIR WALLS, UNDER 1000 SQ FT OF DRYWALL REPLACEMENT, NO CHANGE TO FLOOR PLAN, NO ELECTRICAL OR PLUMBING WORK.LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), PAINT, REMOVE GARBAGE
93 | 14202220100000 | B200437190 | 8/12/2025 |  |  |  |  | 2000 |  | 836 W BRADLEY PL |  | CHICAGO, IL |  | WEYERMULLER JAMIE | LIMITED REPAIR (25% OR LESS) FOR WOOD PORCH (OPEN) (QUANTITY: 1, LOCATION: EAST SIDE OF BUILDING). LANDING: 35 SQUARE FEET. LANDING NOT MORE THAN 6 FEET ABOVE GROUND.
94 | 13331110290000 | B200437192 | 8/7/2025 |  |  |  |  | 1000 |  | 2134 N LATROBE AVE |  | CHICAGO, IL |  | CASTILLO ENRIQUE | SCOPE: NONSTRUCTURAL INTERIOR REMOVAL OF UNPERMITTED RESIDENTIAL UNIT FEATURES - DECONVERT BASEMENT, RETURN TO OPEN BASEMENT WITH FULL BATH WITHIN A SINGLE-FAMILY HOME, CAP AND REMOVE KITCHEN PLUMBING, REMOVE APPLIANCES AND CABINETS. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), BASEMENT ONLY.
95 | 16104090190000 | B200437205 | 8/18/2025 |  |  |  |  | 7800 |  | 4238 W MAYPOLE AVE |  | CHICAGO, IL |  | DAVIS VICTORIA | REPAIR OR IN-KIND REPLACEMENT OF 1 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. INCLUDES REPAIR OR REPLACMENT OF PLUMBING PIPING. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 1 INTERIOR COMMON AREAS, BASEMENT.
96 | 13253050100000 | B200437206 | 8/11/2025 |  |  |  |  | 6400 |  | 2903 W DIVERSEY AVE |  | CHICAGO, IL |  | CAPLEESA BENNY | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 800 SQ. FT., LINTEL QTY. 1, MAX. LENGTH 4. LOCATION: FRONT OF BUILDING.
97 | 13323140310000 | B200437207 | 8/27/2025 |  |  |  |  | 16000 |  | 1718 N AUSTIN AVE |  | CHICAGO, IL |  | GARDNER DOROTHY | FULL REBUILD (SAME AS EXISTING) FOR WOOD PORCH (OPEN) (QUANTITY: 1, LOCATION: REAR OF BUILDING).
98 | 25093270390000 | B200437211 | 8/8/2025 |  |  |  |  | 18243 |  | 602 W 103RD ST |  | CHICAGO, IL |  | JACKSON PETER | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 10 KW. ARRAY OUTPUT: 6.97 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES OF HOME. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * REFER TO ELECTRICAL PERMIT B200437220.* ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
99 | 25093270390000 | B200437220 | 8/15/2025 |  |  |  |  | 5000 |  | 602 W 103RD ST |  | CHICAGO, IL |  | JACKSON PETER | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. 13.5 KWH LITHIUM ION ENERGY STORAGE SYSTEM. SPECIFIC LOCATION: EXTERIOR WALL.
100 | 14294100090000 | B200437221 | 8/14/2025 |  |  |  |  | 5500 |  | 2642 N LINCOLN AVE |  | CHICAGO, IL |  | NEDBALSKI MARY | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 5 . LIGHTING OUTLETS: 5. SPECIFIC LOCATION: FIRST FLOOR.
101 | 13233020010000 | B200437224 | 8/25/2025 |  |  |  |  | 5800 |  | 3757 W ADDISON ST |  | CHICAGO, IL |  | NXT REALTY DEVELOPMENT LLC | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 80 SQ. FT., LINTEL QTY. 2, MAX. LENGTH 9. LOCATION: EXTERIOR MASONRY REPAIRS AT NORTH & WEST SIDE BLDG.
102 | 19083090710000 | B200437225 | 8/8/2025 |  |  |  |  | 22138 |  | 5238 S MOBILE AVE |  | CHICAGO, IL |  | WINKLER STANLEY | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 10 KW. ARRAY OUTPUT: 5.33 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES OF HOME. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * REFER TO SOLAR (ACCESSORY) PERMIT B200437227 AND ELECTRICAL PERMIT B200437229.* UNDERGROUND RACEWAY TO BE INSPECTED BY AHJ PRIOR TO COVERING.* ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
103 | 19083090710000 | B200437227 | 8/8/2025 |  |  |  |  | 7011 |  | 5238 S MOBILE AVE |  | CHICAGO, IL |  | WINKLER STANLEY | INSTALL SOLAR PANELS ON ROOF OF ACCESSORY BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 10 KW. ARRAY OUTPUT: 3.69 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES OF DETACHED GARAGE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * REFER TO SOLAR (PRINCIPAL) PERMIT B200437225 AND ELECTRICAL PERMIT B200437229.* UNDERGROUND RACEWAY TO BE INSPECTED BY AHJ PRIOR TO COVERING.* ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
104 | 25281230180000 | B200437228 | 8/8/2025 |  |  |  |  | 22138 |  | 12100 S STEWART AVE |  | CHICAGO, IL |  | COTTON CRYSTAL | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 10 KW. ARRAY OUTPUT: 9.02 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES OF HOME. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * REFER TO ELECTRICAL PERMIT B200436779.* ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
105 | 19083090710000 | B200437229 | 8/7/2025 |  |  |  |  | 5680 |  | 5238 S MOBILE AVE |  | CHICAGO, IL |  | WINKLER STANLEY | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. 13.5 KWH LITHIUM ION ENERGY STORAGE SYSTEM. SPECIFIC LOCATION: EXTERIOR WALL, TRENCHING.
106 | 13273140040000 | B200437231 | 8/7/2025 |  |  |  |  | 24300 |  | 4551 W WRIGHTWOOD AVE |  | CHICAGO, IL |  | GARCIA LIVING TRUST | SCOPE: ROOF REPLACEMENT. AREA: 2400 SQ. FT. ROOF COVERING: ASPHALT SHINGLES. LOCATION: ON ROOF. IL ROOFING CONTRACTOR LICENSE: 104020395.
107 | 14324090320000 | B200437236 | 8/14/2025 |  |  |  |  | 48000 |  | 837 W ARMITAGE AVE |  | CHICAGO, IL |  | HUCKBERRY | LINE VOLTAGE ELECTRICAL WORK. ADD 21 CIRCUITS TO EXISTING 200 AMP SERVICE DISCONNECTING MEANS. RECEPTACLE OUTLETS: 11 . LIGHTING OUTLETS: 14. SPECIFIC LOCATION: GROUND FLOOR RETAIL SPACE.
108 | 14332100030000 | B200437238 | 8/12/2025 |  |  |  |  | 10000 |  | 1746 N STOCKTON DR |  | CHICAGO, IL |  | CHICAGO SPECIAL EVENTS MANAGEMENT | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: FRONT.
109 | 20072050390000 | B200437240 | 8/27/2025 |  |  |  |  | 14000 |  | 1710 W 48TH ST |  | CHICAGO, IL |  | JOSEPH SHANAE | FULL REBUILD (SAME AS EXISTING) FOR WOOD PORCH (OPEN) (QUANTITY: 1, LOCATION: REAR OF BUILDING).
110 | 20083160370000 | B200437251 | 8/12/2025 |  |  |  |  | 6000 |  | 1540 W GARFIELD BLVD |  | CHICAGO, IL |  | GALAN ALFONSO | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 100 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. PARAPET REBUILDING: 20 SQ. FT. LOCATION: WEST AND EAST ELEVATION (EXTERIOR WALLS).
111 | 26063050540000 | B200437263 | 8/8/2025 |  |  |  |  | 5500 |  | 9134 S MARQUETTE AVE |  | CHICAGO, IL |  | HALE MARVIN | REPAIR OR IN-KIND REPLACEMENT OF 5 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. INCLUDES REPAIR OR REPLACMENT OF PLUMBING PIPING. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), BASEMENT.
112 | 20262210330000 | B200437268 | 8/21/2025 |  |  |  |  | 36000 |  | 7336 S BLACKSTONE AVE |  | CHICAGO, IL |  | ADDISON JENNY | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 500 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: PARAPET, CHIMNEY, REAR PORCH.
113 | 13092170040000 | B200437275 | 8/8/2025 |  |  |  |  | 2800 |  | 5320 N ELSTON AVE |  | CHICAGO, IL |  | NICOLANDIS GREGORY | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 120 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: FRONT FACADE.
114 | 13363030210000 | B200437278 | 8/22/2025 |  |  |  |  | 25000 |  | 3017 W ARMITAGE AVE |  | CHICAGO, IL |  | BABE'S SPORTS BAR LLC | REPAIR OR IN-KIND REPLACEMENT OF 12 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. INCLUDES REPAIR OR REPLACMENT OF PLUMBING PIPING. LOCATIONS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), 3017 STOREFRONT WITHIN 3009 BUILDING. ¦ SPECIAL CONDITION: NO EXTERIOR WORK.
115 | 16052230330000 | B200437279 | 8/12/2025 |  |  |  |  | 3226 |  | 1310 N CENTRAL AVE |  | CHICAGO, IL |  | LAWYER JUDY | PURPOSE: NEW/REPLACEMENT INSTALLATION. CHAIN LINK FENCE - 6'-0' ' (HEIGHT) X 30'-0' ' (LENGTH). LOCATION: REAR SIDE OF THE PROPERTY.
116 | 17182500150000 | B200437280 | 8/18/2025 |  |  |  |  | 1177135 |  | 1653 W CONGRESS PKWY |  | CHICAGO, IL |  | RUSH UNIVERSITY MEDICAL CENTER | SCOPE: ROOF REPLACEMENT. AREA: 17300 SQ. FT.ROOF COVERING: BUILT-UP ROOF.LOCATION: NORTH ATRIUM ROOF.IL ROOFING CONTRACTOR LICENSE: 104000134.
117 | 19251120190000 | B200437281 | 8/8/2025 |  |  |  |  | 5700 |  | 7255 S SACRAMENTO AVE |  | CHICAGO, IL |  | TOWERS TORY | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 225 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. 13.5 KWH LITHIUM ION ENERGY STORAGE SYSTEM. SPECIFIC LOCATION: EXTERIOR WALL, SERVICE CONDUCTOR, SPAN MAIN PANEL.
118 | 13031190390000 | B200437282 | 8/19/2025 |  |  |  |  | 1000 |  | 6100 N KILPATRICK AVE |  | CHICAGO, IL |  | ZOLL JACOB | PURPOSE: NEW/REPLACEMENT INSTALLATION. CHAIN LINK FENCE - 6'-0' ' (HEIGHT) X 170'-0' ' (LENGTH). LOCATION: FRONT FACADES.
119 | 26182130770000 | B200437283 | 8/8/2025 |  |  |  |  | 5000 |  | 10836 S GREEN BAY AVE |  | CHICAGO, IL |  | AGUILERA JOSE | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 125 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. 13.5 KWH LITHIUM ION ENERGY STORAGE SYSTEM. SPECIFIC LOCATION: EXTERIOR WALL, METER, PANEL, SERVICE CONDUCTORS.
120 | 12242200480000 | B200437284 | 8/8/2025 |  |  |  |  | 10480 |  | 3764 N OKETO AVE |  | CHICAGO, IL |  | RAMOS CHITO | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. 13.5 KWH LITHIUM ION ENERGY STORAGE SYSTEM. SPECIFIC LOCATION: EXTERIOR WALL, TRENCHING.
121 | 13031190390000 | B200437286 | 8/27/2025 |  |  |  |  | 5000 |  | 6100 N KILPATRICK AVE |  | CHICAGO, IL |  | ZOLL JACOB | IN-KIND REPLACEMENT OF EXTERIOR WINDOWS AND DOORS IN EXISTING OPENINGS. REPLACEMENT WINDOWS: 33; REPLACEMENT SKYLIGHTS: 0; REPLACEMENT DOORS: 4. AFFECTS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), LOCATION: 1ST AND 2ND FLOORS.
122 | 13344150190000 | B200437287 | 8/18/2025 |  |  |  |  | 4000 |  | 1854 N PULASKI RD |  | CHICAGO, IL |  | SUAREZ GUSTAVO | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: INTERIOR.
123 | 17313070060000 | B200437296 | 8/25/2025 |  |  |  |  | 1000 |  | 2013 W 35TH ST |  | CHICAGO, IL |  | WU YUAN | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 42 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: BACK OF BUILDING WALL.
124 | 13353050180000 | B200437302 | 8/11/2025 |  |  |  |  | 22800 |  | 1927 N LAWNDALE AVE |  | CHICAGO, IL |  | RHYU CAROL | SCOPE: ROOF REPLACEMENT. AREA: 2000 SQ. FT. ROOF COVERING: OTHER. LOCATION: ROOF OF 1927 LAWNDALE AVE. IL ROOFING CONTRACTOR LICENSE: 104016301.
125 | 26063010060000 | B200437304 | 8/20/2025 |  |  |  |  | 28830 |  | 9113 S PHILLIPS AVE |  | CHICAGO, IL |  | DAVIS SHAUNSHARAY | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 20'-0' ' X20'-0' '. HIP ROOF HEIGHT TO PEAK: 13'-0' '.
126 | 25212050120000 | B200437305 | 8/8/2025 |  |  |  |  | 19022 |  | 223 W 111TH PL |  | CHICAGO, IL |  | TRANTHAM LILLIE | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: STEEP (>5:12). INVERTER OUTPUT: 10 KW. ARRAY OUTPUT: 7.38 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES OF HOME. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * REFER TO ELECTRICAL PERMIT B200436777.* ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
127 | 13083180260000 | B200437317 | 8/8/2025 |  |  |  |  | 14439 |  | 4849 N MOBILE AVE |  | CHICAGO, IL |  | CALLAHAN BOB | REPAIR OR IN-KIND REPLACEMENT OF 7 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. REPAIR OR IN-KIND REPLACEMENT OF HOT WATER HEATER(S). INCLUDES REPAIR OR REPLACMENT OF PLUMBING PIPING. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), BASEMENT AND 1ST FLOOR.
128 | 25223100330000 | B200437319 | 8/8/2025 |  |  |  |  | 10000 |  | 138 E 117TH PL |  | CHICAGO, IL |  | COLEMAN DELOIS | SCOPE: ROOF RECOVER. AREA: 1600 SQ. FT. ROOF COVERING: ASPHALT SHINGLES. LOCATION: ROOF RECOVER. IL ROOFING CONTRACTOR LICENSE: 104017132.
129 | 19184330310000 | B200437320 | 8/8/2025 |  |  |  |  | 5700 |  | 5931 S NAGLE AVE |  | CHICAGO, IL |  | TAYLOR DENNIS | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. 13.5 KWH LITHIUM ION ENERGY STORAGE SYSTEM. SPECIFIC LOCATION: EXTERIOR WALL, SERVICE CONDUCTOR.
130 | 17223220030000 | B200437323 | 8/27/2025 |  |  |  |  | 900000 |  | 350 E CERMAK RD |  | CHICAGO, IL |  | DIGITAL REALTY | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 15000 SQ. FT., LINTEL QTY. 10, MAX. LENGTH 20. CONCRETE MASONRY REPAIR / REPLACEMNT: 200SQ. FT., EXCAVATION = NO. PARAPET REBUILDING: 240 SQ. FT. LOCATION: 8TH FLOOR SETBACK & PENTHOUSE. ¦ SPECIAL CONDITION: APPROVED PER ATTACHMENTS RECEIVED 8/8/25: BRICK REMOVED TO BE SALVAGED AND REPLACED TO GREATEST EXTENT FEASIBLE. NEW BRICK TO MATCH HISTORIC IN SIZE, SHAPE, COLOR, TEXTURE, & FINISH. NEW MORTAR TO MATCH HISTORIC MORTAR IN COLOR, JOINT PROFILE, TEXTURE, & STRENGTH/TYPE. WHEN GRINDING EXISTING MORTAR JOINTS, SURROUNDING MASONRY UNITS SHALL NOT BE OVERCUT. DRY GRINDING ONLY, NO CHEMICAL CLEANING OR SAND BLASTING. PRESSURE WASHING LESS THAN 400PSI W/ FAN TIP BRUSH.
131 | 19244160190000 | B200437324 | 8/8/2025 |  |  |  |  | 20580 |  | 6937 S TALMAN AVE |  | CHICAGO, IL |  | DIAZ YVONNE | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 10 KW. ARRAY OUTPUT: 8.2 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES OF HOME. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * REFER TO ELECTRICAL PERMIT B200436773.* ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
132 | 21304120240000 | B200437330 | 8/21/2025 |  |  |  |  | 5000 |  | 7708 S SOUTH SHORE DR |  | CHICAGO, IL |  | SOUTH SHORE UNITS LLC | LINE VOLTAGE ELECTRICAL WORK. ALTER EXISTING SYSTEM III EMERGENCY LIGHTING. RECEPTACLE OUTLETS: 0 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: ALL COMMON AREAS.
133 | 19092160290000 | B200437332 | 8/8/2025 |  |  |  |  | 15127 |  | 4922 S LEAMINGTON AVE |  | CHICAGO, IL |  | SOJKA KRYSTYNA | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 10 KW. ARRAY OUTPUT: 5.33 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES OF HOME. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * REFER TO ELECTRICAL PERMIT B200437336.* ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
134 | 13274140030000 | B200437334 | 8/12/2025 |  |  |  |  | 12000 |  | 2537 N TRIPP AVE |  | CHICAGO, IL |  | SERRANO FELIX | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 120 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. PARAPET REBUILDING: 300 SQ. FT. LOCATION: FRONT FACADE AND SIDES AND ROOF.
135 | 20342200170000 | B200437335 | 8/11/2025 |  |  |  |  | 5782 |  | 8153 S ST LAWRENCE AVE |  | CHICAGO, IL |  | HORACE KENNETH | PURPOSE: NEW/REPLACEMENT INSTALLATION. VINYL/PVC FENCE - 6'-0' ' (HEIGHT) X 62'-0' ' (LENGTH). LOCATION: NORTH, REAR SIDE OF THE PROPERTY.
136 | 19092160290000 | B200437336 | 8/8/2025 |  |  |  |  | 5000 |  | 4922 S LEAMINGTON AVE |  | CHICAGO, IL |  | SOJKA KRYSTYNA | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. 13.5 KWH LITHIUM ION ENERGY STORAGE SYSTEM. SPECIFIC LOCATION: EXTERIOR WALL.
137 | 20231210070000 | B200437344 | 8/14/2025 |  |  |  |  | 750 |  | 6619 S MARYLAND AVE |  | CHICAGO, IL |  | GARCIA JOSUE | REPAIR OR IN-KIND REPLACEMENT OF 0 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. INCLUDES REPAIR OR REPLACMENT OF PLUMBING PIPING. LOCATIONS: 0 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 1 INTERIOR COMMON AREAS, BASEMENT.
138 | 20034220200000 | B200437354 | 8/11/2025 |  |  |  |  | 10200 |  | 436 E 47TH ST |  | CHICAGO, IL |  | COLEMAN JEFFERY | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 5000 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: MASONRY WORK AS NEEDED.
139 | 17171030070000 | B200437359 | 8/26/2025 |  |  |  |  | 70000 |  | 1345 W MADISON ST |  | CHICAGO, IL |  | -OEMC CITY OF CHICAGO | DUCTWORK EXTENSION/RECONFIGURATION, GAS PIPING EXTENSION/RECONFIGURATION, REPAIR/REPLACEMENT AFFECTING 1 SYSTEMS : 1 ROOFTOP PACKAGED UNIT(TRANE BYC 130G3HDA, ROOF) . ELECTRICAL WORK UNDER THIS PERMIT = YES . LOCATIONS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), EXTERIOR WORK, ROOF, OFFICES, BATHROOMS. ¦ SPECIAL CONDITION: CONTACT REFRIGERATION SUPERVISOR CLEMENT GAVIN 312-743-3562, PRIOR TO THE INSTALLATION OF ANY ROOFTOP EQUIPMENT, TO SCHEDULE AN INSPECTION.
140 | 14312110500000 | B200437370 | 8/13/2025 |  |  |  |  | 68988 |  | 1344 N ELSTON AVE |  | CHICAGO, IL |  | HEYMANN BEN | SCOPE: ROOF RECOVER. AREA: 8900 SQ. FT. ROOF COVERING: OTHER. LOCATION: ROOF LEVEL. IL ROOFING CONTRACTOR LICENSE: 104017138.
141 | 13072310340000 | B200437376 | 8/12/2025 |  |  |  |  | 2500 |  | 6516 W FOSTER AVE |  | CHICAGO, IL |  | GARCIA BRENDA | REPAIR OR IN-KIND REPLACEMENT OF 0 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. REPAIR OR IN-KIND REPLACEMENT OF HOT WATER HEATER(S). LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), BASEMENT.
142 | 14184000210000 | B200437378 | 8/29/2025 |  |  |  |  | 20000 |  | 4338 N WINCHESTER AVE |  | CHICAGO, IL |  | YAUSSY KEVIN | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 400 AMP SERVICE DISCONNECTING MEANS WITH 110 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: BASEMENT AND OUTSIDE. ¦ SPECIAL CONDITION: * PLEASE PROVIDE LOAD CALCULATIONS AS PER CEC 2018 215.5
143 | 13072310340000 | B200437379 | 8/19/2025 |  |  |  |  | 8500 |  | 6516 W FOSTER AVE |  | CHICAGO, IL |  | GARCIA BRENDA | REPAIR/REPLACEMENT AFFECTING 2 SYSTEMS : 1 OTHER AIR HANDLING EQUIPMENT(BASEMENT, MITSUBISHI SVZ-AP36NL) 1 OTHER COOLING EQUIPMENT(BACKYARD, MITSUBISHI MXZ-SM48NLHZ) . ELECTRICAL WORK UNDER THIS PERMIT = NO . LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), EXTERIOR WORK, BASEMENT AND BACKYARD.
144 | 17343230470000 | B200437382 | 8/19/2025 |  |  |  |  | 2000 |  | 3806 S INDIANA AVE |  | CHICAGO, IL |  | RCC HOLDINGS LLC | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 2 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: BASEMENT. ¦ SPECIAL CONDITION: SEE RENOVATION PERMIT NO 101061844
145 | 13072310340000 | B200437383 | 8/12/2025 |  |  |  |  | 10000 |  | 6516 W FOSTER AVE |  | CHICAGO, IL |  | GARCIA BRENDA | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 7 CIRCUITS. RECEPTACLE OUTLETS: 7 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: BASEMENT AND BACKYARD.
146 | 20094230850000 | B200437391 | 8/18/2025 |  |  |  |  | 92000 |  | 5454 S STATE ST |  | CHICAGO, IL |  | KHATAU SANJEEV | SCOPE: NONSTRUCTURAL INTERIOR REFRESH TO REPLACE WALLS, TILES, CEILING GRID, LIGHTS AND PLUMBING FIXTURES AT EXISTING DUNKIN DONUTS. LOCATIONS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), INTERIOR
147 | 25222270110000 | B200437395 | 8/13/2025 |  |  |  |  | 1688 |  | 11425 S ST LAWRENCE AVE |  | CHICAGO, IL |  | ALLEN WANNA | IN-KIND REPLACEMENT OF EXTERIOR WINDOWS AND DOORS IN EXISTING OPENINGS. REPLACEMENT WINDOWS: 1; REPLACEMENT SKYLIGHTS: 0; REPLACEMENT DOORS: 0. AFFECTS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), LOCATION: GARAGE. ¦ SPECIAL CONDITION: NO WINDOW REPLACEMENT ON FRONT FAÇADE.
148 | 13103040330000 | B200437403 | 8/8/2025 |  |  |  |  | 5600 |  | 5120 N KILBOURN AVE |  | CHICAGO, IL |  | BURMEISTER LARRY | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: OUTSIDE AND IN THE BASEMENT.
149 | 11304240010000 | B200437424 | 8/8/2025 |  |  |  |  | 2350 |  | 7229 N PAULINA ST |  | CHICAGO, IL |  | RISING SUN REAL ESTATE LLC | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 650 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: NORTH WEST COURTYARD PARAPET WALL.
150 | 20361070200000 | B200437428 | 8/11/2025 |  |  |  |  | 28370 |  | 8026 S CONSTANCE AVE |  | CHICAGO, IL |  | STEELE ROBERTA | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 10 KW. ARRAY OUTPUT: 12.3 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES OF HOME. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * REFER TO ELECTRICAL PERMIT B200436770.* ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
151 | 25073270110000 | B200437441 | 8/8/2025 |  |  |  |  | 3000 |  | 2064 W 103RD ST |  | CHICAGO, IL |  | TURYNA EARL | PURPOSE: NEW/REPLACEMENT INSTALLATION. WOOD FENCE - 6'-0' ' (HEIGHT) X 96'-0' ' (LENGTH). LOCATION: FENCE ON EAST SIDE OF PROPERTY. BACK YARD..
152 | 13053230290000 | B200437443 | 8/9/2025 |  |  |  |  | 4000 |  | 5728 N MCVICKER AVE |  | CHICAGO, IL |  | HO THOI | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 27 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: BASEMENT, BACK FACADE.
153 | 16272300200000 | B200437448 | 8/18/2025 |  |  |  |  | 2000 |  | 2504 S PULASKI RD |  | CHICAGO, IL |  | LOERA RAYGOZA ANGEL | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: BASEMENT AND EXTERIOR.
154 | 13363210100000 | B200437450 | 8/22/2025 |  |  |  |  | 24000 |  | 1723 N RICHMOND ST |  | CHICAGO, IL |  | WOLF LAKE REAL ESTATE LLC | SCOPE: ROOF REPLACEMENT. AREA: 2900 SQ. FT. ROOF COVERING: ASPHALT SHINGLES. LOCATION: ROOF TOP. IL ROOFING CONTRACTOR LICENSE: 104020017.
155 | 20113140120000 | B200437453 | 8/27/2025 |  |  |  |  | 8500 |  | 5341 S MARYLAND AVE |  | CHICAGO, IL |  | GOVIS ADRIAN | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 42 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: OUTSIDE ELECTRICAL METERS AND WIRES.
156 | 24134150110000 | B200437465 | 8/13/2025 |  |  |  |  | 3000 |  | 10827 S ARTESIAN AVE |  | CHICAGO, IL |  | QUIGLEY CYNTHIA | PURPOSE: NEW/REPLACEMENT INSTALLATION. WOOD FENCE - 6'-0' ' (HEIGHT) X 80'-0' ' (LENGTH). LOCATION: BACKYARD.
157 | 26063100250000 | B200437480 | 8/14/2025 |  |  |  |  | 2500 |  | 9228 S COLFAX AVE |  | CHICAGO, IL |  | JOSEPH ALLY | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 50 SQ. FT., LINTEL QTY. 1, MAX. LENGTH 6. LOCATION: FRONT YARD AND BACK YARD.
158 | 25222220110000 | B200437486 | 8/30/2025 |  |  |  |  | 100 |  | 11325 S LANGLEY AVE |  | CHICAGO, IL |  | KIERAS MARK | SCOPE: NONSTRUCTURAL INTERIOR WORK: REPLACE DRYWALL. REPLACE PLUMBING FIXTURES AND ASSOCIATED PIPING. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 3RD FLOOR APARTMENT ¦ SPECIAL CONDITION: NO EXTERIOR WORK OR WINDOW REPLACEMENT.
159 | 14051080250000 | B200437488 | 8/10/2025 |  |  |  |  | 2690 |  | 1506 W THOME AVE |  | CHICAGO, IL |  | HUNTER DEMARCUS | LINE VOLTAGE ELECTRICAL WORK. ADD 1 CIRCUITS TO EXISTING 100 AMP SERVICE DISCONNECTING MEANS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. ELECTRIC VEHICLE SUPPLY EQUIPMENT:1 SPACES. SPECIFIC LOCATION: GARAGE AND BASEMENT.
160 | 20224120080000 | B200437493 | 8/12/2025 |  |  |  |  | 6200 |  | 6815 S LANGLEY AVE |  | CHICAGO, IL |  | COLLARD AARON | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: EXTERIOR AND INTERIOR.
161 | 17193130270000 | B200437494 | 8/11/2025 |  |  |  |  | 1000 |  | 2050 W CULLERTON ST |  | CHICAGO, IL |  | VASQUEZ SILVIA | PURPOSE: NEW/REPLACEMENT INSTALLATION. WOOD FENCE - 6'-0' ' (HEIGHT) X 60'-0' ' (LENGTH). LOCATION: BACKYARD FENCE, EAST SIDE.
162 | 14332060160000 | B200437497 | 8/11/2025 |  |  |  |  | 34815 |  | 2111 N CLARK ST |  | CHICAGO, IL |  | MILLER MARK | REPAIR OR IN-KIND REPLACEMENT OF 0 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. INCLUDES REPAIR OR REPLACMENT OF PLUMBING PIPING. INCLUDES REPAIR OR REPLACEMENT OF PLUMBING RISERS IN EXISTING CHASES. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), BASEMENT.
163 | 13352100190000 | B200437498 | 8/11/2025 |  |  |  |  | 9000 |  | 3522 W LYNDALE ST |  | CHICAGO, IL |  | ARNOLD JOHN | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 30 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: BASEMENT.
164 | 16153180010000 | B200437503 | 8/27/2025 |  |  |  |  | 28000 |  | 733 S KENNETH AVE |  | CHICAGO, IL |  | WHEELER GAILE | FULL REBUILD (SAME AS EXISTING) FOR WOOD PORCH (OPEN) (QUANTITY: 1, LOCATION: REAR OF BUILDING).
165 | 20102110370000 | B200437507 | 8/13/2025 |  |  |  |  | 12000 |  | 4838 S CHAMPLAIN AVE |  | CHICAGO, IL |  | DOTSON TUYET | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 1000 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. PARAPET REBUILDING: 60 SQ. FT. LOCATION: EXTERIOR BRICK WALLS.
166 | 25203140070000 | B200437508 | 8/11/2025 |  |  |  |  | 5000 |  | 11719 S ASHLAND AVE |  | CHICAGO, IL |  | HERRING PATRICIA | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. 13.5 KWH LITHIUM ION ENERGY STORAGE SYSTEM. SPECIFIC LOCATION: EXTERIOR WALL.
167 | 20302060410000 | B200437509 | 8/12/2025 |  |  |  |  | 21210 |  | 7152 S MARSHFIELD AVE |  | CHICAGO, IL |  | WEBB ROSS | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 11.5 KW. ARRAY OUTPUT: 6.075 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF OF HOUSE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #19-0021. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * PLEASE APPLY FOR ELECTRICAL PERMIT PRIOR TO SOLAR INSPECTION AND HAVE PRESENT ON DATE OF SOLAR INSPECTION OR RISK FAILURE AS PROPOSED WORK PER ELECTRICAL DRAWING.* ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, ETC... MUST BE LISTED AND LABELED FOR USE.
168 | 20322090020000 | B200437513 | 8/15/2025 |  |  |  |  | 110750 |  | 8009 S MAY ST |  | CHICAGO, IL |  | BOWERS JON | CEDA WEATHERIZATION PROGRAM. AIR SEAL INSULATE ATTIC; INSULATE EXTERIOR WALLS; REPLACE (6) BATH EXHAUST FANS; REPLACE IN-UNIT LIGHTING FIXTURES; REPLACEMENTS TO BE ENERGY EFFICIENT FIXTURES.
169 | 25033010220000 | B200437518 | 8/12/2025 |  |  |  |  | 2500 |  | 9110 S MICHIGAN AVE |  | CHICAGO, IL |  | COOPER KIMBERLY | REPAIR OR IN-KIND REPLACEMENT OF 0 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. REPAIR OR IN-KIND REPLACEMENT OF HOT WATER HEATER(S). LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), BASEMENT.
170 | 20184090480000 | B200437524 | 8/15/2025 |  |  |  |  | 12000 |  | 6058 S WOLCOTT AVE |  | CHICAGO, IL |  | LACROSSE MANAGEMENT LLC | REPAIR OR IN-KIND REPLACEMENT OF 0 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. INCLUDES REPAIR OR REPLACMENT OF PLUMBING PIPING. LOCATIONS: 0 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 1 INTERIOR COMMON AREAS, BASEMENT.
171 | 25222080380000 | B200437527 | 8/29/2025 |  |  |  |  | 14880 |  | 11140 S CHAMPLAIN AVE |  | CHICAGO, IL |  | KRANING JAY | IN-KIND REPLACEMENT OF EXTERIOR WINDOWS AND DOORS IN EXISTING OPENINGS. REPLACEMENT WINDOWS: 5; REPLACEMENT SKYLIGHTS: 0; REPLACEMENT DOORS: 0. AFFECTS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), LOCATION: FRONT BEDROOMS & LIVING ROOM. ¦ SPECIAL CONDITION: THE PROPOSED CLAD-WOOD WINDOWS ARE APPROVED. THE DOUBLE-HUNG WINDOWS WITH THE DIVIDED LITE PATTERN TO MATCH THE PROVIDED ELEVATION DRAWING.
172 | 25033010220000 | B200437529 | 8/19/2025 |  |  |  |  | 6500 |  | 9110 S MICHIGAN AVE |  | CHICAGO, IL |  | COOPER KIMBERLY | REPAIR/REPLACEMENT AFFECTING 2 SYSTEMS : 1 OTHER COOLING EQUIPMENT(BACKYARD, MITSUBISHI SUZ-AK36NLHZ) 1 OTHER AIR HANDLING EQUIPMENT(BASEMENT, MITSUBISHI SVZ-AP36NL) . ELECTRICAL WORK UNDER THIS PERMIT = NO . LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), EXTERIOR WORK, BASEMENT AND BACKYARD.
173 | 25033010220000 | B200437538 | 8/12/2025 |  |  |  |  | 10000 |  | 9110 S MICHIGAN AVE |  | CHICAGO, IL |  | COOPER KIMBERLY | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 6 CIRCUITS. RECEPTACLE OUTLETS: 6 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: BACKYARD.
174 | 20083150050000 | B200437539 | 8/21/2025 |  |  |  |  | 500 |  | 5309 S BISHOP ST |  | CHICAGO, IL |  | ATAP INVESTMENT CORPORATION | REPAIR OR IN-KIND REPLACEMENT OF 3 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. INCLUDES REPAIR OR REPLACMENT OF PLUMBING PIPING. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 1ST FLOOR ONLY.
175 | 17191150020000 | B200437541 | 8/11/2025 |  |  |  |  | 17800 |  | 1340 S DAMEN AVE |  | CHICAGO, IL |  | HASTINGS CENTER OFFICE, LLC | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 50 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: EXTERIOR FACADE.
176 | 20354240490000 | B200437544 | 8/13/2025 |  |  |  |  | 9977 |  | 8668 S KIMBARK AVE |  | CHICAGO, IL |  | WILLIAMS MICHAEL | PURPOSE: NEW/REPLACEMENT INSTALLATION. VINYL/PVC FENCE - 6'-0' ' (HEIGHT) X 97'-0' ' (LENGTH). LOCATION: REAR OF THE PROPERTY.
177 | 16024270420000 | B200437546 | 8/22/2025 |  |  |  |  | 30000 |  | 825 N CHRISTIANA AVE |  | CHICAGO, IL |  | SALVATION ARMY FREEDOM CENTER | REPAIR OR IN-KIND REPLACEMENT OF 60 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. INCLUDES REPAIR OR REPLACMENT OF PLUMBING PIPING. INCLUDES REPAIR OR REPLACEMENT OF PLUMBING RISERS IN EXISTING CHASES. LOCATIONS: 0 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 4 INTERIOR COMMON AREAS, REPLACE EXISTING FLOOR DRAINS + P-TRAPS PER FLOOR.
178 | 25041180100000 | B200437547 | 8/18/2025 |  |  |  |  | 2500 |  | 8927 S UNION AVE |  | CHICAGO, IL |  | MONTGOMERY MARCY | REPAIR OR IN-KIND REPLACEMENT OF 0 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. REPAIR OR IN-KIND REPLACEMENT OF HOT WATER HEATER(S). LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), BASEMENT.
179 | 19251120190000 | B200437548 | 8/11/2025 |  |  |  |  | 22138 |  | 7255 S SACRAMENTO AVE |  | CHICAGO, IL |  | TOWERS TORY | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 10 KW. ARRAY OUTPUT: 9.02 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES OF HOME. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * REFER TO ELECTRICAL PERMIT B200437281.* ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
180 | 25041180100000 | B200437550 | 8/19/2025 |  |  |  |  | 10000 |  | 8927 S UNION AVE |  | CHICAGO, IL |  | MONTGOMERY MARCY | REPAIR/REPLACEMENT AFFECTING 2 SYSTEMS : 1 OTHER AIR HANDLING EQUIPMENT(BASEMENT, MITSUBISHI SVZ-AP36NL) 1 OTHER COOLING EQUIPMENT(BACKYARD, MITSUBISHI MXZ-SM48NLHZ) . ELECTRICAL WORK UNDER THIS PERMIT = NO . LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), EXTERIOR WORK, BASEMENT AND BACKYARD.
181 | 11323280140000 | B200437553 | 8/27/2025 |  |  |  |  | 16000 |  | 6445 N GLENWOOD AVE |  | CHICAGO, IL |  | GRAHAM PATRICK | FULL REBUILD (SAME AS EXISTING) FOR WOOD PORCH (OPEN) (QUANTITY: 1, LOCATION: REAR OF BUILDING).
182 | 13172250050000 | B200437554 | 8/11/2025 |  |  |  |  | 3860 |  | 4445 N AUSTIN AVE |  | CHICAGO, IL |  | TORTORELLI LOIS | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 250 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: NEAR ROOF.
183 | 20171200120000 | B200437555 | 8/21/2025 |  |  |  |  | 4500 |  | 5729 S LOOMIS BLVD |  | CHICAGO, IL |  | MALDONADO RIGOBERTO | PURPOSE: LEGALIZE UNPERMITTED WORK. WOOD FENCE - 6'-0' ' (HEIGHT) X 52'-0' ' (LENGTH). LOCATION: BACKYARD.
184 | 17294210010000 | B200437557 | 8/27/2025 |  |  |  |  | 22800 |  | 2973 S LYMAN ST |  | CHICAGO, IL |  | MICHAELS JEAN | FULL REBUILD (SAME AS EXISTING) FOR WOOD PORCH (OPEN) (QUANTITY: 1, LOCATION: REAR OF BUILDING).
185 | 25041180100000 | B200437558 | 8/18/2025 |  |  |  |  | 10000 |  | 8927 S UNION AVE |  | CHICAGO, IL |  | MONTGOMERY MARCY | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 4 CIRCUITS. RECEPTACLE OUTLETS: 4 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: BACKYARD.
186 | 25201040080000 | B200437566 | 8/25/2025 |  |  |  |  | 46300 |  | 1339 W 111TH PL |  | CHICAGO, IL |  | CHAMPION MARTIN | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 20'-0' ' X30'-0' '. GABLE ROOF HEIGHT TO PEAK: 15'-0' '.
187 | 17282330800000 | B200437570 | 8/21/2025 |  |  |  |  | 35560 |  | 262 W 26TH ST |  | CHICAGO, IL |  | KASS MANGEMENT | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 250 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: NORTH, SOUTH, & WEST FACADES.
188 | 19133180240000 | B200437571 | 8/27/2025 |  |  |  |  | 8000 |  | 6112 S WHIPPLE ST |  | CHICAGO, IL |  | SERRANO ALDO | PARAPET REBUILDING: 150 SQ. FT. LOCATION: EAST FACADE.
189 | 10313160110000 | B200437574 | 8/11/2025 |  |  |  |  | 6250 |  | 6909 W IMLAY ST |  | CHICAGO, IL |  | KRAUSE ALLISON | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: BASEMENT AND EXTERIOR.
190 | 25282090240000 | B200437576 | 8/26/2025 |  |  |  |  | 500 |  | 12022 S PRINCETON AVE |  | CHICAGO, IL |  | GRADY MILTON | WRECK AND REMOVE DETACHED FRAME GARAGE. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), EXTERIOR WORK, REAR GARAGE.
191 | 13352130260000 | B200437577 | 8/25/2025 |  |  |  |  | 80000 |  | 3502 W PALMER ST |  | CHICAGO, IL |  | RAFFEL RYAN | REPAIR OR IN-KIND REPLACEMENT OF 4 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), AROUND THE PERIMETER OF THE PROPERTY.
192 | 21301220070000 | B200437578 | 8/18/2025 |  |  |  |  | 9500 |  | 7421 S COLES AVE |  | CHICAGO, IL |  | CHICAGO TITLE LAND TRUST COMPANY #103701-04 | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 400 AMP SERVICE DISCONNECTING MEANS WITH 60 CIRCUITS. RECEPTACLE OUTLETS: 30 . LIGHTING OUTLETS: 20. SPECIFIC LOCATION: BASEMENT COMMONS, APT 1-6 HALLWAYS.
193 | 17293090110000 | B200437581 | 8/12/2025 |  |  |  |  | 20000 |  | 2928 S BROAD ST |  | CHICAGO, IL |  | JCDECAUX CHICAGO COMMUNICATION NETWORK, LLC* | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: TOP OF BILLBOARD.
194 | 13093320080000 | B200437592 | 8/21/2025 |  |  |  |  | 25000 |  | 5216 W LAWRENCE AVE |  | CHICAGO, IL |  | AT&T MOBILITY | ALTERATION OF EXISTING COMMUNICATION EQUIPMENT. ALTERATION OF 1 BOXES AND EQUIPMENT ON 1 TOWERS / STRUCTURES. LOCATION: ON TOWER AND WITHIN COMPOUND.
195 | 25191040100000 | B200437595 | 8/13/2025 |  |  |  |  | 9500 |  | 2315 W 112TH ST |  | CHICAGO, IL |  | HUYNH TAM | IN-KIND REPLACEMENT OF EXTERIOR WINDOWS AND DOORS IN EXISTING OPENINGS. REPLACEMENT WINDOWS: 29; REPLACEMENT SKYLIGHTS: 0; REPLACEMENT DOORS: 8. AFFECTS: 2 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), LOCATION: 1&2ND FLOOR.
196 | 25172120280000 | B200437596 | 8/11/2025 |  |  |  |  | 700 |  | 10432 S SANGAMON ST |  | CHICAGO, IL |  | BROWN ARTHUR | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. 13.5 KWH LITHIUM ION ENERGY STORAGE SYSTEM. SPECIFIC LOCATION: EXTERIOR WALL, SERVICE CONDUCTOR.
197 | 13133160140000 | B200437616 | 8/25/2025 |  |  |  |  | 8000 |  | 4101 N KEDZIE AVE |  | CHICAGO, IL |  | FMA PROPERTIES | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 75 SQ. FT., LINTEL QTY. 10, MAX. LENGTH 4. PARAPET REBUILDING: 720 SQ. FT. LOCATION: PARAPET WALL AND COURTYARD WINDOWS/LINTELS.
198 | 13051040500000 | B200437620 | 8/19/2025 |  |  |  |  | 29218 |  | 6201 W DEVON AVE |  | CHICAGO, IL |  | BARRETO JIMMIE | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 4.48 KW. ARRAY OUTPUT: 5.95 KW. INCLUDES 5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOFING. ICC DISTRIBUTED GENERATION INSTALLER CERT. #25-0056. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
199 | 25083000390000 | B200437621 | 8/11/2025 |  |  |  |  | 3000 |  | 9952 S CHARLES ST |  | CHICAGO, IL |  | GILL LEROY | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 20 CIRCUITS. RECEPTACLE OUTLETS: 5 . LIGHTING OUTLETS: 5. SPECIFIC LOCATION: BASEMENT.
200 | 19144030080000 | B200437624 | 8/19/2025 |  |  |  |  | 14250 |  | 5923 S SPAULDING AVE |  | CHICAGO, IL |  | MORALES MANUEL | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. 13.5 KWH LITHIUM ION ENERGY STORAGE SYSTEM. SPECIFIC LOCATION: EXTERIOR, MAIN PANEL, SERVICE CONDUCTOR, METER.