## Sheet1
# [LLINE] | PIN* [PARID] | Local Permit No.* [USER28] | Issue Date* [PERMDT] | Desc 1* [DESC1] | Desc 2 Code 1 [USER6] | Desc 2 Code 2 [USER7] | Desc 2 Code 3 [USER8] | Amount* [AMOUNT] | Assessable [IS_ASSESS] | Applicant Street Address* [ADDR1] | Applicant Address 2 [ADDR2] | Applicant City, State, Zip* [ADDR3] | Contact Phone* [PHONE] | Applicant* [USER21] | Notes [NOTE1] | Occupy Dt [UDATE1] | Submit Dt* [CERTDATE] | Est Comp Dt [UDATE2] | user21
1 | 16143190140000 | B200412100 | 2/10/2025 |  |  |  |  | 100 |  | 3918 W FILLMORE ST |  | CHICAGO, IL |  | TOWNSEND KIMBERLY | SCOPE: NONSTRUCTURAL INTERIOR WORK: REPLACE DRYWALL. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 1ST FLOOR UNIT ONLY. ¦ SPECIAL CONDITION: THIS PERMIT DOES NOT CONFIRM OR VERIFY UNIT COUNT FOR THIS PROPERTY
2 | 20302170240000 | B200412110 | 1/30/2025 |  |  |  |  | 2500 |  | 7300 S WOLCOTT AVE |  | CHICAGO, IL |  | CHICAGOLAND REHAB NETWORK, LTD | PURPOSE: NEW/REPLACEMENT INSTALLATION. WOOD FENCE - 6'-0' ' (HEIGHT) X 100'-0' ' (LENGTH). LOCATION: 6 FT HIGH WOOD SECURITY FENCE.
3 | 20302170240000 | B200412111 | 2/24/2025 |  |  |  |  | 15000 |  | 7300 S WOLCOTT AVE |  | CHICAGO, IL |  | CHICAGOLAND REHAB NETWORK, LTD | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 22'-0' ' X20'-0' '. GABLE ROOF HEIGHT TO PEAK: 15'-0' '.
4 | 19014100210000 | B200412112 | 1/31/2025 |  |  |  |  | 5000 |  | 4459 S WASHTENAW AVE |  | CHICAGO, IL |  | FARRAJ SULEIMAN | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 3 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: VIOLATIONS. ¦ SPECIAL CONDITION: COMPLY VIOLATION FOR CASE #709671
5 | 17084470260000 | B200412129 | 2/5/2025 |  |  |  |  | 5000 |  | 948 W MADISON ST |  | CHICAGO, IL |  | YI GRACE | REPAIR OR IN-KIND REPLACEMENT OF 3 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. INCLUDES REPAIR OR REPLACMENT OF PLUMBING PIPING. LOCATIONS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), FIRST FLOOR PER PLANS ONLY.
6 | 16164090680000 | B200412146 | 2/3/2025 |  |  |  |  | 5000 |  | 4830 W ARTHINGTON ST |  | CHICAGO, IL |  | SGC INC.* | REPAIR OR IN-KIND REPLACEMENT OF 7 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. REPAIR OR IN-KIND REPLACEMENT OF HOT WATER HEATER(S). INCLUDES REPAIR OR REPLACMENT OF PLUMBING PIPING. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 1 INTERIOR COMMON AREAS, EXTERIOR WORK, ROOF, BASEMENT , KITCHEN.
7 | 17334120040000 | B200412161 | 2/18/2025 |  |  |  |  | 45000 |  | 380 W PERSHING RD |  | CHICAGO, IL |  | T MOBILE US INC | ALTERATION OF EXISTING COMMUNICATION EQUIPMENT. ALTERATION OF 0 BOXES AND EQUIPMENT ON 1 TOWERS / STRUCTURES. LOCATION: EXISTING WIRELESS COMMUNICATION FACALITY.
8 | 19073150020000 | B200412170 | 3/13/2025 |  |  |  |  | 45000 |  | 5311 S HARLEM AVE |  | CHICAGO, IL |  | T MOBILE US INC | ALTERATION OF EXISTING COMMUNICATION EQUIPMENT. ALTERATION OF 0 BOXES AND EQUIPMENT ON 1 TOWERS / STRUCTURES. LOCATION: EXISTING WIRELESS COMMUNICATION FACILITY.
9 | 16123110590000 | B200412175 | 1/31/2025 |  |  |  |  | 3000 |  | 2846 W WALNUT ST |  | CHICAGO, IL |  | SCHCOLNIK ANDRES | SCOPE: ROOF REPLACEMENT. AREA: 600 SQ. FT. ROOF COVERING: BUILT-UP ROOF. LOCATION: ROOF OF UNIT. IL ROOFING CONTRACTOR LICENSE: 104017599. ¦ SPECIAL CONDITION: APPROVED PER ATTACHMENTS RECEIVED 1/27/25: REPLACEMENT OF FLAT ROOF ONLY, NO OTHER WORK TO PARAPET, WINDOWS, OR ELEVATIONS WITH THIS PERMIT.
10 | 19361290710000 | B200412179 | 2/7/2025 |  |  |  |  | 3250 |  | 8243 S RICHMOND ST |  | CHICAGO, IL |  | BAILEY MARIETTA | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 20 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: NEW SERVICE, REFEED, MAIN PANEL.
11 | 10322150070000 | B200412185 | 2/10/2025 |  |  |  |  | 5000 |  | 6834 N LOLETA AVE |  | CHICAGO, IL |  | SROKA-KADHIM MARIOLA | SCOPE: NONSTRUCTURAL INTERIOR ALTERATION TO KITCHEN AND BATHROOM ELECTRICAL AND PLUMBING. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 2 INTERIOR COMMON AREAS, KITCHEN AND BATHROOM.
12 | 14073090060000 | B200412188 | 2/27/2025 |  |  |  |  | 85000 |  | 5101 N LEAVITT ST |  | CHICAGO, IL |  | CPS* | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 327 SQ. FT., LINTEL QTY. 9, MAX. LENGTH 10. LOCATION: ALL FACES OF EAST AND WEST STANDS ON WINNEMAC STAD.
13 | 17084210040000 | B200412191 | 1/30/2025 |  |  |  |  | 31800 |  | 1045 W FULTON MARKET |  | CHICAGO, IL |  | ESTATE INTERCONTINENTAL REAL | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL OTHER. SPECIFIC LOCATION: 4TH FLOOR. ¦ SPECIAL CONDITION: NO OTHER WORK.
14 | 17174190260000 | B200412196 | 2/3/2025 |  |  |  |  | 15000 |  | 1062 W TAYLOR ST |  | CHICAGO, IL |  | MONTELEONE FRANK | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 400 AMP SERVICE DISCONNECTING MEANS WITH 6 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: REAR OF BUILDING.
15 | 16174050150000 | B200412204 | 4/11/2025 |  |  |  |  | 15000 |  | 1049 S AUSTIN BLVD |  | CHICAGO, IL |  | L'ARCHE CHICAGO | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 400 AMP SERVICE DISCONNECTING MEANS WITH 30 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: BASEMENT, SIDE.
16 | 20064030350000 | B200412205 | 3/5/2025 |  |  |  |  | 5000 |  | 4332 S HERMITAGE AVE |  | CHICAGO, IL |  | STAINE ROBERT | REPAIR OR IN-KIND REPLACEMENT OF 4 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. REPAIR OR IN-KIND REPLACEMENT OF HOT WATER HEATER(S). INCLUDES REPAIR OR REPLACMENT OF PLUMBING PIPING. INCLUDES REPAIR OR REPLACEMENT OF PLUMBING RISERS IN EXISTING CHASES. LOCATIONS: 4 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), EXTERIOR WORK, 1ST AND 2ND FLOOR APARTMENTS 1A 1B 2A 2B.
17 | 20151050130000 | B200412207 | 2/4/2025 |  |  |  |  | 16200 |  | 229 E 55TH PL |  | CHICAGO, IL |  | MAZOLA TED | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 180 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: NORTH ELEVATION.
18 | 16123110590000 | B200412209 | 2/1/2025 |  |  |  |  | 2500 |  | 2846 W WALNUT ST |  | CHICAGO, IL |  | SCHCOLNIK ANDRES | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 800 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: FRONT AND REAR FACADE. ¦ SPECIAL CONDITION: PER ATTACHMENTS RECEIVED 1/27/25: BRICK ON FRONT ELEVATION REMOVED TO BE SALVAGED AND REPLACED TO THE GREATEST EXTENT FEASIBLE. ANY NEW BRICK TO MATCH HISTORIC IN SIZE, SHAPE, COLOR, TEXTURE, & FINISH. NEW MORTAR TO MATCH HISTORIC MORTAR IN COLOR, JOINT PROFILE, TEXTURE, & STRENGTH/TYPE. WHEN GRINDING EXISTING MORTAR JOINTS, SURROUNDING MASONRY UNITS SHALL NOT BE OVERCUT. DRY GRINDING ONLY, NO CHEMICAL CLEANING OR SAND BLASTING. PRESSURE WASHING LESS THAN 400PSI WITH FAN TIP BRUSH.
19 | 16082190010000 | B200412213 | 1/30/2025 |  |  |  |  | 36000 |  | 525 N AUSTIN BLVD |  | CHICAGO, IL |  | FRONTLINE REAL ESTATE PARTNERS | REPAIR OR IN-KIND REPLACEMENT OF 0 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. REPAIR OR IN-KIND REPLACEMENT OF HOT WATER HEATER(S). INCLUDES REPAIR OR REPLACMENT OF PLUMBING PIPING. LOCATIONS: 50 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 1 INTERIOR COMMON AREAS, WATER HEATING ROOM.
20 | 19182080800000 | B200412217 | 2/3/2025 |  |  |  |  | 3000 |  | 5602 S RUTHERFORD AVE |  | CHICAGO, IL |  | KOBY CONSTRUCTION GROUP INC | PURPOSE: NEW/REPLACEMENT INSTALLATION. VINYL/PVC FENCE - 6'-0' ' (HEIGHT) X 98'-0' ' (LENGTH). LOCATION: FENCE. ¦ SPECIAL CONDITION: (NOT TO BE OF SOLID CONSTRUCTION WITHIN FRONT YARD)
21 | 13093210200000 | B200412220 | 2/3/2025 |  |  |  |  | 13338 |  | 5242 W STRONG ST |  | CHICAGO, IL |  | TOMASIC PAUL | INSTALL SOLAR PANELS ON ROOF OF ACCESSORY BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 11.5 KW. ARRAY OUTPUT: 7.02 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817. ¦ SPECIAL CONDITION: ** NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. ** REFER TO ELECTRICAL PERMIT B200412211. **UNDERGROUND RACEWAY TO BE INSPECTED BY AHJ PRIOR TO COVERING.
22 | 20273070170000 | B200412223 | 2/7/2025 |  |  |  |  | 9348 |  | 7614 S MICHIGAN AVE |  | CHICAGO, IL |  | OGBAISI EHIDIAMHEN | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 11.5 KW. ARRAY OUTPUT: 4.92 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817. ¦ SPECIAL CONDITION: **NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018**REFER TO ELECTRICAL PERMIT B200412218.
23 | 20321190130000 | B200412224 | 2/3/2025 |  |  |  |  | 7011 |  | 8141 S BISHOP ST |  | CHICAGO, IL |  | SMITH ROSE | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 11.5 KW. ARRAY OUTPUT: 3.69 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817. ¦ SPECIAL CONDITION: **NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. **REFER TO ELECTRICAL PERMIT B200412219.
24 | 19141050410000 | B200412225 | 3/3/2025 |  |  |  |  | 44370 |  | 3814 W 56TH ST |  | CHICAGO, IL |  | GUZMAN MARGARITA | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: STEEP (>5:12). INVERTER OUTPUT: 8.7 KW. ARRAY OUTPUT: 12.75 KW. LOCATION: ROOF OF PRINCIPAL BUILDING. ICC DISTRIBUTED GENERATION INSTALLER CERT. #23-0387. ¦ SPECIAL CONDITION: **NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018**REFER TO ELECTRICAL PERMIT B200412233.
25 | 16123110590000 | B200412229 | 2/17/2025 |  |  |  |  | 3200 |  | 2846 W WALNUT ST |  | CHICAGO, IL |  | SCHCOLNIK ANDRES | IN-KIND REPLACEMENT OF EXTERIOR WINDOWS AND DOORS IN EXISTING OPENINGS. REPLACEMENT WINDOWS: 11; REPLACEMENT SKYLIGHTS: 2; REPLACEMENT DOORS: 2. AFFECTS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), LOCATION: FRONT AND REAR FACADE. ¦ SPECIAL CONDITION: APPROVED PER DRAWING ATTACHMENT RECEIVED 2/1/25: NEW WINDOWS AT FRONT FAÇADE TO BE ULTIMATE BY MARVIN WITH BRICK MOLD TO MATCH EXISTING AS SHOWN ON DRAWING DATED 1/31/25.
26 | 19141050410000 | B200412233 | 3/3/2025 |  |  |  |  | 3000 |  | 3814 W 56TH ST |  | CHICAGO, IL |  | GUZMAN MARGARITA | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 225 AMP SERVICE DISCONNECTING MEANS WITH 18 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: INSIDE THE HOUSE, LAUNDRY ROOM.
27 | 14281070270000 | B200412235 | 2/27/2025 |  |  |  |  | 5000 |  | 3030 N BROADWAY |  | CHICAGO, IL |  | VERIZON WIRELESS | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. ALTER EXISTING OTHER. SPECIFIC LOCATION: ROOFTOP.
28 | 14192120060000 | B200412245 | 1/31/2025 |  |  |  |  | 25000 |  | 1844 W GRACE ST |  | CHICAGO, IL |  | HUNTER PROPERTIES | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 36 CIRCUITS. RECEPTACLE OUTLETS: 2 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: BASEMENT, FLOOR 1,2,3.
29 | 19143130030000 | B200412246 | 1/30/2025 |  |  |  |  | 15950 |  | 3853 W 60TH PL |  | CHICAGO, IL |  | PADILLA ERNESTO | IN-KIND REPLACEMENT OF EXTERIOR WINDOWS AND DOORS IN EXISTING OPENINGS. REPLACEMENT WINDOWS: 18; REPLACEMENT SKYLIGHTS: 0; REPLACEMENT DOORS: 6. AFFECTS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), LOCATION: 1ST FLOOR.
30 | 14061030090000 | B200412255 | 1/31/2025 |  |  |  |  | 19450 |  | 2212 W HIGHLAND AVE |  | CHICAGO, IL |  | BUHR ANGIE | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 100 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: TUCKPOINTING SOUTH AND EAST , BRICK GARAGE REMOVE.
31 | 19353010380000 | B200412258 | 2/19/2025 |  |  |  |  | 35000 |  | 3809 W 83RD ST |  | CHICAGO, IL |  | HAMILTON JANELLE T. | SCOPE: NONSTRUCTURAL INTERIOR REMODELING OF 1ST FLOOR KITCHEN AND BATH, REMOVE AND REPLACE DRYWALL,, REPLACE FLOORS, TILES, COUNTERTOPS/CABINETS, INTERIOR DOOR, REPLACE PLUMBING FIXTURES AND REPLACE ELECTRICAL OUTLETS AND SWITCHES. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), INTERIOR 1ST FLOOR REMODELING, KITCHEN AND BATH.
32 | 17072400280000 | B200412287 | 1/31/2025 |  |  |  |  | 60000 |  | 411 N PAULINA ST |  | CHICAGO, IL |  | RD2 & SD2 LLC | DUCTWORK EXTENSION/RECONFIGURATION, ELECTRICAL WORK UNDER THIS PERMIT = YES . LOCATIONS: 0 RESIDENTIAL UNIT(S), 2 NON-RESIDENTIAL UNIT(S), 2 INTERIOR COMMON AREAS, EXTERIOR WORK, ROOF AND GROUND FLOOR..
33 | 17094200330000 | B200412288 | 2/11/2025 |  |  |  |  | 60000 |  | 203 N LA SALLE ST |  | CHICAGO, IL |  | BOSCO MICHAEL | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: 24TH FLOOR.
34 | 16151010250000 | B200412289 | 1/31/2025 |  |  |  |  | 3750 |  | 4622 W MONROE ST |  | CHICAGO, IL |  | KAPITAL ELECTRIC CO., INC | LINE VOLTAGE ELECTRICAL WORK. ADD 1 CIRCUITS TO EXISTING 100 AMP SERVICE DISCONNECTING MEANS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. ELECTRIC VEHICLE SUPPLY EQUIPMENT:1 SPACES. SPECIFIC LOCATION: GARAGE.
35 | 13273140390000 | B200412298 | 2/19/2025 |  |  |  |  | 8000 |  | 2534 N KILBOURN AVE |  | CHICAGO, IL |  | DAMING RESIDENTIAL, LLC | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 600 SQ. FT., LINTEL QTY. 67, MAX. LENGTH 11. LOCATION: SOUTH AND EAST ELEVATIONS. ¦ SPECIAL CONDITION: PUBLIC WAY USE PERMIT MUST BE PULLED SEPARATELY.
36 | 17094540030000 | B200412303 | 1/31/2025 |  |  |  |  | 67567 |  | 1 N WACKER DR |  | CHICAGO, IL |  | STALEY,INC. | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL DATA/VIDEO. SPECIFIC LOCATION: SUITE 4150.
37 | 17183140560000 | B200412311 | 1/30/2025 |  |  |  |  | 7600 |  | 2334 W TAYLOR ST |  | CHICAGO, IL |  | ZHOU DAVID | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 10 . LIGHTING OUTLETS: 14. SPECIFIC LOCATION: ENTIRE 1ST FLOOR.
38 | 16043120300000 | B200412312 | 2/3/2025 |  |  |  |  | 2709 |  | 1020 N LOREL AVE |  | CHICAGO, IL |  | ELLIS ROY | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: STEEP (>5:12). INVERTER OUTPUT: 0.32 KW. ARRAY OUTPUT: 0.00387 KW. LOCATION: ROOFTOP. ICC DISTRIBUTED GENERATION INSTALLER CERT. #24-0198. ¦ SPECIAL CONDITION: **NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018.
39 | 19211070380000 | B200412315 | 2/5/2025 |  |  |  |  | 450 |  | 6332 S LONG AVE |  | CHICAGO, IL |  | BLACK JOHN | LINE VOLTAGE ELECTRICAL WORK. ADD 1 CIRCUITS TO EXISTING 15 AMP SERVICE DISCONNECTING MEANS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: REAR ENTRANCE.
40 | 17104000110000 | B200412317 | 2/7/2025 |  |  |  |  | 1500 |  | 400 E RANDOLPH ST |  | CHICAGO, IL |  | JOE MORRISSEY | REPAIR OR IN-KIND REPLACEMENT OF 1 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. INCLUDES REPAIR OR REPLACMENT OF PLUMBING PIPING. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 1 INTERIOR COMMON AREAS, BATHROOM.
41 | 20323110270000 | B200412321 | 2/18/2025 |  |  |  |  | 7651 |  | 8416 S ADA ST |  | CHICAGO, IL |  | LAW ANGEL | SCOPE: NONSTRUCTURAL INTERIOR WORK: BATHROOM REMODEL INCLUDING PLUMBING (NO ELECTRICAL WORK). LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), BATHROOM.
42 | 17101060100000 | B200412329 | 2/4/2025 |  |  |  |  | 47500 |  | 701 N MICHIGAN AVE |  | CHICAGO, IL |  | WARWICK ALLERTON CHICAGO | REPAIR/REPLACEMENT AFFECTING 1 SYSTEMS : 89 EXHAUST FAN(BROAN, MODEL LP80 LO PROFILE, 18,19,20,21,22, AND 24TH FLOORS GUEST ROOMS) . ELECTRICAL WORK UNDER THIS PERMIT = NO . LOCATIONS: 0 RESIDENTIAL UNIT(S), 43 NON-RESIDENTIAL UNIT(S), 18,19,20,21,22, AND 24TH FLOOR EXHAUST FANS. ¦ SPECIAL CONDITION: INTERIOR MECHANICAL WORK ONLY WITH THIS PERMIT.
43 | 17101100070000 | B200412330 | 2/7/2025 |  |  |  |  | 100000 |  | 676 N ST CLAIR ST |  | CHICAGO, IL |  | NORTHWESTERN MEMORIAL HEALTHCARE | NONSTRUCTURAL INTERIOR PREPARATORY DEMOLITION: INTERIOR DEMOLITION TO NON- LOAD BEARING PARTITIONS AND CEILINGS TO 10TH FLOOR OF OUTPATIENT HEALTH CARE CLINIC BUILDING. ALL OTHER WORK UNDER APPLICATION/PERMIT # 101062212. LOCATIONS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), 1 INTERIOR COMMON AREAS, 10TH FLOOR.
44 | 17032310010000 | B200412338 | 2/4/2025 |  |  |  |  | 40000 |  | 819 N RUSH ST |  | CHICAGO, IL |  | LOYOLA UNIVERSITY OF CHICAGO* | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 2 . LIGHTING OUTLETS: 6. SPECIFIC LOCATION: PENT HOUSE.
45 | 25341090130000 | B200412350 | 2/10/2025 |  |  |  |  | 7500 |  | 13160 S FORRESTVILLE AVE |  | CHICAGO, IL |  | WHITE TROY | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 10 CIRCUITS. RECEPTACLE OUTLETS: 10 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: FIRST FLOOR UTILITY CLOSET AND OUTSIDE UNIT.
46 | 17071020100000 | B200412352 | 2/11/2025 |  |  |  |  | 14449 |  | 2135 W CHICAGO AVE |  | CHICAGO, IL |  | JOHNSON BENJAMIN | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: LOW-SLOPED (<2:12). INVERTER OUTPUT: 6.38 KW. ARRAY OUTPUT: 9.57 KW. LOCATION: ON THE ROOF. ICC DISTRIBUTED GENERATION INSTALLER CERT. #13-0656. ¦ SPECIAL CONDITION: **NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. ** PRESSURE CONNECTOR DEVICES COMMONLY REFERRED TO AS “SHARK BITES, OR VAMPIRE CONNECTORS” ARE PROHIBITED BECAUSE THEY ARE NOT “SERVICE RATED”. SPLICING OF SERVICE CONDUCTORS MUST IN ACCORDANCE WITH ARTICLE 14E-2- 230.46. ONLY EQUIPMENT IN ARTICLE 14E-2-230.82 (1) THRU (9) WILL BE PERMITTED TO BE CONNECTED TO THE SUPPLY SIDE OF A SERVICE DISCONNECT.
47 | 17341200430000 | B200412353 | 1/30/2025 |  |  |  |  | 1800 |  | 200 E 35TH ST |  | CHICAGO, IL |  | PAL RAVI | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 3 . LIGHTING OUTLETS: 12. SPECIFIC LOCATION: 1ST FLOOR.
48 | 17201100510000 | B200412355 | 2/4/2025 |  |  |  |  | 528000 |  | 1337 W 13TH ST |  | CHICAGO, IL |  | CHICAGO HOUSING AUTHORITY | REPAIR OR IN-KIND REPLACEMENT OF 55 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. INCLUDES REPAIR OR REPLACMENT OF PLUMBING PIPING. INCLUDES REPAIR OR REPLACEMENT OF PLUMBING RISERS IN EXISTING CHASES. LOCATIONS: 7 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 1337-1353 W 13TH ST BUILDINGS.
49 | 13234100300000 | B200412356 | 1/31/2025 |  |  |  |  | 74848 |  | 3260 W BELMONT AVE |  | CHICAGO, IL |  | KENNEDY PLZ BK, LLC | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 64 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: SOUTH ELEVATION OF FRONT OF BUILDING.
50 | 17201150480000 | B200412359 | 2/4/2025 |  |  |  |  | 472200 |  | 1345 S THROOP ST |  | CHICAGO, IL |  | CHICAGO HOUSING AUTHORITY | REPAIR OR IN-KIND REPLACEMENT OF 40 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. INCLUDES REPAIR OR REPLACMENT OF PLUMBING PIPING. INCLUDES REPAIR OR REPLACEMENT OF PLUMBING RISERS IN EXISTING CHASES. LOCATIONS: 8 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 1345-1359 S THROOP ST BUILDINGS.
51 | 17201070460000 | B200412361 | 2/4/2025 |  |  |  |  | 548700 |  | 1246 S RACINE AVE |  | CHICAGO, IL |  | CHICAGO HOUSING AUTHORITY | REPAIR OR IN-KIND REPLACEMENT OF 48 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. INCLUDES REPAIR OR REPLACMENT OF PLUMBING PIPING. INCLUDES REPAIR OR REPLACEMENT OF PLUMBING RISERS IN EXISTING CHASES. LOCATIONS: 9 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 1246-1262 S RACINE AVE BUILDINGS.
52 | 17201060560000 | B200412362 | 2/4/2025 |  |  |  |  | 322800 |  | 1317 W WASHBURNE AVE |  | CHICAGO, IL |  | CHICAGO HOUSING AUTHORITY | REPAIR OR IN-KIND REPLACEMENT OF 42 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. INCLUDES REPAIR OR REPLACMENT OF PLUMBING PIPING. INCLUDES REPAIR OR REPLACEMENT OF PLUMBING RISERS IN EXISTING CHASES. LOCATIONS: 5 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 1317-1325 W WASHBURNE AVE BUILDINGS.
53 | 25161110380000 | B200412365 | 2/3/2025 |  |  |  |  | 20007 |  | 10419 S PARNELL AVE |  | CHICAGO, IL |  | FRANKLIN RHONDA | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 11.5 KW. ARRAY OUTPUT: 10.53 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817. ¦ SPECIAL CONDITION: ** NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. ** REFER TO ELECTRICAL PERMIT B200411201.
54 | 17201060560000 | B200412366 | 2/4/2025 |  |  |  |  | 624600 |  | 1301 W WASHBURNE AVE |  | CHICAGO, IL |  | CHICAGO HOUSING AUTHORITY | REPAIR OR IN-KIND REPLACEMENT OF 66 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. INCLUDES REPAIR OR REPLACMENT OF PLUMBING PIPING. INCLUDES REPAIR OR REPLACEMENT OF PLUMBING RISERS IN EXISTING CHASES. LOCATIONS: 8 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 1301-1315 W WASHBURNE AVE BUILDINGS.
55 | 25033170110000 | B200412369 | 2/7/2025 |  |  |  |  | 21033 |  | 9333 S INDIANA AVE |  | CHICAGO, IL |  | ALLEN DAVID | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 11.5 KW. ARRAY OUTPUT: 11.07 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817. ¦ SPECIAL CONDITION: REFER TO PERMIT # FOR ACCESSORY BUILDING B200412371REPAIR SERVICE/HOUSE LOAD CENTER UPGRADE PERMIT B200412176UNDERGROUND RACEWAY TO BE INSPECTED BY AHJ PRIOR TO COVERING.
56 | 17093260040000 | B200412370 | 2/3/2025 |  |  |  |  | 53000 |  | 150 N RIVERSIDE PLZ |  | CHICAGO, IL |  | BACHL001 LLC C/O BLUE OWL CAPITAL | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL OTHER. SPECIFIC LOCATION: 37TH FLOOR TEMPERATURE CONTROL.
57 | 25033170110000 | B200412371 | 2/7/2025 |  |  |  |  | 21033 |  | 9333 S INDIANA AVE |  | CHICAGO, IL |  | ALLEN DAVID | INSTALL SOLAR PANELS ON ROOF OF ACCESSORY BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 11.5 KW. ARRAY OUTPUT: 11.07 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817. ¦ SPECIAL CONDITION: REFER TO PERMIT # FOR PRIMARY BUILDING B200412369REPAIR SERVICE/HOUSE LOAD CENTER UPGRADE PERMIT # B200412176UNDERGROUND RACEWAY TO BE INSPECTED BY AHJ PRIOR TO COVERING.
58 | 13272160190000 | B200412374 | 1/30/2025 |  |  |  |  | 10000 |  | 2950 N LOWELL AVE |  | CHICAGO, IL |  | MARCELO MONTES DEOCA | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 20'-0' ' X12'-0' '. GABLE ROOF HEIGHT TO PEAK: 13'-0' '.
59 | 25341090130000 | B200412378 | 2/13/2025 |  |  |  |  | 5920 |  | 13160 S FORRESTVILLE AVE |  | CHICAGO, IL |  | WHITE TROY | REPAIR/REPLACEMENT AFFECTING 2 SYSTEMS : 1 OTHER HEAT PUMP(MITSUBISHI SUZ-KA30NAHZ IN PLACE OF PREVIOUS EXTERIOR CONDENSING UNIT) 1 OTHER AIR HANDLING EQUIPMENT(MITSUBISHI SVZ-KP30NA AIR HANDLER WITH HEAT STRIP IN PLACE OF PREVIOUS GAS FURNACE) . ELECTRICAL WORK UNDER THIS PERMIT = NO . LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), EXTERIOR WORK, BASEMENT UTILITY CLOSET AND EXTERIOR OF HOME.
60 | 16114130390000 | B200412379 | 2/3/2025 |  |  |  |  | 100 |  | 3256 W WASHINGTON BLVD |  | CHICAGO, IL |  | EPSTEIN ANNA | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 400 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: BAASEMENT.
61 | 14061050210000 | B200412382 | 3/28/2025 |  |  |  |  | 40000 |  | 6234 N CLAREMONT AVE |  | CHICAGO, IL |  | RAZIA SULTANA | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 21'-0' ' X28'-0' '. HIP ROOF HEIGHT TO PEAK: 12'-0' '.
62 | 17302000310000 | B200412412 | 2/11/2025 |  |  |  |  | 5460 |  | 1934 W 22ND PL |  | CHICAGO, IL |  | ARANDA JUAN | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: LOW-SLOPED (<2:12). INVERTER OUTPUT: 4.94 KW. ARRAY OUTPUT: 0.07098 KW. LOCATION: ROOF OF BUILDING. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0495. ¦ SPECIAL CONDITION: **NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. ****PLEASE APPLY FOR ELECTRICAL PERMIT PRIOR TO SOLAR INSPECTION OR RISK FAILURE AS PROPOSED WORK PER ELECTRICAL DRAWING AND PICTURES PROVIDED.
63 | 17094400010000 | B200412413 | 1/30/2025 |  |  |  |  | 10000 |  | 110 N WACKER DR |  | CHICAGO, IL |  | CALLAHAN CAPITAL PARTNERS | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL DATA/VIDEO. SPECIFIC LOCATION: 35TH FLOOR.
64 | 20232110250000 | B200412420 | 1/30/2025 |  |  |  |  | 15000 |  | 6555 S WOODLAWN AVE |  | CHICAGO, IL |  | SCOTT SHEILA | REPAIR OR IN-KIND REPLACEMENT OF 0 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. INCLUDES REPAIR OR REPLACMENT OF PLUMBING PIPING. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 2 INTERIOR COMMON AREAS, BASEMENT, 1ST FLOOR AND 2ND FLOOR.
65 | 17293110270000 | B200412430 | 3/31/2025 |  |  |  |  | 8000 |  | 2904 S ARCHER AVE |  | CHICAGO, IL |  | MIRACLE HOME CREATIVE CENTER LLC | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 340 SQ. FT., LINTEL QTY. 5, MAX. LENGTH 3. PARAPET REBUILDING: 35 SQ. FT. LOCATION: NORTH SIDE. ¦ SPECIAL CONDITION: SEPARATE PERMIT THROUGH CDOT FOR USE OF THE PUBLIC WAY
66 | 17061270050000 | B200412433 | 2/4/2025 |  |  |  |  | 8729 |  | 1243 N HOYNE AVE |  | CHICAGO, IL |  | RITCHEY BARTON | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: LOW-SLOPED (<2:12). INVERTER OUTPUT: 0.32 KW. ARRAY OUTPUT: 0.01247 KW. LOCATION: ROOFTOP. ICC DISTRIBUTED GENERATION INSTALLER CERT. #24-0198. ¦ SPECIAL CONDITION: SOLAR PANELS SHALL NOT BE VISIBLE FROM THE STREET, TO BE INSTALLED NO HIGHER THAN SHOWN ON DRAWINGS DATED 11/5/2024. NO OTHER EXTERIOR WORK WITH THIS PERMIT.**LOAD MANAGEMENT & AMPACITIES FOR OCP SHALL BE PROPERLY SIZED ACCORDING TO ELECTRICAL DRAWING PROVIDED.**REFER TO CEC 2018 _ 310.15
67 | 19154150050000 | B200412437 | 4/1/2025 |  |  |  |  | 8500 |  | 6113 S KOSTNER AVE |  | CHICAGO, IL |  | MULTI RESTORATION INC | SCOPE: NONSTRUCTURAL INTERIOR ALTERATION TO EXISTING BASEMENT, REPLACE DRYWALL WITHIN SINGLE FAMILY HOME. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 1 INTERIOR COMMON AREAS, BASEMENT.
68 | 20324050150000 | B200412442 | 2/6/2025 |  |  |  |  | 100 |  | 8341 S SANGAMON ST |  | CHICAGO, IL |  | SMITH AMAIYA | PURPOSE: LEGALIZE UNPERMITTED WORK. WOOD FENCE - 6'-0' ' (HEIGHT) X 30'-0' ' (LENGTH). LOCATION: EXTERIOR OF BUILDING, FENCING.
69 | 11321210130000 | B200412447 | 1/30/2025 |  |  |  |  | 9500 |  | 1414 W PRATT BLVD |  | CHICAGO, IL |  | EVEREST INVESTMENTS LLC IX LLC- PRATT SERIES | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 10000 SQ. FT., LINTEL QTY. 1, MAX. LENGTH 4. LOCATION: EXTERIOR TUCKPOINTING &4' LINTEL FIRST FLOOR WEST.
70 | 13363110390000 | B200412455 | 2/14/2025 |  |  |  |  | 192000 |  | 1800 N HUMBOLDT BLVD |  | CHICAGO, IL |  | CHILDREN'S PLACE ASSN | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 1100 SQ. FT., LINTEL QTY. 6, MAX. LENGTH 16. LOCATION: R/R EAST FACE WYTHE; REPLACE LINTELS PER DRAWING.
71 | 17341210330000 | B200412457 | 1/30/2025 |  |  |  |  | 3800 |  | 240 E 35TH ST |  | CHICAGO, IL |  | SCARUFFI CARY | REPAIR OR IN-KIND REPLACEMENT OF 3 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. REPAIR OR IN-KIND REPLACEMENT OF HOT WATER HEATER(S). INCLUDES REPAIR OR REPLACMENT OF PLUMBING PIPING. LOCATIONS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), INSIDE RESTAURANT BUSINESS. ¦ SPECIAL CONDITION: INTERIOR PLUMBING WORK ONLY WITH THIS PERMIT, NO EXTERIOR WORK.
72 | 14172210030000 | B200412459 | 1/31/2025 |  |  |  |  | 255000 |  | 845 W WILSON AVE |  | CHICAGO, IL |  | CITY OF CHICAGO DEPARTMENT OF FLEET MGMT | SCOPE: ROOF REPLACEMENT. AREA: 6300 SQ. FT. ROOF COVERING: OTHER. LOCATION: ROOF TOP. IL ROOFING CONTRACTOR LICENSE: 104014585.
73 | 16084180270000 | B200412466 | 3/18/2025 |  |  |  |  | 5000 |  | 5938 W MADISON ST |  | CHICAGO, IL |  | AMERICAN TOWER | ALTERATION OF EXISTING COMMUNICATION EQUIPMENT. ALTERATION OF 2 BOXES AND EQUIPMENT ON 1 TOWERS / STRUCTURES. LOCATION: NORTHWEST OF BUILDING.
74 | 11302170190000 | B200412467 | 2/19/2025 |  |  |  |  | 42000 |  | 1600 W JONQUIL TER |  | CHICAGO, IL |  | GOOD NEWS PARTNERS | IN-KIND REPLACEMENT OF EXTERIOR WINDOWS AND DOORS IN EXISTING OPENINGS. REPLACEMENT WINDOWS: 126; REPLACEMENT SKYLIGHTS: 0; REPLACEMENT DOORS: 0. AFFECTS: 71 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), LOCATION: REPLACE EXISTING WINDOWS.
75 | 14202180460000 | B200412483 | 2/25/2025 |  |  |  |  | 19000 |  | 1038 W WAVELAND AVE |  | CHICAGO, IL |  | GREYSTONE, LLC | REMOVAL OF NON-LOAD BEARING SHAFT WALL FOR FURTHER INVESTIGATION, ALL WORK TO BE PERMITTED ON PERMIT NO 101061322, NO OTHER WORK. LOCATIONS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), EXTERIOR WORK, REAR SHAFT SIDING APPROX 520SF. NO STRUCTURAL WORK.
76 | 25322110390000 | B200412486 | 1/31/2025 |  |  |  |  | 4500 |  | 12837 S GREEN ST |  | CHICAGO, IL |  | BIG DOG PROPERTY MGMT | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 4 . LIGHTING OUTLETS: 6. SPECIFIC LOCATION: ALL 3 LEVELS.
77 | 25322110390000 | B200412489 | 1/31/2025 |  |  |  |  | 5000 |  | 12837 S GREEN ST |  | CHICAGO, IL |  | BIG DOG PROPERTY MGMT | REPAIR OR IN-KIND REPLACEMENT OF 5 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), WET AREAS.
78 | 13131310140000 | B200412490 | 1/31/2025 |  |  |  |  | 6500 |  | 4419 N FRANCISCO AVE |  | CHICAGO, IL |  | CHERESH PAUL | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 17 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: ELECTRIC METER, MAIN SERVICE PANEL.
79 | 25322110390000 | B200412494 | 2/25/2025 |  |  |  |  | 7000 |  | 12837 S GREEN ST |  | CHICAGO, IL |  | BIG DOG PROPERTY MGMT | NONSTRUCTURAL INTERIOR WORK ON MAIN FLOOR: REPLACE DRYWALL. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), MAIN FLOOR.
80 | 19361290710000 | B200412496 | 2/7/2025 |  |  |  |  | 13338 |  | 8243 S RICHMOND ST |  | CHICAGO, IL |  | BAILEY MARIETTA | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 11.5 KW. ARRAY OUTPUT: 7.02 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817. ¦ SPECIAL CONDITION: ** NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. **PLEASE REFER TO ELECTRICAL PERMIT B200412179.
81 | 13222000320000 | B200412498 | 2/20/2025 |  |  |  |  | 98210 |  | 4313 W IRVING PARK RD |  | CHICAGO, IL |  | PUROHIT DHARMESH | SCOPE: NONSTRUCTURAL INTERIOR REPLACEMENT OF FINISHES IN DINING, SERVICE AREA AND RESTROOMS - REPLACEMENT OF PLUMBING FIXTURES AND ASSOCIATED PIPING, REPLACEMENT OF CASEWORK . LOCATIONS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), 1 INTERIOR COMMON AREAS, INTERIOR OF DUNKIN.
82 | 13364270100000 | B200412504 | 2/12/2025 |  |  |  |  | 7000 |  | 1629 N WASHTENAW AVE |  | CHICAGO, IL |  | CHICAGO HOUSING AUTHORITY | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 12 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: HOUSE.
83 | 17333200600000 | B200412516 | 2/4/2025 |  |  |  |  | 300 |  | 444 W 38TH ST |  | CHICAGO, IL |  | PEI WENDY | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: REPLACE BROKEN RECEPTACLE, REMOVE EXPOSED WIRING.
84 | 13104130130000 | B200412517 | 5/2/2025 |  |  |  |  | 155000 |  | 4919 N KOSTNER AVE |  | CHICAGO, IL |  | STASINOS GEORGE & RUTH | NONSTRUCTURAL INTERIOR WORK: REPLACE DRYWALL. REPLACE PLUMBING FIXTURES AND ASSOCIATED PIPING. REPLACE ELECTRICAL FIXTURES (NO MECHANICAL WORK). LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), REPAIRS TO FIRE DAMAGE - SFR -1ST, 2ND AND BASEMENT.
85 | 13024210020000 | B200412518 | 2/6/2025 |  |  |  |  | 25000 |  | 5753 N KIMBALL AVE |  | CHICAGO, IL |  | HASSAN AMINA | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 10 KW. ARRAY OUTPUT: 9.03 KW. LOCATION: ROOF OF MAIN HOUSE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #24-0120. ¦ SPECIAL CONDITION: ** NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018.
86 | 16041310390000 | B200412522 | 4/25/2025 |  |  |  |  | 500 |  | 5300 W DIVISION ST |  | CHICAGO, IL |  | 5300 W DIVISION LLC | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 10 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: MULTIPLE APARTMENTS. ¦ SPECIAL CONDITION: MUST COMPLY VIOLATION CASE # 679132
87 | 16114040130000 | B200412527 | 2/1/2025 |  |  |  |  | 6800 |  | 3425 W CARROLL AVE |  | CHICAGO, IL |  | NIUNIEK CO LLC | REPAIR/REPLACEMENT AFFECTING 1 SYSTEMS : 1 FLOOR FURNACE(LENOX M/NEL297UH090XV48C-01, MECH ROOM) . ELECTRICAL WORK UNDER THIS PERMIT = NO . LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), REPLACE GAS FURNACE 90+ AND 4T AC UNIT.
88 | 14051080200000 | B200412538 | 2/11/2025 |  |  |  |  | 2500 |  | 1528 W THOME AVE |  | CHICAGO, IL |  | JB PELICAN ENTRPRISES, LLC | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 5 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: BASEMENT.
89 | 17294190240000 | B200412539 | 2/2/2025 |  |  |  |  | 600 |  | 2526 S HALSTED ST |  | CHICAGO, IL |  | ZHENG XIAO DAN | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: 1 ST FLOOR APARTMENT. ¦ SPECIAL CONDITION: MUST COMPLY VIOLATIONS FOR CASE #708263
90 | 20102140030000 | B200412545 | 1/30/2025 |  |  |  |  | 10000 |  | 4800 S COTTAGE GROVE AVE |  | CHICAGO, IL |  | NORTHWESTERN MEDICAL GROUP | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL OTHER. SPECIFIC LOCATION: 1ST FLOOR.
91 | 17084210040000 | B200412547 | 1/30/2025 |  |  |  |  | 44660 |  | 1045 W FULTON MARKET |  | CHICAGO, IL |  | 1043-1055 WEST FULTON MARKET ST OWNER LLC | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL OTHER. SPECIFIC LOCATION: 9TH AND 10TH FLOOR. ¦ SPECIAL CONDITION: NO OTHER WORK
92 | 16253010350000 | B200412549 | 3/10/2025 |  |  |  |  | 14000 |  | 3053 W 26TH ST |  | CHICAGO, IL |  | ROSS DRESS FOR LESS, INC. | SCOPE: NONSTRUCTURAL INTERIOR ALTERATION TO STOREFRONT FOR INSTALLATION OF SECURITY SHUTTERS AS PER PLANS LOCATIONS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), FRONT ENTRANCE.
93 | 20102140060000 | B200412552 | 1/31/2025 |  |  |  |  | 60000 |  | 4822 S COTTAGE GROVE AVE |  | CHICAGO, IL |  | NORTHWESTERN MEDICINE | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL AUDIO. SPECIFIC LOCATION: BUILDING.
94 | 17091230090000 | B200412553 | 2/4/2025 |  |  |  |  | 5000 |  | 443 W HURON ST |  | CHICAGO, IL |  | THE CHICAGO DENTAL STUDIO | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL DATA/VIDEO. SPECIFIC LOCATION: INTERIOR OF SPACE.
95 | 10314080140000 | B200412554 | 2/5/2025 |  |  |  |  | 9900 |  | 6521 N NORMANDY AVE |  | CHICAGO, IL |  | DEWAN ERICA | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 8.36 KW. ARRAY OUTPUT: 0.99 KW. LOCATION: ROOF OF HOME. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0495. ¦ SPECIAL CONDITION: REFER TO PERMIT # FOR ACCESSORY BUILDING B200412561UNDERGROUND RACEWAY TO BE INSPECTED BY AHJ PRIOR TO COVERING.
96 | 19231000430000 | B200412557 | 2/5/2025 |  |  |  |  | 4500 |  | 3939 W 63RD ST |  | CHICAGO, IL |  | LEVAV PROPERTIES LLC | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 120 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: EAST WALL AND SOUTH WALL.
97 | 14174090150000 | B200412560 | 2/6/2025 |  |  |  |  | 76809 |  | 4215 N BROADWAY |  | CHICAGO, IL |  | AVANATH SCOTLAND YARD, LLC | LIMITED REPAIR (25% OR LESS) FOR STEEL EXTERIOR STAIRWAY (QUANTITY: 4, LOCATION: OTHER).
98 | 10314080140000 | B200412561 | 2/5/2025 |  |  |  |  | 4500 |  | 6521 N NORMANDY AVE |  | CHICAGO, IL |  | DEWAN ERICA | INSTALL SOLAR PANELS ON ROOF OF ACCESSORY BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 3.8 KW. ARRAY OUTPUT: 4.5 KW. LOCATION: DETACHED GARAGE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0495. ¦ SPECIAL CONDITION: REFER TO PERMIT # FOR PRIMARY BUILDING. B200412554UNDERGROUND RACEWAY TO BE INSPECTED BY AHJ PRIOR TO COVERING.
99 | 16251000250000 | B200412566 | 5/1/2025 |  |  |  |  | 750 |  | 2214 S TROY ST |  | CHICAGO, IL |  | MARTINEZ JOSE | SCOPE: NONSTRUCTURAL INTERIOR REMOVAL OF UNPERMITTED RESIDENTIAL UNIT FEATURES, REMOVAL OF PLUMBING FIXTURES AND ASSOCIATED PIPING AT ITS SOURCE, REMOVE DRYWALL PARTITIONS, COUNTER, CABINET AND APPLIANCES IN ATTIC, RETURN TO ORIGINAL TWO UNIT BUILDING. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), ATTIC.
100 | 20102140060000 | B200412573 | 2/3/2025 |  |  |  |  | 100000 |  | 4822 S COTTAGE GROVE AVE |  | CHICAGO, IL |  | DEBARTOLO FRANK | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL OTHER. SPECIFIC LOCATION: ALL FLOORS.
101 | 20102140060000 | B200412579 | 1/31/2025 |  |  |  |  | 816327 |  | 4822 S COTTAGE GROVE AVE |  | CHICAGO, IL |  | NORTHWESTERN MEMORIAL HOSPITAL | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL OTHER. SPECIFIC LOCATION: BUILDING AUTOMATION SYSTEM.
102 | 13104020190000 | B200412581 | 2/28/2025 |  |  |  |  | 50000 |  | 5101 N KILDARE AVE |  | CHICAGO, IL |  | NGUYEN NHUNG | SCOPE: NONSTRUCTURAL INTERIOR KITCHEN REMODEL TO INCLUDE UPDATES TO ELECTRICAL AND PLUMBING, FINISHES AND TRIM. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), KITCHEN REMODEL.
103 | 19224100340000 | B200412584 | 2/11/2025 |  |  |  |  | 20500 |  | 6840 S TRIPP AVE |  | CHICAGO, IL |  | GALLEGOS EDUARDA | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 125 AMP SERVICE DISCONNECTING MEANS WITH 2 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: MAIN SERVICE PANEL UPGRADE-125AMPS.
104 | 17092500190000 | B200412585 | 1/31/2025 |  |  |  |  | 469 |  | 316 W HUBBARD ST |  | CHICAGO, IL |  | DAL TILE | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. ALTER EXISTING INTERCOM. SPECIFIC LOCATION: INTERCOM WITH DOOR RELEASE.
105 | 17161110430000 | B200412590 | 2/3/2025 |  |  |  |  | 7000 |  | 626 W JACKSON BLVD |  | CHICAGO, IL |  | TITAN ELECTRIC, LLC. | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. ALTER EXISTING DATA/VIDEO. SPECIFIC LOCATION: 6TH FLOOR.
106 | 17273041550000 | B200412591 | 1/31/2025 |  |  |  |  | 153570 |  | 2701 S MICHIGAN AVE |  | CHICAGO, IL |  | STUART TOWNHOMES | SCOPE: ROOF REPLACEMENT. AREA: 5900 SQ. FT. ROOF COVERING: OTHER. LOCATION: ROOF TOP. IL ROOFING CONTRACTOR LICENSE: 104000268.
107 | 17273040980000 | B200412592 | 1/31/2025 |  |  |  |  | 154635 |  | 2729 S MICHIGAN AVE |  | CHICAGO, IL |  | STUART TOWNHOMES | SCOPE: ROOF REPLACEMENT. AREA: 5900 SQ. FT. ROOF COVERING: OTHER. LOCATION: ROOF TOP. IL ROOFING CONTRACTOR LICENSE: 104000268.
108 | 13244020290000 | B200412596 | 3/6/2025 |  |  |  |  | 25558 |  | 3350 N WESTERN AVE |  | CHICAGO, IL |  | FOWLER KEISHA | REPAIR/REPLACEMENT AFFECTING 1 SYSTEMS : 1 ROOFTOP PACKAGED UNIT(TRANE, YSJ20A4S0H0CJ2, (#5) ROOF TOP) 1 ROOFTOP PACKAGED UNIT(TRANE, YSJ120A4S0H0CJ2 (#4) ROOF TOP) 1 ROOFTOP PACKAGED UNIT(TRANE, YHC036E4THA42XA (#7) ROOF TOP) 1 ROOFTOP PACKAGED UNIT(TRANE, YH036E4RHA42XA (#6) ROOF TOP) 1 ROOFTOP PACKAGED UNIT(TRANE, YSJ090A4S0H0CJ2 (#3) ROOF TOP) . ELECTRICAL WORK UNDER THIS PERMIT = NO . LOCATIONS: 0 RESIDENTIAL UNIT(S), 5 NON-RESIDENTIAL UNIT(S), EXTERIOR WORK, ROOF TOP. ¦ SPECIAL CONDITION: CONTACT REFRIGERATION SUPERVISOR CLEMENT GAVIN 312-743-3562, PRIOR TO THE INSTALLATION OF ANY ROOFTOP EQUIPMENT, TO SCHEDULE AN INSPECTION.
109 | 17331100140000 | B200412598 | 2/20/2025 |  |  |  |  | 10000 |  | 3233 S UNION AVE |  | CHICAGO, IL |  | HUANG ANTHONY | FULL REBUILD (SAME AS EXISTING) FOR WOOD PORCH (OPEN) (QUANTITY: 1, LOCATION: REAR OF BUILDING).
110 | 16272340220000 | B200412601 | 1/30/2025 |  |  |  |  | 10000 |  | 4122 W 26TH ST |  | CHICAGO, IL |  | PURPLE CLINIC | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL DATA/VIDEO. SPECIFIC LOCATION: 1ST FLOOR RETAIL UNIT.
111 | 14304000640000 | B200412609 | 1/31/2025 |  |  |  |  | 9000 |  | 1745 W FULLERTON AVE |  | CHICAGO, IL |  | VITALANT HEALTH | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL DATA/VIDEO. SPECIFIC LOCATION: INTERIOR LOW VOLTAGE NETWORK CABLING.
112 | 13144070320000 | B200412613 | 2/27/2025 |  |  |  |  | 10000 |  | 4345 N SAWYER AVE |  | CHICAGO, IL |  | VERIZON WIRELESS | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. ALTER EXISTING OTHER. SPECIFIC LOCATION: ROOFTOP.
113 | 19024060250000 | B200412614 | 1/30/2025 |  |  |  |  | 5000 |  | 4304 S SAWYER AVE |  | CHICAGO, IL |  | FLORES MIGUEL | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 20 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: BASEMENT AND BACKYARD.
114 | 25284320210000 | B200412615 | 2/10/2025 |  |  |  |  | 10344 |  | 30 E BRAYTON ST |  | CHICAGO, IL |  | PINK HELENA | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 6 CIRCUITS. RECEPTACLE OUTLETS: 6 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: BASEMENT UTILITY CLOSET, UPPER FLOOR BEDROOMS.
115 | 16221060020000 | B200412617 | 1/31/2025 |  |  |  |  | 120000 |  | 4521 W ROOSEVELT RD |  | CHICAGO, IL |  | PEORIA PACKING ROOSEVELT PROPERTY LLC | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL DATA/VIDEO. INSTALL SECURITY. SPECIFIC LOCATION: FLOOR FACTORY.
116 | 25211270310000 | B200412620 | 2/27/2025 |  |  |  |  | 35000 |  | 602 W 115TH ST |  | CHICAGO, IL |  | TERRY MONTRELL | SCOPE: NONSTRUCTURAL INTERIOR ALTERATION TO SFR, PATCH AND REPAIR DRYWALL, REPLACE FINISHES, REPLACE PLUMBING FIXTURES WITH ASSOCIATED PIPING, REPLACE ELECTRICAL. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), BASEMENT AND FIRST FLOOR.
117 | 17051150320000 | B200412622 | 2/12/2025 |  |  |  |  | 5000 |  | 1362 N BOSWORTH AVE |  | CHICAGO, IL |  | POZULP KEITH | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 50 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: FRONT FACADE OF BUILDING.
118 | 19143260060000 | B200412626 | 2/3/2025 |  |  |  |  | 13520 |  | 3746 W 62ND PL |  | CHICAGO, IL |  | ORTIZ MARIA | PURPOSE: NEW/REPLACEMENT INSTALLATION. WROUGHT IRON FENCE - 6'-0' ' (HEIGHT) X 262'-0' ' (LENGTH). LOCATION: ALL SIDES OF THE PROPERTY.
119 | 25284320210000 | B200412628 | 2/5/2025 |  |  |  |  | 960 |  | 30 E BRAYTON ST |  | CHICAGO, IL |  | PINK HELENA | REPAIR OR IN-KIND REPLACEMENT OF 0 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. REPAIR OR IN-KIND REPLACEMENT OF HOT WATER HEATER(S). LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), BASEMENT UTILITY CLOSET.
120 | 13311090180000 | B200412630 | 2/3/2025 |  |  |  |  | 4000 |  | 2322 N NEWLAND AVE |  | CHICAGO, IL |  | LOPEZ NELIDA | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 0 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: MAIN HOUSE.
121 | 25284320210000 | B200412631 | 2/10/2025 |  |  |  |  | 7470 |  | 30 E BRAYTON ST |  | CHICAGO, IL |  | PINK HELENA | REPAIR/REPLACEMENT AFFECTING 2 SYSTEMS : 1 OTHER HEAT PUMP(REPLACE CONDENSER WITH MITSUBISHI HEAT PUMP PUZ-HA42NKA1) 1 OTHER HEAT PUMP(REPLACE CONDENSER WITH MITSUBISHI HEAT PUMP MXZ-2C20NAHZ4-U1) 1 OTHER AIR HANDLING EQUIPMENT(REPLACE GAS FURNACE WITH MITSUBISHI AIR HANDLER PVA-A42AA7) 1 OTHER AIR HANDLING EQUIPMENT(REPLACE GAS FURNACE WITH 2 MITSUBISHI MINI-SPLIT HEADS MLZ-KP12NA2-U1) . ELECTRICAL WORK UNDER THIS PERMIT = NO . LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), EXTERIOR WORK, BASEMENT UTILITY CLOSET AND UPPER FLOOR.
122 | 17161111960000 | B200412634 | 1/30/2025 |  |  |  |  | 20000 |  | 626 W JACKSON BLVD |  | CHICAGO, IL |  | STERLING BAY LCC | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL SECURITY. SPECIFIC LOCATION: AISLE ROCKET - 6TH FLOOR.
123 | 13131060120000 | B200412645 | 2/6/2025 |  |  |  |  | 26530 |  | 2847 W GIDDINGS ST |  | CHICAGO, IL |  | WEILAND TIM | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: STEEP (>5:12). INVERTER OUTPUT: 5 KW. ARRAY OUTPUT: 5.1 KW. LOCATION: HOUSE ROOF. ICC DISTRIBUTED GENERATION INSTALLER CERT. #14-0400. ¦ SPECIAL CONDITION: ** NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. **POLARIS CONNECTOR LUGS SIZED 350-750 MCM ARE SUITABLE FOR USE ON THE LINE SIDE OF SERVICE EQUIPMENT PER ARTICLE CEC 230.46.
124 | 20324190290000 | B200412646 | 2/11/2025 |  |  |  |  | 9025 |  | 8522 S MORGAN ST |  | CHICAGO, IL |  | JONES ROBERT | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 8 CIRCUITS. RECEPTACLE OUTLETS: 8 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: BASEMENT AND EXTERIOR.
125 | 16224120100000 | B200412648 | 1/30/2025 |  |  |  |  | 1800 |  | 1831 S KARLOV AVE |  | CHICAGO, IL |  | HARRIS LATRICE | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 6 . LIGHTING OUTLETS: 2. SPECIFIC LOCATION: BASEMENT APPARTMENT AND UTILITY AREA.
126 | 13074110280000 | B200412649 | 2/5/2025 |  |  |  |  | 5880 |  | 5020 N NATOMA AVE |  | CHICAGO, IL |  | BAYLISS DARA | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 9.68 KW. ARRAY OUTPUT: 5.88 KW. LOCATION: ROOF OF HOME. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0495. ¦ SPECIAL CONDITION: ** NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018.
127 | 20324190290000 | B200412651 | 2/5/2025 |  |  |  |  | 1665 |  | 8522 S MORGAN ST |  | CHICAGO, IL |  | JONES ROBERT | REPAIR OR IN-KIND REPLACEMENT OF 0 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. REPAIR OR IN-KIND REPLACEMENT OF HOT WATER HEATER(S). INCLUDES REPAIR OR REPLACMENT OF PLUMBING PIPING. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), BASEMENT.
128 | 20324190290000 | B200412652 | 2/10/2025 |  |  |  |  | 5945 |  | 8522 S MORGAN ST |  | CHICAGO, IL |  | JONES ROBERT | REPAIR/REPLACEMENT AFFECTING 2 SYSTEMS : 1 OTHER HEAT PUMP(REPLACE CONDENSER WITH HEAT PUMP MXZ-SM48NAMHZ2-U1) 1 OTHER AIR HANDLING EQUIPMENT(REPLACE GAS FURNACE WITH AIR HANDLER PVFY-P48NAMU-E1, MINI-SPLIT PKFY-P04NLMU-ER1.TH, AND HEAT STRIP EH10-MPA-LB) . ELECTRICAL WORK UNDER THIS PERMIT = NO . LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), EXTERIOR WORK, BASEMENT, EXTERIOR, AND SECOND FLOOR.
129 | 14331220150000 | B200412654 | 1/31/2025 |  |  |  |  | 120 |  | 2156 N CLEVELAND AVE |  | CHICAGO, IL |  | LONGORIA DIANE | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: BASEMENT, 1ST FLOOR AND 2ND FLOOR. ¦ SPECIAL CONDITION: NO OTHER WORK.
130 | 25092240210000 | B200412660 | 1/30/2025 |  |  |  |  | 2500 |  | 9800 S HARVARD AVE |  | CHICAGO, IL |  | AARON MUHAMMAD HOMEOWNER | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 30 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: BASEMENT AND BACK YARD.
131 | 14322120410000 | B200412666 | 1/31/2025 |  |  |  |  | 4000 |  | 2206 N HALSTED ST |  | CHICAGO, IL |  | SOLIDCORE CHICAGO, LLC | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL DATA/VIDEO. SPECIFIC LOCATION: WHOLE SPACE.
132 | 11291080140000 | B200412676 | 2/4/2025 |  |  |  |  | 1200 |  | 7600 N SHERIDAN RD |  | CHICAGO, IL |  | 7600 SHERIDAN LLC | LIMITED REPAIR (25% OR LESS) FOR WOOD PORCH (OPEN) (QUANTITY: 1, LOCATION: NORTH SIDE OF BUILDING).
133 | 17093060360000 | B200412680 | 1/31/2025 |  |  |  |  | 20000 |  | 444 W LAKE ST |  | CHICAGO, IL |  | ATHIR CAPITAL | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 2 . LIGHTING OUTLETS: 4. SPECIFIC LOCATION: TENANT SUITE.
134 | 20042220130000 | B200412695 | 2/5/2025 |  |  |  |  | 3612 |  | 4161 S PRINCETON AVE |  | CHICAGO, IL |  | JOHNSON LINETTA | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: STEEP (>5:12). INVERTER OUTPUT: 0.32 KW. ARRAY OUTPUT: 0.00516 KW. LOCATION: ROOFTOP. ICC DISTRIBUTED GENERATION INSTALLER CERT. #24-0198. ¦ SPECIAL CONDITION: ** NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. ******PLEASE PROVIDE NOTARIZED LETTER FROM OWNER & BUILDING MANAGEMENT WITH APPROVAL OF SOLAR INSTALLATION OF PROPOSED WORK ON BUILDING STRUCTURE AT THE TIME OF SOLAR INSPECTION OR RISK FAILURE AS PROPOSED WORK PER ELECTRICAL DRAWING.
135 | 14304000630000 | B200412696 | 2/19/2025 |  |  |  |  | 14404 |  | 2550 N CLYBOURN AVE |  | CHICAGO, IL |  | ALBERTSONS-JEWEL OSCO | REPAIR/REPLACEMENT AFFECTING 1 SYSTEMS : 1 ROOFTOP PACKAGED UNIT(TRANE RTU- 4YCC4024E1060AA-ROOFTOP) . ELECTRICAL WORK UNDER THIS PERMIT = NO . LOCATIONS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), EXTERIOR WORK, ROOFTOP-REPLACE/REPAIR 1 RTU LIKE FOR LIKE. ¦ SPECIAL CONDITION: CONTACT REFRIGERATION SUPERVISOR CLEMENT GAVIN 312-743-3562, PRIOR TO THE INSTALLATION OF ANY ROOFTOP EQUIPMENT, TO SCHEDULE AN INSPECTION.
136 | 25281250090000 | B200412697 | 2/5/2025 |  |  |  |  | 3010 |  | 12239 S EMERALD AVE |  | CHICAGO, IL |  | ARNOLD COLIN | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: LOW-SLOPED (<2:12). INVERTER OUTPUT: 0.32 KW. ARRAY OUTPUT: 0.0043 KW. LOCATION: ROOFTOP. ICC DISTRIBUTED GENERATION INSTALLER CERT. #24-0198. ¦ SPECIAL CONDITION: ** NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018
137 | 20114120500000 | B200412702 | 2/12/2025 |  |  |  |  | 200000 |  | 1512 E 53RD ST |  | CHICAGO, IL |  | CHICK-FIL-A | SCOPE: NONSTRUCTURAL INTERIOR PREPARATORY DEMOLITION TO REMOVE DRYWALL/NON-LOAD BEARING PARTITIONS AND MEP. ALL OTHER WORK UNDER APPLICATION/PERMIT # 101063535. LOCATIONS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), BASEMENT AND FIRST FLOOR.
138 | 25281250090000 | B200412703 | 2/3/2025 |  |  |  |  | 1419 |  | 12239 S EMERALD AVE |  | CHICAGO, IL |  | ARNOLD COLIN | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. ALTER EXISTING OTHER. SPECIFIC LOCATION: EAST EXTERIOR.
139 | 13301280090000 | B200412713 | 4/3/2025 |  |  |  |  | 17000 |  | 2815 N NEVA AVE |  | CHICAGO, IL |  | ARNOLD JOHN | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 40 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: BASEMENT.
140 | 25011170760000 | B200412726 | 2/11/2025 |  |  |  |  | 23040 |  | 8951 S EUCLID AVE |  | CHICAGO, IL |  | MIMMS JAQUELINE | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: LOW-SLOPED (<2:12). INVERTER OUTPUT: 5.76 KW. ARRAY OUTPUT: 6.97 KW. LOCATION: ROOFTOP SOLAR PANEL INSTALL, 17 MODULES, 5.76KW/AC. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-1231. ¦ SPECIAL CONDITION: NEW/REPAIR SERVICE, ACCESSORY (GARAGE) AND/OR HOUSE PANEL PERMIT REQUIRED.
141 | 17103120180000 | B200412728 | 7/2/2025 |  |  |  |  | 1862762 |  | 55 E WASHINGTON ST |  | CHICAGO, IL |  | MRR 55 WASHINGTON OWNER LLC | SCOPE: NONSTRUCTURAL INTERIOR REPAIRS TO EXISTING WALLS, CEILINGS AND FLOOR FINISHES. REPLACE KITCHEN AND VANITY CABINETS. REMOVE AND REINSTALL SINK AND LIGHT FIXTURES TO 51 RESIDENTIAL UNITS AND 3 INTERIOR COMMON AREAS ON FLOORS 10, 11, 12.LOCATIONS: 51 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), WORK TO FLOORS 10, 11, AND 12 ONLY. ¦ SPECIAL CONDITION: NO DUCT WORK INCLUDED. NO EXTERIOR WORK OR ALTERATIONS TO THE WINDOWS.
142 | 25062071200000 | B200412730 | 2/10/2025 |  |  |  |  | 1987 |  | 8922 S WINCHESTER AVE |  | CHICAGO, IL |  | BROOKS DEBRA | LINE VOLTAGE ELECTRICAL WORK. ADD 1 CIRCUITS TO EXISTING 30 AMP SERVICE DISCONNECTING MEANS. ADD 1 CIRCUITS TO EXISTING 40 AMP SERVICE DISCONNECTING MEANS. RECEPTACLE OUTLETS: 2 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: MAIN FLOOR AND UPPER FLOOR.
143 | 25062071200000 | B200412736 | 2/5/2025 |  |  |  |  | 1663 |  | 8922 S WINCHESTER AVE |  | CHICAGO, IL |  | BROOKS DEBRA | REPAIR OR IN-KIND REPLACEMENT OF 0 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. REPAIR OR IN-KIND REPLACEMENT OF HOT WATER HEATER(S). LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), MAIN FLOOR BATHROOM.
144 | 17094590010000 | B200412744 | 2/10/2025 |  |  |  |  | 25000 |  | 33 N LA SALLE ST |  | CHICAGO, IL |  | NEW CINGULAR WIRELESS PCS, LLC DBA AT & T MOBILITY | ALTERATION OF EXISTING COMMUNICATION EQUIPMENT. ALTERATION OF 1 BOXES AND EQUIPMENT ON 1 TOWERS / STRUCTURES. LOCATION: BUILDING.
145 | 19033060100000 | B200412747 | 2/6/2025 |  |  |  |  | 6000 |  | 4438 S KNOX AVE |  | CHICAGO, IL |  | HERNANDEZ GERARDO | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 400 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: SPOT TUCKPOINT, REPLACE WINDOWS, DOORS.
146 | 25104100120000 | B200412753 | 2/10/2025 |  |  |  |  | 11415 |  | 10133 S RHODES AVE |  | CHICAGO, IL |  | RHODES GLORIA | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 8 CIRCUITS. RECEPTACLE OUTLETS: 8 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: BASEMENT.
147 | 25104100120000 | B200412754 | 2/5/2025 |  |  |  |  | 1663 |  | 10133 S RHODES AVE |  | CHICAGO, IL |  | COSEY GLORIA | REPAIR OR IN-KIND REPLACEMENT OF 0 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. REPAIR OR IN-KIND REPLACEMENT OF HOT WATER HEATER(S). INCLUDES REPAIR OR REPLACMENT OF PLUMBING PIPING. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), BASEMENT.
148 | 25104100120000 | B200412755 | 2/11/2025 |  |  |  |  | 7105 |  | 10133 S RHODES AVE |  | CHICAGO, IL |  | COSEY GLORIA | REPAIR/REPLACEMENT AFFECTING 2 SYSTEMS : 1 OTHER HEAT PUMP(REPLACE EXISTING EXTERIOR CONDENSER WITH MITSUBISHI PUZ-HA42NKA1 AND PUZ-HA24NHA1-R1) 1 OTHER AIR HANDLING EQUIPMENT(REPLACE GAS FURNACE IN BASEMENT WITH MITSUBISHI PVA-A42AA7, EH10-MPA-LB, AND PKA-A24KA8) . ELECTRICAL WORK UNDER THIS PERMIT = NO . LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), EXTERIOR WORK, BASEMENT, EXTERIOR.
149 | 20213020130000 | B200412757 | 2/18/2025 |  |  |  |  | 6500 |  | 6731 S UNION AVE |  | CHICAGO, IL |  | IL LAND INVESTMENT, INC | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: BASEMENT, 1ST AND 2ND FLOORS.
150 | 19102260060000 | B200412759 | 1/31/2025 |  |  |  |  | 1500 |  | 5017 S KILDARE AVE |  | CHICAGO, IL |  | BELTRAN VIRGINIA | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 24 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: BASEMENT AND BACK YARD.
151 | 13292200210000 | B200412765 | 3/7/2025 |  |  |  |  | 4700 |  | 2954 N MANGO AVE |  | CHICAGO, IL |  | CVEJIC DAN | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 400 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: REPAIR ROOF COPING & CORNICE& CHIMNEY TUCKPOINTING.
152 | 13084220300000 | B200412772 | 2/4/2025 |  |  |  |  | 1200 |  | 4852 N MASON AVE |  | CHICAGO, IL |  | JABLONSKI JERZY | LINE VOLTAGE ELECTRICAL WORK. ADD 2 CIRCUITS TO EXISTING 100 AMP SERVICE DISCONNECTING MEANS. RECEPTACLE OUTLETS: 3 . LIGHTING OUTLETS: 3. SPECIFIC LOCATION: GARAGE.
153 | 16351030350000 | B200412774 | 2/1/2025 |  |  |  |  | 1500 |  | 3144 S HAMLIN AVE |  | CHICAGO, IL |  | CASAS MIGUEL | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: BASMENT.
154 | 19251040140000 | B200412777 | 2/1/2025 |  |  |  |  | 1000 |  | 7125 S SACRAMENTO AVE |  | CHICAGO, IL |  | KETCHENS LEMARR | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 20 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: BASEMENT AND BACK YARD.
155 | 13214020210000 | B200412784 | 2/11/2025 |  |  |  |  | 2500 |  | 5043 W EDDY ST |  | CHICAGO, IL |  | FLORIAN BERNA | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 20 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: SERVICE ENTRANCE OUTSIDE.
156 | 19024130110000 | B200412791 | 2/3/2025 |  |  |  |  | 3000 |  | 4401 S ARCHER AVE |  | CHICAGO, IL |  | WEST LAWN ENTERPRISES, LLC | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 3 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: 1ST FLOOR.
157 | 16104210570000 | B200412795 | 2/3/2025 |  |  |  |  | 10500 |  | 4046 W WASHINGTON BLVD |  | CHICAGO, IL |  | LOPEZ RIGO | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 5 CIRCUITS. RECEPTACLE OUTLETS: 5 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: BASEMENT.
158 | 14331050130000 | B200412797 | 3/7/2025 |  |  |  |  | 80000 |  | 456 W BELDEN AVE |  | CHICAGO, IL |  | BREHENY JENNIFER | IN-KIND REPLACEMENT OF EXTERIOR WINDOWS AND DOORS IN EXISTING OPENINGS. REPLACEMENT WINDOWS: 25; REPLACEMENT SKYLIGHTS: 0; REPLACEMENT DOORS: 0. AFFECTS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), LOCATION: REPLACE EXTERIOR WINDOWS ON FLOORS 1-3 OF OUR HOUS. ¦ SPECIAL CONDITION: APPROVED PER ATTACHMENTS RECEIVED 2/4/25 AND 2/20/25: NEW WINDOWS TO BE RESERVE TRADITIONAL BY PELLA AS PROPOSED. REPLACEMENT OF MAIN/LOWER WINDOWS ONLY, NO WORK TO DECORATIVE STAINED GLASS TRANSOM WINDOWS WITH THIS PERMIT.
159 | 13204090350000 | B200412798 | 4/11/2025 |  |  |  |  | 20000 |  | 5852 W NEWPORT AVE |  | CHICAGO, IL |  | NEWPORT REHABS. LLC | NONSTRUCTURAL INTERIOR WORK: ENCLOSE EXISTING FURNACE AND WATER HEATER IN THE BASEMENT. REPLACE DRYWALL AND REPLACE PLUMBING FIXTURES AND ASSOCIATED PIPING. ELECTRICAL: NEW 200 AMP SERVICE, INSTALL LIGHTING, FIXTURES , SWITCHES, OUTLETS INCLUDING GFCI (S) LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), FIRST FLOOR AND BASEMENT.
160 | 17074070030000 | B200412800 | 2/4/2025 |  |  |  |  | 78585 |  | 1641 W CARROLL AVE |  | CHICAGO, IL |  | PEPPERCORN 1641 LLC | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 100 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. PARAPET REBUILDING: 280 SQ. FT. LOCATION: FACADE.
161 | 16023290070000 | B200412801 | 2/3/2025 |  |  |  |  | 20000 |  | 843 N HAMLIN AVE |  | CHICAGO, IL |  | SALGADO DANIEL | IN-KIND REPLACEMENT OF EXTERIOR WINDOWS AND DOORS IN EXISTING OPENINGS. REPLACEMENT WINDOWS: 21; REPLACEMENT SKYLIGHTS: 0; REPLACEMENT DOORS: 0. AFFECTS: 3 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 1 INTERIOR COMMON AREAS, LOCATION: EXTERIOR WINDOWS ON SOUTH, WEST, AND EAST SIDE.
162 | 20332250420000 | B200412805 | 2/4/2025 |  |  |  |  | 4816 |  | 8205 S WENTWORTH AVE |  | CHICAGO, IL |  | HICKS TIMOTHY | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. ALTER EXISTING OTHER. SPECIFIC LOCATION: ROOFTOP.
163 | 25053220340000 | B200412808 | 3/17/2025 |  |  |  |  | 450 |  | 9346 S ELIZABETH ST |  | CHICAGO, IL |  | MORGAN JANICE | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: BATHROOM.
164 | 20191020260000 | B200412811 | 2/3/2025 |  |  |  |  | 1000 |  | 6355 S OAKLEY AVE |  | CHICAGO, IL |  | BALMACEDA NARCISO | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: HABITABLE AREA OF DWERLLING UNIT.
165 | 17093260040000 | B200412815 | 2/3/2025 |  |  |  |  | 30775344 |  | 150 N RIVERSIDE PLZ |  | CHICAGO, IL |  | BACHL001 LLC C/O BLUE OWL CAPITAL | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL OTHER. SPECIFIC LOCATION: ENTIRE 37TH FLOOR.
166 | 17212112740000 | B200412818 | 3/17/2025 |  |  |  |  | 800 |  | 1214 S FEDERAL ST |  | CHICAGO, IL |  | MITCHELL PEGGY | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 2. SPECIFIC LOCATION: HALL BATHROOM.
167 | 25154080280000 | B200412821 | 2/17/2025 |  |  |  |  | 15000 |  | 10842 S EBERHART AVE |  | CHICAGO, IL |  | PROYER INNOVATIONS LLC | FULL REBUILD (SAME AS EXISTING) FOR WOOD EXTERIOR STAIRWAY (QUANTITY: 1, LOCATION: REAR OF BUILDING).
168 | 16251260270000 | B200412824 | 2/25/2025 |  |  |  |  | 3400 |  | 2842 W 25TH PL |  | CHICAGO, IL |  | RODRIGUEZ JONATHAN | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 20 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: FRONT PARAPET WALL.
169 | 20342150070000 | B200412827 | 2/20/2025 |  |  |  |  | 10000 |  | 8025 S EVANS AVE |  | CHICAGO, IL |  | DAVID LEVI | FULL REBUILD (SAME AS EXISTING) FOR WOOD EXTERIOR STAIRWAY (QUANTITY: 1, LOCATION: REAR OF BUILDING).
170 | 19093100680000 | B200412838 | 2/6/2025 |  |  |  |  | 35000 |  | 5828 S ARCHER AVE |  | CHICAGO, IL |  | SALDANA EDGARDO | SCOPE: ROOF REPLACEMENT. AREA: 3100 SQ. FT. ROOF COVERING: ASPHALT SHINGLES. LOCATION: ROOF ON ENTIRE BUILDING. IL ROOFING CONTRACTOR LICENSE: 104017855.
171 | 19093100680000 | B200412848 | 2/4/2025 |  |  |  |  | 20000 |  | 5828 S ARCHER AVE |  | CHICAGO, IL |  | SALDANA EDGARDO | IN-KIND REPLACEMENT OF EXTERIOR WINDOWS AND DOORS IN EXISTING OPENINGS. REPLACEMENT WINDOWS: 19; REPLACEMENT SKYLIGHTS: 0; REPLACEMENT DOORS: 0. AFFECTS: 1 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), LOCATION: 1ST FLOOR EXTERIOR WINDOWS.
172 | 19074070410000 | B200412856 | 2/3/2025 |  |  |  |  | 3500 |  | 5120 S NARRAGANSETT AVE |  | CHICAGO, IL |  | LARA ESTABAN | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 30 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: BASEMENT AND BACK YARD.
173 | 20252260250000 | B200412857 | 3/5/2025 |  |  |  |  | 45000 |  | 2250 E 75TH ST |  | CHICAGO, IL |  | VERIZON WIRELESS | ALTERATION OF EXISTING COMMUNICATION EQUIPMENT. ALTERATION OF 0 BOXES AND EQUIPMENT ON 1 TOWERS / STRUCTURES. LOCATION: EXISTING WIRELESS COMMUNICATION FACILITY.
174 | 20251230040000 | B200412858 | 2/4/2025 |  |  |  |  | 2500 |  | 7351 S STONY ISLAND AVE |  | CHICAGO, IL |  | FROST LIGHTING CO OF IL | LINE VOLTAGE ELECTRICAL WORK. INSTALL TEMPORARY 75 KW DIESEL GENERATOR. INSTALL TEMPORARY 20 KW DIESEL GENERATOR. RECEPTACLE OUTLETS: 0 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: TEMPORARY STRUCTURE (TENT).
175 | 14322020430000 | B200412859 | 2/17/2025 |  |  |  |  | 500000 |  | 2350 N KENMORE AVE |  | CHICAGO, IL |  | DEPAUL UNIVERSITY FACILITIES DEPARTMENT | HYDRONIC PIPING EXTENSION/RECONFIGURATION, REPAIR/REPLACEMENT AFFECTING 1 SYSTEMS : 2 CHILLER(CARRIER CHILLERS, 19DK65314CL) . ELECTRICAL WORK UNDER THIS PERMIT = YES . LOCATIONS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), MECHANICAL PENTHOUSE.
176 | 25062160250000 | B200412860 | 2/10/2025 |  |  |  |  | 12464 |  | 8932 S MARSHFIELD AVE |  | CHICAGO, IL |  | JOHNSON DAVIE | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 5 KW. ARRAY OUTPUT: 6.56 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817. ¦ SPECIAL CONDITION: NEW/REPAIR SERVICE, ACCESSORY (GARAGE) AND/OR HOUSE PANEL PERMIT REQUIRED.
177 | 16054050010000 | B200412868 | 2/19/2025 |  |  |  |  | 45000 |  | 5725 W DIVISION ST |  | CHICAGO, IL |  | T MOBILE US INC | ALTERATION OF EXISTING COMMUNICATION EQUIPMENT. ALTERATION OF 2 BOXES AND EQUIPMENT ON 1 TOWERS / STRUCTURES. LOCATION: EXISTING WIRELESS COMMUNICATION FACILITY.
178 | 17042090200000 | B200412872 | 2/4/2025 |  |  |  |  | 8000 |  | 1446 N DEARBORN ST |  | CHICAGO, IL |  | BEAL PROPERTIES | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 400 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: TUCKPOINTING THE FRONT MASONRY FENCE.
179 | 19342040060000 | B200412879 | 2/26/2025 |  |  |  |  | 350 |  | 7943 S KIRKLAND AVE |  | CHICAGO, IL |  | MARTINEZ JOSE | ADDRESS VIOLATIONS: REMOVE GARAGE EXTENSION INSTALLED OVER UTILITY EASEMENT; RECONFIGURE ATTACHED PATIO BUILT AT REAR OF HOME TO BE 12' LONG X 14' 9" WIDE (WAS 15' LONG X 17' 9" WIDE - REMOVING 3' AT THE LENGTH AND WIDTH) REPAIR CONCRETE AS NEEDED. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), EXTERIOR WORK, BACK YARD.
180 | 09362290330000 | B200412882 | 2/4/2025 |  |  |  |  | 8000 |  | 7215 W FARWELL AVE |  | CHICAGO, IL |  | STEMPIEN JACK | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 42 CIRCUITS. RECEPTACLE OUTLETS: 30 . LIGHTING OUTLETS: 25. SPECIFIC LOCATION: BASEMENT, MAIN FLOOR, 2ND FLOOR, EXTERIOR OUTLETS.
181 | 17063150130000 | B200412887 | 2/11/2025 |  |  |  |  | 30000 |  | 2019 W CORTEZ ST |  | CHICAGO, IL |  | HAYWARD SAMUEL | SCOPE: NONSTRUCTURAL INTERIOR PREPARATORY DEMOLITION FOR REMOVAL OF INTERIOR FINISHES, ELECTRICAL AND PLUMBING FIXTURES AND NONSTRUCTURAL WALLS. ALL OTHER WORK UNDER APPLICATION/PERMIT #101062180. LOCATIONS: 4 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 1 INTERIOR COMMON AREAS, INTERIOR PREPARATORY DEMOLITION. ¦ SPECIAL CONDITION: PER ATTACHMENTS RECEIVED 2/3/25: INTERIOR NON-STRUCTURAL DEMOLITION ONLY, NO DEMOLITION OF, OR WORK TO EXTERIOR, INCLUDING WINDOWS, DOORS, OR ROOF WITH THIS PERMIT.
182 | 16272110180000 | B200412891 | 2/20/2025 |  |  |  |  | 2500 |  | 4115 W OGDEN AVE |  | CHICAGO, IL |  | BOOST MOBILE | ALTERATION OF EXISTING COMMUNICATION EQUIPMENT. ALTERATION OF 0 BOXES AND EQUIPMENT ON 1 TOWERS / STRUCTURES. LOCATION: TELECOMMUNICATIONS TOWER.
183 | 19143030120000 | B200412895 | 2/18/2025 |  |  |  |  | 2500 |  | 3601 W 59TH ST |  | CHICAGO, IL |  | BOOST MOBILE | ALTERATION OF EXISTING COMMUNICATION EQUIPMENT. ALTERATION OF 0 BOXES AND EQUIPMENT ON 1 TOWERS / STRUCTURES. LOCATION: TELECOMMUNICATIONS TOWER.
184 | 19174040310000 | B200412899 | 2/18/2025 |  |  |  |  | 2500 |  | 5757 W 59TH ST |  | CHICAGO, IL |  | BOOST MOBILE | ALTERATION OF EXISTING COMMUNICATION EQUIPMENT. ALTERATION OF 0 BOXES AND EQUIPMENT ON 1 TOWERS / STRUCTURES. LOCATION: TELECOMMUNICATIONS TOWER.
185 | 16112270060000 | B200412900 | 2/6/2025 |  |  |  |  | 2000 |  | 3411 W FRANKLIN BLVD |  | CHICAGO, IL |  | CAMPOVERDE MARCIA | LINE VOLTAGE ELECTRICAL WORK. ADD 3 CIRCUITS TO EXISTING 400 AMP SERVICE DISCONNECTING MEANS. RECEPTACLE OUTLETS: 3 . LIGHTING OUTLETS: 3. SPECIFIC LOCATION: BASEMENT, 1ST, 2ND, AND 3RD FL. ¦ SPECIAL CONDITION: MUST CORRECT VIOLATIONS FOR CASE #70719AFTER THE FACT PERMIT FOR WORK DONE IN THE APARTMENTS WITHOUT PLANS OR PERMITS PRIOR TO INSPECTION. MAY NEED PERMIT FOR 400AMP SERVICE THAT WAS INSTALLED WITHOUT PLANS AND LOAD CALCULATIONS
186 | 13112190010000 | B200412903 | 2/3/2025 |  |  |  |  | 5000 |  | 5257 N ST LOUIS AVE |  | CHICAGO, IL |  | SZUDAREK LORI | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 40 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: BASEMENT, BACKYARK.
187 | 14294170440000 | B200412910 | 2/19/2025 |  |  |  |  | 100000 |  | 1157 W LILL AVE |  | CHICAGO, IL |  | LUTZ BRADLEY | SCOPE: NONSTRUCTURAL INTERIOR REPLACEMENT OF DRYWALL AT CEILING AND WALLS, REPLACE PLUMBING PIPING. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), FIRST AND SECOND FLOORS. ¦ SPECIAL CONDITION: NO FLOOR PLAN ALTERATIONS OR STRUCTURAL WORK, NO ELECTRICAL WORK INCLUDED ON THIS PERMIT.
188 | 20182320130000 | B200412914 | 2/6/2025 |  |  |  |  | 2850 |  | 1614 W 59TH ST |  | CHICAGO, IL |  | ABUBAKIER MALIK | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 10 SQ. FT., LINTEL QTY. 1, MAX. LENGTH 3. LOCATION: REMOVE DRIVE-THRU WINDOW, AND ENCLOSE WALL OPENING.
189 | 20084040430000 | B200412915 | 2/6/2025 |  |  |  |  | 9000 |  | 910 W 51ST PL |  | CHICAGO, IL |  | BROWN GRACE | REPAIR/REPLACEMENT AFFECTING 1 SYSTEMS : 1 FLOOR FURNACE(DUCANE 100000 BASEMENT) . ELECTRICAL WORK UNDER THIS PERMIT = NO . LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 1 INTERIOR COMMON AREAS, BASEMENT.
190 | 20182180200000 | B200412916 | 2/3/2025 |  |  |  |  | 2000 |  | 5759 S WOLCOTT AVE |  | CHICAGO, IL |  | HENRY KEANNE | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 60 . LIGHTING OUTLETS: 30. SPECIFIC LOCATION: APARTMENTS,BASEMENT.
191 | 20271020430000 | B200412919 | 2/3/2025 |  |  |  |  | 21680 |  | 135 E 71ST ST |  | CHICAGO, IL |  | S&M LLC. | IN-KIND REPLACEMENT OF EXTERIOR WINDOWS AND DOORS IN EXISTING OPENINGS. REPLACEMENT WINDOWS: 8; REPLACEMENT SKYLIGHTS: 0; REPLACEMENT DOORS: 2. AFFECTS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), LOCATION: REPLACE EXISTING STOREFRONT WITH NEW.
192 | 14311320150000 | B200412923 | 2/5/2025 |  |  |  |  | 24500 |  | 2333 W DICKENS AVE |  | CHICAGO, IL |  | HUBER KATHLEEN | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 7.6 KW. ARRAY OUTPUT: 9.84 KW. INCLUDES 10 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF OF HOUSE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #19-0021. ¦ SPECIAL CONDITION: ** NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018.
193 | 12243110230000 | B200412928 | 2/4/2025 |  |  |  |  | 30000 |  | 3452 N OZANAM AVE |  | CHICAGO, IL |  | MAGDAN CONSTRUCTION INC | SCOPE: ROOF REPLACEMENT. AREA: 1500 SQ. FT. ROOF COVERING: ASPHALT SHINGLES. LOCATION: REPLACEMENT OF ROOF, SIDING, AND WINDOWS. IL ROOFING CONTRACTOR LICENSE: 104016500.
194 | 20342060120000 | B200412929 | 2/11/2025 |  |  |  |  | 3050 |  | 7931 S LANGLEY AVE |  | CHICAGO, IL |  | WILSON STAFFORD | PURPOSE: NEW/REPLACEMENT INSTALLATION. WOOD FENCE - 6'-0' ' (HEIGHT) X 54'-0' ' (LENGTH). LOCATION: REAR SIDE OF THE PROPERTY.
195 | 10253090290000 | B200412933 | 2/4/2025 |  |  |  |  | 2500 |  | 3024 W FARGO AVE |  | CHICAGO, IL |  | ARMAN MAJDI | LINE VOLTAGE ELECTRICAL WORK. ADD 4 CIRCUITS TO EXISTING 100 AMP SERVICE DISCONNECTING MEANS. RECEPTACLE OUTLETS: 30 . LIGHTING OUTLETS: 30. SPECIFIC LOCATION: REPLACE OUTLETS AND WIRING.
196 | 17093340050000 | B200412938 | 2/17/2025 |  |  |  |  | 770000 |  | 100 N RIVERSIDE PLZ |  | CHICAGO, IL |  | ARMSTRONG TEASDALE | SCOPE: NONSTRUCTURAL INTERIOR ALTERATION TO RECEPTION # 1501, CONFERENCE # 1502, CONFERENCE # 1503 TO REPLACE LIGHT FIXTURES AND IN-KIND GLASS PARTITIONS, INSTALL NEW ACOUSTICAL CEILING; MEN'S AND WOMEN'S RESTROOMS # 1569 AND # 1570 TO INCLUDE REPLACEMENT OF ELECTRICAL AND PLUMBING (THE EXISTING WATER CLOSETS, URINALS AND TOILET PARTITION LAYOUTS ARE TO REMAIN). LOCATIONS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), 15TH FLOOR.
197 | 25282120050000 | B200412940 | 2/4/2025 |  |  |  |  | 2180 |  | 12015 S WENTWORTH AVE |  | CHICAGO, IL |  | WARD JOSEPH | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: OUTSIDE OF HOME-BACKYARD.
198 | 20292240250000 | B200412943 | 2/19/2025 |  |  |  |  | 7000 |  | 7416 S MAY ST |  | CHICAGO, IL |  | BRAVERMAN IRVING | REPAIR OR IN-KIND REPLACEMENT OF 0 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. INCLUDES REPAIR OR REPLACMENT OF PLUMBING PIPING. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 2 INTERIOR COMMON AREAS, INTERIOR 1ST AND 2ND FLOOR.
199 | 13164300230000 | B200412944 | 2/4/2025 |  |  |  |  | 30000 |  | 4864 W IRVING PARK RD |  | CHICAGO, IL |  | LICHTER REALTY | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 1000 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: MASONRY REPAIR.
200 | 14064100060000 | B200412945 | 2/4/2025 |  |  |  |  | 5000 |  | 1663 W HOLLYWOOD AVE |  | CHICAGO, IL |  | WEBB ROBERT | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 40 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. 13.5 KWH LITHIUM ION ENERGY STORAGE SYSTEM. SPECIFIC LOCATION: BASEMENT AND BACKYARD.