## Sheet1
# [LLINE] | PIN* [PARID] | Local Permit No.* [USER28] | Issue Date* [PERMDT] | Desc 1* [DESC1] | Desc 2 Code 1 [USER6] | Desc 2 Code 2 [USER7] | Desc 2 Code 3 [USER8] | Amount* [AMOUNT] | Assessable [IS_ASSESS] | Applicant Street Address* [ADDR1] | Applicant Address 2 [ADDR2] | Applicant City, State, Zip* [ADDR3] | Contact Phone* [PHONE] | Applicant* [USER21] | Notes [NOTE1] | Occupy Dt [UDATE1] | Submit Dt* [CERTDATE] | Est Comp Dt [UDATE2] | user21
1 | 19232100030000 | B200412947 | 2/4/2025 |  |  |  |  | 1000 |  | 3351 W 64TH ST |  | CHICAGO, IL |  | ZARATE SUSANA | PURPOSE: LEGALIZE UNPERMITTED WORK. WOOD FENCE - 6'-0' ' (HEIGHT) X 25'-0' ' (LENGTH). LOCATION: FENCE.
2 | 14062030100000 | B200412948 | 2/7/2025 |  |  |  |  | 4336 |  | 6353 N HERMITAGE AVE |  | CHICAGO, IL |  | PARDO ANDREA | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. ELECTRIC VEHICLE SUPPLY EQUIPMENT:1 SPACES. SPECIFIC LOCATION: GARAGE.
3 | 14182170130000 | B200412952 | 2/4/2025 |  |  |  |  | 24800 |  | 1601 W WILSON AVE |  | CHICAGO, IL |  | JUREK RAY | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 800 SQ. FT., LINTEL QTY. 3, MAX. LENGTH 6. LOCATION: 1601-1605 W WILSON AVE- FRONT FACADE.
4 | 14174100230000 | B200412955 | 2/5/2025 |  |  |  |  | 5760 |  | 800 W HUTCHINSON ST |  | CHICAGO, IL |  | MALKI SHARON | PURPOSE: NEW/REPLACEMENT INSTALLATION. WOOD FENCE - 6'-0' ' (HEIGHT) X 45'-0' ' (LENGTH). LOCATION: BACKYARD FENCE. ¦ SPECIAL CONDITION: APPROVED PER SITE PLAN RECEIVED 2/5/25: NEW FENCE AT WEST PROPERTY LINE, TO BE SET BACK FROM FRONT OF BUILDING AS PROPOSED. EXISTING GATE TO REMAIN. FENCE ONLY, NO OTHER WORK TO SITE OR BUILDING WITH THIS APPROVAL.
5 | 20143100510000 | B200412957 | 2/4/2025 |  |  |  |  | 1135 |  | 1007 E 61ST ST |  | CHICAGO, IL |  | KLINGLER LYVONNE | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. ALTER EXISTING OTHER. SPECIFIC LOCATION: SOUTH EXTERIOR.
6 | 17092450010000 | B200412958 | 2/17/2025 |  |  |  |  | 241000 |  | 157 W GRAND AVE |  | CHICAGO, IL |  | THE ANTI-CRUELTY SOCIETY* | REPAIR/REPLACEMENT AFFECTING 1 SYSTEMS : 2 ROOFTOP PACKAGED UNIT(REPLACEMENT OF (1) 6-TON AND (1) 8-TON AAON RTUS) . ELECTRICAL WORK UNDER THIS PERMIT = NO . LOCATIONS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), EXTERIOR WORK, ROOF - REPLACEMENT OF EXISTING RTU(S). ¦ SPECIAL CONDITION: CONTACT REFRIGERATION SUPERVISOR CLEMENT GAVIN 312-743-3562, PRIOR TO THE INSTALLATION OF ANY ROOFTOP EQUIPMENT, TO SCHEDULE AN INSPECTION.
7 | 20272210410000 | B200412961 | 2/23/2025 |  |  |  |  | 800 |  | 7352 S LANGLEY AVE |  | CHICAGO, IL |  | KELLY ORONDE | REPAIR OR IN-KIND REPLACEMENT OF 0 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. REPAIR OR IN-KIND REPLACEMENT OF HOT WATER HEATER(S). INCLUDES REPAIR OR REPLACMENT OF PLUMBING PIPING. LOCATIONS: 6 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 1 INTERIOR COMMON AREAS, BASEMENT.
8 | 16084160260000 | B200412962 | 2/13/2025 |  |  |  |  | 10000 |  | 114 N PARKSIDE AVE |  | CHICAGO, IL |  | 5644 W WASHINGTON BLVD HOLDINGS LLC | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 10 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: NORTH AND EAST ELEVATION PER VIOLATION.
9 | 17333010240000 | B200412964 | 2/26/2025 |  |  |  |  | 549 |  | 3500 S UNION AVE |  | CHICAGO, IL |  | REAL REALTY, INC | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL SECURITY. SPECIFIC LOCATION: MAIN LEVEL.
10 | 14331230110000 | B200412965 | 2/8/2025 |  |  |  |  | 18508 |  | 2135 N CLEVELAND AVE |  | CHICAGO, IL |  | WEINBERG DAVID | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. ALTER EXISTING OTHER. SPECIFIC LOCATION: 2135 N CLEVELAND AVE. ¦ SPECIAL CONDITION: INTERIOR LOW-VOLTAGE ELECTRICAL WORK ONLY WITH THIS APPROVAL.
11 | 20342040270000 | B200412966 | 2/19/2025 |  |  |  |  | 17500 |  | 7936 S CHAMPLAIN AVE |  | CHICAGO, IL |  | T HILL INVESTMENT GROUP LLC | SCOPE: NONSTRUCTURAL INTERIOR REPLACEMENT OF DRYWALL, FLOORS, FINISHES AND PLUMBING FIXTURES WITH ASSOCIATED PIPING AT 1ST FLR UNIT, NO ELECTRICAL WORK.LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 1ST FLOOR.
12 | 17103060170000 | B200412969 | 2/11/2025 |  |  |  |  | 1480 |  | 150 N MICHIGAN AVE |  | CHICAGO, IL |  | AMERICAN ARBITRATION ASSICATION | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 2 . LIGHTING OUTLETS: 2. SPECIFIC LOCATION: SUITE 3050.
13 | 16123140540000 | B200412970 | 2/6/2025 |  |  |  |  | 15000 |  | 2928 W LAKE ST |  | CHICAGO, IL |  | HERLIHY & SAN MIGUEL LLC | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 140 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. PARAPET REBUILDING: 120 SQ. FT. LOCATION: FRONT FACADE.
14 | 26301000470000 | B200412974 | 2/11/2025 |  |  |  |  | 37500 |  | 2926 E 126TH ST |  | CHICAGO, IL |  | WATCO CO LLC. | LINE VOLTAGE ELECTRICAL WORK. INSTALL PERMANENT-NOT REQUIRED BY CODE 40 KW PROPANE GENERATOR. RECEPTACLE OUTLETS: 0 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: BETWEEN MAINTENANCE BUILDING AND OFFICE BUILDING.
15 | 25051120180000 | B200412976 | 2/10/2025 |  |  |  |  | 12597 |  | 8822 S ADA ST |  | CHICAGO, IL |  | ATATI ADJOVI | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 5.1 KW. ARRAY OUTPUT: 6.885 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817. ¦ SPECIAL CONDITION: **NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018.
16 | 20153020010000 | B200412977 | 3/11/2025 |  |  |  |  | 5000 |  | 5901 S MICHIGAN AVE |  | CHICAGO, IL |  | HPA 428 LLC | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 25 SQ. FT., LINTEL QTY. 11, MAX. LENGTH 9. LOCATION: NORTH AND WEST ELEVATION.
17 | 13251320060000 | B200412981 | 2/4/2025 |  |  |  |  | 20100 |  | 3011 W GEORGE ST |  | CHICAGO, IL |  | ARNOLD JOHN | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: BASEMENT.
18 | 20362150180000 | B200412983 | 3/4/2025 |  |  |  |  | 500 |  | 2334 E 81ST ST |  | CHICAGO, IL |  | KELLY ORONDE | LIMITED REPAIR (25% OR LESS) FOR WOOD EXTERIOR STAIRWAY (QUANTITY: 1, LOCATION: REAR OF BUILDING).
19 | 16093000090000 | B200412986 | 3/3/2025 |  |  |  |  | 3500 |  | 330 N PINE AVE |  | CHICAGO, IL |  | AUSTIN VA PORTFOLIO 8 LLC | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 50 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. PARAPET REBUILDING: 15 SQ. FT. LOCATION: SOUTH AND EAST ELEVATION.
20 | 20342000250000 | B200412987 | 3/11/2025 |  |  |  |  | 7500 |  | 7924 S VERNON AVE |  | CHICAGO, IL |  | CHATHAM HOUSING PORTFOLIO 91 LLC | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 50 SQ. FT., LINTEL QTY. 27, MAX. LENGTH 12. LOCATION: EAST ELEVATION.
21 | 14324190170000 | B200412993 | 2/11/2025 |  |  |  |  | 1800 |  | 1000 W NORTH AVE |  | CHICAGO, IL |  | NORTH AVE PROPERTIES | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. ALTER EXISTING OTHER. SPECIFIC LOCATION: MAIN FLOOR.
22 | 25021070160000 | B200412994 | 2/25/2025 |  |  |  |  | 19000 |  | 822 E 90TH ST |  | CHICAGO, IL |  | MELTON ALBERT | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 20'-0' ' X15'-0' '. GABLE ROOF HEIGHT TO PEAK: 12'-0' '.
23 | 14062090290000 | B200413000 | 2/4/2025 |  |  |  |  | 4777 |  | 6218 N HERMITAGE AVE |  | CHICAGO, IL |  | KAPITAL ELECTRIC CO., INC | LINE VOLTAGE ELECTRICAL WORK. ADD 1 CIRCUITS TO EXISTING 100 AMP SERVICE DISCONNECTING MEANS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. ELECTRIC VEHICLE SUPPLY EQUIPMENT:1 SPACES. SPECIFIC LOCATION: EXTERIOR OF HOME.
24 | 13041020280000 | B200413001 | 2/7/2025 |  |  |  |  | 28899 |  | 6301 N CALDWELL AVE |  | CHICAGO, IL |  | THROWFEEK NARJISHA | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: STEEP (>5:12). INVERTER OUTPUT: 11.7 KW. ARRAY OUTPUT: 0.59319 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817.
25 | 17302010420000 | B200413004 | 4/23/2025 |  |  |  |  | 219750 |  | 1852 W 22ND PL |  | CHICAGO, IL |  | HIGH SCHOOL CRISTO REY | REPAIR/REPLACEMENT AFFECTING 1 SYSTEMS : 1 ROOFTOP PACKAGED UNIT(CARRIER, 48FEFM16A3M5, ROOF) 1 ROOFTOP PACKAGED UNIT(CARRIER, 48FEEM12A5M5, ROOF) 1 ROOFTOP PACKAGED UNIT(CARRIER, 48FEFM28A3M5, ROOF) . ELECTRICAL WORK UNDER THIS PERMIT = YES . LOCATIONS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), EXTERIOR WORK, ROOF OF BUILDING ONLY.. ¦ SPECIAL CONDITION: CONTACT REFRIGERATION SUPERVISOR CLEMENT GAVIN 312-743-3562, PRIOR TO THE INSTALLATION OF ANY ROOFTOP EQUIPMENT, TO SCHEDULE AN INSPECTION.
26 | 17072000030000 | B200413023 | 2/26/2025 |  |  |  |  | 199 |  | 1953 W CHICAGO AVE |  | CHICAGO, IL |  | 1953 W. CHICAGO, LLC | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL SECURITY. SPECIFIC LOCATION: INSTALL LOW VOLTAGE BUGLAR ALARM JOB # 125379827.
27 | 17293210240000 | B200413028 | 4/18/2025 |  |  |  |  | 108768 |  | 3049 S BROAD ST |  | CHICAGO, IL |  | HUANG FANG YUN | NONSTRUCTURAL INTERIOR WORK IN FIRST FLOOR FRONT UNIT ONLY- FIRE DAMAGE REPAIRS TO REPLACE DRYWALL. REPLACE PLUMBING FIXTURES AND ASSOCIATED PIPING. ELECTRICAL: REWIRE, REPLACE LIGHT FIXTURES, SWITCHES AND OUTLETS. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 1ST FLR UNIT ONLY ¦ SPECIAL CONDITION: PERMIT DOES NOT CONFIRM OR VERIFY LEGAL UNIT COUNT
28 | 20151190250000 | B200413029 | 2/7/2025 |  |  |  |  | 12556 |  | 5820 S WABASH AVE |  | CHICAGO, IL |  | ARI TURK | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 4.9 KW. ARRAY OUTPUT: 6.48 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817. ¦ SPECIAL CONDITION: ** NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018.
29 | 17183150380000 | B200413030 | 2/4/2025 |  |  |  |  | 5000 |  | 816 S OAKLEY BLVD |  | CHICAGO, IL |  | AGUILERA HENRY | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 20 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: BASEMENT BACKYARD HALL.
30 | 19141110060000 | B200413031 | 2/18/2025 |  |  |  |  | 1000 |  | 3641 W 56TH ST |  | CHICAGO, IL |  | BARRAGAN GUILIBALDO | REPAIR OR IN-KIND REPLACEMENT OF 1 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. INCLUDES REPAIR OR REPLACMENT OF PLUMBING PIPING. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), EXTERIOR WORK, OUTSIDE IN THE FRONT YARD.
31 | 20102210030000 | B200413032 | 2/18/2025 |  |  |  |  | 2500 |  | 4930 S COTTAGE GROVE AVE |  | CHICAGO, IL |  | BOOST MOBILE | ALTERATION OF EXISTING COMMUNICATION EQUIPMENT. ALTERATION OF 0 BOXES AND EQUIPMENT ON 1 TOWERS / STRUCTURES. LOCATION: TELECOMMUNICATIONS TOWER.
32 | 19341050280000 | B200413033 | 2/7/2025 |  |  |  |  | 24820 |  | 8026 S KOLMAR AVE |  | CHICAGO, IL |  | RODRIGUEZ JOSE | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 9.5 KW. ARRAY OUTPUT: 12.3 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817. ¦ SPECIAL CONDITION: **NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. **PLEASE APPLY FOR ELECTRICAL AND SOLAR (ACCESSORY) PERMITS PRIOR TO SOLAR INSPECTION OR RISK FAILURE AS PROPOSED WORK PER ELECTRICAL DRAWING.** UNDERGROUND RACEWAY TO BE INSPECTED BY AHJ PRIOR TO COVERING.
33 | 16124070780000 | B200413038 | 2/16/2025 |  |  |  |  | 2000 |  | 259 N CALIFORNIA AVE |  | CHICAGO, IL |  | AYALA JUAN | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 10 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: 1ST FLOOR COMMERICIAL.
34 | 20323000210000 | B200413039 | 2/7/2025 |  |  |  |  | 27965 |  | 8310 S JUSTINE ST |  | CHICAGO, IL |  | MARION KESHA | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: STEEP (>5:12). INVERTER OUTPUT: 11 KW. ARRAY OUTPUT: 14.35 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817. ¦ SPECIAL CONDITION: **NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. **PLEASE REFER TO ELECTRICAL PERMIT B200412199.
35 | 13271030010000 | B200413040 | 3/5/2025 |  |  |  |  | 2500 |  | 3043 N KNOX AVE |  | CHICAGO, IL |  | BOOST MOBILE | ALTERATION OF EXISTING COMMUNICATION EQUIPMENT. ALTERATION OF 0 BOXES AND EQUIPMENT ON 1 TOWERS / STRUCTURES. LOCATION: TELECOMMUNICATIONS TOWER.
36 | 20321160020000 | B200413045 | 3/3/2025 |  |  |  |  | 5000 |  | 8107 S ASHLAND AVE |  | CHICAGO, IL |  | SOUTH AG 26 LLC | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 50 SQ. FT., LINTEL QTY. 13, MAX. LENGTH 3. LOCATION: WEST ELEVATION.
37 | 11321220070000 | B200413051 | 2/14/2025 |  |  |  |  | 2000 |  | 1340 W PRATT BLVD |  | CHICAGO, IL |  | 6800WAYNECHICAGO LLC | LINE VOLTAGE ELECTRICAL WORK. ADD 12 CIRCUITS TO EXISTING 800 AMP SERVICE DISCONNECTING MEANS. RECEPTACLE OUTLETS: 12 . LIGHTING OUTLETS: 6. SPECIFIC LOCATION: UNITS # 1A,1E.
38 | 25172090240000 | B200413055 | 2/4/2025 |  |  |  |  | 2500 |  | 1004 W 104TH PL |  | CHICAGO, IL |  | WILLIAMS SHERONDA | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 30 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: BASEMENT AND BACKYARD.
39 | 25043160140000 | B200413058 | 2/4/2025 |  |  |  |  | 1000 |  | 9345 S HALSTED ST |  | CHICAGO, IL |  | COLEMAN REGINE | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: EXTERIOR NEW 100 AMP SERVICE.
40 | 17333130010000 | B200413075 | 2/18/2025 |  |  |  |  | 10000 |  | 3701 S HALSTED ST |  | CHICAGO, IL |  | SANDOVAL VIZCAINO SALVADOR | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 200 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. PARAPET REBUILDING: 20 SQ. FT. LOCATION: FRONT FACADE.
41 | 14072150140000 | B200413083 | 2/13/2025 |  |  |  |  | 3400 |  | 5309 N DAMEN AVE |  | CHICAGO, IL |  | 5301-09 N DAMEN AVE LLC | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: INSIDE REAR OF UNIT AND OUTSIDE REAR.
42 | 16261030550000 | B200413084 | 2/11/2025 |  |  |  |  | 6000 |  | 2318 S HAMLIN AVE |  | CHICAGO, IL |  | LOPEZ JANET | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 400 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: TUCKPOINTING EXTERIOR WALLS.
43 | 13351200230000 | B200413087 | 4/21/2025 |  |  |  |  | 63000 |  | 3656 W SHAKESPEARE AVE |  | CHICAGO, IL |  | MONAGHAN BRIDGET | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 360 SQ. FT., LINTEL QTY. 10, MAX. LENGTH 6. PARAPET REBUILDING: 375 SQ. FT. LOCATION: ROOF OF ENTIRE BUILDING; ABOVE UNITS 2F, 2R.
44 | 14172270010000 | B200413089 | 2/7/2025 |  |  |  |  | 2400 |  | 4453 N HAZEL ST |  | CHICAGO, IL |  | WILDER MGMT | LINE VOLTAGE ELECTRICAL WORK. ADD 1 CIRCUITS TO EXISTING 400 AMP SERVICE DISCONNECTING MEANS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. ELECTRIC VEHICLE SUPPLY EQUIPMENT:1 SPACES. SPECIFIC LOCATION: PARKING GARAGE.
45 | 13094010050000 | B200413091 | 2/25/2025 |  |  |  |  | 38000 |  | 5050 W FOSTER AVE |  | CHICAGO, IL |  | STANLEY SPRING AND STAMPING | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 600 AMP SERVICE DISCONNECTING MEANS WITH 42 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: WEST EXTERIOR WALL OF BUILDING ON LECLAIRE.
46 | 25023040040000 | B200413106 | 2/14/2025 |  |  |  |  | 1500 |  | 9111 S DOBSON AVE |  | CHICAGO, IL |  | AUFFARTH DAVID | PURPOSE: LEGALIZE UNPERMITTED WORK.WOOD FENCE - 6'-0' ' (HEIGHT) X 90'-10' ' (LENGTH). LOCATION: SIDE AND REAR OF PROPERTY ¦ SPECIAL CONDITION: WOOD FENCE TO BE NO HIGHER THAN 4.5 FT IN THE FRONT YARD
47 | 21304170330000 | B200413108 | 2/11/2025 |  |  |  |  | 3800 |  | 7862 S SOUTH SHORE DR |  | CHICAGO, IL |  | LEVY JON | REPAIR (26% TO 50%) FOR WOOD PORCH (OPEN) (QUANTITY: 1, LOCATION: REAR OF BUILDING).
48 | 14193150350000 | B200413110 | 2/26/2025 |  |  |  |  | 15000 |  | 3416 N DAMEN AVE |  | CHICAGO, IL |  | DUNKEL TYLER | SCOPE: NONSTRUCTURAL INTERIOR ALTERATION TO 2ND FLR UNIT TO REMOVE NONLOAD BEARING WALL BETWEEN DINING ROOM AND KITCHEN, PATCH AND REPAIR DRYWALL. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S) ¦ SPECIAL CONDITION: NO PLUMBING OR ELECTRICAL WORK INCLUDED
49 | 13252250030000 | B200413119 | 2/19/2025 |  |  |  |  | 4214 |  | 2653 W GEORGE ST |  | CHICAGO, IL |  | SPINA ANTHONY | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: STEEP (>5:12). INVERTER OUTPUT: 0.32 KW. ARRAY OUTPUT: 0.00602 KW. LOCATION: ROOFTOP. ICC DISTRIBUTED GENERATION INSTALLER CERT. #24-0198.
50 | 13164000400000 | B200413130 | 2/7/2025 |  |  |  |  | 9500 |  | 4352 N MILWAUKEE AVE |  | CHICAGO, IL |  | STRAUSS DALE | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 300 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: MASONRY REPAIR WORK.
51 | 19242050140000 | B200413132 | 2/17/2025 |  |  |  |  | 16000 |  | 6333 S MAPLEWOOD AVE |  | CHICAGO, IL |  | MEDLOCK CONSTRUCTION INC | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 800 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: TUCKPOINTING ON EXTERIOR WALLS.
52 | 19251230790000 | B200413133 | 2/7/2025 |  |  |  |  | 10019 |  | 7324 S CALIFORNIA AVE |  | CHICAGO, IL |  | TRIPLETT CONNIE | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: STEEP (>5:12). INVERTER OUTPUT: 3.5 KW. ARRAY OUTPUT: 4.51 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817. ¦ SPECIAL CONDITION: **NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018.
53 | 21311120080000 | B200413140 | 2/7/2025 |  |  |  |  | 26407 |  | 8021 S COLFAX AVE |  | CHICAGO, IL |  | JONES KENNETH | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: STEEP (>5:12). INVERTER OUTPUT: 10.4 KW. ARRAY OUTPUT: 13.53 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817. ¦ SPECIAL CONDITION: REPAIR SERVICE/HOUSE LOAD CENTER UPGRADE PERMIT # B200412198
54 | 20352170340000 | B200413142 | 2/11/2025 |  |  |  |  | 1000 |  | 8154 S KIMBARK AVE |  | CHICAGO, IL |  | ABBOTT DERRICK | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 20 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: EXTERIOR AND BASEMENT.
55 | 14184170190000 | B200413143 | 2/11/2025 |  |  |  |  | 5000 |  | 1848 W BELLE PLAINE AVE |  | CHICAGO, IL |  | PODGORSKI ALPHONSE | LINE VOLTAGE ELECTRICAL WORK. ADD 20 CIRCUITS TO EXISTING 200 AMP SERVICE DISCONNECTING MEANS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: BASEMENT.
56 | 13322160120000 | B200413144 | 2/13/2025 |  |  |  |  | 5000 |  | 5720 W GRAND AVE |  | CHICAGO, IL |  | KOWALSKI BOGDAN | PURPOSE: LEGALIZE UNPERMITTED WORK. WOOD FENCE - 6'-0' ' (HEIGHT) X 50'-0' ' (LENGTH). LOCATION: REAR FRNCE AT ALLEY & WEST SIDE.
57 | 20252260250000 | B200413145 | 3/5/2025 |  |  |  |  | 2500 |  | 2250 E 75TH ST |  | CHICAGO, IL |  | BOOST MOBILE | ALTERATION OF EXISTING COMMUNICATION EQUIPMENT. ALTERATION OF 0 BOXES AND EQUIPMENT ON 1 TOWERS / STRUCTURES. LOCATION: TELECOMMUNICATIONS TOWER.
58 | 17161170010000 | B200413148 | 2/25/2025 |  |  |  |  | 8700 |  | 333 S HALSTED ST |  | CHICAGO, IL |  | NATIONAL HELLENIC MUSEUM | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL DATA/VIDEO. SPECIFIC LOCATION: FRONT ENTRANCE.
59 | 19251030420000 | B200413154 | 3/11/2025 |  |  |  |  | 21216 |  | 7131 S WHIPPLE ST |  | CHICAGO, IL |  | PEREZ SALOMON | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: STEEP (>5:12). INVERTER OUTPUT: 3.64 KW. ARRAY OUTPUT: 5.525 KW. LOCATION: ROOF OF THE PRINCIPAL STRUCTURE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #23-0387.
60 | 13212010210000 | B200413155 | 2/18/2025 |  |  |  |  | 7000 |  | 3950 N LAVERGNE AVE |  | CHICAGO, IL |  | SULEJMANI MARCUS | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 300 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: NORTH AND EAST ELEVATIONS.
61 | 16174130240000 | B200413157 | 3/5/2025 |  |  |  |  | 2500 |  | 5600 W TAYLOR ST |  | CHICAGO, IL |  | BOOST MOBILE | ALTERATION OF EXISTING COMMUNICATION EQUIPMENT. ALTERATION OF 0 BOXES AND EQUIPMENT ON 1 TOWERS / STRUCTURES. LOCATION: TELECOMMUNICATIONS TOWER.
62 | 17094420010000 | B200413159 | 2/5/2025 |  |  |  |  | 2780 |  | 101 N WACKER DR |  | CHICAGO, IL |  | 101 N WACKER DRIVE | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 24 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: 22ND FLOOR.
63 | 19013140230000 | B200413162 | 2/5/2025 |  |  |  |  | 5500 |  | 4459 S RICHMOND ST |  | CHICAGO, IL |  | SCORZO JUDITH | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 40 CIRCUITS. RECEPTACLE OUTLETS: 20 . LIGHTING OUTLETS: 10. SPECIFIC LOCATION: SERVICE RISER AND METER BANK.
64 | 17094420010000 | B200413163 | 2/5/2025 |  |  |  |  | 15600 |  | 101 N WACKER DR |  | CHICAGO, IL |  | 101 N WACKER DRIVE | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 138 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: 23RD FLOOR.
65 | 16042110050000 | B200413167 | 3/7/2025 |  |  |  |  | 30600 |  | 4959 W HIRSCH ST |  | CHICAGO, IL |  | MALDONADO ADOLFO R | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 6.5 KW. ARRAY OUTPUT: 8.5 KW. LOCATION: EXISTING ROOF OF PRINCIPAL STRUCTURE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #23-0387.
66 | 20301250010000 | B200413171 | 3/5/2025 |  |  |  |  | 2500 |  | 2235 W 74TH ST |  | CHICAGO, IL |  | BOOST MOBILE | ALTERATION OF EXISTING COMMUNICATION EQUIPMENT. ALTERATION OF 0 BOXES AND EQUIPMENT ON 1 TOWERS / STRUCTURES. LOCATION: TELECOMMUNICATIONS TOWER.
67 | 13322160120000 | B200413173 | 5/5/2025 |  |  |  |  | 9000 |  | 5720 W GRAND AVE |  | CHICAGO, IL |  | KOWALSKI BOGDAN | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 600 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: FRONT OF THE HOUSE.
68 | 10324000110000 | B200413176 | 2/7/2025 |  |  |  |  | 2500 |  | 6809 N LOLETA AVE |  | CHICAGO, IL |  | ALLEN STEVE | REPAIR OR IN-KIND REPLACEMENT OF 1 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. INCLUDES REPAIR OR REPLACMENT OF PLUMBING PIPING. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 1 INTERIOR COMMON AREAS, EXTERIOR WORK, FRONT OUTSIDE THE BUILDING.
69 | 19144000650000 | B200413177 | 2/8/2025 |  |  |  |  | 400 |  | 3511 W 59TH ST |  | CHICAGO, IL |  | DE LEON JUAN | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: YARD,.
70 | 25043090680000 | B200413180 | 2/5/2025 |  |  |  |  | 3000 |  | 9245 S EMERALD AVE |  | CHICAGO, IL |  | BROWN LETITIA CHANTEL | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 20 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: BASEMENT AND BACK YARD.
71 | 16133120290000 | B200413181 | 2/6/2025 |  |  |  |  | 1500 |  | 3138 W ARTHINGTON ST |  | CHICAGO, IL |  | HARRIS LUKE | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 10 CIRCUITS. RECEPTACLE OUTLETS: 20 . LIGHTING OUTLETS: 10. SPECIFIC LOCATION: PUBLIC PANEL INSTALL.
72 | 13212170370000 | B200413183 | 2/5/2025 |  |  |  |  | 4070 |  | 5000 W WARWICK AVE |  | CHICAGO, IL |  | MOURADIAN DANIEL | LINE VOLTAGE ELECTRICAL WORK. ADD 1 CIRCUITS TO EXISTING 200 AMP SERVICE DISCONNECTING MEANS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. ELECTRIC VEHICLE SUPPLY EQUIPMENT:1 SPACES. SPECIFIC LOCATION: BASEMENT AND GARAGE.
73 | 14312130350000 | B200413185 | 2/19/2025 |  |  |  |  | 30000 |  | 1954 W ARMITAGE AVE |  | CHICAGO, IL |  | VERIZON WIRELESS | ALTERATION OF EXISTING COMMUNICATION EQUIPMENT. ALTERATION OF 0 BOXES AND EQUIPMENT ON 1 TOWERS / STRUCTURES. LOCATION: ANTENNA MOD TO EXISTING TELECOM FACILITY/ROOFTOP.
74 | 20192020340000 | B200413188 | 2/21/2025 |  |  |  |  | 14666 |  | 6342 S HONORE ST |  | CHICAGO, IL |  | MENDOZA ALEJANDRA | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 5 KW. ARRAY OUTPUT: 7.695 KW. LOCATION: ROOF OF HOUSE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #19-0021.
75 | 14194190300000 | B200413190 | 2/6/2025 |  |  |  |  | 6000 |  | 1938 W SCHOOL ST |  | CHICAGO, IL |  | SMITH OLIVER | REPAIR OR IN-KIND REPLACEMENT OF 11 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. INCLUDES REPAIR OR REPLACMENT OF PLUMBING PIPING. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 1938 W SCHOOL -FRONT HOUSE (BATHS & KITCHEN).
76 | 14194190300000 | B200413191 | 2/12/2025 |  |  |  |  | 4000 |  | 1938 W SCHOOL ST |  | CHICAGO, IL |  | SMITH OLIVER | REPAIR (26% TO 50%) FOR WOOD PORCH (OPEN) (QUANTITY: 1, LOCATION: SOUTH SIDE OF BUILDING). LANDING: 15 SQUARE FEET. LANDING NOT MORE THAN 6 FEET ABOVE GROUND. REPAIR (26% TO 50%) FOR WOOD DECK (NON-ROOFTOP) (QUANTITY: 1, LOCATION: SOUTH SIDE OF BUILDING). LANDING: 80 SQUARE FEET. LANDING NOT MORE THAN 6 FEET ABOVE GROUND. CONCRETE WORK.
77 | 25021000550000 | B200413194 | 5/8/2025 |  |  |  |  | 4000 |  | 8701 S COTTAGE GROVE AVE |  | CHICAGO, IL |  | LARSON ROSE COTTAGE LLC | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 600 AMP SERVICE DISCONNECTING MEANS WITH 40 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: SERVICE. ¦ SPECIAL CONDITION: ** GEC (COLD WATER) SHOULD BE # 2/0 IN 1" TALKED TO ALBERT W/ CURRENT FLOW LLC @7086468622 .
78 | 17103130030000 | B200413199 | 2/11/2025 |  |  |  |  | 9800 |  | 130 E RANDOLPH ST |  | CHICAGO, IL |  | PERRY STEVE | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL SECURITY. SPECIFIC LOCATION: OFFICE.
79 | 11311160050000 | B200413201 | 2/6/2025 |  |  |  |  | 15000 |  | 2073 W LUNT AVE |  | CHICAGO, IL |  | EGING MATTHEW | SCOPE: ROOF REPLACEMENT. AREA: 1500 SQ. FT. ROOF COVERING: ASPHALT SHINGLES. LOCATION: MAIN BUILDING AND GARAGE. IL ROOFING CONTRACTOR LICENSE: 104020190.
80 | 13142150220000 | B200413208 | 2/6/2025 |  |  |  |  | 3750 |  | 4542 N BERNARD ST |  | CHICAGO, IL |  | KAPITAL ELECTRIC CO., INC | LINE VOLTAGE ELECTRICAL WORK. ADD 1 CIRCUITS TO EXISTING 200 AMP SERVICE DISCONNECTING MEANS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. ELECTRIC VEHICLE SUPPLY EQUIPMENT:1 SPACES. SPECIFIC LOCATION: GARAGE.
81 | 13083110250000 | B200413212 | 2/13/2025 |  |  |  |  | 15580 |  | 5031 N MOODY AVE |  | CHICAGO, IL |  | EMMANUEL MARC | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: STEEP (>5:12). INVERTER OUTPUT: 6.3 KW. ARRAY OUTPUT: 8.2 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817.
82 | 25191000210000 | B200413214 | 2/21/2025 |  |  |  |  | 26205 |  | 2324 W 111TH PL |  | CHICAGO, IL |  | SCOTT LARRY | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 10 KW. ARRAY OUTPUT: 12.3 KW. LOCATION: ROOF OF HOUSE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #19-0021. ¦ SPECIAL CONDITION: **NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. **PLEASE APPLY FOR ELECTRICAL PERMIT PRIOR TO SOLAR INSPECTION OR RISK FAILURE AS PROPOSED WORK PER ELECTRICAL DRAWING.
83 | 25073270100000 | B200413222 | 3/21/2025 |  |  |  |  | 30000 |  | 2106 W 103RD ST |  | CHICAGO, IL |  | DINEEN HANNAH | NONSTRUCTURAL INTERIOR WORK IN 1ST FLOOR KITCHEN AND LIVING ROOM: REMODELING OF KITCHEN WITH EXISTING PLUMBING FIXTURE REPLACEMENT, ELECTRICAL AND DRYWALL. PATCHING 250 SQ FT OF DRYWALL IN THE KITCHEN. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 1 INTERIOR COMMON AREAS, 1ST FLOOR KITCHEN AND LIVING ROOM.
84 | 19363220050000 | B200413223 | 2/13/2025 |  |  |  |  | 22591 |  | 2941 W 86TH PL |  | CHICAGO, IL |  | COOPER BARBARA | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 9.1 KW. ARRAY OUTPUT: 11.89 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817.
85 | 14294240190000 | B200413228 | 2/27/2025 |  |  |  |  | 25000 |  | 831 W ALTGELD ST |  | CHICAGO, IL |  | 831 W ALTGELD LLC | NONSTRUCTURAL INTERIOR WORK IN APARTMENT 1 ONLY: REPLACE LESS THAN 1000 SQ FT DRYWALL. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), APARTMENT 1.
86 | 16131090080000 | B200413230 | 2/12/2025 |  |  |  |  | 15000 |  | 2839 W MONROE ST |  | CHICAGO, IL |  | BEN STAKER | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 22'-0' ' X18'-0' '. GABLE ROOF HEIGHT TO PEAK: 12'-0' '.
87 | 16151210190000 | B200413231 | 2/11/2025 |  |  |  |  | 4500 |  | 4709 W VAN BUREN ST |  | CHICAGO, IL |  | VEAL JOHNARD | REPAIR OR IN-KIND REPLACEMENT OF 14 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. REPAIR OR IN-KIND REPLACEMENT OF HOT WATER HEATER(S). INCLUDES REPAIR OR REPLACMENT OF PLUMBING PIPING. INCLUDES REPAIR OR REPLACEMENT OF PLUMBING RISERS IN EXISTING CHASES. LOCATIONS: 2 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), BASEMENT, FIRST, AND SECOND FLOOR.
88 | 19262170370000 | B200413234 | 2/6/2025 |  |  |  |  | 3500 |  | 3428 W 73RD PL |  | CHICAGO, IL |  | MENDEZ CHRISTIAN | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 20 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: BASEMENT AND BACKYARD.
89 | 25181150270000 | B200413243 | 4/14/2025 |  |  |  |  | 10000 |  | 10508 S CLAREMONT AVE |  | CHICAGO, IL |  | MERCER JOSHUA | NONSTRUCTURAL INTERIOR ALTERATION TO REMOVE NON-LOAD-BEARING WALL BETWEEN KITCHEN AND DINING, NEW CABINET LAYOUT, ELECTRICAL, INSTALL NEW DISHWASHER. REFINISH AND REPLACE EXISTING FIXTURES IN THE BATHROOM. LOCATIONS: 2 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 1ST AND 2ND, KITCHEN, DINING, AND BATHROOM.
90 | 25174110100000 | B200413244 | 2/11/2025 |  |  |  |  | 34000 |  | 10934 S MORGAN ST |  | CHICAGO, IL |  | PRICE KIMBERLY | INSTALL SOLAR PANELS ON ROOF OF ACCESSORY BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 11.4 KW. ARRAY OUTPUT: 13.53 KW. LOCATION: 21 MODULES/HOUSE & 12 MODULES/GARAGE ROOFTOP. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-1231.
91 | 17094400010000 | B200413246 | 2/11/2025 |  |  |  |  | 13514 |  | 110 N WACKER DR |  | CHICAGO, IL |  | CUSHMAN WAKEFIELD | LINE VOLTAGE ELECTRICAL WORK. ADD 1 CIRCUITS TO EXISTING 200 AMP SERVICE DISCONNECTING MEANS. RECEPTACLE OUTLETS: 14 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: 14TH FLOOR ONLY, OFFICE WORKSTATION AREA.
92 | 21311080740000 | B200413250 | 2/7/2025 |  |  |  |  | 474841 |  | 7939 S YATES BLVD |  | CHICAGO, IL |  | NEW NAZARETH MB CHURCH | SCOPE: ROOF REPLACEMENT. AREA: 150 SQ. FT. ROOF COVERING: BUILT-UP ROOF. LOCATION: REROOF OF THE BUILDING. IL ROOFING CONTRACTOR LICENSE: 104018619.
93 | 17161030150000 | B200413263 | 2/10/2025 |  |  |  |  | 75000 |  | 500 W MONROE ST |  | CHICAGO, IL |  | LOCKTON COMPANIES | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL OTHER. SPECIFIC LOCATION: 33RD FLOOR (CONFERENCE ROOMS AND HALLWAYS).
94 | 25051160060000 | B200413264 | 3/6/2025 |  |  |  |  | 15000 |  | 8927 S ASHLAND AVE |  | CHICAGO, IL |  | BOOST MOBILE | ALTERATION OF EXISTING COMMUNICATION EQUIPMENT. ALTERATION OF 0 BOXES AND EQUIPMENT ON 1 TOWERS / STRUCTURES. LOCATION: TELECOMMUNICATION TOWER.
95 | 17094200470000 | B200413267 | 2/18/2025 |  |  |  |  | 1920 |  | 203 N LA SALLE ST |  | CHICAGO, IL |  | II LLC TKOS | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 16 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: 22ND FLOOR.
96 | 17094200470000 | B200413269 | 2/18/2025 |  |  |  |  | 9600 |  | 203 N LA SALLE ST |  | CHICAGO, IL |  | II LLC TKOS | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 88 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: 23RD FLOOR.
97 | 14174090140000 | B200413270 | 3/25/2025 |  |  |  |  | 76809 |  | 4233 N BROADWAY |  | CHICAGO, IL |  | AVANATH SCOTLAND YARD, LLC | LIMITED REPAIR (25% OR LESS) FOR STEEL EXTERIOR STAIRWAY (QUANTITY: 4, LOCATION: OTHER).
98 | 19084050170000 | B200413275 | 2/14/2025 |  |  |  |  | 3500 |  | 5141 S MASSASOIT AVE |  | CHICAGO, IL |  | BRIGHT PLANET | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 30 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: BASEMENT AND BACKYARD.
99 | 14174090130000 | B200413276 | 3/25/2025 |  |  |  |  | 76809 |  | 4247 N BROADWAY |  | CHICAGO, IL |  | AVANATH SCOTLAND YARD, LLC | LIMITED REPAIR (25% OR LESS) FOR STEEL EXTERIOR STAIRWAY (QUANTITY: 4, LOCATION: OTHER).
100 | 20361140180000 | B200413279 | 3/6/2025 |  |  |  |  | 2500 |  | 8092 S SOUTH CHICAGO AVE |  | CHICAGO, IL |  | BOOST MOBILE | ALTERATION OF EXISTING COMMUNICATION EQUIPMENT. ALTERATION OF 0 BOXES AND EQUIPMENT ON 1 TOWERS / STRUCTURES. LOCATION: TELECOMMUNICATION TOWER.
101 | 16261070170000 | B200413282 | 7/8/2025 |  |  |  |  | 300 |  | 2236 S CENTRAL PARK AVE |  | CHICAGO, IL |  | MORALES JESUS | PURPOSE: LEGALIZE UNPERMITTED WORK. WROUGHT IRON FENCE - 5'-8' ' (HEIGHT) X 83'-0' ' (LENGTH). CHAIN LINK FENCE - 5'-8' ' (HEIGHT) X 50'-7' ' (LENGTH). LOCATION: FRONT SIDE AND BACK SIDE OF PROPERTY. ¦ SPECIAL CONDITION: OPEN WROUGHT IRON FENCE TO BE REDUCED IN SIZE TO 5'8"
102 | 13361200190000 | B200413298 | 2/27/2025 |  |  |  |  | 9000 |  | 2910 W MCLEAN AVE |  | CHICAGO, IL |  | ROBERTSON ROBERT | REMOVE DANGEROUS AND HAZARDOUS REAR ENCLOSED PORCH, NO REPLACEMENT. LOCATIONS: 2 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), EXTERIOR WORK, REAR ENCLOSED PORCH.
103 | 13141270170000 | B200413304 | 2/7/2025 |  |  |  |  | 28000 |  | 4432 N MONTICELLO AVE |  | CHICAGO, IL |  | LUSK AMY | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 20'-0' ' X20'-0' '. GABLE ROOF HEIGHT TO PEAK: 14'-0' '.
104 | 13144260330000 | B200413309 | 2/11/2025 |  |  |  |  | 2000 |  | 3454 W IRVING PARK RD |  | CHICAGO, IL |  | BROWN DON | LINE VOLTAGE ELECTRICAL WORK. ALTER EXISTING SYSTEM III EMERGENCY LIGHTING. RECEPTACLE OUTLETS: 0 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: MULTIPLE AREAS WHERE VIOLATIONS ARE PRESENT.
105 | 20331070280000 | B200413311 | 2/14/2025 |  |  |  |  | 3500 |  | 438 W 80TH ST |  | CHICAGO, IL |  | JACKSON TASHIMA | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 20 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. 13.5 KWH LITHIUM ION ENERGY STORAGE SYSTEM. SPECIFIC LOCATION: BASEMENT & BACK EXTERIOR.
106 | 12234010320000 | B200413312 | 2/13/2025 |  |  |  |  | 6923 |  | 3522 N PLAINFIELD AVE |  | CHICAGO, IL |  | WOODALL BRITTA | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: STEEP (>5:12). INVERTER OUTPUT: 0.32 KW. ARRAY OUTPUT: 0.00989 KW. LOCATION: ROOFTOP. ICC DISTRIBUTED GENERATION INSTALLER CERT. #24-0198.
107 | 20351000240000 | B200413313 | 3/6/2025 |  |  |  |  | 11000 |  | 7954 S MARYLAND AVE |  | CHICAGO, IL |  | SHEEHY MICHAEL | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 400 AMP SERVICE DISCONNECTING MEANS WITH 4 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: BACK OF BUILDING AND BACK BASEMENT.
108 | 14283170640000 | B200413316 | 4/15/2025 |  |  |  |  | 249900 |  | 444 W FULLERTON PKWY |  | CHICAGO, IL |  | 444 W FULLERTON PKWY | NEW HEAT PUMP OR REFRIGERATION EQUIP., ELECTRICAL WORK UNDER THIS PERMIT = YES . LOCATIONS: 0 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), EXTERIOR WORK, MULTI ZONE HVAC UNIT.
109 | 19183030070000 | B200413323 | 2/13/2025 |  |  |  |  | 1365000 |  | 6850 W 62ND ST |  | CHICAGO, IL |  | MEADE ELECTRIC CO., INC. | SCOPE: ROOF REPLACEMENT. AREA: 110800 SQ. FT. ROOF COVERING: OTHER. LOCATION: ROOFS. IL ROOFING CONTRACTOR LICENSE: 104013188.
110 | 20151050140000 | B200413325 | 3/3/2025 |  |  |  |  | 16200 |  | 5520 S PRAIRIE AVE |  | CHICAGO, IL |  | MAZOLA TED | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 120 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: NORTH FACADE.
111 | 13292050100000 | B200413326 | 2/24/2025 |  |  |  |  | 24395 |  | 5701 W BELMONT AVE |  | CHICAGO, IL |  | BARR REAL ESTATE | REPAIR/REPLACEMENT AFFECTING 1 SYSTEMS : 2 ROOFTOP PACKAGED UNIT(DAIKIN, DFG1503DH00001S, ROOFTOP) . ELECTRICAL WORK UNDER THIS PERMIT = NO . LOCATIONS: 0 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), EXTERIOR WORK, ROOFTOP. ¦ SPECIAL CONDITION: CONTACT REFRIGERATION SUPERVISOR CLEMENT GAVIN 312-743-3562, PRIOR TO THE INSTALLATION OF ANY ROOFTOP EQUIPMENT, TO SCHEDULE AN INSPECTION.
112 | 17044420270000 | B200413329 | 2/20/2025 |  |  |  |  | 2132700 |  | 8 W CHESTNUT ST |  | CHICAGO, IL |  | 8 WEST CHESTNUT OWNER, LLC | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 2550 SQ. FT., LINTEL QTY. 84, MAX. LENGTH 4. LOCATION: ALL 4 EXTERIOR ELEVATIONS OF BUILDING..
113 | 12234010320000 | B200413335 | 2/10/2025 |  |  |  |  | 3264 |  | 3522 N PLAINFIELD AVE |  | CHICAGO, IL |  | WOODALL BRITTA | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL OTHER. SPECIFIC LOCATION: WEST EXTERIOR.
114 | 13301070240000 | B200413338 | 2/21/2025 |  |  |  |  | 20849 |  | 3138 N NEWCASTLE AVE |  | CHICAGO, IL |  | VERANO IAN | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 7.6 KW. ARRAY OUTPUT: 6.56 KW. INCLUDES 10 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF OF HOUSE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #19-0021. ¦ SPECIAL CONDITION: **NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. **PLEASE APPLY FOR ELECTRICAL PERMIT PRIOR TO SOLAR INSPECTION OR RISK FAILURE AS PROPOSED WORK PER ELECTRICAL DRAWING.
115 | 19354020570000 | B200413343 | 2/10/2025 |  |  |  |  | 90000 |  | 3306 W 83RD PL |  | CHICAGO, IL |  | BRENT ADRIAN | REPAIR OR IN-KIND REPLACEMENT OF 7 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. REPAIR OR IN-KIND REPLACEMENT OF HOT WATER HEATER(S). INCLUDES REPAIR OR REPLACMENT OF PLUMBING PIPING. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), BASEMENT, 1ST FLOOR & 2ND FLOOR.
116 | 20271020430000 | B200413344 | 2/10/2025 |  |  |  |  | 4215 |  | 135 E 71ST ST |  | CHICAGO, IL |  | S&M LLC. | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 4 . LIGHTING OUTLETS: 3. SPECIFIC LOCATION: SERVICE AREA (POS).
117 | 20304330170000 | B200413346 | 2/18/2025 |  |  |  |  | 12000 |  | 7800 S PAULINA ST |  | CHICAGO, IL |  | BLUE PORTIO | REPAIR OR IN-KIND REPLACEMENT OF 0 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. INCLUDES REPAIR OR REPLACMENT OF PLUMBING PIPING. LOCATIONS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), BASEMENT.
118 | 20232220070000 | B200413348 | 2/10/2025 |  |  |  |  | 29124 |  | 6623 S WOODLAWN AVE |  | CHICAGO, IL |  | WILLIAMS KYA | REPAIR OR IN-KIND REPLACEMENT OF 15 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. REPAIR OR IN-KIND REPLACEMENT OF HOT WATER HEATER(S). INCLUDES REPAIR OR REPLACMENT OF PLUMBING PIPING. LOCATIONS: 2 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), BASEMENT, 1ST FLOOR AND 2ND FLOOR.
119 | 25033170150000 | B200413349 | 2/10/2025 |  |  |  |  | 15821 |  | 9343 S INDIANA AVE |  | CHICAGO, IL |  | GOODE DIAHANN | REPAIR OR IN-KIND REPLACEMENT OF 10 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. REPAIR OR IN-KIND REPLACEMENT OF HOT WATER HEATER(S). INCLUDES REPAIR OR REPLACMENT OF PLUMBING PIPING. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), BASEMENT, 1ST FLOOR AND 2ND FLOOR.
120 | 16244270020000 | B200413350 | 2/7/2025 |  |  |  |  | 9500 |  | 2560 W CERMAK RD |  | CHICAGO, IL |  | NEW FAIRFIELD CURRENCY EXCHANGE | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 1200 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: TUCKPOINTING ON ALL ELEVATIONS.
121 | 17174190290000 | B200413357 | 2/7/2025 |  |  |  |  | 1000 |  | 1074 W TAYLOR ST |  | CHICAGO, IL |  | MARIO DI PAOLO | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 0 . LIGHTING OUTLETS: 2. SPECIFIC LOCATION: BASEMENT.
122 | 17312040310000 | B200413360 | 3/5/2025 |  |  |  |  | 15000 |  | 3164 S ARCHER AVE |  | CHICAGO, IL |  | BOOST MOBILE | ALTERATION OF EXISTING COMMUNICATION EQUIPMENT. ALTERATION OF 0 BOXES AND EQUIPMENT ON 1 TOWERS / STRUCTURES. LOCATION: TELECOMMUNICATIONS TOWER.
123 | 17193200390000 | B200413362 | 2/27/2025 |  |  |  |  | 2500 |  | 2110 W 21ST PL |  | CHICAGO, IL |  | BARRIOS IVAN | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 18 CIRCUITS. RECEPTACLE OUTLETS: 10 . LIGHTING OUTLETS: 10. SPECIFIC LOCATION: BASEMENT,1,2 AND 3RD FLOORS.
124 | 20232250120000 | B200413363 | 3/7/2025 |  |  |  |  | 4500 |  | 1426 E 66TH PL |  | CHICAGO, IL |  | KHALIL MOSES | SCOPE: NONSTRUCTURAL INTERIOR REMOVAL OF UNPERMITTED RESIDENTIAL UNIT FEATURES IN BASEMENT, CAP AND REMOVE PLUMBING FIXTURES AND PIPING AT ITS SOURCE, REMOVE APPLIANCES AND CABINETS, REMOVE NONLOAD BEARING PARTITIONS, RESTORE TO OPEN BASEMENT WITHIN A TWO D.U. BUILDING. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), BASEMENT.
125 | 14293010070000 | B200413364 | 2/10/2025 |  |  |  |  | 8250 |  | 2748 N GREENVIEW AVE |  | CHICAGO, IL |  | BOOTS SANDRA | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 300 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. PARAPET REBUILDING: 250 SQ. FT. LOCATION: FRONT PARAPET WALL AND SPOT TUCKPOINTING W/N SIDES.
126 | 20253110300000 | B200413367 | 2/19/2025 |  |  |  |  | 32994 |  | 7638 S CREGIER AVE |  | CHICAGO, IL |  | CLEMONS PARTICIA | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: STEEP (>5:12). INVERTER OUTPUT: 6.08 KW. ARRAY OUTPUT: 6.8 KW. LOCATION: ROOFTOP - PRINCIPAL STRUCTURE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0735. ¦ SPECIAL CONDITION: **NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. ****PLEASE APPLY FOR ELECTRICAL PERMIT PRIOR TO SOLAR INSPECTION OR RISK FAILURE AS PROPOSED WORK PER ELECTRICAL DRAWING.
127 | 16151120310000 | B200413369 | 2/19/2025 |  |  |  |  | 5000 |  | 4718 W GLADYS AVE |  | CHICAGO, IL |  | EIK LLC | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 100 SQ. FT., LINTEL QTY. 8, MAX. LENGTH 5. LOCATION: REPLACEMENT OF LINTELS AT FRONT FACADE.
128 | 16363000090000 | B200413370 | 3/5/2025 |  |  |  |  | 15000 |  | 3124 W 36TH ST |  | CHICAGO, IL |  | BOOST MOBILE | ALTERATION OF EXISTING COMMUNICATION EQUIPMENT. ALTERATION OF 0 BOXES AND EQUIPMENT ON 1 TOWERS / STRUCTURES. LOCATION: TELECOMMUNICATIONS TOWER.
129 | 16153050040000 | B200413373 | 3/6/2025 |  |  |  |  | 2500 |  | 4511 W HARRISON ST |  | CHICAGO, IL |  | BOOST MOBILE | ALTERATION OF EXISTING COMMUNICATION EQUIPMENT. ALTERATION OF 0 BOXES AND EQUIPMENT ON 1 TOWERS / STRUCTURES. LOCATION: TELECOMMUNICATIONS TOWER.
130 | 19242100150000 | B200413374 | 2/19/2025 |  |  |  |  | 10200 |  | 6445 S WASHTENAW AVE |  | CHICAGO, IL |  | RODRIGUEZ ANYILY | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 20'-0' ' X19'-0' '. GABLE ROOF HEIGHT TO PEAK: 12'-2' '.
131 | 20224070220000 | B200413375 | 3/6/2025 |  |  |  |  | 2500 |  | 6800 S SOUTH CHICAGO AVE |  | CHICAGO, IL |  | BOOST MOBILE | ALTERATION OF EXISTING COMMUNICATION EQUIPMENT. ALTERATION OF 0 BOXES AND EQUIPMENT ON 1 TOWERS / STRUCTURES. LOCATION: TELECOMMUNICATIONS TOWER.
132 | 16363200010000 | B200413376 | 2/28/2025 |  |  |  |  | 15000 |  | 3841 S KEDZIE AVE |  | CHICAGO, IL |  | O'BRIEN FAMILY REALTY INC. | LIMITED REPAIR (25% OR LESS) FOR WOOD PORCH (OPEN) (QUANTITY: 4, LOCATION: REAR OF BUILDING). CONCRETE WORK.
133 | 13103140020000 | B200413386 | 2/8/2025 |  |  |  |  | 8000 |  | 5008 N KENNISON AVE |  | CHICAGO, IL |  | BARA ALEX | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 40 CIRCUITS. RECEPTACLE OUTLETS: 2 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: BASEMENT.
134 | 16272330060000 | B200413387 | 2/8/2025 |  |  |  |  | 1500 |  | 4211 W 25TH PL |  | CHICAGO, IL |  | LOPEZ MANUEL | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 40 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: EXTERIOR METER BANK.
135 | 25224000240000 | B200413392 | 2/10/2025 |  |  |  |  | 20000 |  | 11700 S COTTAGE GROVE AVE |  | CHICAGO, IL |  | SHERWIN-WILLIAMS CO. | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: MECHANICAL/FIRE PUMP ROOM.
136 | 26201220020000 | B200413393 | 2/10/2025 |  |  |  |  | 20000 |  | 3448 E 118TH ST |  | CHICAGO, IL |  | PETES FRESH MARKET | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: MECHANICAL/FIRE PUMP ROOM.
137 | 14172220110000 | B200413394 | 2/11/2025 |  |  |  |  | 10000 |  | 4501 N SHERIDAN RD |  | CHICAGO, IL |  | MAVREK INC DBA MAVREK DEVELOPMENT INC | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: BASEMENT MECHANICAL/FIRE PUMP ROOM.
138 | 19174220070000 | B200413395 | 3/1/2025 |  |  |  |  | 5000 |  | 6119 S MAJOR AVE |  | CHICAGO, IL |  | PATINO RAUL | REMOVAL OF UNPERMITTED RESIDENTIAL FEATURES BY DECONVERTING BASEMENT PER BUILDING VIOLATIONS DATED 1-12-2024. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 1 INTERIOR COMMON AREAS, BASEMENT.
139 | 19014100210000 | B200413400 | 3/20/2025 |  |  |  |  | 3000 |  | 4459 S WASHTENAW AVE |  | CHICAGO, IL |  | FARRAJ SULEIMAN | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 400 AMP SERVICE DISCONNECTING MEANS WITH 100 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: ELECTRIC SERVICE.
140 | 19012030110000 | B200413401 | 2/25/2025 |  |  |  |  | 20000 |  | 2545 W 39TH PL |  | CHICAGO, IL |  | MENDOZA MARIA & APOLINAIR | SCOPE: NONSTRUCTURAL INTERIOR PREPARATORY DEMOLITION OF NON-LOAD BEARING DRYWALL AND M.E.P. SYSTEMS AND DECK WITH ALL OTHER WORK TO BE PERFORMED ON PERMIT NO 101063657. LOCATIONS: 2 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 2 INTERIOR COMMON AREAS, FIRST FLR AND REAR DECK
141 | 17103180690000 | B200413416 | 2/13/2025 |  |  |  |  | 7000 |  | 225 N COLUMBUS DR |  | CHICAGO, IL |  | MUSIC ARMIN | REPAIR OR IN-KIND REPLACEMENT OF 2 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. INCLUDES REPAIR OR REPLACMENT OF PLUMBING PIPING. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 2 INTERIOR COMMON AREAS, MASTER BATHROOM, GUEST BATHROOM UNIT 5805.
142 | 13333240250000 | B200413419 | 2/9/2025 |  |  |  |  | 2500 |  | 1628 N LOCKWOOD AVE |  | CHICAGO, IL |  | PITTMAN MAUREEN | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 30 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. 13.5 KWH LITHIUM ION ENERGY STORAGE SYSTEM. SPECIFIC LOCATION: BASEMENT AND BACKYARD.
143 | 16224050390000 | B200413423 | 3/20/2025 |  |  |  |  | 1200 |  | 1642 S KARLOV AVE |  | CHICAGO, IL |  | JESUS GARCIA | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 8 . LIGHTING OUTLETS: 2. SPECIFIC LOCATION: 1ST FLOOR APT, AND 2ND FLOOR.
144 | 25222090140000 | B200413429 | 3/10/2025 |  |  |  |  | 18300 |  | 11125 S CHAMPLAIN AVE |  | CHICAGO, IL |  | LAVALLEE LINDA | IN-KIND REPLACEMENT OF EXTERIOR WINDOWS AND DOORS IN EXISTING OPENINGS. REPLACEMENT WINDOWS: 4; REPLACEMENT SKYLIGHTS: 0; REPLACEMENT DOORS: 1. AFFECTS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 1 INTERIOR COMMON AREAS, LOCATION: KITCHEN. ¦ SPECIAL CONDITION: NO WINDOW REPLACEMENT ON FRONT FACADE PERMITTED.
145 | 19131230370000 | B200413430 | 2/19/2025 |  |  |  |  | 1300 |  | 5748 S CALIFORNIA AVE |  | CHICAGO, IL |  | ORTIZ MARTINEZ JUANA | PURPOSE: LEGALIZE UNPERMITTED WORK. WOOD FENCE - 6'-0' ' (HEIGHT) X 99'-0' ' (LENGTH). LOCATION: SIDES. ¦ SPECIAL CONDITION: WOOD FENCE TO BE NO HIGHER THAN 4.5 FT IN THE FRONT YARD
146 | 17103120070000 | B200413431 | 2/14/2025 |  |  |  |  | 1000 |  | 20 N MICHIGAN AVE |  | CHICAGO, IL |  | SEOULSPICE, INC. | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL AUDIO. INSTALL DATA/VIDEO. INSTALL OTHER. SPECIFIC LOCATION: 1ST FLOOR..
147 | 19131130070000 | B200413432 | 2/14/2025 |  |  |  |  | 34742 |  | 5625 S RICHMOND ST |  | CHICAGO, IL |  | SANTIAGO MILTON | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 10 KW. ARRAY OUTPUT: 12.71 KW. INCLUDES 10 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF OF HOUSE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #19-0021. ¦ SPECIAL CONDITION: ** NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. **PLEASE APPLY FOR ELECTRICAL PERMIT PRIOR TO SOLAR INSPECTION OR RISK FAILURE AS PROPOSED WORK PER ELECTRICAL DRAWING.
148 | 16144070110000 | B200413434 | 2/10/2025 |  |  |  |  | 12000 |  | 3233 W FLOURNOY ST |  | CHICAGO, IL |  | HOMAN HOUSING LLC | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 20'-0' ' X20'-0' '. HIP ROOF HEIGHT TO PEAK: 12'-0' '.
149 | 16144070170000 | B200413439 | 2/10/2025 |  |  |  |  | 12000 |  | 3219 W FLOURNOY ST |  | CHICAGO, IL |  | HOMAN HOUSING LLC | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 20'-0' ' X20'-0' '. HIP ROOF HEIGHT TO PEAK: 12'-0' '.
150 | 25193000190000 | B200413442 | 2/13/2025 |  |  |  |  | 3612 |  | 11532 S OAKLEY AVE |  | CHICAGO, IL |  | BARNES CHERYL | INSTALL SOLAR PANELS ON ROOF OF ACCESSORY BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 0.32 KW. ARRAY OUTPUT: 0.00516 KW. LOCATION: ROOFTOP. ICC DISTRIBUTED GENERATION INSTALLER CERT. #24-0198. ¦ SPECIAL CONDITION: **NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. **UNDERGROUND RACEWAY TO BE INSPECTED BY AHJ PRIOR TO COVERING.
151 | 16014190210000 | B200413446 | 3/12/2025 |  |  |  |  | 10000 |  | 948 N CAMPBELL AVE |  | CHICAGO, IL |  | 948 N. CAMPBELL HOLDINGS LLC | NONSTRUCTURAL INTERIOR ALTERATIONS TO AN EXISTING RESIDENTIAL UNIT (UNIT #1): RELOCATING BEDROOM WALLS, BATHROOM, KITCHEN EQUIPMENT AND CLOSETS, ADDING AN ADDITIONAL BATHROOM, ASSOCIATED HVAC AND ELECTRICAL WORK. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), UNIT #1 ONLY.
152 | 20111160150000 | B200413447 | 2/19/2025 |  |  |  |  | 11000 |  | 5022 S WOODLAWN AVE |  | CHICAGO, IL |  | SHEGICH DAMIR | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 1500 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: MASONRY REPAIRS TO CORRECT VIOLATIONS. ¦ SPECIAL CONDITION: PER ATTACHMENTS RECEIVED 2/10/25: ANY BRICK REMOVED TO BE SALVAGED AND REPLACED TO GREATEST EXTENT FEASIBLE. ANY NEW BRICK TO MATCH HISTORIC IN SIZE, SHAPE, COLOR, TEXTURE, & FINISH. NEW MORTAR TO MATCH HISTORIC MORTAR IN COLOR, JOINT PROFILE, TEXTURE, & STRENGTH/TYPE. WHEN GRINDING EXISTING MORTAR JOINTS, SURROUNDING MASONRY UNITS SHALL NOT BE OVERCUT. DRY GRINDING ONLY, NO CHEMICAL CLEANING OR SAND BLASTING TO OCCUR WITH THIS APPROVAL. PRESSURE WASHING LESS THAN 400PSI WITH FAN TIP BRUSH.
153 | 14313010380000 | B200413449 | 2/28/2025 |  |  |  |  | 40000 |  | 1914 N OAKLEY AVE |  | CHICAGO, IL |  | SPARGO ELIZABETH | SCOPE: NONSTRUCTURAL INTERIOR KITCHEN REMODEL,ALTERATION TO PLUMBING PIPING FOR NEW ISLAND, REPLACE CABINETS, TILE, DRYWALL AND INSULATION WITH FINISHES, REPLACE FIREPLACE AND HEARTH. OCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), KITCHEN, FIREPLACE REFACE.
154 | 17094430040000 | B200413463 | 3/5/2025 |  |  |  |  | 85000 |  | 225 W RANDOLPH ST |  | CHICAGO, IL |  | HOWE BRIAN | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL OTHER. SPECIFIC LOCATION: FLOOR L20 AND L24.
155 | 17103020270000 | B200413466 | 2/25/2025 |  |  |  |  | 442754 |  | 1 E WACKER DR |  | CHICAGO, IL |  | SHORE CAPITAL PARTNERS | SCOPE: NONSTRUCTURAL INTERIOR ALTERATION TO EXISTING OFFICE SUITE ON FLOOR 29. RENOVATION INCLUDES REMOVAL OF (2) CORRIDOR CLOSETS, MILLWORK AND ELECTRICAL UPDATES AT RECEPTION AREA. LOCATIONS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), OFFICE SUITE.
156 | 17094200480000 | B200413470 | 2/11/2025 |  |  |  |  | 20000 |  | 203 N LA SALLE ST |  | CHICAGO, IL |  | TRANSWESTERN | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL LIGHTING. SPECIFIC LOCATION: LESSEN - 23RD FLOOR.
157 | 25193000190000 | B200413471 | 2/11/2025 |  |  |  |  | 1703 |  | 11532 S OAKLEY AVE |  | CHICAGO, IL |  | BARNES CHERYL | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. ALTER EXISTING OTHER. SPECIFIC LOCATION: SOUTH EXTERIOR.
158 | 16263210430000 | B200413473 | 2/10/2025 |  |  |  |  | 1000 |  | 2856 S LAWNDALE AVE |  | CHICAGO, IL |  | BAHENA JOSE | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: BASEMENT.
159 | 13284150030000 | B200413475 | 2/10/2025 |  |  |  |  | 1000 |  | 4849 W DRUMMOND PL |  | CHICAGO, IL |  | IRINEO FLORES IRINEO | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: BASEMENT.
160 | 20303050300000 | B200413482 | 2/13/2025 |  |  |  |  | 7790 |  | 7631 S HOYNE AVE |  | CHICAGO, IL |  | LANGHAM ANNIE | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: STEEP (>5:12). INVERTER OUTPUT: 3.2 KW. ARRAY OUTPUT: 4.1 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817.
161 | 19084241220000 | B200413485 | 5/2/2025 |  |  |  |  | 26813 |  | 6141 S ARCHER AVE |  | CHICAGO, IL |  | GRZYWA JEFF | GAS PIPING EXTENSION/RECONFIGURATION, REPAIR/REPLACEMENT AFFECTING 1 SYSTEMS : 1 ROOFTOP PACKAGED UNIT(CARRIER, 48FCEA05A2A5-0A0A0, ROOF) . ELECTRICAL WORK UNDER THIS PERMIT = YES . LOCATIONS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), EXTERIOR WORK, THE ROOF. ¦ SPECIAL CONDITION: CONTACT REFRIGERATION SUPERVISOR CLEMENT GAVIN 312-743-3562, PRIOR TO THE INSTALLATION OF ANY ROOFTOP EQUIPMENT, TO SCHEDULE AN INSPECTION.
162 | 21313310380000 | B200413486 | 2/10/2025 |  |  |  |  | 29032 |  | 8638 S BURNHAM AVE |  | CHICAGO, IL |  | OVERTON DR ROSALYN | SCOPE: ROOF REPLACEMENT. AREA: 1200 SQ. FT. ROOF COVERING: ASPHALT SHINGLES. LOCATION: PARTIAL ROOF & SIDING REPAIR DUE TO WIND DAMAGE. IL ROOFING CONTRACTOR LICENSE: 104017530.
163 | 17094090060000 | B200413493 | 2/13/2025 |  |  |  |  | 25400 |  | 321 N CLARK ST |  | CHICAGO, IL |  | LAMBERT BRIAN | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL DATA/VIDEO. SPECIFIC LOCATION: 6TH FLOOR, GENERAL OFFICE AREA, IDF ROOM.
164 | 21322070410000 | B200413494 | 2/18/2025 |  |  |  |  | 4000 |  | 8444 S GREEN BAY AVE |  | CHICAGO, IL |  | GUARDADO JOSE | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 0 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: MAIN HOUSE.
165 | 25111160390000 | B200413498 | 2/13/2025 |  |  |  |  | 17784 |  | 9754 S WOODLAWN AVE |  | CHICAGO, IL |  | MILES KIMBERLY | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: STEEP (>5:12). INVERTER OUTPUT: 7.2 KW. ARRAY OUTPUT: 9.72 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817. ¦ SPECIAL CONDITION: **NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018.
166 | 20244060010000 | B200413499 | 2/14/2025 |  |  |  |  | 3685 |  | 2355 E 67TH ST |  | CHICAGO, IL |  | SENIOR LIFESTYLE CORP. | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 0 . LIGHTING OUTLETS: 30. SPECIFIC LOCATION: HALLWAY-LOBBY-BATHROOM.
167 | 25094290150000 | B200413501 | 4/29/2025 |  |  |  |  | 75000 |  | 10204 S LAFAYETTE AVE |  | CHICAGO, IL |  | MITCHELL PRISCILLA | NONSTRUCTURAL INTERIOR ALTERATION TO REPAIR AND REPLACE EXISTING TREADS AND RISERS ON STAIRCASE BETWEEN THE BASEMENT AND FIRST FLOOR, CONSTRUCT NEW WALLS IN BASEMENT AND 1ST FLOOR BEDROOM, INFILL 2 WINDOWS AND REPLACE PLUMBING AND LIGHT FIXTURES THROUGHOUT PATCH AND REPLACE DRYWALL. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), REMODEL EXISTING SINGLE FAMILY HOME.
168 | 17103160270000 | B200413503 | 2/11/2025 |  |  |  |  | 15000 |  | 200 E RANDOLPH ST |  | CHICAGO, IL |  | THE 601 WEST COMPANIES C/O JLL | LINE VOLTAGE ELECTRICAL WORK. ADD 12 CIRCUITS TO EXISTING 20 AMP SERVICE DISCONNECTING MEANS. RECEPTACLE OUTLETS: 96 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: SUITE 2600, 26TH FLOOR.
169 | 12023020220000 | B200413505 | 2/21/2025 |  |  |  |  | 75000 |  | 8700 W BRYN MAWR AVE |  | CHICAGO, IL |  | HOLCIM US INC | NONSTRUCTURAL INTERIOR ALTERATION TO TWO EXISTING CONFERENCE ROOMS TO CONVERT INTO 4 OFFICES ON THE 3RD FLOOR. WORK INCLUDES REMOVAL OF EXISTING POWER/DATA, ADD NEW POWER/ DATA, ADD NEW DIRTT BARN DOORS IN EACH OFFICE, NEW FURNITURE PARTITIONS FLOOR TO CEILING, ELECTRICAL MECHANICAL. NO PLUMBING WORK. LOCATIONS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), 3RD FLOOR.
170 | 13171050920000 | B200413507 | 2/12/2025 |  |  |  |  | 15000 |  | 6041 W LAWRENCE AVE |  | CHICAGO, IL |  | TOBIAS DANIEL | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 400 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: BASEMENT PANEL LOCATION AND METERS LOCATION.
171 | 13323090210000 | B200413509 | 2/13/2025 |  |  |  |  | 14801 |  | 1701 N MOBILE AVE |  | CHICAGO, IL |  | GUNN DERRICK | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 6 KW. ARRAY OUTPUT: 7.79 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817. ¦ SPECIAL CONDITION: **NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. **REFER TO ELECTRICAL PERMIT B200412193.
172 | 10333260060000 | B200413511 | 2/13/2025 |  |  |  |  | 9500 |  | 6434 N LEOTI AVE |  | CHICAGO, IL |  | MOHAMMED ZUKU | REPAIR OR IN-KIND REPLACEMENT OF 9 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. INCLUDES REPAIR OR REPLACMENT OF PLUMBING PIPING. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 2 INTERIOR COMMON AREAS, MAIN FLOOR AND BASEMENT.
173 | 17094580150000 | B200413512 | 2/10/2025 |  |  |  |  | 107000 |  | 2 N LA SALLE ST |  | CHICAGO, IL |  | DEPARTMENT OF BLDGS CITY OF CHICAGO | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL DATA/VIDEO. SPECIFIC LOCATION: FLOOR 9.
174 | 20173190300000 | B200413514 | 2/14/2025 |  |  |  |  | 15000 |  | 6132 S LOOMIS BLVD |  | CHICAGO, IL |  | JOHNSON TERESE | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 1.33 KW. ARRAY OUTPUT: 0.003825 KW. INCLUDES 5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF OF PRINCIPAL BUILDING / MAIN HOUSE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #24-0120. ¦ SPECIAL CONDITION: **NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. **PLEASE APPLY FOR ELECTRICAL PERMIT PRIOR TO SOLAR INSPECTION OR RISK FAILURE AS PROPOSED WORK PER ELECTRICAL DRAWING.
175 | 14184020030000 | B200413515 | 2/10/2025 |  |  |  |  | 16000 |  | 4337 N WOLCOTT AVE |  | CHICAGO, IL |  | AROSENA JOSE | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: BASEMENT AND OUTSIDE.
176 | 13283240030000 | B200413516 | 2/14/2025 |  |  |  |  | 13338 |  | 2453 N CENTRAL AVE |  | CHICAGO, IL |  | GUZMAN BALTAZAR | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 5.4 KW. ARRAY OUTPUT: 7.29 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817. ¦ SPECIAL CONDITION: **NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. **REFER TO ELECTRICAL PERMIT B200412344.
177 | 20264030360000 | B200413518 | 3/14/2025 |  |  |  |  | 10000 |  | 1412 E 76TH ST |  | CHICAGO, IL |  | JORDAN RONNIE | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 30 . LIGHTING OUTLETS: 15. SPECIFIC LOCATION: KITCHEN AND BATHROOMS.
178 | 20274270310000 | B200413520 | 2/12/2025 |  |  |  |  | 5000 |  | 7820 S ST LAWRENCE AVE |  | CHICAGO, IL |  | KIMBLE JOHNNY | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 200 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: 200 AMP SERVICE.
179 | 17302070460000 | B200413521 | 3/6/2025 |  |  |  |  | 2500 |  | 2350 S BLUE ISLAND AVE |  | CHICAGO, IL |  | BOOST MOBILE | ALTERATION OF EXISTING COMMUNICATION EQUIPMENT. ALTERATION OF 0 BOXES AND EQUIPMENT ON 1 TOWERS / STRUCTURES. LOCATION: TELECOMMUNICATIONS TOWER.
180 | 13264290020000 | B200413524 | 2/12/2025 |  |  |  |  | 15545 |  | 2451 N SAWYER AVE |  | CHICAGO, IL |  | STAPLETON STEPHEN | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 40 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: BASEMENT AND EXTERIOR WALL.
181 | 16124270400000 | B200413525 | 3/6/2025 |  |  |  |  | 2500 |  | 2516 W MADISON ST |  | CHICAGO, IL |  | BOOST MOBILE | ALTERATION OF EXISTING COMMUNICATION EQUIPMENT. ALTERATION OF 0 BOXES AND EQUIPMENT ON 1 TOWERS / STRUCTURES. LOCATION: TELECOMMUNICATIONS TOWER.
182 | 14283120620000 | B200413527 | 2/23/2025 |  |  |  |  | 10000 |  | 2446 N ORCHARD ST |  | CHICAGO, IL |  | RICHTER EDWARD | NONSTRUCTURAL PREPARATORY INTERIOR DEMOLITION TO REMOVE NON-LOAD BEARING PARTITIONS, MECHANICAL, ELECTRICAL AND PLUMBING THROUGHOUT. ALL OTHER WORK UNDER APPLICATION/PERMIT # 101062618. LOCATIONS: 3 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 1 INTERIOR COMMON AREAS, THROUGHOUT EXISTING 3-UNIT RESIDENTIAL BUILDING. ¦ SPECIAL CONDITION: INTERIOR DEMO ONLY, NO EXTERIOR WORK OR ALTERATIONS TO THE WINDOWS WITH THIS APPROVAL. ALL OTHER WORK UNDER APPLICATION/PERMIT # 101062618
183 | 25032040230000 | B200413530 | 2/14/2025 |  |  |  |  | 9633 |  | 402 E 88TH ST |  | CHICAGO, IL |  | CHAPMAN SERRATER | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: STEEP (>5:12). INVERTER OUTPUT: 3.9 KW. ARRAY OUTPUT: 5.265 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817.
184 | 17171170100000 | B200413532 | 2/11/2025 |  |  |  |  | 1200 |  | 1227 W JACKSON BLVD |  | CHICAGO, IL |  | 1227 JACKSON CONDOMINIUM LLC | LINE VOLTAGE ELECTRICAL WORK. NEW TEMPORARY 100 AMP SERVICE DISCONNECTING MEANS WITH 4 CIRCUITS. RECEPTACLE OUTLETS: 2 . LIGHTING OUTLETS: 2. SPECIFIC LOCATION: BACK OF THE PROPERTY.
185 | 12232180050000 | B200413535 | 2/26/2025 |  |  |  |  | 1022509 |  | 3745 N PLAINFIELD AVE |  | CHICAGO, IL |  | DORAN JOHN | LINE VOLTAGE ELECTRICAL WORK. INSTALL PERMANENT-NOT REQUIRED BY CODE 14 KW FUEL GAS GENERATOR. RECEPTACLE OUTLETS: 0 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: SIDE AND BACK OF THE BUILDING.
186 | 20212100100000 | B200413537 | 2/10/2025 |  |  |  |  | 5000 |  | 6539 S YALE AVE |  | CHICAGO, IL |  | SLAUGHTER EDWARD | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 20 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: BASEMENT AND BACKYARD.
187 | 25032150270000 | B200413540 | 2/12/2025 |  |  |  |  | 35000 |  | 736 E 89TH ST |  | CHICAGO, IL |  | THOMAS RENEE | SCOPE: ROOF REPLACEMENT. AREA: 1200 SQ. FT. ROOF COVERING: OTHER. LOCATION: FLAT ROOF TEAR OFF. IL ROOFING CONTRACTOR LICENSE: 104016787.
188 | 20114130100000 | B200413542 | 2/18/2025 |  |  |  |  | 1000 |  | 5345 S WOODLAWN AVE |  | CHICAGO, IL |  | MAC PROPERTIES MNGMT | LINE VOLTAGE ELECTRICAL WORK. ADD 1 CIRCUITS TO EXISTING 100 AMP SERVICE DISCONNECTING MEANS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: UNIT 5345-3.
189 | 12141120300000 | B200413544 | 2/18/2025 |  |  |  |  | 1200 |  | 4628 N CUMBERLAND AVE |  | CHICAGO, IL |  | ZITELLA SAM | LINE VOLTAGE ELECTRICAL WORK. ALTER EXISTING SYSTEM III EMERGENCY LIGHTING. RECEPTACLE OUTLETS: 0 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: 4628 N CUMBERLAND UNIT A.
190 | 20281230100000 | B200413545 | 2/18/2025 |  |  |  |  | 7500 |  | 7437 S PARNELL AVE |  | CHICAGO, IL |  | RICHARDSON SONIA | FULL REBUILD (SAME AS EXISTING) FOR WOOD PORCH (OPEN) (QUANTITY: 1, LOCATION: FRONT OF BUILDING). LANDING: 169 SQUARE FEET. LANDING NOT MORE THAN 6 FEET ABOVE GROUND.
191 | 21322010080000 | B200413546 | 2/13/2025 |  |  |  |  | 8000 |  | 8331 S BURLEY AVE |  | CHICAGO, IL |  | SOTO JUAN | FULL REBUILD (SAME AS EXISTING) FOR WOOD PORCH (OPEN) (QUANTITY: 1, LOCATION: FRONT OF BUILDING).
192 | 13331100290000 | B200413548 | 2/19/2025 |  |  |  |  | 5000 |  | 2051 N LOREL AVE |  | CHICAGO, IL |  | GALLEGOS JOSE | FULL REBUILD (SAME AS EXISTING) FOR WOOD PORCH (OPEN) (QUANTITY: 1, LOCATION: FRONT OF BUILDING). LANDING: 47 SQUARE FEET. LANDING NOT MORE THAN 6 FEET ABOVE GROUND.
193 | 14061170040000 | B200413549 | 2/10/2025 |  |  |  |  | 4500 |  | 2111 W GRANVILLE AVE |  | CHICAGO, IL |  | ACHARYA SUVAM | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 3 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: REAR OF APT. ON SERVICE DROP.
194 | 26053240050000 | B200413562 | 2/17/2025 |  |  |  |  | 23040 |  | 9719 S AVENUE J |  | CHICAGO, IL |  | CONTRERAS RAFAEL | INSTALL SOLAR PANELS ON ROOF OF ACCESSORY BUILDING. ROOF TYPE: LOW-SLOPED (<2:12). INVERTER OUTPUT: 5.76 KW. ARRAY OUTPUT: 8.2 KW. LOCATION: ROOFTOP SOLAR PANEL INSTALL, 20 MODULES, 5.76KW/AC. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-1231. ¦ SPECIAL CONDITION: **NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. **UNDERGROUND RACEWAY TO BE INSPECTED BY AHJ PRIOR TO COVERING.**REFER TO SOLAR PERMIT B200413559 (PRINCIPAL BUILDING).
195 | 20352210100000 | B200413564 | 2/11/2025 |  |  |  |  | 16000 |  | 8133 S DANTE AVE |  | CHICAGO, IL |  | FEDERAL NATIONAL MORTGAGE ASSN | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 21 CIRCUITS. RECEPTACLE OUTLETS: 30 . LIGHTING OUTLETS: 10. SPECIFIC LOCATION: 1ST FLOOR AND UNFINISHED BASEMENT.
196 | 16234040600000 | B200413567 | 3/6/2025 |  |  |  |  | 2500 |  | 1670 S CHRISTIANA AVE |  | CHICAGO, IL |  | BOOST MOBILE | ALTERATION OF EXISTING COMMUNICATION EQUIPMENT. ALTERATION OF 0 BOXES AND EQUIPMENT ON 1 TOWERS / STRUCTURES. LOCATION: TELECOMMUNICATIONS TOWER.
197 | 14204030660000 | B200413584 | 2/18/2025 |  |  |  |  | 190455 |  | 3532 N SHEFFIELD AVE |  | CHICAGO, IL |  | AT&T SERVICES | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 3200 SQ. FT., LINTEL QTY. 10, MAX. LENGTH 6. LOCATION: EAST AND WEST ELEVATION.
198 | 21313230340000 | B200413590 | 4/17/2025 |  |  |  |  | 15000 |  | 8536 S BURNHAM AVE |  | CHICAGO, IL |  | BOYKIN JOHN | FULL REBUILD (SAME AS EXISTING) FOR WOOD EXTERIOR BALCONY (QUANTITY: 2, LOCATION: REAR OF BUILDING).
199 | 14052090230000 | B200413604 | 2/26/2025 |  |  |  |  | 8000 |  | 6106 N KENMORE AVE |  | CHICAGO, IL |  | LOGAN/SPINAZZE RICHARD/ANGELA | WRECK AND REMOVE FRAME DETACHED GARAGE, NO REPLACEMENT. LOCATIONS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), EXTERIOR WORK, DETACHED GARAGE. ¦ SPECIAL CONDITION: NO WORK TO THE MAIN HOUSE WITH THIS APPROVAL.
200 | 25173000200000 | B200413612 | 2/17/2025 |  |  |  |  | 800 |  | 10710 S CHURCH ST |  | CHICAGO, IL |  | ZHENG YANG | REPAIR OR IN-KIND REPLACEMENT OF 3 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. INCLUDES REPAIR OR REPLACMENT OF PLUMBING PIPING. LOCATIONS: 3 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), UNIT3, 3W AND 2W.