## Sheet1
# [LLINE] | PIN* [PARID] | Local Permit No.* [USER28] | Issue Date* [PERMDT] | Desc 1* [DESC1] | Desc 2 Code 1 [USER6] | Desc 2 Code 2 [USER7] | Desc 2 Code 3 [USER8] | Amount* [AMOUNT] | Assessable [IS_ASSESS] | Applicant Street Address* [ADDR1] | Applicant Address 2 [ADDR2] | Applicant City, State, Zip* [ADDR3] | Contact Phone* [PHONE] | Applicant* [USER21] | Notes [NOTE1] | Occupy Dt [UDATE1] | Submit Dt* [CERTDATE] | Est Comp Dt [UDATE2] | user21
1 | 19174130190000 | B200422423 | 4/22/2025 |  |  |  |  | 1500 |  | 6054 S MAJOR AVE |  | CHICAGO, IL |  | MENDEZ RAQUEL | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 10 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. 13.5 KWH LITHIUM ION ENERGY STORAGE SYSTEM. SPECIFIC LOCATION: BASEMENT AND REAR OF HOME.
2 | 13261160600000 | B200422426 | 5/19/2025 |  |  |  |  | 50000 |  | 2922 N RIDGEWAY AVE |  | CHICAGO, IL |  | VONESH KIM | SCOPE: NONSTRUCTURAL INTERIOR ALTERATION TO KITCHEN. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), KITCHEN.
3 | 17162090120000 | B200422432 | 4/23/2025 |  |  |  |  | 85808 |  | 222 W ADAMS ST |  | CHICAGO, IL |  | THE FRANKLIN | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL DATA/VIDEO. INSTALL SECURITY. SPECIFIC LOCATION: 24TH FLOOR SUITE 2450.
4 | 13223210080000 | B200422435 | 4/28/2025 |  |  |  |  | 50000 |  | 3254 N KILBOURN AVE |  | CHICAGO, IL |  | INTRINSIC SCHOOLS | NONSTRUCTURAL INTERIOR PREPARATORY DEMOLITION OF DRYWALL/NON-LOADING PARTITION WALLS AND M.E.P. ALL OTHER WORK UNDER SPR APPLICATION/PERMIT # 101062518. LOCATIONS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), SECOND FLOOR BUSINESS AREA.
5 | 17334130460000 | B200422436 | 4/25/2025 |  |  |  |  | 629321 |  | 3770 S WENTWORTH AVE |  | CHICAGO, IL |  | CHICAGO HOUSING AUTHORITY | SCOPE: ROOF REPLACEMENT. AREA: 48500 SQ. FT. ROOF COVERING: OTHER. LOCATION: WORK PERFORMED ON THE ROOF. IL ROOFING CONTRACTOR LICENSE: 104003990.
6 | 17102050020000 | B200422447 | 5/12/2025 |  |  |  |  | 10000 |  | 425 E ERIE ST |  | CHICAGO, IL |  | NORTHWESTERN MEMORIAL HEALTHCARE | CONCRETE MASONRY REPAIR / REPLACEMNT: 100SQ. FT., EXCAVATION = NO. LOCATION: FLOORS 8-11 (MISC. CONCRETE REPAIRS).
7 | 19074300140000 | B200422449 | 4/23/2025 |  |  |  |  | 8000 |  | 6456 W ARCHER AVE |  | CHICAGO, IL |  | WAZ BROTHERS INC | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 1000 SQ. FT., LINTEL QTY. 2, MAX. LENGTH 4. PARAPET REBUILDING: 200 SQ. FT. LOCATION: EXTERIOR WALLS.
8 | 16102000610000 | B200422457 | 5/13/2025 |  |  |  |  | 500000 |  | 4301 W CHICAGO AVE |  | CHICAGO, IL |  | DCASE | PAINT MURAL ON EXTERIOR CONCRETE PANEL. LOCATIONS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), EXTERIOR WORK, MURAL ON FACADE.
9 | 13132340300000 | B200422460 | 5/9/2025 |  |  |  |  | 10000 |  | 4410 N WESTERN AVE |  | CHICAGO, IL |  | ISLAMAJ MIKE | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 150 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: REMOVE BRICK FACADE, BUILD 24" KNEE WALL.
10 | 25284340240000 | B200422462 | 4/23/2025 |  |  |  |  | 2500 |  | 12638 S HARVARD AVE |  | CHICAGO, IL |  | EAGLE INV PROPERTIES INC | PURPOSE: NEW/REPLACEMENT INSTALLATION. WOOD FENCE - 6'-0' ' (HEIGHT) X 100'-0' ' (LENGTH). LOCATION: 100 LF OF 6 FT HIGH WOOD FENCE. ¦ SPECIAL CONDITION: NOT TO BE SOLID CONTRUCTION WITHIN FRONT YARD.
11 | 17162050160000 | B200422465 | 4/25/2025 |  |  |  |  | 423446 |  | 10 S DEARBORN ST |  | CHICAGO, IL |  | JPMORGAN CHASE BANK, N.A. | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL AUDIO. SPECIFIC LOCATION: FLOORS 38,43, 45,46,47,48 55.
12 | 17214340030000 | B200422466 | 4/23/2025 |  |  |  |  | 16000 |  | 2108 S PRINCETON AVE |  | CHICAGO, IL |  | HOUSING CORP. CASL SENIOR | LINE VOLTAGE ELECTRICAL WORK. ADD 1 CIRCUITS TO EXISTING 800 AMP SERVICE DISCONNECTING MEANS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: GATE AT EAST SIDE PARKING LOT.
13 | 16043120240000 | B200422474 | 5/2/2025 |  |  |  |  | 4400 |  | 1040 N LOREL AVE |  | CHICAGO, IL |  | ROSS RACHEL | PURPOSE: LEGALIZE UNPERMITTED WORK. WOOD FENCE - 6'-0' ' (HEIGHT) X 120'-0' ' (LENGTH). LOCATION: FENCE.
14 | 16133040150000 | B200422490 | 6/11/2025 |  |  |  |  | 5000 |  | 3125 W FLOURNOY ST |  | CHICAGO, IL |  | FAMILY PORTFOLIO LLC | SCOPE: NONSTRUCTURAL PREPARATORY INTERIOR DEMOLITION OF DRYWALL, CABINETS AND HARDWOOD FLOOR AND M.E.P. ALL OTHER WORK UNDER SPR APPLICATION/PERMIT # 101068227. LOCATIONS: 3 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 2 INTERIOR COMMON AREAS, INTERIOR + ALL COMMON SPACES.
15 | 20084290110000 | B200422493 | 4/24/2025 |  |  |  |  | 15000 |  | 915 W 54TH PL |  | CHICAGO, IL |  | ENGE JAIME | REPAIR OR IN-KIND REPLACEMENT OF 0 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. INCLUDES REPAIR OR REPLACMENT OF PLUMBING PIPING. LOCATIONS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), 1 INTERIOR COMMON AREAS, BASEMENT.
16 | 20034000160000 | B200422497 | 4/22/2025 |  |  |  |  | 100 |  | 4351 S DR MARTIN LUTHER KING JR DR |  | CHICAGO, IL |  | SONEK ELECTRIC,INC. | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: ELECTRICAL.
17 | 13142040060000 | B200422498 | 4/24/2025 |  |  |  |  | 7000 |  | 4734 N SPAULDING AVE |  | CHICAGO, IL |  | JANIS TIMOTHY | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 40 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: BASEMENT.
18 | 20034000160000 | B200422499 | 4/22/2025 |  |  |  |  | 100 |  | 414 E 44TH ST |  | CHICAGO, IL |  | SONEK ELECTRIC,INC. | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: ELECTRICAL.
19 | 20034000160000 | B200422500 | 4/22/2025 |  |  |  |  | 100 |  | 4357 S DR MARTIN LUTHER KING JR DR |  | CHICAGO, IL |  | SONEK ELECTRIC,INC. | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: ELECTRICAL.
20 | 19181310380000 | B200422504 | 4/22/2025 |  |  |  |  | 100 |  | 5838 S OAK PARK AVE |  | CHICAGO, IL |  | FERREYROS LUIS | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: FRONT PORCH.
21 | 25051220200000 | B200422505 | 4/24/2025 |  |  |  |  | 15000 |  | 8924 S ELIZABETH ST |  | CHICAGO, IL |  | CARTWRIGHT DORIAN | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 20'-0' ' X20'-0' '. HIP ROOF HEIGHT TO PEAK: 11'-0' '.
22 | 13241020100000 | B200422508 | 4/22/2025 |  |  |  |  | 3500 |  | 3939 N ALBANY AVE |  | CHICAGO, IL |  | ROBERTS BETTY V | LINE VOLTAGE ELECTRICAL WORK. ADD 2 CIRCUITS TO EXISTING 200 AMP SERVICE DISCONNECTING MEANS. RECEPTACLE OUTLETS: 2 . LIGHTING OUTLETS: 2. SPECIFIC LOCATION: GARAGE.
23 | 13262200150000 | B200422510 | 4/24/2025 |  |  |  |  | 4500 |  | 2921 N SPAULDING AVE |  | CHICAGO, IL |  | JENKINS JOY | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 400 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: BASEMENT AREA.
24 | 13143190030000 | B200422511 | 4/26/2025 |  |  |  |  | 17500 |  | 4184 N ELSTON AVE |  | CHICAGO, IL |  | PECORARO BATISTA | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 500 SQ. FT., LINTEL QTY. 10, MAX. LENGTH 6. LOCATION: NORTH, EAST, SOUTH, WEST ELEVATION.
25 | 16114030090000 | B200422512 | 5/7/2025 |  |  |  |  | 8000 |  | 309 N CENTRAL PARK AVE |  | CHICAGO, IL |  | NOMADIC HOLDINGS LLC | SCOPE: NONSTRUCTURAL INTERIOR REMOVAL OF UNPERMITTED RESIDENTIAL UNIT FEATURES, CAP AND REMOVE PLUMBING AT ITS SOURCE, REMOVE PARTITIONS, REMOVE SHOWER, SEAL DRAIN, CABINETS AND APPLIANCES, REMOVE DOORS. LOCATIONS: 0 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 1 INTERIOR COMMON AREAS, BASEMENT- DECONVERSION OF DWELLING UNIT.
26 | 20113120080000 | B200422515 | 6/3/2025 |  |  |  |  | 5000 |  | 5235 S UNIVERSITY AVE |  | CHICAGO, IL |  | WALKER GARTH | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 400 AMP SERVICE DISCONNECTING MEANS WITH 10 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: BASEMENT ELECTRICAL ROOM AND REAR OF THE BUILDING. ¦ SPECIAL CONDITION: NO OTHER WORK
27 | 16093020120000 | B200422519 | 4/24/2025 |  |  |  |  | 100 |  | 315 N LOTUS AVE |  | CHICAGO, IL |  | HANDY JARVIS | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: REAR WALL.
28 | 13334210380000 | B200422520 | 4/23/2025 |  |  |  |  | 1000 |  | 5128 W NORTH AVE |  | CHICAGO, IL |  | TRAN HA | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 2 . LIGHTING OUTLETS: 2. SPECIFIC LOCATION: FIRST FLOOR AND BASEMENT.
29 | 13352160010000 | B200422525 | 4/23/2025 |  |  |  |  | 3400 |  | 2255 N SPAULDING AVE |  | CHICAGO, IL |  | BULLARD KATHY | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 47 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: BASEMENT.
30 | 14171080160000 | B200422526 | 5/8/2025 |  |  |  |  | 50000 |  | 4612 N BEACON ST |  | CHICAGO, IL |  | SHERDIAN PARK LLC | LIMITED REPAIR (25% OR LESS) FOR STEEL EXTERIOR STAIRWAY (QUANTITY: 1, LOCATION: OTHER).
31 | 26061040390000 | B200422531 | 4/23/2025 |  |  |  |  | 32568 |  | 8750 S SAGINAW AVE |  | CHICAGO, IL |  | FREELAND BRYA | REPAIR OR IN-KIND REPLACEMENT OF 0 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. INCLUDES REPAIR OR REPLACMENT OF PLUMBING PIPING. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), EXTERIOR WORK, BASEMENT AND OUTSIDE.
32 | 16043050080000 | B200422536 | 5/13/2025 |  |  |  |  | 12470 |  | 1135 N LOREL AVE |  | CHICAGO, IL |  | SANTOYA JESSICA | PURPOSE: NEW/REPLACEMENT INSTALLATION. VINYL/PVC FENCE - 6'-0' ' (HEIGHT) X 180'-0' ' (LENGTH). LOCATION: WITHIN THE SUBJECT PROPERTY LINE.
33 | 16014040240000 | B200422537 | 5/19/2025 |  |  |  |  | 6500 |  | 1105 N CALIFORNIA AVE |  | CHICAGO, IL |  | LLAMEDO REGELIO | LINE VOLTAGE ELECTRICAL WORK. ALTER EXISTING SYSTEM I EMERGENCY LIGHTING. RECEPTACLE OUTLETS: 0 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: INSIDE COMMERCIAL UNIT # 1105.ALSO BY THE RISER..
34 | 17083220030000 | B200422540 | 4/23/2025 |  |  |  |  | 65000 |  | 1431 W LAKE ST |  | CHICAGO, IL |  | PREMIER NIGHT CLUB | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 1500 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. PARAPET REBUILDING: 450 SQ. FT. LOCATION: MASONRY REPAIRS.
35 | 20293150110000 | B200422542 | 4/24/2025 |  |  |  |  | 7650 |  | 7735 S ADA ST |  | CHICAGO, IL |  | OWENS WALTER | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: STEEP (>5:12). INVERTER OUTPUT: 5.1 KW. ARRAY OUTPUT: 5.1 KW. LOCATION: THE ROOF. ICC DISTRIBUTED GENERATION INSTALLER CERT. #22-0420. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
36 | 25331170760000 | B200422552 | 4/25/2025 |  |  |  |  | 9633 |  | 533 W 129TH PL |  | CHICAGO, IL |  | WALTON ROBERT | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: STEEP (>5:12). INVERTER OUTPUT: 3.9 KW. ARRAY OUTPUT: 5.265 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * REFER TO ELECTRICAL PERMIT B200422556.* ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
37 | 25194170170000 | B200422555 | 5/12/2025 |  |  |  |  | 325000 |  | 11730 S MARSHFIELD AVE |  | CHICAGO, IL |  | MOTT DAVID | SCOPE: ROOF REPLACEMENT. AREA: 25000 SQ. FT. ROOF COVERING: OTHER. LOCATION: 4 RETAIL STORES LOCATED WITHIN MARSHFIELD PLAZA. IL ROOFING CONTRACTOR LICENSE: 104000281.
38 | 25331170760000 | B200422556 | 4/23/2025 |  |  |  |  | 1500 |  | 533 W 129TH PL |  | CHICAGO, IL |  | WALTON ROBERT | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 20 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. 13.5 KWH LITHIUM ION ENERGY STORAGE SYSTEM. SPECIFIC LOCATION: BASEMENT AND REAR OF HOME.
39 | 17103200020000 | B200422559 | 5/1/2025 |  |  |  |  | 5000 |  | 201 E RANDOLPH ST |  | CHICAGO, IL |  | 2FM - DEPT OF FLEET AND FACILITIES MGMT | LINE VOLTAGE ELECTRICAL WORK. ADD 0 CIRCUITS TO EXISTING 200 AMP SERVICE DISCONNECTING MEANS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 22. SPECIFIC LOCATION: 1ST FLOOR.
40 | 20083110360000 | B200422560 | 4/23/2025 |  |  |  |  | 750 |  | 5230 S LOOMIS BLVD |  | CHICAGO, IL |  | ARAJ CONSULTING LLC | SCOPE: ROOF REPAIR. AREA: 1000 SQ. FT. ROOF COVERING: ASPHALT SHINGLES. LOCATION: ROOFING. IL ROOFING CONTRACTOR LICENSE: 104018889.
41 | 17341200060000 | B200422570 | 4/23/2025 |  |  |  |  | 1500 |  | 3329 S INDIANA AVE |  | CHICAGO, IL |  | PHILLIP DERRICK | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 30 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: BASEMENT.
42 | 16041170160000 | B200422574 | 4/24/2025 |  |  |  |  | 27417 |  | 5421 W HIRSCH ST |  | CHICAGO, IL |  | SHENAURLT LINDA | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: STEEP (>5:12). INVERTER OUTPUT: 11.1 KW. ARRAY OUTPUT: 14.985 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * REFER TO ELECTRICAL PERMIT B200422578.* ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
43 | 13132080430000 | B200422577 | 6/16/2025 |  |  |  |  | 20750 |  | 4652 N VIRGINIA AVE |  | CHICAGO, IL |  | SUMMER VANESSA | LIMITED REPAIR (25% OR LESS) FOR CONCRETE EXTERIOR STAIRWAY (QUANTITY: 1, LOCATION: FRONT OF BUILDING). LANDING: 30 SQUARE FEET. LANDING NOT MORE THAN 6 FEET ABOVE GROUND. CONCRETE WORK.
44 | 16041170160000 | B200422578 | 4/23/2025 |  |  |  |  | 1500 |  | 5421 W HIRSCH ST |  | CHICAGO, IL |  | SHENAURLT LINDA | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 26 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. 13.5 KWH LITHIUM ION ENERGY STORAGE SYSTEM. SPECIFIC LOCATION: BASEMENT AND EAST SIDE OF HOME.
45 | 14292030410000 | B200422593 | 5/12/2025 |  |  |  |  | 69780 |  | 3150 N SHEFFIELD AVE |  | CHICAGO, IL |  | THE LOFTS AT THE VIC CONDO ASSN | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 1900 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 1. LOCATION: TUCKPOINT NORTH & WEST ELEVATION.
46 | 17341210290000 | B200422596 | 5/6/2025 |  |  |  |  | 20913 |  | 3445 S PRAIRIE AVE |  | CHICAGO, IL |  | THOMPSON MICHAEL | SCOPE: NONSTRUCTURAL INTERIOR REPLACEMENT OF WATER DAMAGED DRYWALL, REPLACE PLUMBING PIPING AND ELECTRICAL. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), BASEMENT. ¦ SPECIAL CONDITION: APPROVED PER ATTACHED DRAWINGS DATED 4/29/25: INTERIOR WORK ONLY, NO EXTERIOR WORK OR REPLACEMENT OF DOORS OR WINDOWS W/ THIS PERMIT. ANY DOOR AND/OR WINDOW REPLACEMENT TO BE APPLIED FOR UNDER SEPARATE PERMIT.
47 | 25162210040000 | B200422599 | 5/1/2025 |  |  |  |  | 10000 |  | 10645 S LAFAYETTE AVE |  | CHICAGO, IL |  | THERESA DIXON | SCOPE: ROOF REPLACEMENT. AREA: 1890 SQ. FT. ROOF COVERING: ASPHALT SHINGLES. LOCATION: EX. ROOF. IL ROOFING CONTRACTOR LICENSE: 104018445.
48 | 20353020060000 | B200422600 | 5/29/2025 |  |  |  |  | 5000 |  | 8321 S DREXEL AVE |  | CHICAGO, IL |  | RICH STEPHEN | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 150 SQ. FT., LINTEL QTY. 14, MAX. LENGTH 10. LOCATION: WEST EXTERIOR SURFACE OF BUILDING.
49 | 17162010040000 | B200422602 | 4/28/2025 |  |  |  |  | 100 |  | 1 S WACKER DR |  | CHICAGO, IL |  | PROGRESS ELECTRIC CO | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: LOCATION OF WORK TO BE DETERMINED BY BUILDING MGT.
50 | 12241070470000 | B200422606 | 4/24/2025 |  |  |  |  | 17784 |  | 3622 N OTTAWA AVE |  | CHICAGO, IL |  | ORTIZ HOLLY | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 7.2 KW. ARRAY OUTPUT: 9.72 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * PLEASE REFER TO ELECTRICAL PERMIT B200422611.* ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
51 | 12023010100000 | B200422607 | 4/28/2025 |  |  |  |  | 46000 |  | 8735 W HIGGINS RD |  | CHICAGO, IL |  | O'HARE PLZ LLC | LINE VOLTAGE ELECTRICAL WORK. ALTER EXISTING SYSTEM I EMERGENCY LIGHTING. RECEPTACLE OUTLETS: 0 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: SUITE 300.
52 | 14331070010000 | B200422608 | 4/25/2025 |  |  |  |  | 322621 |  | 2247 N HALSTED ST |  | CHICAGO, IL |  | DEPAUL UNIVERSITY* | SCOPE: ROOF REPLACEMENT. AREA: 10000 SQ. FT. ROOF COVERING: OTHER. LOCATION: ROOF TOP. IL ROOFING CONTRACTOR LICENSE: 104000179.
53 | 16272140060000 | B200422610 | 4/24/2025 |  |  |  |  | 30507 |  | 4148 W 24TH ST |  | CHICAGO, IL |  | HERNANDEZ MARIA | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: LOW-SLOPED (<2:12). INVERTER OUTPUT: 8.9 KW. ARRAY OUTPUT: 8.925 KW. LOCATION: ROOF WORK. ICC DISTRIBUTED GENERATION INSTALLER CERT. #23-0612. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * PLEASE APPLY FOR ELECTRICAL PERMIT PRIOR TO SOLAR INSPECTION AND HAVE PRESENT ON DATE OF SOLAR INSPECTION OR RISK FAILURE AS PROPOSED WORK PER ELECTRICAL DRAWING.* ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.* PLEASE PROVIDE NOTARIZED LETTER FROM OWNER/BUILDING MANAGEMENT WITH APPROVAL OF SOLAR INSTALLATION OF PROPOSED WORK ON BUILDING STRUCTURE AT THE
54 | 12241070470000 | B200422611 | 4/23/2025 |  |  |  |  | 1700 |  | 3622 N OTTAWA AVE |  | CHICAGO, IL |  | ORTIZ HOLLY | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 13 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. 13.5 KWH LITHIUM ION ENERGY STORAGE SYSTEM. SPECIFIC LOCATION: BASEMENT AND REAR OF HOME.
55 | 17163030030000 | B200422615 | 4/25/2025 |  |  |  |  | 1050000 |  | 717 S DESPLAINES ST |  | CHICAGO, IL |  | HARNEY LOUISE | SCOPE: ROOF RECOVER. AREA: 12000 SQ. FT. ROOF COVERING: OTHER. LOCATION: ROOF TOP. IL ROOFING CONTRACTOR LICENSE: 104008002.
56 | 16163000180000 | B200422622 | 4/28/2025 |  |  |  |  | 200000 |  | 5565 W FLOURNOY ST |  | CHICAGO, IL |  | JCDECAUX CHICAGO COMMUNICATION NETWORK, LLC* | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: BILLBOARD.
57 | 17074260210000 | B200422627 | 5/8/2025 |  |  |  |  | 659036 |  | 1956 W WARREN BLVD |  | CHICAGO, IL |  | GREATER UNION BAPTISIT CHURCH | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 7000 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: SOUTH, WEST AND EAST ELEVATION. ¦ SPECIAL CONDITION: PER ATTACHMENTS REC’D 4/23/25: BRICK OR TERRA COTTA REMOVED TO BE SALVAGED AND REPLACED TO GREATEST EXTENT FEASIBLE. ANY NEW BRICK/TERRA COTTA TO MATCH HISTORIC IN SIZE, SHAPE, DESIGN, COLOR, TEXTURE, & FINISH. NEW MORTAR TO MATCH HISTORIC MORTAR IN COLOR, JOINT PROFILE, TEXTURE, & STRENGTH/TYPE. WHEN GRINDING EXISTING MORTAR JOINTS, SURROUNDING MASONRY UNITS SHALL NOT BE OVERCUT. DRY GRINDING ONLY, NO CHEMICAL CLEANING OR SAND BLASTING. PRESSURE WASHING LESS < 400PSI W/ FAN TIP BRUSH.
58 | 16143280380000 | B200422634 | 4/29/2025 |  |  |  |  | 10000 |  | 1136 S CENTRAL PARK AVE |  | CHICAGO, IL |  | SPURLOCK TERRELL | LINE VOLTAGE ELECTRICAL WORK. ADD 6 CIRCUITS TO EXISTING 100 AMP SERVICE DISCONNECTING MEANS. RECEPTACLE OUTLETS: 16 . LIGHTING OUTLETS: 8. SPECIFIC LOCATION: FIRE APARTMENT, CODE VIOLATION AND EXTERIOR.
59 | 14192230300000 | B200422639 | 4/23/2025 |  |  |  |  | 23200 |  | 3730 N MARSHFIELD AVE |  | CHICAGO, IL |  | MOSLEY THOMAS | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 20'-0' ' X24'-0' '. HIP ROOF HEIGHT TO PEAK: 13'-0' '.
60 | 25081020010000 | B200422650 | 4/29/2025 |  |  |  |  | 82300 |  | 1465 W 95TH ST |  | CHICAGO, IL |  | KHATAU SANJEEV | SCOPE: NONSTRUCTURAL INTERIOR REPLACEMENT OF FLOOR BASE, TRIM, CEILING TILE, AND PLUMBING AND ELECTRICAL FIXTURES. LOCATIONS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), INTERIOR DUNKIN STORE.
61 | 14052140250000 | B200422656 | 5/2/2025 |  |  |  |  | 15000 |  | 5940 N SHERIDAN RD |  | CHICAGO, IL |  | VALAVANIS ANGELA | DUCTWORK EXTENSION/RECONFIGURATION, REPAIR/REPLACEMENT AFFECTING 1 SYSTEMS : 2 CENTRAL FURNACE(GOODMAN, GR9T960804C, BASEMENT) . ELECTRICAL WORK UNDER THIS PERMIT = NO . LOCATIONS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), BASEMENT AND FIRST FLOOR. ¦ SPECIAL CONDITION: PER ATTACHMENTS RECEIVED 4/23/25: INTERIOR MECHANICAL WORK ONLY WITH THIS APPROVAL.
62 | 16054090160000 | B200422657 | 4/30/2025 |  |  |  |  | 13284 |  | 1050 N MAYFIELD AVE |  | CHICAGO, IL |  | LUNA YANNA | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 5.174 KW. ARRAY OUTPUT: 0.00574 KW. LOCATION: ROOF SOLAR. ICC DISTRIBUTED GENERATION INSTALLER CERT. #23-0387. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
63 | 20313200470000 | B200422664 | 4/23/2025 |  |  |  |  | 25000 |  | 8504 S DAMEN AVE |  | CHICAGO, IL |  | CANTRELL PRECIOUS | ADA MODIFICATION - NEW FRONT DECK AND STAIRS FOR NEW VPL WITH ASSOCIATED CONCRETE WORK
64 | 17171060180000 | B200422668 | 4/30/2025 |  |  |  |  | 25350 |  | 1515 W MONROE ST |  | CHICAGO, IL |  | 1515 MONROE PROPERTY LLC | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 450 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: CHIMNEY MASONRY REPAIRS. ¦ SPECIAL CONDITION: ANY BRICK REMOVED TO BE SALVAGED AND REPLACED TO GREATEST EXTENT FEASIBLE. ANY NEW BRICK TO MATCH HISTORIC IN SIZE, SHAPE, COLOR, TEXTURE, & FINISH. NEW MORTAR TO MATCH HISTORIC MORTAR IN COLOR, JOINT PROFILE, TEXTURE, & STRENGTH/TYPE. WHEN GRINDING EXISTING MORTAR JOINTS, SURROUNDING MASONRY UNITS SHALL NOT BE OVERCUT. DRY GRINDING ONLY, NO CHEMICAL CLEANING OR SAND BLASTING TO OCCUR WITH THIS APPROVAL. PRESSURE WASHING LESS THAN 400PSI WITH FAN TIP BRUSH.
65 | 17094630010000 | B200422682 | 4/23/2025 |  |  |  |  | 8000 |  | 33 N DEARBORN ST |  | CHICAGO, IL |  | VORNADO REALTY TRUST | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. ALTER EXISTING TELEPHONE. SPECIFIC LOCATION: 4TH FLOOR.
66 | 17094630020000 | B200422682 | 4/23/2025 |  |  |  |  | 8000 |  | 33 N DEARBORN ST |  | CHICAGO, IL |  | VORNADO REALTY TRUST | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. ALTER EXISTING TELEPHONE. SPECIFIC LOCATION: 4TH FLOOR.
67 | 19241100140000 | B200422683 | 4/28/2025 |  |  |  |  | 22287 |  | 6445 S ALBANY AVE |  | CHICAGO, IL |  | GODINEZ JANET | ADA BATHROOM MODIFICATIONS. REMOVE TUB AND INSTALL SHOWER WITH ASSOCIATED FIXTURES AND TILE WORK.
68 | 19143040710000 | B200422686 | 4/23/2025 |  |  |  |  | 1000 |  | 3950 W 60TH ST |  | CHICAGO, IL |  | TERAN VICTOR | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: STORE AREA.
69 | 20074040090000 | B200422688 | 4/29/2025 |  |  |  |  | 2200 |  | 1737 W 51ST ST |  | CHICAGO, IL |  | DELGADO CESAR | WRECK AND REMOVE A FRAME DETACHED GARAGE, NO REPLACEMENT. LOCATIONS: 0 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), EXTERIOR WORK, GARAGE REMOVAL.
70 | 14211060160000 | B200422696 | 5/7/2025 |  |  |  |  | 35000 |  | 635 W GRACE ST |  | CHICAGO, IL |  | PRAIRIE MGMT & DEVELOPMENT, INC. | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 800 AMP SERVICE DISCONNECTING MEANS WITH 11 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. ELECTRIC VEHICLE SUPPLY EQUIPMENT:45 SPACES. SPECIFIC LOCATION: PARKING GARAGE SERVICE AND CAR CHARGERS. ¦ SPECIAL CONDITION: * THANKS FOR PROVIDING ENGINEERED DRAWINGS, PLEASE VOID HAND DRAWING.
71 | 25094220010000 | B200422698 | 4/25/2025 |  |  |  |  | 2800 |  | 10101 S PERRY AVE |  | CHICAGO, IL |  | RECO DEVELOPMENT LLC | PURPOSE: NEW/REPLACEMENT INSTALLATION. WOOD FENCE - 6'-0' ' (HEIGHT) X 180'-0' ' (LENGTH). LOCATION: 180 LF OF 6FT HIGH WOOD FENCE. ¦ SPECIAL CONDITION: NOT TO BE OF SOLID CONTRUCTION WITHIN FRONT YARD.
72 | 25203140200000 | B200422713 | 4/30/2025 |  |  |  |  | 8500 |  | 11749 S ASHLAND AVE |  | CHICAGO, IL |  | KLIMA EDWARD | REPAIR/REPLACEMENT AFFECTING 1 SYSTEMS : 1 FLOOR FURNACE(LENOX M/NEL297UH090XV48C-01, MECH ROOM) . ELECTRICAL WORK UNDER THIS PERMIT = NO . LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), REPLACE FURNACE & AC UNIT.
73 | 14054090010000 | B200422718 | 4/29/2025 |  |  |  |  | 40000 |  | 5641 N WINTHROP AVE |  | CHICAGO, IL |  | NIHLEAN TINA TRAVLOS | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 800 AMP SERVICE DISCONNECTING MEANS WITH 19 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: BASEMENT.
74 | 20081120310000 | B200422722 | 4/29/2025 |  |  |  |  | 29606 |  | 4814 S ADA ST |  | CHICAGO, IL |  | FLORES FERNANDO | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: STEEP (>5:12). INVERTER OUTPUT: 5.22 KW. ARRAY OUTPUT: 7.65 KW. LOCATION: EXISTING ROOF OF PRINCIPAL STRUCTURE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #23-0387. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
75 | 21313020360000 | B200422725 | 4/23/2025 |  |  |  |  | 5836 |  | 8342 S KINGSTON AVE |  | CHICAGO, IL |  | THOMAS ANGEL | PURPOSE: NEW/REPLACEMENT INSTALLATION. WOOD FENCE - 6'-0' ' (HEIGHT) X 96'-0' ' (LENGTH). LOCATION: RIGHT SIDE, FRONT AND REAR.
76 | 16161100180000 | B200422729 | 4/28/2025 |  |  |  |  | 7500 |  | 5313 W QUINCY ST |  | CHICAGO, IL |  | CROCKRELL ANTOINE | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 400 AMP SERVICE DISCONNECTING MEANS WITH 24 CIRCUITS. RECEPTACLE OUTLETS: 10 . LIGHTING OUTLETS: 10. SPECIFIC LOCATION: ELECTRICAL SERVICE REPAIR AND UPDATE.
77 | 11321190090000 | B200422731 | 5/13/2025 |  |  |  |  | 1463347 |  | 1234 W FARWELL AVE |  | CHICAGO, IL |  | TERRY ROBIN | LINE VOLTAGE ELECTRICAL WORK. INSTALL PERMANENT-NOT REQUIRED BY CODE 24 KW OTHER GENERATOR. RECEPTACLE OUTLETS: 0 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: BACKYARD.
78 | 13113010500000 | B200422734 | 4/24/2025 |  |  |  |  | 1800 |  | 5107 N SPRINGFIELD AVE |  | CHICAGO, IL |  | BADDU SAJID | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 2 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: REAR OF BUILDING.
79 | 14194240020000 | B200422737 | 5/2/2025 |  |  |  |  | 4500 |  | 3334 N LINCOLN AVE |  | CHICAGO, IL |  | CHIN EDDIE | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: INTERIOR.
80 | 16233210330000 | B200422738 | 4/28/2025 |  |  |  |  | 1600 |  | 1940 S RIDGEWAY AVE |  | CHICAGO, IL |  | URQUIA JORGE | PURPOSE: LEGALIZE UNPERMITTED WORK. WOOD FENCE - 6'-0' ' (HEIGHT) X 60'-0' ' (LENGTH). LOCATION: SIDE LOTS.
81 | 16114050770000 | B200422740 | 5/1/2025 |  |  |  |  | 4800 |  | 3234 W FULTON BLVD |  | CHICAGO, IL |  | CORONA ALEJANDRO | PURPOSE: NEW/REPLACEMENT INSTALLATION. WOOD FENCE - 6'-0' ' (HEIGHT) X 120'-0' ' (LENGTH). LOCATION: BACKYARD.
82 | 20154040140000 | B200422745 | 4/23/2025 |  |  |  |  | 5800 |  | 6037 S RHODES AVE |  | CHICAGO, IL |  | AGUIRRE ARMANDO | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 1000 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: SOUTH ELEVATION.
83 | 13074020220000 | B200422746 | 4/25/2025 |  |  |  |  | 11650 |  | 5105 N RUTHERFORD AVE |  | CHICAGO, IL |  | IVANICHOK YARYNA | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 22'-0' ' X22'-0' '. HIP ROOF HEIGHT TO PEAK: 14'-0' '.
84 | 20202220410000 | B200422747 | 4/25/2025 |  |  |  |  | 16800 |  | 840 W 66TH ST |  | CHICAGO, IL |  | REAGAN EDWARD | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 600 SQ. FT., LINTEL QTY. 9, MAX. LENGTH 6. PARAPET REBUILDING: 25 SQ. FT. LOCATION: WEST. SOUTH. EAST. NORTH PARAPET WALL.
85 | 19104080430000 | B200422753 | 5/12/2025 |  |  |  |  | 250000 |  | 5220 S PULASKI RD |  | CHICAGO, IL |  | EPK MGMT LP | NEW HEAT PUMP OR REFRIGERATION EQUIP., ELECTRICAL WORK UNDER THIS PERMIT = NO . LOCATIONS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), 1 INTERIOR COMMON AREAS, EXTERIOR WORK, ROOFTOP AND BELOW ROOF DECK, 5 NEW RTU'S. ¦ SPECIAL CONDITION: CONTACT THE REFRIGERATION BUREAU SUPERVISOR CLEMENT "BUD" GAVIN PRIOR TO THE INSTALLATION OF THE ROOFTOP UNIT.312-743-3562
86 | 13142140040000 | B200422757 | 5/16/2025 |  |  |  |  | 18577 |  | 4547 N DRAKE AVE |  | CHICAGO, IL |  | WIPKE CHRIS | FULL REBUILD (SAME AS EXISTING) FOR OTHER MATERIAL PORCH (OPEN) (QUANTITY: 1, LOCATION: FRONT OF BUILDING). LANDING: 105 SQUARE FEET. MATERIAL: SIDING.
87 | 13142270140000 | B200422761 | 4/24/2025 |  |  |  |  | 20000 |  | 4419 N SPAULDING AVE |  | CHICAGO, IL |  | DEAN RONALD | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 22'-0' ' X20'-0' '. GABLE ROOF HEIGHT TO PEAK: 13'-0' '.
88 | 16013020100000 | B200422762 | 5/16/2025 |  |  |  |  | 12000 |  | 1143 N RICHMOND ST |  | CHICAGO, IL |  | RANCE BRENDA | FULL REBUILD (SAME AS EXISTING) FOR WOOD DECK (NON-ROOFTOP) (QUANTITY: 1, LOCATION: REAR OF BUILDING).
89 | 14054090010000 | B200422765 | 4/29/2025 |  |  |  |  | 40000 |  | 5641 N WINTHROP AVE |  | CHICAGO, IL |  | NIHLEAN TINA TRAVLOS | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 800 AMP SERVICE DISCONNECTING MEANS WITH 25 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: BASEMENT.
90 | 13054150080000 | B200422770 | 4/24/2025 |  |  |  |  | 8000 |  | 5724 N MANTON AVE |  | CHICAGO, IL |  | DOUGAN BRETT | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 20 CIRCUITS. RECEPTACLE OUTLETS: 2 . LIGHTING OUTLETS: 2. SPECIFIC LOCATION: BASEMENT.
91 | 17162430370000 | B200422772 | 4/24/2025 |  |  |  |  | 5000 |  | 428 S CLARK ST |  | CHICAGO, IL |  | COHEN RANDY | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 15 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: 1ST FLOOR.
92 | 13162100160000 | B200422788 | 5/7/2025 |  |  |  |  | 100 |  | 4625 N LECLAIRE AVE |  | CHICAGO, IL |  | SANCHEZ LIZZIE | SCOPE: NONSTRUCTURAL INTERIOR WORK: REPLACE DRYWALL IN REAR BEDROOM. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 1ST FLOOR.
93 | 14292140010000 | B200422789 | 4/24/2025 |  |  |  |  | 1754100 |  | 3046 N HALSTED ST |  | CHICAGO, IL |  | NATIONAL SHOPPING PLZ | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL OTHER. SPECIFIC LOCATION: PUMP ROOM.
94 | 16152040330000 | B200422790 | 5/2/2025 |  |  |  |  | 2000 |  | 4328 W WILCOX ST |  | CHICAGO, IL |  | WILLIAMS KEVIN | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 400 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: BASEMENT 1ST 2ND.
95 | 17062080030000 | B200422796 | 6/6/2025 |  |  |  |  | 1000 |  | 1478 N MILWAUKEE AVE |  | CHICAGO, IL |  | VISTA PROPERTIES | IN-KIND REPLACEMENT OF EXTERIOR WINDOWS AND DOORS IN EXISTING OPENINGS. REPLACEMENT WINDOWS: 0; REPLACEMENT SKYLIGHTS: 0; REPLACEMENT DOORS: 2. AFFECTS: 0 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 2 INTERIOR COMMON AREAS, LOCATION: REPLACE EXTERIOR DOORS. SAME OPENINGS.. ¦ SPECIAL CONDITION: PER ATTACHMENTS RECEIVED 5/22/25: REPLACEMENT OF EXTERIOR DOORS AT REAR OF BUILDING ONLY WITH THIS PERMIT.
96 | 20154030240000 | B200422806 | 4/24/2025 |  |  |  |  | 5850 |  | 6024 S RHODES AVE |  | CHICAGO, IL |  | AGUIRRE ARMANDO | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 500 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. PARAPET REBUILDING: 100 SQ. FT. LOCATION: NORTH & SOUTH ELEVATION.
97 | 17182010350000 | B200422818 | 4/24/2025 |  |  |  |  | 80000 |  | 1901 W MADISON ST |  | CHICAGO, IL |  | UNITED CENTER JOINT VENTURE AT YOUR SERVICE, LLC | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. ALTER EXISTING DATA/VIDEO. SPECIFIC LOCATION: NORTHSIDE OF BUILDING ON MADISON ST..
98 | 17161300010000 | B200422824 | 4/25/2025 |  |  |  |  | 49500 |  | 433 W VAN BUREN ST |  | CHICAGO, IL |  | THE 601 WEST COMPANIES C/O JLL | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 25 . LIGHTING OUTLETS: 15. SPECIFIC LOCATION: 8TH FLOOR CONFERENCE RM. ¦ SPECIAL CONDITION: INTERIOR ELECTRICAL ONLY WITH THIS PERMIT.
99 | 19123070410000 | B200422829 | 4/28/2025 |  |  |  |  | 2900 |  | 5146 S CALIFORNIA AVE |  | CHICAGO, IL |  | CAMACHO JUAN | SCOPE: NONSTRUCTURAL INTERIOR REMOVAL OF UNPERMITTED RESIDENTIAL UNIT FEATURES IN ATTIC AND BASEMENT, REMOVE PARTITIONS, CAP AND REMOVE GAS AND PLUMBING PIPING AT ITS SOURCE, REMOVE ALL APPLIANCES, AND PLUMBING FIXTURES RESTORE TO ORIGINAL TWO DWELLING UNIT BUILDING .LOCATIONS: 0 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 1 INTERIOR COMMON AREAS, BASEMENT ATTIC.
100 | 17094210120000 | B200422835 | 4/24/2025 |  |  |  |  | 30000 |  | 77 W WACKER DR |  | CHICAGO, IL |  | 77 WEST WACKER DRIVE LLC | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 20 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: LEVELS 24-31.
101 | 13294310130000 | B200422837 | 4/24/2025 |  |  |  |  | 2047877 |  | 2450 N CENTRAL AVE |  | CHICAGO, IL |  | CENTRAL NURSING HOME | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL OTHER. SPECIFIC LOCATION: BASEMETN PUMP ROOM.
102 | 14172170380000 | B200422838 | 8/12/2025 |  |  |  |  | 100 |  | 1032 W MONTROSE AVE |  | CHICAGO, IL |  | STANFORD EXQUILYNN | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL SECURITY. SPECIFIC LOCATION: MAIN FLOOR.
103 | 13362300180000 | B200422839 | 4/25/2025 |  |  |  |  | 5000 |  | 2100 N MILWAUKEE AVE |  | CHICAGO, IL |  | NODARSE LAZARO | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: OUTSIDE METER LOCATION AND PANEL AREA..
104 | 13292090020000 | B200422841 | 4/24/2025 |  |  |  |  | 5000 |  | 3055 N MASON AVE |  | CHICAGO, IL |  | BARRY MASON LLC | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 15 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: BASEMENT.
105 | 13272120500000 | B200422842 | 5/8/2025 |  |  |  |  | 31125 |  | 4106 W NELSON ST |  | CHICAGO, IL |  | PIVARAL PRISILA | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: STEEP (>5:12). INVERTER OUTPUT: 8.7 KW. ARRAY OUTPUT: 0.3735 KW. LOCATION: ROOF TOP OF PRINCIPLE STRUCTURE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #23-0387. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
106 | 14172170380000 | B200422843 | 8/12/2025 |  |  |  |  | 100 |  | 1026 W MONTROSE AVE |  | CHICAGO, IL |  | STANFORD EXQUILYNN | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL SECURITY. SPECIFIC LOCATION: MAIN FLOOR.
107 | 14051030220000 | B200422845 | 4/29/2025 |  |  |  |  | 25730 |  | 1452 W ROSEMONT AVE |  | CHICAGO, IL |  | LYSIK DAVID | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 1000 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. PARAPET REBUILDING: 500 SQ. FT. LOCATION: PARAPET WALLS.
108 | 17094430040000 | B200422848 | 4/25/2025 |  |  |  |  | 100 |  | 225 W RANDOLPH ST |  | CHICAGO, IL |  | NORTHWESTERN MUTUAL | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL OTHER. SPECIFIC LOCATION: FLOORS 20 AND 24. ¦ SPECIAL CONDITION: INTERIOR ELECTRICAL WORK ONLY WITH THIS PERMIT.
109 | 20171180090000 | B200422853 | 5/29/2025 |  |  |  |  | 3000 |  | 5723 S LAFLIN ST |  | CHICAGO, IL |  | MUNSON JOHN | PURPOSE: NEW/REPLACEMENT INSTALLATION. WROUGHT IRON FENCE - 5'-0' ' (HEIGHT) X 25'-0' ' (LENGTH). LOCATION: FRONT FENCE FOR YARD.
110 | 12122010040000 | B200422855 | 5/15/2025 |  |  |  |  | 19700 |  | 5424 N OKETO AVE |  | CHICAGO, IL |  | CPS* | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 100 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: ALL FOUR ELEVATIONS OF THE BUILDING.
111 | 19123180010000 | B200422858 | 4/25/2025 |  |  |  |  | 5500 |  | 5303 S SACRAMENTO AVE |  | CHICAGO, IL |  | ROJAS GUILLERMO | REPAIR OR IN-KIND REPLACEMENT OF 0 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. INCLUDES REPAIR OR REPLACMENT OF PLUMBING PIPING. LOCATIONS: 0 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), EXTERIOR WORK, FRONT YARD / SEWER LINING.
112 | 25284350130000 | B200422866 | 4/24/2025 |  |  |  |  | 31869 |  | 12501 S YALE AVE |  | CHICAGO, IL |  | MORRIELL MCCLURE | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 24'-0' ' X20'-0' '. HIP ROOF HEIGHT TO PEAK: 14'-0' '.
113 | 14312030230000 | B200422869 | 5/8/2025 |  |  |  |  | 10375 |  | 2349 N LISTER AVE |  | CHICAGO, IL |  | ALVAREZ ENRIQUE | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: LOW-SLOPED (<2:12). INVERTER OUTPUT: 2.9 KW. ARRAY OUTPUT: 0.0415 KW. LOCATION: ROOF MOUNT OF PRINCIPLE STRUCTURE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #23-0387. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * PLEASE PROVIDE NOTARIZED LETTER FROM OWNER & BUILDING MANAGEMENT WITH APPROVAL OF SOLAR INSTALLATION OF PROPOSED WORK ON BUILDING STRUCTURE AT THE TIME OF SOLAR INSPECTION OR RISK FAILURE AS PROPOSED WORK PER ELECTRICAL DRAWING.* ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
114 | 25201250180000 | B200422871 | 4/28/2025 |  |  |  |  | 2500 |  | 11415 S ELIZABETH ST |  | CHICAGO, IL |  | DONALD SADE' | REPAIR OR IN-KIND REPLACEMENT OF 9 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. LOCATIONS: 3 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), BASEMENT, FRONT APARTMENT, BACK APARTMENT.
115 | 19133310390000 | B200422872 | 4/24/2025 |  |  |  |  | 2500 |  | 2800 W 63RD ST |  | CHICAGO, IL |  | SALEH AMIN | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: 1ST FLOOR.
116 | 13313270230000 | B200422873 | 5/12/2025 |  |  |  |  | 12450 |  | 1624 N OAK PARK AVE |  | CHICAGO, IL |  | ROMERO ANIBAL | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 3.48 KW. ARRAY OUTPUT: 0.05976 KW. LOCATION: ROOF TOP OF PRINCIPLE STRUCTURE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #23-0387. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
117 | 19251120310000 | B200422875 | 4/30/2025 |  |  |  |  | 43188 |  | 7230 S RICHMOND ST |  | CHICAGO, IL |  | BOXLEY TERRY | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: STEEP (>5:12). INVERTER OUTPUT: 8.376 KW. ARRAY OUTPUT: 10.2 KW. INCLUDES 5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOFING. ICC DISTRIBUTED GENERATION INSTALLER CERT. #23-0779. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * REFER TO SOLAR (ACCESSORY) PERMIT B200422945.* UNDERGROUND RACEWAY TO BE INSPECTED BY AHJ PRIOR TO COVERING. * ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
118 | 13302300040000 | B200422877 | 4/24/2025 |  |  |  |  | 24579 |  | 2849 N NATCHEZ AVE |  | CHICAGO, IL |  | BRITO EVA | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 20'-0' ' X20'-0' '. HIP ROOF HEIGHT TO PEAK: 13'-0' '.
119 | 17221010370000 | B200422878 | 4/24/2025 |  |  |  |  | 100 |  | 1255 S WABASH AVE |  | CHICAGO, IL |  | BOATWRIGHT ANTHONY | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: MECHANICAL ROOM.
120 | 14281090360000 | B200422879 | 4/25/2025 |  |  |  |  | 374088 |  | 442 W WELLINGTON AVE |  | CHICAGO, IL |  | 442 WELLINGTON COOPERATIVE C/O PREMIER MGMT | SCOPE: ROOF REPLACEMENT. AREA: 7400 SQ. FT. ROOF COVERING: OTHER. LOCATION: ROOF TOP. IL ROOFING CONTRACTOR LICENSE: 104000268.
121 | 25031000350000 | B200422881 | 4/28/2025 |  |  |  |  | 60000 |  | 8730 S WABASH AVE |  | CHICAGO, IL |  | HILLUS ST ILLHOMME LLC | NONSTRUCTURAL INTERIOR WORK: REMOVE DRYWALL FROM BASEMENT CEILING. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), BASEMENT
122 | 13224140210000 | B200422883 | 4/25/2025 |  |  |  |  | 3000 |  | 4140 W NEWPORT AVE |  | CHICAGO, IL |  | ESPINOZA SALLY | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 40 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: BASEMENT.
123 | 20174150170000 | B200422888 | 4/29/2025 |  |  |  |  | 29130 |  | 6002 S HALSTED ST |  | CHICAGO, IL |  | OF IL VOLUNTEERS OF AMERICA | LINE VOLTAGE ELECTRICAL WORK. ADD 2 CIRCUITS TO EXISTING 800 AMP SERVICE DISCONNECTING MEANS. ADD 2 CIRCUITS TO EXISTING 200 AMP SERVICE DISCONNECTING MEANS. RECEPTACLE OUTLETS: 2 . LIGHTING OUTLETS: 0. ELECTRIC VEHICLE SUPPLY EQUIPMENT:2 SPACES. SPECIFIC LOCATION: PARKING SPACES DESIGNATED FOR ELECTRIC VEHICLE USE.
124 | 19133270070000 | B200422890 | 5/14/2025 |  |  |  |  | 1500 |  | 6223 S WHIPPLE ST |  | CHICAGO, IL |  | LOZA NORMA | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 63 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: SOUTH SIDE EXTERIOR WALL.
125 | 13241160430000 | B200422891 | 4/30/2025 |  |  |  |  | 13000 |  | 3705 N KEDZIE AVE |  | CHICAGO, IL |  | NAIR SANJU | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 15 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: EXTERIOR LEFT ELEVATION WALL, AS NEEDED.
126 | 17092490070000 | B200422893 | 4/30/2025 |  |  |  |  | 76400 |  | 350 W HUBBARD ST |  | CHICAGO, IL |  | HABITAT | REPAIR/REPLACEMENT AFFECTING 1 SYSTEMS : 1 ROOFTOP PACKAGED UNIT(YORK ZE0606H12) 1 ROOFTOP PACKAGED UNIT(YORK KV05N1DH4) . ELECTRICAL WORK UNDER THIS PERMIT = NO . LOCATIONS: 0 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), EXTERIOR WORK, ROOFTOP. ¦ SPECIAL CONDITION: CONTACT THE REFRIGERATION SUPERVISOR CLEMENT "BUD" GAVIN PRIOR TO THE INSTALLATION OF THE ROOFTOP UNITS. 312-743-3562
127 | 19074210470000 | B200422896 | 4/24/2025 |  |  |  |  | 14000 |  | 5332 S NATCHEZ AVE |  | CHICAGO, IL |  | DILIVERTO LUCY | SCOPE: ROOF REPLACEMENT. AREA: 18 SQ. FT. ROOF COVERING: ASPHALT SHINGLES. LOCATION: ROOF ON TOP. IL ROOFING CONTRACTOR LICENSE: 104019937.
128 | 14293023470000 | B200422897 | 4/29/2025 |  |  |  |  | 2625 |  | 2669 N GREENVIEW AVE |  | CHICAGO, IL |  | MASSANEK GEOFF | LINE VOLTAGE ELECTRICAL WORK. ADD 1 CIRCUITS TO EXISTING 200 AMP SERVICE DISCONNECTING MEANS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. ELECTRIC VEHICLE SUPPLY EQUIPMENT:1 SPACES. SPECIFIC LOCATION: GARAGE.
129 | 14211120100000 | B200422901 | 4/28/2025 |  |  |  |  | 25000 |  | 3500 N LAKE SHORE DR |  | CHICAGO, IL |  | WATSON KEITH | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 30 . LIGHTING OUTLETS: 50. SPECIFIC LOCATION: APARTMENT 9C.
130 | 20214030070000 | B200422906 | 4/24/2025 |  |  |  |  | 3185 |  | 6727 S PERRY AVE |  | CHICAGO, IL |  | MCKNIGHT CLEMENTINE | PURPOSE: NEW/REPLACEMENT INSTALLATION. CHAIN LINK FENCE - 5'-0' ' (HEIGHT) X 84'-0' ' (LENGTH). LOCATION: RIGHT AND LEFT FRONT SIDES AND FRONT.
131 | 19133310390000 | B200422914 | 4/24/2025 |  |  |  |  | 5000 |  | 2800 W 63RD ST |  | CHICAGO, IL |  | 63RD FUEL MART, INC. | REPAIR OR IN-KIND REPLACEMENT OF 2 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. INCLUDES REPAIR OR REPLACMENT OF PLUMBING PIPING. LOCATIONS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), 1ST FLOOR.
132 | 13113000070000 | B200422928 | 5/7/2025 |  |  |  |  | 40000 |  | 3919 W FOSTER AVE |  | CHICAGO, IL |  | MS DENISE VESTUTO | ALTERATION OF EXISTING COMMUNICATION EQUIPMENT. ALTERATION OF 1 BOXES AND EQUIPMENT ON 1 TOWERS / STRUCTURES. LOCATION: MOD TO EXISTING ANTENNA FACILITY ON ROOF PER PLANS.
133 | 20362070410000 | B200422933 | 5/9/2025 |  |  |  |  | 10395 |  | 7930 S YATES BLVD |  | CHICAGO, IL |  | CRAIG OLAOSEBIKAN | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 7.6 KW. ARRAY OUTPUT: 9.45 KW. LOCATION: ROOF TOP. ICC DISTRIBUTED GENERATION INSTALLER CERT. #19-0250. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
134 | 17322171020000 | B200422934 | 5/7/2025 |  |  |  |  | 2000 |  | 1028 W 34TH PL |  | CHICAGO, IL |  | ZAIDI ABAL F | IN-KIND REPLACEMENT OF EXTERIOR WINDOWS AND DOORS IN EXISTING OPENINGS. REPLACEMENT WINDOWS: 16; REPLACEMENT SKYLIGHTS: 0; REPLACEMENT DOORS: 0. AFFECTS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), LOCATION: SOUTH, EAST AND WEST WINDOWS.
135 | 14204180310000 | B200422936 | 4/28/2025 |  |  |  |  | 3000 |  | 3326 N CLARK ST |  | CHICAGO, IL |  | SLAYMAKER FANJI | LINE VOLTAGE ELECTRICAL WORK. ALTER EXISTING SYSTEM III EMERGENCY LIGHTING. RECEPTACLE OUTLETS: 0 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: SMOKERS ZONE COMMERCIAL UNIT.
136 | 14182070300000 | B200422938 | 4/30/2025 |  |  |  |  | 23900 |  | 4612 N WOLCOTT AVE |  | CHICAGO, IL |  | KAHN JACOB | SCOPE: ROOF REPAIR. AREA: 500 SQ. FT. INCLUDES REPAIR/REPLACE OCCUPIABLE ROOF. INCLUDES REPAIR/REPLACE SOLAR PV. ROOF COVERING: OTHER. LOCATION: ROOF.. IL ROOFING CONTRACTOR LICENSE: 104019156.
137 | 13172190260000 | B200422941 | 4/24/2025 |  |  |  |  | 9000 |  | 4534 N MONITOR AVE |  | CHICAGO, IL |  | POP OVY | PURPOSE: NEW/REPLACEMENT INSTALLATION. VINYL/PVC FENCE - 6'-0' ' (HEIGHT) X 100'-0' ' (LENGTH). LOCATION: SIDE AND BACK YARD.
138 | 13254070260000 | B200422942 | 4/24/2025 |  |  |  |  | 5500 |  | 2744 N WESTERN AVE |  | CHICAGO, IL |  | DR. RENLIN XIA (SHAW) | PURPOSE: NEW/REPLACEMENT INSTALLATION. CHAIN LINK FENCE - 6'-0' ' (HEIGHT) X 155'-0' ' (LENGTH). LOCATION: REPLACEMENT OF EXISTING CHAIN LINK FENCE PERIMETER.
139 | 19251120310000 | B200422945 | 4/30/2025 |  |  |  |  | 43188 |  | 7230 S RICHMOND ST |  | CHICAGO, IL |  | BOXLEY TERRY | INSTALL SOLAR PANELS ON ROOF OF ACCESSORY BUILDING. ROOF TYPE: STEEP (>5:12). INVERTER OUTPUT: 8.376 KW. ARRAY OUTPUT: 10.2 KW. INCLUDES 5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOFING. ICC DISTRIBUTED GENERATION INSTALLER CERT. #23-0779. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * REFER TO SOLAR (PRINCIPAL) PERMIT B200422875.* UNDERGROUND RACEWAY TO BE INSPECTED BY AHJ PRIOR TO COVERING. * ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
140 | 25032150250000 | B200422946 | 4/24/2025 |  |  |  |  | 5500 |  | 728 E 89TH ST |  | CHICAGO, IL |  | HOLDER ROBERT | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: BASEMENT, 1ST AND 2ND FLOOR.
141 | 19361110290000 | B200422948 | 5/19/2025 |  |  |  |  | 11385 |  | 8028 S SACRAMENTO AVE |  | CHICAGO, IL |  | KENT MARY | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 7.6 KW. ARRAY OUTPUT: 10.35 KW. LOCATION: ROOFTOP. ICC DISTRIBUTED GENERATION INSTALLER CERT. #19-0250. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
142 | 16274140160000 | B200422963 | 5/23/2025 |  |  |  |  | 12000 |  | 2737 S KARLOV AVE |  | CHICAGO, IL |  | ANTONIO VILLANUEVA | FULL REBUILD (SAME AS EXISTING) FOR WOOD EXTERIOR STAIRWAY (QUANTITY: 1, LOCATION: FRONT OF BUILDING). LANDING: 29 SQUARE FEET.
143 | 10364160280000 | B200422966 | 5/28/2025 |  |  |  |  | 10000 |  | 2734 W ARTHUR AVE |  | CHICAGO, IL |  | VIP TECH ELECTRIC, INC. | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 1000 AMP SERVICE DISCONNECTING MEANS WITH 85 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: BASEMENT.
144 | 25201250180000 | B200422971 | 4/28/2025 |  |  |  |  | 750 |  | 11415 S ELIZABETH ST |  | CHICAGO, IL |  | AQUIRE MORE GLOBAL ENTERPRISE | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 20 . LIGHTING OUTLETS: 10. SPECIFIC LOCATION: MAIN FLOOR.
145 | 20304150030000 | B200422972 | 4/30/2025 |  |  |  |  | 12000 |  | 7607 S HONORE ST |  | CHICAGO, IL |  | MILAM MACARTHUR | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 20'-0' ' X22'-0' '. HIP ROOF HEIGHT TO PEAK: 15'-0' '.
146 | 14283170110000 | B200422975 | 5/29/2025 |  |  |  |  | 13500 |  | 541 W ARLINGTON PL |  | CHICAGO, IL |  | OGRIN JOSEPH | REPAIR/REPLACEMENT AFFECTING 1 SYSTEMS : 1 ROOFTOP PACKAGED UNIT(CARRIER, WEATHERMAKER 48FCEC04A2A3, ROOFTOP) . ELECTRICAL WORK UNDER THIS PERMIT = NO . LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), EXTERIOR WORK, ROOFTOP. ¦ SPECIAL CONDITION: CONTACT REFRIGERATION SUPERVISOR CLEMENT GAVIN 312-743-3562, PRIOR TO THE INSTALLATION OF ANY ROOFTOP EQUIPMENT, TO SCHEDULE AN INSPECTION.APPROVED PER ATTACHMENTS RECEIVED 5/14/25: REPLACEMENT OF ROOFTOP UNIT, SAME SIZE AND LOCATION. NO OTHER WORK WITH THIS PERMIT.
147 | 13201280040000 | B200422976 | 5/1/2025 |  |  |  |  | 56000 |  | 6049 W PATTERSON AVE |  | CHICAGO, IL |  | NAVA EDWARD & CHRISTINA | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 15 CIRCUITS. RECEPTACLE OUTLETS: 28 . LIGHTING OUTLETS: 30. SPECIFIC LOCATION: FIRE DAMAGE REPAIR WORK.
148 | 17171060180000 | B200422982 | 4/28/2025 |  |  |  |  | 25350 |  | 1515 W MONROE ST |  | CHICAGO, IL |  | 1515 MONROE PROPERTY LLC | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 450 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: NORTH & EAST ELEVATION MASONRY FACADE & COPING. ¦ SPECIAL CONDITION: APPROVED PER ATTACHMENTS RECEIVED 4/25/25: SEALING WITH CAULK AT CORNICE AND COPING ONLY, NO REPLACEMENT OF MATERIALS WITH THIS PERMIT.
149 | 17102100260000 | B200422987 | 5/1/2025 |  |  |  |  | 15000 |  | 541 N FAIRBANKS CT |  | CHICAGO, IL |  | NORTHWESTERN MEMORIAL HOSPITAL | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL DATA/VIDEO. SPECIFIC LOCATION: 7TH FLOOR.
150 | 17162020130000 | B200422996 | 4/28/2025 |  |  |  |  | 53000 |  | 230 W MONROE ST |  | CHICAGO, IL |  | CULLEN CONSTRUCTION MGMT | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL DATA/VIDEO. SPECIFIC LOCATION: PACIFIC COLLEGE.
151 | 17301120270000 | B200422998 | 4/28/2025 |  |  |  |  | 28500 |  | 2334 S OAKLEY AVE |  | CHICAGO, IL |  | BUFFINGTON DOCIA | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 800 SQ. FT., LINTEL QTY. 1, MAX. LENGTH 4. LOCATION: FRONT OF BUILDING.
152 | 11312070090000 | B200423002 | 4/25/2025 |  |  |  |  | 4208 |  | 1719 W ESTES AVE |  | CHICAGO, IL |  | SCOTT JAKUBENAS MURLAT | LINE VOLTAGE ELECTRICAL WORK. ADD 1 CIRCUITS TO EXISTING 200 AMP SERVICE DISCONNECTING MEANS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. ELECTRIC VEHICLE SUPPLY EQUIPMENT:1 SPACES. SPECIFIC LOCATION: BASEMENT & GARAGE.
153 | 14311070370000 | B200423003 | 4/28/2025 |  |  |  |  | 11600 |  | 2134 W LYNDALE ST |  | CHICAGO, IL |  | 2134 LYNDALE PARTNERS | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 1000 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: MASONRY REPAIRS.
154 | 11304200360000 | B200423011 | 4/25/2025 |  |  |  |  | 30665 |  | 1846 W TOUHY AVE |  | CHICAGO, IL |  | WILLIAMS DAVID | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 20'-0' ' X20'-0' '. HIP ROOF HEIGHT TO PEAK: 13'-0' '.
155 | 20272170010000 | B200423012 | 4/25/2025 |  |  |  |  | 15680 |  | 7301 S VERNON AVE |  | CHICAGO, IL |  | MENDOZA JOSE | SCOPE: ROOF REPLACEMENT. AREA: 34 SQ. FT. ROOF COVERING: ASPHALT SHINGLES. LOCATION: ROOFING. IL ROOFING CONTRACTOR LICENSE: 104017109.
156 | 17094210120000 | B200423013 | 4/25/2025 |  |  |  |  | 539000 |  | 77 W WACKER DR |  | CHICAGO, IL |  | TRANSWESTERN | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL DATA/VIDEO. SPECIFIC LOCATION: SARGENT AND LUNDY.
157 | 14192020020000 | B200423015 | 5/2/2025 |  |  |  |  | 950 |  | 3934 N LINCOLN AVE |  | CHICAGO, IL |  | LINDA VARNEY TRUST | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL SECURITY. SPECIFIC LOCATION: PHARMACY AREA.
158 | 25223020130000 | B200423016 | 4/29/2025 |  |  |  |  | 43395 |  | 11530 S PRAIRIE AVE |  | CHICAGO, IL |  | KRAJECKI CINDY | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL SECURITY. SPECIFIC LOCATION: HALLWAYS AND CLASSROOMS.
159 | 13202280140000 | B200423017 | 4/25/2025 |  |  |  |  | 2650 |  | 5909 W PATTERSON AVE |  | CHICAGO, IL |  | LOCONTI ANITA | PURPOSE: NEW/REPLACEMENT INSTALLATION. WOOD FENCE - 6'-0' ' (HEIGHT) X 52'-0' ' (LENGTH). LOCATION: WEST SIDE OF THE PROPERTY.
160 | 19353020650000 | B200423018 | 4/28/2025 |  |  |  |  | 24015 |  | 3730 W 83RD PL |  | CHICAGO, IL |  | LATTIMORE-WEST JONITA | ADA BATHROOM MODIFICATIONS. REMOVE TUB AND INSTALL SHOWER WITH ASSOCIATED FIXTURES AND TILE WORK.OM.
161 | 09364220220000 | B200423019 | 4/25/2025 |  |  |  |  | 22380 |  | 6442 N OKETO AVE |  | CHICAGO, IL |  | MURPHY BART | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 20'-0' ' X14'-0' '. HIP ROOF HEIGHT TO PEAK: 13'-0' '.
162 | 13093050130000 | B200423020 | 4/25/2025 |  |  |  |  | 3155 |  | 5117 N LOTUS AVE |  | CHICAGO, IL |  | GRANATIR NATE | LINE VOLTAGE ELECTRICAL WORK. ADD 1 CIRCUITS TO EXISTING 200 AMP SERVICE DISCONNECTING MEANS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. ELECTRIC VEHICLE SUPPLY EQUIPMENT:1 SPACES. SPECIFIC LOCATION: BASEMENT & GARAGE.
163 | 13013090020000 | B200423022 | 5/29/2025 |  |  |  |  | 1000 |  | 5850 N VIRGINIA AVE |  | CHICAGO, IL |  | HALL ASHLEY | PURPOSE: NEW/REPLACEMENT INSTALLATION. WOOD FENCE - 6'-0' ' (HEIGHT) X 50'-0' ' (LENGTH). LOCATION: GANGWAY.
164 | 20181050360000 | B200423029 | 4/28/2025 |  |  |  |  | 25259 |  | 5545 S HOYNE AVE |  | CHICAGO, IL |  | NORMAN ERNESTINE | ADA BATHROOM MODIFICATIONS. REMOVE TUB AND INSTALL SHOWER WITH ASSOCIATED FIXTURES AND TILE WORK.
165 | 16161170390000 | B200423040 | 4/25/2025 |  |  |  |  | 1200 |  | 5518 W CONGRESS PKWY |  | CHICAGO, IL |  | COSS SAMUEL | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 3 . LIGHTING OUTLETS: 10. SPECIFIC LOCATION: 1ST FL,2ND FL, EXTERIOR ELECTRICAL SERVICE.
166 | 13132110270000 | B200423042 | 4/29/2025 |  |  |  |  | 50000 |  | 2426 W EASTWOOD AVE |  | CHICAGO, IL |  | KALOV JOSHUA | SCOPE: NONSTRUCTURAL INTERIOR PREPARATORY DEMOLITION OF NONLOAD BEARING DYRWALL AND M.E.P. SYSTEMS WITH DEMO DRAWINGS AND ALL OTHER WORK TO BE PERFORMED ON 101065438. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), BASEMENT, 1ST AND 2ND FLOORS.
167 | 16262250180000 | B200423043 | 4/28/2025 |  |  |  |  | 17430 |  | 3516 W 26TH ST |  | CHICAGO, IL |  | PAWS CHICAGO MEDICAL CENTER & LURIE CLINIC | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 500 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: NORTH WALL.
168 | 19361230590000 | B200423044 | 4/29/2025 |  |  |  |  | 93292 |  | 8130 S CALIFORNIA AVE |  | CHICAGO, IL |  | FOREST SECURITY INC | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL SECURITY. SPECIFIC LOCATION: HALLWAYS, CLASSROOMS AND EXTERIOR OF BUILDING.
169 | 19232000580000 | B200423047 | 4/28/2025 |  |  |  |  | 196000 |  | 3525 W 63RD ST |  | CHICAGO, IL |  | U.S. BANK | SCOPE: ROOF RECOVER. AREA: 7300 SQ. FT. ROOF COVERING: OTHER. LOCATION: ROOF TOP. IL ROOFING CONTRACTOR LICENSE: 104008002.
170 | 13173120040000 | B200423048 | 4/25/2025 |  |  |  |  | 3500 |  | 6249 W CUYLER AVE |  | CHICAGO, IL |  | DEGUZMAN LAURICE | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 40 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: BASEMENT.
171 | 10364220250000 | B200423059 | 4/25/2025 |  |  |  |  | 3450 |  | 6520 N ARTESIAN AVE |  | CHICAGO, IL |  | HART DOMINIC | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 20 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: BASMENT.
172 | 20301050450000 | B200423060 | 4/29/2025 |  |  |  |  | 20007 |  | 2123 W 71ST PL |  | CHICAGO, IL |  | EVERETTE ZEB | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 8.1 KW. ARRAY OUTPUT: 10.935 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * REFER TO ELECTRICAL PERMIT B200423062.* ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
173 | 20301050450000 | B200423062 | 4/25/2025 |  |  |  |  | 1750 |  | 2123 W 71ST PL |  | CHICAGO, IL |  | EVERETTE ZEB | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 13 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. 13.5 KWH LITHIUM ION ENERGY STORAGE SYSTEM. SPECIFIC LOCATION: BASEMENT AND REAR OF HOME.
174 | 20312110120000 | B200423066 | 4/29/2025 |  |  |  |  | 202240 |  | 1817 W 80TH ST |  | CHICAGO, IL |  | FOREST SECURITY INC | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL SECURITY. SPECIFIC LOCATION: HALLWAYS, CLASSROOMS, EXTERIOR BLDG.
175 | 17093370210000 | B200423067 | 6/4/2025 |  |  |  |  | 15000 |  | 737 W WASHINGTON BLVD |  | CHICAGO, IL |  | SKYBRIDGE CONDOMINIUM ASSN | CONCRETE MASONRY REPAIR / REPLACEMNT: 100SQ. FT., EXCAVATION = NO. LOCATION: PARKING LEVELS P3-P5 (CEILING CONCRETE REPAIRS).
176 | 13021210040000 | B200423071 | 4/29/2025 |  |  |  |  | 202240 |  | 3900 W PETERSON AVE |  | CHICAGO, IL |  | FOREST SECURITY INC | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL SECURITY. SPECIFIC LOCATION: HALLWAYS, CLASSROOMS, EXTERIOR WALLS.
177 | 17083290040000 | B200423074 | 4/29/2025 |  |  |  |  | 13676 |  | 1325 W RANDOLPH ST |  | CHICAGO, IL |  | ACTION BEHAVIOR CENTERS | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL DATA/VIDEO. SPECIFIC LOCATION: 1ST FLOOR.
178 | 19254160400000 | B200423081 | 4/30/2025 |  |  |  |  | 35000 |  | 7740 S WESTERN AVE |  | CHICAGO, IL |  | ST RITA OF CASCIA PARISH | LINE VOLTAGE ELECTRICAL WORK. OUTDOOR LIGHTING FOR 18500 SQUARE FEET. RECEPTACLE OUTLETS: 0 . LIGHTING OUTLETS: 4. SPECIFIC LOCATION: FRONT SIDEWALK AND DRIVEWAY AREA.
179 | 20321030130000 | B200423087 | 4/25/2025 |  |  |  |  | 16000 |  | 7925 S BISHOP ST |  | CHICAGO, IL |  | CARSWELL LISA | SCOPE: ROOF RECOVER. AREA: 2000 SQ. FT. ROOF COVERING: MINERAL - SURFACED ROLL ROOFING. LOCATION: FLAT ROOF. IL ROOFING CONTRACTOR LICENSE: 104003460.
180 | 19074270610000 | B200423089 | 4/29/2025 |  |  |  |  | 8892 |  | 5408 S NASHVILLE AVE |  | CHICAGO, IL |  | BATOR CARL | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 3.6 KW. ARRAY OUTPUT: 4.86 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * REFER TO ELECTRICAL PERMIT B200423091.* ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
181 | 19074270610000 | B200423091 | 4/25/2025 |  |  |  |  | 1500 |  | 5408 S NASHVILLE AVE |  | CHICAGO, IL |  | BATOR CARL | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 32 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. 13.5 KWH LITHIUM ION ENERGY STORAGE SYSTEM. SPECIFIC LOCATION: BASEMENT AND NORTH SIDE OF HOME.
182 | 25031300400000 | B200423094 | 4/25/2025 |  |  |  |  | 3995 |  | 46 E 89TH PL |  | CHICAGO, IL |  | WALKER CARL | LINE VOLTAGE ELECTRICAL WORK. ADD 1 CIRCUITS TO EXISTING 200 AMP SERVICE DISCONNECTING MEANS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. ELECTRIC VEHICLE SUPPLY EQUIPMENT:1 SPACES. SPECIFIC LOCATION: GARAGE.
183 | 13013180080000 | B200423096 | 4/25/2025 |  |  |  |  | 4980 |  | 5735 N SACRAMENTO AVE |  | CHICAGO, IL |  | SHADIS VINCE | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 30 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: BASMENT.
184 | 17081340180000 | B200423097 | 4/28/2025 |  |  |  |  | 3240 |  | 1215 W GRAND AVE |  | CHICAGO, IL |  | FOREST SECURITY INC | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL SECURITY. SPECIFIC LOCATION: FRONT DOOR AREA AND INTERIOR RESTAURANT.
185 | 19231120150000 | B200423098 | 4/25/2025 |  |  |  |  | 15000 |  | 3929 W 64TH PL |  | CHICAGO, IL |  | PEREZ VICENT | LINE VOLTAGE ELECTRICAL WORK. ADD 20 CIRCUITS TO EXISTING 100 AMP SERVICE DISCONNECTING MEANS. RECEPTACLE OUTLETS: 50 . LIGHTING OUTLETS: 50. SPECIFIC LOCATION: BASEMENT, FIRST AND 2ND FLOOR.
186 | 09254100160000 | B200423100 | 4/28/2025 |  |  |  |  | 31000 |  | 7411 N OLEANDER AVE |  | CHICAGO, IL |  | TOMASZKOWICZ ZOE | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 24'-0' ' X22'-0' '. GABLE ROOF HEIGHT TO PEAK: 15'-0' '.
187 | 13031000410000 | B200423103 | 4/28/2025 |  |  |  |  | 5000 |  | 6301 N CICERO AVE |  | CHICAGO, IL |  | KHAN MISBAH ALAM | PURPOSE: NEW/REPLACEMENT INSTALLATION. WOOD FENCE - 5'-10' ' (HEIGHT) X 22'-0' ' (LENGTH). LOCATION: REAR OF PROPERTY.
188 | 20192210280000 | B200423104 | 5/6/2025 |  |  |  |  | 15000 |  | 6522 S PAULINA ST |  | CHICAGO, IL |  | INVESTMA GROUP LLC | SCOPE: NONSTRUCTURAL INTERIOR ALTERATION TO PLUMBING AND ELECTRICAL, REPLACE 5/8 GYP-BD DRYWALL AS NEEDED, REFINISH FLOORS AND REPLACE TRIM. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 2ND FLOOR UNIT.
189 | 25104030190000 | B200423108 | 4/28/2025 |  |  |  |  | 100 |  | 10055 S EBERHART AVE |  | CHICAGO, IL |  | BPPO PROPERTIES | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 4 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: BASEMENT, KITCHEN, LIVING ROOM, OUTSIDE.
190 | 16174050150000 | B200423112 | 4/30/2025 |  |  |  |  | 1100 |  | 1049 S AUSTIN BLVD |  | CHICAGO, IL |  | L’ARCHE CHICAGO | REPAIR OR IN-KIND REPLACEMENT OF 0 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. REPAIR OR IN-KIND REPLACEMENT OF HOT WATER HEATER(S). LOCATIONS: 2 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), BASEMENT.
191 | 19224020280000 | B200423113 | 5/17/2025 |  |  |  |  | 3000 |  | 6720 S TRIPP AVE |  | CHICAGO, IL |  | BALDERAS ARTURO | REMOVE METAL ROOF STRUCTURE PER BUILDING VIOLATIONS. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), EXTERIOR WORK, REAR AREA.
192 | 17072400350000 | B200423116 | 4/28/2025 |  |  |  |  | 6900 |  | 1648 W KINZIE ST |  | CHICAGO, IL |  | HAMBLET MITCH | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 1200 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: FRONT FACADE.
193 | 16264090340000 | B200423117 | 4/30/2025 |  |  |  |  | 43680 |  | 2736 S ST LOUIS AVE |  | CHICAGO, IL |  | LITIA - SANCHEZ BERTHA | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: STEEP (>5:12). INVERTER OUTPUT: 7.04 KW. ARRAY OUTPUT: 8.8 KW. INCLUDES 10 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOFING. ICC DISTRIBUTED GENERATION INSTALLER CERT. #23-0779. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018.* ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.* PLEASE PROVIDE NOTARIZED LETTER FROM OWNER & BUILDING MANAGEMENT WITH APPROVAL OF SOLAR INSTALLATION OF PROPOSED WORK ON BUILDING STRUCTURE AT THE TIME OF SOLAR INSPECTION OR RISK FAILURE AS PROPOSED WORK PER ELECTRICAL DRAWING
194 | 13112120350000 | B200423126 | 5/7/2025 |  |  |  |  | 8180 |  | 5316 N BERNARD ST |  | CHICAGO, IL |  | MATTEI NANCY | WRECK AND REMOVE RESIDENTIAL 1 STORY DETACHED FRAME GARAGE, EXTERIOR WORK, FRAMED GARAGE DEMOLITION.
195 | 17162430360000 | B200423127 | 6/12/2025 |  |  |  |  | 4500 |  | 424 S CLARK ST |  | CHICAGO, IL |  | COHEN RANDY | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: 1ST FLOOR.
196 | 20193090410000 | B200423131 | 5/8/2025 |  |  |  |  | 15574 |  | 2012 W 68TH ST |  | CHICAGO, IL |  | ALEJANDRE TRINIDAD | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 4.35 KW. ARRAY OUTPUT: 0.09345 KW. LOCATION: ROOF TOP OF PRINCIPLE STRUCTURE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #23-0387. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
197 | 20302010450000 | B200423132 | 5/9/2025 |  |  |  |  | 28700 |  | 7158 S WOLCOTT AVE |  | CHICAGO, IL |  | COLLIER CHARYMANE | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: STEEP (>5:12). INVERTER OUTPUT: 8.12 KW. ARRAY OUTPUT: 0.32144 KW. LOCATION: ROOF TOP OF PRINCIPLE STRUCTURE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #23-0387. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
198 | 21313110290000 | B200423134 | 5/14/2025 |  |  |  |  | 3500 |  | 8418 S COLFAX AVE |  | CHICAGO, IL |  | RYSZARD CHMIEL | REPAIR (26% TO 50%) FOR WOOD PORCH (OPEN) (QUANTITY: 1, LOCATION: FRONT OF BUILDING).
199 | 13341160160000 | B200423136 | 4/26/2025 |  |  |  |  | 2000 |  | 4619 W PALMER ST |  | CHICAGO, IL |  | REYES OSBALDO | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: BASEMENT AND EXTERIOR.
200 | 19241050150000 | B200423137 | 4/26/2025 |  |  |  |  | 2000 |  | 6329 S RICHMOND ST |  | CHICAGO, IL |  | LOPEZ MELISSA | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: EXTERIOR.