## Sheet1
# [LLINE] | PIN* [PARID] | Local Permit No.* [USER28] | Issue Date* [PERMDT] | Desc 1* [DESC1] | Desc 2 Code 1 [USER6] | Desc 2 Code 2 [USER7] | Desc 2 Code 3 [USER8] | Amount* [AMOUNT] | Assessable [IS_ASSESS] | Applicant Street Address* [ADDR1] | Applicant Address 2 [ADDR2] | Applicant City, State, Zip* [ADDR3] | Contact Phone* [PHONE] | Applicant* [USER21] | Notes [NOTE1] | Occupy Dt [UDATE1] | Submit Dt* [CERTDATE] | Est Comp Dt [UDATE2] | user21
1 | 14322280170000 | B200424535 | 5/6/2025 |  |  |  |  | 2550 |  | 2019 N DAYTON ST |  | CHICAGO, IL |  | PICKETT LISA | LINE VOLTAGE ELECTRICAL WORK. ADD 1 CIRCUITS TO EXISTING 200 AMP SERVICE DISCONNECTING MEANS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. ELECTRIC VEHICLE SUPPLY EQUIPMENT:1 SPACES. SPECIFIC LOCATION: GARAGE.
2 | 19151210110000 | B200424538 | 5/16/2025 |  |  |  |  | 66382 |  | 5731 S KILBOURN AVE |  | CHICAGO, IL |  | SALVADOR CARMONA | NONSTRUCTURAL INTERIOR WORK- FIRE DAMAGE REPAIR: REPLACE DRYWALL. REPLACE PLUMBING FIXTURES AND ASSOCIATED PIPING. INSTALL OUTLETS, SWITCHES AND WIRING. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S) ¦ SPECIAL CONDITION: NO CHANGES TO EXISTING LAYOUT. NO MECHANICAL WORK UNDER THIS PERMIT
3 | 20351200450000 | B200424540 | 6/3/2025 |  |  |  |  | 12000 |  | 8229 S COTTAGE GROVE AVE |  | CHICAGO, IL |  | YAD INVESTMENTS LLC | SCOPE: ROOF REPLACEMENT. AREA: 312 SQ. FT. ROOF COVERING: MINERAL - SURFACED ROLL ROOFING. LOCATION: ROOFING. IL ROOFING CONTRACTOR LICENSE: 104017730.
4 | 20181040120000 | B200424545 | 5/13/2025 |  |  |  |  | 995 |  | 5515 S HAMILTON AVE |  | CHICAGO, IL |  | EVANS ALBERTA | REPAIR (26% TO 50%) FOR STEEL PORCH (OPEN) (QUANTITY: 1, LOCATION: FRONT OF BUILDING). LANDING: 50 SQUARE FEET. LANDING NOT MORE THAN 6 FEET ABOVE GROUND.
5 | 25122180060000 | B200424548 | 5/6/2025 |  |  |  |  | 10000 |  | 9715 S MERRILL AVE |  | CHICAGO, IL |  | CHAVEZ ANGELICA | SCOPE: NONSTRUCTURAL INTERIOR REPLACEMENT OF DRYWALL AT LIVING, DINING ROOM AND KITCHEN, STAIRWELL AND BASEMENT, NO OTHER WORK. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), INTERIOR WORK ONLY.
6 | 19123280360000 | B200424556 | 5/9/2025 |  |  |  |  | 300 |  | 2944 W 55TH ST |  | CHICAGO, IL |  | MORENO LOVATO JOSE LUIS | PURPOSE: LEGALIZE UNPERMITTED WORK. WOOD FENCE - 6'-0' ' (HEIGHT) X 148'-0' ' (LENGTH). LOCATION: FRONT, WOOD WITH METAL PST REAR IS WROUGHT IRON 6F. ¦ SPECIAL CONDITION: NO PORTION OF FRONT YARD FENCE SHALL BE SOLID
7 | 13194270010000 | B200424558 | 5/8/2025 |  |  |  |  | 8892 |  | 3259 N RUTHERFORD AVE |  | CHICAGO, IL |  | WYSOCKI THEODORE | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: STEEP (>5:12). INVERTER OUTPUT: 3.6 KW. ARRAY OUTPUT: 4.86 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * REFER TO ELECTRICAL PERMIT B200424561.* ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
8 | 13194270010000 | B200424561 | 5/6/2025 |  |  |  |  | 1500 |  | 3259 N RUTHERFORD AVE |  | CHICAGO, IL |  | WYSOCKI THEODORE | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 125 AMP SERVICE DISCONNECTING MEANS WITH 17 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. 13.5 KWH LITHIUM ION ENERGY STORAGE SYSTEM. SPECIFIC LOCATION: BASEMENT AND REAR OF HOME.
9 | 11313180020000 | B200424566 | 5/7/2025 |  |  |  |  | 4250 |  | 2051 W ARTHUR AVE |  | CHICAGO, IL |  | KLEIN III WALTER | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 115 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: GARAGE AT REAR OF PROPERTY..
10 | 16251280200000 | B200424567 | 5/6/2025 |  |  |  |  | 221600 |  | 2822 W 26TH ST |  | CHICAGO, IL |  | 2812 - 2850 W 26TH ST, LLC | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 5 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 3. SPECIFIC LOCATION: SITE WORK.
11 | 16251280290000 | B200424567 | 5/6/2025 |  |  |  |  | 221600 |  | 2822 W 26TH ST |  | CHICAGO, IL |  | 2812 - 2850 W 26TH ST, LLC | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 5 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 3. SPECIFIC LOCATION: SITE WORK.
12 | 16021070440000 | B200424569 | 5/9/2025 |  |  |  |  | 10000 |  | 1502 N CENTRAL PARK AVE |  | CHICAGO, IL |  | LUNA RAYMOND | REPAIR (26% TO 50%) FOR WOOD PORCH (OPEN) (QUANTITY: 1, LOCATION: FRONT OF BUILDING). LANDING: 10 SQUARE FEET. LANDING NOT MORE THAN 6 FEET ABOVE GROUND.
13 | 13274130260000 | B200424570 | 5/6/2025 |  |  |  |  | 4680 |  | 2522 N TRIPP AVE |  | CHICAGO, IL |  | LEZAMA LUPE | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 250 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: WING WALL.
14 | 17042130100000 | B200424580 | 7/15/2025 |  |  |  |  | 25000 |  | 1350 N WELLS ST |  | CHICAGO, IL |  | COBBLER SQUARE PROPERTY OWNER LLC | SCOPE: NONSTRUCTURAL INTERIOR REPLACEMENT OF FINISHES AT KITCHEN AND BATHROOM, NEW PLUMBING FIXTURES AND ELECTRICAL THROUGHOUT, RECONFIGURATION OF CLOSET. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), FS2L - UNIT F102 - 1ST FLOOR
15 | 25054150430000 | B200424582 | 5/8/2025 |  |  |  |  | 15580 |  | 9324 S VINCENNES AVE |  | CHICAGO, IL |  | ALEXANDER MILLICENT | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 6.3 KW. ARRAY OUTPUT: 8.2 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * REFER TO ELECTRICAL PERMIT B200424583.* ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
16 | 25054150430000 | B200424583 | 5/6/2025 |  |  |  |  | 1450 |  | 9324 S VINCENNES AVE |  | CHICAGO, IL |  | ALEXANDER MILLICENT | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 18 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. 13.5 KWH LITHIUM ION ENERGY STORAGE SYSTEM. SPECIFIC LOCATION: BASEMENT AND NORTH SIDE OF HOME.
17 | 14211120100000 | B200424586 | 6/4/2025 |  |  |  |  | 125000 |  | 3500 N LAKE SHORE DR |  | CHICAGO, IL |  | WATSON KEITH | SCOPE: NONSTRUCTURAL INTERIOR ALTERATION TO INCLUDE THE REPLACEMENT OF DOORS, DRYALL, PLUMBING FIXTURES, ELECTRICAL, FINISHES AND MILLWORK. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), UNIT 9C.
18 | 26172150120000 | B200424591 | 5/6/2025 |  |  |  |  | 10000 |  | 10839 S AVENUE D |  | CHICAGO, IL |  | MACIAS CELESTINO | SCOPE: ROOF REPLACEMENT. AREA: 600 SQ. FT. ROOF COVERING: MINERAL - SURFACED ROLL ROOFING. LOCATION: ROOF LEFT AND RIGHT ELEVATION. IL ROOFING CONTRACTOR LICENSE: 104018154.
19 | 25271140320000 | B200424592 | 5/10/2025 |  |  |  |  | 2800 |  | 16 E 121ST ST |  | CHICAGO, IL |  | WHITELOW RENARD | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 2 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: SETVICE.
20 | 14052040170000 | B200424593 | 5/8/2025 |  |  |  |  | 300000 |  | 6244 N WINTHROP AVE |  | CHICAGO, IL |  | LOYOLA UNIVERSITY OF CHICAGO* | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 1000 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. PARAPET REBUILDING: 300 SQ. FT. LOCATION: EXTERIOR FACADE.
21 | 13212010290000 | B200424594 | 5/9/2025 |  |  |  |  | 6000 |  | 5034 W DAKIN ST |  | CHICAGO, IL |  | AKER JULIE | FULL REBUILD (SAME AS EXISTING) FOR WOOD DECK (NON-ROOFTOP) (QUANTITY: 1, LOCATION: REAR OF BUILDING). LANDING: 140 SQUARE FEET. LANDING NOT MORE THAN 6 FEET ABOVE GROUND.
22 | 14313280370000 | B200424595 | 5/9/2025 |  |  |  |  | 5500 |  | 1632 N BELL AVE |  | CHICAGO, IL |  | YOMTOOB JOSHUA | FULL REBUILD (SAME AS EXISTING) FOR WOOD DECK (NON-ROOFTOP) (QUANTITY: 1, LOCATION: REAR OF BUILDING). LANDING: 115 SQUARE FEET. LANDING NOT MORE THAN 6 FEET ABOVE GROUND.
23 | 25203220170000 | B200424599 | 5/6/2025 |  |  |  |  | 5000 |  | 11808 S LAFLIN ST |  | CHICAGO, IL |  | HUDSON MARGARET | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 10 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: ELECTRIC SERVICE.
24 | 16043230120000 | B200424606 | 5/8/2025 |  |  |  |  | 5000 |  | 921 N LATROBE AVE |  | CHICAGO, IL |  | WILLIAM PEREZ HOMEOWNER- | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 2 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: BASEMENT.
25 | 20344130150000 | B200424610 | 5/7/2025 |  |  |  |  | 2500 |  | 8418 S COTTAGE GROVE AVE |  | CHICAGO, IL |  | LUKAJIC MILJAN | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 50 . LIGHTING OUTLETS: 25. SPECIFIC LOCATION: UNITS.
26 | 20163030240000 | B200424616 | 5/7/2025 |  |  |  |  | 100 |  | 5928 S PARNELL AVE |  | CHICAGO, IL |  | COX KENYATTA | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 26 . LIGHTING OUTLETS: 18. SPECIFIC LOCATION: HOUSE.
27 | 19233170080000 | B200424619 | 5/7/2025 |  |  |  |  | 2800 |  | 3837 W 69TH ST |  | CHICAGO, IL |  | MUNOZ JOSE | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 10 . LIGHTING OUTLETS: 20. SPECIFIC LOCATION: LIVING RM DINNING RM KITCHEN BASEMENT.
28 | 17322100170000 | B200424620 | 5/14/2025 |  |  |  |  | 14500 |  | 3212 S ABERDEEN ST |  | CHICAGO, IL |  | SHAM HON | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 500 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: NORTH COMMON BRICK WALL.
29 | 20342010100000 | B200424623 | 5/6/2025 |  |  |  |  | 100 |  | 7927 S VERNON AVE |  | CHICAGO, IL |  | BOYD ANTONIO | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 46 . LIGHTING OUTLETS: 16. SPECIFIC LOCATION: 1ST AND 2ND FLOOR APARTMENTS.
30 | 16162131180000 | B200424632 | 5/23/2025 |  |  |  |  | 50000 |  | 5047 W JACKSON BLVD |  | CHICAGO, IL |  | LANE KENNETH LAVERN | NONSTRUCTURAL INTERIOR REMODEL OF 1ST FLOOR KITCHEN AND 2ND FLOOR BATHROOM. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), UNIT A
31 | 17074300360000 | B200424634 | 5/24/2025 |  |  |  |  | 1000 |  | 1613 W WASHINGTON BLVD |  | CHICAGO, IL |  | SHAW DARRIS | LINE VOLTAGE ELECTRICAL WORK. OUTDOOR LIGHTING FOR 150 SQUARE FEET. RECEPTACLE OUTLETS: 2 . LIGHTING OUTLETS: 16. SPECIFIC LOCATION: ON THE STREET UNDER SCAFFOLD ON THE EAST & NORTH. ¦ SPECIAL CONDITION: LIGHTING ON SCAFFOLD ONLY, NO PERMANENT WORK TO LANDMARK BUILDING WITH THIS PERMIT.
32 | 17094540010000 | B200424639 | 5/14/2025 |  |  |  |  | 12156 |  | 1 N WACKER DR |  | CHICAGO, IL |  | BARNES AND THORNBURG | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL DATA/VIDEO. SPECIFIC LOCATION: 45TH FLOOR.
33 | 17044470130000 | B200424640 | 5/8/2025 |  |  |  |  | 540 |  | 819 N WELLS ST |  | CHICAGO, IL |  | MOODY BIBLE INSTITUTE | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 0 . LIGHTING OUTLETS: 9. SPECIFIC LOCATION: ROOM 307.
34 | 13252130260000 | B200424648 | 5/7/2025 |  |  |  |  | 11900 |  | 3057 N ROCKWELL ST |  | CHICAGO, IL |  | PAUL LEVY | REPAIR OR IN-KIND REPLACEMENT OF 3 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. INCLUDES REPAIR OR REPLACMENT OF PLUMBING PIPING. LOCATIONS: 0 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 1 INTERIOR COMMON AREAS, 1ST FLOOR NEAR FRONT ENTRANCE.
35 | 14182210020000 | B200424654 | 5/19/2025 |  |  |  |  | 18000 |  | 1765 W SUNNYSIDE AVE |  | CHICAGO, IL |  | BURCIAGA DAVID | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 560 SQ. FT., LINTEL QTY. 10, MAX. LENGTH 6. PARAPET REBUILDING: 560 SQ. FT. LOCATION: FACE BRICK PARAPET WALL.
36 | 17341190110000 | B200424656 | 6/3/2025 |  |  |  |  | 73900 |  | 3433 S MICHIGAN AVE |  | CHICAGO, IL |  | SAINT SURIN JOHANNE | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 1200 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: FRONT ELEVATION - STONE RESTORATION.
37 | 14081010180000 | B200424659 | 5/14/2025 |  |  |  |  | 100000 |  | 1423 W BRYN MAWR AVE |  | CHICAGO, IL |  | CHICAGO PUBLIC SCHOOLS | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL SECURITY. SPECIFIC LOCATION: SCHOOL.
38 | 25091050580000 | B200424661 | 5/7/2025 |  |  |  |  | 19500 |  | 9522 S NORMAL AVE |  | CHICAGO, IL |  | WILLIAMS PAMELA | SCOPE: ROOF REPLACEMENT. AREA: 2000 SQ. FT. ROOF COVERING: ASPHALT SHINGLES. LOCATION: HOUSE. IL ROOFING CONTRACTOR LICENSE: 104017851.
39 | 17203260330000 | B200424664 | 5/8/2025 |  |  |  |  | 3000 |  | 1936 S RACINE AVE |  | CHICAGO, IL |  | CUI ZHOU | SCOPE: NONSTRUCTURAL INTERIOR WORK: RETILE THE BATHROOM AND LAUNDRY ROOM. REPLACE VANITY. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), GARDEN LEVEL
40 | 16091120310000 | B200424667 | 5/7/2025 |  |  |  |  | 5420 |  | 620 N LATROBE AVE |  | CHICAGO, IL |  | GUILTY JOY | PURPOSE: NEW/REPLACEMENT INSTALLATION. VINYL/PVC FENCE - 6'-0' ' (HEIGHT) X 66'-0' ' (LENGTH). LOCATION: SOUTHSIDE OF THE PROPERTY GOING TO THE REAR.
41 | 25201220300000 | B200424670 | 5/8/2025 |  |  |  |  | 8892 |  | 11352 S ADA ST |  | CHICAGO, IL |  | DAVIS ELAINE | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: STEEP (>5:12). INVERTER OUTPUT: 3.6 KW. ARRAY OUTPUT: 4.86 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * REFER TO SOLAR (ACCESSORY PERMIT) B200424678 AND ELECTRICAL PERMIT B200424686.* UNDERGROUND RACEWAY TO BE INSPECTED BY AHJ PRIOR TO COVERING. * ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
42 | 17093410230000 | B200424671 | 5/7/2025 |  |  |  |  | 192000 |  | 540 W MADISON ST |  | CHICAGO, IL |  | 3RDMG | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. ALTER EXISTING DATA/VIDEO. INSTALL DATA/VIDEO. SPECIFIC LOCATION: 25TH FLOOR.
43 | 13161300160000 | B200424673 | 5/8/2025 |  |  |  |  | 5400 |  | 5213 W AGATITE AVE |  | CHICAGO, IL |  | KEMORA LANDSCAPES | PURPOSE: NEW/REPLACEMENT INSTALLATION. WOOD FENCE - 6'-0' ' (HEIGHT) X 77'-0' ' (LENGTH). LOCATION: EAST SIDE OF THE PROPERTY GOING TO THE REAR.
44 | 16091060300000 | B200424676 | 5/12/2025 |  |  |  |  | 19125 |  | 734 N LARAMIE AVE |  | CHICAGO, IL |  | ROBINSON OSCAR | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: LOW-SLOPED (<2:12). INVERTER OUTPUT: 12.75 KW. ARRAY OUTPUT: 12.75 KW. LOCATION: THE ROOF. ICC DISTRIBUTED GENERATION INSTALLER CERT. #22-0420.
45 | 25201220300000 | B200424678 | 5/8/2025 |  |  |  |  | 8892 |  | 11352 S ADA ST |  | CHICAGO, IL |  | DAVIS ELAINE | INSTALL SOLAR PANELS ON ROOF OF ACCESSORY BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 3.6 KW. ARRAY OUTPUT: 4.86 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF OF GARAGE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * REFER TO SOLAR (PRINCIPAL PERMIT) B200424670 AND ELECTRICAL PERMIT B200424686.* UNDERGROUND RACEWAY TO BE INSPECTED BY AHJ PRIOR TO COVERING. * ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
46 | 25054020010000 | B200424684 | 6/18/2025 |  |  |  |  | 35000 |  | 9101 S ABERDEEN ST |  | CHICAGO, IL |  | KIJOWSKI STEVE | SCOPE: NONSTRUCTURAL INTERIOR WORK: REPLACE DRYWALL. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S) ¦ SPECIAL CONDITION: NO ELECTRICAL WORK, NO PLUMBING WORK UNDER THIS PERMIT
47 | 19201110400000 | B200424685 | 5/8/2025 |  |  |  |  | 750 |  | 6043 W 64TH ST |  | CHICAGO, IL |  | ORTIZ ELVIA | REPAIR OR IN-KIND REPLACEMENT OF 3 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 1ST FLOOR.
48 | 25201220300000 | B200424686 | 5/7/2025 |  |  |  |  | 1700 |  | 11352 S ADA ST |  | CHICAGO, IL |  | DAVIS ELAINE | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 17 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. 13.5 KWH LITHIUM ION ENERGY STORAGE SYSTEM. SPECIFIC LOCATION: BASEMENT AND REAR OF HOME.
49 | 20243280110000 | B200424688 | 5/19/2025 |  |  |  |  | 50000 |  | 1900 E 71ST ST |  | CHICAGO, IL |  | 7051 LLC | SCOPE: NONSTRUCTURAL INTERIOR PREPARATORY DEMOLITION OF NON-LOADING BEARING WALLS, CEILINGS AND FINISHES. ALL OTHER WORK UNDER SPR APPLICATION/PERMIT # 101068245. LOCATIONS: 0 RESIDENTIAL UNIT(S), 2 NON-RESIDENTIAL UNIT(S), GROUND LEVEL, BASEMENT.
50 | 13081140130000 | B200424689 | 5/8/2025 |  |  |  |  | 11306 |  | 5415 N MEADE AVE |  | CHICAGO, IL |  | TORRES LEAH | PURPOSE: NEW/REPLACEMENT INSTALLATION. VINYL/PVC FENCE - 6'-0' ' (HEIGHT) X 65'-0' ' (LENGTH). LOCATION: REAR SIDE OF THE PROPERTY.
51 | 17334000490000 | B200424697 | 5/7/2025 |  |  |  |  | 350000 |  | 333 W 35TH ST |  | CHICAGO, IL |  | SAGE ANTHONY | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 4 . LIGHTING OUTLETS: 2. SPECIFIC LOCATION: SOUND.
52 | 20171130030000 | B200424699 | 5/7/2025 |  |  |  |  | 300 |  | 5607 S ADA ST |  | CHICAGO, IL |  | MUNOZ YOMAIRA | PURPOSE: NEW/REPLACEMENT INSTALLATION. WOOD FENCE - 6'-0' ' (HEIGHT) X 50'-0' ' (LENGTH). LOCATION: OUTSIDE.
53 | 19361190420000 | B200424701 | 5/8/2025 |  |  |  |  | 23370 |  | 8105 S WHIPPLE ST |  | CHICAGO, IL |  | BRITTON JACQUELINE | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: STEEP (>5:12). INVERTER OUTPUT: 9.5 KW. ARRAY OUTPUT: 12.3 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * REFER TO SOLAR (ACCESSORY PERMIT) B200424704 AND ELECTRICAL PERMIT B200424709.* UNDERGROUND RACEWAY TO BE INSPECTED BY AHJ PRIOR TO COVERING. * ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
54 | 20311040420000 | B200424703 | 5/9/2025 |  |  |  |  | 1000 |  | 7955 S WESTERN AVE |  | CHICAGO, IL |  | STONEDRY LLC | SCOPE: NONSTRUCTURAL INTERIOR REPLACEMENT OF STUDS AND DRYWALL REMOVED WITHOUT A PERMIT, SEAL DOORS AND WINDOWS BETWEEN STOREFRONTS, RETURNING TO ORIGINAL THREE INDIVIDUAL STOREFRONTS. LOCATIONS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), 1ST FLOOR MIDDLE UNIT.
55 | 19361190420000 | B200424704 | 5/8/2025 |  |  |  |  | 23370 |  | 8105 S WHIPPLE ST |  | CHICAGO, IL |  | BRITTON JACQUELINE | INSTALL SOLAR PANELS ON ROOF OF ACCESSORY BUILDING. ROOF TYPE: STEEP (>5:12). INVERTER OUTPUT: 9.5 KW. ARRAY OUTPUT: 12.3 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF OF GARAGE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * REFER TO SOLAR (PRINCIPAL) PERMIT B200424704 AND ELECTRICAL PERMIT B200424709.* UNDERGROUND RACEWAY TO BE INSPECTED BY AHJ PRIOR TO COVERING. * ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
56 | 20154170110000 | B200424706 | 5/16/2025 |  |  |  |  | 10343 |  | 6235 S EBERHART AVE |  | CHICAGO, IL |  | SOSINA ANDREA | PURPOSE: NEW/REPLACEMENT INSTALLATION. VINYL/PVC FENCE - 6'-0' ' (HEIGHT) X 105'-0' ' (LENGTH). LOCATION: REAR SIDE OF THE PROPERTY. ¦ SPECIAL CONDITION: NO PORTION OF A SOLID FENCE TO BE WITHIN FRONT YARD
57 | 14333050260000 | B200424707 | 5/7/2025 |  |  |  |  | 150 |  | 509 W ARMITAGE AVE |  | CHICAGO, IL |  | 606 PROPERTY PARTNERS LLC – 509 W ARMITAGE | PURPOSE: NEW/REPLACEMENT INSTALLATION. WROUGHT IRON FENCE - 6'-0' ' (HEIGHT) X 19'-9' ' (LENGTH). LOCATION: FRONT YARD.
58 | 19361190420000 | B200424709 | 5/7/2025 |  |  |  |  | 1400 |  | 8105 S WHIPPLE ST |  | CHICAGO, IL |  | BRITTON JACQUELINE | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 15 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. 13.5 KWH LITHIUM ION ENERGY STORAGE SYSTEM. SPECIFIC LOCATION: BASEMENT AND REAR OF HOME.
59 | 19352140290000 | B200424710 | 5/7/2025 |  |  |  |  | 28753 |  | 3500 W 81ST PL |  | CHICAGO, IL |  | DAVIS GERALDINE | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 22'-0' ' X20'-0' '. HIP ROOF HEIGHT TO PEAK: 13'-0' '.
60 | 13233240350000 | B200424712 | 5/7/2025 |  |  |  |  | 2000 |  | 3310 N CENTRAL PARK AVE |  | CHICAGO, IL |  | FITZ ANGEL | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: BASEMENT AND EXTERIOR.
61 | 20344070220000 | B200424716 | 5/7/2025 |  |  |  |  | 10000 |  | 8526 S RHODES AVE |  | CHICAGO, IL |  | HAWKINS SHARON | IN-KIND REPLACEMENT OF EXTERIOR WINDOWS AND DOORS IN EXISTING OPENINGS. REPLACEMENT WINDOWS: 20; REPLACEMENT SKYLIGHTS: 0; REPLACEMENT DOORS: 2. AFFECTS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), LOCATION: ENTIRE HOUSE WINDOWS AND EXTERIOR DOORS.
62 | 14163010080000 | B200424723 | 5/27/2025 |  |  |  |  | 8370 |  | 717 W JUNIOR TER |  | CHICAGO, IL |  | MEISELS MARLENE | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 140 SQ. FT., LINTEL QTY. 4, MAX. LENGTH 5. LOCATION: FRONT WALL , NORTH WALL, BACK SOUTH WALL.
63 | 16243140570000 | B200424724 | 5/30/2025 |  |  |  |  | 6015 |  | 2126 S CALIFORNIA AVE |  | CHICAGO, IL |  | PASILLAS MYRNA | PURPOSE: NEW/REPLACEMENT INSTALLATION. WOOD FENCE - 6'-0' ' (HEIGHT) X 113'-0' ' (LENGTH). LOCATION: FENCE ON SIDE YARD..
64 | 13252130260000 | B200424725 | 5/12/2025 |  |  |  |  | 8000 |  | 3057 N ROCKWELL ST |  | CHICAGO, IL |  | PRAIRIE MGMT & DEVELOPMENT, INC. | LINE VOLTAGE ELECTRICAL WORK. ADD 25 CIRCUITS TO EXISTING 3000 AMP SERVICE DISCONNECTING MEANS. RECEPTACLE OUTLETS: 24 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: MAIN WALKWAY.
65 | 13191340220000 | B200424732 | 5/17/2025 |  |  |  |  | 15000 |  | 3622 N NEWCASTLE AVE |  | CHICAGO, IL |  | MIRANDA JASMIN | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 23'-0' ' X20'-0' '. GABLE ROOF HEIGHT TO PEAK: 14'-0' '.
66 | 19104080430000 | B200424735 | 5/12/2025 |  |  |  |  | 30000 |  | 5220 S PULASKI RD |  | CHICAGO, IL |  | EPK MGMT LP | GAS PIPING EXTENSION/RECONFIGURATION, ELECTRICAL WORK UNDER THIS PERMIT = NO . LOCATIONS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), EXTERIOR WORK, GAS PIPING UP THROUGH AND ONTOP OF ROOF.
67 | 13272090010000 | B200424742 | 5/7/2025 |  |  |  |  | 23500 |  | 3057 N LOWELL AVE |  | CHICAGO, IL |  | THURSTON MICHA | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 20'-0' ' X20'-0' '. HIP ROOF HEIGHT TO PEAK: 12'-0' '.
68 | 17331220010000 | B200424743 | 6/13/2025 |  |  |  |  | 22000 |  | 3301 S WALLACE ST |  | CHICAGO, IL |  | LIN SHAWN | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 2500 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: TUCKPOINT ON ALL THE WALLS.
69 | 13092230220000 | B200424749 | 5/8/2025 |  |  |  |  | 7900 |  | 5214 N ELSTON AVE |  | CHICAGO, IL |  | ERIC WROBEL | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 150 SQ. FT., LINTEL QTY. 3, MAX. LENGTH 5. PARAPET REBUILDING: 370 SQ. FT. LOCATION: FRONT EAST WALL AND SIDE SOUTH WALL.
70 | 14072140040000 | B200424752 | 5/8/2025 |  |  |  |  | 15000 |  | 5345 N PAULINA ST |  | CHICAGO, IL |  | DANIELS BRIAN | FULL REBUILD (SAME AS EXISTING) FOR WOOD DECK (NON-ROOFTOP) (QUANTITY: 1, LOCATION: FRONT OF BUILDING). LANDING: 120 SQUARE FEET. LANDING NOT MORE THAN 6 FEET ABOVE GROUND.
71 | 17333000200000 | B200424755 | 8/9/2025 |  |  |  |  | 12000 |  | 3549 S HALSTED ST |  | CHICAGO, IL |  | MAROTTA ANTHONY | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 420 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. PARAPET REBUILDING: 30 SQ. FT. LOCATION: EXTERIOR FACADE NORTH, SOUTH & WEST END.
72 | 20321220040000 | B200424756 | 5/14/2025 |  |  |  |  | 10000 |  | 8111 S THROOP ST |  | CHICAGO, IL |  | OLIVARES CONSTRUCTION INC | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 20 CIRCUITS. RECEPTACLE OUTLETS: 20 . LIGHTING OUTLETS: 15. SPECIFIC LOCATION: ENTIRE HOME. ¦ SPECIAL CONDITION: SEE RENOVATION PERMIT NO 101023531 FOR INSPECTIONS.
73 | 25111240010000 | B200424758 | 5/7/2025 |  |  |  |  | 21070 |  | 9801 S GREENWOOD AVE |  | CHICAGO, IL |  | VANESSA MORGAN | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 20'-0' ' X20'-0' '. HIP ROOF HEIGHT TO PEAK: 13'-0' '.
74 | 12121180170000 | B200424759 | 5/9/2025 |  |  |  |  | 19475 |  | 7640 W BERWYN AVE |  | CHICAGO, IL |  | CARLSON GINA | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: STEEP (>5:12). INVERTER OUTPUT: 7.9 KW. ARRAY OUTPUT: 10.25 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817.
75 | 12121180170000 | B200424761 | 5/9/2025 |  |  |  |  | 19475 |  | 7640 W BERWYN AVE |  | CHICAGO, IL |  | CARLSON GINA | INSTALL SOLAR PANELS ON ROOF OF ACCESSORY BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 7.9 KW. ARRAY OUTPUT: 10.25 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF OF GARAGE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817.
76 | 16272190040000 | B200424763 | 5/8/2025 |  |  |  |  | 5000 |  | 4358 W 25TH ST |  | CHICAGO, IL |  | MUNOZ GERMAN | LINE VOLTAGE ELECTRICAL WORK. ADD 10 CIRCUITS TO EXISTING 200 AMP SERVICE DISCONNECTING MEANS. RECEPTACLE OUTLETS: 20 . LIGHTING OUTLETS: 20. SPECIFIC LOCATION: GARDEN UNIT.
77 | 12121180170000 | B200424765 | 5/7/2025 |  |  |  |  | 1500 |  | 7640 W BERWYN AVE |  | CHICAGO, IL |  | CARLSON GINA | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 13 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. 13.5 KWH LITHIUM ION ENERGY STORAGE SYSTEM. SPECIFIC LOCATION: BASEMENT AND REAR OF HOME.
78 | 19201150310000 | B200424771 | 5/7/2025 |  |  |  |  | 53000 |  | 6450 S AUSTIN AVE |  | CHICAGO, IL |  | W W GRAINGER INC | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 0 . LIGHTING OUTLETS: 32. SPECIFIC LOCATION: WAREHOUSE.
79 | 17042110020000 | B200424778 | 5/12/2025 |  |  |  |  | 4500 |  | 1447 N DEARBORN ST |  | CHICAGO, IL |  | 1447 N DEARBORN ACQUISITION LLC | REPAIR OR IN-KIND REPLACEMENT OF 2 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. INCLUDES REPAIR OR REPLACMENT OF PLUMBING PIPING. LOCATIONS: 0 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), EXTERIOR WORK, ROOF ONLY.
80 | 16152160250000 | B200424779 | 5/7/2025 |  |  |  |  | 2500 |  | 4348 W GLADYS AVE |  | CHICAGO, IL |  | PHILLIPS VELMA | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 35 CIRCUITS. RECEPTACLE OUTLETS: 0 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: BASEMENT.
81 | 13153190390000 | B200424781 | 5/12/2025 |  |  |  |  | 10000 |  | 4154 N KENNETH AVE |  | CHICAGO, IL |  | IVORY BENJAMIN | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 400 AMP SERVICE DISCONNECTING MEANS WITH 15 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: BACK OF BUILDING.
82 | 13124000010000 | B200424782 | 5/16/2025 |  |  |  |  | 180000 |  | 5145 N CALIFORNIA AVE |  | CHICAGO, IL |  | SWEDISH COVENANT HOSPITAL | LINE VOLTAGE ELECTRICAL WORK. INSTALL TEMPORARY 1500 KW DIESEL GENERATOR. INSTALL TEMPORARY 1500 KW DIESEL GENERATOR. INSTALL TEMPORARY 320 KW DIESEL GENERATOR. RECEPTACLE OUTLETS: 0 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: WINONA ST- NORTH PARKING LANE & ADJACENT SIDEWALK.
83 | 13251110010000 | B200424784 | 5/23/2025 |  |  |  |  | 45000 |  | 3045 N FRANCISCO AVE |  | CHICAGO, IL |  | ST FRANCIS XAVIER CHURCH | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 135 SQ. FT., LINTEL QTY. 2, MAX. LENGTH 4. PARAPET REBUILDING: 85 SQ. FT. LOCATION: PARAPET WALL ON WEST ELEVATION.
84 | 20222020250000 | B200424789 | 5/10/2025 |  |  |  |  | 2500 |  | 6324 S RHODES AVE |  | CHICAGO, IL |  | OSUNMAKINDE ADEBAYO | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 10 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: BACK OF PROPERTY, BASEMENT.
85 | 17162090120000 | B200424790 | 5/8/2025 |  |  |  |  | 45000 |  | 125 S FRANKLIN ST |  | CHICAGO, IL |  | THE OPTIONS CLEARING CORP | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL DATA/VIDEO. SPECIFIC LOCATION: 12TH FLOOR.
86 | 16092120380000 | B200424801 | 5/8/2025 |  |  |  |  | 2500 |  | 640 N CICERO AVE |  | CHICAGO, IL |  | BISHARAT ISSA | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 400 SQ. FT., LINTEL QTY. 1, MAX. LENGTH 3. CONCRETE MASONRY REPAIR / REPLACEMNT: 15SQ. FT., EXCAVATION = NO. LOCATION: BUILDING VIOLATIONS.
87 | 13283120020000 | B200424805 | 5/8/2025 |  |  |  |  | 1000 |  | 5555 W DRUMMOND PL |  | CHICAGO, IL |  | BAL KAZIMIERZ | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 20 . LIGHTING OUTLETS: 6. SPECIFIC LOCATION: 1,2 FLOOR, BASEMENT.
88 | 25032100030000 | B200424807 | 6/16/2025 |  |  |  |  | 9000 |  | 607 E 88TH ST |  | CHICAGO, IL |  | TOWNSEND MARIE | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 20 CIRCUITS. RECEPTACLE OUTLETS: 30 . LIGHTING OUTLETS: 20. SPECIFIC LOCATION: SERVICE, INTERIOR RENOVATIONS.
89 | 14192080470000 | B200424808 | 5/9/2025 |  |  |  |  | 4185 |  | 1625 W IRVING PARK RD |  | CHICAGO, IL |  | POSPIECH KEN | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 0 . LIGHTING OUTLETS: 8. SPECIFIC LOCATION: INSIDE THE RESTAURANT.
90 | 20163030240000 | B200424809 | 6/2/2025 |  |  |  |  | 100 |  | 5928 S PARNELL AVE |  | CHICAGO, IL |  | COX KENYATTA | SCOPE: NONSTRUCTURAL INTERIOR WORK: REPLACE DRYWALL. REPLACE PLUMBING FIXTURES AND ASSOCIATED PIPING. REPLACE EXISTING FURNACE ON THE 2ND FLOOR (SAME LOCATION). LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 2ND FLOOR
91 | 20163030240000 | B200424810 | 6/2/2025 |  |  |  |  | 100 |  | 5928 S PARNELL AVE |  | CHICAGO, IL |  | COX KENYATTA | SCOPE: NONSTRUCTURAL INTERIOR WORK: REPLACE DRYWALL. REPLACE PLUMBING FIXTURES AND ASSOCIATED PIPING. REPLACE EXISTING FURNACE IN THE BASEMENT (SAME LOCATION). LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 1 INTERIOR COMMON AREAS, 1ST FLOOR, BSMT.
92 | 13123040030000 | B200424814 | 6/12/2025 |  |  |  |  | 20000 |  | 5053 N TROY ST |  | CHICAGO, IL |  | IPAK TROY LLC | .SCOPE: NONSTRUCTURAL INTERIOR ALTERATION OF EXISTING PLUMBING, ELECTRICAL AND MECHANICAL, NO FLOOR PLAN ALTERATIONS. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), APARTMENT BW.
93 | 13123040030000 | B200424815 | 6/12/2025 |  |  |  |  | 20000 |  | 5053 N TROY ST |  | CHICAGO, IL |  | IPAK TROY LLC | SCOPE: NONSTRUCTURAL INTERIOR ALTERATION OF EXISTING PLUMBING, ELECTRICAL AND MECHANICAL, NO FLOOR PLAN ALTERATIONS.LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), APARTMENT BE.
94 | 17343100010000 | B200424825 | 5/8/2025 |  |  |  |  | 45000 |  | 235 E 35TH ST |  | CHICAGO, IL |  | HOST MART, INC. | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 192 SQ. FT., LINTEL QTY. 8, MAX. LENGTH 9. LOCATION: WEST BUILDING ELEVATION ON THE 2ND AND 3RD FLOOR.
95 | 20302030190000 | B200424827 | 5/8/2025 |  |  |  |  | 2000 |  | 7133 S HONORE ST |  | CHICAGO, IL |  | POLK MAX | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 25 . LIGHTING OUTLETS: 10. SPECIFIC LOCATION: HOUSE.
96 | 16251090090000 | B200424830 | 5/8/2025 |  |  |  |  | 25000 |  | 2321 S ALBANY AVE |  | CHICAGO, IL |  | SAUCEDO REYNOSA JUANA | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 30 CIRCUITS. RECEPTACLE OUTLETS: 0 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: GARDEN APARTMENT/PUBLIC AREA.
97 | 14322240430000 | B200424831 | 5/15/2025 |  |  |  |  | 10000 |  | 1000 W ARMITAGE AVE |  | CHICAGO, IL |  | CHICAGO SPECIAL EVENTS MGMT | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: FRONT.
98 | 14304070080000 | B200424837 | 5/17/2025 |  |  |  |  | 25000 |  | 1703 W WRIGHTWOOD AVE |  | CHICAGO, IL |  | SALEHI MEHRDAD | SCOPE: ROOF REPLACEMENT. AREA: 1700 SQ. FT. ROOF COVERING: ASPHALT SHINGLES. LOCATION: ENTIRE ROOF. IL ROOFING CONTRACTOR LICENSE: 104019132.
99 | 25052120110000 | B200424841 | 5/8/2025 |  |  |  |  | 25024 |  | 8833 S CARPENTER ST |  | CHICAGO, IL |  | THOMPSON LORRAINE | ADA BATHROOM MODIFICATIONS. REMOVE TUB AND INSTALL SHOWER WITH ASSOCIATED FIXTURES AND TILE WORK.M.
100 | 19171300570000 | B200424843 | 5/8/2025 |  |  |  |  | 26750 |  | 6038 W 59TH ST |  | CHICAGO, IL |  | SIMON JOYCE | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 22'-0' ' X20'-0' '. HIP ROOF HEIGHT TO PEAK: 13'-0' '.
101 | 16091210210000 | B200424849 | 5/12/2025 |  |  |  |  | 4200 |  | 434 N PINE AVE |  | CHICAGO, IL |  | SIDDIQUI ADEEL | REPAIR OR IN-KIND REPLACEMENT OF 6 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. INCLUDES REPAIR OR REPLACMENT OF PLUMBING PIPING. INCLUDES REPAIR OR REPLACEMENT OF PLUMBING RISERS IN EXISTING CHASES. LOCATIONS: 2 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), KITCHEN AND BATHROOM AREAS ON BOTH LEVELS..
102 | 20072250500000 | B200424858 | 5/8/2025 |  |  |  |  | 2000 |  | 5055 S WINCHESTER AVE |  | CHICAGO, IL |  | BEJARANO EDNA INGRID | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 2 CIRCUITS. RECEPTACLE OUTLETS: 2 . LIGHTING OUTLETS: 2. SPECIFIC LOCATION: PARKING LOT.
103 | 20253250240000 | B200424859 | 6/26/2025 |  |  |  |  | 17300 |  | 7836 S EAST END AVE |  | CHICAGO, IL |  | ROGERS MICHAEL R | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 500 SQ. FT., LINTEL QTY. 9, MAX. LENGTH 10. LOCATION: MASONRY REPAIRS.
104 | 17054160120000 | B200424861 | 5/23/2025 |  |  |  |  | 60000 |  | 801 N MILWAUKEE AVE |  | CHICAGO, IL |  | PATEL PARAG | SCOPE: NONSTRUCTURAL INTERIOR ALTERATION TO INCLUDE EQUIPMENT (EXCLUDING MECHANICAL) AND INTERIOR FINISH REPLACEMENT, PAINTING THE WALL/REPLACING CEILING TILES/REPLACING WALL CERAMIC TILES/UNHOOKED APPLIANCES AND CONNECTED THEM BACK AGAIN. REPLACE THE CEILING LIGHTS. LOCATIONS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), EXISTING DUNKIN ¦ SPECIAL CONDITION: INTERIOR WORK ONLY
105 | 14293040320000 | B200424865 | 5/8/2025 |  |  |  |  | 17480 |  | 1300 W SCHUBERT AVE |  | CHICAGO, IL |  | GERSTEIN ROBERT | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 1300 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: MASONRY REPAIR WORK.
106 | 19343220450000 | B200424866 | 5/16/2025 |  |  |  |  | 3500 |  | 4668 W 84TH PL |  | CHICAGO, IL |  | HUNGER ANNIE | REPAIR OR IN-KIND REPLACEMENT OF 4 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), BATHROOM AND KITCHEN.
107 | 21311300040000 | B200424875 | 5/9/2025 |  |  |  |  | 1800 |  | 8219 S MANISTEE AVE |  | CHICAGO, IL |  | BALDWIN DEBBIE | REPAIR OR IN-KIND REPLACEMENT OF 0 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. INCLUDES REPAIR OR REPLACMENT OF PLUMBING PIPING. LOCATIONS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), BASEMENT AREA ONLY.
108 | 13143250010000 | B200424879 | 5/8/2025 |  |  |  |  | 4250 |  | 4159 N MONTICELLO AVE |  | CHICAGO, IL |  | POLYDORIS MARK | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 20 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: BASMENT.
109 | 14181040050000 | B200424880 | 5/15/2025 |  |  |  |  | 5000 |  | 2063 W LAWRENCE AVE |  | CHICAGO, IL |  | FMA PROPERTIES | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 100 SQ. FT., LINTEL QTY. 13, MAX. LENGTH 8. PARAPET REBUILDING: 75 SQ. FT. LOCATION: EXTERIOR LINTELS & PARAPET.
110 | 25171060050000 | B200424883 | 8/4/2025 |  |  |  |  | 61183 |  | 1519 W 104TH ST |  | CHICAGO, IL |  | STAMPLEY LAKISHA | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 24'-0' ' X25'-0' '. GABLE ROOF HEIGHT TO PEAK: 12'-6' '.
111 | 17094210120000 | B200424891 | 5/8/2025 |  |  |  |  | 17340 |  | 77 W WACKER DR |  | CHICAGO, IL |  | 77 W WACKER DR LLC | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 148 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: 28TH FLOOR.
112 | 19134270250000 | B200424892 | 5/20/2025 |  |  |  |  | 15000 |  | 6230 S ROCKWELL ST |  | CHICAGO, IL |  | SANCHEZ MARTHA | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 50 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. PARAPET REBUILDING: 100 SQ. FT. LOCATION: FRONT FACADE, NORTH AND SOUTH PARAPET.
113 | 13054220380000 | B200424899 | 5/8/2025 |  |  |  |  | 3000 |  | 5744 N MANGO AVE |  | CHICAGO, IL |  | SOKOL GENEVIEVE | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 105 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: TUCKPOINTING ON REAR OF HOUSE & GARAGE.
114 | 19233170080000 | B200424901 | 5/12/2025 |  |  |  |  | 8000 |  | 3837 W 69TH ST |  | CHICAGO, IL |  | JOSE MUNOS | PURPOSE: NEW/REPLACEMENT INSTALLATION. VINYL/PVC FENCE - 6'-0' ' (HEIGHT) X 50'-0' ' (LENGTH). LOCATION: BASEMENT AND IN BACK-SIDE YARD.
115 | 17094210120000 | B200424903 | 5/8/2025 |  |  |  |  | 17340 |  | 77 W WACKER DR |  | CHICAGO, IL |  | 77 W WACKER DR LLC | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 148 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: FLOOR 33.
116 | 25162070240000 | B200424911 | 5/8/2025 |  |  |  |  | 1300 |  | 101 W 104TH ST |  | CHICAGO, IL |  | MCLAURIN GEORGIA | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: BASEMENT.
117 | 17094210120000 | B200424912 | 5/8/2025 |  |  |  |  | 17785 |  | 77 W WACKER DR |  | CHICAGO, IL |  | 77 W WACKER DR LLC | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 152 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: FLOOR 36.
118 | 16141050170000 | B200424913 | 5/12/2025 |  |  |  |  | 17500 |  | 3846 W ADAMS ST |  | CHICAGO, IL |  | WASINSKI DANIEL | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 600 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. PARAPET REBUILDING: 200 SQ. FT. LOCATION: MASONRY REPAIR WORK-CHIMNEY, PARAPET WALL.
119 | 13264030230000 | B200424914 | 5/8/2025 |  |  |  |  | 15000 |  | 3434 W SCHUBERT AVE |  | CHICAGO, IL |  | CHRISLER MICHAEL | IN-KIND REPLACEMENT OF EXTERIOR WINDOWS AND DOORS IN EXISTING OPENINGS. REPLACEMENT WINDOWS: 35; REPLACEMENT SKYLIGHTS: 0; REPLACEMENT DOORS: 4. AFFECTS: 3 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 2 INTERIOR COMMON AREAS, LOCATION: ALL UNITS AND BASEMENT WINDOWS, EXTERIOR DOOR WORK.
120 | 17103130030000 | B200424918 | 5/13/2025 |  |  |  |  | 330496 |  | 130 E RANDOLPH ST |  | CHICAGO, IL |  | FESTE JORDAN | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL OTHER. SPECIFIC LOCATION: 11TH FLOOR AMENITIES.
121 | 25022180290000 | B200424930 | 5/9/2025 |  |  |  |  | 20254 |  | 8940 S DANTE AVE |  | CHICAGO, IL |  | BROWN JANET | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: STEEP (>5:12). INVERTER OUTPUT: 8.2 KW. ARRAY OUTPUT: 10.66 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817.
122 | 20341140430000 | B200424932 | 5/8/2025 |  |  |  |  | 750 |  | 8105 S MICHIGAN AVE |  | CHICAGO, IL |  | BROOKS BRITTNAL | REPAIR OR IN-KIND REPLACEMENT OF 1 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. REPAIR OR IN-KIND REPLACEMENT OF HOT WATER HEATER(S). LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 1ST FLOOR & BASEMENT.
123 | 25022180290000 | B200424934 | 5/9/2025 |  |  |  |  | 20254 |  | 8940 S DANTE AVE |  | CHICAGO, IL |  | BROWN JANET | INSTALL SOLAR PANELS ON ROOF OF ACCESSORY BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 8.2 KW. ARRAY OUTPUT: 10.66 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF OF GARAGE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817.
124 | 25022180290000 | B200424935 | 5/8/2025 |  |  |  |  | 1500 |  | 8940 S DANTE AVE |  | CHICAGO, IL |  | BROWN JANET | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 28 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. 13.5 KWH LITHIUM ION ENERGY STORAGE SYSTEM. SPECIFIC LOCATION: BASEMENT AND NORTH SIDE OF HOME.
125 | 21303300410000 | B200424937 | 5/14/2025 |  |  |  |  | 31474 |  | 2660 E 79TH ST |  | CHICAGO, IL |  | JANG HAN KIM | REPAIR/REPLACEMENT AFFECTING 1 SYSTEMS : 4 ROOFTOP PACKAGED UNIT(CARRIER, 48FEEA06A2M5-3W1F0, ROOFTOP) . ELECTRICAL WORK UNDER THIS PERMIT = NO . LOCATIONS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), EXTERIOR WORK, ROOFTOP.
126 | 14171150070000 | B200424940 | 5/19/2025 |  |  |  |  | 35000 |  | 4537 N DOVER ST |  | CHICAGO, IL |  | SHERIDAN PARK LLC | LIMITED REPAIR (25% OR LESS) FOR STEEL EXTERIOR STAIRWAY (QUANTITY: 1, LOCATION: OTHER). ¦ SPECIAL CONDITION: APPROVED PER ATTACHMENTS RECEIVED 5/8/25: REPAIR OF STEEL PORCHES AND STAIRWAYS ONLY, SAME AS EXISTING. NO OTHER WORK WITH THIS PERMIT.
127 | 17032320090000 | B200424945 | 5/14/2025 |  |  |  |  | 1500 |  | 220 E CHICAGO AVE |  | CHICAGO, IL |  | FROST LIGHTING CO OF IL | LINE VOLTAGE ELECTRICAL WORK. INSTALL TEMPORARY 200 KW DIESEL GENERATOR. RECEPTACLE OUTLETS: 0 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: TEMPORARY EVENT TENT. ¦ SPECIAL CONDITION: NO OTHER WORK.
128 | 17032070410000 | B200424946 | 5/8/2025 |  |  |  |  | 1950 |  | 66 E WALTON ST |  | CHICAGO, IL |  | THE REAL REAL | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL AUDIO. SPECIFIC LOCATION: BACK OF BUILDING.
129 | 16251160030000 | B200424947 | 5/13/2025 |  |  |  |  | 3500 |  | 2407 S ALBANY AVE |  | CHICAGO, IL |  | TSOMBOS PANGIOTIS | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 450 SQ. FT., LINTEL QTY. 2, MAX. LENGTH 6. LOCATION: FACADE AND EXTERIOR BIRCK WALLS WHERE NEEDED.
130 | 25181070070000 | B200424955 | 6/5/2025 |  |  |  |  | 162011 |  | 10327 S SEELEY AVE |  | CHICAGO, IL |  | CREAGAN DAVID | IN-KIND REPLACEMENT OF EXTERIOR WINDOWS AND DOORS IN EXISTING OPENINGS. REPLACEMENT WINDOWS: 36; REPLACEMENT SKYLIGHTS: 0; REPLACEMENT DOORS: 0. AFFECTS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 12 INTERIOR COMMON AREAS, LOCATION: BEDROOMS, STORAGE, OFFICE, CLOSET, BATHROOMS. ¦ SPECIAL CONDITION: AS PROPOSED, NEW WINDOWS TO BE ALUMINUM MARVIN ULTIMATE CLAD-WOOD.
131 | 17094290180000 | B200424968 | 5/8/2025 |  |  |  |  | 20000 |  | 155 N WACKER DR |  | CHICAGO, IL |  | BANNISTER TRUST | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 2 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: 10TH FLOOR.
132 | 12244280240000 | B200424969 | 5/8/2025 |  |  |  |  | 2500 |  | 3228 N ODELL AVE |  | CHICAGO, IL |  | BARWICKI RYSZARD | PURPOSE: NEW/REPLACEMENT INSTALLATION. VINYL/PVC FENCE - 6'-0' ' (HEIGHT) X 28'-0' ' (LENGTH). LOCATION: EXTERIOR SIDE DRIVEWAY.
133 | 19134280370000 | B200424972 | 5/15/2025 |  |  |  |  | 700 |  | 2532 W 63RD ST |  | CHICAGO, IL |  | HILL ORIALE | SCOPE: SEAL OPENING BETWEEN TWO COMMERICAL SPACES. LOCATIONS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), LOCATION ADDRESS: 6250 S MAPLEWOOD CHICAGO 60619. ¦ SPECIAL CONDITION: WORK IS SPECIFC TO MAPLEWOOD SIDE OF THE STREET, 6250 S MAPLEWOOD AVE
134 | 16014260170000 | B200424974 | 5/13/2025 |  |  |  |  | 42690 |  | 2609 W IOWA ST |  | CHICAGO, IL |  | SCHREIBER LAURA | SCOPE: NONSTRUCTURAL INTERIOR WORK: REPLACE PLUMBING FIXTURES AND ASSOCIATED PIPING. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), UNIT 1 - KITCHEN AND BATHROOM
135 | 17302010420000 | B200424977 | 5/16/2025 |  |  |  |  | 151955 |  | 1852 W 22ND PL |  | CHICAGO, IL |  | CRISTO REY JESUIT HIGH SCHOOL | SCOPE: ROOF REPLACEMENT. AREA: 15100 SQ. FT. ROOF COVERING: OTHER. LOCATION: GYMNASIUM ROOF. IL ROOFING CONTRACTOR LICENSE: 104000173.
136 | 14211120040000 | B200424978 | 5/9/2025 |  |  |  |  | 38800 |  | 517 W BROMPTON AVE |  | CHICAGO, IL |  | REALTY & MORTAGE CO. | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 1000 SQ. FT., LINTEL QTY. 5, MAX. LENGTH 5. LOCATION: MASONRT REPAIR WORK.
137 | 17213310020000 | B200424979 | 5/14/2025 |  |  |  |  | 30000 |  | 2060 S LUMBER ST |  | CHICAGO, IL |  | GREAT LAKES HOLDINGS | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 800 AMP SERVICE DISCONNECTING MEANS WITH 10 CIRCUITS. RECEPTACLE OUTLETS: 0 . LIGHTING OUTLETS: 10. SPECIFIC LOCATION: GROUND FLOOR. ¦ SPECIAL CONDITION: SEE RENOVATION PERMIT NO 101043073 FOR INSPECTIONS
138 | 17314270170000 | B200424981 | 5/9/2025 |  |  |  |  | 38198 |  | 3841 S HONORE ST |  | CHICAGO, IL |  | AUYEUNG RAY | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: STEEP (>5:12). INVERTER OUTPUT: 6.08 KW. ARRAY OUTPUT: 7.2 KW. LOCATION: ROOFTOP - PRINCIPAL STRUCTURE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0735.
139 | 13263100280000 | B200424983 | 6/4/2025 |  |  |  |  | 15000 |  | 2624 N HAMLIN AVE |  | CHICAGO, IL |  | MICHAEL WAX PROPERTIES, LLC | SCOPE: NONSTRUCTURAL INTERIOR DEMOLITION OF KITCHENS AND BATHROOMS, DRYWALL AND PLASTER. ALL OTHER WORK UNDER SPR APPLICATION/PERMIT 101069015. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), BASEMENT AND 1ST FLOOR.
140 | 17211110140000 | B200424984 | 5/8/2025 |  |  |  |  | 991 |  | 701 W MAXWELL ST |  | CHICAGO, IL |  | UNIVERSITY OF IL AT CHICAGO | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: LEVEL 1 OF PARKING GARAGE.
141 | 25214130050000 | B200424985 | 5/14/2025 |  |  |  |  | 4000 |  | 107 W 116TH ST |  | CHICAGO, IL |  | GRADY MILTON | SCOPE: ROOF REPLACEMENT. AREA: 600 SQ. FT. ROOF COVERING: MINERAL - SURFACED ROLL ROOFING. LOCATION: ROOFTOP. IL ROOFING CONTRACTOR LICENSE: 104018149.
142 | 13124000610000 | B200424986 | 5/9/2025 |  |  |  |  | 991 |  | 5158 N LINCOLN AVE |  | CHICAGO, IL |  | WALGREENS CO | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: PARKING LOT.
143 | 14053280330000 | B200424991 | 5/9/2025 |  |  |  |  | 991 |  | 5625 N RIDGE AVE |  | CHICAGO, IL |  | WALGREENS CO | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: PARKING LOT.
144 | 14293180440000 | B200424997 | 5/8/2025 |  |  |  |  | 991 |  | 1520 W FULLERTON AVE |  | CHICAGO, IL |  | WALGREENS CO | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: PARKING LOT.
145 | 13114190060000 | B200424998 | 5/13/2025 |  |  |  |  | 52031 |  | 4931 N BERNARD ST |  | CHICAGO, IL |  | COONEY ERIN | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 20'-0' ' X29'-0' '. GABLE ROOF HEIGHT TO PEAK: 16'-0' '.
146 | 17052120010000 | B200425000 | 5/8/2025 |  |  |  |  | 991 |  | 1550 N KINGSBURY ST |  | CHICAGO, IL |  | WHOLE FOODS | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: PARKING LOT.
147 | 17162120150000 | B200425001 | 5/13/2025 |  |  |  |  | 16486 |  | 140 S DEARBORN ST |  | CHICAGO, IL |  | RIPLEY JESSICA | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL DATA/VIDEO. SPECIFIC LOCATION: SUITE 800. ¦ SPECIAL CONDITION: NO OTHER WORK.
148 | 17314270170000 | B200425003 | 5/9/2025 |  |  |  |  | 1000 |  | 3841 S HONORE ST |  | CHICAGO, IL |  | AUYEUNG RAY | INSTALL SOLAR PANELS ON ROOF OF ACCESSORY BUILDING. ROOF TYPE: STEEP (>5:12). INVERTER OUTPUT: 3.8 KW. ARRAY OUTPUT: 4.5 KW. LOCATION: DETACHED GARAGE ROOF. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0735.
149 | 17333000340000 | B200425005 | 5/8/2025 |  |  |  |  | 31000 |  | 3522 S EMERALD AVE |  | CHICAGO, IL |  | CAMPA ANTONIO | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 24'-0' ' X19'-0' '. GABLE ROOF HEIGHT TO PEAK: 13'-0' '.
150 | 19113000070000 | B200425006 | 5/9/2025 |  |  |  |  | 45739 |  | 5119 S PULASKI RD |  | CHICAGO, IL |  | PF MIDWAY LLC | REPAIR/REPLACEMENT AFFECTING 1 SYSTEMS : 3 ROOFTOP PACKAGED UNIT(CARRIER 48FEEM07A2M5-3A1F0, ROOFTOP) 1 ROOFTOP PACKAGED UNIT(CARRIER 48FEEA06A2M5-3A1F0, ROOFTOP) 2 ROOFTOP PACKAGED UNIT(CARRIER 48FEEM08A2M5-3A1F0, ROOFTOP) 1 ROOFTOP PACKAGED UNIT(CARRIER 48FEEA04A2M5-3A1F0, ROOFTOP) . ELECTRICAL WORK UNDER THIS PERMIT = NO . LOCATIONS: 0 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), EXTERIOR WORK, ROOFTOP. ¦ SPECIAL CONDITION: CONTACT REFRIGERATION SUPERVISOR CLEMENT GAVIN 312-743-3562, PRIOR TO THE INSTALLATION OF ANY ROOFTOP EQUIPMENT, TO SCHEDULE AN INSPECTION.
151 | 13171210090000 | B200425007 | 6/12/2025 |  |  |  |  | 31435 |  | 4427 N MOODY AVE |  | CHICAGO, IL |  | AZAMATOV DANYSHMAN | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: STEEP (>5:12). INVERTER OUTPUT: 7.6 KW. ARRAY OUTPUT: 9 KW. LOCATION: ROOFTOP - PRINCIPAL STRUCTURE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0735.
152 | 16044190360000 | B200425008 | 5/12/2025 |  |  |  |  | 8892 |  | 4920 W WALTON ST |  | CHICAGO, IL |  | MURPHY MICHAEL | INSTALL SOLAR PANELS ON ROOF OF ACCESSORY BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 3.6 KW. ARRAY OUTPUT: 4.86 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF OF GARAGE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817. ¦ SPECIAL CONDITION: INSPECTION OF UNDERGROUND RACEWAYS REQUIRED PRIOR TO BACKFILL.
153 | 16044190360000 | B200425009 | 5/8/2025 |  |  |  |  | 1500 |  | 4920 W WALTON ST |  | CHICAGO, IL |  | MURPHY MICHAEL | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 17 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. 13.5 KWH LITHIUM ION ENERGY STORAGE SYSTEM. SPECIFIC LOCATION: BASEMENT AND GARAGE.
154 | 10363140080000 | B200425010 | 5/11/2025 |  |  |  |  | 29500 |  | 6531 N ALBANY AVE |  | CHICAGO, IL |  | PLAMINEK KARPOLA HELENA | PURPOSE: NEW/REPLACEMENT INSTALLATION. VINYL/PVC FENCE - 6'-0' ' (HEIGHT) X 230'-0' ' (LENGTH). LOCATION: BACK YARD.
155 | 20213010320000 | B200425011 | 5/10/2025 |  |  |  |  | 100 |  | 6718 S UNION AVE |  | CHICAGO, IL |  | LUCIEN CLEO | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: BASEMENT.
156 | 13083060270000 | B200425013 | 5/13/2025 |  |  |  |  | 1080186 |  | 5146 N MULLIGAN AVE |  | CHICAGO, IL |  | RIZZO PHILLIP | LINE VOLTAGE ELECTRICAL WORK. INSTALL PERMANENT-NOT REQUIRED BY CODE 22 KW OTHER GENERATOR. RECEPTACLE OUTLETS: 0 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: BACKYARD.
157 | 16082090270000 | B200425017 | 5/12/2025 |  |  |  |  | 2500 |  | 5815 W HURON ST |  | CHICAGO, IL |  | ARIAS ANA | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: OUTSIDE IN THE BACK OF THE PROPERTY..
158 | 13251170080000 | B200425026 | 5/9/2025 |  |  |  |  | 5000 |  | 2839 W NELSON ST |  | CHICAGO, IL |  | ZUNIGA GUSTAVO | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 100 SQ. FT., LINTEL QTY. 1, MAX. LENGTH 4. LOCATION: BASEMENT, FRONT FACADE ENTRANCE, AND REAR GARAGE.
159 | 13131270260000 | B200425027 | 5/9/2025 |  |  |  |  | 5000 |  | 4414 N WHIPPLE ST |  | CHICAGO, IL |  | SEFEROVIC ESMA | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 800 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 5 . LIGHTING OUTLETS: 5. SPECIFIC LOCATION: UPGRADE SERVICE TO THE BUILDING.
160 | 24132160210000 | B200425028 | 5/8/2025 |  |  |  |  | 19035 |  | 10422 S ARTESIAN AVE |  | CHICAGO, IL |  | POWELL TIMOTHY | SCOPE: ROOF REPLACEMENT. AREA: 2700 SQ. FT. ROOF COVERING: ASPHALT SHINGLES. LOCATION: ROOFING. IL ROOFING CONTRACTOR LICENSE: 104017552.
161 | 20021070240000 | B200425032 | 7/17/2025 |  |  |  |  | 23000 |  | 4030 S LAKE PARK AVE |  | CHICAGO, IL |  | CHICAGO HOUSING AUTHORITY | REPLACE AND EXTEND FENCING AT UNOCCUPIABLE ROOF. LOCATIONS: 0 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), EXTERIOR WORK, ROOF RAILING.
162 | 11312010430000 | B200425039 | 5/9/2025 |  |  |  |  | 4500 |  | 7124 N CLARK ST |  | CHICAGO, IL |  | 5301 W. OGDEN LLC | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 25 . LIGHTING OUTLETS: 20. SPECIFIC LOCATION: BASEMENT, 1ST FLOOR AND 2ND FLOOR.
163 | 20314070450000 | B200425046 | 5/19/2025 |  |  |  |  | 2500 |  | 8430 S WINCHESTER AVE |  | CHICAGO, IL |  | PERKINS BEVERLY | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 28 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: ELECTRICAL.
164 | 14074080770000 | B200425067 | 5/9/2025 |  |  |  |  | 16000 |  | 5116 N ASHLAND AVE |  | CHICAGO, IL |  | WILLARD ALEX | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 40 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: BASEMENT.
165 | 20294040010000 | B200425070 | 5/16/2025 |  |  |  |  | 100 |  | 7501 S MORGAN ST |  | CHICAGO, IL |  | COLLINS YANCY | SCOPE: NONSTRUCTURAL INTERIOR WORK: REPLACE DRYWALL. REPLACE PLUMBING FIXTURES AND ASSOCIATED PIPING. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 1ST FLOOR KITCHEN AND BATHROOM. ¦ SPECIAL CONDITION: ELECTRICAL UNDER SEPARATE PERMIT. NO CHANGES TO EXISTING LAYOUT. NO MECHANICAL WORK
166 | 11291030200000 | B200425072 | 6/18/2025 |  |  |  |  | 20000 |  | 7700 N EASTLAKE TER |  | CHICAGO, IL |  | BECOVIC MGMT. CO. | SCOPE: NONSTRUCTURAL INTERIOR WORK: NONSTRUCTURAL INTERIOR REMODEL OF KITCHEN AND BATHROOM. PATCH DRYWALL THROUGHOUT. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 1ST FLOOR UNIT 1. ¦ SPECIAL CONDITION: NO ELECTRICAL WORK UNDER THIS PERMIT
167 | 14072050220000 | B200425076 | 5/9/2025 |  |  |  |  | 6900 |  | 1628 W CATALPA AVE |  | CHICAGO, IL |  | LANGE ROSS | PURPOSE: NEW/REPLACEMENT INSTALLATION. VINYL/PVC FENCE - 6'-0' ' (HEIGHT) X 62'-0' ' (LENGTH). LOCATION: FENCE REPLACEMENT.
168 | 17093120040000 | B200425079 | 5/12/2025 |  |  |  |  | 50000 |  | 224 N DESPLAINES ST |  | CHICAGO, IL |  | ZAJAC MACY | REPAIR/REPLACEMENT AFFECTING 1 SYSTEMS : 2 ROOFTOP PACKAGED UNIT(CARRIER) . ELECTRICAL WORK UNDER THIS PERMIT = NO . LOCATIONS: 0 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), EXTERIOR WORK, ROOFTOP. ¦ SPECIAL CONDITION: CONTACT REFRIGERATION SUPERVISOR CLEMENT GAVIN 312-743-3562, PRIOR TO THE INSTALLATION OF ANY ROOFTOP EQUIPMENT, TO SCHEDULE AN INSPECTION.
169 | 20021250120000 | B200425080 | 7/17/2025 |  |  |  |  | 32800 |  | 4227 S OAKENWALD AVE |  | CHICAGO, IL |  | CHICAGO HOUSING AUTHORITY | REPLACE AND EXTEND ROOFOP FENCING AT UNOCCUPIABLE ROOF OF BUILDING. LOCATIONS: 0 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), EXTERIOR WORK, FENCING EXTENSION
170 | 25204130250000 | B200425081 | 5/12/2025 |  |  |  |  | 15300 |  | 11719 S RACINE AVE |  | CHICAGO, IL |  | BRITO EZEQUIEL | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 10.2 KW. ARRAY OUTPUT: 10.2 KW. LOCATION: THE ROOF. ICC DISTRIBUTED GENERATION INSTALLER CERT. #22-0420.
171 | 20101200210000 | B200425082 | 5/12/2025 |  |  |  |  | 3500 |  | 104 E 51ST ST |  | CHICAGO, IL |  | LUNA LLENA GROUP LLC | IN-KIND REPLACEMENT OF EXTERIOR WINDOWS AND DOORS IN EXISTING OPENINGS. REPLACEMENT WINDOWS: 3; REPLACEMENT SKYLIGHTS: 0; REPLACEMENT DOORS: 1. AFFECTS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), LOCATION: REPAIR OF BROKEN ALUMINUM FRAME GLASS STORE FRONT.
172 | 13194010300000 | B200425084 | 5/13/2025 |  |  |  |  | 22800 |  | 3528 N NORMANDY AVE |  | CHICAGO, IL |  | CIBRIAN RAM | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 22'-0' ' X20'-0' '. HIP ROOF HEIGHT TO PEAK: 14'-0' '.
173 | 19241310320000 | B200425087 | 5/13/2025 |  |  |  |  | 2000 |  | 2822 W MARQUETTE RD |  | CHICAGO, IL |  | FIERRO JESUS | REPAIR OR IN-KIND REPLACEMENT OF 0 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. INCLUDES REPAIR OR REPLACMENT OF PLUMBING PIPING. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 1 INTERIOR COMMON AREAS, BASEMENT.
174 | 16021300310000 | B200425088 | 5/19/2025 |  |  |  |  | 13747 |  | 1203 N HAMLIN AVE |  | CHICAGO, IL |  | SOPITAN OLANIYI | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 4.06 KW. ARRAY OUTPUT: 0.00574 KW. LOCATION: ROOF SOLAR. ICC DISTRIBUTED GENERATION INSTALLER CERT. #23-0387.
175 | 20311030610000 | B200425090 | 5/9/2025 |  |  |  |  | 28700 |  | 2019 W 79TH ST |  | CHICAGO, IL |  | FAMILY DOLLAR | REPAIR/REPLACEMENT AFFECTING 1 SYSTEMS : 2 ROOFTOP PACKAGED UNIT(YORK, KL18S3CP211AAN81A1, ROOFTOP) 1 ROOFTOP PACKAGED UNIT(YORK, KE072H12B2AAAAA1A1, ROOFTOP) . ELECTRICAL WORK UNDER THIS PERMIT = NO . LOCATIONS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), EXTERIOR WORK, ROOFTOP. ¦ SPECIAL CONDITION: CONTACT REFRIGERATION SUPERVISOR CLEMENT GAVIN 312-743-3562, PRIOR TO THE INSTALLATION OF ANY ROOFTOP EQUIPMENT, TO SCHEDULE AN INSPECTION.
176 | 25093310130000 | B200425093 | 5/20/2025 |  |  |  |  | 150 |  | 10248 S EGGLESTON AVE |  | CHICAGO, IL |  | WOLFE CYNTHIA | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL SECURITY. SPECIFIC LOCATION: ELECTRICAL ROOM.
177 | 13304100170000 | B200425096 | 5/13/2025 |  |  |  |  | 40880 |  | 6460 W FULLERTON AVE |  | CHICAGO, IL |  | WALGREEN CO | REPAIR/REPLACEMENT AFFECTING 1 SYSTEMS : 2 ROOFTOP PACKAGED UNIT(CARRIER, 8FEEM12A2M5-3A1F0, ROOFTOP) 1 ROOFTOP PACKAGED UNIT(CARRIER, 48FEEM08A2M5-3A1F0, ROOFTOP) 1 ROOFTOP PACKAGED UNIT(CARRIER, 48FEEA06A2M5-3A1F0, ROOFTOP) 2 ROOFTOP PACKAGED UNIT(CARRIER, 48FEEA04A2M5-3A1F0, ROOFTOP) . ELECTRICAL WORK UNDER THIS PERMIT = NO . LOCATIONS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), EXTERIOR WORK, ROOFTOP. ¦ SPECIAL CONDITION: CONTACT REFRIGERATION SUPERVISOR CLEMENT GAVIN 312-743-3562, PRIOR TO THE INSTALLATION OF ANY ROOFTOP EQUIPMENT, TO SCHEDULE AN INSPECTION.
178 | 11291100070000 | B200425098 | 5/28/2025 |  |  |  |  | 107500 |  | 7601 N EASTLAKE TER |  | CHICAGO, IL |  | JUNAID ALI | SCOPE: ROOF RECOVER. AREA: 6500 SQ. FT. ROOF COVERING: OTHER. LOCATION: MAIN ROOF. IL ROOFING CONTRACTOR LICENSE: 104.01974.
179 | 13053160060000 | B200425100 | 5/9/2025 |  |  |  |  | 265100 |  | 6020 W ARDMORE AVE |  | CHICAGO, IL |  | CATHOLIC BISHOP OF CHICAGO | SCOPE: ROOF REPLACEMENT. AREA: 800 SQ. FT. ROOF COVERING: BUILT-UP ROOF. LOCATION: FLAT ROOF. IL ROOFING CONTRACTOR LICENSE: 104000134.
180 | 13053160060000 | B200425103 | 5/9/2025 |  |  |  |  | 145450 |  | 6020 W ARDMORE AVE |  | CHICAGO, IL |  | CATHOLIC BISHOP OF CHICAGO | SCOPE: ROOF REPLACEMENT. AREA: 1300 SQ. FT. ROOF COVERING: BUILT-UP ROOF. LOCATION: FLAT ROOF. IL ROOFING CONTRACTOR LICENSE: 104000134.
181 | 17044150150000 | B200425107 | 5/15/2025 |  |  |  |  | 205000 |  | 1044 N ORLEANS ST |  | CHICAGO, IL |  | CITY OF CHICAGO DEPARTMENT OF FLEET MGMT | SCOPE: ROOF REPLACEMENT. AREA: 5700 SQ. FT. ROOF COVERING: OTHER. LOCATION: ROOF TOP. IL ROOFING CONTRACTOR LICENSE: 104014585.
182 | 14281040610000 | B200425116 | 5/9/2025 |  |  |  |  | 7500 |  | 722 W BARRY AVE |  | CHICAGO, IL |  | HORIZON REALTY GROUP | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 500 SQ. FT., LINTEL QTY. 6, MAX. LENGTH 5. LOCATION: EAST AND SOUTH COUT YARD.
183 | 17294040450000 | B200425119 | 5/9/2025 |  |  |  |  | 5000 |  | 2535 S MARY ST |  | CHICAGO, IL |  | SOTO JUAN | SCOPE: ROOF REPLACEMENT. AREA: 1000 SQ. FT. ROOF COVERING: ASPHALT SHINGLES. LOCATION: ROOFTOP. IL ROOFING CONTRACTOR LICENSE: 104018973.
184 | 17064280010000 | B200425134 | 5/16/2025 |  |  |  |  | 1400000 |  | 936 N ASHLAND AVE |  | CHICAGO, IL |  | CHICAGO PUBLIC SCHOOLS | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL OTHER. SPECIFIC LOCATION: ENTIRE BUILDING.
185 | 13221230290000 | B200425137 | 5/21/2025 |  |  |  |  | 5000 |  | 4738 W ADDISON ST |  | CHICAGO, IL |  | ADDISON CLIFF LLC | PURPOSE: NEW/REPLACEMENT INSTALLATION. WOOD FENCE - 6'-0' ' (HEIGHT) X 120'-0' ' (LENGTH). LOCATION: FENCE.
186 | 20332030310000 | B200425138 | 5/16/2025 |  |  |  |  | 11721 |  | 7942 S WENTWORTH AVE |  | CHICAGO, IL |  | TCHAPTCHET SYLVAIN | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 4.55 KW. ARRAY OUTPUT: 5.95 KW. LOCATION: ROOF OF PRINCIPAL BUILDING. ICC DISTRIBUTED GENERATION INSTALLER CERT. #24-0450.
187 | 19013130110000 | B200425139 | 5/19/2025 |  |  |  |  | 19000 |  | 4431 S SACRAMENTO AVE |  | CHICAGO, IL |  | VILLASENOR-VILLEGAS ESPERANZA | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: STEEP (>5:12). INVERTER OUTPUT: 5.8 KW. ARRAY OUTPUT: 8.5 KW. LOCATION: ROOFTOP AND EXTERIOR WALLS. ICC DISTRIBUTED GENERATION INSTALLER CERT. #25-0072.
188 | 13271160190000 | B200425144 | 5/9/2025 |  |  |  |  | 4000 |  | 2905 N KEATING AVE |  | CHICAGO, IL |  | GROH ROBIN | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 35 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: CHIMNEY, FRONT AND SIDE ELEVATIONS.
189 | 25054120470000 | B200425146 | 5/9/2025 |  |  |  |  | 4000 |  | 9260 S HALSTED ST |  | CHICAGO, IL |  | TOLLIVER DEON | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 30 CIRCUITS. RECEPTACLE OUTLETS: 0 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: REAR EXTERIOR, LAUNDRY AREA.
190 | 13053160060000 | B200425147 | 5/12/2025 |  |  |  |  | 480250 |  | 6040 W ARDMORE AVE |  | CHICAGO, IL |  | CATHOLIC BISHOP OF CHICAGO | SCOPE: ROOF REPLACEMENT. AREA: 13100 SQ. FT. ROOF COVERING: BUILT-UP ROOF. LOCATION: 3 ROOFS. IL ROOFING CONTRACTOR LICENSE: 104000134.
191 | 13271160190000 | B200425149 | 5/9/2025 |  |  |  |  | 2700 |  | 2905 N KEATING AVE |  | CHICAGO, IL |  | GROH ROBIN | IN-KIND REPLACEMENT OF EXTERIOR WINDOWS AND DOORS IN EXISTING OPENINGS. REPLACEMENT WINDOWS: 0; REPLACEMENT SKYLIGHTS: 0; REPLACEMENT DOORS: 2. AFFECTS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), LOCATION: REAR DOORS.
192 | 14204170080000 | B200425150 | 5/19/2025 |  |  |  |  | 2000 |  | 3339 N KENMORE AVE |  | CHICAGO, IL |  | CONNOLLY REIF ANNA | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 180 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. CONCRETE MASONRY REPAIR / REPLACEMNT: 50SQ. FT., EXCAVATION = NO. LOCATION: REAR COACH HOUSE EXTERIOR WORK.
193 | 17032070540000 | B200425151 | 5/20/2025 |  |  |  |  | 5300 |  | 103 E OAK ST |  | CHICAGO, IL |  | CHICAGO ESTATE, INC. | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL SECURITY. SPECIFIC LOCATION: ELECTRICAL ROOM.
194 | 20153080160000 | B200425152 | 5/14/2025 |  |  |  |  | 40000 |  | 110 E 61ST ST |  | CHICAGO, IL |  | T-MOBILE | ALTERATION OF EXISTING COMMUNICATION EQUIPMENT. ALTERATION OF 0 BOXES AND EQUIPMENT ON 1 TOWERS / STRUCTURES. LOCATION: MOD TO EXISTING ANTENNA SITE ON ROOFTOP PER PLANS.
195 | 14334200240000 | B200425156 | 6/4/2025 |  |  |  |  | 3500 |  | 336 W CONCORD PL |  | CHICAGO, IL |  | CHO YOUNG WOO | PURPOSE: NEW/REPLACEMENT INSTALLATION. WOOD FENCE - 6'-0' ' (HEIGHT) X 18'-0' ' (LENGTH). WROUGHT IRON FENCE - 6'-0' ' (HEIGHT) X 18'-0' ' (LENGTH). LOCATION: NORTH & EAST SIDE. ¦ SPECIAL CONDITION: APPROVED PER ATTACHMENTS RECEIVED 6/3/25: NEW FENCE AT REAR (NORTH AND EAST) OF PROPERTY ONLY WITH THIS PERMIT.
196 | 24232150870000 | B200425158 | 5/13/2025 |  |  |  |  | 5000 |  | 11432 S SPAULDING AVE |  | CHICAGO, IL |  | JORITZ DONNA | PURPOSE: NEW/REPLACEMENT INSTALLATION. WOOD FENCE - 6'-0' ' (HEIGHT) X 172'-0' ' (LENGTH). LOCATION: PROPERTY LINE.
197 | 25283180760000 | B200425159 | 5/16/2025 |  |  |  |  | 9350 |  | 12527 S UNION AVE |  | CHICAGO, IL |  | ALEXANDER JULRENE | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: STEEP (>5:12). INVERTER OUTPUT: 3.19 KW. ARRAY OUTPUT: 4.675 KW. LOCATION: ROOF AND EXTERIOR WALL OF HOUSE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #25-0072.
198 | 24234040610000 | B200425161 | 5/9/2025 |  |  |  |  | 5000 |  | 3518 W 116TH PL |  | CHICAGO, IL |  | WARD ROSS | PURPOSE: NEW/REPLACEMENT INSTALLATION. WOOD FENCE - 6'-0' ' (HEIGHT) X 91'-1' ' (LENGTH). LOCATION: FENCE.
199 | 13314110140000 | B200425166 | 5/16/2025 |  |  |  |  | 13243 |  | 1719 N OAK PARK AVE |  | CHICAGO, IL |  | KOEHLER BRIAN | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 5.4 KW. ARRAY OUTPUT: 6.97 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817.
200 | 13314110140000 | B200425167 | 5/9/2025 |  |  |  |  | 1500 |  | 1719 N OAK PARK AVE |  | CHICAGO, IL |  | KOEHLER BRIAN | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 18 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. 13.5 KWH LITHIUM ION ENERGY STORAGE SYSTEM. SPECIFIC LOCATION: BASEMENT AND NORTH SIDE OF HOME.