## Sheet1
# [LLINE] | PIN* [PARID] | Local Permit No.* [USER28] | Issue Date* [PERMDT] | Desc 1* [DESC1] | Desc 2 Code 1 [USER6] | Desc 2 Code 2 [USER7] | Desc 2 Code 3 [USER8] | Amount* [AMOUNT] | Assessable [IS_ASSESS] | Applicant Street Address* [ADDR1] | Applicant Address 2 [ADDR2] | Applicant City, State, Zip* [ADDR3] | Contact Phone* [PHONE] | Applicant* [USER21] | Notes [NOTE1] | Occupy Dt [UDATE1] | Submit Dt* [CERTDATE] | Est Comp Dt [UDATE2] | user21
1 | 13232120160000 | B200429196 | 6/9/2025 |  |  |  |  | 2500 |  | 3807 N BERNARD ST |  | CHICAGO, IL |  | THURM CHARLES | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 0 . LIGHTING OUTLETS: 6. SPECIFIC LOCATION: COMMERCIAL SPACE.
2 | 17032160050000 | B200429197 | 6/16/2025 |  |  |  |  | 113950 |  | 25 E DELAWARE PL |  | CHICAGO, IL |  | DELAWARE II LLC | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 1720 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: NORTH ELEVATION.
3 | 13174290280000 | B200429199 | 6/9/2025 |  |  |  |  | 24950 |  | 4216 N PARKSIDE AVE |  | CHICAGO, IL |  | GAVER NATHAN | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 22'-0' ' X24'-0' '. HIP ROOF HEIGHT TO PEAK: 14'-0' '.
4 | 13103220310000 | B200429204 | 6/10/2025 |  |  |  |  | 23696 |  | 4928 N KOSTNER AVE |  | CHICAGO, IL |  | GINA NAGA MARIA | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 11.5 KW. ARRAY OUTPUT: 9.84 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES OF PRINCIPAL STRUCTURE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * REFER TO ELECTRICAL PERMIT B200428972. * ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
5 | 17162090120000 | B200429205 | 6/10/2025 |  |  |  |  | 60000 |  | 125 S FRANKLIN ST |  | CHICAGO, IL |  | TITAN ELECTRIC LLC | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL DATA/VIDEO. SPECIFIC LOCATION: 12TH FLOOR.
6 | 17293120040000 | B200429206 | 6/11/2025 |  |  |  |  | 15000 |  | 2816 S SHORT ST |  | CHICAGO, IL |  | CASTRO RUDOLPHO | FULL REBUILD (SAME AS EXISTING) FOR WOOD PORCH (OPEN) (QUANTITY: 1, LOCATION: REAR OF BUILDING).
7 | 25032100200000 | B200429209 | 6/10/2025 |  |  |  |  | 750 |  | 651 E 88TH ST |  | CHICAGO, IL |  | ST MARK LUTHERAN CHURCH | LIMITED REPAIR (25% OR LESS) FOR WOOD PORCH (OPEN) (QUANTITY: 1, LOCATION: REAR OF BUILDING).
8 | 14183090100000 | B200429211 | 6/9/2025 |  |  |  |  | 2035 |  | 2343 W CULLOM AVE |  | CHICAGO, IL |  | KARAGODIN ILYA | LINE VOLTAGE ELECTRICAL WORK. ADD 1 CIRCUITS TO EXISTING 200 AMP SERVICE DISCONNECTING MEANS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. ELECTRIC VEHICLE SUPPLY EQUIPMENT:1 SPACES. SPECIFIC LOCATION: DETACHED GARAGE, MAIN SERVICE PANEL IN BASEMENT.
9 | 20181030110000 | B200429214 | 6/12/2025 |  |  |  |  | 1100 |  | 5540 S HAMILTON AVE |  | CHICAGO, IL |  | JOHNSON QUINCY | REPAIR OR IN-KIND REPLACEMENT OF 0 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. REPAIR OR IN-KIND REPLACEMENT OF HOT WATER HEATER(S). INCLUDES REPAIR OR REPLACMENT OF PLUMBING PIPING. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), EXTERIOR WORK, BASEMENT.
10 | 20294070150000 | B200429215 | 6/10/2025 |  |  |  |  | 14348 |  | 7545 S GREEN ST |  | CHICAGO, IL |  | PARKER HOLLY | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 11.5 KW. ARRAY OUTPUT: 4.92 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES OF PRINCIPAL STRUCTURE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * REFER TO ELECTRICAL PERMIT B200428960.* ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
11 | 20181030110000 | B200429217 | 6/12/2025 |  |  |  |  | 5000 |  | 5540 S HAMILTON AVE |  | CHICAGO, IL |  | JOHNSON QUINCY | REPAIR/REPLACEMENT AFFECTING 2 SYSTEMS : 1 OTHER AIR HANDLING EQUIPMENT(MITSUBISHI SVZ-AP36NL IN BASEMENT) 1 OTHER COOLING EQUIPMENT(MITSUBISHI SUZ-AK36NLHZ, BACKYARD) . ELECTRICAL WORK UNDER THIS PERMIT = NO . LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), EXTERIOR WORK, BASEMENT AND BACKYARD.
12 | 20174060140000 | B200429220 | 6/16/2025 |  |  |  |  | 7000 |  | 5937 S PEORIA ST |  | CHICAGO, IL |  | LEWIS GEORGE | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 300 AMP SERVICE DISCONNECTING MEANS WITH 36 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: BASEMENT, 1ST, 2ND FLOOR.
13 | 16141050170000 | B200429223 | 6/11/2025 |  |  |  |  | 1200 |  | 3846 W ADAMS ST |  | CHICAGO, IL |  | WASINSKI DANIEL | REPAIR OR IN-KIND REPLACEMENT OF 0 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. INCLUDES REPAIR OR REPLACMENT OF PLUMBING PIPING. LOCATIONS: 0 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), EXTERIOR WORK, EXTERIOR, AROUND THE BUILDING.
14 | 20181030110000 | B200429224 | 6/12/2025 |  |  |  |  | 10000 |  | 5540 S HAMILTON AVE |  | CHICAGO, IL |  | JOHNSON QUINCY | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 6 CIRCUITS. RECEPTACLE OUTLETS: 6 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: BASEMENT AND BACKYARD.
15 | 13222110140000 | B200429227 | 6/18/2025 |  |  |  |  | 2500 |  | 3846 N KEDVALE AVE |  | CHICAGO, IL |  | 3846 KEDVALE LLC | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 400 AMP SERVICE DISCONNECTING MEANS WITH 42 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: REAR OF HOUSE, ELECTRICAL SERVICE LOCATION.
16 | 25152240300000 | B200429228 | 6/13/2025 |  |  |  |  | 1100 |  | 10642 S EBERHART AVE |  | CHICAGO, IL |  | CRAIG GINA | REPAIR OR IN-KIND REPLACEMENT OF 0 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. REPAIR OR IN-KIND REPLACEMENT OF HOT WATER HEATER(S). LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), BASEMENT.
17 | 19084080700000 | B200429229 | 6/10/2025 |  |  |  |  | 33100 |  | 5249 S AUSTIN AVE |  | CHICAGO, IL |  | BELMONTES MARCO | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 24'-0' ' X20'-0' '. GABLE ROOF HEIGHT TO PEAK: 14'-0' '.
18 | 19153240410000 | B200429230 | 6/10/2025 |  |  |  |  | 32875 |  | 6203 S KILPATRICK AVE |  | CHICAGO, IL |  | ORTEGA ARTURO | REPAIR/REPLACEMENT AFFECTING 1 SYSTEMS : 1 BOILER - HOT WATER(CGA-5 WEIL MCLAIN) . ELECTRICAL WORK UNDER THIS PERMIT = NO . LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), SINGLE FAMILY-BASEMENT.
19 | 16161150650000 | B200429232 | 6/17/2025 |  |  |  |  | 2400 |  | 5323 W GLADYS AVE |  | CHICAGO, IL |  | STARGATE INVESTMENTS LLC STARGATE INVESTMENTS LLC | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 4. SPECIFIC LOCATION: 1ST AND 2ND FLOOR.
20 | 25152240300000 | B200429236 | 6/13/2025 |  |  |  |  | 8500 |  | 10642 S EBERHART AVE |  | CHICAGO, IL |  | CRAIG GINA | REPAIR/REPLACEMENT AFFECTING 2 SYSTEMS : 1 OTHER AIR HANDLING EQUIPMENT(MITSUBISHI SVZ-AP30NL, BASEMENT) 1 OTHER COOLING EQUIPMENT(MITSUBISHI MXZ-SM48NLHZ, BACKYARD) . ELECTRICAL WORK UNDER THIS PERMIT = NO . LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), EXTERIOR WORK, BASEMENT AND BACKYARD.
21 | 25201230350000 | B200429238 | 6/9/2025 |  |  |  |  | 7550 |  | 11408 S THROOP ST |  | CHICAGO, IL |  | RUSSELL MICHAEL | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 125 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. 13.5 KWH LITHIUM ION ENERGY STORAGE SYSTEM. SPECIFIC LOCATION: MAIN PANEL, EXTERIOR WALL.
22 | 13142230200000 | B200429245 | 8/20/2025 |  |  |  |  | 15000 |  | 4442 N BERNARD ST |  | CHICAGO, IL |  | BUI LINH | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 25'-0' ' X24'-0' '. GABLE ROOF HEIGHT TO PEAK: 15'-0' '.
23 | 25152240300000 | B200429250 | 6/13/2025 |  |  |  |  | 11000 |  | 10642 S EBERHART AVE |  | CHICAGO, IL |  | CRAIG GINA | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 11 CIRCUITS. RECEPTACLE OUTLETS: 11 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: BASEMENT, BACK OF HOUSE.
24 | 13301160040000 | B200429253 | 6/18/2025 |  |  |  |  | 15000 |  | 3043 N NEW ENGLAND AVE |  | CHICAGO, IL |  | ROWELLS TIFFANY | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 19'-0' ' X21'-0' '. HIP ROOF HEIGHT TO PEAK: 15'-0' '.
25 | 19361050300000 | B200429260 | 6/10/2025 |  |  |  |  | 26812 |  | 7930 S FRANCISCO AVE |  | CHICAGO, IL |  | GIBBS RENIER | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 11.5 KW. ARRAY OUTPUT: 11.48 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES OF PRINCIPAL STRUCTURE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817. ¦ SPECIAL CONDITION: * PROPERLY SIZE CONDUCTORS TO FEED ELECTRICAL PANEL ON ELECTRICAL DRAWING.* REFER TO ELECTRICAL PERMIT B200428984.* ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE. * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018.
26 | 13091150170000 | B200429264 | 6/20/2025 |  |  |  |  | 2084 |  | 5309 N LYNCH AVE |  | CHICAGO, IL |  | AUGER JEANNE | PURPOSE: NEW/REPLACEMENT INSTALLATION. WOOD FENCE - 6'-0' ' (HEIGHT) X 6'-0' ' (LENGTH). LOCATION: REAR OF THE PROPERTY.
27 | 25012200090000 | B200429268 | 6/12/2025 |  |  |  |  | 7000 |  | 8925 S PAXTON AVE |  | CHICAGO, IL |  | HINKLE IRIS HOUSTON | PURPOSE: NEW/REPLACEMENT INSTALLATION. VINYL/PVC FENCE - 6'-0' ' (HEIGHT) X 115'-8' ' (LENGTH). LOCATION: IN THE REAR.
28 | 19134300290000 | B200429269 | 6/18/2025 |  |  |  |  | 10000 |  | 2444 W 63RD ST |  | CHICAGO, IL |  | LOZANO DANNY | LINE VOLTAGE ELECTRICAL WORK. INSTALL SYSTEM III EMERGENCY LIGHTING. RECEPTACLE OUTLETS: 0 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: BASEMENT, (8) APARTMENTS.
29 | 16233210330000 | B200429271 | 6/16/2025 |  |  |  |  | 500 |  | 1940 S RIDGEWAY AVE |  | CHICAGO, IL |  | URQUIA JORGE | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 3 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: SERVICE RISER. ADDING PUBLIC METER AND PANEL.
30 | 19012030110000 | B200429282 | 6/11/2025 |  |  |  |  | 80000 |  | 2545 W 39TH PL |  | CHICAGO, IL |  | MENDOZA MARIA & APOLINAIR | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 40 CIRCUITS. RECEPTACLE OUTLETS: 60 . LIGHTING OUTLETS: 90. SPECIFIC LOCATION: PUBLIC AREA, GARAGE, RESIDENTIAL UNITS (R).
31 | 13264190290000 | B200429283 | 6/9/2025 |  |  |  |  | 22000 |  | 2504 N KIMBALL AVE |  | CHICAGO, IL |  | LAWRENCE STAN | SCOPE: ROOF REPLACEMENT. AREA: 2493 SQ. FT. ROOF COVERING: ASPHALT SHINGLES. LOCATION: SHINGLE ROOF REPLACEMENT. IL ROOFING CONTRACTOR LICENSE: 104018211.
32 | 13283310280000 | B200429286 | 6/11/2025 |  |  |  |  | 2500 |  | 5234 W FULLERTON AVE |  | CHICAGO, IL |  | PEREZ MARCOS | LINE VOLTAGE ELECTRICAL WORK. INSTALL SYSTEM III EMERGENCY LIGHTING. RECEPTACLE OUTLETS: 0 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: BAR 1ST FL AND BASEMENT AREA.
33 | 13152360110000 | B200429288 | 6/9/2025 |  |  |  |  | 2000 |  | 4417 N KEOKUK AVE |  | CHICAGO, IL |  | MONTOYA ROBERTO | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 0 . LIGHTING OUTLETS: 6. SPECIFIC LOCATION: BASEMENT, FRONT AND BACK STAIRS.
34 | 16114050770000 | B200429292 | 6/16/2025 |  |  |  |  | 5000 |  | 3234 W FULTON BLVD |  | CHICAGO, IL |  | CORONA ALEJANDRO | LINE VOLTAGE ELECTRICAL WORK. ADD 40 CIRCUITS TO EXISTING 200 AMP SERVICE DISCONNECTING MEANS. RECEPTACLE OUTLETS: 50 . LIGHTING OUTLETS: 100. SPECIFIC LOCATION: FIRST AND SECOND FLOOR UNITS.
35 | 13163180220000 | B200429294 | 6/9/2025 |  |  |  |  | 4000 |  | 5252 W WARNER AVE |  | CHICAGO, IL |  | VEGA ABRAHAM | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: BASEMENT PANEL LOCATION AND METER LOCATION.
36 | 19244110090000 | B200429295 | 6/17/2025 |  |  |  |  | 20967 |  | 6825 S CAMPBELL AVE |  | CHICAGO, IL |  | HERNANDEZ MARIA | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: STEEP (>5:12). INVERTER OUTPUT: 10 KW. ARRAY OUTPUT: 9.775 KW. LOCATION: ROOF OF PRINCIPAL BUILDING. ICC DISTRIBUTED GENERATION INSTALLER CERT. #24-0450. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
37 | 13233320360000 | B200429296 | 6/10/2025 |  |  |  |  | 4500 |  | 3600 W BELMONT AVE |  | CHICAGO, IL |  | 3600 W. BELMONT LLC | REPAIR OR IN-KIND REPLACEMENT OF 1 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. INCLUDES REPAIR OR REPLACMENT OF PLUMBING PIPING. LOCATIONS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), 1 INTERIOR COMMON AREAS, MAIN ROOM.
38 | 19221100260000 | B200429297 | 6/13/2025 |  |  |  |  | 18912 |  | 6420 S KNOX AVE |  | CHICAGO, IL |  | GUILLEN MARIO | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: STEEP (>5:12). INVERTER OUTPUT: 10 KW. ARRAY OUTPUT: 10.625 KW. LOCATION: ROOF OF PRINCIPAL BUILDING. ICC DISTRIBUTED GENERATION INSTALLER CERT. #24-0450. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
39 | 20231190150000 | B200429303 | 6/11/2025 |  |  |  |  | 6500 |  | 6537 S MINERVA AVE |  | CHICAGO, IL |  | VALLOT PIERRE | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 24 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: OUTSIDE METER INSTALLATION AND BASEMENT.
40 | 13162230110000 | B200429304 | 6/12/2025 |  |  |  |  | 39258 |  | 5148 W AGATITE AVE |  | CHICAGO, IL |  | CAZADERO LETICIA | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 11.5 KW. ARRAY OUTPUT: 10.25 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: PV ROOF MOUNTED. ICC DISTRIBUTED GENERATION INSTALLER CERT. #24-0069. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
41 | 16082080150000 | B200429305 | 7/31/2025 |  |  |  |  | 30000 |  | 644 N MAYFIELD AVE |  | CHICAGO, IL |  | LLC MJ CERMAK | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 600 AMP SERVICE DISCONNECTING MEANS WITH 13 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 10. SPECIFIC LOCATION: ALL AREAS WHERE VIOLATIONS ARE PRESENT.
42 | 16044120090000 | B200429306 | 7/6/2025 |  |  |  |  | 28000 |  | 4831 W THOMAS ST |  | CHICAGO, IL |  | MIRANDA FRANCISCO | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 20'-0' ' X28'-0' '. HIP ROOF HEIGHT TO PEAK: 13'-0' '.
43 | 25081020390000 | B200429308 | 6/10/2025 |  |  |  |  | 2500 |  | 9540 S BISHOP ST |  | CHICAGO, IL |  | RAVELO JAVIER | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: BASEMENT AND EXTERIOR.
44 | 20173120150000 | B200429312 | 6/16/2025 |  |  |  |  | 1000 |  | 6041 S LOOMIS BLVD |  | CHICAGO, IL |  | LEUCIUC CALEB | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 20 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: UNITS TO REPLACE OUTLETS.
45 | 10364240020000 | B200429320 | 6/18/2025 |  |  |  |  | 42400 |  | 6449 N CALIFORNIA AVE |  | CHICAGO, IL |  | ARTHUR AND CALIFORNIA CONDOMINIUM ASSOC | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 50 SQ. FT., LINTEL QTY. 29, MAX. LENGTH 11. PARAPET REBUILDING: 24 SQ. FT. LOCATION: REPAIR OF PARAPET WALL, LINTELS REPLACEMENT.
46 | 25141000620000 | B200429321 | 6/27/2025 |  |  |  |  | 49000 |  | 10500 S WOODLAWN AVE |  | CHICAGO, IL |  | AMAZON DLN4 | LINE VOLTAGE ELECTRICAL WORK. NEW TEMPORARY 600 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. NEW TEMPORARY 400 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: BUILDING EXTERIOR NE CORNER.
47 | 13194090380000 | B200429324 | 6/20/2025 |  |  |  |  | 35571 |  | 6704 W ROSCOE ST |  | CHICAGO, IL |  | JACOVINO GABRIELA | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 10 KW. ARRAY OUTPUT: 12.555 KW. INCLUDES 10 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF OF HOUSE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #19-0021. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
48 | 17182010350000 | B200429326 | 6/10/2025 |  |  |  |  | 1000000 |  | 1901 W MADISON ST |  | CHICAGO, IL |  | UNITED CENTER | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL DATA/VIDEO. SPECIFIC LOCATION: ARENA.
49 | 16104000300000 | B200429327 | 6/10/2025 |  |  |  |  | 265000 |  | 4318 W CARROLL AVE |  | CHICAGO, IL |  | PRC REALTY GROUP, LLC | SCOPE: ROOF REPLACEMENT. AREA: 22000 SQ. FT. ROOF COVERING: BUILT-UP ROOF. LOCATION: 60 MIL GAF TPO,2X 2.6'' ISO INS 4318-40 W CARROLL. IL ROOFING CONTRACTOR LICENSE: 104017296.
50 | 14054030270000 | B200429328 | 6/10/2025 |  |  |  |  | 1560 |  | 5833 N SHERIDAN RD |  | CHICAGO, IL |  | KAPITAL ELECTRIC CO., INC | LINE VOLTAGE ELECTRICAL WORK. ADD 1 CIRCUITS TO EXISTING 200 AMP SERVICE DISCONNECTING MEANS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. ELECTRIC VEHICLE SUPPLY EQUIPMENT:1 SPACES. SPECIFIC LOCATION: GARAGE.
51 | 13314040010000 | B200429330 | 6/16/2025 |  |  |  |  | 30400 |  | 1859 N OAK PARK AVE |  | CHICAGO, IL |  | PACHECO JESSICA | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 7.6 KW. ARRAY OUTPUT: 9.02 KW. INCLUDES 9.7 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOFTOP. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-1231. ¦ SPECIAL CONDITION: * PLEASE RESUBMIT ONE LINE AS EXPLAINED TO CODY (BRIGHT PLANET OPERATIONS MANAGER) CONCERNING NOTE ON DRAWING DIRECTING ARROW TO RAPID SHUTDOWN... "NO BACK FEED CAPABILITIES."
52 | 17102080040000 | B200429337 | 7/21/2025 |  |  |  |  | 15000 |  | 441 E ONTARIO ST |  | CHICAGO, IL |  | NORTHWESTERN MEMORIAL HOSPITAL | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: NORTH EXPOSURE ON ONTARIO PLANTER BOX.
53 | 13132030210000 | B200429339 | 6/11/2025 |  |  |  |  | 6000 |  | 4740 N ROCKWELL ST |  | CHICAGO, IL |  | KENSIK MARY | REPAIR OR IN-KIND REPLACEMENT OF 0 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. INCLUDES REPAIR OR REPLACMENT OF PLUMBING PIPING. INCLUDES REPAIR OR REPLACEMENT OF PLUMBING RISERS IN EXISTING CHASES. LOCATIONS: 3 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), 3 INTERIOR COMMON AREAS, BASEMENT, APARTMENTS.
54 | 13114060010000 | B200429342 | 6/11/2025 |  |  |  |  | 300000 |  | 3225 W FOSTER AVE |  | CHICAGO, IL |  | NORTH PARK UNIVERSITY | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 20 . LIGHTING OUTLETS: 12. SPECIFIC LOCATION: 1ST, 2ND AND 3RD FLOORS.
55 | 17101180060000 | B200429343 | 6/12/2025 |  |  |  |  | 40000 |  | 605 N MICHIGAN AVE |  | CHICAGO, IL |  | SEPHORA USA, LLC | LINE VOLTAGE ELECTRICAL WORK. ADD 2 CIRCUITS TO EXISTING 200 AMP SERVICE DISCONNECTING MEANS. RECEPTACLE OUTLETS: 21 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: GROUND FLOOR RETAIL.
56 | 13142060260000 | B200429344 | 6/11/2025 |  |  |  |  | 5000 |  | 4716 N KEDZIE AVE |  | CHICAGO, IL |  | KNA EQUITIES | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 1200 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: EXTERIOR MASONRY TUCKPOINTING.
57 | 13282020180000 | B200429353 | 6/11/2025 |  |  |  |  | 50000 |  | 4911 W BELMONT AVE |  | CHICAGO, IL |  | 2FM DEPARTMENT CITY OF CHICAGO | SCOPE: ROOF REPLACEMENT. AREA: 4900 SQ. FT. ROOF COVERING: OTHER. LOCATION: EXISTING ROOF. IL ROOFING CONTRACTOR LICENSE: 104000206.
58 | 25023020030000 | B200429354 | 6/11/2025 |  |  |  |  | 17464 |  | 9105 S DREXEL AVE |  | CHICAGO, IL |  | CLEMONS JOY | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: STEEP (>5:12). INVERTER OUTPUT: 11.5 KW. ARRAY OUTPUT: 6.56 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES OF PRINCIPAL STRUCTURE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * REFER TO ELECTRICAL PERMIT B200428975.* ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
59 | 13104200220000 | B200429362 | 7/14/2025 |  |  |  |  | 30000 |  | 4926 N PULASKI RD |  | CHICAGO, IL |  | MCCLARY VENTURES LLC | REPAIR/REPLACEMENT AFFECTING 1 SYSTEMS : 2 ROOFTOP PACKAGED UNIT(BRYANT HEATING & COOLING SYSTEMS, 580FPV060115ABGA) . ELECTRICAL WORK UNDER THIS PERMIT = NO . LOCATIONS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), EXTERIOR WORK, REPLACE LIKE FOR LIKE HVAC ON ROOF OF SINGLE STORY. ¦ SPECIAL CONDITION: CONTACT REFRIGERATION SUPERVISOR CLEMENT GAVIN 312-743-3562, PRIOR TO THE INSTALLATION OF ANY ROOFTOP EQUIPMENT, TO SCHEDULE AN INSPECTION.
60 | 20074030050000 | B200429363 | 6/19/2025 |  |  |  |  | 8700 |  | 1815 W 51ST ST |  | CHICAGO, IL |  | CHILA INVESTMENTS GROUP LLC | SCOPE: NONSTRUCTURAL INTERIOR ALTERATION TO PLUMBING FIXTURES AND PIPING, PATCH AND REPAIR DRYWALL, NO CHANGES TO FLOOR PLAN, REFINISH FLOORS, REPLACE TRIM AND INTERIOR DOORS. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 1ST FLOOR. ¦ SPECIAL CONDITION: NO ELECTRICAL OR DUCTWORK WORK INCLUDED.
61 | 20083020140000 | B200429365 | 6/11/2025 |  |  |  |  | 850 |  | 5129 S LAFLIN ST |  | CHICAGO, IL |  | GALINDO PABLO | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: BSAEMENT,ATTIC.
62 | 13063170200000 | B200429367 | 6/12/2025 |  |  |  |  | 18173 |  | 5628 N NOTTINGHAM AVE |  | CHICAGO, IL |  | SOJKA ALICE | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: STEEP (>5:12). INVERTER OUTPUT: 4.18 KW. ARRAY OUTPUT: 4.95 KW. LOCATION: ROOFTOP - PRINCIPAL STRUCTURE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0735. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * PLEASE APPLY FOR ELECTRICAL PERMIT PRIOR TO INSPECTION AND HAVE PRESENT ON DATE OF SOLAR INSPECTION OR RISK FAILURE AS PROPOSED WORK PER ELECTRICAL DRAWING.* ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
63 | 17341090530000 | B200429370 | 6/13/2025 |  |  |  |  | 38280 |  | 3241 S MICHIGAN AVE |  | CHICAGO, IL |  | IL COLLEGE OF OPTOMETRY | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL DATA/VIDEO. SPECIFIC LOCATION: 2ND FLOOR CLINIC.
64 | 17162010040000 | B200429371 | 6/13/2025 |  |  |  |  | 50000 |  | 1 S WACKER DR |  | CHICAGO, IL |  | INVENERGY | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL DATA/VIDEO. SPECIFIC LOCATION: SUITE 1800.
65 | 14201060320000 | B200429373 | 6/10/2025 |  |  |  |  | 100000 |  | 3814 N JANSSEN AVE |  | CHICAGO, IL |  | FRIEDBERG ADAM | IN-KIND REPLACEMENT OF EXTERIOR WINDOWS AND DOORS IN EXISTING OPENINGS. REPLACEMENT WINDOWS: 28; REPLACEMENT SKYLIGHTS: 0; REPLACEMENT DOORS: 9. AFFECTS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), LOCATION: EXTERIOR WINDOWS & DOORS.
66 | 20131040010000 | B200429374 | 6/13/2025 |  |  |  |  | 10000 |  | 6011 S STONY ISLAND AVE |  | CHICAGO, IL |  | THE BARACK OBAMA FNDN | REPAIR OR IN-KIND REPLACEMENT OF 1 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. INCLUDES REPAIR OR REPLACMENT OF PLUMBING PIPING. LOCATIONS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), EXISTING MECHANICAL ROOM.
67 | 20231140280000 | B200429377 | 7/8/2025 |  |  |  |  | 12500 |  | 6520 S INGLESIDE AVE |  | CHICAGO, IL |  | CULLEN DAVIS - CORPORATE OFFICE | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 200 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. CONCRETE MASONRY REPAIR / REPLACEMNT: 200SQ. FT., EXCAVATION = NO. LOCATION: LINTELS.
68 | 17032070360000 | B200429378 | 6/11/2025 |  |  |  |  | 1200 |  | 54 E WALTON ST |  | CHICAGO, IL |  | FRED LATSKO | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL OTHER. SPECIFIC LOCATION: KITH CHICAGO ENTRANCE DOORS.
69 | 20314010560000 | B200429380 | 6/10/2025 |  |  |  |  | 1500 |  | 8300 S WOLCOTT AVE |  | CHICAGO, IL |  | PERKINS DENISE | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: BASEMENT & EXTERIOR.
70 | 25271070140000 | B200429383 | 7/3/2025 |  |  |  |  | 850 |  | 353 E 119TH PL |  | CHICAGO, IL |  | ABDELQADER AKRAM | REPAIR OR IN-KIND REPLACEMENT OF 3 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. INCLUDES REPAIR OR REPLACMENT OF PLUMBING PIPING. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), EXTERIOR WORK, 1ST FL.
71 | 20131040010000 | B200429385 | 6/17/2025 |  |  |  |  | 10000 |  | 6011 S STONY ISLAND AVE |  | CHICAGO, IL |  | THE BARACK OBAMA FNDN | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: EXISTING MECHANICAL ROOM TO WATER FEATURE..
72 | 13062270280000 | B200429386 | 6/11/2025 |  |  |  |  | 2000 |  | 6098 N NAPLES AVE |  | CHICAGO, IL |  | GARCIA JESSE | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: BASEMENT & EXTERIOR.
73 | 20121030190000 | B200429388 | 6/11/2025 |  |  |  |  | 56000 |  | 4940 S CHICAGO BEACH DR |  | CHICAGO, IL |  | CHICAGO TITLE LAND TRUST CO | SCOPE: ROOF REPLACEMENT. AREA: 1200 SQ. FT. ROOF COVERING: OTHER. LOCATION: ROOF AREA. IL ROOFING CONTRACTOR LICENSE: 104.01471.
74 | 20193020090000 | B200429392 | 6/25/2025 |  |  |  |  | 5000 |  | 6715 S OAKLEY AVE |  | CHICAGO, IL |  | PENA JOEL | IN-KIND REPLACEMENT OF EXTERIOR WINDOWS AND DOORS IN EXISTING OPENINGS. REPLACEMENT WINDOWS: 15; REPLACEMENT SKYLIGHTS: 0; REPLACEMENT DOORS: 2. AFFECTS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), LOCATION: WINDOWS.
75 | 25182110160000 | B200429395 | 6/10/2025 |  |  |  |  | 4316 |  | 1634 W 106TH ST |  | CHICAGO, IL |  | VOLK CHRIS & SHIRLEY | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 12 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: BASEMENT, BACK OF HOUSE.
76 | 26083230150000 | B200429398 | 6/11/2025 |  |  |  |  | 2772 |  | 10441 S AVENUE J |  | CHICAGO, IL |  | FABING THOMAS | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: STEEP (>5:12). INVERTER OUTPUT: 0.32 KW. ARRAY OUTPUT: 0.00396 KW. LOCATION: NORTH. ICC DISTRIBUTED GENERATION INSTALLER CERT. #24-0198. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
77 | 14081160340000 | B200429400 | 6/10/2025 |  |  |  |  | 10530 |  | 1424 W SUMMERDALE AVE |  | CHICAGO, IL |  | FLOROS IOANNA | PARAPET REBUILDING: 120 SQ. FT. LOCATION: WEST PARAPET WALL FROM FRONT TO SOUTH CHIMNEY EDGE.
78 | 20193020090000 | B200429402 | 6/25/2025 |  |  |  |  | 1500 |  | 6715 S OAKLEY AVE |  | CHICAGO, IL |  | PENA JOEL | PURPOSE: NEW/REPLACEMENT INSTALLATION. WOOD FENCE - 6'-0' ' (HEIGHT) X 30'-0' ' (LENGTH). LOCATION: EXTERIOR FENCE ALONG ALLEY WAY.
79 | 17151030060000 | B200429410 | 6/24/2025 |  |  |  |  | 925855 |  | 112 S MICHIGAN AVE |  | CHICAGO, IL |  | SCHOOL OF THE ART INSTITUTE | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 300 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. CONCRETE MASONRY REPAIR / REPLACEMNT: 250SQ. FT., EXCAVATION = . LOCATION: EAST AND WEST ELEVATION. ¦ SPECIAL CONDITION: ANY REMOVED MASONRY TO BE SALVAGED AND REINSTALLED WHEN POSSIBLE. ANY NEW MASONRY TO MATCH HISTORIC IN SIZE, COLOR, TEXTURE/FINISH, AND GENERAL APPEARANCE. NEW MORTAR TO MATCH HISTORIC IN COLOR, TEXTURE, STRENGTH/TYPE, AND PROFILE. ALL WORK AND DETAILING TO MATCH EXISTING.
80 | 13191320100000 | B200429417 | 6/27/2025 |  |  |  |  | 50000 |  | 3631 N SAYRE AVE |  | CHICAGO, IL |  | TERMAR MICHAEL | SCOPE: NONSTRUCTURAL INTERIOR REMODELING OF ALL DRYWALL, PLUMBING, ELECTRICAL AND HVAC. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 3631 N SAYRE AVE.
81 | 16244150200000 | B200429418 | 6/24/2025 |  |  |  |  | 80000 |  | 2654 W CULLERTON ST |  | CHICAGO, IL |  | TAPIA USBANO | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 3800 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: EXTERIOR WALLS.
82 | 17162440300000 | B200429420 | 6/12/2025 |  |  |  |  | 585000 |  | 520 S FEDERAL ST |  | CHICAGO, IL |  | VAIL BRIAN | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 600 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: ALL ELEVATIONS.
83 | 09364000330000 | B200429421 | 6/13/2025 |  |  |  |  | 44856 |  | 6701 N NORTHWEST HWY |  | CHICAGO, IL |  | BRIGHT PATH KIDS | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL OTHER. SPECIFIC LOCATION: MAIN AREA.
84 | 16232260220000 | B200429423 | 6/14/2025 |  |  |  |  | 20000 |  | 1500 S CHRISTIANA AVE |  | CHICAGO, IL |  | MIKK-DLP | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL OTHER. SPECIFIC LOCATION: RESIDENTIAL UNITS.
85 | 25201230350000 | B200429431 | 6/12/2025 |  |  |  |  | 22917 |  | 11408 S THROOP ST |  | CHICAGO, IL |  | RUSSELL MICHAEL | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 11.5 KW. ARRAY OUTPUT: 9.43 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES OF PRINCIPAL STRUCTURE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * REFER TO ELECTRICAL PERMIT B200429238.* ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
86 | 13274010320000 | B200429433 | 6/10/2025 |  |  |  |  | 30400 |  | 4310 W SCHUBERT AVE |  | CHICAGO, IL |  | THE HERE TO STAY COMMUNITY LAND TRUST | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 100 SQ. FT., LINTEL QTY. 3, MAX. LENGTH 5. PARAPET REBUILDING: 100 SQ. FT. LOCATION: LINTELS SOUTH ELEVATION, PARAPETS EAST & WEST.
87 | 17284330350000 | B200429437 | 6/17/2025 |  |  |  |  | 3750 |  | 352 W 31ST ST |  | CHICAGO, IL |  | KAPITAL ELECTRIC CO., INC | LINE VOLTAGE ELECTRICAL WORK. ADD 1 CIRCUITS TO EXISTING 100 AMP SERVICE DISCONNECTING MEANS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. ELECTRIC VEHICLE SUPPLY EQUIPMENT:1 SPACES. SPECIFIC LOCATION: GARAGE.
88 | 20151130070000 | B200429438 | 6/25/2025 |  |  |  |  | 19800 |  | 5713 S STATE ST |  | CHICAGO, IL |  | BRIGHT STAR CDC | PURPOSE: NEW/REPLACEMENT INSTALLATION. CHAIN LINK FENCE - 6'-0' ' (HEIGHT) X 82'-0' ' (LENGTH). LOCATION: EMPTY LOT.
89 | 25033020300000 | B200429439 | 6/18/2025 |  |  |  |  | 19022 |  | 9136 S INDIANA AVE |  | CHICAGO, IL |  | WALKER PORTLAND | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 11.5 KW. ARRAY OUTPUT: 7.38 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES OF PRINCIPAL STRUCTURE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
90 | 14291210010000 | B200429441 | 6/11/2025 |  |  |  |  | 3000 |  | 1455 W OAKDALE AVE |  | CHICAGO, IL |  | MARCUS ANDREW | LINE VOLTAGE ELECTRICAL WORK. ADD 2 CIRCUITS TO EXISTING 400 AMP SERVICE DISCONNECTING MEANS. RECEPTACLE OUTLETS: 2 . LIGHTING OUTLETS: 0. ELECTRIC VEHICLE SUPPLY EQUIPMENT:1 SPACES. SPECIFIC LOCATION: BASEMENT AND GARAGE.
91 | 16012290200000 | B200429448 | 6/13/2025 |  |  |  |  | 8000 |  | 1244 N WESTERN AVE |  | CHICAGO, IL |  | 2FM DEPARTMENT CITY OF CHICAGO | REPAIR OR IN-KIND REPLACEMENT OF 0 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. INCLUDES REPAIR OR REPLACMENT OF PLUMBING PIPING. INCLUDES REPAIR OR REPLACEMENT OF PLUMBING RISERS IN EXISTING CHASES. LOCATIONS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), BASEMENT BATHROOM.
92 | 17064000150000 | B200429451 | 6/12/2025 |  |  |  |  | 3000 |  | 1133 N DAMEN AVE |  | CHICAGO, IL |  | NEHM DAN | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 12 . LIGHTING OUTLETS: 6. SPECIFIC LOCATION: BASEMENT, 1ST FLOOR. ¦ SPECIAL CONDITION: NO OTHER WORK.
93 | 26171130180000 | B200429454 | 7/7/2025 |  |  |  |  | 18700 |  | 10745 S AVENUE J |  | CHICAGO, IL |  | PIZARRO MILDRED | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: STEEP (>5:12). INVERTER OUTPUT: 7.6 KW. ARRAY OUTPUT: 9.35 KW. LOCATION: ROOF TOP. ICC DISTRIBUTED GENERATION INSTALLER CERT. #24-0270. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
94 | 16023000270000 | B200429457 | 6/30/2025 |  |  |  |  | 5000 |  | 1118 N HARDING AVE |  | CHICAGO, IL |  | RODRIGUEZ BIENVENIDO | WRECK AND REMOVE MASONRY GARAGE AND ATTACHED ROLLING GATE, NO REPLACEMENT. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), EXTERIOR WORK, REMOVE GARAGE AND GATE
95 | 20053030180000 | B200429463 | 6/12/2025 |  |  |  |  | 1500 |  | 4555 S ASHLAND AVE |  | CHICAGO, IL |  | BACK OF THE YARDS NEIGHBORHOOD COUNCIL | LINE VOLTAGE ELECTRICAL WORK. INSTALL TEMPORARY 60 KW DIESEL GENERATOR. INSTALL TEMPORARY 60 KW DIESEL GENERATOR. INSTALL TEMPORARY 60 KW DIESEL GENERATOR. INSTALL TEMPORARY 100 KW DIESEL GENERATOR. RECEPTACLE OUTLETS: 0 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: STREET EVENT TEMPORARY GENERATOR WORK.
96 | 19083060310000 | B200429464 | 6/10/2025 |  |  |  |  | 2000 |  | 5146 S MCVICKER AVE |  | CHICAGO, IL |  | STRELCZYK GREGORY | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 300 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: SPOT TUCKPOINT NORTH, SOUTH, WEST FACADE.
97 | 14211050320000 | B200429466 | 6/27/2025 |  |  |  |  | 185000 |  | 3745 N BROADWAY |  | CHICAGO, IL |  | BERNARD ZELL ANSHE EMET DAY SCHOOL | REPAIR/REPLACEMENT AFFECTING 1 SYSTEMS : 1 CHILLER(QUQNTECH AIR COOLED ROOFTOP CHILLER QTC3070TSJ17XFB) . ELECTRICAL WORK UNDER THIS PERMIT = YES . LOCATIONS: 0 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 4 INTERIOR COMMON AREAS, EXTERIOR WORK, ROOF OF BUILDING, CLASS ROOMS AND HALLWAYS. ¦ SPECIAL CONDITION: CONTACT REFRIGERATION SUPERVISOR CLEMENT GAVIN 312-743-3562, PRIOR TO THE INSTALLATION OF ANY ROOFTOP EQUIPMENT, TO SCHEDULE AN INSPECTION.
98 | 14311320460000 | B200429468 | 6/12/2025 |  |  |  |  | 20000 |  | 2028 N OAKLEY AVE |  | CHICAGO, IL |  | OAKLEY URBAN, LLC | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 600 AMP SERVICE DISCONNECTING MEANS WITH 5 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: ALL 6 UNITS.
99 | 20184230560000 | B200429473 | 6/11/2025 |  |  |  |  | 2500 |  | 6136 S ASHLAND AVE |  | CHICAGO, IL |  | WALKER NADINE | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 0 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: PARKING LOT.
100 | 13271140310000 | B200429475 | 6/10/2025 |  |  |  |  | 8000 |  | 3028 N KOSTNER AVE |  | CHICAGO, IL |  | TRIBUZIO MICHAEL | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 750 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: ALL ELEVATION.
101 | 13031220090000 | B200429480 | 6/10/2025 |  |  |  |  | 4688 |  | 6049 N KIRKWOOD AVE |  | CHICAGO, IL |  | RAMOS JOYCE | PURPOSE: NEW/REPLACEMENT INSTALLATION. WOOD FENCE - 6'-0' ' (HEIGHT) X 64'-0' ' (LENGTH). LOCATION: REAR YARD.
102 | 17194270100000 | B200429483 | 6/13/2025 |  |  |  |  | 12880 |  | 1837 W 21ST PL |  | CHICAGO, IL |  | PANG SZE LIN | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 40 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: BACK AREA.
103 | 19353020570000 | B200429485 | 6/11/2025 |  |  |  |  | 17440 |  | 3728 W 83RD ST |  | CHICAGO, IL |  | ANDREWS DARYL | SCOPE: ROOF REPLACEMENT. AREA: 1644 SQ. FT. ROOF COVERING: ASPHALT SHINGLES. LOCATION: ON TOP OF THE ROOF. IL ROOFING CONTRACTOR LICENSE: 104.02017.
104 | 13283310280000 | B200429488 | 8/5/2025 |  |  |  |  | 9300 |  | 5234 W FULLERTON AVE |  | CHICAGO, IL |  | PEREZ MARCOS | SCOPE: NONSTRUCTURAL INTERIOR WORK TO ERECT MECHANICAL ROOM ENCLOSURE, DECONVERT ROOM BY REMOVING WALLS INSTGALLED RESTORING TO OPEN FLOOR PLAN, REPAIR SUPPORT JOIST PER STRUCTURAL ENGINEER'S REPORT. LOCATIONS: 1 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), 1 INTERIOR COMMON AREAS, BASEMENT.
105 | 20344090380000 | B200429493 | 6/25/2025 |  |  |  |  | 2000 |  | 420 E 87TH ST |  | CHICAGO, IL |  | PRYOR DERRICK | LINE VOLTAGE ELECTRICAL WORK. ALTER EXISTING SYSTEM III EMERGENCY LIGHTING. RECEPTACLE OUTLETS: 0 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: ALL 1ST FLOOR.
106 | 14331020260000 | B200429501 | 6/26/2025 |  |  |  |  | 30000 |  | 614 W KEMPER PL |  | CHICAGO, IL |  | VILLEGAS MICHELLE | FULL REBUILD (SAME AS EXISTING) FOR WOOD PORCH (OPEN) (QUANTITY: 1, LOCATION: REAR OF BUILDING). ¦ SPECIAL CONDITION: NO WORK TO FRONT FACADE.
107 | 13253120200000 | B200429503 | 6/25/2025 |  |  |  |  | 5300 |  | 2632 N RICHMOND ST |  | CHICAGO, IL |  | KENNEDY JEROME | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 800 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: MASONRY REPAIR FRONT OF THE BUILDING.
108 | 14324000750000 | B200429511 | 7/30/2025 |  |  |  |  | 472148 |  | 1961 N MAUD AVE |  | CHICAGO, IL |  | HICKEY PATRICK | SCOPE: NONSTRUCTURAL INTERIOR REPLACEMENT OF DRYWALL AT KITCHEN AND CLOSETS, REPLACE PLUMBING FIXTURES AND ADD NEW ELECTRICAL THROUGHOUT (NEW FINISHES, MILLWORK, FLOORS AND DOORS).LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), KITCHEN, 3 BATHROOMS, LIVING ROOM, BASEMENT, FOYER.
109 | 19182130150000 | B200429512 | 6/20/2025 |  |  |  |  | 12150 |  | 5618 S NATCHEZ AVE |  | CHICAGO, IL |  | MOLES RODNEY | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 9.6 KW. ARRAY OUTPUT: 12.15 KW. LOCATION: ROOF OF HOME. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0495. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * PAY FEES ON PERMITS & HAVE PRESENT ON DAY OF INSPECTIONS.* REFER TO SOLAR (ACCESSORY) PERMIT B200428200 AND ELECTRICAL PERMIT B200428202.* UNDERGROUND RACEWAY TO BE INSPECTED BY AHJ PRIOR TO COVERING. * ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
110 | 25012260020000 | B200429513 | 6/11/2025 |  |  |  |  | 2749 |  | 9005 S CLYDE AVE |  | CHICAGO, IL |  | KENNY TAVARIS | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: BACKYARD OF HOME.
111 | 13024010410000 | B200429516 | 6/11/2025 |  |  |  |  | 10550 |  | 5908 N ST LOUIS AVE |  | CHICAGO, IL |  | MADDEN LIAM | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 200 SQ. FT., LINTEL QTY. 1, MAX. LENGTH 6. LOCATION: CHIMNEY; SIDES.
112 | 25214160320000 | B200429517 | 6/17/2025 |  |  |  |  | 500 |  | 252 W 118TH ST |  | CHICAGO, IL |  | QUINTANA ARTURO | REPAIR OR IN-KIND REPLACEMENT OF 3 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 1ST FLOOR.
113 | 25281020530000 | B200429526 | 6/16/2025 |  |  |  |  | 10000 |  | 11939 S UNION AVE |  | CHICAGO, IL |  | TAMRAT MESSAY | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: LOW-SLOPED (<2:12). INVERTER OUTPUT: 10 KW. ARRAY OUTPUT: 13.175 KW. LOCATION: ROOF TOP SOLAR. ICC DISTRIBUTED GENERATION INSTALLER CERT. #19-0250. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
114 | 20321070170000 | B200429532 | 6/11/2025 |  |  |  |  | 9000 |  | 7939 S ELIZABETH ST |  | CHICAGO, IL |  | BERRYHILL VERA | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 153 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: NORTH SIDE BOTTOM. NORTH SIDE PARAPET WALL.
115 | 17073220320000 | B200429539 | 6/13/2025 |  |  |  |  | 1500 |  | 2116 W WASHINGTON BLVD |  | CHICAGO, IL |  | CHICAGO HOUSING AUTHORITY | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 3 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: REAR OF BUILDING.
116 | 17073100200000 | B200429540 | 7/22/2025 |  |  |  |  | 50000 |  | 2108 W WALNUT ST |  | CHICAGO, IL |  | REAL RESTORATION GROUP INC | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 1000 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: 1ST AND 2ND FLOOR. ¦ SPECIAL CONDITION: * THANK YOU!
117 | 24232000830000 | B200429544 | 6/17/2025 |  |  |  |  | 26950 |  | 11161 S CENTRAL PARK AVE |  | CHICAGO, IL |  | CHUDY JEFFREY | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 20'-0' ' X18'-0' '. HIP ROOF HEIGHT TO PEAK: 14'-0' '.
118 | 17314200160000 | B200429548 | 6/12/2025 |  |  |  |  | 22660 |  | 3737 S WOOD ST |  | CHICAGO, IL |  | PARK CHRISTIAN | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: STEEP (>5:12). INVERTER OUTPUT: 7.65 KW. ARRAY OUTPUT: 7.65 KW. LOCATION: ROOFTOP OF PRINCIPAL BUILDING. ICC DISTRIBUTED GENERATION INSTALLER CERT. #13-0674. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
119 | 20171110200000 | B200429549 | 7/15/2025 |  |  |  |  | 600 |  | 5648 S BISHOP ST |  | CHICAGO, IL |  | SANCHEZ BENITO | REPAIR (26% TO 50%) FOR WOOD PORCH (OPEN) (QUANTITY: 1, LOCATION: FRONT OF BUILDING). LANDING: 48 SQUARE FEET. LANDING NOT MORE THAN 6 FEET ABOVE GROUND.
120 | 25013140570000 | B200429552 | 6/17/2025 |  |  |  |  | 10000 |  | 9238 S EUCLID AVE |  | CHICAGO, IL |  | BUCHANAN MOSEA | FULL REBUILD (SAME AS EXISTING) FOR WOOD PORCH (OPEN) (QUANTITY: 1, LOCATION: REAR OF BUILDING). LANDING: 20 SQUARE FEET.
121 | 19132010150000 | B200429556 | 6/18/2025 |  |  |  |  | 19801 |  | 5531 S FAIRFIELD AVE |  | CHICAGO, IL |  | MARCHAN LEOBARDO | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: STEEP (>5:12). INVERTER OUTPUT: 11.5 KW. ARRAY OUTPUT: 7.79 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES OF PRINCIPAL STRUCTURE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * REFER TO ELECTRICAL PERMIT B200428965.* ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
122 | 13054160080000 | B200429558 | 6/11/2025 |  |  |  |  | 3200 |  | 5752 N MILWAUKEE AVE |  | CHICAGO, IL |  | CONVERY SARA PEAK | PURPOSE: NEW/REPLACEMENT INSTALLATION. WOOD FENCE - 6'-0' ' (HEIGHT) X 40'-0' ' (LENGTH). LOCATION: BACKYARD.
123 | 17102000750000 | B200429559 | 6/11/2025 |  |  |  |  | 5616 |  | 737 N MICHIGAN AVE |  | CHICAGO, IL |  | CBRE | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL DATA/VIDEO. SPECIFIC LOCATION: SUITE.
124 | 17162000220000 | B200429563 | 6/11/2025 |  |  |  |  | 30000 |  | 30 S WACKER DR |  | CHICAGO, IL |  | 10-30 S. WACKER LLC | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: 26TH FLOOR.
125 | 17162000230000 | B200429563 | 6/11/2025 |  |  |  |  | 30000 |  | 30 S WACKER DR |  | CHICAGO, IL |  | 10-30 S. WACKER LLC | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: 26TH FLOOR.
126 | 17162000240000 | B200429563 | 6/11/2025 |  |  |  |  | 30000 |  | 30 S WACKER DR |  | CHICAGO, IL |  | 10-30 S. WACKER LLC | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: 26TH FLOOR.
127 | 20311200150000 | B200429566 | 6/20/2025 |  |  |  |  | 50000 |  | 8140 S HOYNE AVE |  | CHICAGO, IL |  | NEW CINGULAR WIRELESS PCS, LLC | ALTERATION OF EXISTING COMMUNICATION EQUIPMENT. ALTERATION OF 1 BOXES AND EQUIPMENT ON 1 TOWERS / STRUCTURES. LOCATION: ON EXISTING TOWER AND EXISTING GROUND EQUIPMENT.
128 | 16082080150000 | B200429582 | 6/17/2025 |  |  |  |  | 3200 |  | 644 N MAYFIELD AVE |  | CHICAGO, IL |  | CERMAK LLC MJ | REPAIR OR IN-KIND REPLACEMENT OF 0 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. INCLUDES REPAIR OR REPLACMENT OF PLUMBING PIPING. LOCATIONS: 0 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 4 INTERIOR COMMON AREAS, BASEMENT.
129 | 13113080090000 | B200429587 | 6/11/2025 |  |  |  |  | 700 |  | 5031 N AVERS AVE |  | CHICAGO, IL |  | GILLMEISTER JAMES | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. 13.5 KWH LITHIUM ION ENERGY STORAGE SYSTEM. SPECIFIC LOCATION: SERVICE CONDUCTORS, EXTERIOR WALL.
130 | 16133120450000 | B200429590 | 7/21/2025 |  |  |  |  | 800 |  | 3147 W POLK ST |  | CHICAGO, IL |  | PATEL JODY | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 80 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: EXTERIOR.
131 | 10254160490000 | B200429591 | 6/17/2025 |  |  |  |  | 20000 |  | 2418 W JARVIS AVE |  | CHICAGO, IL |  | FREEMAN EDWARD | FULL REBUILD (SAME AS EXISTING) FOR WOOD PORCH (OPEN) (QUANTITY: 1, LOCATION: REAR OF BUILDING).
132 | 19252040310000 | B200429604 | 6/11/2025 |  |  |  |  | 14075 |  | 7126 S MAPLEWOOD AVE |  | CHICAGO, IL |  | VELA OZIEL | SCOPE: ROOF REPLACEMENT. AREA: 1330 SQ. FT. ROOF COVERING: ASPHALT SHINGLES. LOCATION: ON TOP OF THE ROOF. IL ROOFING CONTRACTOR LICENSE: 104.02017.
133 | 25041210210000 | B200429608 | 6/12/2025 |  |  |  |  | 3550 |  | 8951 S PARNELL AVE |  | CHICAGO, IL |  | HOWARD RAEQUELL | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 125 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. 13.5 KWH LITHIUM ION ENERGY STORAGE SYSTEM. SPECIFIC LOCATION: MAIN PANEL, EXTERIOR WALL.
134 | 13071240440000 | B200429610 | 7/1/2025 |  |  |  |  | 2000 |  | 6914 W BERWYN AVE |  | CHICAGO, IL |  | PURCHLA ZOFIA | REPAIR (26% TO 50%) FOR WOOD DECK (NON-ROOFTOP) (QUANTITY: 1, LOCATION: REAR OF BUILDING). LANDING: 100 SQUARE FEET. LANDING NOT MORE THAN 6 FEET ABOVE GROUND.
135 | 11321220070000 | B200429613 | 6/25/2025 |  |  |  |  | 10000 |  | 1340 W PRATT BLVD |  | CHICAGO, IL |  | IMAD SHEHADE | REPAIR OR IN-KIND REPLACEMENT OF 4 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. INCLUDES REPAIR OR REPLACMENT OF PLUMBING PIPING. LOCATIONS: 0 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 1 INTERIOR COMMON AREAS, BASEMENT.
136 | 13073290170000 | B200429616 | 6/11/2025 |  |  |  |  | 21500 |  | 4953 N NEVA AVE |  | CHICAGO, IL |  | GIANNINI DIANE | SCOPE: ROOF REPLACEMENT. AREA: 2100 SQ. FT. ROOF COVERING: ASPHALT SHINGLES. LOCATION: ROOFING. IL ROOFING CONTRACTOR LICENSE: 104012900.
137 | 17063070470000 | B200429618 | 7/10/2025 |  |  |  |  | 12000 |  | 2008 W THOMAS ST |  | CHICAGO, IL |  | WOJTOWICZ RICHARD | IN-KIND REPLACEMENT OF EXTERIOR WINDOWS AND DOORS IN EXISTING OPENINGS. REPLACEMENT WINDOWS: 6; REPLACEMENT SKYLIGHTS: 0; REPLACEMENT DOORS: 0. AFFECTS: 2 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), LOCATION: SOUTH ELEVATION. ¦ SPECIAL CONDITION: APPROVED PER ATTACHMENTS RECEIVED 6/11 AND 6/26/25: NEW WINDOWS TO BE CLAD-WOOD BY CLIMATEGUARD AS PROPOSED. WINDOW REPLACEMENT ONLY, NO OTHER EXTERIOR WORK WITH THIS PERMIT.
138 | 25041210210000 | B200429619 | 6/12/2025 |  |  |  |  | 26812 |  | 8951 S PARNELL AVE |  | CHICAGO, IL |  | HOWARD RAEQUELL | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 11.5 KW. ARRAY OUTPUT: 11.48 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES OF PRINCIPAL STRUCTURE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * REFER TO ELECTRICAL PERMIT B200429608.* ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
139 | 14193080320000 | B200429621 | 6/20/2025 |  |  |  |  | 700 |  | 3401 N WESTERN AVE |  | CHICAGO, IL |  | BYLINE BANCORP, INC BYLINE BANK | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL SECURITY. SPECIFIC LOCATION: VAULT & BREAK ROOM AREA.
140 | 16143190140000 | B200429623 | 6/16/2025 |  |  |  |  | 2500 |  | 3918 W FILLMORE ST |  | CHICAGO, IL |  | TOWNSEND KIMBERLY | LINE VOLTAGE ELECTRICAL WORK. ADD 4 CIRCUITS TO EXISTING 100 AMP SERVICE DISCONNECTING MEANS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: BASEMENT, FIRST FLOOR,2ND FLOOR.
141 | 26081200210000 | B200429632 | 6/11/2025 |  |  |  |  | 22995 |  | 10102 S AVENUE L |  | CHICAGO, IL |  | GOMEZ ESTHER | SCOPE: ROOF REPLACEMENT. AREA: 1903 SQ. FT. ROOF COVERING: ASPHALT SHINGLES. LOCATION: ROOFING. IL ROOFING CONTRACTOR LICENSE: 104.01959.
142 | 13222190410000 | B200429644 | 6/12/2025 |  |  |  |  | 29750 |  | 4002 W WAVELAND AVE |  | CHICAGO, IL |  | SANTIAGO JOHN | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 150 SQ. FT., LINTEL QTY. 8, MAX. LENGTH 6. PARAPET REBUILDING: 240 SQ. FT. LOCATION: WEST SOUTH AND EAST ELEVATION.
143 | 13031110010000 | B200429645 | 6/16/2025 |  |  |  |  | 300000 |  | 6280 N SAUGANASH AVE |  | CHICAGO, IL |  | QUEEN OF ALL SAINTS BASILICA | LINE VOLTAGE ELECTRICAL WORK. ADD 17 CIRCUITS TO EXISTING 1200 AMP SERVICE DISCONNECTING MEANS. ADD 1 CIRCUITS TO EXISTING 600 AMP SERVICE DISCONNECTING MEANS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: INSTALL 2 SERVICES, 1200A & 600A TO EXIST CHURCH.
144 | 14062060080000 | B200429651 | 6/12/2025 |  |  |  |  | 69500 |  | 6301 N HERMITAGE AVE |  | CHICAGO, IL |  | CREATIVE DESIGNS BUILDERS | PARAPET REBUILDING: 800 SQ. FT. LOCATION: NORTH ELEV. WORK TO ADDRESS VIOLATION CN063014;.
145 | 20353100610000 | B200429653 | 6/11/2025 |  |  |  |  | 29750 |  | 8540 S DREXEL AVE |  | CHICAGO, IL |  | BASSETT CAROL | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 20'-0' ' X20'-0' '. HIP ROOF HEIGHT TO PEAK: 13'-0' '.
146 | 19351040670000 | B200429655 | 6/13/2025 |  |  |  |  | 15568 |  | 3643 W 79TH PL |  | CHICAGO, IL |  | MARTINEZ ASCENCION | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 7.6 KW. ARRAY OUTPUT: 9.35 KW. LOCATION: ROOF OF PRINCIPAL BUILDING. ICC DISTRIBUTED GENERATION INSTALLER CERT. #24-0450. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * REFER TO ELECTRICAL PERMIT B200429657.* ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
147 | 19351040670000 | B200429657 | 6/13/2025 |  |  |  |  | 1402 |  | 3643 W 79TH PL |  | CHICAGO, IL |  | MARTINEZ ASCENCION | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: ROOF AND EXTERIOR OF THE HOUSE.
148 | 17073260010000 | B200429659 | 6/26/2025 |  |  |  |  | 22740 |  | 2147 W WASHINGTON BLVD |  | CHICAGO, IL |  | H & H ESTATES INC* | SCOPE: ROOF REPLACEMENT. AREA: 3600 SQ. FT. ROOF COVERING: ASPHALT SHINGLES. LOCATION: TEAR OFF AND REPLACE ROOF SHINGLES. IL ROOFING CONTRACTOR LICENSE: 104017630. ¦ SPECIAL CONDITION: APPROVED PER ATTACHMENTS RECEIVED 6/11/25: NEW ROOF SHINGLES SHALL MATCH EXISTING IN COLOR, TEXTURE, SIZE AND APPEARANCE. ROOFING REPLACEMENT ONLY, NO OTHER WORK WITH THIS PERMIT.
149 | 14171120040000 | B200429661 | 6/16/2025 |  |  |  |  | 20000 |  | 4541 N ASHLAND AVE |  | CHICAGO, IL |  | LINDEN JOSH AND NORA | REPAIR OR IN-KIND REPLACEMENT OF 0 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. INCLUDES REPAIR OR REPLACMENT OF PLUMBING PIPING. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), BASEMENT.
150 | 13141250170000 | B200429665 | 6/20/2025 |  |  |  |  | 14200 |  | 3701 W SUNNYSIDE AVE |  | CHICAGO, IL |  | CARLSON GARY | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 4200 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: EXTERIOR FACADE.
151 | 20192210280000 | B200429667 | 6/13/2025 |  |  |  |  | 1000 |  | 6522 S PAULINA ST |  | CHICAGO, IL |  | INVESTMA GROUP LLC | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 10 . LIGHTING OUTLETS: 10. SPECIFIC LOCATION: FIRST FLOOR, 2ND FLOOR, BASEMENT.
152 | 17062350420000 | B200429672 | 6/11/2025 |  |  |  |  | 30000 |  | 1242 N MILWAUKEE AVE |  | CHICAGO, IL |  | SIK YUM BYUNG | SCOPE: ROOF REPLACEMENT. AREA: 3600 SQ. FT. ROOF COVERING: MINERAL - SURFACED ROLL ROOFING. LOCATION: REROOFING FOR AN EXITING MASONRY BUILDING. IL ROOFING CONTRACTOR LICENSE: 104019446.
153 | 16043200110000 | B200429673 | 6/12/2025 |  |  |  |  | 12000 |  | 929 N LONG AVE |  | CHICAGO, IL |  | BERKLEY WILEMINA | PARAPET REBUILDING: 32 SQ. FT. LOCATION: NORTH WALL, WEST END CHIMNEY.
154 | 13251330300000 | B200429675 | 6/12/2025 |  |  |  |  | 32150 |  | 2828 N RICHMOND ST |  | CHICAGO, IL |  | KLAIN JON | SCOPE: ROOF REPLACEMENT. AREA: 1200 SQ. FT. ROOF COVERING: ASPHALT SHINGLES. LOCATION: ROOFING. IL ROOFING CONTRACTOR LICENSE: 104012900.
155 | 17081060280000 | B200429677 | 6/12/2025 |  |  |  |  | 10000 |  | 734 N WILLARD CT |  | CHICAGO, IL |  | THOMAS ATOINETTE | REPAIR OR IN-KIND REPLACEMENT OF 0 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. INCLUDES REPAIR OR REPLACMENT OF PLUMBING PIPING. LOCATIONS: 0 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), EXTERIOR WORK, BASEMENT AND FRONT YARD.
156 | 17223080250000 | B200429678 | 7/1/2025 |  |  |  |  | 13000 |  | 1921 S INDIANA AVE |  | CHICAGO, IL |  | S INDIANA AVE LLC | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 400 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0.LOCATION: MASONRY REPAIR NORTH WALL (CORNER NE) 4 STORY BLDG.
157 | 13274010320000 | B200429680 | 8/1/2025 |  |  |  |  | 12500 |  | 4310 W SCHUBERT AVE |  | CHICAGO, IL |  | HERE TO STAY, CLT | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 400 AMP SERVICE DISCONNECTING MEANS WITH 3 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: BASEMENT, ELECTRICAL ROOM. ¦ SPECIAL CONDITION: * PLEASE FOLLOW UP ON THE CORRECTION REQUESTED.ELFC1785 - GROUNDING ELECTRODE CONDUCTOR OR COMMON GROUNDING ELECTRODE CONDUCTOR SYSTEM: PROPERLY SIZE COLD WATER GROUND CONDUIT ACCORDING TO TABLE 250.66 IN CEC.
158 | 14172250350000 | B200429681 | 6/11/2025 |  |  |  |  | 2000 |  | 4429 N BROADWAY |  | CHICAGO, IL |  | GYN YUN | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 200 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: SPOT TUCKPOINTING FRONT ELEVATION.
159 | 16044160220000 | B200429682 | 6/11/2025 |  |  |  |  | 1000 |  | 952 N LECLAIRE AVE |  | CHICAGO, IL |  | SANCHEZ MARINA | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: BASEMENT.
160 | 16231070230000 | B200429684 | 7/9/2025 |  |  |  |  | 5000 |  | 1320 S HARDING AVE |  | CHICAGO, IL |  | RENTERIA STEPHANIE | SCOPE: NONSTRUCTURAL INTERIOR PREPARATORY DEMOLITION OF NONLOAD BEARING WALLS AND M.E.P. SYSTEM WITH DEMO DRAWINGS AND ALL OTHER WORK TO BE PERFORMED ON PERMIT NO 101070393. LOCATIONS: 3 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), BASEMENT, FIRST FL, SECOND FL THIRD FL.
161 | 20254160050000 | B200429685 | 6/12/2025 |  |  |  |  | 100 |  | 7717 S JEFFERY BLVD |  | CHICAGO, IL |  | KBRE LLC | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 0 . LIGHTING OUTLETS: 5. SPECIFIC LOCATION: BASEMENT.
162 | 20263200150000 | B200429691 | 6/16/2025 |  |  |  |  | 4800 |  | 7845 S INGLESIDE AVE |  | CHICAGO, IL |  | ROMAN BARBARA | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 8 CIRCUITS. RECEPTACLE OUTLETS: 53 . LIGHTING OUTLETS: 9. SPECIFIC LOCATION: BASEMENT & 1ST FLOOR MAINLY.
163 | 12232180390000 | B200429693 | 6/12/2025 |  |  |  |  | 6000 |  | 3704 N PITTSBURGH AVE |  | CHICAGO, IL |  | OBREJAN SILVIU | PURPOSE: NEW/REPLACEMENT INSTALLATION. WOOD FENCE - 6'-0' ' (HEIGHT) X 145'-5' ' (LENGTH). LOCATION: BACK YARD PERIMETER.
164 | 19244260360000 | B200429694 | 6/15/2025 |  |  |  |  | 9000 |  | 7056 S CAMPBELL AVE |  | CHICAGO, IL |  | COLLAHUAZO LUIS | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: BASEMENT COMMON AREA.
165 | 13063050570000 | B200429698 | 6/23/2025 |  |  |  |  | 50000 |  | 5934 N EAST CIRCLE AVE |  | CHICAGO, IL |  | PUCINSKI AURELIA | SCOPE: NONSTRUCTURAL INTERIOR RENOVATION OF EXISTING BATHROOM. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), SECOND FLOOR BATHROOM.
166 | 20273040070000 | B200429703 | 6/17/2025 |  |  |  |  | 11475 |  | 7515 S PRAIRIE AVE |  | CHICAGO, IL |  | OWENS ALONZO | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: STEEP (>5:12). INVERTER OUTPUT: 7.65 KW. ARRAY OUTPUT: 7.65 KW. LOCATION: THE ROOF. ICC DISTRIBUTED GENERATION INSTALLER CERT. #22-0420. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
167 | 13171130230000 | B200429704 | 6/12/2025 |  |  |  |  | 18000 |  | 4505 N MOODY AVE |  | CHICAGO, IL |  | EHRAT CHRISTIAN | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 40 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: BASEMENT.
168 | 10313050120000 | B200429705 | 6/12/2025 |  |  |  |  | 11000 |  | 6517 N SAYRE AVE |  | CHICAGO, IL |  | GERBAC JOE | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 40 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: BASEMENT.
169 | 13202280330000 | B200429709 | 6/13/2025 |  |  |  |  | 25833 |  | 5955 W PATTERSON AVE |  | CHICAGO, IL |  | NIELSON JUSTIN | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 6.225 KW. ARRAY OUTPUT: 6.225 KW. LOCATION: ROOF OF PRIMARY RESIDENCE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #19-0736. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * REFER TO ELECTRICAL PERMIT B200429721. * ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
170 | 13283290310000 | B200429713 | 6/16/2025 |  |  |  |  | 21767 |  | 2428 N LOCKWOOD AVE |  | CHICAGO, IL |  | SANDOVAL EMILIO | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 5.7 KW. ARRAY OUTPUT: 6.56 KW. INCLUDES 10 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF OF HOUSE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #19-0021. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
171 | 14281050080000 | B200429719 | 6/13/2025 |  |  |  |  | 43350 |  | 515 W BRIAR PL |  | CHICAGO, IL |  | PLANNED PROPERTY MGMT | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 175 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: EAST ELEVATION PARTIAL TUCKPOINTING, 175 SQ.FT..
172 | 19341100370000 | B200429720 | 6/12/2025 |  |  |  |  | 4250 |  | 8224 S KILBOURN AVE |  | CHICAGO, IL |  | FAVELA ALFREDO | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 125 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. 13.5 KWH LITHIUM ION ENERGY STORAGE SYSTEM. SPECIFIC LOCATION: SERVICE CONDUCTORS, MAIN PANEL, EXTERIOR WALLS.
173 | 13202280330000 | B200429721 | 6/12/2025 |  |  |  |  | 2500 |  | 5955 W PATTERSON AVE |  | CHICAGO, IL |  | NIELSON JUSTIN | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 2 CIRCUITS. RECEPTACLE OUTLETS: 0 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: BASEMENT AND OUTSIDE METER.
174 | 17093340010000 | B200429723 | 7/2/2025 |  |  |  |  | 50000 |  | 111 N CANAL ST |  | CHICAGO, IL |  | DEVORE MARIA | LIMITED REPAIR (25% OR LESS) FOR IRON FIRE ESCAPE (QUANTITY: 1, LOCATION: OTHER).
175 | 19364040460000 | B200429724 | 6/12/2025 |  |  |  |  | 1450 |  | 2720 W 84TH ST |  | CHICAGO, IL |  | ROSS NICOLE | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 125 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. 13.5 KWH LITHIUM ION ENERGY STORAGE SYSTEM. SPECIFIC LOCATION: METER, PANEL, SERVICE CONDUCTORS, EXTERIOR WALL.
176 | 25183010340000 | B200429726 | 6/12/2025 |  |  |  |  | 2000 |  | 10726 S HOYNE AVE |  | CHICAGO, IL |  | MITCHELL BRIDGETT | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 20 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: ELECTRICAL SERVICE.
177 | 13113080090000 | B200429727 | 6/16/2025 |  |  |  |  | 20672 |  | 5031 N AVERS AVE |  | CHICAGO, IL |  | GILLMEISTER JAMES | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: STEEP (>5:12). INVERTER OUTPUT: 11.5 KW. ARRAY OUTPUT: 9.43 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES OF PRINCIPAL STRUCTURE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * REFER TO ELECTRICAL PERMIT B200429587.* ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
178 | 14283190230000 | B200429731 | 6/26/2025 |  |  |  |  | 12800 |  | 450 W ST JAMES PL |  | CHICAGO, IL |  | JANKOWIC CHRISTIANA | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 200 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. PARAPET REBUILDING: 100 SQ. FT. LOCATION: MASONRY REPAIR WORK TO REMOVE CITY VIOLATION.
179 | 16021070160000 | B200429732 | 6/25/2025 |  |  |  |  | 23426 |  | 1529 N MONTICELLO AVE |  | CHICAGO, IL |  | TRUMBO ASHLEY | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: STEEP (>5:12). INVERTER OUTPUT: 1.14 KW. ARRAY OUTPUT: 1.35 KW. LOCATION: ROOFTOP - PRINCIPAL STRUCTURE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0735. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * UNDERGROUND RACEWAY TO BE INSPECTED BY AHJ PRIOR TO COVERING. * REFER TO SOLAR (ACCESSORY) PERMIT B200429737.* ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
180 | 16021070160000 | B200429737 | 6/25/2025 |  |  |  |  | 1000 |  | 1529 N MONTICELLO AVE |  | CHICAGO, IL |  | TRUMBO ASHLEY | INSTALL SOLAR PANELS ON ROOF OF ACCESSORY BUILDING. ROOF TYPE: STEEP (>5:12). INVERTER OUTPUT: 4.18 KW. ARRAY OUTPUT: 4.95 KW. LOCATION: GARAGE ROOFTOP. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0735. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * UNDERGROUND RACEWAY TO BE INSPECTED BY AHJ PRIOR TO COVERING. * REFER TO SOLAR (PRINCIPAL) PERMIT B200429732.* ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
181 | 14203000080000 | B200429738 | 6/12/2025 |  |  |  |  | 3096 |  | 1541 W ADDISON ST |  | CHICAGO, IL |  | JURICH ALEX | PURPOSE: NEW/REPLACEMENT INSTALLATION. VINYL/PVC FENCE - 6'-0' ' (HEIGHT) X 60'-0' ' (LENGTH). LOCATION: LEFT SIDE OF THE PROPERTY; 60F.
182 | 19084000600000 | B200429741 | 6/12/2025 |  |  |  |  | 4900 |  | 5124 S MASON AVE |  | CHICAGO, IL |  | HERRERA CARLOS | PURPOSE: NEW/REPLACEMENT INSTALLATION. VINYL/PVC FENCE - 6'-0' ' (HEIGHT) X 89'-0' ' (LENGTH). LOCATION: REAR AND SIDE OF THE HOUSE.
183 | 14311110340000 | B200429747 | 6/17/2025 |  |  |  |  | 2450 |  | 2314 W PALMER ST |  | CHICAGO, IL |  | BROWN JOANN | LINE VOLTAGE ELECTRICAL WORK. ADD 1 CIRCUITS TO EXISTING 200 AMP SERVICE DISCONNECTING MEANS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. ELECTRIC VEHICLE SUPPLY EQUIPMENT:1 SPACES. SPECIFIC LOCATION: GARAGE AND BASEMENT.
184 | 09254220790000 | B200429763 | 6/16/2025 |  |  |  |  | 12000 |  | 7312 N OCTAVIA AVE |  | CHICAGO, IL |  | DOSSANTOS CHRISTOPHER | PURPOSE: NEW/REPLACEMENT INSTALLATION. VINYL/PVC FENCE - 6'-0' ' (HEIGHT) X 200'-0' ' (LENGTH). LOCATION: OUTDOOR YARD.
185 | 14174070370000 | B200429765 | 8/11/2025 |  |  |  |  | 2000 |  | 828 W JUNIOR TER |  | CHICAGO, IL |  | LOGMAN ELISABETH | IN-KIND REPLACEMENT OF EXTERIOR WINDOWS AND DOORS IN EXISTING OPENINGS. REPLACEMENT WINDOWS: 1; REPLACEMENT SKYLIGHTS: 0; REPLACEMENT DOORS: 0. AFFECTS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), LOCATION: NORTH ELEVATION SECOND FLOOR.
186 | 17063070470000 | B200429768 | 6/25/2025 |  |  |  |  | 4000 |  | 2008 W THOMAS ST |  | CHICAGO, IL |  | WOJTOWICZ RICHARD | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 25 . LIGHTING OUTLETS: 22. SPECIFIC LOCATION: 2FLOOR APARATMENT.
187 | 25022150460000 | B200429772 | 6/14/2025 |  |  |  |  | 35000 |  | 8840 S STONY ISLAND AVE |  | CHICAGO, IL |  | WEINFIELD DAVID | REPAIR/REPLACEMENT AFFECTING 1 SYSTEMS : 1 ROOFTOP PACKAGED UNIT(TRANE, GCC180A3EHA, ROOF) . ELECTRICAL WORK UNDER THIS PERMIT = NO . LOCATIONS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), EXTERIOR WORK, ROOF TOP. ¦ SPECIAL CONDITION: CONTACT REFRIGERATION SUPERVISOR CLEMENT GAVIN 312-743-3562, PRIOR TO THE INSTALLATION OF ANY ROOFTOP EQUIPMENT, TO SCHEDULE AN INSPECTION.
188 | 16261130140000 | B200429775 | 6/13/2025 |  |  |  |  | 20188 |  | 2443 S AVERS AVE |  | CHICAGO, IL |  | GAMBOA MANUEL | SCOPE: ROOF REPLACEMENT. AREA: 2358 SQ. FT. ROOF COVERING: ASPHALT SHINGLES. LOCATION: ROOFING. IL ROOFING CONTRACTOR LICENSE: 104018992.
189 | 14294240400000 | B200429776 | 6/13/2025 |  |  |  |  | 160659 |  | 2475 N LINCOLN AVE |  | CHICAGO, IL |  | WESTWARD 360 | SCOPE: ROOF REPLACEMENT. AREA: 5000 SQ. FT. ROOF COVERING: OTHER. LOCATION: ROOF TOP. IL ROOFING CONTRACTOR LICENSE: 104000268.
190 | 17094540010000 | B200429777 | 6/16/2025 |  |  |  |  | 21268 |  | 1 N WACKER DR |  | CHICAGO, IL |  | NORTH WACKER LLC ONE | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL SECURITY. SPECIFIC LOCATION: 5TH FLR.
191 | 14312170290000 | B200429781 | 7/30/2025 |  |  |  |  | 140000 |  | 1766 W ARMITAGE AVE |  | CHICAGO, IL |  | 1768 INC. | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 800 AMP SERVICE DISCONNECTING MEANS WITH 6 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. ELECTRIC VEHICLE SUPPLY EQUIPMENT:4 SPACES. SPECIFIC LOCATION: INSTALL CHARGER UNIT. ¦ SPECIAL CONDITION: TY
192 | 12234240240000 | B200429783 | 6/23/2025 |  |  |  |  | 11150 |  | 3224 N PLAINFIELD AVE |  | CHICAGO, IL |  | ELVIRA NARDA LILA | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: STEEP (>5:12). INVERTER OUTPUT: 3.19 KW. ARRAY OUTPUT: 0.04906 KW. LOCATION: ROOF MOUNT OF PRINCIPLE STRUCTURE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #23-0387. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * UNDERGROUND RACEWAY TO BE INSPECTED BY AHJ PRIOR TO COVERING. * REFER TO SOLAR (ACCESSORY) PERMIT B200429862.* ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
193 | 16084230280000 | B200429784 | 6/20/2025 |  |  |  |  | 3150 |  | 5600 W MADISON ST |  | CHICAGO, IL |  | ROBINSON SICQUANDRA | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL SECURITY. SPECIFIC LOCATION: MAIN FLOOR.
194 | 20151030040000 | B200429790 | 6/23/2025 |  |  |  |  | 3554 |  | 211 E GARFIELD BLVD |  | CHICAGO, IL |  | SFW CONTRACTING | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: OUTSIDE REAR.
195 | 14203130380000 | B200429793 | 6/23/2025 |  |  |  |  | 100 |  | 3405 N SOUTHPORT AVE |  | CHICAGO, IL |  | SEPHORA USA, INC. | REPAIR OR IN-KIND REPLACEMENT OF 1 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. INCLUDES REPAIR OR REPLACMENT OF PLUMBING PIPING. LOCATIONS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), GROUND FLOOR RETAIL.
196 | 14302240320000 | B200429795 | 6/13/2025 |  |  |  |  | 712045 |  | 2940 N ASHLAND AVE |  | CHICAGO, IL |  | JEWEL FOOD STORES, INC | SCOPE: ROOF REPLACEMENT. AREA: 80200 SQ. FT. ROOF COVERING: OTHER. LOCATION: ON ROOF. IL ROOFING CONTRACTOR LICENSE: 104000281.
197 | 26311050160000 | B200429796 | 6/12/2025 |  |  |  |  | 5000 |  | 13037 S ESCANABA AVE |  | CHICAGO, IL |  | SLONEZEWSKI KRISTEN | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 30 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. 10 KWH LITHIUM ION ENERGY STORAGE SYSTEM. SPECIFIC LOCATION: BASEMENT AND BACKYARD.
198 | 25171030160000 | B200429801 | 8/8/2025 |  |  |  |  | 23300 |  | 1357 W 103RD ST |  | CHICAGO, IL |  | USCOFW 1357 W 103RD ST LLC | DUCTWORK EXTENSION/RECONFIGURATION, REPAIR/REPLACEMENT AFFECTING 1 SYSTEMS : 1 ROOFTOP PACKAGED UNIT(CARRIER 48FEEA04A2A5-0A0A0 1ST FL. HALL SPACE) . ELECTRICAL WORK UNDER THIS PERMIT = NO . LOCATIONS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), EXTERIOR WORK, ROOF TOP. ¦ SPECIAL CONDITION: CONTACT REFRIGERATION SUPERVISOR CLEMENT GAVIN 312-743-3562, PRIOR TO THE INSTALLATION OF ANY ROOFTOP EQUIPMENT, TO SCHEDULE AN INSPECTION.
199 | 16054300200000 | B200429812 | 6/16/2025 |  |  |  |  | 4000 |  | 5648 W CHICAGO AVE |  | CHICAGO, IL |  | CORRAL MARTIN | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: NEW OUTLET.
200 | 17084240040000 | B200429815 | 7/2/2025 |  |  |  |  | 186060 |  | 905 W FULTON MARKET |  | CHICAGO, IL |  | MASENHEIMER MAKENNA | SCOPE: NONSTRUCTURAL INTERIOR ALTERATION TO INCLUDE ELECTRICAL, NEW PARTITION WALLS, FLOORS, FINISHES, AND ASSOCIATED ELECTRICAL AND LIGHTING. LOCATIONS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), 1ST FLOOR RETAIL SPACE. ¦ SPECIAL CONDITION: NO EXTERIOR OR SIGNAGE WORK INCLUDED ON THIS PERMIT. NO PARTITIONS PERMITTED AGAINST STOREFRONT GLAZING.