## Sheet1
# [LLINE] | PIN* [PARID] | Local Permit No.* [USER28] | Issue Date* [PERMDT] | Desc 1* [DESC1] | Desc 2 Code 1 [USER6] | Desc 2 Code 2 [USER7] | Desc 2 Code 3 [USER8] | Amount* [AMOUNT] | Assessable [IS_ASSESS] | Applicant Street Address* [ADDR1] | Applicant Address 2 [ADDR2] | Applicant City, State, Zip* [ADDR3] | Contact Phone* [PHONE] | Applicant* [USER21] | Notes [NOTE1] | Occupy Dt [UDATE1] | Submit Dt* [CERTDATE] | Est Comp Dt [UDATE2] | user21
1 | 13353000290000 | B200430498 | 6/23/2025 |  |  |  |  | 50000 |  | 1928 N HARDING AVE |  | CHICAGO, IL |  | PINEDA TRANQUILINO | SCOPE: ROOF REPLACEMENT. AREA: 2200 SQ. FT. ROOF COVERING: ASPHALT SHINGLES. LOCATION: THE ROOF. IL ROOFING CONTRACTOR LICENSE: 104002787.
2 | 17032000820000 | B200430499 | 6/24/2025 |  |  |  |  | 318317 |  | 4 E ELM ST |  | CHICAGO, IL |  | 4 EAST ELM CONDOMINIUM ASSN | SCOPE: NONSTRUCTURAL INTERIOR INSTALL OF ANTI-FRACTURE MEMBRANE TO EXISTING FLOOR TILE. LOCATIONS: 0 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 1 INTERIOR COMMON AREAS, FIRST FLOOR LOBBY.
3 | 19201000560000 | B200430502 | 6/18/2025 |  |  |  |  | 195275 |  | 6343 W 63RD ST |  | CHICAGO, IL |  | BMO HARRIS BANK | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 50 . LIGHTING OUTLETS: 100. SPECIFIC LOCATION: 1ST FLOOR REMODEL.
4 | 17294200440000 | B200430506 | 6/18/2025 |  |  |  |  | 3520 |  | 3040 S GRATTEN AVE |  | CHICAGO, IL |  | WILLIAMS JONATHAN | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. ELECTRIC VEHICLE SUPPLY EQUIPMENT:1 SPACES. SPECIFIC LOCATION: GARAGE - EV ONLY.
5 | 16263130290000 | B200430511 | 6/26/2025 |  |  |  |  | 2500 |  | 2718 S LAWNDALE AVE |  | CHICAGO, IL |  | CABALLERO MARIA | WRECK AND REMOVE FRAME DETACHED GARAGE, NO REPLACEMENT. LOCATIONS: 0 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), EXTERIOR WORK, FRAME GARAGE DEMOLITION.
6 | 13331140160000 | B200430530 | 6/18/2025 |  |  |  |  | 57779 |  | 2044 N LARAMIE AVE |  | CHICAGO, IL |  | ROMAN OSCAR | SCOPE: ROOF REPLACEMENT. AREA: 140 SQ. FT. ROOF COVERING: ASPHALT SHINGLES. LOCATION: ROOFING. IL ROOFING CONTRACTOR LICENSE: 104018619.
7 | 20254260040000 | B200430538 | 7/2/2025 |  |  |  |  | 100 |  | 7811 S CLYDE AVE |  | CHICAGO, IL |  | JACKSON JAMES | LEGALIZE UNPERMITTED WORK: WRECK AND REMOVE 1 STORY RESIDENTIAL DETACHED FRAME GARAGE. LOCATIONS: 0 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), EXTERIOR WORK, EXTERIOR GARAGE.
8 | 20223110370000 | B200430539 | 7/1/2025 |  |  |  |  | 7000 |  | 364 E 69TH ST |  | CHICAGO, IL |  | FNDN CHEIKH | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 200 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. PARAPET REBUILDING: 200 SQ. FT. LOCATION: SOUTH PARAPET WALL REPAIRS AND TUCKPOINTING.
9 | 21311080350000 | B200430541 | 6/20/2025 |  |  |  |  | 3000 |  | 8024 S PHILLIPS AVE |  | CHICAGO, IL |  | MCKINLEY KEVIN | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 7 . LIGHTING OUTLETS: 5. SPECIFIC LOCATION: BASEMENT AND APARMENTS.
10 | 17083290010000 | B200430543 | 6/27/2025 |  |  |  |  | 500000 |  | 1335 W RANDOLPH ST |  | CHICAGO, IL |  | RANDOLPH ADVENTURES INC | REPAIR/REPLACEMENT AFFECTING 1 SYSTEMS : 1 ROOFTOP PACKAGED UNIT(DAIKIN, DPSA034, ROOF) 1 ROOFTOP PACKAGED UNIT(DAIKIN, DPSA040, ROOF) 1 ROOFTOP PACKAGED UNIT(DAIKIN, DPSA068, ROOF) . ELECTRICAL WORK UNDER THIS PERMIT = NO . LOCATIONS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), EXTERIOR WORK, ROOF OF BUILDING..
11 | 17341210920000 | B200430544 | 6/23/2025 |  |  |  |  | 5000 |  | 3450 S GILES AVE |  | CHICAGO, IL |  | SHIN CHOONG | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 200 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: REAR (WEST) MASONRY WALL.
12 | 13283300250000 | B200430548 | 6/18/2025 |  |  |  |  | 100 |  | 5230 W MONTANA ST |  | CHICAGO, IL |  | ARROYO ALEJANDRO | PURPOSE: LEGALIZE UNPERMITTED WORK. WOOD FENCE - 6'-0' ' (HEIGHT) X 39'-0' ' (LENGTH). LOCATION: BACKYARD FENCE.
13 | 13284280180000 | B200430550 | 6/30/2025 |  |  |  |  | 75000 |  | 5156 W FULLERTON AVE |  | CHICAGO, IL |  | SLOMSKI JON | SCOPE: ROOF REPLACEMENT. AREA: 28 SQ. FT. ROOF COVERING: MINERAL - SURFACED ROLL ROOFING. LOCATION: REROOFING. IL ROOFING CONTRACTOR LICENSE: 104017037.
14 | 11314090350000 | B200430555 | 6/19/2025 |  |  |  |  | 26800 |  | 1615 W COLUMBIA AVE |  | CHICAGO, IL |  | PROPERTIES, LLC PEAK | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 500 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: MASONRY REPAIR WORK.
15 | 14053180370000 | B200430559 | 6/18/2025 |  |  |  |  | 14000 |  | 5712 N MAGNOLIA AVE |  | CHICAGO, IL |  | STROJNY JACOB | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 40 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: BASEMENT.
16 | 17072140630000 | B200430561 | 6/18/2025 |  |  |  |  | 3876 |  | 1728 W OHIO ST |  | CHICAGO, IL |  | KAPITAL ELECTRIC CO., INC | LINE VOLTAGE ELECTRICAL WORK. ADD 1 CIRCUITS TO EXISTING 200 AMP SERVICE DISCONNECTING MEANS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. ELECTRIC VEHICLE SUPPLY EQUIPMENT:1 SPACES. SPECIFIC LOCATION: GARAGE.
17 | 13303250110000 | B200430563 | 6/18/2025 |  |  |  |  | 18250 |  | 2440 N NORDICA AVE |  | CHICAGO, IL |  | SCAFIDE JACK | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 1000 SQ. FT., LINTEL QTY. 8, MAX. LENGTH 6. LOCATION: MASONRY WALLS.
18 | 13201140090000 | B200430565 | 6/26/2025 |  |  |  |  | 5420 |  | 6233 W GRACE ST |  | CHICAGO, IL |  | TUFANO CARMELA | PURPOSE: NEW/REPLACEMENT INSTALLATION. WROUGHT IRON FENCE - 6'-0' ' (HEIGHT) X 62'-0' ' (LENGTH). LOCATION: NORTH SIDE OF THE PROPERTY.
19 | 17331100320000 | B200430566 | 6/18/2025 |  |  |  |  | 3750 |  | 3218 S LOWE AVE |  | CHICAGO, IL |  | KAPITAL ELECTRIC CO., INC | LINE VOLTAGE ELECTRICAL WORK. ADD 1 CIRCUITS TO EXISTING 100 AMP SERVICE DISCONNECTING MEANS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. ELECTRIC VEHICLE SUPPLY EQUIPMENT:1 SPACES. SPECIFIC LOCATION: GARAGE.
20 | 17322190280000 | B200430567 | 6/18/2025 |  |  |  |  | 4112 |  | 832 W 33RD PL |  | CHICAGO, IL |  | KAPITAL ELECTRIC CO., INC | LINE VOLTAGE ELECTRICAL WORK. ADD 1 CIRCUITS TO EXISTING 100 AMP SERVICE DISCONNECTING MEANS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. ELECTRIC VEHICLE SUPPLY EQUIPMENT:1 SPACES. SPECIFIC LOCATION: GARAGE.
21 | 17162430360000 | B200430570 | 6/24/2025 |  |  |  |  | 6000 |  | 424 S CLARK ST |  | CHICAGO, IL |  | COHEN RANDY | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: BASEMENT.
22 | 13311250430000 | B200430571 | 7/1/2025 |  |  |  |  | 16000 |  | 7136 W ARMITAGE AVE |  | CHICAGO, IL |  | CUBIC AMIR | FULL REBUILD (SAME AS EXISTING) FOR WOOD PORCH (OPEN) (QUANTITY: 1, LOCATION: REAR OF BUILDING).
23 | 11311020070000 | B200430576 | 8/22/2025 |  |  |  |  | 25000 |  | 2155 W TOUHY AVE |  | CHICAGO, IL |  | ADVANTECH DEVELOPMENT LLC | NONSTRUCTURAL INTERIOR ALTERATION.LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), REPAIR/REPLACE PLUMBING AND ELECTRICAL ON 1ST/2ND.
24 | 16113090260000 | B200430582 | 8/25/2025 |  |  |  |  | 800000 |  | 3940 W WASHINGTON BLVD |  | CHICAGO, IL |  | KAPITAL ELECTRIC CO., INC | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 800 AMP SERVICE DISCONNECTING MEANS WITH 3 CIRCUITS. RECEPTACLE OUTLETS: 3 . LIGHTING OUTLETS: 0. ELECTRIC VEHICLE SUPPLY EQUIPMENT:6 SPACES. SPECIFIC LOCATION: PARKING LOT. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * CEC TABLE 250.66 * PLEASE MAKE CORRECTIONS AND RESUBMIT.
25 | 13072270010000 | B200430584 | 6/20/2025 |  |  |  |  | 16000 |  | 5225 N OAK PARK AVE |  | CHICAGO, IL |  | CPS* | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 200 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: ALL FOUR ELEVATIONS OF BUILDING.
26 | 13284280180000 | B200430586 | 7/14/2025 |  |  |  |  | 10000 |  | 5156 W FULLERTON AVE |  | CHICAGO, IL |  | SLOMSKI JON | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 100 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: TUCKPOINTING.
27 | 17094200390000 | B200430588 | 7/1/2025 |  |  |  |  | 95000 |  | 203 N LA SALLE ST |  | CHICAGO, IL |  | TKOS II, LLC | SCOPE: NONSTRUCTURAL INTERIOR ALTERATION OF EXISTING OFFICE, TO INCLUDE NEW PARTITIONS, ELECTRICAL AND DUCTWORK RECONFIGURATION. LOCATIONS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), SUITE 2150.
28 | 25041180300000 | B200430598 | 6/18/2025 |  |  |  |  | 25450 |  | 8920 S LOWE AVE |  | CHICAGO, IL |  | POLK NORA | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 22'-0' ' X20'-0' '. HIP ROOF HEIGHT TO PEAK: 12'-0' '.
29 | 19361050320000 | B200430599 | 6/18/2025 |  |  |  |  | 1500 |  | 7936 S FRANCISCO AVE |  | CHICAGO, IL |  | ROBINSON TOMMIE | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 125 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. 13.5 KWH LITHIUM ION ENERGY STORAGE SYSTEM. SPECIFIC LOCATION: SERVICE CONDUCTORS, MAST/RISER, EXTERIOR WALL.
30 | 17161200100000 | B200430605 | 6/18/2025 |  |  |  |  | 6000 |  | 320 S CANAL ST |  | CHICAGO, IL |  | VERISMO FINANCIAL | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. ALTER EXISTING SECURITY. SPECIFIC LOCATION: SUITE 2900.
31 | 19111060250000 | B200430607 | 8/28/2025 |  |  |  |  | 800000 |  | 4750 S ARCHER AVE |  | CHICAGO, IL |  | KAPITAL ELECTRIC CO., INC | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 800 AMP SERVICE DISCONNECTING MEANS WITH 2 CIRCUITS. RECEPTACLE OUTLETS: 2 . LIGHTING OUTLETS: 0. ELECTRIC VEHICLE SUPPLY EQUIPMENT:4 SPACES. SPECIFIC LOCATION: PARKING LOT. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * CEC TABLE 250.66 * PLEASE MAKE CORRECTIONS AND RESUBMIT.
32 | 19212040420000 | B200430609 | 6/18/2025 |  |  |  |  | 1500 |  | 6338 S LAPORTE AVE |  | CHICAGO, IL |  | ARROYO WENDY | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. 13.5 KWH LITHIUM ION ENERGY STORAGE SYSTEM. SPECIFIC LOCATION: EXTERIOR WALL.
33 | 14082100190000 | B200430611 | 6/19/2025 |  |  |  |  | 29300 |  | 5200 N WINTHROP AVE |  | CHICAGO, IL |  | 5200 N. WINTHROP LLC | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 500 SQ. FT., LINTEL QTY. 21, MAX. LENGTH 5. LOCATION: MASONRY REPAIR WORK.
34 | 20343070390000 | B200430612 | 6/18/2025 |  |  |  |  | 1500 |  | 8454 S MICHIGAN AVE |  | CHICAGO, IL |  | THORNTON BOOKER | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. 13.5 KWH LITHIUM ION ENERGY STORAGE SYSTEM. SPECIFIC LOCATION: EXTERIOR WALL.
35 | 17063070470000 | B200430614 | 6/26/2025 |  |  |  |  | 5000 |  | 2008 W THOMAS ST |  | CHICAGO, IL |  | WOJTOWICZ RICHARD | REPAIR OR IN-KIND REPLACEMENT OF 8 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. INCLUDES REPAIR OR REPLACMENT OF PLUMBING PIPING. INCLUDES REPAIR OR REPLACEMENT OF PLUMBING RISERS IN EXISTING CHASES. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 2 INTERIOR COMMON AREAS, BATHROOM AND KITCHEN, INTERIOR PLUMBING REPAIRS. ¦ SPECIAL CONDITION: NO EXTERIOR WORK.
36 | 19354210430000 | B200430616 | 8/18/2025 |  |  |  |  | 800000 |  | 8644 S KEDZIE AVE |  | CHICAGO, IL |  | KAPITAL ELECTRIC CO., INC | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 800 AMP SERVICE DISCONNECTING MEANS WITH 2 CIRCUITS. RECEPTACLE OUTLETS: 2 . LIGHTING OUTLETS: 0. ELECTRIC VEHICLE SUPPLY EQUIPMENT:4 SPACES. SPECIFIC LOCATION: PARKING LOT. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * CEC TABLE 250.66 * PLEASE MAKE CORRECTIONS AND RESUBMIT.
37 | 19044220160000 | B200430618 | 6/26/2025 |  |  |  |  | 12750 |  | 4549 S LAMON AVE |  | CHICAGO, IL |  | GARCIA BENJAMIN | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 4.35 KW. ARRAY OUTPUT: 6.375 KW. INCLUDES 5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF AND EXTERIOR. ICC DISTRIBUTED GENERATION INSTALLER CERT. #25-0072. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
38 | 17083090010000 | B200430620 | 6/26/2025 |  |  |  |  | 6000 |  | 1517 W CARROLL AVE |  | CHICAGO, IL |  | 1517 WEST CARROL LLC | REPAIR OR IN-KIND REPLACEMENT OF 1 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. INCLUDES REPAIR OR REPLACMENT OF PLUMBING PIPING. LOCATIONS: 0 RESIDENTIAL UNIT(S), 2 NON-RESIDENTIAL UNIT(S), 1 INTERIOR COMMON AREAS, BASEMENT.
39 | 20363200140000 | B200430626 | 6/24/2025 |  |  |  |  | 20580 |  | 8533 S CREGIER AVE |  | CHICAGO, IL |  | JONES JAMILA | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 11.5 KW. ARRAY OUTPUT: 8.2 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES OF PRINCIPAL STRUCTURE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE. * REFER TO ELECTRICAL PERMIT B200430317.
40 | 25174020400000 | B200430629 | 6/25/2025 |  |  |  |  | 16856 |  | 10954 S BEVERLY AVE |  | CHICAGO, IL |  | JOHNSON JOHN | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 11.5 KW. ARRAY OUTPUT: 6.56 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES OF PRINCIPAL STRUCTURE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * REFER TO ELECTRICAL PERMIT B200430324.* ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, ETC... MUST BE LISTED AND LABELED FOR USE.
41 | 16043050200000 | B200430630 | 6/25/2025 |  |  |  |  | 24475 |  | 1154 N LOCKWOOD AVE |  | CHICAGO, IL |  | INGLAM JACQUELINE | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: STEEP (>5:12). INVERTER OUTPUT: 11.5 KW. ARRAY OUTPUT: 10.25 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES OF PRINCIPAL STRUCTURE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * REFER TO ELECTRICAL PERMIT B200428808.* ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
42 | 17042050490000 | B200430632 | 6/25/2025 |  |  |  |  | 10000 |  | 1433 N WELLS ST |  | CHICAGO, IL |  | CHICAGO APT PLACE INC* | REPAIR/REPLACEMENT AFFECTING 1 SYSTEMS : 1 CENTRAL FURNACE(CARRIER 58MXA080-16) . ELECTRICAL WORK UNDER THIS PERMIT = NO . LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), UNIT 1433-3F.
43 | 14283160270000 | B200430633 | 6/24/2025 |  |  |  |  | 4000 |  | 2508 N CLARK ST |  | CHICAGO, IL |  | DEARBORN PARKWAY REALTY | PARAPET REBUILDING: 200 SQ. FT. LOCATION: EXTERIOR FACADE - LINTIL REPLACEMENT.
44 | 19212040420000 | B200430634 | 6/25/2025 |  |  |  |  | 21302 |  | 6338 S LAPORTE AVE |  | CHICAGO, IL |  | ARROYO WENDY | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 11.5 KW. ARRAY OUTPUT: 8.58 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES OF PRINCIPAL STRUCTURE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * REFER TO ELECTRICAL PERMIT B200430609.* ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
45 | 25271000350000 | B200430636 | 7/3/2025 |  |  |  |  | 20000 |  | 28 E 119TH PL |  | CHICAGO, IL |  | TAYLOR BRYAN | FULL REBUILD (SAME AS EXISTING) FOR WOOD PORCH (OPEN) (QUANTITY: 1, LOCATION: EAST SIDE OF BUILDING).
46 | 13264080210000 | B200430641 | 6/30/2025 |  |  |  |  | 30000 |  | 2653 N MILWAUKEE AVE |  | CHICAGO, IL |  | PRADA MARIA | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 700 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: FRONT FACADE.
47 | 17094030010000 | B200430643 | 6/24/2025 |  |  |  |  | 90000 |  | 222 W MERCHANDISE MART PLZ |  | CHICAGO, IL |  | VORNADO REALTY TRUST | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. ALTER EXISTING DATA/VIDEO. SPECIFIC LOCATION: 8TH FLOOR SUITE.
48 | 16112020240000 | B200430644 | 6/25/2025 |  |  |  |  | 7731 |  | 3439 W CHICAGO AVE |  | CHICAGO, IL |  | WONSEY WADE | STUCCO EXTERIOR CORNER REPAIR, IMPACTED BY VEHICLE DAMAGE. LOCATIONS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), EXTERIOR WORK, REPAIR STUCCO CORNER.
49 | 13051200390000 | B200430645 | 6/18/2025 |  |  |  |  | 30000 |  | 6254 W HOLBROOK ST |  | CHICAGO, IL |  | ESPINOZA JUAN | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 22'-0' ' X28'-0' '. GABLE ROOF HEIGHT TO PEAK: 15'-0' '.
50 | 13312040010000 | B200430647 | 6/27/2025 |  |  |  |  | 25000 |  | 2369 N NORMANDY AVE |  | CHICAGO, IL |  | NET LEASE REALTY I, INC. | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 0 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: PARKING LOT.
51 | 17032080080000 | B200430648 | 7/2/2025 |  |  |  |  | 45510 |  | 999 N LAKE SHORE DR |  | CHICAGO, IL |  | 999 LAKE SHORE DRIVE CORP | SCOPE: ROOF RECOVER. AREA: 1050 SQ. FT. ROOF COVERING: OTHER. LOCATION: ROOF TOP. IL ROOFING CONTRACTOR LICENSE: 104000268.
52 | 20114100240000 | B200430651 | 6/24/2025 |  |  |  |  | 5000 |  | 1424 E 53RD ST |  | CHICAGO, IL |  | CITIBANK FSB OF IL | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL AUDIO. SPECIFIC LOCATION: 1ST FLOOR RETAIL.
53 | 17162050160000 | B200430654 | 6/24/2025 |  |  |  |  | 321171 |  | 10 S DEARBORN ST |  | CHICAGO, IL |  | JPMORGAN CHASE BANK, N.A. | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL AUDIO. SPECIFIC LOCATION: PHASE 2 -FLOORS 38,43,45,46,47,48,55. ¦ SPECIAL CONDITION: NO OTHER WORK.
54 | 25174260230000 | B200430659 | 6/18/2025 |  |  |  |  | 28991 |  | 10931 S PEORIA ST |  | CHICAGO, IL |  | GILLESPIE ROY | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 22'-0' ' X22'-0' '. HIP ROOF HEIGHT TO PEAK: 13'-0' '.
55 | 13212080200000 | B200430660 | 6/24/2025 |  |  |  |  | 36600 |  | 5152 W BERENICE AVE |  | CHICAGO, IL |  | KUBICA DAVID | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 20'-0' ' X30'-0' '. HIP ROOF HEIGHT TO PEAK: 14'-0' '.
56 | 20311180060000 | B200430663 | 6/25/2025 |  |  |  |  | 26812 |  | 2222 W 81ST PL |  | CHICAGO, IL |  | MCINTOSH MONIQUE | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 11.5 KW. ARRAY OUTPUT: 11.48 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES OF PRINCIPAL STRUCTURE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * REFER TO ELECTRICAL PERMIT B200430171.* ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
57 | 20343070390000 | B200430666 | 6/24/2025 |  |  |  |  | 4960 |  | 8454 S MICHIGAN AVE |  | CHICAGO, IL |  | THORNTON BOOKER | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 11.5 KW. ARRAY OUTPUT: 2.46 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES OF PRINCIPAL STRUCTURE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * UNDERGROUND RACEWAY TO BE INSPECTED BY AHJ PRIOR TO COVERING. * REFER TO SOLAR (ACCESSORY) PERMIT B200430667 AND ELECTRICAL PERMIT B200430612.* ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
58 | 20343070390000 | B200430667 | 6/24/2025 |  |  |  |  | 4960 |  | 8454 S MICHIGAN AVE |  | CHICAGO, IL |  | THORNTON BOOKER | INSTALL SOLAR PANELS ON ROOF OF ACCESSORY BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 11.5 KW. ARRAY OUTPUT: 2.46 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES OF DETACHED STRUCTURE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * UNDERGROUND RACEWAY TO BE INSPECTED BY AHJ PRIOR TO COVERING. * REFER TO SOLAR (PRINCIPAL) PERMIT B200430666 AND ELECTRICAL PERMIT B200430612.* ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
59 | 20081110390000 | B200430671 | 7/21/2025 |  |  |  |  | 25000 |  | 4836 S LOOMIS BLVD |  | CHICAGO, IL |  | AYLESWORTH JOHN | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 20'-0' ' X20'-0' '. GABLE ROOF HEIGHT TO PEAK: 13'-8' '.
60 | 13073280060000 | B200430674 | 6/18/2025 |  |  |  |  | 4200 |  | 4939 N NEW ENGLAND AVE |  | CHICAGO, IL |  | GUZMAN SAMANTHA | PURPOSE: NEW/REPLACEMENT INSTALLATION. WOOD FENCE - 6'-0' ' (HEIGHT) X 37'-0' ' (LENGTH). LOCATION: BACKYARD.
61 | 14082010010000 | B200430676 | 6/25/2025 |  |  |  |  | 4000 |  | 1055 W BRYN MAWR AVE |  | CHICAGO, IL |  | WRIGHT ASHLEY | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 12 . LIGHTING OUTLETS: 8. SPECIFIC LOCATION: DINING AREA.
62 | 20332260220000 | B200430682 | 6/24/2025 |  |  |  |  | 900 |  | 8220 S PERRY AVE |  | CHICAGO, IL |  | LUXURIOUS BLUEPRINT REALTY INC | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 20 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: BASEMENT AND OUTSIDE.
63 | 26053130390000 | B200430684 | 6/26/2025 |  |  |  |  | 8400 |  | 9647 S AVENUE N |  | CHICAGO, IL |  | HERNANDEZ OSCAR | REPAIR (26% TO 50%) FOR WOOD PORCH (OPEN) (QUANTITY: 1, LOCATION: FRONT OF BUILDING).
64 | 20194070330000 | B200430687 | 6/24/2025 |  |  |  |  | 30000 |  | 6724 S ASHLAND AVE |  | CHICAGO, IL |  | RIVOIR SANTIAGO | SCOPE: ROOF RECOVER. AREA: 50 SQ. FT. ROOF COVERING: OTHER. LOCATION: ROOF EXTERIOR. IL ROOFING CONTRACTOR LICENSE: 104019598.
65 | 13322120630000 | B200430688 | 6/26/2025 |  |  |  |  | 4800 |  | 5740 W GRAND AVE |  | CHICAGO, IL |  | VARGAS NELSON | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 600 SQ. FT., LINTEL QTY. 3, MAX. LENGTH 4. LOCATION: PARAPETS.
66 | 13103240280000 | B200430692 | 6/25/2025 |  |  |  |  | 20685 |  | 5110 N KENNETH AVE |  | CHICAGO, IL |  | NGUYEN NHI | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 5.7 KW. ARRAY OUTPUT: 7.38 KW. INCLUDES 5 KWH ENERGY STORAGE SYSTEM. LOCATION: HOUSE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #19-0021. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * UNDERGROUND RACEWAY TO BE INSPECTED BY AHJ PRIOR TO COVERING. * REFER TO SOLAR (ACCESSORY) PERMIT B200430695.* ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
67 | 13103240280000 | B200430695 | 6/25/2025 |  |  |  |  | 20685 |  | 5110 N KENNETH AVE |  | CHICAGO, IL |  | NGUYEN NHI | INSTALL SOLAR PANELS ON ROOF OF ACCESSORY BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 5.7 KW. ARRAY OUTPUT: 7.38 KW. INCLUDES 10 KWH ENERGY STORAGE SYSTEM. LOCATION: GARAGE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #19-0021. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * UNDERGROUND RACEWAY TO BE INSPECTED BY AHJ PRIOR TO COVERING. * REFER TO SOLAR (PRINCIPAL) PERMIT B200430692.* ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
68 | 16021180290000 | B200430696 | 6/25/2025 |  |  |  |  | 13797 |  | 1336 N HAMLIN AVE |  | CHICAGO, IL |  | MALETIN DANIEL | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: LOW-SLOPED (<2:12). INVERTER OUTPUT: 7.6 KW. ARRAY OUTPUT: 6.885 KW. LOCATION: ROOF OF HOUSE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #19-0021. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE. * PLEASE PROVIDE NOTARIZED LETTER FROM OWNER & BUILDING MANAGEMENT WITH APPROVAL OF SOLAR INSTALLATION OF PROPOSED WORK ON BUILDING STRUCTURE AT THE TIME OF SOLAR INSPECTION OR RISK FAILURE AS PROPOSED WORK PER ELECTRICAL DRAWING.
69 | 17182200010000 | B200430697 | 6/25/2025 |  |  |  |  | 25000 |  | 1759 W ADAMS ST |  | CHICAGO, IL |  | BOCK CASSANDRA | SCOPE: ROOF REPLACEMENT. AREA: 5400 SQ. FT. ROOF COVERING: ASPHALT SHINGLES. LOCATION: HIP ROOF SHINGLES. IL ROOFING CONTRACTOR LICENSE: 104019335.
70 | 14203130380000 | B200430701 | 6/19/2025 |  |  |  |  | 36917 |  | 3405 N SOUTHPORT AVE |  | CHICAGO, IL |  | SEPHORA | LINE VOLTAGE ELECTRICAL WORK. ALTER EXISTING LIGHTING.SPECIFIC LOCATION: GROUND FLOOR RETAIL.
71 | 16023020010000 | B200430703 | 6/26/2025 |  |  |  |  | 19000 |  | 3855 W DIVISION ST |  | CHICAGO, IL |  | YASIR KANAN | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 12 . LIGHTING OUTLETS: 70. SPECIFIC LOCATION: 1ST FL STORE.
72 | 17093170070000 | B200430706 | 7/2/2025 |  |  |  |  | 50000 |  | 218 N CANAL ST |  | CHICAGO, IL |  | KIM KUESTER | ALTERATION OF EXISTING COMMUNICATION EQUIPMENT. ALTERATION OF 0 BOXES AND EQUIPMENT ON 1 TOWERS / STRUCTURES. LOCATION: MODIFICATION TO EXISTING ANTENNAS ON ROOF PER PLAN.
73 | 16023020010000 | B200430713 | 6/20/2025 |  |  |  |  | 4400 |  | 3855 W DIVISION ST |  | CHICAGO, IL |  | YASIR KANAN | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 2 . LIGHTING OUTLETS: 3. SPECIFIC LOCATION: SALES AREA.
74 | 16023020010000 | B200430715 | 6/23/2025 |  |  |  |  | 1200 |  | 3855 W DIVISION ST |  | CHICAGO, IL |  | YASIR KANAN | IN-KIND REPLACEMENT OF EXTERIOR WINDOWS AND DOORS IN EXISTING OPENINGS. REPLACEMENT WINDOWS: 0; REPLACEMENT SKYLIGHTS: 0; REPLACEMENT DOORS: 1. AFFECTS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), LOCATION: REAR DOOR.
75 | 25031210220000 | B200430719 | 6/20/2025 |  |  |  |  | 3100 |  | 8950 S DR MARTIN LUTHER KING JR DR |  | CHICAGO, IL |  | FRANKLIN CARLLA | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 125 AMP SERVICE DISCONNECTING MEANS WITH 14 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: BASEMENT, REAR BACK OF HOUSE BY METER.
76 | 16024040360000 | B200430725 | 6/19/2025 |  |  |  |  | 4700 |  | 1012 N DRAKE AVE |  | CHICAGO, IL |  | MITCHELL ETELY | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 10 CIRCUITS. RECEPTACLE OUTLETS: 7 . LIGHTING OUTLETS: 5. SPECIFIC LOCATION: SERVICE.
77 | 20341010370000 | B200430726 | 6/19/2025 |  |  |  |  | 14290 |  | 7950 S MICHIGAN AVE |  | CHICAGO, IL |  | WASHINGTON DIANA | REPAIR OR IN-KIND REPLACEMENT OF 0 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. INCLUDES REPAIR OR REPLACMENT OF PLUMBING PIPING. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), BASEMENT & FIRST & SECOND FLOOR.
78 | 14333040070000 | B200430730 | 6/24/2025 |  |  |  |  | 13000 |  | 1939 N LARRABEE ST |  | CHICAGO, IL |  | ARMSTRONG BOB | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 30 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: BASEMENT.
79 | 13222120080000 | B200430731 | 7/2/2025 |  |  |  |  | 45500 |  | 3815 N KEDVALE AVE |  | CHICAGO, IL |  | CHICAGO PUBLIC SCHOOLS | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 330 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: ALL FOUR ELEVATIONS OF BUILDING.
80 | 26062030060000 | B200430732 | 6/19/2025 |  |  |  |  | 3250 |  | 8715 S COMMERCIAL AVE |  | CHICAGO, IL |  | TOMCZAK BRENT | PURPOSE: NEW/REPLACEMENT INSTALLATION. WOOD FENCE - 6'-0' ' (HEIGHT) X 280'-0' ' (LENGTH). VINYL/PVC FENCE - 6'-0' ' (HEIGHT) X 25'-0' ' (LENGTH). LOCATION: FRONT, SIDES AND REAR OF PROPERTY.
81 | 16092170280000 | B200430734 | 6/24/2025 |  |  |  |  | 16000 |  | 544 N LECLAIRE AVE |  | CHICAGO, IL |  | MALONE PAMELA | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 30 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: BASEMENT.
82 | 12011330190000 | B200430736 | 6/24/2025 |  |  |  |  | 13000 |  | 7756 W PETERSON AVE |  | CHICAGO, IL |  | IMBARRATO JOSEPHINE | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 30 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: BASEMENT.
83 | 17162160090000 | B200430742 | 6/23/2025 |  |  |  |  | 100 |  | 233 S WACKER DR |  | CHICAGO, IL |  | WILLIS TOWER | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL OTHER. SPECIFIC LOCATION: FLOORS 42 AND 43.
84 | 13051090130000 | B200430746 | 6/24/2025 |  |  |  |  | 13000 |  | 6225 N MELVINA AVE |  | CHICAGO, IL |  | MELLON MICHAEL | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 40 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: BASEMENT.
85 | 13024030210000 | B200430751 | 6/19/2025 |  |  |  |  | 29416 |  | 5907 N BERNARD ST |  | CHICAGO, IL |  | TOBIN JOVITA | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 88 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: BASEMENT UNIT, UNIT1, UNIT 2, SIDE OF THE BUIDLING.
86 | 20173230010000 | B200430754 | 6/26/2025 |  |  |  |  | 3000 |  | 6137 S THROOP ST |  | CHICAGO, IL |  | AGUIRRE DORA | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: EXTERIOR/INTERIOR.
87 | 14073090060000 | B200430757 | 6/25/2025 |  |  |  |  | 38100 |  | 2135 W FOSTER AVE |  | CHICAGO, IL |  | CHICAGO PUBLIC SCHOOLS | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 100 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: ALL FOUR ELEVATIONS.
88 | 16133140010000 | B200430760 | 6/26/2025 |  |  |  |  | 104900 |  | 2935 W POLK ST |  | CHICAGO, IL |  | CPS* | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 400 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: ALL FOUR ELEVATIONS.
89 | 17074050010000 | B200430762 | 7/2/2025 |  |  |  |  | 479 |  | 1863 W CARROLL AVE |  | CHICAGO, IL |  | ZEN DOGS CHICAGO | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL SECURITY. SPECIFIC LOCATION: INTERIOR WORK ONLY.
90 | 20244150160000 | B200430769 | 6/25/2025 |  |  |  |  | 10000 |  | 6936 S CLYDE AVE |  | CHICAGO, IL |  | MASADA MGMT | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 1000 SQ. FT., LINTEL QTY. 6, MAX. LENGTH 6. LOCATION: 3RD FLOOR EAST FRONT FACADE AND SOUTH COURTYARD.
91 | 20244150170000 | B200430769 | 6/25/2025 |  |  |  |  | 10000 |  | 6936 S CLYDE AVE |  | CHICAGO, IL |  | MASADA MGMT | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 1000 SQ. FT., LINTEL QTY. 6, MAX. LENGTH 6. LOCATION: 3RD FLOOR EAST FRONT FACADE AND SOUTH COURTYARD.
92 | 11321110140000 | B200430771 | 6/24/2025 |  |  |  |  | 2650 |  | 1140 W LUNT AVE |  | CHICAGO, IL |  | HAMPSHER CLAUDIA | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: KITCHEN, UNIT 4B.
93 | 14293060190000 | B200430775 | 6/21/2025 |  |  |  |  | 21700 |  | 2701 N MAGNOLIA AVE |  | CHICAGO, IL |  | BRANDSTETTER SUSAN | SCOPE: ROOF REPLACEMENT. AREA: 3000 SQ. FT. ROOF COVERING: ASPHALT SHINGLES. LOCATION: ROOFING ONLY. IL ROOFING CONTRACTOR LICENSE: 104.01974.
94 | 24231020640000 | B200430777 | 6/27/2025 |  |  |  |  | 41270 |  | 3732 W 114TH ST |  | CHICAGO, IL |  | RYAN JOSEPH | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: STEEP (>5:12). INVERTER OUTPUT: 13.44 KW. ARRAY OUTPUT: 17.85 KW. LOCATION: ROOFING. ICC DISTRIBUTED GENERATION INSTALLER CERT. #25-0056. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
95 | 25081030580000 | B200430778 | 6/19/2025 |  |  |  |  | 30515 |  | 9618 S LOOMIS ST |  | CHICAGO, IL |  | HILL RASTUS | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 22'-0' ' X20'-0' '. HIP ROOF HEIGHT TO PEAK: 13'-0' '.
96 | 17103110050000 | B200430780 | 6/23/2025 |  |  |  |  | 5000 |  | 17 N STATE ST |  | CHICAGO, IL |  | REDMOND THOMAS | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL DATA/VIDEO. SPECIFIC LOCATION: SUITE 100. ¦ SPECIAL CONDITION: NO OTHER WORK.
97 | 16233040150000 | B200430784 | 6/19/2025 |  |  |  |  | 10090 |  | 1643 S HAMLIN AVE |  | CHICAGO, IL |  | STRICKLIN VALERIE | PURPOSE: NEW/REPLACEMENT INSTALLATION. CHAIN LINK FENCE - 6'-0' ' (HEIGHT) X 167'-0' ' (LENGTH). WOOD FENCE - 6'-0' ' (HEIGHT) X 116'-0' ' (LENGTH). LOCATION: ROUNDING ALL PROPERTY.
98 | 13141030010000 | B200430788 | 6/24/2025 |  |  |  |  | 18000 |  | 3825 W LAWRENCE AVE |  | CHICAGO, IL |  | JEONG KEVIN | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 500 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: WEST ELEVATION, FRONT FACADE.
99 | 13333180360000 | B200430790 | 6/20/2025 |  |  |  |  | 3000 |  | 1710 N LARAMIE AVE |  | CHICAGO, IL |  | CASTRO MONICA | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 125 AMP SERVICE DISCONNECTING MEANS WITH 22 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: INSIDE THE HOUSE, LAUNDRY ROOM.
100 | 17281020180000 | B200430797 | 6/24/2025 |  |  |  |  | 125232 |  | 2222 S LUMBER ST |  | CHICAGO, IL |  | OZINGA READY MIX CONCRETE, INC | SCOPE: ROOF RECOVER. AREA: 14000 SQ. FT. ROOF COVERING: OTHER. LOCATION: FLAT ROOF. IL ROOFING CONTRACTOR LICENSE: 104008589.
101 | 25063080120000 | B200430800 | 6/20/2025 |  |  |  |  | 78000 |  | 9235 S HAMILTON AVE |  | CHICAGO, IL |  | ARCHDIOCESE OF CHICAGO | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 550 SQ. FT., LINTEL QTY. 7, MAX. LENGTH 4. LOCATION: FACADE.
102 | 19361170580000 | B200430803 | 6/19/2025 |  |  |  |  | 3320 |  | 8123 S TROY ST |  | CHICAGO, IL |  | ALVAREZ MARIA | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 16 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: NORTH.
103 | 19033140040000 | B200430806 | 6/19/2025 |  |  |  |  | 5000 |  | 4623 S KILPATRICK AVE |  | CHICAGO, IL |  | GUADARRAMA CECILIA | PURPOSE: NEW/REPLACEMENT INSTALLATION. WOOD FENCE - 6'-0' ' (HEIGHT) X 82'-0' ' (LENGTH). LOCATION: OUTDOOR FENCE.
104 | 13131070100000 | B200430809 | 6/19/2025 |  |  |  |  | 500 |  | 3127 W LELAND AVE |  | CHICAGO, IL |  | YOEU HAROON | PURPOSE: NEW/REPLACEMENT INSTALLATION. WOOD FENCE - 6'-0' ' (HEIGHT) X 100'-0' ' (LENGTH). LOCATION: BACKYARD.
105 | 19013180070000 | B200430813 | 8/4/2025 |  |  |  |  | 900 |  | 4519 S TROY ST |  | CHICAGO, IL |  | LIN PATRICK | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 500 SQ. FT., LINTEL QTY. 3, MAX. LENGTH 7. LOCATION: FACADE.
106 | 20212030120000 | B200430815 | 6/19/2025 |  |  |  |  | 20000 |  | 6339 S WENTWORTH AVE |  | CHICAGO, IL |  | AERO AUTO PARTS | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: EQUIPMENT ROOM.
107 | 13121090070000 | B200430816 | 6/27/2025 |  |  |  |  | 50000 |  | 2841 W CATALPA AVE |  | CHICAGO, IL |  | AUBIN PATRICK | SCOPE: NONSTRUCTURAL INTERIOR ALTERATION TO PLUMBING, ELECTRICAL AND DUCTWORK FOR KITCHEN REMODEL AND BEDROOM RENOVATION. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), KITCHEN PRIMARY BEDROOM.
108 | 14071060230000 | B200430819 | 6/25/2025 |  |  |  |  | 43100 |  | 2232 W BERWYN AVE |  | CHICAGO, IL |  | ANDERSON ELIJAH J | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 13.3 KW. ARRAY OUTPUT: 9.43 KW. INCLUDES 10 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF OF HOUSE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #19-0021. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * UNDERGROUND RACEWAY TO BE INSPECTED BY AHJ PRIOR TO COVERING. * REFER TO SOLAR (ACCESSORY) PERMIT B200430820.* ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
109 | 14071060230000 | B200430820 | 6/25/2025 |  |  |  |  | 43100 |  | 2232 W BERWYN AVE |  | CHICAGO, IL |  | ANDERSON ELIJAH J | INSTALL SOLAR PANELS ON ROOF OF ACCESSORY BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 13.3 KW. ARRAY OUTPUT: 7.38 KW. LOCATION: ROOF OF GARAGE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #19-0021. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * UNDERGROUND RACEWAY TO BE INSPECTED BY AHJ PRIOR TO COVERING. * REFER TO SOLAR (PRINCIPAL) PERMIT B200430819.* ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE. * PLEASE PROVIDE NOTARIZED LETTER FROM OWNER & BUILDING MANAGEMENT WITH APPROVAL OF SOLAR INSTALLATION OF PROPOSED WORK ON BUILDING STRUCTURE AT THE TIME OF SOLAR INSPECTION OR RISK FAILURE.
110 | 26064120340000 | B200430821 | 6/25/2025 |  |  |  |  | 18557 |  | 9234 S BRANDON AVE |  | CHICAGO, IL |  | HURLOCK PETER | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 5.7 KW. ARRAY OUTPUT: 7.29 KW. INCLUDES 10 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF OF HOUSE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #19-0021. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
111 | 17051040060000 | B200430825 | 6/30/2025 |  |  |  |  | 7800 |  | 1315 W NORTH AVE |  | CHICAGO, IL |  | 1315 W NORTH LLC | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 300 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: TUCK-POINTING ALL WALLS.
112 | 13343020280000 | B200430826 | 6/20/2025 |  |  |  |  | 15000 |  | 4535 W ARMITAGE AVE |  | CHICAGO, IL |  | ABRAHAM FATTAH | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 1000 SQ. FT., LINTEL QTY. 2, MAX. LENGTH 5. LOCATION: NORTH AND SOUTH WALL MASONRY REPAIRS.
113 | 20182240220000 | B200430829 | 7/3/2025 |  |  |  |  | 20000 |  | 5843 S DAMEN AVE |  | CHICAGO, IL |  | GRANT ROBERT | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 300 SQ. FT., LINTEL QTY. 1, MAX. LENGTH 8. CONCRETE MASONRY REPAIR / REPLACEMNT: 20SQ. FT., EXCAVATION = NO. PARAPET REBUILDING: 20 SQ. FT. LOCATION: EXTERIOR MASONRY WALL. ¦ SPECIAL CONDITION: NO INTERIOR WORK
114 | 10253220400000 | B200430831 | 6/20/2025 |  |  |  |  | 2400 |  | 3046 W CHASE AVE |  | CHICAGO, IL |  | RUBINOFF STEVE | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 30 . LIGHTING OUTLETS: 30. SPECIFIC LOCATION: BASEMENT.
115 | 19353130210000 | B200430832 | 6/20/2025 |  |  |  |  | 13193 |  | 3708 W 84TH PL |  | CHICAGO, IL |  | NAAMI MOHAMMED | SCOPE: ROOF REPLACEMENT. AREA: 1264 SQ. FT. ROOF COVERING: ASPHALT SHINGLES. LOCATION: ON TOP OF THE ROOF. IL ROOFING CONTRACTOR LICENSE: 104.02017.
116 | 13241290270000 | B200430844 | 6/21/2025 |  |  |  |  | 2500 |  | 3632 N FRANCISCO AVE |  | CHICAGO, IL |  | VAZQUEZ PATRICIA | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 35 CIRCUITS. RECEPTACLE OUTLETS: 35 . LIGHTING OUTLETS: 15. SPECIFIC LOCATION: GROUND FLOOR.
117 | 25014120090000 | B200430850 | 6/20/2025 |  |  |  |  | 700 |  | 9223 S PAXTON AVE |  | CHICAGO, IL |  | FREEMAN RICHARD | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 125 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. 13.5 KWH LITHIUM ION ENERGY STORAGE SYSTEM. SPECIFIC LOCATION: SERVICE CONDUCTORS, EXTERIOR WALL.
118 | 13361060210000 | B200430852 | 7/30/2025 |  |  |  |  | 27890 |  | 3061 W BELDEN AVE |  | CHICAGO, IL |  | DUNNE MARK | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 400 AMP SERVICE DISCONNECTING MEANS WITH 18 CIRCUITS. RECEPTACLE OUTLETS: 18 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: BASEMENT.
119 | 13252200280000 | B200430853 | 6/23/2025 |  |  |  |  | 47675 |  | 2907 N ROCKWELL ST |  | CHICAGO, IL |  | SHELTON ERIN ELAINE | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 22'-0' ' X20'-0' '. HIP ROOF HEIGHT TO PEAK: 13'-0' '.
120 | 14201090120000 | B200430856 | 6/23/2025 |  |  |  |  | 16000 |  | 3823 N WAYNE AVE |  | CHICAGO, IL |  | WIERZBA MAREK | SCOPE: ROOF REPLACEMENT. AREA: 800 SQ. FT. ROOF COVERING: BUILT-UP ROOF. LOCATION: FLAT ROOF. IL ROOFING CONTRACTOR LICENSE: 104019298.
121 | 25201200330000 | B200430862 | 7/7/2025 |  |  |  |  | 20783 |  | 11406 S BISHOP ST |  | CHICAGO, IL |  | ASTREE RODNEY | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 4.94 KW. ARRAY OUTPUT: 5.85 KW. LOCATION: ROOFTOP - PRINCIPAL STRUCTURE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0735. ¦ SPECIAL CONDITION: * ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.* NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018.
122 | 26074020210000 | B200430863 | 6/26/2025 |  |  |  |  | 30520 |  | 10304 S GREEN BAY AVE |  | CHICAGO, IL |  | GARCIA ADELAIDA | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 7.6 KW. ARRAY OUTPUT: 9.84 KW. INCLUDES 10 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF OF HOUSE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #19-0021. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * PLEASE APPLY FOR ELECTRICAL PERMIT PRIOR TO SOLAR INSPECTION AND HAVE PRESENT ON DATE OF SOLAR INSPECTION OR RISK FAILURE AS PROPOSED WORK PER ELECTRICAL DRAWING.* ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
123 | 20074030050000 | B200430868 | 6/24/2025 |  |  |  |  | 15000 |  | 1815 W 51ST ST |  | CHICAGO, IL |  | CHILA INVESTMENTS GROUP LLC | SCOPE: NONSTRUCTURAL INTERIOR ALTERATION WORK TO INCLUDE PATCHING DRYWALL, REPLACE CABINETS/COUTERTOPS, FLOORS, REPLACE PLUMBING ASSOCIATED PIPING, NO ELECTRICAL WORK. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), BASEMENT UNIT. ¦ SPECIAL CONDITION: WBR (NO. 3696) DATED 3/16/1955 - 3DU - MR
124 | 14322110260000 | B200430870 | 7/7/2025 |  |  |  |  | 200000 |  | 2224 N DAYTON ST |  | CHICAGO, IL |  | GOLDEN LEDGE PROPERTIES, LLC | LIMITED REPAIR (25% OR LESS) FOR STEEL OCCUPIABLE ROOFTOP (QUANTITY: 1, LOCATION: FRONT OF BUILDING). BRICK WORK. ROOF: NONSTRUCTURAL REPAIR. IL ROOFING CONTRACTOR LICENSE #104000207.
125 | 17073310430000 | B200430871 | 6/24/2025 |  |  |  |  | 20000 |  | 2000 W MADISON ST |  | CHICAGO, IL |  | MZI BLDG SERVICES, INC* | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL TELEPHONE. SPECIFIC LOCATION: PARKING LOT.
126 | 13122140200000 | B200430874 | 6/26/2025 |  |  |  |  | 26812 |  | 2652 W BALMORAL AVE |  | CHICAGO, IL |  | CASTILLO OSCAR | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 11.5 KW. ARRAY OUTPUT: 11.48 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES OF PRINCIPAL STRUCTURE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * REFER TO ELECTRICAL PERMIT B200430555.* ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
127 | 25281010280000 | B200430875 | 6/30/2025 |  |  |  |  | 8000 |  | 11924 S UNION AVE |  | CHICAGO, IL |  | PERRY MYEASHA | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: LOW-SLOPED (<2:12). INVERTER OUTPUT: 10 KW. ARRAY OUTPUT: 13.44 KW. LOCATION: ROOF TOP. ICC DISTRIBUTED GENERATION INSTALLER CERT. #19-0250. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
128 | 19364040460000 | B200430876 | 6/26/2025 |  |  |  |  | 22138 |  | 2720 W 84TH ST |  | CHICAGO, IL |  | ROSS NICOLE | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 11.5 KW. ARRAY OUTPUT: 9.02 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES OF PRINCIPAL STRUCTURE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * REFER TO SOLAR (ACCESSORY) PERMIT B200430878 AND ELECTRICAL PERMIT B200429724..* ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE. * UNDERGROUND RACEWAY TO BE INSPECTED BY AHJ PRIOR TO COVERING.
129 | 20074030050000 | B200430877 | 6/24/2025 |  |  |  |  | 15000 |  | 1815 W 51ST ST |  | CHICAGO, IL |  | CHILA INVESTMENTS GROUP LLC | SCOPE: NONSTRUCTURAL INTERIOR ALTERATION WORK TO INCLUDE PATCHING DRYWALL, REPLACE CABINETS/COUTERTOPS, FLOORS, REPLACE PLUMBING ASSOCIATED PIPING, NO ELECTRICAL WORK.LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 2ND FLOOR UNIT.
130 | 19364040460000 | B200430878 | 6/26/2025 |  |  |  |  | 15906 |  | 2720 W 84TH ST |  | CHICAGO, IL |  | ROSS NICOLE | INSTALL SOLAR PANELS ON ROOF OF ACCESSORY BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 11.5 KW. ARRAY OUTPUT: 5.74 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES OF DETACHED STRUCTURE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * REFER TO SOLAR (PRINCIPAL) PERMIT B200430876 AND ELECTRICAL PERMIT B200429724.* ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE. * UNDERGROUND RACEWAY TO BE INSPECTED BY AHJ PRIOR TO COVERING.
131 | 13212280300000 | B200430886 | 7/8/2025 |  |  |  |  | 10000 |  | 5104 W ADDISON ST |  | CHICAGO, IL |  | SALLAS LAURIE | PURPOSE: NEW/REPLACEMENT INSTALLATION. WROUGHT IRON FENCE - 6'-0' ' (HEIGHT) X 65'-11' ' (LENGTH). LOCATION: AROUND PROPERTY LINES.
132 | 20294200050000 | B200430890 | 6/30/2025 |  |  |  |  | 7383 |  | 7721 S MORGAN ST |  | CHICAGO, IL |  | HERNANDEZ ELIDIO | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: STEEP (>5:12). INVERTER OUTPUT: 2.925 KW. ARRAY OUTPUT: 3.825 KW. LOCATION: ROOF OF PRINCIPAL BUILDING. ICC DISTRIBUTED GENERATION INSTALLER CERT. #24-0450. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * REFER TO ELECTRICAL PERMIT B200430892.* ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
133 | 20294200050000 | B200430892 | 6/23/2025 |  |  |  |  | 574 |  | 7721 S MORGAN ST |  | CHICAGO, IL |  | HERNANDEZ ELIDIO | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: INSIDE BASEMENT.
134 | 19174070390000 | B200430894 | 6/23/2025 |  |  |  |  | 35140 |  | 5949 S PARKSIDE AVE |  | CHICAGO, IL |  | AUGUSTINE TODD | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 22'-0' ' X22'-0' '. HIP ROOF HEIGHT TO PEAK: 13'-0' '.
135 | 20272250120000 | B200430896 | 6/26/2025 |  |  |  |  | 16150 |  | 7435 S VERNON AVE |  | CHICAGO, IL |  | POE LAMINTA | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: STEEP (>5:12). INVERTER OUTPUT: 5.51 KW. ARRAY OUTPUT: 8.075 KW. LOCATION: ROOF AND EXTERIOR. ICC DISTRIBUTED GENERATION INSTALLER CERT. #25-0072. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * PLEASE APPLY FOR ELECTRICAL PERMIT PRIOR TO SOLAR INSPECTION AND HAVE PRESENT ON DATE OF SOLAR INSPECTION OR RISK FAILURE AS PROPOSED WORK PER ELECTRICAL DRAWING.* ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
136 | 13261260320000 | B200430898 | 6/20/2025 |  |  |  |  | 1500 |  | 2842 N HAMLIN AVE |  | CHICAGO, IL |  | DAYAMBA ELENA | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 125 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. 13.5 KWH LITHIUM ION ENERGY STORAGE SYSTEM. SPECIFIC LOCATION: EXTERIOR WALL.
137 | 12234020160000 | B200430901 | 6/20/2025 |  |  |  |  | 1500 |  | 3529 N PLAINFIELD AVE |  | CHICAGO, IL |  | PATEL ISHWARBHAI | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. 13.5 KWH LITHIUM ION ENERGY STORAGE SYSTEM. SPECIFIC LOCATION: SERVICE CONDUCTORS, RISER/MAST, EXTERIOR WALL.
138 | 13171170370000 | B200430904 | 6/23/2025 |  |  |  |  | 4400 |  | 4449 N MULLIGAN AVE |  | CHICAGO, IL |  | YANTSELOVSKA YANA | PURPOSE: NEW/REPLACEMENT INSTALLATION. VINYL/PVC FENCE - 6'-0' ' (HEIGHT) X 71'-0' ' (LENGTH). LOCATION: FENCE ON SOUTH PROPERTY SIDE.
139 | 13032130030000 | B200430905 | 6/26/2025 |  |  |  |  | 18243 |  | 6245 N KEELER AVE |  | CHICAGO, IL |  | SANCHEZ GEORGE | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 11.5 KW. ARRAY OUTPUT: 6.97 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES OF PRINCIPAL STRUCTURE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * REFER TO ELECTRICAL PERMIT B200429879.* ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
140 | 17103110020000 | B200430907 | 6/25/2025 |  |  |  |  | 2000 |  | 17 N STATE ST |  | CHICAGO, IL |  | GAP INC.,GAPKIDS, BABYGAP,GAP OUTLET | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL DATA/VIDEO. SPECIFIC LOCATION: MAIN LOBBY. ¦ SPECIAL CONDITION: NO OTHER WORK.
141 | 20293210110000 | B200430908 | 6/20/2025 |  |  |  |  | 26000 |  | 7831 S ADA ST |  | CHICAGO, IL |  | COLLINS AKILAH | SCOPE: ROOF REPLACEMENT. AREA: 2500 SQ. FT. ROOF COVERING: ASPHALT SHINGLES. LOCATION: SHINGLE ROOF REPLACEMENT. IL ROOFING CONTRACTOR LICENSE: 104018955.
142 | 13103090900000 | B200430909 | 6/23/2025 |  |  |  |  | 4800 |  | 4871 N KRUGER AVE |  | CHICAGO, IL |  | PORRAS DAVID | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 16 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: OUTSIDE BEHIND HOUSE.
143 | 13261260320000 | B200430912 | 6/26/2025 |  |  |  |  | 36160 |  | 2842 N HAMLIN AVE |  | CHICAGO, IL |  | DAYAMBA ELENA | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 11.5 KW. ARRAY OUTPUT: 16.4 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES OF PRINCIPAL STRUCTURE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * REFER TO ELECTRICAL PERMIT B200430898..* ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
144 | 17042130100000 | B200430913 | 7/15/2025 |  |  |  |  | 25000 |  | 1350 N WELLS ST |  | CHICAGO, IL |  | COBBLER SQUARE PROPERTY OWNER LLC | SCOPE: NONSTRUCTURAL INTERIOR REPLACEMENT OF FINISHES AT KITCHEN AND BATHROOM, NEW PLUMBING FIXTURES AND ELECTRICAL THROUGHOUT, RECONFIGURATION OF CLOSET. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), FS5 - UNIT F418 - 4TH FLOOR
145 | 13051030410000 | B200430915 | 7/7/2025 |  |  |  |  | 8000 |  | 6344 N MERRIMAC AVE |  | CHICAGO, IL |  | DECKER HEATHER | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: STEEP (>5:12). INVERTER OUTPUT: 1.8 KW. ARRAY OUTPUT: 1.8 KW. LOCATION: ROOFTOP - PRINCIPAL STRUCTURE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0735. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * REFER TO SOLAR (ACCESSORY) PERMIT B200430920.* ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE. * UNDERGROUND RACEWAY TO BE INSPECTED BY AHJ PRIOR TO COVERING.
146 | 19152040260000 | B200430916 | 6/26/2025 |  |  |  |  | 22138 |  | 5514 S KEDVALE AVE |  | CHICAGO, IL |  | ROBLES ROSE | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 11.5 KW. ARRAY OUTPUT: 9.02 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES OF PRINCIPAL STRUCTURE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * REFER TO SOLAR (ACCESSORY) PERMIT B200430919 AND ELECTRICAL PERMIT B200430921.* UNDERGROUND RACEWAY TO BE INSPECTED BY AHJ PRIOR TO COVERING. * ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
147 | 17093250110000 | B200430917 | 6/25/2025 |  |  |  |  | 170880 |  | 165 N CANAL ST |  | CHICAGO, IL |  | RANDOLPH PLACE CONDO ASSOC | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 16540 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: ALL ELEVATIONS.
148 | 19152040260000 | B200430919 | 6/26/2025 |  |  |  |  | 14348 |  | 5514 S KEDVALE AVE |  | CHICAGO, IL |  | ROBLES ROSE | INSTALL SOLAR PANELS ON ROOF OF ACCESSORY BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 11.5 KW. ARRAY OUTPUT: 4.92 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES OF DETACHED STRUCTURE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * REFER TO SOLAR (PRINCIPAL) PERMIT B200430916 AND ELECTRICAL PERMIT B200430921.* UNDERGROUND RACEWAY TO BE INSPECTED BY AHJ PRIOR TO COVERING. * ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
149 | 13051030410000 | B200430920 | 7/7/2025 |  |  |  |  | 20007 |  | 6344 N MERRIMAC AVE |  | CHICAGO, IL |  | DECKER HEATHER | INSTALL SOLAR PANELS ON ROOF OF ACCESSORY BUILDING. ROOF TYPE: STEEP (>5:12). INVERTER OUTPUT: 5.4 KW. ARRAY OUTPUT: 5.4 KW. LOCATION: ROOFTOP - DETACHED GARAGE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0735. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * REFER TO SOLAR (PRINCIPAL) PERMIT B200430915.* ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE. * UNDERGROUND RACEWAY TO BE INSPECTED BY AHJ PRIOR TO COVERING.
150 | 19152040260000 | B200430921 | 6/24/2025 |  |  |  |  | 1500 |  | 5514 S KEDVALE AVE |  | CHICAGO, IL |  | ROBLES ROSE | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. 13.5 KWH LITHIUM ION ENERGY STORAGE SYSTEM. SPECIFIC LOCATION: EXTERIOR WALL.
151 | 17042130100000 | B200430922 | 7/15/2025 |  |  |  |  | 25000 |  | 1350 N WELLS ST |  | CHICAGO, IL |  | COBBLER SQUARE PROPERTY OWNER LLC | SCOPE: NONSTRUCTURAL INTERIOR REPLACEMENT OF FINISHES AT KITCHEN AND BATHROOM, NEW PLUMBING FIXTURES AND ELECTRICAL THROUGHOUT, RECONFIGURATION OF CLOSET. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), FS5 - UNIT F515 - 5TH FLOOR
152 | 25124420070000 | B200430926 | 6/20/2025 |  |  |  |  | 6100 |  | 10419 S CALHOUN AVE |  | CHICAGO, IL |  | HERNANDEZ RAQUEL | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. ALTER EXISTING OTHER. SPECIFIC LOCATION: EXTERIOR.
153 | 17042130100000 | B200430929 | 7/15/2025 |  |  |  |  | 25000 |  | 1350 N WELLS ST |  | CHICAGO, IL |  | COBBLER SQUARE PROPERTY OWNER LLC | SCOPE: NONSTRUCTURAL INTERIOR REPLACEMENT OF FINISHES AT KITCHEN AND BATHROOM, NEW PLUMBING FIXTURES AND ELECTRICAL THROUGHOUT, RECONFIGURATION OF CLOSET. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), FS5 - UNIT F414 4TH FLOOR
154 | 13324130190000 | B200430930 | 6/25/2025 |  |  |  |  | 12297 |  | 1640 N MENARD AVE |  | CHICAGO, IL |  | FRAZIER DANEL | PURPOSE: NEW/REPLACEMENT INSTALLATION. VINYL/PVC FENCE - 6'-0' ' (HEIGHT) X 177'-0' ' (LENGTH). LOCATION: FENCE ENCOMPASSING THE PROPERTY.
155 | 13302230250000 | B200430931 | 6/20/2025 |  |  |  |  | 6000 |  | 2923 N NAGLE AVE |  | CHICAGO, IL |  | RIVERA MARIA | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. ALTER EXISTING OTHER. SPECIFIC LOCATION: EXTERIOR.
156 | 17042130100000 | B200430932 | 7/15/2025 |  |  |  |  | 25000 |  | 1350 N WELLS ST |  | CHICAGO, IL |  | COBBLER SQUARE PROPERTY OWNER LLC | SCOPE: NONSTRUCTURAL INTERIOR REPLACEMENT OF FINISHES AT KITCHEN AND BATHROOM, NEW PLUMBING FIXTURES AND ELECTRICAL THROUGHOUT, RECONFIGURATION OF CLOSET. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), FS5 - UNIT F406 - 4TH FLOOR
157 | 14203010020000 | B200430934 | 6/23/2025 |  |  |  |  | 4500 |  | 1521 W ADDISON ST |  | CHICAGO, IL |  | PETRAKIS PETER | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 50 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. PARAPET REBUILDING: 50 SQ. FT. LOCATION: FRONT PARAPET.
158 | 16272300200000 | B200430935 | 6/20/2025 |  |  |  |  | 8850 |  | 2504 S PULASKI RD |  | CHICAGO, IL |  | LOERA RAYGOZA ANGEL | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. ALTER EXISTING OTHER. SPECIFIC LOCATION: EXTERIOR.
159 | 20332190100000 | B200430937 | 6/27/2025 |  |  |  |  | 22000 |  | 8126 S WENTWORTH AVE |  | CHICAGO, IL |  | GAL IVONA | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 22'-0' ' X22'-0' '. HIP ROOF HEIGHT TO PEAK: 12'-6' '.
160 | 13213160330000 | B200430938 | 6/20/2025 |  |  |  |  | 17200 |  | 5410 W HENDERSON ST |  | CHICAGO, IL |  | EDUSEI JAMES | PURPOSE: NEW/REPLACEMENT INSTALLATION. VINYL/PVC FENCE - 6'-0' ' (HEIGHT) X 104'-0' ' (LENGTH). LOCATION: BACKYARD.
161 | 20314010560000 | B200430939 | 6/23/2025 |  |  |  |  | 7000 |  | 8300 S WOLCOTT AVE |  | CHICAGO, IL |  | PERKINS DENISE | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. ALTER EXISTING OTHER. SPECIFIC LOCATION: EXTERIOR.
162 | 25183070260000 | B200430943 | 6/26/2025 |  |  |  |  | 54000 |  | 10848 S HOYNE AVE |  | CHICAGO, IL |  | PANELLA NICHOLAS | IN-KIND REPLACEMENT OF EXTERIOR WINDOWS AND DOORS IN EXISTING OPENINGS. REPLACEMENT WINDOWS: 14; REPLACEMENT SKYLIGHTS: 0; REPLACEMENT DOORS: 0. AFFECTS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), LOCATION: EXTERIOR WINDOWS REPLACED ON 1ST AND 2ND STORIES.
163 | 13301070240000 | B200430954 | 6/21/2025 |  |  |  |  | 1500 |  | 3138 N NEWCASTLE AVE |  | CHICAGO, IL |  | VERANO IAN | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: BASEMENT AND EXTERIOR.
164 | 16252180210000 | B200430955 | 6/21/2025 |  |  |  |  | 2000 |  | 2617 W 24TH PL |  | CHICAGO, IL |  | VELAZQUEZ AMANDO | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: BASEMENT AND EXTERIOR.
165 | 16044130140000 | B200430956 | 6/21/2025 |  |  |  |  | 2000 |  | 4921 W CORTEZ ST |  | CHICAGO, IL |  | MENDOZA LEON | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: BASEMENT AND EXTERIOR.
166 | 12242230470000 | B200430957 | 6/21/2025 |  |  |  |  | 1500 |  | 3720 N OCONTO AVE |  | CHICAGO, IL |  | LOPEZTELLO MARTIN | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: BASEMENT AND EXTERIOR.
167 | 13253040240000 | B200430958 | 7/21/2025 |  |  |  |  | 10000 |  | 2748 N RICHMOND ST |  | CHICAGO, IL |  | MARTINEZ HORTENSIA | FULL REBUILD (SAME AS EXISTING) FOR WOOD PORCH (OPEN) (QUANTITY: 1, LOCATION: FRONT OF BUILDING). LANDING: 72 SQUARE FEET. LANDING NOT MORE THAN 6 FEET ABOVE GROUND.
168 | 14181140100000 | B200430959 | 7/8/2025 |  |  |  |  | 5600 |  | 2022 W EASTWOOD AVE |  | CHICAGO, IL |  | PARRUCCI SAMUEL | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: BASEMENT,EXTERIOR REAR.
169 | 20323040160000 | B200430964 | 6/24/2025 |  |  |  |  | 5000 |  | 8349 S ADA ST |  | CHICAGO, IL |  | CONRAD DAVID | LINE VOLTAGE ELECTRICAL WORK. ADD 6 CIRCUITS TO EXISTING 100 AMP SERVICE DISCONNECTING MEANS. RECEPTACLE OUTLETS: 22 . LIGHTING OUTLETS: 16. SPECIFIC LOCATION: BASEMENT FIRST FLOOR AND ATTIC.
170 | 16141090070000 | B200430966 | 6/21/2025 |  |  |  |  | 1000 |  | 3837 W JACKSON BLVD |  | CHICAGO, IL |  | JACKSON TAYYAB | PURPOSE: NEW/REPLACEMENT INSTALLATION. WROUGHT IRON FENCE - 6'-0' ' (HEIGHT) X 24'-0' ' (LENGTH). LOCATION: REPLACING FENCE IN THE FRONT OF THE BUILDING.
171 | 14303090010000 | B200430967 | 6/21/2025 |  |  |  |  | 4500 |  | 2367 W LOGAN BLVD |  | CHICAGO, IL |  | MARTINEZ FROG'S, INC | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: 1ST FLOOR.
172 | 13343020270000 | B200430968 | 7/16/2025 |  |  |  |  | 42300 |  | 4545 W ARMITAGE AVE |  | CHICAGO, IL |  | DLM REAL ESTATE LLC | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 400 AMP SERVICE DISCONNECTING MEANS WITH 30 CIRCUITS. NEW PERMANENT 400 AMP SERVICE DISCONNECTING MEANS WITH 6 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: DOWNSIZE SERVICES AND UPGRADE EQUIPMENT.
173 | 16233060240000 | B200430976 | 6/24/2025 |  |  |  |  | 1500 |  | 1620 S MILLARD AVE |  | CHICAGO, IL |  | REESE KEWANA | WRECK AND REMOVE FRAME DETACHED GARAGE, NO REPLACEMENT. LOCATIONS: 1 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), 1 INTERIOR COMMON AREAS, EXTERIOR WORK, REMOVE GARAGE.
174 | 25124010630000 | B200430980 | 6/23/2025 |  |  |  |  | 5000 |  | 2105 E 99TH ST |  | CHICAGO, IL |  | ROSS STERLING | WRECK AND REMOVE FRAME DETACHED GARAGE, NO REPLACEMENT. LOCATIONS: 1 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), 1 INTERIOR COMMON AREAS, EXTERIOR WORK, REMOVE GARAGE.
175 | 13214010620000 | B200430988 | 7/7/2025 |  |  |  |  | 8000 |  | 4836 W EDDY ST |  | CHICAGO, IL |  | LIZAMA DANIEL | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 4 CIRCUITS. RECEPTACLE OUTLETS: 10 . LIGHTING OUTLETS: 15. SPECIFIC LOCATION: BASEMENT AND COMMON AREAS.
176 | 12244300020000 | B200430990 | 6/25/2025 |  |  |  |  | 35000 |  | 3245 N OCTAVIA AVE |  | CHICAGO, IL |  | DEL TORO GABRIEL | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 24'-0' ' X22'-0' '. GABLE ROOF HEIGHT TO PEAK: 14'-10' '.
177 | 19182260130000 | B200430991 | 6/23/2025 |  |  |  |  | 5000 |  | 5807 S NORMANDY AVE |  | CHICAGO, IL |  | CAREY DAVID | PURPOSE: NEW/REPLACEMENT INSTALLATION. WOOD FENCE - 6'-0' ' (HEIGHT) X 95'-0' ' (LENGTH). LOCATION: BACKYARD FENCE.
178 | 19044210080000 | B200430996 | 6/24/2025 |  |  |  |  | 1500 |  | 4525 S LAPORTE AVE |  | CHICAGO, IL |  | DIAZ LEOVIGILDO | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: BASEMENT AND EXTERIOR.
179 | 20244170100000 | B200430997 | 6/23/2025 |  |  |  |  | 100 |  | 6937 S MERRILL AVE |  | CHICAGO, IL |  | MERRILL MANOR LLC | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: BASEMENT ,REAR.
180 | 13024030210000 | B200431007 | 7/11/2025 |  |  |  |  | 21912 |  | 5907 N BERNARD ST |  | CHICAGO, IL |  | TOBIN JOVITA | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 41 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: BASEMENT UNIT, UNIT1, UNIT2, SIDE OF THE BUIDLING.
181 | 13214100050000 | B200431008 | 6/23/2025 |  |  |  |  | 2000 |  | 4947 W ROSCOE ST |  | CHICAGO, IL |  | PARSIO MICHAEL | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 225 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. 13.5 KWH LITHIUM ION ENERGY STORAGE SYSTEM. SPECIFIC LOCATION: PANEL, EXTERIOR WALL.
182 | 20113080250000 | B200431040 | 6/27/2025 |  |  |  |  | 154166 |  | 5200 S BERKELEY AVE |  | CHICAGO, IL |  | J & L RICO BECK | SCOPE: ROOF REPLACEMENT. AREA: 5341 SQ. FT. ROOF COVERING: ASPHALT SHINGLES. LOCATION: ENTIRE ROOF. IL ROOFING CONTRACTOR LICENSE: 104.01894.
183 | 25073000020000 | B200431048 | 6/27/2025 |  |  |  |  | 75000 |  | 9901 S WESTERN AVE |  | CHICAGO, IL |  | BOARD OF EDUCATION - CHICAGO PUBLIC SCHOOLS | DUCTWORK EXTENSION/RECONFIGURATION, HYDRONIC PIPING EXTENSION/RECONFIGURATION, ELECTRICAL WORK UNDER THIS PERMIT = YES . LOCATIONS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), VESTIBULE AREAS ON 1ST & 2ND FLOORS.
184 | 24141080370000 | B200431053 | 6/23/2025 |  |  |  |  | 8375 |  | 10559 S PULASKI RD |  | CHICAGO, IL |  | MENDOZA JOSE | SCOPE: ROOF REPLACEMENT. AREA: 15 SQ. FT. ROOF COVERING: ASPHALT SHINGLES. LOCATION: ROOFING. IL ROOFING CONTRACTOR LICENSE: 104017109.
185 | 13292240210000 | B200431063 | 6/23/2025 |  |  |  |  | 350 |  | 2842 N MASON AVE |  | CHICAGO, IL |  | JULURU SANKAR | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. ALTER EXISTING OTHER. SPECIFIC LOCATION: EXTERIOR.
186 | 16144130320000 | B200431066 | 6/23/2025 |  |  |  |  | 350 |  | 3434 W ARTHINGTON ST |  | CHICAGO, IL |  | AVILA OSCAR | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. ALTER EXISTING OTHER. SPECIFIC LOCATION: JOB COMPLETED/ TO SIT INSPECTIONS.
187 | 13033100290000 | B200431071 | 7/23/2025 |  |  |  |  | 25988 |  | 5824 N FOREST GLEN AVE |  | CHICAGO, IL |  | WERRBACH STEVE | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 12.55 KW. ARRAY OUTPUT: 12.555 KW. LOCATION: ROOF OF PRIMARY RESIDENCE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #19-0736. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * REFER TO SOLAR (ACCESSORY) PERMIT B200434797.* UNDERGROUND RACEWAY TO BE INSPECTED BY AHJ PRIOR TO COVERING. * ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
188 | 17103130030000 | B200431072 | 6/23/2025 |  |  |  |  | 67987 |  | 180 N STETSON AVE |  | CHICAGO, IL |  | GANNETT FLEMING INC. | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL OTHER. SPECIFIC LOCATION: SUITE 3700.
189 | 19151050250000 | B200431098 | 7/1/2025 |  |  |  |  | 10000 |  | 5559 S KOLMAR AVE |  | CHICAGO, IL |  | NIETO DANIEL | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 24'-0' ' X24'-0' '. GABLE ROOF HEIGHT TO PEAK: 15'-0' '.
190 | 13191000010000 | B200431101 | 6/24/2025 |  |  |  |  | 2252 |  | 7181 W IRVING PARK RD |  | CHICAGO, IL |  | OLD NATIONAL BANK | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. ALTER EXISTING SECURITY. SPECIFIC LOCATION: REPLACE EXISTING BURGLAR ALARM RADIO.
191 | 17151010200000 | B200431105 | 7/7/2025 |  |  |  |  | 35000 |  | 37 S WABASH AVE |  | CHICAGO, IL |  | SCHOOL OF THE ART INSTITUTE OF CHICAGO (SAIC) | LINE VOLTAGE ELECTRICAL WORK. ADD 15 CIRCUITS TO EXISTING 400 AMP SERVICE DISCONNECTING MEANS. RECEPTACLE OUTLETS: 20 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: 2ND FLOOR CAFE.
192 | 16114050870000 | B200431108 | 6/24/2025 |  |  |  |  | 12700 |  | 3210 W FULTON BLVD |  | CHICAGO, IL |  | DE BENE FELIPE | INSTALL SOLAR PANELS ON ROOF OF ACCESSORY BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 2.9 KW. ARRAY OUTPUT: 0.051 KW. LOCATION: ROOF OF DETACHED GARAGE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #24-0120.
193 | 13153200350000 | B200431113 | 7/18/2025 |  |  |  |  | 5000 |  | 4158 N KOSTNER AVE |  | CHICAGO, IL |  | LINDLEY PATRICK | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 120 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: MASONRY ON FRONT OF HOUSE.
194 | 14172000010000 | B200431114 | 6/25/2025 |  |  |  |  | 2252 |  | 4753 N BROADWAY |  | CHICAGO, IL |  | OLD NATIONAL BANK | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. ALTER EXISTING SECURITY. SPECIFIC LOCATION: REPLACE EXISTING RADIO.
195 | 09364260030000 | B200431117 | 6/24/2025 |  |  |  |  | 19995 |  | 7569 W ISHAM AVE |  | CHICAGO, IL |  | RUSSELL KAREN | REPAIR OR IN-KIND REPLACEMENT OF 1 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. INCLUDES REPAIR OR REPLACMENT OF PLUMBING PIPING. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), EXTERIOR WORK, FRONT OF HOUSE.
196 | 20311080430000 | B200431119 | 7/16/2025 |  |  |  |  | 5000 |  | 2322 W 80TH PL |  | CHICAGO, IL |  | WILSON MOSE | PURPOSE: NEW/REPLACEMENT INSTALLATION. VINYL/PVC FENCE - 6'-0' ' (HEIGHT) X 60'-0' ' (LENGTH). LOCATION: BACKYARD.
197 | 13281200010000 | B200431123 | 7/10/2025 |  |  |  |  | 14500 |  | 5357 W WELLINGTON AVE |  | CHICAGO, IL |  | NAIR SANJU | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 60 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: FRONT, LEFT, RIGHT, AND REAR ELEVATION TUCKPOINT.
198 | 09361090370000 | B200431125 | 6/25/2025 |  |  |  |  | 345 |  | 6783 N NORTHWEST HWY |  | CHICAGO, IL |  | HARO EDUARDO | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL SECURITY. SPECIFIC LOCATION: SPRINKLER ROOM.
199 | 17094530080000 | B200431127 | 6/27/2025 |  |  |  |  | 295250 |  | 311 W WASHINGTON ST |  | CHICAGO, IL |  | AT&T SERVICES | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 4000 SQ. FT., LINTEL QTY. 30, MAX. LENGTH 5. LOCATION: EAST AND WEST ELEVATIONS.
200 | 13283210080000 | B200431129 | 6/24/2025 |  |  |  |  | 1500 |  | 5237 W WRIGHTWOOD AVE |  | CHICAGO, IL |  | SILVA LILLIAN | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: UTILITY METER UPGRADE.