## Sheet1
# [LLINE] | PIN* [PARID] | Local Permit No.* [USER28] | Issue Date* [PERMDT] | Desc 1* [DESC1] | Desc 2 Code 1 [USER6] | Desc 2 Code 2 [USER7] | Desc 2 Code 3 [USER8] | Amount* [AMOUNT] | Assessable [IS_ASSESS] | Applicant Street Address* [ADDR1] | Applicant Address 2 [ADDR2] | Applicant City, State, Zip* [ADDR3] | Contact Phone* [PHONE] | Applicant* [USER21] | Notes [NOTE1] | Occupy Dt [UDATE1] | Submit Dt* [CERTDATE] | Est Comp Dt [UDATE2] | user21
1 | 25031210220000 | B200431801 | 7/7/2025 |  |  |  |  | 32011 |  | 8950 S DR MARTIN LUTHER KING JR DR |  | CHICAGO, IL |  | DUSTER JON | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 7.6 KW. ARRAY OUTPUT: 9 KW. LOCATION: ROOFTOP - PRINCIPAL STRUCTURE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0735. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
2 | 20084140220000 | B200431804 | 6/30/2025 |  |  |  |  | 16000 |  | 5212 S GREEN ST |  | CHICAGO, IL |  | SEICG LLC SERIES 6 | REPAIR OR IN-KIND REPLACEMENT OF 1 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. REPAIR OR IN-KIND REPLACEMENT OF HOT WATER HEATER(S). INCLUDES REPAIR OR REPLACMENT OF PLUMBING PIPING. INCLUDES REPAIR OR REPLACEMENT OF PLUMBING RISERS IN EXISTING CHASES. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), BASEMENT, 1ST, 2ND FLOOR.
3 | 14172230220000 | B200431805 | 7/9/2025 |  |  |  |  | 1000 |  | 840 W SUNNYSIDE AVE |  | CHICAGO, IL |  | SUNNYSIDE PROPERTIES, LLC C/O GROUP FOX, INC. | LINE VOLTAGE ELECTRICAL WORK. ALTER EXISTING SYSTEM III EMERGENCY LIGHTING. RECEPTACLE OUTLETS: 0 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: CORRIDORS.
4 | 19131220290000 | B200431806 | 7/1/2025 |  |  |  |  | 4000 |  | 5724 N MOZART ST |  | CHICAGO, IL |  | ROOT MIKE | LIMITED REPAIR (25% OR LESS) FOR WOOD EXTERIOR BALCONY (QUANTITY: 1, LOCATION: NORTH SIDE OF BUILDING).
5 | 13152200060000 | B200431808 | 6/27/2025 |  |  |  |  | 1000 |  | 4635 N KEDVALE AVE |  | CHICAGO, IL |  | RADLOWSKI SOPHIE | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL OTHER. SPECIFIC LOCATION: ROOF MOUNTED SOLAR PANELS ON HOME & GARAGE..
6 | 19131110050000 | B200431809 | 6/27/2025 |  |  |  |  | 4000 |  | 5611 S WHIPPLE ST |  | CHICAGO, IL |  | CASTILLO ANEL | LINE VOLTAGE ELECTRICAL WORK. ADD 10 CIRCUITS TO EXISTING 100 AMP SERVICE DISCONNECTING MEANS. RECEPTACLE OUTLETS: 20 . LIGHTING OUTLETS: 20. SPECIFIC LOCATION: 1ST FLOOR KITCHEN AND BATHROOM.
7 | 17084240060000 | B200431810 | 7/7/2025 |  |  |  |  | 134000 |  | 217 N SANGAMON ST |  | CHICAGO, IL |  | FULTON ST COMPANIES | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL OTHER. SPECIFIC LOCATION: FLOOR 7-9. ¦ SPECIAL CONDITION: APPROVED PER ATTACHMENTS RECEIVED 6/27/25: INTERIOR ELECTRICAL WORK ONLY WITH THIS PERMIT.
8 | 13261010110000 | B200431812 | 7/1/2025 |  |  |  |  | 13500 |  | 3107 N HARDING AVE |  | CHICAGO, IL |  | MCKIBBEN SCOTT | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 3000 SQ. FT., LINTEL QTY. 22, MAX. LENGTH 5. PARAPET REBUILDING: 650 SQ. FT. LOCATION: FRONT AND SIDE OF THE BUILDING.
9 | 19131110050000 | B200431820 | 6/27/2025 |  |  |  |  | 1000 |  | 5611 S WHIPPLE ST |  | CHICAGO, IL |  | CASTILLO ANEL | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: BASEMENT ONLY.
10 | 14324080570000 | B200431822 | 6/30/2025 |  |  |  |  | 1500 |  | 921 W ARMITAGE AVE |  | CHICAGO, IL |  | ACADIA REALTY TRUST | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL OTHER. SPECIFIC LOCATION: 1ST FLOOR. ¦ SPECIAL CONDITION: APPROVED PER ATTACHMENTS RECEIVED 6/27/25: ELECTRICAL WORK TO COACH HOUSE ONLY. NO OTHER WORK, NO WORK TO MAIN BUILDING WITH THIS PERMIT.
11 | 13173060230000 | B200431823 | 7/7/2025 |  |  |  |  | 37150 |  | 4242 N MCVICKER AVE |  | CHICAGO, IL |  | SESTERHENN MICHAEL | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 9.5 KW. ARRAY OUTPUT: 11.25 KW. LOCATION: ROOFTOP - PRINCIPAL STRUCTURE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0735. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
12 | 13143170060000 | B200431826 | 7/1/2025 |  |  |  |  | 13170 |  | 4139 N PULASKI RD |  | CHICAGO, IL |  | BLOCK JUSTIN | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 800 SQ. FT., LINTEL QTY. 5, MAX. LENGTH 5. PARAPET REBUILDING: 200 SQ. FT. LOCATION: EXTERIOR WALLS, PARAPET, CHIMNEY, LINTELS.
13 | 13262090190000 | B200431829 | 7/16/2025 |  |  |  |  | 4000 |  | 3060 N ELBRIDGE AVE |  | CHICAGO, IL |  | POGORZELSKI JACEK | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 400 AMP SERVICE DISCONNECTING MEANS WITH 4 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: BASEMENT.
14 | 26083220050000 | B200431830 | 7/2/2025 |  |  |  |  | 5000 |  | 10413 S EWING AVE |  | CHICAGO, IL |  | PENA HENRY | LINE VOLTAGE ELECTRICAL WORK. ADD 20 CIRCUITS TO EXISTING 200 AMP SERVICE DISCONNECTING MEANS. RECEPTACLE OUTLETS: 40 . LIGHTING OUTLETS: 30. SPECIFIC LOCATION: 1ST FL AND AND BASEMENT.
15 | 17081200300000 | B200431831 | 7/1/2025 |  |  |  |  | 6000 |  | 1216 W OHIO ST |  | CHICAGO, IL |  | WHITNEY ROBIN | REPAIR (26% TO 50%) FOR WOOD PORCH (OPEN) (QUANTITY: 1, LOCATION: FRONT OF BUILDING). LANDING: 48 SQUARE FEET. LANDING NOT MORE THAN 6 FEET ABOVE GROUND.
16 | 20113060220000 | B200431832 | 6/27/2025 |  |  |  |  | 87810 |  | 5245 S COTTAGE GROVE AVE |  | CHICAGO, IL |  | UNIVERSITY OF CHICAGO* | PURPOSE: NEW/REPLACEMENT INSTALLATION. WROUGHT IRON FENCE - 6'-0' ' (HEIGHT) X 240'-0' ' (LENGTH). LOCATION: REAR FENCE AND FRONT GATE.
17 | 14292120210000 | B200431834 | 6/30/2025 |  |  |  |  | 2060000 |  | 900 W NELSON ST |  | CHICAGO, IL |  | ADVOCATE IL MASONIC MEDICAL CENTER | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL DATA/VIDEO. SPECIFIC LOCATION: AIMMC NEW BUILD.
18 | 25271300290000 | B200431838 | 6/27/2025 |  |  |  |  | 10500 |  | 12235 S MICHIGAN AVE |  | CHICAGO, IL |  | LOPEZ RIGO | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 5 CIRCUITS. RECEPTACLE OUTLETS: 5 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: BASEMENT.
19 | 14062000170000 | B200431839 | 6/30/2025 |  |  |  |  | 39950 |  | 6200 N WINCHESTER AVE |  | CHICAGO, IL |  | TORTORELLO JOHN | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 20'-0' ' X30'-0' '. HIP ROOF HEIGHT TO PEAK: 12'-0' '.
20 | 19044160320000 | B200431843 | 6/27/2025 |  |  |  |  | 10500 |  | 4530 S LEAMINGTON AVE |  | CHICAGO, IL |  | LOPEZ RIGO | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 5 CIRCUITS. RECEPTACLE OUTLETS: 5 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: BASEMENT.
21 | 19221280160000 | B200431845 | 7/1/2025 |  |  |  |  | 6000 |  | 4549 W 65TH ST |  | CHICAGO, IL |  | KONKOLESKI BRIAN | PURPOSE: NEW/REPLACEMENT INSTALLATION. VINYL/PVC FENCE - 6'-0' ' (HEIGHT) X 93'-0' ' (LENGTH). LOCATION: BACKYARD.
22 | 17032070100000 | B200431846 | 6/27/2025 |  |  |  |  | 15000 |  | 45 E OAK ST |  | CHICAGO, IL |  | GM PROPERTIES | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 200 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: FRONT AND REAR OF THE BUILDING.
23 | 20363050880000 | B200431848 | 6/27/2025 |  |  |  |  | 10500 |  | 8340 S BENNETT AVE |  | CHICAGO, IL |  | LOPEZ RIGO | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 5 CIRCUITS. RECEPTACLE OUTLETS: 5 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: BASEMENT.
24 | 17093420020000 | B200431854 | 6/30/2025 |  |  |  |  | 30000 |  | 500 W MADISON ST |  | CHICAGO, IL |  | TRANSWESTERN | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL DATA/VIDEO. SPECIFIC LOCATION: 16TH FLOOR.
25 | 25174160190000 | B200431856 | 6/27/2025 |  |  |  |  | 10500 |  | 10741 S MORGAN ST |  | CHICAGO, IL |  | LOPEZ RIGO | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 5 CIRCUITS. RECEPTACLE OUTLETS: 5 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: BASMENT.
26 | 16054190090000 | B200431857 | 6/27/2025 |  |  |  |  | 700 |  | 5821 W WALTON ST |  | CHICAGO, IL |  | TYLER MARCIA | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. 13.5 KWH LITHIUM ION ENERGY STORAGE SYSTEM. SPECIFIC LOCATION: SERVICE CONDUCTORS, METER, EXTERIOR WALL.
27 | 25084030150000 | B200431861 | 6/27/2025 |  |  |  |  | 1500 |  | 9900 S MORGAN ST |  | CHICAGO, IL |  | GULLEY CHARITA | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. 13.5 KWH LITHIUM ION ENERGY STORAGE SYSTEM. SPECIFIC LOCATION: METER, EXTERIOR WALL.
28 | 14311320460000 | B200431863 | 7/15/2025 |  |  |  |  | 3300 |  | 2028 N OAKLEY AVE |  | CHICAGO, IL |  | OAKLEY URBAN, LLC | IN-KIND REPLACEMENT OF EXTERIOR WINDOWS AND DOORS IN EXISTING OPENINGS. REPLACEMENT WINDOWS: 6; REPLACEMENT SKYLIGHTS: 0; REPLACEMENT DOORS: 1. AFFECTS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), LOCATION: UNIT 2028 1F.
29 | 25031070130000 | B200431865 | 6/27/2025 |  |  |  |  | 10500 |  | 8837 S WABASH AVE |  | CHICAGO, IL |  | LOPEZ RIGO | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 5 CIRCUITS. RECEPTACLE OUTLETS: 5 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: BASEMENT.
30 | 20162180130000 | B200431868 | 6/27/2025 |  |  |  |  | 2000 |  | 5807 S WENTWORTH AVE |  | CHICAGO, IL |  | TRAVILLION ELIZABETH | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 125 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. 13.5 KWH LITHIUM ION ENERGY STORAGE SYSTEM. SPECIFIC LOCATION: SERVICE CONDUCTORS, RISER, EXTERIOR WALL.
31 | 13283300250000 | B200431870 | 6/27/2025 |  |  |  |  | 1000 |  | 5230 W MONTANA ST |  | CHICAGO, IL |  | ARROYO ALEJANDRO | ADDRESS VIOLATION: INSTALLATION OF 17' WIDE X 13' LONG X 10' HEIGHT CANOPY ATTACHED TO HOME, TO BE REDUCED IN LENGTH TO A TOTAL LENGTH OF 8'. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), EXTERIOR WORK, REAR YARD.
32 | 13293110150000 | B200431874 | 6/27/2025 |  |  |  |  | 3500 |  | 2628 N MELVINA AVE |  | CHICAGO, IL |  | RODRIGEUZVELEZ JUANA | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 125 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. 13.5 KWH LITHIUM ION ENERGY STORAGE SYSTEM. SPECIFIC LOCATION: SERVICE CONDUCTORS, RISER, METER, EXTERIOR WALL.
33 | 26303020740000 | B200431883 | 7/11/2025 |  |  |  |  | 6400 |  | 12644 S MANISTEE AVE |  | CHICAGO, IL |  | MONTEZ BERNADETTE | PURPOSE: NEW/REPLACEMENT INSTALLATION. VINYL/PVC FENCE - 6'-0' ' (HEIGHT) X 88'-0' ' (LENGTH). LOCATION: SOUTH SIDE OF THE PROPERTY.
34 | 13203040370000 | B200431884 | 7/1/2025 |  |  |  |  | 4500 |  | 6308 W CORNELIA AVE |  | CHICAGO, IL |  | PAJOR STANISLAW | REPAIR OR IN-KIND REPLACEMENT OF 12 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. INCLUDES REPAIR OR REPLACMENT OF PLUMBING PIPING. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), PLUMBING FIXTURES REPLACEMENT & REPAIRS.
35 | 17052150030000 | B200431885 | 7/29/2025 |  |  |  |  | 430000 |  | 1535 N DAYTON ST |  | CHICAGO, IL |  | MENOMONEE CLUB | DUCTWORK EXTENSION/RECONFIGURATION, REPAIR/REPLACEMENT AFFECTING 1 SYSTEMS : 1 ROOFTOP PACKAGED UNIT(CARRIER 48FEEM08A2A5-8U1C0 RTU-1) 1 ROOFTOP PACKAGED UNIT(CARRIER 48FEEM08A2A5-8U2C0 RTU-11) 1 ROOFTOP PACKAGED UNIT(CARRIER 48FEEM07A2A5-8U0C0 RTU-12) 2 ROOFTOP PACKAGED UNIT(CARRIER 48FEEM07A2A5-8U1C0 RTU-2,3) 1 ROOFTOP PACKAGED UNIT(CARRIER 48FEEM14A3A5-8U1C0 RTU-4) 1 ROOFTOP PACKAGED UNIT(CARRIER 48FEEM16A3A5-8U0C0 RTU-6) 1 ROOFTOP PACKAGED UNIT(CARRIER 48FEFM20A2A5-8U0C0 RTU-7) 1 ROOFTOP PACKAGED UNIT(CARRIER 48FEEM08A2A5-8U0C0 RTU-8) 1 ROOFTOP PACKAGED UNIT(CARRIER 48FEEM16A3A5-8U1C0 RTU-9) 1 ROOFTOP PACKAGED UNIT(CARRIER 48FEEM16A3A5-8U0C0 RTU-10) . ELECTRICAL WORK UNDER THIS PERMIT = YES . LOCATIONS: 0 RESIDENTIAL UNIT(S), 2 NON-RESIDENTIAL UNIT(S), EXTERIOR WORK, ROOFTOP. ¦ SPECIAL CONDITION: CONTACT REFRIGERATION SUPERVISOR CLEMENT GAVIN 312-743-3562, PRIOR TO THE INSTALLATION OF ANY ROOFTOP EQUIPMENT, TO SCHEDULE AN INSPECTION.
36 | 25281210080000 | B200431889 | 8/4/2025 |  |  |  |  | 1200 |  | 12127 S PARNELL AVE |  | CHICAGO, IL |  | ATKIN IAN | IN-KIND REPLACEMENT OF EXTERIOR WINDOWS AND DOORS IN EXISTING OPENINGS. REPLACEMENT WINDOWS: 2; REPLACEMENT SKYLIGHTS: 0; REPLACEMENT DOORS: 2. AFFECTS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), LOCATION: FRONT, REAR, NORTH AND SOUTH FACADE.
37 | 19172250540000 | B200431890 | 6/27/2025 |  |  |  |  | 30000 |  | 5808 S MAYFIELD AVE |  | CHICAGO, IL |  | ORTEGA JAY | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 25'-0' ' X24'-0' '. GABLE ROOF HEIGHT TO PEAK: 15'-6' '.
38 | 17094090060000 | B200431894 | 7/2/2025 |  |  |  |  | 40320 |  | 321 N CLARK ST |  | CHICAGO, IL |  | SHEPPARD, MULLIN, RICHTER & HAMPTON LLP | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL AUDIO. SPECIFIC LOCATION: 5 CONFERENCE ROOMS ON THE 32ND FLOOR.
39 | 17064180050000 | B200431895 | 6/30/2025 |  |  |  |  | 4160 |  | 1033 N HERMITAGE AVE |  | CHICAGO, IL |  | LAMBERT MAGGIE | PURPOSE: NEW/REPLACEMENT INSTALLATION. WOOD FENCE - 6'-0' ' (HEIGHT) X 58'-0' ' (LENGTH). LOCATION: EASTERN SIDE OF THE PROPERTY LINE..
40 | 25221020110000 | B200431900 | 7/2/2025 |  |  |  |  | 3500 |  | 11127 S MICHIGAN AVE |  | CHICAGO, IL |  | NOAH'S ARK CHRISTIAN DAYCARE INC. | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL DATA/VIDEO. SPECIFIC LOCATION: INTERIOR AND EXTERIOR CAMERA INSTALLATION.
41 | 20344100090000 | B200431903 | 7/1/2025 |  |  |  |  | 25254 |  | 8627 S VERNON AVE |  | CHICAGO, IL |  | LANE MONICA | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 11.5 KW. ARRAY OUTPUT: 10.66 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES OF PRINCIPAL STRUCTURE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * REFER TO ELECTRICAL PERMIT B200431666.* ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
42 | 25183100140000 | B200431905 | 6/27/2025 |  |  |  |  | 1078 |  | 10917 S OAKLEY AVE |  | CHICAGO, IL |  | CHAVARRIA MICHAEL | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 3 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: GARAGE.
43 | 20073150170000 | B200431906 | 7/10/2025 |  |  |  |  | 1000 |  | 2142 W 54TH ST |  | CHICAGO, IL |  | RAUL RIVERA | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 20 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: FIRST AND SECOND FLOOR.
44 | 19341100370000 | B200431909 | 7/1/2025 |  |  |  |  | 26033 |  | 8224 S KILBOURN AVE |  | CHICAGO, IL |  | FAVELA ALFREDO | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 11.5 KW. ARRAY OUTPUT: 11.07 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES OF PRINCIPAL STRUCTURE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * REFER TO ELECTRICAL PERMIT B200429720.* ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
45 | 25174050560000 | B200431913 | 7/1/2025 |  |  |  |  | 15127 |  | 1077 W 108TH ST |  | CHICAGO, IL |  | ALCORN PATRICIA | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 11.5 KW. ARRAY OUTPUT: 5.33 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES OF PRINCIPAL STRUCTURE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * REFER TO ELECTRICAL PERMIT B200431669.* ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
46 | 25041220350000 | B200431914 | 7/1/2025 |  |  |  |  | 11000 |  | 8932 S EGGLESTON AVE |  | CHICAGO, IL |  | ARNOLD JOHN | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 30 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: BASEMENT.
47 | 19174300120000 | B200431917 | 7/16/2025 |  |  |  |  | 3500 |  | 6235 S MAJOR AVE |  | CHICAGO, IL |  | REYES LUIS | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 120 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: FRONT.
48 | 19354140650000 | B200431918 | 7/1/2025 |  |  |  |  | 22917 |  | 3344 W 85TH ST |  | CHICAGO, IL |  | SMITH SHIRLEY | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 11.5 KW. ARRAY OUTPUT: 9.43 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES OF PRINCIPAL STRUCTURE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * REFER TO ELECTRICAL PERMIT B200431670.* ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
49 | 20121080440000 | B200431919 | 6/30/2025 |  |  |  |  | 168174 |  | 5235 S CORNELL AVE |  | CHICAGO, IL |  | AKIBA SCHOOL HYDE PARK | SCOPE: ROOF REPLACEMENT. AREA: 9000 SQ. FT. ROOF COVERING: OTHER. LOCATION: ROOF AREA. IL ROOFING CONTRACTOR LICENSE: 104000096.
50 | 19353140540000 | B200431920 | 7/1/2025 |  |  |  |  | 19801 |  | 3620 W 84TH PL |  | CHICAGO, IL |  | DESHAZIER DANTE | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 11.5 KW. ARRAY OUTPUT: 7.79 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES OF PRINCIPAL STRUCTURE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
51 | 16122030370000 | B200431921 | 6/27/2025 |  |  |  |  | 600 |  | 2416 W SUPERIOR ST |  | CHICAGO, IL |  | CASTANO DANIELA | PURPOSE: NEW/REPLACEMENT INSTALLATION. WOOD FENCE - 6'-0' ' (HEIGHT) X 22'-0' ' (LENGTH). LOCATION: BACKYARD.
52 | 24133090970000 | B200431922 | 7/1/2025 |  |  |  |  | 34602 |  | 11038 S ALBANY AVE |  | CHICAGO, IL |  | SANCHEZ DIANE | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 11.5 KW. ARRAY OUTPUT: 15.58 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES OF PRINCIPAL STRUCTURE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * REFER TO ELECTRICAL PERMIT B200431671.* ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
53 | 25083060960000 | B200431923 | 6/30/2025 |  |  |  |  | 3850 |  | 1571 W 100TH PL |  | CHICAGO, IL |  | PALUCH CONSTRUCTION, INC. | REPAIR OR IN-KIND REPLACEMENT OF 11 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. REPAIR OR IN-KIND REPLACEMENT OF HOT WATER HEATER(S). INCLUDES REPAIR OR REPLACMENT OF PLUMBING PIPING. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), PLUMBING FIXTURE REPLACEMENT & REPAIRS.
54 | 25083060960000 | B200431924 | 6/30/2025 |  |  |  |  | 5800 |  | 1571 W 100TH PL |  | CHICAGO, IL |  | PALUCH CONSTRUCTION, INC. | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 25 . LIGHTING OUTLETS: 20. SPECIFIC LOCATION: ELECTRICAL REPAIR WORK.
55 | 16041020100000 | B200431928 | 6/27/2025 |  |  |  |  | 100 |  | 5445 W NORTH AVE |  | CHICAGO, IL |  | WILLIAMS DORTHY | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: 1ST FLOOR.
56 | 17073090490000 | B200431930 | 7/1/2025 |  |  |  |  | 372420 |  | 2226 W WALNUT ST |  | CHICAGO, IL |  | FACKLIS LEE | SCOPE: ROOF RECOVER. AREA: 51000 SQ. FT. ROOF COVERING: OTHER. LOCATION: ROOF TOP. IL ROOFING CONTRACTOR LICENSE: 104004204.
57 | 19133080350000 | B200431931 | 7/8/2025 |  |  |  |  | 3500 |  | 6036 S TROY ST |  | CHICAGO, IL |  | FLORES RAQUEL | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 25 CIRCUITS. RECEPTACLE OUTLETS: 30 . LIGHTING OUTLETS: 25. SPECIFIC LOCATION: UPGRADE ELECTRIC SERVICE TO 200 AMPS.
58 | 13011220050000 | B200431932 | 7/13/2025 |  |  |  |  | 2000 |  | 6075 N KEDZIE AVE |  | CHICAGO, IL |  | ADEMI FUAD | PURPOSE: NEW/REPLACEMENT INSTALLATION. VINYL/PVC FENCE - 5'-11' ' (HEIGHT) X 30'-0' ' (LENGTH). LOCATION: BACKYARD.
59 | 20103080150000 | B200431936 | 8/19/2025 |  |  |  |  | 17100 |  | 40 E GARFIELD BLVD |  | CHICAGO, IL |  | 1547 CSR - CHICAGO MTC, LLC. | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 2279 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: ROOF LEVEL MASONRY REPAIR. ¦ SPECIAL CONDITION: ANY REMOVED MASONRY TO BE SALVAGED AND REINSTALLED WHEN POSSIBLE. ANY NEW MASONRY TO MATCH HISTORIC IN SIZE, COLOR, TEXTURE/FINISH, AND GENERAL APPEARANCE. NEW MORTAR TO MATCH HISTORIC IN COLOR, TEXTURE, STRENGTH/TYPE, AND PROFILE. ALL WORK AND DETAILING TO MATCH EXISTING.
60 | 13281290160000 | B200431946 | 7/7/2025 |  |  |  |  | 1700 |  | 5254 W WOLFRAM ST |  | CHICAGO, IL |  | MCNAUGHTON RYAN | REPAIR OR IN-KIND REPLACEMENT OF 1 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. REPAIR OR IN-KIND REPLACEMENT OF HOT WATER HEATER(S). INCLUDES REPAIR OR REPLACMENT OF PLUMBING PIPING. LOCATIONS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), 1 INTERIOR COMMON AREAS, BASEMENT BOILER ROOM.
61 | 20303190050000 | B200431951 | 6/30/2025 |  |  |  |  | 6500 |  | 7547 S HAMILTON AVE |  | CHICAGO, IL |  | VILLA JOSE A | REPAIR OR IN-KIND REPLACEMENT OF 4 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. INCLUDES REPAIR OR REPLACMENT OF PLUMBING PIPING. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), BASEMENT, FIRST AND SECOND FLOOR.
62 | 26084030010000 | B200431952 | 7/2/2025 |  |  |  |  | 750 |  | 10401 S AVENUE F |  | CHICAGO, IL |  | TOMCZAK BRENT | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 20'-0' ' X20'-0' '. GABLE ROOF HEIGHT TO PEAK: 10'-0' '.
63 | 13233150080000 | B200431956 | 6/28/2025 |  |  |  |  | 1000 |  | 3450 N MONTICELLO AVE |  | CHICAGO, IL |  | WILSON MARK | LINE VOLTAGE ELECTRICAL WORK. ADD 1 CIRCUITS TO EXISTING 100 AMP SERVICE DISCONNECTING MEANS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. ELECTRIC VEHICLE SUPPLY EQUIPMENT:1 SPACES. SPECIFIC LOCATION: GARAGE.
64 | 16134100680000 | B200431958 | 7/9/2025 |  |  |  |  | 3000 |  | 2529 W LEXINGTON ST |  | CHICAGO, IL |  | REDDY VIMAL | LINE VOLTAGE ELECTRICAL WORK. ADD 1 CIRCUITS TO EXISTING 200 AMP SERVICE DISCONNECTING MEANS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. ELECTRIC VEHICLE SUPPLY EQUIPMENT:1 SPACES. SPECIFIC LOCATION: HOUSE BASEMENT, BACKYARD, DETACHED GARAGE.
65 | 17063210340000 | B200431964 | 6/30/2025 |  |  |  |  | 6000 |  | 2204 W IOWA ST |  | CHICAGO, IL |  | ALLEN JEFF | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: COACH HOUSE. ¦ SPECIAL CONDITION: APPROVED PER ATTACHMENTS RECEIVED 6/28/25: ELECTRICAL WORK TO COACH HOUSE ONLY. NO OTHER WORK, NO WORK TO MAIN BUILDING WITH THIS PERMIT.
66 | 19351180480000 | B200431967 | 7/20/2025 |  |  |  |  | 8500 |  | 3800 W 82ND ST |  | CHICAGO, IL |  | JONES XAVIER | PURPOSE: NEW/REPLACEMENT INSTALLATION. VINYL/PVC FENCE - 6'-0' ' (HEIGHT) X 219'-0' ' (LENGTH). LOCATION: FENCE.
67 | 19351180490000 | B200431967 | 7/20/2025 |  |  |  |  | 8500 |  | 3800 W 82ND ST |  | CHICAGO, IL |  | JONES XAVIER | PURPOSE: NEW/REPLACEMENT INSTALLATION. VINYL/PVC FENCE - 6'-0' ' (HEIGHT) X 219'-0' ' (LENGTH). LOCATION: FENCE.
68 | 13202100340000 | B200431970 | 6/30/2025 |  |  |  |  | 3000 |  | 5708 W BERENICE AVE |  | CHICAGO, IL |  | STEPANIAK RYSZARD | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 20 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: BASEMENT, BACK FACADE.
69 | 24134070480000 | B200431972 | 7/3/2025 |  |  |  |  | 6000 |  | 10709 S ARTESIAN AVE |  | CHICAGO, IL |  | RIGOLI MIKE | PURPOSE: NEW/REPLACEMENT INSTALLATION. WOOD FENCE - 6'-0' ' (HEIGHT) X 167'-0' ' (LENGTH). LOCATION: BACKYARD.
70 | 20153070250000 | B200431977 | 7/1/2025 |  |  |  |  | 1000 |  | 6032 S MICHIGAN AVE |  | CHICAGO, IL |  | GRAY RYAN | REPAIR OR IN-KIND REPLACEMENT OF 2 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), APARTMENT 2.
71 | 16044270070000 | B200431990 | 7/3/2025 |  |  |  |  | 50000 |  | 4941 W IOWA ST |  | CHICAGO, IL |  | FNDN OF DREAMS REALTY LLC | SCOPE: NONSTRUCTURAL INTERIOR WORK: REPLACE DRYWALL IN BATHROOM AND KITCHEN. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), APARTMENT 1A.
72 | 13071040460000 | B200431993 | 6/30/2025 |  |  |  |  | 7000 |  | 5474 N SAYRE AVE |  | CHICAGO, IL |  | AL-ABDULLA ZAINEB | PURPOSE: NEW/REPLACEMENT INSTALLATION. WOOD FENCE - 6'-0' ' (HEIGHT) X 153'-0' ' (LENGTH). LOCATION: BACK YARD.
73 | 20174060490000 | B200431997 | 8/22/2025 |  |  |  |  | 15000 |  | 843 W 59TH ST |  | CHICAGO, IL |  | HOLLIDAY KIPPI | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 80 SQ. FT., LINTEL QTY. 8, MAX. LENGTH 9. PARAPET REBUILDING: 300 SQ. FT. LOCATION: PARAPETS AND FRONT WINDOW LINTELS.
74 | 20182070070000 | B200432009 | 6/30/2025 |  |  |  |  | 950 |  | 1601 W GARFIELD BLVD |  | CHICAGO, IL |  | NAM-RON ELECTRIC | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 2 . LIGHTING OUTLETS: 2. SPECIFIC LOCATION: 1ST FLOOR.
75 | 19343220440000 | B200432010 | 7/2/2025 |  |  |  |  | 21937 |  | 4662 W 84TH PL |  | CHICAGO, IL |  | SHELFEH GHAZLOBU | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 10 KW. ARRAY OUTPUT: 10.25 KW. LOCATION: ROOF OF HOUSE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #19-0021. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * REFER TO ELECTRICAL PERMIT B200432066.* ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
76 | 20223240160000 | B200432017 | 7/7/2025 |  |  |  |  | 8000 |  | 7051 S PRAIRIE AVE |  | CHICAGO, IL |  | ISRAEL RODRIGUEZ | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 60 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 10 . LIGHTING OUTLETS: 8. SPECIFIC LOCATION: FIRST FLOOR ELECTRIC METER.
77 | 16234260010000 | B200432023 | 7/21/2025 |  |  |  |  | 6000 |  | 2101 S CHRISTIANA AVE |  | CHICAGO, IL |  | MONTES JORGE | PURPOSE: NEW/REPLACEMENT INSTALLATION. WOOD FENCE - 6'-0' ' (HEIGHT) X 80'-0' ' (LENGTH). LOCATION: SIDE AND BACK.
78 | 20101230140000 | B200432029 | 7/25/2025 |  |  |  |  | 50000 |  | 5041 S CALUMET AVE |  | CHICAGO, IL |  | TLC OPERATIONS, LLC | IN-KIND REPLACEMENT OF EXTERIOR WINDOWS AND DOORS IN EXISTING OPENINGS. REPLACEMENT WINDOWS: 60; REPLACEMENT SKYLIGHTS: 0; REPLACEMENT DOORS: 7. AFFECTS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), LOCATION: REPLACE EXTERIOR DOORS AND WINDOWS.
79 | 17094290180000 | B200432039 | 6/30/2025 |  |  |  |  | 37900 |  | 155 N WACKER DR |  | CHICAGO, IL |  | THE JOHN BUCK CO | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL TELEPHONE. SPECIFIC LOCATION: THE SIEGFRIED CHICAGO ON THE 34TH FLOOR.
80 | 19231060190000 | B200432043 | 7/3/2025 |  |  |  |  | 1100 |  | 3703 W 63RD PL |  | CHICAGO, IL |  | TORRES JESUS | PURPOSE: NEW/REPLACEMENT INSTALLATION. WOOD FENCE - 4'-0' ' (HEIGHT) X 350'-0' ' (LENGTH). LOCATION: PERIMETER FENCE 300 L.F. - 5'-11". ¦ SPECIAL CONDITION: NO PORTION OF FENCE WITHIN FRONT YARD MAY BE OF SOLID CONSTRUCTION OVER 4.6'
81 | 25223120140000 | B200432045 | 6/30/2025 |  |  |  |  | 335000 |  | 333 E 116TH ST |  | CHICAGO, IL |  | NAVARETTE JOSEPHINE | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 6 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: BASEMENT, REAR ELEVATION.
82 | 25282080070000 | B200432047 | 7/2/2025 |  |  |  |  | 500 |  | 12023 S STEWART AVE |  | CHICAGO, IL |  | PINSON ANNIE | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 2 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: REAR END OF THE PROPERTY. METERS ARE IN BACK.
83 | 20312150220000 | B200432048 | 7/1/2025 |  |  |  |  | 20000 |  | 8014 S ASHLAND AVE |  | CHICAGO, IL |  | OLADEINDE OLUFOLAKE | SCOPE: ROOF REPLACEMENT. AREA: 3000 SQ. FT. ROOF COVERING: MINERAL - SURFACED ROLL ROOFING. LOCATION: ROOFTOP. IL ROOFING CONTRACTOR LICENSE: 104019599.
84 | 19131110050000 | B200432053 | 7/22/2025 |  |  |  |  | 50000 |  | 5611 S WHIPPLE ST |  | CHICAGO, IL |  | CARRILLO ANEL | SCOPE: REMODEL 1ST FLOOR BATHROOM AND KITCHEN. INSTALL NEW AIR CONDITIONING UNIT TO EXISTING FURNACE. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S)
85 | 25341060260000 | B200432054 | 6/30/2025 |  |  |  |  | 2000 |  | 13033 S EBERHART AVE |  | CHICAGO, IL |  | NETTLES LARRY | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: BASEMENT AND EXTERIOR.
86 | 19343220440000 | B200432066 | 6/30/2025 |  |  |  |  | 2000 |  | 4662 W 84TH PL |  | CHICAGO, IL |  | SHELFEH GHAZLOBU | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: BASEMENT AND EXTERIOR.
87 | 16341010060000 | B200432069 | 7/18/2025 |  |  |  |  | 86207 |  | 3200 S KILBOURN AVE |  | CHICAGO, IL |  | SWEENEY LEANN | SCOPE: ROOF REPLACEMENT. AREA: 4800 SQ. FT. ROOF COVERING: OTHER. LOCATION: ROOFTOP. IL ROOFING CONTRACTOR LICENSE: 104020000.
88 | 26061160250000 | B200432080 | 7/9/2025 |  |  |  |  | 31340 |  | 8912 S PHILLIPS AVE |  | CHICAGO, IL |  | PRINGLE TERRY | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 9.88 KW. ARRAY OUTPUT: 0.01066 KW. LOCATION: ROOF SOLAR. ICC DISTRIBUTED GENERATION INSTALLER CERT. #23-0387. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * REFER TO ELECTRICAL PERMIT B200432089.* ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
89 | 13222230890000 | B200432083 | 7/14/2025 |  |  |  |  | 52500 |  | 3638 N PULASKI RD |  | CHICAGO, IL |  | PETRANCOSTA CHRISTINA | REPAIR/REPLACEMENT AFFECTING 1 SYSTEMS : 3 ROOFTOP PACKAGED UNIT(YORK KJ102, KJ120, KXGA7E2, ROOFTOP) . ELECTRICAL WORK UNDER THIS PERMIT = NO . LOCATIONS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), EXTERIOR WORK, ROOFTOP. ¦ SPECIAL CONDITION: CONTACT REFRIGERATION SUPERVISOR CLEMENT GAVIN 312-743-3562, PRIOR TO THE INSTALLATION OF ANY ROOFTOP EQUIPMENT, TO SCHEDULE AN INSPECTION.
90 | 26061160250000 | B200432089 | 7/3/2025 |  |  |  |  | 5000 |  | 8912 S PHILLIPS AVE |  | CHICAGO, IL |  | PRINGLE TERRY | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 125 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 0 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: MAIN HOUSE.
91 | 17051210090000 | B200432092 | 7/8/2025 |  |  |  |  | 18000 |  | 1357 N ELSTON AVE |  | CHICAGO, IL |  | 1357 PROPERTY OWNER, LLC | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 176 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: 2ND FLOOR. ¦ SPECIAL CONDITION: NO OTHER WORK
92 | 13234020930000 | B200432108 | 6/30/2025 |  |  |  |  | 3797 |  | 3445 N KIMBALL AVE |  | CHICAGO, IL |  | JC LICHT | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 10 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: FRONT ENTRANCE.
93 | 13103220120000 | B200432110 | 7/25/2025 |  |  |  |  | 25026 |  | 4925 N KENNETH AVE |  | CHICAGO, IL |  | KOMAROV TIKHON | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: STEEP (>5:12). INVERTER OUTPUT: 4.48 KW. ARRAY OUTPUT: 5.95 KW. LOCATION: ROOFING. ICC DISTRIBUTED GENERATION INSTALLER CERT. #25-0056. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
94 | 13114220020000 | B200432112 | 7/24/2025 |  |  |  |  | 16000 |  | 3244 W AINSLIE ST |  | CHICAGO, IL |  | SCHOOLS CHICAGO PUBLIC | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 300 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: ALL FOUR ELEVATIONS OF BUILDING.
95 | 17103060170000 | B200432116 | 6/30/2025 |  |  |  |  | 36000 |  | 150 N MICHIGAN AVE |  | CHICAGO, IL |  | 150NM CHICAGO, LLC | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 0 . LIGHTING OUTLETS: 28. SPECIFIC LOCATION: 3RD FLOOR AMENITY SPACE.
96 | 14303090010000 | B200432118 | 7/1/2025 |  |  |  |  | 15000 |  | 2367 W LOGAN BLVD |  | CHICAGO, IL |  | MARTINEZ FROG'S, INC | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. ALTER EXISTING DATA/VIDEO. SPECIFIC LOCATION: FIELD HOUSE.
97 | 24242110010000 | B200432120 | 6/30/2025 |  |  |  |  | 23387 |  | 11201 S TALMAN AVE |  | CHICAGO, IL |  | DESMOND WILLIAM | SCOPE: ROOF REPLACEMENT. AREA: 28 SQ. FT. ROOF COVERING: ASPHALT SHINGLES. LOCATION: TEAR OFF AND RE-ROOF EXISTING ROOFING SYSTEM .. IL ROOFING CONTRACTOR LICENSE: 104019663.
98 | 13041100070000 | B200432124 | 6/30/2025 |  |  |  |  | 9145 |  | 6231 N LE MAI AVE |  | CHICAGO, IL |  | VAN PELT MELISSA | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 42 CIRCUITS. RECEPTACLE OUTLETS: 2 . LIGHTING OUTLETS: 6. SPECIFIC LOCATION: BASEMENT, GARAGE, DINING ROOM, BATHROOMS, EXTERIOR.
99 | 16234050010000 | B200432125 | 7/3/2025 |  |  |  |  | 50000 |  | 1615 S CHRISTIANA AVE |  | CHICAGO, IL |  | SCHOOLS CHICAGO PUBLIC | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 600 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: ALL FOUR ELEVATIONS OF THE BUILDING PER PLANS.
100 | 17153050280000 | B200432129 | 8/1/2025 |  |  |  |  | 75000 |  | 888 S MICHIGAN AVE |  | CHICAGO, IL |  | 888 SOUTH MICHIGAN CONDO ASSOC | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 40 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: HARVESTING TERRA COTTA FROM THE WEST AND SOUTH. ¦ SPECIAL CONDITION: WHEN 2026 SCOPE OF MASONRY REPAIRS ARE DETERMINED, WORK SHOULD NOT PROCEED UNTIL A REPAIR PERMIT IS OBTAINED. ANY REMOVED TERRA COTTA UNITS REQUIRING REPLACEMENT SHALL BE SALVAGED TO USE IN REPLICATION OF NEW UNITS. ANY NEW TERRA COTTA SHALL BE SUBMITTED TO EMILY.BARTON@CITYOFCHICAGO.ORG PRIOR TO ORDER AND INSTALLATION.
101 | 17063070470000 | B200432134 | 8/6/2025 |  |  |  |  | 13000 |  | 2008 W THOMAS ST |  | CHICAGO, IL |  | WOJTOWICZ RICHARD | REPAIR/REPLACEMENT AFFECTING 1 SYSTEMS : 1 CENTRAL FURNACE(AMERICAN STANDARD, 2ND FLOOR APT, FURNACE ROOM) . ELECTRICAL WORK UNDER THIS PERMIT = NO . LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 2ND FLOOR APARTMENT, APARTMENT #2. ¦ SPECIAL CONDITION: NO EXTERIOR WORK
102 | 17331080020000 | B200432145 | 7/2/2025 |  |  |  |  | 100 |  | 3205 S HALSTED ST |  | CHICAGO, IL |  | CHIU EDDIE | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 480 SQ. FT., LINTEL QTY. 2, MAX. LENGTH 2. PARAPET REBUILDING: 50 SQ. FT. LOCATION: FRONT FACADE.
103 | 17042130100000 | B200432146 | 8/7/2025 |  |  |  |  | 25000 |  | 1350 N WELLS ST |  | CHICAGO, IL |  | COBBLER SQUARE PROPERTY OWNER LLC | SCOPE: NONSTRUCTURAL INTERIOR REPLACEMENT OF FINISHES AT KITCHEN AND BATHROOM, NEW PLUMBING FIXTURES AND ELECTRICAL THROUGHOUT, RECONFIGURATION OF CLOSET. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), FS5 - UNIT F5065TH FLOOR
104 | 14313150230000 | B200432148 | 7/24/2025 |  |  |  |  | 2000 |  | 2013 W CORTLAND ST |  | CHICAGO, IL |  | BLAIR PAUL | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. ALTER EXISTING LIGHTING. SPECIFIC LOCATION: 1ST FLOOR UNIT.
105 | 26173290680000 | B200432153 | 7/3/2025 |  |  |  |  | 4947 |  | 11357 S AVENUE H |  | CHICAGO, IL |  | GARCIA KARINA | PURPOSE: NEW/REPLACEMENT INSTALLATION. VINYL/PVC FENCE - 6'-0' ' (HEIGHT) X 75'-0' ' (LENGTH). LOCATION: EAST SIDE OF THE PROPERTY LINE.
106 | 17042130100000 | B200432159 | 8/7/2025 |  |  |  |  | 25000 |  | 1350 N WELLS ST |  | CHICAGO, IL |  | COBBLER SQUARE PROPERTY OWNER LLC | SCOPE: NONSTRUCTURAL INTERIOR REPLACEMENT OF FINISHES AT KITCHEN AND BATHROOM, NEW PLUMBING FIXTURES AND ELECTRICAL THROUGHOUT, RECONFIGURATION OF CLOSET. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), FS5 - UNIT F220 - 2ND FLOOR.
107 | 19212090320000 | B200432164 | 7/1/2025 |  |  |  |  | 20561 |  | 6431 S LAPORTE AVE |  | CHICAGO, IL |  | ESCOBAR EDVIN | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 11.5 KW. ARRAY OUTPUT: 8.61 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES OF PRINCIPAL STRUCTURE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * REFER TO ELECTRICAL PERMIT B200425292.* ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
108 | 25331050730000 | B200432166 | 6/30/2025 |  |  |  |  | 700 |  | 541 W 127TH ST |  | CHICAGO, IL |  | COLE JAMES | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. 13.5 KWH LITHIUM ION ENERGY STORAGE SYSTEM. SPECIFIC LOCATION: SERVICE CONDUCTORS, BATTERY INSTALLATION.
109 | 17042130100000 | B200432167 | 8/7/2025 |  |  |  |  | 25000 |  | 1350 N WELLS ST |  | CHICAGO, IL |  | COBBLER SQUARE PROPERTY OWNER LLC | SCOPE: NONSTRUCTURAL INTERIOR REPLACEMENT OF FINISHES AT KITCHEN AND BATHROOM, NEW PLUMBING FIXTURES AND ELECTRICAL THROUGHOUT, RECONFIGURATION OF CLOSET. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), FS19 - UNIT F319 - 3RD FLOOR
110 | 17042130100000 | B200432169 | 7/15/2025 |  |  |  |  | 25000 |  | 1350 N WELLS ST |  | CHICAGO, IL |  | COBBLER SQUARE PROPERTY OWNER LLC | SCOPE: NONSTRUCTURAL INTERIOR REPLACEMENT OF FINISHES AT KITCHEN AND BATHROOM, NEW PLUMBING FIXTURES AND ELECTRICAL THROUGHOUT, RECONFIGURATION OF CLOSET. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), FS5 - UNIT F217 - 2ND FLOOR
111 | 25292180180000 | B200432171 | 7/1/2025 |  |  |  |  | 11000 |  | 12257 S GREEN ST |  | CHICAGO, IL |  | EARL PRENTICE | PURPOSE: NEW/REPLACEMENT INSTALLATION. WOOD FENCE - 6'-0' ' (HEIGHT) X 430'-0' ' (LENGTH). LOCATION: AROUND THE PROPERTY. ¦ SPECIAL CONDITION: FENCE NOT TO BE OF SOLID CONSTRUCTION WITHIN FRONT YARD
112 | 16104240220000 | B200432172 | 7/1/2025 |  |  |  |  | 75699 |  | 4132 W MADISON ST |  | CHICAGO, IL |  | GARFIELD COUNSELING CENTER INCORP | SCOPE: ROOF REPLACEMENT. AREA: 6300 SQ. FT. ROOF COVERING: BUILT-UP ROOF. LOCATION: MAIN ROOF. IL ROOFING CONTRACTOR LICENSE: 104.01826.
113 | 17042130100000 | B200432173 | 7/15/2025 |  |  |  |  | 25000 |  | 1350 N WELLS ST |  | CHICAGO, IL |  | COBBLER SQUARE PROPERTY OWNER LLC | SCOPE: NONSTRUCTURAL INTERIOR REPLACEMENT OF FINISHES AT KITCHEN AND BATHROOM, NEW PLUMBING FIXTURES AND ELECTRICAL THROUGHOUT, RECONFIGURATION OF CLOSET. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), FS5 - UNIT F322 3RD FLOOR
114 | 20192090180000 | B200432174 | 7/3/2025 |  |  |  |  | 15200 |  | 6451 S WINCHESTER AVE |  | CHICAGO, IL |  | BECK TYLER | SCOPE: ROOF REPLACEMENT. AREA: 750 SQ. FT. ROOF COVERING: ASPHALT SHINGLES. LOCATION: REPLACE EXISTING SHINGLES. IL ROOFING CONTRACTOR LICENSE: 104013628.
115 | 17042130100000 | B200432175 | 7/15/2025 |  |  |  |  | 25000 |  | 1350 N WELLS ST |  | CHICAGO, IL |  | COBBLER SQUARE PROPERTY OWNER LLC | SCOPE: NONSTRUCTURAL INTERIOR REPLACEMENT OF FINISHES AT KITCHEN AND BATHROOM, NEW PLUMBING FIXTURES AND ELECTRICAL THROUGHOUT, RECONFIGURATION OF CLOSET. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), FS5 - UNIT F417 - 4TH FLOOR
116 | 16084100140000 | B200432177 | 7/9/2025 |  |  |  |  | 3000 |  | 5666 W WEST END AVE |  | CHICAGO, IL |  | DELGADO LOMAS JUAN FERNANDO | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: NORTH-WEST INSIDE WALL.
117 | 17103170040000 | B200432179 | 7/2/2025 |  |  |  |  | 5000 |  | 337 E RANDOLPH ST |  | CHICAGO, IL |  | CHICAGO PARK DISTRICT | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: GRANT PARK NASCAR BROADCAST CENTER.
118 | 17282190060000 | B200432183 | 6/30/2025 |  |  |  |  | 15000 |  | 331 W 23RD PL |  | CHICAGO, IL |  | CHEN DONG JIN | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 500 SQ. FT., LINTEL QTY. 7, MAX. LENGTH 3. LOCATION: FRONT FACADE.
119 | 13052130170000 | B200432184 | 6/30/2025 |  |  |  |  | 2500 |  | 6011 N MASON AVE |  | CHICAGO, IL |  | HARTIGAN JOHN | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: BASEMENT DISCONNECT LOCATION.
120 | 13204200240000 | B200432189 | 6/30/2025 |  |  |  |  | 5000 |  | 5632 W HENDERSON ST |  | CHICAGO, IL |  | ALHINDI MUNTAHA | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 30 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: BASEMENT AND REAR EXTERIOR.
121 | 13063070120000 | B200432190 | 7/2/2025 |  |  |  |  | 24925 |  | 5835 N NINA AVE |  | CHICAGO, IL |  | BRIAN AND DEBORAH COONEY | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 22'-0' ' X18'-0' '. HIP ROOF HEIGHT TO PEAK: 13'-0' '.
122 | 19172030420000 | B200432191 | 7/23/2025 |  |  |  |  | 14000 |  | 5559 S MONITOR AVE |  | CHICAGO, IL |  | RICHARDS BEATA | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 20'-0' ' X20'-0' '. HIP ROOF HEIGHT TO PEAK: 15'-0' '.
123 | 13033050280000 | B200432192 | 6/30/2025 |  |  |  |  | 4500 |  | 4500 W THORNDALE AVE |  | CHICAGO, IL |  | MOORE CHRISTINA | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 15 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: REPLACE SERVICE.
124 | 13164180110000 | B200432195 | 7/7/2025 |  |  |  |  | 11150 |  | 4119 N LAWLER AVE |  | CHICAGO, IL |  | BROHLIN GEORGE | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: STEEP (>5:12). INVERTER OUTPUT: 3.19 KW. ARRAY OUTPUT: 0.04906 KW. LOCATION: ROOF TOP OF PRINCIPLE STRUCTURE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #23-0387. ¦ SPECIAL CONDITION: *NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
125 | 25163220100000 | B200432203 | 7/9/2025 |  |  |  |  | 3000 |  | 11035 S EMERALD AVE |  | CHICAGO, IL |  | ELLIS EMMIT | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 2 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: BASEMENT.
126 | 16272000710000 | B200432204 | 7/11/2025 |  |  |  |  | 10000 |  | 2322 S KIRKLAND AVE |  | CHICAGO, IL |  | TWO THIRTY ONE TRANSPORT LLC | SCOPE: NONSTRUCTURAL INTERIOR PREPARATORY DEMOLITION OF DRYWALL/NON- LOADING BEARING PARTITIONS. ALL OTHER WORK UNDER SPR APPLICATION/PERMIT # 101071195. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), THROUGHOUT INTERIOR OF HOME.
127 | 17331000030000 | B200432206 | 7/2/2025 |  |  |  |  | 5000 |  | 749 W 31ST ST |  | CHICAGO, IL |  | PROPERTY SOLUTION GROUP | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL DATA/VIDEO. SPECIFIC LOCATION: 1ST FLOOR.
128 | 13142220280000 | B200432207 | 7/7/2025 |  |  |  |  | 250000 |  | 3512 W MONTROSE AVE |  | CHICAGO, IL |  | CITY OF CHICAGO 2FM | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 120 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: BASEMENT & FIRST FLOOR.
129 | 20194030360000 | B200432208 | 7/7/2025 |  |  |  |  | 19000 |  | 6736 S WOOD ST |  | CHICAGO, IL |  | BROWN DEMETRIUS | FULL REBUILD (SAME AS EXISTING) FOR WOOD PORCH (OPEN) (QUANTITY: 1, LOCATION: REAR OF BUILDING).
130 | 25034060230000 | B200432210 | 7/7/2025 |  |  |  |  | 18000 |  | 612 E 92ND ST |  | CHICAGO, IL |  | LLC ROD N INVESTMENT GROUP | FULL REBUILD (SAME AS EXISTING) FOR WOOD PORCH (OPEN) (QUANTITY: 1, LOCATION: REAR OF BUILDING).
131 | 13142220280000 | B200432211 | 7/3/2025 |  |  |  |  | 200000 |  | 3512 W MONTROSE AVE |  | CHICAGO, IL |  | CITY OF CHICAGO 2FM | CONCRETE MASONRY REPAIR / REPLACEMNT: 400SQ. FT., EXCAVATION = NO. LOCATION: BASEMENT & FIRST FLOOR.
132 | 20294220080000 | B200432212 | 7/7/2025 |  |  |  |  | 18500 |  | 7727 S PEORIA ST |  | CHICAGO, IL |  | DORSEY CRAIG | FULL REBUILD (SAME AS EXISTING) FOR WOOD PORCH (OPEN) (QUANTITY: 1, LOCATION: REAR OF BUILDING).
133 | 13041060290000 | B200432219 | 7/9/2025 |  |  |  |  | 23500 |  | 6304 N LE MAI AVE |  | CHICAGO, IL |  | GERROS MATTHEW | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 20'-0' ' X22'-0' '. GABLE ROOF HEIGHT TO PEAK: 15'-0' '.
134 | 13061090350000 | B200432220 | 7/3/2025 |  |  |  |  | 8250 |  | 6282 N NIAGARA AVE |  | CHICAGO, IL |  | KEMORA LANDSCAPES | PURPOSE: NEW/REPLACEMENT INSTALLATION. WOOD FENCE - 6'-0' ' (HEIGHT) X 107'-0' ' (LENGTH). LOCATION: SOUTH TOWARDS THE REAR OF THE PROPERTY.
135 | 17093260040000 | B200432223 | 7/1/2025 |  |  |  |  | 3000 |  | 150 N RIVERSIDE PLZ |  | CHICAGO, IL |  | GTS ELECTRIC INC | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL DATA/VIDEO. SPECIFIC LOCATION: LOW VOLTAGE WIRING FOR POS CAMERAS AND TVS.
136 | 14281041000000 | B200432225 | 7/2/2025 |  |  |  |  | 20000 |  | 3122 N ORCHARD ST |  | CHICAGO, IL |  | FARLEY JEANNE | SCOPE: NONSTRUCTURAL INTERIOR WORK: REPLACE PLUMBING FIXTURES AND ASSOCIATED PIPING IN TWO BATHROOMS. NEW ELECTRICAL FIXTURES AND SWITCHES. NEW DRYWALL CEILING AT KITCHEN. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), LEVEL 2 BATHROOMS AND CEILING IN KITCHEN.
137 | 16032330010000 | B200432228 | 7/3/2025 |  |  |  |  | 24000 |  | 1215 N KILDARE AVE |  | CHICAGO, IL |  | COLLINS JAMES | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 400 SQ. FT., LINTEL QTY. 36, MAX. LENGTH 8. LOCATION: NORTH AND WEST ELEVATION FACADE REPAIR.
138 | 17324140700000 | B200432231 | 7/1/2025 |  |  |  |  | 2332 |  | 3761 S MORGAN ST |  | CHICAGO, IL |  | MOY BARRY | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. ELECTRIC VEHICLE SUPPLY EQUIPMENT:1 SPACES. SPECIFIC LOCATION: ATTACHED GARAGE.
139 | 19152040270000 | B200432242 | 7/1/2025 |  |  |  |  | 25748 |  | 5518 S KEDVALE AVE |  | CHICAGO, IL |  | CAMPOS FRANCISCO | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 10 KW. ARRAY OUTPUT: 10.92 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES FOR PRINCIPAL STRUCTURE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
140 | 20314110340000 | B200432243 | 7/1/2025 |  |  |  |  | 18541 |  | 8436 S HERMITAGE AVE |  | CHICAGO, IL |  | THOMAS MINETTE | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 20'-0' ' X14'-0' '. HIP ROOF HEIGHT TO PEAK: 12'-0' '.
141 | 20254160050000 | B200432247 | 7/2/2025 |  |  |  |  | 750 |  | 7717 S JEFFERY BLVD |  | CHICAGO, IL |  | KBRE LLC | REPAIR OR IN-KIND REPLACEMENT OF 0 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. INCLUDES REPAIR OR REPLACMENT OF PLUMBING PIPING. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), 1ST FLOOR.
142 | 24222020010000 | B200432254 | 7/1/2025 |  |  |  |  | 280000 |  | 4200 W 115TH ST |  | CHICAGO, IL |  | MARIST HIGH SCHOOL | SCOPE: ROOF REPLACEMENT. AREA: 11000 SQ. FT. ROOF COVERING: MINERAL - SURFACED ROLL ROOFING. LOCATION: ROOF WORK. IL ROOFING CONTRACTOR LICENSE: 104000230.
143 | 16112060320000 | B200432258 | 7/2/2025 |  |  |  |  | 33174 |  | 718 N SAWYER AVE |  | CHICAGO, IL |  | SINCHI MANUEL | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 22'-0' ' X19'-0' '. HIP ROOF HEIGHT TO PEAK: 13'-0' '.
144 | 19184140640000 | B200432259 | 7/2/2025 |  |  |  |  | 30707 |  | 6138 S RUTHERFORD AVE |  | CHICAGO, IL |  | OBRIEN JACQELYN | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 10 KW. ARRAY OUTPUT: 13.53 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES OF PRINCIPAL STRUCTURE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * REFER TO SOLAR (ACCESSORY) PERMIT B200432262 AND ELECTRICAL PERMIT B200432272.* UNDERGROUND RACEWAY TO BE INSPECTED BY AHJ PRIOR TO COVERING. * ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
145 | 16092140170000 | B200432260 | 7/1/2025 |  |  |  |  | 4990 |  | 4909 W ERIE ST |  | CHICAGO, IL |  | PETTY BEVERLY | PURPOSE: NEW/REPLACEMENT INSTALLATION. WOOD FENCE - 6'-0' ' (HEIGHT) X 104'-0' ' (LENGTH). LOCATION: WEST SIDE OF THE PROPERTY..
146 | 19341220460000 | B200432261 | 7/1/2025 |  |  |  |  | 9446 |  | 8124 S KEATING AVE |  | CHICAGO, IL |  | HERNANDEZ JUAN | SCOPE: ROOF REPLACEMENT. AREA: 13 SQ. FT. ROOF COVERING: ASPHALT SHINGLES. LOCATION: TEAR OFF AND RE-ROOF EXISTING ROOFING SYSTEM.. IL ROOFING CONTRACTOR LICENSE: 104019663.
147 | 19184140640000 | B200432262 | 7/2/2025 |  |  |  |  | 14348 |  | 6138 S RUTHERFORD AVE |  | CHICAGO, IL |  | OBRIEN JACQELYN | INSTALL SOLAR PANELS ON ROOF OF ACCESSORY BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 10 KW. ARRAY OUTPUT: 4.92 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES OF DETACHED STRUCTURE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * REFER TO SOLAR (PRINCIPAL) PERMIT B200432259 AND ELECTRICAL PERMIT B200432272.* UNDERGROUND RACEWAY TO BE INSPECTED BY AHJ PRIOR TO COVERING. * ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
148 | 17281110290000 | B200432270 | 7/2/2025 |  |  |  |  | 2000 |  | 2424 S HALSTED ST |  | CHICAGO, IL |  | 2420 HALSTED, LLC PROLOGIS-EXCHANGE | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL DATA/VIDEO. SPECIFIC LOCATION: WAREHOUSE.
149 | 19184140640000 | B200432272 | 7/1/2025 |  |  |  |  | 1500 |  | 6138 S RUTHERFORD AVE |  | CHICAGO, IL |  | OBRIEN JACQELYN | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. 13.5 KWH LITHIUM ION ENERGY STORAGE SYSTEM. SPECIFIC LOCATION: EXTERIOR WALL.
150 | 20364150480000 | B200432273 | 7/1/2025 |  |  |  |  | 700 |  | 8536 S CHAPPEL AVE |  | CHICAGO, IL |  | DANIELS MARX | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 0. 13.5 KWH LITHIUM ION ENERGY STORAGE SYSTEM. SPECIFIC LOCATION: SERVICE CONDUCTORS, EXTERIOR WALL.
151 | 20203250360000 | B200432274 | 7/2/2025 |  |  |  |  | 32326 |  | 1520 W 71ST ST |  | CHICAGO, IL |  | CRUZ MIREYA | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 20'-0' ' X20'-0' '. GABLE ROOF HEIGHT TO PEAK: 14'-0' '.
152 | 13194200090000 | B200432276 | 7/3/2025 |  |  |  |  | 5000 |  | 6608 W SCHORSCH ST |  | CHICAGO, IL |  | MIRELES JUAN | PURPOSE: NEW/REPLACEMENT INSTALLATION. VINYL/PVC FENCE - 6'-0' ' (HEIGHT) X 99'-0' ' (LENGTH). LOCATION: WEST SIDE OF THE PROPERTY.
153 | 14311270470000 | B200432277 | 7/1/2025 |  |  |  |  | 2360 |  | 2118 N DAMEN AVE |  | CHICAGO, IL |  | 2118 N DAMEN LLC | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 250 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: NORTH ELEVATION.
154 | 17213120060000 | B200432279 | 7/14/2025 |  |  |  |  | 20000 |  | 717 W 18TH ST |  | CHICAGO, IL |  | PROVIDENCE OF GOD | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 200 AMP SERVICE DISCONNECTING MEANS WITH 28 CIRCUITS. RECEPTACLE OUTLETS: 28 . LIGHTING OUTLETS: 6. SPECIFIC LOCATION: RECTORY AND BASEMENT OF CHURCH. ¦ SPECIAL CONDITION: * THANK YOU
155 | 25101030250000 | B200432285 | 7/2/2025 |  |  |  |  | 27878 |  | 9542 S FOREST AVE |  | CHICAGO, IL |  | JOSEPH STRICKLAND | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 24'-0' ' X22'-0' '. HIP ROOF HEIGHT TO PEAK: 13'-0' '.
156 | 25072060100000 | B200432291 | 7/2/2025 |  |  |  |  | 8910 |  | 9645 S WINCHESTER AVE |  | CHICAGO, IL |  | KENNY JOHN | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 3.2 KW. ARRAY OUTPUT: 4.05 KW. LOCATION: ROOF OF HOME. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0495. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * REFER TO SOLAR (ACCESSORY) PERMIT B200432298 AND ELECTRICAL PERMIT B200431632.* UNDERGROUND RACEWAY TO BE INSPECTED BY AHJ PRIOR TO COVERING. * ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
157 | 14322200130000 | B200432296 | 7/2/2025 |  |  |  |  | 5971 |  | 2119 N DAYTON ST |  | CHICAGO, IL |  | BRASE DANIEL | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL SECURITY. SPECIFIC LOCATION: BASEMENT, 1ST FLR, 2ND FLR & 3RD FLR.
158 | 17084370120000 | B200432297 | 7/1/2025 |  |  |  |  | 29358 |  | 110 N CARPENTER ST |  | CHICAGO, IL |  | CORP MCDONALD'S | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL SECURITY. SPECIFIC LOCATION: FLOOR L1.
159 | 25072060100000 | B200432298 | 7/2/2025 |  |  |  |  | 8910 |  | 9645 S WINCHESTER AVE |  | CHICAGO, IL |  | KENNY JOHN | INSTALL SOLAR PANELS ON ROOF OF ACCESSORY BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 3.84 KW. ARRAY OUTPUT: 4.86 KW. LOCATION: GARAGE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0495. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * REFER TO SOLAR (PRINCIPAL) PERMIT B200432291 AND ELECTRICAL PERMIT B200431632.* UNDERGROUND RACEWAY TO BE INSPECTED BY AHJ PRIOR TO COVERING. * ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
160 | 17061290550000 | B200432300 | 7/1/2025 |  |  |  |  | 16336 |  | 2028 W DIVISION ST |  | CHICAGO, IL |  | PRAIRIE SHORES MGMT | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 500 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: EXTERIOR FACADE.
161 | 16261130250000 | B200432304 | 8/29/2025 |  |  |  |  | 15000 |  | 2416 S HAMLIN AVE |  | CHICAGO, IL |  | RAMIREZ JOAQUIN | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 400 AMP SERVICE DISCONNECTING MEANS WITH 64 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: REAR WEST ELEVATION.
162 | 13281150240000 | B200432307 | 7/3/2025 |  |  |  |  | 27090 |  | 5230 W WELLINGTON AVE |  | CHICAGO, IL |  | CRUZ CARMEN | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 10 KW. ARRAY OUTPUT: 11.48 KW. INCLUDES 10 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF OF HOUSE.. ICC DISTRIBUTED GENERATION INSTALLER CERT. #19-0021. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
163 | 14081090010000 | B200432312 | 7/8/2025 |  |  |  |  | 2580 |  | 5425 N CLARK ST |  | CHICAGO, IL |  | TEO TONGUE LLC C/O NEWCASTLE LTD | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 250 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: FRONT ELEVATION.
164 | 26173110050000 | B200432315 | 7/3/2025 |  |  |  |  | 10700 |  | 11115 S AVENUE L |  | CHICAGO, IL |  | NBX INVESTMENTS INC | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 1000 SQ. FT., LINTEL QTY. 4, MAX. LENGTH 6. LOCATION: BRICK REPAR, TUCKPOINTING, REPLACE 4 LINTELS.
165 | 14184060280000 | B200432316 | 7/1/2025 |  |  |  |  | 29600 |  | 4230 N WINCHESTER AVE |  | CHICAGO, IL |  | FECZKO MATTHEW | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 22'-0' ' X24'-0' '. GABLE ROOF HEIGHT TO PEAK: 15'-0' '.
166 | 14204030710000 | B200432317 | 7/2/2025 |  |  |  |  | 2000 |  | 1027 W ADDISON ST |  | CHICAGO, IL |  | KLIMEK PIOTR | REMOVE "LIDS" SIGNAGE AND ELECTRICAL TO SIGN. LOCATIONS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), EXTERIOR WORK, LIDS STOREFRONT SIGN.
167 | 20312110090000 | B200432318 | 7/10/2025 |  |  |  |  | 10000 |  | 8000 S WOOD ST |  | CHICAGO, IL |  | CAMPBELL STANLEY | LINE VOLTAGE ELECTRICAL WORK. NEW TEMPORARY 200 AMP SERVICE DISCONNECTING MEANS WITH 5 CIRCUITS. RECEPTACLE OUTLETS: 5 . LIGHTING OUTLETS: 5. SPECIFIC LOCATION: FIRST FLOOR.
168 | 14191120040000 | B200432328 | 7/2/2025 |  |  |  |  | 53320 |  | 3849 N LEAVITT ST |  | CHICAGO, IL |  | MOORE KATE | REPAIR OR IN-KIND REPLACEMENT OF 1 PLUMBING FIXTURES AS DESCRIBED IN PERMIT APPLICATION. INCLUDES REPAIR OR REPLACMENT OF PLUMBING PIPING. LOCATIONS: 0 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S), EXTERIOR WORK, BASEMENT & OUTSIDE. WE ARE ALSO DOING A WATERLINE..
169 | 20032090720000 | B200432329 | 7/3/2025 |  |  |  |  | 2000 |  | 460 E 41ST ST |  | CHICAGO, IL |  | PROSPERITY CONTRACTOR INC. | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 0 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: EACH FLOOR HALL AREA.
170 | 17043251150000 | B200432330 | 8/7/2025 |  |  |  |  | 25000 |  | 808 N CLEVELAND AVE |  | CHICAGO, IL |  | 424 S WABASH LLC | SCOPE: NONSTRUCTURAL INTERIOR MODEL ROOM BUILDOUT OF HOTEL ROOM AT 424 S WABASH AVE, 5TH FLR. LOCATIONS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), 808 N. CLEVELAND AVE. ¦ SPECIAL CONDITION: MODEL ROOM ONLY, NON-FUCTIONING FIXTURES - FOR AESTHETIC VIEW ONLY
171 | 20192090180000 | B200432331 | 7/11/2025 |  |  |  |  | 87000 |  | 6451 S WINCHESTER AVE |  | CHICAGO, IL |  | BECK TYLER | SCOPE: NONSTRUCTURAL INTERIOR WORK: REPAIR/REPLACE DRYWALL. REPLACE PLUMBING FIXTURES/WATER HEATER AND ASSOCIATED PIPING. REPLACE ELECTRICAL SWITCHES, OUTLETS, AND WIRING. REPLACE FURNACE AND AIR CONDITIONING EQUIPMENT. LOCATIONS: 1 RESIDENTIAL UNIT(S), 0 NON-RESIDENTIAL UNIT(S)
172 | 20101190210000 | B200432332 | 7/7/2025 |  |  |  |  | 56000 |  | 5034 S MICHIGAN AVE |  | CHICAGO, IL |  | ZEPEDA CHRISTOPHER | FULL REBUILD (SAME AS EXISTING) FOR WOOD PORCH (OPEN) (QUANTITY: 1, LOCATION: REAR OF BUILDING).
173 | 20243160030000 | B200432335 | 7/3/2025 |  |  |  |  | 1000 |  | 6921 S STONY ISLAND AVE |  | CHICAGO, IL |  | PROSPERITY CONTRACTOR INC. | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 0 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: ROOMS.
174 | 16263010100000 | B200432338 | 7/5/2025 |  |  |  |  | 125 |  | 2629 S HARDING AVE |  | CHICAGO, IL |  | MARTINEZ ERNESTO | WRECK AND REMOVE FRAME DETACHED GARAGE. LOCATIONS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), EXTERIOR WORK, GARAGE.
175 | 14304000640000 | B200432345 | 7/2/2025 |  |  |  |  | 46290 |  | 1730 W FULLERTON AVE |  | CHICAGO, IL |  | CBRE PROPERTY MGMT | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 950 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: WEST ELEVATION.
176 | 13084070020000 | B200432357 | 7/1/2025 |  |  |  |  | 1700 |  | 5224 N NORTHWEST HWY |  | CHICAGO, IL |  | TACO BELL CANTINA | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL DATA/VIDEO. SPECIFIC LOCATION: INSIDE OF THE TACO BELL.
177 | 14184130020000 | B200432362 | 7/1/2025 |  |  |  |  | 6500 |  | 4147 N RAVENSWOOD AVE |  | CHICAGO, IL |  | GARRETT REALTY | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 36 . LIGHTING OUTLETS: 0. SPECIFIC LOCATION: SUITE #200, 201 AND 400.
178 | 20321260300000 | B200432363 | 7/2/2025 |  |  |  |  | 3420 |  | 8236 S BISHOP ST |  | CHICAGO, IL |  | BROWN KIMBERLY | PURPOSE: NEW/REPLACEMENT INSTALLATION. VINYL/PVC FENCE - 6'-0' ' (HEIGHT) X 58'-0' ' (LENGTH). LOCATION: NORTH SIDE TOWARDS THE REAR OF THE PROPERTY.
179 | 16124140730000 | B200432366 | 7/2/2025 |  |  |  |  | 424000 |  | 235 N ARTESIAN AVE |  | CHICAGO, IL |  | VK 235 ARTESIAN LLC | SCOPE: ROOF RECOVER. AREA: 55200 SQ. FT. ROOF COVERING: OTHER. LOCATION: ROOF TOP. IL ROOFING CONTRACTOR LICENSE: 104004204.
180 | 20162180130000 | B200432367 | 7/2/2025 |  |  |  |  | 15127 |  | 5807 S WENTWORTH AVE |  | CHICAGO, IL |  | TRAVILLION ELIZABETH | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 10 KW. ARRAY OUTPUT: 5.33 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES OF PRINCIPAL STRUCTURE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * REFER TO ELECTRICAL PERMIT B200431888.* PLEASE PROVIDE NOTARIZED LETTER FROM OWNER & BUILDING MANAGEMENT WITH APPROVAL OF SOLAR INSTALLATION OF PROPOSED WORK ON BUILDING STRUCTURE AT THE TIME OF SOLAR INSPECTION OR RISK FAILURE AS PROPOSED WORK PER ELECTRICAL DRAWING.* ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
181 | 20332050370000 | B200432370 | 7/8/2025 |  |  |  |  | 3000 |  | 106 W 80TH ST |  | CHICAGO, IL |  | SPEARMAN ED | LIMITED REPAIR (25% OR LESS) FOR WOOD PORCH (OPEN) (QUANTITY: 1, LOCATION: NORTH SIDE OF BUILDING).
182 | 14184130020000 | B200432372 | 7/1/2025 |  |  |  |  | 3600 |  | 4147 N RAVENSWOOD AVE |  | CHICAGO, IL |  | GARRETT REALTY | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. INSTALL DATA/VIDEO. SPECIFIC LOCATION: SUITE #200,201 AND 400.
183 | 13293110150000 | B200432373 | 7/3/2025 |  |  |  |  | 26812 |  | 2628 N MELVINA AVE |  | CHICAGO, IL |  | RODRIGEUZVELEZ JUANA | INSTALL SOLAR PANELS ON ROOF OF PRINCIPAL BUILDING. ROOF TYPE: SLOPED (2:12 TO 5:12). INVERTER OUTPUT: 10 KW. ARRAY OUTPUT: 11.48 KW. INCLUDES 13.5 KWH ENERGY STORAGE SYSTEM. LOCATION: ROOF PLANES ON PRINCIPAL STRUCTURE. ICC DISTRIBUTED GENERATION INSTALLER CERT. #18-0817. ¦ SPECIAL CONDITION: * NEC REFERENCES TO BE OMITTED FROM DRAWINGS, ALL GENERAL ELECTRICAL NOTES SHALL REFERENCE CEC 2018. * REFER TO ELECTRICAL PERMIT B200431874.* ALL EQUIPMENT, CONNECTORS, RACEWAYS, TAPS, MUST BE LISTED AND LABELED FOR USE.
184 | 20231040380000 | B200432374 | 7/2/2025 |  |  |  |  | 23350 |  | 6324 S INGLESIDE AVE |  | CHICAGO, IL |  | GERBAULET-VANASSE MADELINE | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 20'-0' ' X20'-0' '. HIP ROOF HEIGHT TO PEAK: 13'-0' '.
185 | 14302010010000 | B200432380 | 8/27/2025 |  |  |  |  | 150000 |  | 3149 N WOLCOTT AVE |  | CHICAGO, IL |  | AT&T WIRELESS | ALTERATION OF EXISTING COMMUNICATION EQUIPMENT. ALTERATION OF 3 BOXES AND EQUIPMENT ON 1 TOWERS / STRUCTURES. LOCATION: CHIMNEY.
186 | 17084080080000 | B200432382 | 7/18/2025 |  |  |  |  | 10000 |  | 1144 W FULTON MARKET |  | CHICAGO, IL |  | MILLERKNOLL, INC. | PURPOSE: NEW/REPLACEMENT INSTALLATION. WROUGHT IRON FENCE - 6'-0' ' (HEIGHT) X 24'-5' ' (LENGTH). LOCATION: COURTYARD. ¦ SPECIAL CONDITION: NO OTHER WORK
187 | 17084080090000 | B200432382 | 7/18/2025 |  |  |  |  | 10000 |  | 1144 W FULTON MARKET |  | CHICAGO, IL |  | MILLERKNOLL, INC. | PURPOSE: NEW/REPLACEMENT INSTALLATION. WROUGHT IRON FENCE - 6'-0' ' (HEIGHT) X 24'-5' ' (LENGTH). LOCATION: COURTYARD. ¦ SPECIAL CONDITION: NO OTHER WORK
188 | 13122230260000 | B200432388 | 7/1/2025 |  |  |  |  | 9750 |  | 2634 W BERWYN AVE |  | CHICAGO, IL |  | BUMBARIS STAN | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 4250 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: EXTERIOR FACADE.
189 | 20312140120000 | B200432392 | 7/7/2025 |  |  |  |  | 23000 |  | 8037 S PAULINA ST |  | CHICAGO, IL |  | BROOKS SIERRA | FULL REBUILD (SAME AS EXISTING) FOR WOOD PORCH (OPEN) (QUANTITY: 1, LOCATION: REAR OF BUILDING).
190 | 19111070410000 | B200432396 | 8/12/2025 |  |  |  |  | 100 |  | 4848 S HARDING AVE |  | CHICAGO, IL |  | CHYBA LAWRENCE | LINE VOLTAGE ELECTRICAL WORK. ADD 1 CIRCUITS TO EXISTING 20 AMP SERVICE DISCONNECTING MEANS. RECEPTACLE OUTLETS: 0 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: BEDROOM.
191 | 16154270250000 | B200432399 | 8/4/2025 |  |  |  |  | 1500 |  | 4156 W ROOSEVELT RD |  | CHICAGO, IL |  | BLANCHARD GENESE | LINE VOLTAGE ELECTRICAL WORK. NEW PERMANENT 100 AMP SERVICE DISCONNECTING MEANS WITH 1 CIRCUITS. RECEPTACLE OUTLETS: 1 . LIGHTING OUTLETS: 1. SPECIFIC LOCATION: BSMNT.
192 | 19172030420000 | B200432400 | 7/9/2025 |  |  |  |  | 5000 |  | 5559 S MONITOR AVE |  | CHICAGO, IL |  | RICHARDS BEATA | PURPOSE: NEW/REPLACEMENT INSTALLATION. WOOD FENCE - 6'-0' ' (HEIGHT) X 182'-0' ' (LENGTH). LOCATION: SIDE AND BACK YARD.
193 | 14303000500000 | B200432401 | 7/10/2025 |  |  |  |  | 40800 |  | 2749 N ELSTON AVE |  | CHICAGO, IL |  | SKX IL, LLC DBA SKECHERS USA, INC. | REPAIR/REPLACEMENT AFFECTING 1 SYSTEMS : 2 ROOFTOP PACKAGED UNIT(REPLACE TWO (2) RTUS LIKE FOR LIKE WITH REFRIGERANT ON THE ROOF'S EXISTING CURB ON STEEL BAR JOISTS. CARRIER/ #48FEEM09A2A5-0A0A0) . ELECTRICAL WORK UNDER THIS PERMIT = YES . LOCATIONS: 0 RESIDENTIAL UNIT(S), 1 NON-RESIDENTIAL UNIT(S), EXTERIOR WORK, ROOF OF BUILDING. ¦ SPECIAL CONDITION: CONTACT REFRIGERATION SUPERVISOR CLEMENT GAVIN 312-743-3562, PRIOR TO THE INSTALLATION OF ANY ROOFTOP EQUIPMENT, TO SCHEDULE AN INSPECTION.
194 | 16091170030000 | B200432410 | 7/1/2025 |  |  |  |  | 6500 |  | 567 N LOCKWOOD AVE |  | CHICAGO, IL |  | NIETO DAVID | SCOPE: ROOF REPLACEMENT. AREA: 1800 SQ. FT. ROOF COVERING: ASPHALT SHINGLES. LOCATION: ROOF AND GUTTERS. IL ROOFING CONTRACTOR LICENSE: 104019206.
195 | 16014030070000 | B200432413 | 7/2/2025 |  |  |  |  | 9360 |  | 2427 W DIVISION ST |  | CHICAGO, IL |  | CITY NORTH DIVISION, LLC | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 25 . LIGHTING OUTLETS: 14. SPECIFIC LOCATION: UNIT 2 F.
196 | 19134010280000 | B200432417 | 7/15/2025 |  |  |  |  | 10000 |  | 5922 S WASHTENAW AVE |  | CHICAGO, IL |  | MORAN ELADIO | NEW DETACHED WOOD FRAME GARAGE. DIMENSIONS AND SETBACKS PER APPLICATION. BUILDING OUTSIDE DIMENSIONS: 22'-0' ' X20'-0' '. HIP ROOF HEIGHT TO PEAK: 13'-0' '.
197 | 13241170010000 | B200432418 | 7/7/2025 |  |  |  |  | 6500 |  | 3753 N TROY ST |  | CHICAGO, IL |  | CITY WIDE FACILITY SOLUTIONS | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 500 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: BUILDING EXTERIOR.
198 | 20142210160000 | B200432423 | 7/3/2025 |  |  |  |  | 8000 |  | 5801 S DORCHESTER AVE |  | CHICAGO, IL |  | MAC PROPERTY MANAGMENT | LINE VOLTAGE ELECTRICAL WORK. REPAIR OR ALTER DEVICES ON EXISTING CIRCUITS. RECEPTACLE OUTLETS: 20 . LIGHTING OUTLETS: 10. SPECIFIC LOCATION: APARTMENT 3D.
199 | 14192250400000 | B200432427 | 7/2/2025 |  |  |  |  | 68800 |  | 3659 N DAMEN AVE |  | CHICAGO, IL |  | PEAK PROPERTIES | TUCKPOINTING AND UNIT MASONRY REPAIR / REPLACEMENT: 8100 SQ. FT., LINTEL QTY. 0, MAX. LENGTH 0. LOCATION: NORTH & WEST ELEVATION-320' LF LINTEL REPAIR.
200 | 17094170030000 | B200432430 | 7/2/2025 |  |  |  |  | 255000 |  | 222 N LA SALLE ST |  | CHICAGO, IL |  | LLC NINJATRADER GROUP, | LOW VOLTAGE/COMMUNICATION ELECTRICAL WORK. ALTER EXISTING AUDIO. SPECIFIC LOCATION: 4TH FLOOR.